## List_of_contents
2020-21 English Housing Survey Headline Report

Section 2: Annex Tables

AT2.1	Stock profile, 2020
AT2.2	Presence of plot, by dwelling type, tenure and region, 2020
AT2.3	Non-decent homes, by tenure, 2006 to 2020 - revised
AT2.4	HHSRS Category 1 hazards, by tenure, 2008 to 2020 - revised
AT2.5	Damp problems, 1996 to 2020 - revised
AT2.6	Damp problems, by tenure, 2020 - revised
AT2.7	Mean SAP rating, by tenure, 1996 to 2020
AT2.8	Energy efficiency rating bands, by tenure, 2010 and 2020
AT2.9	Main heating system, 1996 to 2020
AT2.10	Main heating system, by tenure, 2020
AT2.11	Boiler types, 1996 to 2020
AT2.12	Boiler types, by tenure, 2020
AT2.13	Insulation measures, 2008 to 2020
AT2.14	Wall insulation, by main wall type and tenure, 2020
AT2.15	Subjective overheating, by tenure, dwelling type and dwelling age, 2020
AT2.16	Households with at least one working smoke alarm by tenure, 2003-04 to 2020-21
AT2.17	How often smoke alarm is tested by tenure, 2020-21
AT2.18	Whether dwellings with or without a solid fuel appliance have a carbon monoxide detector, by tenure, 2016 to 2020

## AT2_1
Annex Table 2.1: Stock profile, 2020

dwellings					all dwellings
	private sector				social sector					private sector				social sector
	owner occupied	private rented	all private sector		local authority	housing association	all social sector	all tenures			owner occupied	private rented	all private sector		local authority	housing association	all social sector	all tenures
					thousands of dwellings					percentages
dwelling age					dwelling age
pre 1919	3,049	1,377	4,426		78	180	258	4,684		pre 1919	19.9	32.4	22.6		5.1	7.4	6.5	19.9
1919-44	2,580	518	3,098		183	169	351	3,450		1919-44	16.8	12.2	15.8		11.8	7.0	8.9	14.7
1945-64	2,397	523	2,921		618	567	1,185	4,106		1945-64	15.6	12.3	14.9		40.0	23.5	29.9	17.4
1965-80	2,881	644	3,525		503	577	1,079	4,604		1965-80	18.8	15.2	18.0		32.6	23.8	27.2	19.6
1981-90	1,187	250	1,437		87	221	308	1,745		1981-90	7.7	5.9	7.3		5.6	9.1	7.8	7.4
1991-2002	1,397	376	1,773		35	335	370	2,143		1991-2002	9.1	8.8	9.1		2.3	13.9	9.3	9.1
2003 onwards	1,836	558	2,393		40	370	409	2,802		2002 onwards	12.0	13.1	12.2		2.6	15.3	10.3	11.9

dwelling type					dwelling type
end terrace	1,562	449	2,011		190	350	540	2,550		end terrace	10.2	10.6	10.3		12.3	14.5	13.6	10.8
mid terrace	2,527	904	3,431		252	534	786	4,217		mid terrace	16.5	21.3	17.5		16.3	22.1	19.8	17.9

small terraced house	1,147	615	1,763		158	288	446	2,209		small terraced house	7.5	14.5	9.0		10.3	11.9	11.3	9.4
medium/large terraced house	2,883	713	3,596		175	437	612	4,208		medium/large terraced house	18.8	16.8	18.4		11.3	18.1	15.4	17.9

all terraced houses	4,030	1,329	5,359		333	725	1,058	6,417		all terraced houses	26.3	31.3	27.4		21.6	30.0	26.7	27.3
semi-detached house	4,494	663	5,157		263	390	653	5,810		semi-detached house	29.3	15.6	26.3		17.0	16.1	16.5	24.7
detached house	3,927	184	4,111		13	13	26	4,137		detached house	25.6	4.3	21.0		0.8	0.5	0.7	17.6
bungalow	1,185	141	1,326		175	251	426	1,753		bungalow	7.7	3.3	6.8		11.4	10.4	10.8	7.4
converted flat	318	615	933		29	66	95	1,028		converted flat	2.1	14.5	4.8		1.9	2.7	2.4	4.4
purpose built flat, low rise	1,163	1,131	2,294		599	871	1,470	3,764		purpose built flat, low rise	7.6	26.6	11.7		38.8	36.0	37.1	16.0
purpose built flat, high rise	209	183	392		131	102	233	625		purpose built flat, high rise	1.4	4.3	2.0		8.5	4.2	5.9	2.7

floor area					floor area
less than 50 m2	555	797	1,352		459	529	988	2,340		less than 50 m2	3.6	18.8	6.9		29.8	21.9	24.9	9.9
50 to 69 m2	2,344	1,405	3,749		447	917	1,364	5,113		50 to 69 m2	15.3	33.1	19.2		29.0	37.9	34.4	21.7
70 to 89 m2	3,999	1,171	5,169		514	707	1,221	6,390		70 to 89 m2	26.1	27.6	26.4		33.3	29.2	30.8	27.2
90 to 109 m2	2,832	476	3,308		82	190	272	3,579		90 to 109 m2	18.5	11.2	16.9		5.3	7.9	6.9	15.2
110 or more m2	5,596	398	5,995		41	75	116	6,111		110 or more m2	36.5	9.4	30.6		2.7	3.1	2.9	26.0

mean floor area (m2)	109	74	102		65	67	66	96

type of area					type of area
city centre	425	389	814		31	133	165	978		city centre	2.8	9.1	4.2		2.0	5.5	4.2	4.2
other urban centre	2,581	1,313	3,894		523	619	1,142	5,036		other urban centre	16.8	30.9	19.9		33.9	25.6	28.8	21.4
suburban residential	9,265	2,137	11,402		899	1,423	2,322	13,724		suburban residential	60.5	50.3	58.3		58.3	58.8	58.6	58.3
rural residential	1,800	208	2,008		66	175	241	2,249		rural residential	11.7	4.9	10.3		4.3	7.2	6.1	9.6
village centre	762	116	878		15	61	76	954		village centre	5.0	2.7	4.5		1.0	2.5	1.9	4.1
rural	493	85	578		7	8	15	593		rural	3.2	2.0	3.0		0.5	0.3	0.4	2.5

deprived local areas					deprived local areas
most deprived 10% of areas	818	545	1,363		394	576	969	2,333		most deprived 10% of areas	5.3	12.8	7.0		25.5	23.8	24.5	9.9
2-5th	5,328	1,977	7,306		934	1,283	2,216	9,522		2-5th	34.8	46.6	37.3		60.5	53.0	56.0	40.5
6-9th	7,193	1,465	8,658		202	516	717	9,375		6-9th	46.9	34.5	44.2		13.1	21.3	18.1	39.8
least deprived 10% of areas	1,987	260	2,247		13	45	58	2,304		least deprived 10% of areas	13.0	6.1	11.5		0.9	1.8	1.5	9.8

occupancy status					occupancy status
occupied	15,326	4,247	19,573		1,543	2,418	3,961	23,534		occupied	100.0	100.0	100.0		100.0	100.0	100.0	100.0
vacant	0	0	0		0	0	0	0		vacant	0.0	0.0	0.0		0.0	0.0	0.0	0.0

all dwellings	15,326	4,247	19,573		1,543	2,418	3,961	23,534		all dwellings	100.0	100.0	100.0		100.0	100.0	100.0	100.0

sample size	6,588	1,856	8,444		1,094	1,614	2,708	11,152
Notes:
1) In dwelling type, the categories end and mid terraces includes one-storey dwellings (bungalows), whereas the categories small and medium/large terraces exclude such one-storey dwellings (bungalows)
2) Dwelling type figures do not match live table DA1101 due to different variable used
3)The dwelling sample is for occupied properties only. Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of vacant properties in 2020
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_2
Annex Table 2.2: Presence of plot, by dwelling type, tenure and region, 2020

dwellings
	Private / plot	Shared plot only	No private plot or shared plot	all dwellings	sample / size
				thousands of dwellings
dwelling type
house or bungalow	18,006	75	36	18,117	8,551
flat	1,023	3,657	737	5,417	2,601

tenure
owner occupied	13,940	1,142	244	15,326	6,588
private rented	2,663	1,226	357	4,247	1,856
social rented	2,425	1,364	172	3,961	2,708

Region
North East	1,051	120	20	1,190	574
North West	2,795	374	27	3,196	1,421
Yorkshire and the Humber	1,970	321	52	2,342	1,174
East Midlands	1,849	160	20	2,029	963
West Midlands	2,052	357	22	2,432	1,030
East of England	2,238	357	28	2,624	1,350
London	1,894	1,120	406	3,421	1,384
South East	3,110	631	88	3,828	1,965
South West	2,069	292	111	2,473	1,291

England (excluding London)	17,134	2,612	367	20,114	9,768

all dwellings	19,028	3,733	773	23,534	11,152
				percentages
dwelling type
house or bungalow	99.4	0.4	0.2	100.0
flat	18.9	67.5	13.6	100.0

tenure
owner occupied	91.0	7.5	1.6	100.0
private rented	62.7	28.9	8.4	100.0
social rented	61.2	34.4	4.3	100.0

Region
North East	88.3	10.0	1.7	100.0
North West	87.5	11.7	0.8	100.0
Yorkshire and the Humber	84.1	13.7	2.2	100.0
East Midlands	91.1	7.9	1.0	100.0
West Midlands	84.4	14.7	0.9	100.0
East of England	85.3	13.6	1.1	100.0
London	55.4	32.7	11.9	100.0
South East	81.2	16.5	2.3	100.0
South West	83.7	11.8	4.5	100.0

England (excluding London)	85.2	13.0	1.8	100.0

all dwellings	80.9	15.9	3.3	100.0
Notes:
1) The EHS records a number of details relating to the land immediately surrounding a dwelling, referred to as the dwelling’s plot. The plot may be private (exclusive access) or shared. The plot may consist of hard landscaping, soft landscaping, or a combination.
2) The dwelling sample is for occupied properties only. Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of vacant properties in 2020
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_3
Annex Table 2.3: Non-decent homes, by tenure, 2006 to 2020 (revised)

dwellings
	2006	2007	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020 (R)
					thousands of dwellings
owner occupied	5,316	5,304	4,842	4,377	3,800	3,292	3,002	2,862	2,748	2,694	2,912	2,817	2,641	2,549	2,119
private rented	1,219	1,244	1,449	1,465	1,379	1,407	1,365	1,331	1,311	1,350	1,301	1,175	1,182	1,095	970
all private	6,535	6,548	6,291	5,842	5,179	4,698	4,366	4,193	4,059	4,044	4,213	3,992	3,823	3,644	3,089

local authority	:	:	625	491	390	334	289	266	276	244	221	239	212	215	202
housing association	:	:	444	389	368	332	292	327	302	281	290	277	278	289	245
all social	1,135	1,142	1,069	880	759	666	581	593	578	525	511	516	490	504	448

all tenures	7,670	7,690	7,360	6,722	5,937	5,364	4,947	4,785	4,637	4,569	4,724	4,508	4,313	4,148	3,537
					percentages
owner occupied	34.4	34.1	32.3	29.3	25.6	22.3	20.3	19.4	18.6	18.3	19.7	18.7	17.3	16.3	13.8
private rented	46.7	45.4	44.0	40.8	37.2	35.0	33.1	29.8	28.6	28.5	26.8	24.5	24.6	23.3	22.8
all private	36.2	35.8	34.4	31.5	27.9	25.0	23.1	21.8	21.0	20.7	21.4	20.1	19.0	17.9	15.8

local authority	:	:	31.5	27.1	21.7	17.7	16.3	15.7	16.4	14.8	13.6	14.8	13.2	13.4	13.1
housing association	:	:	22.8	19.7	18.3	15.9	14.3	14.0	12.8	11.8	11.9	11.3	11.3	11.6	10.1
all social	28.8	29.4	27.2	23.2	19.9	16.8	15.2	14.7	14.3	13.0	12.6	12.7	12.0	12.3	11.3

all tenures	34.9	34.7	33.1	30.1	26.5	23.6	21.8	20.6	19.8	19.4	19.9	18.8	17.8	17.0	15.0
					sample size
owner occupier	8,149	7,893	7,983	8,397	8,791	7,147	5,314	4,994	4,892	5,012	5,140	5,242	5,334	5,458	6,588
private renter	2,345	2,369	2,566	2,798	3,096	3,058	2,683	2,590	2,567	2,499	2,552	2,651	2,655	2,545	1,856
all private sector	10,494	10,262	10,549	11,195	11,887	10,205	7,997	7,584	7,459	7,511	7,692	7,893	7,989	8,003	8,444

local authority	3,557	3,530	2,899	2,325	2,276	2,286	2,280	2,214	2,090	2,075	1,907	1,837	1,885	1,729	1,094
housing association	2,218	2,425	2,702	2,630	2,507	2,460	2,486	2,700	2,748	2,765	2,693	2,590	2,688	2,568	1,614
all social sector	5,775	5,955	5,601	4,955	4,783	4,746	4,766	4,914	4,838	4,840	4,600	4,427	4,573	4,297	2,708

all tenures	16,269	16,217	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Notes:
1) Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of properties in 2020. As a result, 2020 data has been modelled from 2018 and 2019 data. See the technical notes for more details.
2) 2020 have been revised from extrapolated to dwelling modelled data and marked with an (R)
3) 2010-2012 uses SAP09
4) 2013-2019 uses SAP12
5) In 2018 RdSAP changed to version 9.93 and improvements were made to the modelling
6) Separate housing association/local authority estimates are not available prior to 2008-09. This is because a large number of HA tenants wrongly report that that they are LA tenants; most commonly because their home used to be owned by the council but had transferred to a housing association. Since 2008-09, an adjustment has been made for this
7) Data not available indicated by :
Sources:
2006 to 2007: English House Condition Survey, dwelling sample;
2008-2019: English Housing Survey, dwelling sample
2020 (R): English Housing Survey, modelled data excluding vacant dwellings

## AT2_4
Annex Table 2.4: HHSRS Category 1 hazards, by tenure, 2008 to 2020 (revised)

dwellings
	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020 (R)
					thousands of dwellings
owner occupied	3,452	3,218	2,699	2,306	2,080	1,823	1,712	1,880	1,918	1,708	1,674	1,611	1,400
private rented	1,013	1,011	897	874	793	742	752	795	747	691	678	619	565
all private	4,465	4,229	3,596	3,180	2,873	2,565	2,464	2,674	2,665	2,399	2,353	2,230	1,965

local authority	326	263	210	167	141	126	123	126	116	127	112	101	99
housing association	248	214	161	126	110	121	121	118	112	107	112	116	100
all social	574	477	371	293	250	247	243	244	228	234	223	217	200

all tenures	5,039	4,706	3,968	3,473	3,123	2,812	2,707	2,918	2,893	2,633	2,576	2,448	2,165
					percentages
owner occupied	23.0	21.5	18.2	15.6	14.1	12.3	11.6	12.7	12.9	11.3	10.9	10.3	9.1
private rented	30.7	28.2	24.2	21.8	19.3	16.6	16.4	16.8	15.4	14.4	14.1	13.2	13.3
all private	24.4	22.8	19.4	16.9	15.2	13.3	12.7	13.7	13.5	12.1	11.7	11.0	10.0

local authority	16.4	14.5	11.7	8.9	7.9	7.5	7.3	7.6	7.2	7.9	6.9	6.3	6.4
housing association	12.7	10.8	8.0	6.0	5.4	5.2	5.1	4.9	4.6	4.4	4.5	4.7	4.2
all social	14.6	12.6	9.7	7.4	6.6	6.1	6.0	6.0	5.6	5.8	5.5	5.3	5.0

all tenures	22.7	21.1	17.7	15.3	13.7	12.1	11.6	12.4	12.2	11.0	10.7	10.0	9.2
					sample size
owner occupied	7,983	8,397	8,791	7,147	5,314	4,994	4,892	5,012	5,140	5,242	5,334	5,458	6,588
private rented	2,566	2,798	3,096	3,058	2,683	2,590	2,567	2,499	2,552	2,651	2,655	2,545	1,856
all private sector	10,549	11,195	11,887	10,205	7,997	7,584	7,459	7,511	7,692	7,893	7,989	8,003	8,444

local authority	2,899	2,325	2,276	2,286	2,280	2,214	2,090	2,075	1,907	1,837	1,885	1,729	1,094
housing association	2,702	2,630	2,507	2,460	2,486	2,700	2,748	2,765	2,693	2,590	2,688	2,568	1,614
all social sector	5,601	4,955	4,783	4,746	4,766	4,914	4,838	4,840	4,600	4,427	4,573	4,297	2,708

all tenures	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Notes:
1) Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of properties in 2020. As a result, 2020 data has been modelled from 2018 and 2019 data. See the technical notes for more details.
2) 2020 have been revised from extrapolated to dwelling modelled data and marked with an (R)
Sources:
2008-2019: English Housing Survey, dwelling sample
2020 (R): English Housing Survey, modelled data excluding vacant dwellings

## AT2_5
Annex Table 2.5: Damp problems, 1996 to 2020 (revised)

dwellings
	rising / damp	penetrating / damp	condensation/ / mould	any damp / problems	sample / size
				thousands of dwellings
1996	858	1,271	1,145	2,601	13,711
2001	625	1,032	860	2,032	17,532
2003	740	1,066	1,003	2,283	16,648
2004	750	1,035	951	2,251	16,502
2005	759	952	941	2,210	16,670
2006	724	885	947	2,158	16,269
2007	639	833	882	1,917	16,217
2008	584	759	865	1,746	16,150
2009	651	701	895	1,799	16,150
2010	491	517	766	1,408	16,670
2011	359	393	620	1,037	14,951
2012	315	375	604	970	12,763
2013	294	400	618	999	12,498
2014	311	422	598	997	12,297
2015	439	393	586	1,046	12,351
2016	405	354	523	988	12,292
2017	307	309	510	897	12,320
2018	253	266	465	801	12,562
2019	237	293	455	820	12,300
2020 (R)	-	-	-	941	11,152
				percentages
1996	4.2	6.3	5.6	12.8
2001	2.9	4.9	4.1	9.6
2003	3.4	5.0	4.7	10.6
2004	3.5	4.8	4.4	10.4
2005	3.5	4.4	4.3	10.1
2006	3.3	4.0	4.3	9.8
2007	2.9	3.8	4.0	8.6
2008	2.6	3.4	3.9	7.8
2009	2.9	3.1	4.0	8.1
2010	2.3	2.4	3.5	6.5
2011	1.6	1.7	2.7	4.6
2012	1.4	1.7	2.7	4.3
2013	1.3	1.7	2.7	4.3
2014	1.3	1.8	2.6	4.3
2015	1.9	1.7	2.5	4.4
2016	1.7	1.5	2.2	4.2
2017	1.3	1.3	2.1	3.7
2018	1.0	1.1	1.9	3.3
2019	1.0	1.2	1.9	3.4
2020 (R)	-	-	-	4.0
Notes:
1) Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of properties in 2020. As a result, 2020 data has been modelled from 2018 and 2019 data and data that could not be modelled is represented as "-". See the technical notes for more details.

2) 2020 have been revised from extrapolated to dwelling modelled data and marked with an ®
3) dwellings may be counted in more than one column
Sources:
1996 to 2007: English House Condition Survey, dwelling sample;
1996-2007: English House Condition Survey, dwelling sample
2008-2019: English Housing Survey, dwelling sample
2020 (R): English Housing Survey, dwelling level modelled data excluding vacant dwellings

## AT2_6
Annex Table 2.6: Damp problems, by tenure, 2020 (revised)

dwellings
	rising / damp	penetrating / damp	condensation/ / mould	any damp / problems	sample / size
				thousands of dwellings
owner occupied	-	-	-	335	6,588
private rented	-	-	-	409	1,856
all private sector	-	-	-	744	8,444

local authority	-	-	-	83	1,094
housing association	-	-	-	115	1,614
all social sector	-	-	-	198	2,708

all tenures	-	-	-	941	11,152
				percentages
owner occupied	-	-	-	2.2
private rented	-	-	-	9.6
all private sector	-	-	-	3.8

local authority	-	-	-	5.4
housing association	-	-	-	4.8
all social sector	-	-	-	5.0

all tenures	-	-	-	4.0
Notes:
1) Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of properties in 2020. As a result, 2020 data has been modelled from 2018 and 2019 data. See the technical notes for more details.
2) 2020 have been revised from extrapolated to dwelling modelled data and marked with an (R)
Source: English Housing Survey, modelled data excluding vacant dwellings

## AT2_7
Annex Table 2.7: Mean SAP rating, by tenure, 1996 to 2020

dwellings
	1996	2001	2003	2004	2005	2006	2007	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020
					mean SAP rating
owner occupied	43.8	45.0	46.7	47.5	48.1	48.9	50.3	51.5	53.0	54.3	55.6	57.3	58.5	59.7	60.5	60.7	60.9	62.1	63.9	65.5
private rented	40.4	42.8	44.6	46.0	46.4	47.1	49.1	50.4	52.1	53.9	55.2	57.2	58.4	59.7	60.2	60.3	60.8	62.3	64.1	64.7
private sector	43.3	44.7	46.5	47.3	47.8	48.7	50.1	51.3	52.8	54.2	55.5	57.3	58.5	59.7	60.4	60.6	60.9	62.2	63.9	65.3

local authority	:	:	:	:	:	:	:	57.9	59.4	60.8	62.3	64.1	64.9	65.6	66.2	65.9	66.4	67.6	68.3	69.1
housing association	:	:	:	:	:	:	:	60.3	61.9	63.4	64.2	65.2	66.2	67.1	67.7	68.2	68.5	68.9	69.7	70.2
social sector	48.7	51.5	53.7	54.9	56.4	57.3	58.1	59.1	60.7	62.1	63.3	64.7	65.6	66.4	67.0	67.3	67.7	68.4	69.1	69.8

all tenures	44.5	46.0	47.8	48.7	49.4	50.2	51.5	52.7	54.1	55.6	56.9	58.6	59.7	60.9	61.5	61.7	62.0	63.2	64.8	66.1

sample size	13,711	17,532	16,648	16,502	16,670	16,269	16,217	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Notes:
1) 2010-2012 uses SAP09
2) 2013-2019 uses SAP12
3) In 2018 RdSAP changed to version 9.93 and improvements were made to the modelling, which has led to a larger increase in the mean SAP rating compared to previous years.
4) Data not available indicated by :
5) Separate housing association/local authority estimates are not available prior to 2008-09. This is because a large number of HA tenants wrongly reported that they were LA tenants; most commonly because their home was previously owned by the council but had transferred to a housing association. Since 2008-09, an adjustment has been made for this.
Sources:
1996 to 2007: English House Condition Survey, dwelling sample
2008-2019: English Housing Survey, dwelling sample
2020: English Housing Survey, dwelling sample excluding vacants

## AT2_8
Annex Table 2.8: Energy efficiency rating bands, by tenure, 2010 and 2020

dwellings
	Energy Efficiency Rating Band
	A/B	C	D	E	F	G	sample / size
					thousands of dwellings
owner occupied
2010	21	1,478	7,002	4,699	1,288	372	8,791
2020	474	6,013	7,113	1,317	338	71	6,588

private rented
2010	12	620	1,404	1,137	385	148	3,096
2020	101	1,673	1,882	406	144	40	1,856

social rented
2010	28	986	2,127	572	91	16	4,783
2020	114	2,480	1,222	105	33	u	2,708

all tenures
2010	61	3,083	10,533	6,408	1,765	536	16,670
2020	689	10,167	10,218	1,828	515	118	11,252
					percentages
owner occupied
2010	0.1	9.9	47.1	31.6	8.7	2.5
2020	3.1	39.2	46.4	8.6	2.2	0.5

private rented
2010	0.3	16.7	37.9	30.7	10.4	4.0
2020	2.4	39.4	44.3	9.6	3.4	0.9

social rented
2010	0.7	25.8	55.7	15.0	2.4	0.4
2020	2.9	62.6	30.9	2.6	0.8	u

all tenures
2010	0.3	13.8	47.1	28.6	7.9	2.4
2020	2.9	43.2	43.4	7.8	2.2	0.5
Notes:
1) Based on SAP 2012 energy efficiency rating. In 2018 RdSAP changed to version 9.93 and improvements were made to the modelling, which has led to a larger increase in the mean SAP rating compared to previous years.
2) u indicates sample size too small for reliable estimate
Sources:
2010: English Housing Survey, dwelling sample
2020: English Housing Survey, dwelling sample excluding vacants

## AT2_9
Annex Table 2.9: Main heating system, 1996 to 2020

dwellings
	1996	2001	2003	2004	2005	2006	2007	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020
					thousands of dwellings
central heating	16,178	18,123	18,604	18,919	19,179	19,553	19,862	19,862	19,982	20,082	20,502	20,588	21,144	21,420	21,690	21,805	22,020	22,265	22,602	21,743
storage heater	1,643	1,627	1,587	1,616	1,609	1,532	1,552	1,641	1,673	1,603	1,591	1,515	1,414	1,299	1,290	1,296	1,223	1,252	1,176	1,121
fixed room/ / portable heater	2,515	1,457	1,294	1,078	993	904	776	736	680	701	661	616	696	652	563	631	707	655	635	670

total	20,335	21,207	21,484	21,613	21,781	21,989	22,189	22,239	22,335	22,386	22,754	22,718	23,254	23,371	23,543	23,733	23,950	24,172	24,414	23,534
					percentages
central heating	79.6	85.5	86.6	87.5	88.1	88.9	89.5	89.3	89.5	89.7	90.1	90.6	90.9	91.7	92.1	91.9	91.9	92.1	92.6	92.4
storage heater	8.1	7.7	7.4	7.5	7.4	7.0	7.0	7.4	7.5	7.2	7.0	6.7	6.1	5.6	5.5	5.5	5.1	5.2	4.8	4.8
fixed room/ / portable heater	12.4	6.9	6.0	5.0	4.6	4.1	3.5	3.3	3.0	3.1	2.9	2.7	3.0	2.8	2.4	2.7	3.0	2.7	2.6	2.8

total	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0

sample size	13,711	17,532	16,648	16,502	16,670	16,269	16,217	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Sources:
1996 to 2007: English House Condition Survey, dwelling sample;
2008-2019: English Housing Survey, dwelling sample
2020: English Housing Survey, dwelling sample excluding vacants

## AT2_10
Annex Table 2.10: Main heating system, by tenure, 2020

dwellings
	central / heating	storage / heater	fixed room/ / portable heater	sample / size
			thousands of dwellings
owner occupied	14,553	470	303	6,588
private rented	3,541	389	317	1,856
all private sector	18,094	859	620	8,444

local authority	1,483	51	8	1,094
housing association	2,166	210	42	1,614
all social sector	3,648	262	51	2,708

all tenures	21,743	1,121	670	11,152
			percentages
owner occupied	95.0	3.1	2.0
private rented	83.4	9.2	7.5
all private sector	92.4	4.4	3.2

local authority	96.1	3.3	0.5
housing association	89.6	8.7	1.7
all social sector	92.1	6.6	1.3

all tenures	92.4	4.8	2.8
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_11
Annex Table 2.11: Boiler types, 1996 to 2020

dwellings
	1996	2001	2003	2004	2005	2006	2007	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020
					thousands of dwellings
standard boiler	10,447	10,360	9,642	9,635	9,425	9,014	8,782	8,072	7,303	6,548	5,941	5,510	5,258	4,680	4,116	3,633	3,258	2,966	2,561	2,005
back boiler	2,773	2,769	2,580	2,409	2,181	2,131	1,944	1,688	1,472	1,282	1,152	951	796	744	637	540	522	412	344	292
combination boiler	2,810	4,448	5,492	5,934	6,254	6,312	6,287	6,082	5,498	4,831	4,416	3,820	3,285	2,998	2,570	2,198	1,805	1,415	1,139	926
condensing boiler	-	155	154	202	300	460	698	948	1,331	1,776	2,187	2,698	3,129	3,389	3,867	4,255	4,357	4,375	4,642	4,523
condensing-combination boiler	-	319	373	417	727	1,297	1,837	2,773	4,061	5,313	6,432	7,189	8,191	9,109	9,973	10,629	11,529	12,551	13,368	13,362
no boiler	4,305	3,155	3,244	3,016	2,894	2,775	2,642	2,676	2,669	2,636	2,626	2,551	2,594	2,450	2,381	2,478	2,479	2,454	2,359	2,425

total	20,335	21,207	21,484	21,613	21,781	21,989	22,189	22,239	22,335	22,386	22,754	22,718	23,254	23,371	23,543	23,733	23,950	24,172	24,414	23,534
					percentages
standard boiler	51.4	48.9	44.9	44.6	43.3	41.0	39.6	36.3	32.7	29.2	26.1	24.3	22.6	20.0	17.5	15.3	13.6	12.3	10.5	8.5
back boiler	13.6	13.0	12.0	11.1	10.0	9.7	8.8	7.6	6.6	5.7	5.1	4.2	3.4	3.2	2.7	2.3	2.2	1.7	1.4	1.2
combination boiler	13.8	21.0	25.6	27.5	28.7	28.7	28.3	27.3	24.6	21.6	19.4	16.8	14.1	12.8	10.9	9.3	7.5	5.9	4.7	3.9
condensing boiler	-	0.7	0.7	0.9	1.4	2.1	3.1	4.3	6.0	7.9	9.6	11.9	13.5	14.5	16.4	17.9	18.2	18.1	19.0	19.2
condensing-combination boiler	-	1.5	1.7	1.9	3.3	5.9	8.3	12.5	18.2	23.7	28.3	31.6	35.2	39.0	42.4	44.8	48.1	51.9	54.8	56.8
no boiler	21.2	14.9	15.1	14.0	13.3	12.6	11.9	12.0	11.9	11.8	11.5	11.2	11.2	10.5	10.1	10.4	10.4	10.2	9.7	10.3

total	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0	100.0

sample size	13,711	17,532	16,648	16,502	16,670	16,269	16,217	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Note: Condensing and condensing-combination boilers were rare in 1996, so data on these types were not collected. Values of zero have been assumed to reflect this.
Sources:
1996 to 2007: English House Condition Survey, dwelling sample
2008-2019: English Housing Survey, dwelling sample
2020: English Housing Survey, dwelling sample excluding vacants

## AT2_12
Annex Table 2.12: Boiler types, by tenure, 2020

dwellings
	standard boiler	back / boiler	combination boiler	condensing boiler	condensing-combination boiler	no / boiler	sample / size
					thousands of dwellings
owner occupied	1,596	213	602	3,542	8,367	1,006	6,588
private rented	290	63	230	456	2,373	834	1,856
all private sector	1,886	277	832	3,998	10,741	1,840	8,444

local authority	28	5	36	243	1,040	191	1,094
housing association	90	10	59	282	1,582	395	1,614
all social sector	118	16	94	526	2,621	586	2,708

all tenures	2,005	292	926	4,523	13,362	2,425	11,152
					percentages
owner occupied	10.4	1.4	3.9	23.1	54.6	6.6
private rented	6.8	1.5	5.4	10.7	55.9	19.6
all private sector	9.6	1.4	4.3	20.4	54.9	9.4

local authority	1.8	0.3	2.3	15.8	67.4	12.4
housing association	3.7	0.4	2.4	11.7	65.4	16.3
all social sector	3.0	0.4	2.4	13.3	66.2	14.8

all tenures	8.5	1.2	3.9	19.2	56.8	10.3
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_13
Annex Table 2.13: Insulation measures, 2008 to 2020

dwellings
	2008	2009	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020
					thousands of dwellings
cavity walls with evidence of insulation	7,333	7,371	7,600	7,924	8,223	8,605	8,882	9,122	9,121	9,143	9,062	9,052	8,908
cavity walls with assumed insulation (built after 1995)	898	1,058	1,301	1,471	1,563	1,726	1,815	1,806	1,888	2,014	2,156	2,417	2,606
cavity walls with insulation	8,231	8,429	8,901	9,395	9,786	10,331	10,697	10,928	11,009	11,157	11,218	11,469	11,514

solid walls with insulation	156	213	257	307	353	449	574	630	697	694	708	755	779

200mm or more of loft insulation	4,685	5,363	5,985	6,853	7,753	8,654	8,988	8,899	8,769	8,981	9,212	9,431	9,260

double glazing (entire house)	15,747	16,281	16,610	17,356	17,893	18,598	18,892	19,168	19,588	20,257	20,629	20,951	20,415

all dwellings	22,239	22,335	22,386	22,754	22,718	23,254	23,371	23,543	23,733	23,950	24,172	24,414	23,534
					percentages
cavity walls with evidence of insulation	33.0	33.0	34.0	34.8	36.2	37.0	38.0	38.7	38.4	38.2	37.5	37.1	37.9
cavity walls with assumed insulation (built after 1995)	4.0	4.7	5.8	6.5	6.9	7.4	7.8	7.7	8.0	8.4	8.9	9.9	11.1
cavity walls with insulation	37.0	37.7	39.8	41.3	43.1	44.4	45.8	46.4	46.4	46.6	46.4	47.0	48.9

solid walls with insulation	0.7	1.0	1.1	1.4	1.6	1.9	2.5	2.7	2.9	2.9	2.9	3.1	3.3

200mm or more of loft insulation	21.1	24.0	26.7	30.1	34.1	37.2	38.5	37.8	36.9	37.5	38.1	38.6	39.3

double glazing (entire house)	70.8	72.9	74.2	76.3	78.8	80.0	80.8	81.4	82.5	84.6	85.3	85.8	86.7

sample size	16,150	16,150	16,670	14,951	12,763	12,498	12,297	12,351	12,292	12,320	12,562	12,300	11,152
Notes:
1) Dwellings may be counted in more than one row (i.e. have more than one insulation measure), so columns will not sum to totals. Percentages are based on all dwellings, including those with no loft or other wall type.
2) In alignment with current SAP assumptions and as an improvement to the methodology, dwellings built after 1995 with cavity walls with no evidence of insulation in the survey have been assumed to be insulated.
3) From 2001-2007 data collection in the EHS only covered external solid wall insulation. Data collection on internal solid wall insulation was added to the EHS in 2008, and therefore included in the 2009 data point (two-year combined dataset). In 2001-2009, 2013, and 2014, non-standard wall types (e.g. timber, metal or concrete frames) were not included in the solid wall insulated category. In 2010 to 2012, for reporting purposes solid wall insulation included non-standard wall types with evidence of internal or external insulation; this would not make a big difference to the figures because of the low prevalence of non-standard wall types in the housing stock (2%).
Sources:
2008-2019: English Housing Survey, dwelling sample
2020: English Housing Survey, dwelling sample excluding vacants

## AT2_14
Annex Table 2.14: Wall insulation, by main wall type and tenure, 2020

dwellings with mainly cavity walls; dwellings with mainly solid walls; dwellings with mainly other wall type
	private sector				social sector
	owner occupied	private rented	all private sector		local authority	housing association	all social sector	all tenures
					thousands of dwellings
cavity walls
cavity walls with evidence of insulation	6,116	860	6,976		814	1,119	1,933	8,908
cavity walls with assumed insulation (built after 1995)	1,686	536	2,222		45	339	384	2,606
cavity insulated	7,802	1,396	9,198		858	1,458	2,316	11,514
cavity uninsulated	3,097	969	4,066		313	443	756	4,822
all cavity walls	10,899	2,365	13,264		1,171	1,901	3,072	16,336

solid walls
solid with insulation	405	156	561		86	132	218	779
solid uninsulated	3,772	1,586	5,358		277	298	574	5,932
all solid walls	4,176	1,742	5,919		363	429	793	6,711

other	251	140	391		8	88	96	487

total	15,326	4,247	19,573		1,543	2,418	3,961	23,534
					percentages
cavity walls
cavity walls with evidence of insulation	56.1	36.4	52.6		69.5	58.9	62.9	54.5
cavity walls with assumed insulation (built after 1995)	15.5	22.7	16.8		3.8	17.8	12.5	16.0
cavity insulated	71.6	59.0	69.3		73.3	76.7	75.4	70.5
cavity uninsulated	28.4	41.0	30.7		26.7	23.3	24.6	29.5
all cavity walls	100.0	100.0	100.0		100.0	100.0	100.0	100.0

solid walls
solid with insulation	9.7	9.0	9.5		23.8	30.7	27.5	11.6
solid uninsulated	90.3	91.0	90.5		76.2	69.3	72.5	88.4
all solid walls	100.0	100.0	100.0		100.0	100.0	100.0	100.0
					sample size
cavity walls	4,760	1,057	5,817		831	1,316	2,147	7,964
solid walls	1,718	747	2,465		255	247	502	2,967
other	110	52	162		8	51	59	221
Note: In alignment with current SAP assumptions and as an improvement to the methodology, dwellings built after 1995 with cavity walls with no evidence of insulation in the survey have been assumed to be insulated.
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_15
Annex Table 2.15: Subjective overheating, by tenure, dwelling type and dwelling age, 2020

dwellings
	thousands of dwellings	percentages	sample sizes
tenure
owner occupiers	1,329	8.7	6,562
private renters	294	7.0	1,834
all private sector	1,624	8.3	8,396

local authority	65	4.2	1,086
housing association	173	7.2	1,606
all social sector	238	6.0	2,692

dwelling age
pre 1919	324	7.0	2,022
1919-44	241	7.0	1,521
1945-64	272	6.7	2,116
1965-80	362	7.9	2,328
1981-90	157	9.0	897
1991-2002	182	8.5	964
2003 onwards	324	11.6	1,240

dwelling type
end terrace	204	8.1	1,185
mid terrace	284	6.8	1,890

small terraced house	124	5.6	1,005
medium/large terraced house	359	8.6	1,849

all terraced houses	954	7.9	5,420
semi-detached house	471	8.1	2,566
detached house	397	9.6	2,109
bungalow	118	6.8	980
converted flat	71	7.0	436
purpose built flat, low rise	268	7.2	1,858
purpose built flat, high rise	54	8.8	285

all dwellings	1,862	8.0	11,088
Note: Excludes vacant dwellings as Household questionnaire is not asked there. In previous years, vacant dwellings were included so the results may differ somewhat due to this.
Source: English Housing Survey, dwelling sample excluding vacants

## AT2_16
Annex Table 2.16: Households with at least one working smoke alarm, by tenure, 2003-04 to 2020-21

all households
	2003-04	2004-05	2005-06	2006-07	2007-08	2008-09	2010-11	2011-12	2012-13	2013-14	2014-15	2015-16	2016-17	2017-18	2018-19	2019-20	2020-21
					thousands of households
owner occupiers	11,959	12,347	12,587	12,740	13,154	12,438	12,580	12,639	12,609	12,609	12,624	12,747	12,906	13,217	13,551	13,923	14,562
private renters	1,357	1,742	1,686	1,862	1,943	2,325	2,876	3,062	3,303	3,607	3,471	3,781	4,136	4,011	3,991	3,935	4,112
all private sector	13,316	14,089	14,273	14,602	15,098	14,763	15,456	15,701	15,912	16,217	16,095	16,528	17,041	17,228	17,542	17,858	18,673

local authority	:	:	:	:	:	1,546	1,599	1,571	1,498	1,496	1,510	1,497	1,460	1,476	1,511	1,507	1,507
housing association	:	:	:	:	:	1,739	1,827	1,882	1,846	2,150	2,122	2,189	2,274	2,274	2,249	2,324	2,367
all social sector	3,138	3,236	3,236	3,227	3,330	3,285	3,426	3,453	3,344	3,647	3,633	3,686	3,734	3,750	3,760	3,830	3,874

all tenures	16,454	17,326	17,509	17,829	18,428	18,048	18,882	19,154	19,256	19,863	19,728	20,214	20,775	20,978	21,301	21,688	22,548
					percentages
owner occupiers	80.4	82.8	83.7	84.3	86.5	85.1	87.1	87.8	87.9	88.1	88.1	89.0	89.4	89.4	90.2	90.6	93.7
private renters	69.9	75.9	75.9	78.3	79.2	75.8	79.5	79.7	83.5	82.4	81.1	83.5	88.1	88.5	87.7	88.7	92.7
all private sector	79.2	81.8	82.7	83.5	85.5	83.5	85.6	86.1	87.0	86.7	86.5	87.6	89.1	89.2	89.6	90.2	93.5

local authority	:	:	:	:	:	81.9	87.2	88.2	89.0	91.2	92.1	93.3	93.3	93.3	94.9	95.3	96.0
housing association	:	:	:	:	:	89.0	91.7	92.9	92.3	94.4	93.4	94.6	95.5	95.7	94.8	96.9	98.1
all social sector	80.9	84.2	85.4	87.1	89.8	85.5	89.5	90.7	90.8	93.0	92.9	94.1	94.6	94.7	94.9	96.3	97.2

all tenures	79.5	82.3	83.2	84.1	86.2	83.8	86.2	86.9	87.6	87.8	87.6	88.8	90.0	90.1	90.5	91.2	94.1
					sample size
owner occupiers	3,938	4,389	4,062	3,895	3,815	12,268	12,037	8,559	8,280	7,769	7,817	7,748	7,307	7,270	7,450	7,464	5,414
private renters	1,079	1,083	1,077	1,068	1,093	2,223	2,470	2,079	2,103	2,058	2,087	2,061	2,507	2,406	2,483	2,438	837
all private sector	5,017	5,472	5,139	4,963	4,908	14,491	14,507	10,638	10,383	9,827	9,904	9,809	9,814	9,676	9,933	9,902	6,251

local authority	:	:	:	:	:	1,510	1,460	1,520	1,523	1,461	1,446	1,536	1,275	1,546	1,432	1,446	302
housing association	:	:	:	:	:	1,690	1,589	1,671	1,746	1,988	1,824	2,123	1,881	2,173	2,066	1,984	484
all social sector	2,725	2,660	2,788	2,758	2,975	3,200	3,049	3,191	3,269	3,449	3,270	3,659	3,156	3,719	3,498	3,430	786

all tenures	7,742	8,132	7,927	7,721	7,883	17,691	17,556	13,829	13,652	13,276	13,174	13,468	12,970	13,395	13,431	13,332	7,037
Notes:
1) Data was not collected in 2009-10
2) Data not available indicated by :
3) Separate housing association/local authority estimates are not available prior to 2008-09. This is because a large number of HA tenants wrongly report that that they are LA tenants; most commonly because their home used to be owned by the council but had transferred to a housing association. Since 2008-09, an adjustment has been made for this.
Sources:
2003-04 to 2007-08: English House Condition Survey, full household sample;
2008-09 - 2019-20: English Housing Survey, full household sample
2020-21: English Housing Survey, full household sample

## AT2_17
Annex Table 2.17: How often smoke alarm is tested, by tenure, 2020-21

all households with a smoke alarm
	private sector				social sector
	owner occupiers	private renters	all private sector		local authority	housing association	all social sector	all tenures
					thousands of households
weekly	603	204	807		54	161	215	1,022
at least once a month	2,246	743	2,989		266	444	711	3,700
at least once every 3 months	2,871	802	3,673		228	281	509	4,182
at least once every 6 months	2,809	648	3,456		192	337	529	3,985
at least once a year	2,587	509	3,096		337	407	744	3,840
less than once a year	1,187	236	1,424		103	129	232	1,656
never	2,709	1,190	3,898		359	617	976	4,874

total	15,011	4,332	19,344		1,539	2,377	3,915	23,259
					percentages
weekly	4.0	4.7	4.2		3.5	6.8	5.5	4.4
at least once a month	15.0	17.2	15.5		17.3	18.7	18.1	15.9
at least once every 3 months	19.1	18.5	19.0		14.8	11.8	13.0	18.0
at least once every 6 months	18.7	14.9	17.9		12.5	14.2	13.5	17.1
at least once a year	17.2	11.7	16.0		21.9	17.1	19.0	16.5
less than once a year	7.9	5.5	7.4		6.7	5.4	5.9	7.1
never	18.0	27.5	20.2		23.3	26.0	24.9	21.0

total	100.0	100.0	100.0		100.0	100.0	100.0	100.0

sample size	5,563	883	6,446		307	489	796	7,242
Source: English Housing Survey, full household sample

## AT2_18
Annex Table 2.19: Whether dwellings with or without a solid fuel appliance have a carbon monoxide detector, by tenure, 2016 to 2020

dwellings
	2016	2017	2018	2019	2020
					thousands of dwellings
owner occupiers
with a solid fuel appliance	1,103	1,395	1,538	1,517	N/A
with no solid fuel appliance	4,011	4,552	5,008	5,430	N/A
all dwellings	5,114	5,948	6,546	6,947	N/A

private renters
with a solid fuel appliance	125	151	158	144	N/A
with no solid fuel appliance	1,236	1,501	1,718	1,822	N/A
all dwellings	1,361	1,653	1,876	1,966	N/A

all private sector
with a solid fuel appliance	1,228	1,547	1,696	1,661	N/A
with no solid fuel appliance	5,247	6,053	6,725	7,252	N/A
all dwellings	6,476	7,600	8,422	8,913	N/A

all social sector
with a solid fuel appliance	37	35	25	34	N/A
with no solid fuel appliance	1,230	1,485	1,716	1,752	N/A
all dwellings	1,267	1,520	1,741	1,785	N/A

all tenures
with a solid fuel appliance	1,265	1,582	1,721	1,695	1,668
with no solid fuel appliance	6,477	7,538	8,442	9,004	9,566
all dwellings	7,742	9,120	10,163	10,699	11,235
					percentages
owner occupiers
with a solid fuel appliance	37.0	45.5	51.9	52.2	N/A
with no solid fuel appliance	33.9	37.9	40.6	42.7	N/A
all dwellings	34.5	39.4	42.8	44.5	N/A

private renters
with a solid fuel appliance	35.2	39.9	42.2	46.9	N/A
with no solid fuel appliance	27.5	34.1	38.8	41.5	N/A
all dwellings	28.0	34.5	39.0	41.8	N/A

all private sector
with a solid fuel appliance	36.8	44.9	50.8	51.7	N/A
with no solid fuel appliance	32.1	36.8	40.1	42.4	N/A
all dwellings	32.9	38.2	41.9	43.9	N/A

all social sector
with a solid fuel appliance	49.9	51.1	40.9	58.5	N/A
with no solid fuel appliance	30.8	37.1	42.8	43.4	N/A
all dwellings	31.2	37.3	42.7	43.6	N/A

all tenures
with a solid fuel appliance	37.1	45.0	50.7	51.8	52.8
with no solid fuel appliance	31.9	36.9	40.6	42.6	44.5
all dwellings	32.6	38.1	42.0	43.8	45.6
					sample size
owner occupiers
with a solid fuel appliance	1,073	1,098	1,081	1,053	N/A
with no solid fuel appliance	4,067	4,144	4,253	4,405	N/A
all dwellings	5,140	5,242	5,334	5,458	N/A

private renters
with a solid fuel appliance	220	240	236	187	N/A
with no solid fuel appliance	2,332	2,411	2,419	2,358	N/A
all dwellings	2,552	2,651	2,655	2,545	N/A

all private sector
with a solid fuel appliance	1,293	1,338	1,317	1,240	N/A
with no solid fuel appliance	6,399	6,555	6,672	6,763	N/A
all dwellings	7,692	7,893	7,989	8,003	N/A

all social sector
with a solid fuel appliance	87	75	70	59	N/A
with no solid fuel appliance	4,513	4,352	4,503	4,238	N/A
all dwellings	4,600	4,427	4,573	4,297	N/A

all tenures
with a solid fuel appliance	1,380	1,413	1,387	1,299	N/A
with no solid fuel appliance	10,912	10,907	11,175	11,001	N/A
all dwellings	12,292	12,320	12,562	12,300	N/A
Notes:
1) Due to the COVID-19 pandemic, it was not possible for EHS surveyors to conduct a full internal inspection of properties in 2020. As a result, 2020 data has been modelled from 2018 and 2019 data. See the technical notes for more details.
2) Dwellings with a solid fuel appliance includes those where the survey has recorded that solid fuel is used for at least one of the main heating system, secondary heating systems (e.g. wood burners), boilers used for water heating only, backboiler or other water heating appliances

3) Percentages are those with a carbon monoxide detector, out of all dwellings in that tenure either with or without a solid fuel appliance
Sources:
2016-2019: English Housing Survey, dwelling sample
2020: English Housing Survey, extrapolated data