## How to use the Tool
Property Assessment Framework Scoring Tool
Navigation Panel
How to use the Tool
About this page
This page explains how to use this sheet to complete and submit a property self-assessment for your organisation. Navigation There is a navigation panel on each page, allowing you to access tabs. Viewing Progress View the 'Summary' tab to see an aggregated view of this submission.
Steps:
| 1 | Ensure you are using the right version of the tool.
| 2 | Fill in the details of your organisation on the 'Cover Sheet' tab. This will include free text entries as well as choosing from drop downs.
| 3 | To fill out an assessment for a standard, navigate to the tab (e.g. Theme 1, Theme 2, Theme 3 etc, or using the navigation panel) for the theme you wish to fill out information for.
| 4 | Use the yellow boxes in the "summary rating and score" section at the top of the page to indicate whether you will or will not be submitting an assessment for each Practice Area under the Theme. If you choose 'no', the boxes for the Practice Area will turn grey, indicating you do not have to fill this in.
| 5 | For each Criteria, within the selected Practice Areas, select a statement from the pre-defined options in the "Attainment" column which best describes the performance of your organisation.
| 6 | Add supporting evidence in the free text box for each Criteria. This also applies for the Practice Areas for which your organisation will not be submitting an assessment, in this case include why your organisation will not be submitting a response for that particular Practice Area.
Remember to save the sheet regularly!
Version 6.2 by KP - issued 23/01/2023
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 5
Theme 6
Theme 7
Theme 2
Theme 3
Theme 4
Summary

## Scoring Model
Property Assessment Framework Scoring Tool
Navigation Panel
Scoring Model
About this page
This page explains the methodology adopted to derive the scores and ratings for the self-assessment submissions using this Assessment Tool.
Definitions
Rating | This refers to 'Development', 'Good', 'Better' and 'Best', as per the levels of maturity available in the Assessment Framework
Score | This is the organisation's score out of 100%. This score is calculated based on the answers for each of the criteria. 100% is attributable by practice area - 55% to ‘good’, 25% to ‘better’ and 20% to ‘best’.
The 3 point scale | This is the available choice of predefined answers that an organisation can choose for each Criteria
Scoring Model
Assessment scores are calculated by using the self-assessment tool. Organisations are required to select an "attainment" level against each of the Criteria included in the Practice Areas. Attainment is scored on three levels as shown in the table below:
Attainment | Definition | Value of statement
Not, or seldom met | The organisation finds there is no evidence, or only isolated evidence, to satisfy consistent attainment of the Criteria. | 0
Partially met | The organisation finds significant evidence of attaining the Criteria but is inconsistently applied. | 0.5
Fully met | The organisation is satisfied that the criteria is fully met or the substantial majority of property delivery consistently fulfils the Criteria. | 1
Where an indicator does not apply, organisations should select 'N/A' and note any extenuating circumstances in the summary comments sections of the self-assessment tool. It will be removed from the calculations above. The tool aggregates the values entered for each criteria to give an overall percentage score and corresponding maturity rating for that Practice Area. Percentage bandings for each maturity rating are shown in the table below:
Weighting
Weighting has been applied to ensure that the final rank attributed to Practice Area is reflective of the value add of the individual indicator ratings. This means that each Criteria and selected attainment level will have a differing impact on the final score and subsequent maturity rating. The aim of weighting is to ensure that the aggregate score for the Practice Area is reflective of performance rather than the ratio of questions in 'good', 'better' and 'best' criteria.
The table below shows the scale adopted in this methodology.
The tool aggregates the values from all the assessed Criteria to give an overall maturity rating:
Maturity Rating | Applicable percentage ranges within the maximum available score
In development | 0% - <40%
Good | 40% - <70%
Better | 70% - <90%
Best | 90% - 100%
Cover Sheet
Overview of Findings
Theme 1
Theme 5
Theme 6
Theme 7
Theme 2
Theme 3
Theme 4
Summary
How to use the Tool

## Cover Sheet
OFFICIAL SENSITIVE
Property Assessment Framework Scoring Tool
Cover Sheet
| Please fill in the information requested below: |  | Navigation Panel
Your Organisation's Details
| A | Organisation Type
| B | Parent Department
| C | If Other, please indicate organisation type
| D | Name of Arms Length Body
| E | If Other
| F | Name of Organisation/ NHS/ Local Authority/ University / Housing Association / Other
| G | If Other
| H | Name of Organisation Subsidiary (if applicable)
Assessment Owner and Approvals
| J | Assessment Owner Name
| K | Assessment Owner Email Address
| L | Date Self Assessment Completed
| M | Self Assessment Approved?
| N | Name of Approver
| O | Position of Approver
Peer Review
| P | Have any organisations peer reviewed this assessment?
| Q | Name of peer reviewer organisation
Overview of Findings
Theme 1
Theme 5
Theme 6
Theme 7
Theme 2
Theme 3
Theme 4
Summary
How to use the Tool
Scoring Model

## Overview of Findings
Please provide a written summary of the key findings against each practice area to provide context for the the data in this tool. This may include a brief description of the headlines, type of evidence gathered, exceptions to the findings that contributed to the overall rating for that area or any other sector specific priortities that benefit from further detail and explanation. |  | Navigation Panel
Theme/ Practice Area | Summary of self-assessment findings
Theme 1. Capability & Capacity
Practice area 1.1 Learning
Practice area 1.2 Assurance & Continuous Improvement
Practice area 1.3 Strategic Workforce Planning
Practice area 1.4 Recruitment, Induction & Training
Practice area 1.5 Workload & Change Management
Theme 2. Data & Management Information (including financial)
Practice area 2.1 Asset Inventory Data
Practice area 2.2 Building Information Modelling & Information Management
Practice area 2.3 Condition Survey Data
Practice area 2.4 Risk
Practice area 2.5 Performance Reporting
Practice area 2.6 Whole Life Costs
Practice area 2.7 Financial Management for Property
Theme 3. Planning & Decision Making
Practice area 3.1 Context
Practice area 3.2 Strategic Asset Management Plans (SAMPs)
Practice area 3.3 Delivery Plans
Practice area 3.4 Life Cycle Options
Practice area 3.5 New Building Projects & Acquisitions
Practice area 3.6 Operation
Practice area 3.7 Disposals
Theme 4. Operational Performance
Practice area 4.1 Safety
Practice area 4.2 Security
Practice area 4.3 Health & Wellbeing
Practice area 4.4 Workplace & Facilities Management
Practice area 4.5 Information Technology
Theme 5. Sustainability & Stewardship
Practice area 5.1 Sustainability Targets
Practice area 5.2 Energy Efficiency
Practice area 5.3 Conservation, Remediation & Adaptation
Theme 6. Engagement, Transactions & Contract
Practice area 6.1 Procurement
Practice area 6.2 Due Diligence
Practice area 6.3 Communications
Theme 7. Governance & Strategy
Practice area 7.1 Governance & Management Frameworks
Practice area 7.2 Roles & Accountabilities
Practice area 7.3 Property Strategy
Practice area 7.4 Governance in Separate Jurisdictions, within UK & Overseas
Practice area 7.5 Use of Guidance
Practice area 7.6 Management of the Property Function Across Government
Theme 1
Theme 5
Theme 6
Theme 7
Theme 2
Theme 3
Theme 4
Summary
How to use the Tool
Scoring Model
Cover Sheet

## Sheet1 (hidden)
Theme/Practice Area | Number | Practice Area | Rating of Criteria | Criteria | Summary of Supporting Evidence
1. Principles & Context | 1.1 | Principles | Good | Functional standard principles are referenced in your organisation’s property strategy - setting expectations for them to be upheld. | Organisational strategy refers to GovS 004 principles.
1.1. Principles | 1.1 | Principles | Better | Examples can be evidenced of property function activity or projects implementing the principles in practice. | A learning culture has been established / Sustainability is embedded in new projects
1.2. Context | 1.1 | Principles | Best | All principles can be shown to be applied in practice. | Robust processes are in place to manage risk against all the principles.
| 1.2 | Context | Good | Decision-making within the organisation takes account of the wider, cross- government context. | Business cases show interaction with relevant parts of cross-government machinery.
2. Governance | 1.2 | Context | Better | Examples can be evidenced of effective working relationships for property management between sponsor department and ALB or other delivery organisations as well as the centre of government (CO / HMT). | Assets of Arm’s Length Bodies are managed appropriately for the status of the ALB.
2.1 Governance | 1.2 | Context | Best | Alignment between departmental and government-wide objectives is maintained systematically, such as by participation in any relevant cross-government property forum. | Strategy and delivery plans support both national and organisational objectives.
| 2.1 | Governance | Good | A governance and management framework for the organisation’s property function has been documented, showing its system overview, structures, decision making processes, Terms of Reference, and job roles, and defines remits and authority limits for decision-making. | Contracts and commissioning (e.g FM / repair contracts or policy reviews) refer to, and issue correctly from, the governance and management framework(s)
3. Strategy & Plans | 2.1 | Governance | Good | Roles and accountabilities are defined and assigned to people with appropriate seniority, skills and experience. | Contracts and commissioning (e.g FM / repair contracts or policy reviews) refer to, and issue correctly from, the governance and management framework(s)
3.1. Property Strategy | 2.1 | Governance | Better | The governance and management framework for property is well embedded in the organisation by key documents being referenced from relevant commissions, or project and job descriptions
3.2. Property Delivery Plans | 2.1 | Governance | Better | The Accounting Officer and Property Leader ensure that the organisation periodically reviews whether roles and accountabilities are assigned to suit the scale and needs of the estate.
3.3. Strategic Asset Management Plans (SAMPs) | 2.1 | Governance | Best | A comprehensive governance and management framework includes systems for responding to change, including continuous improvement opportunities. | Governance and management framework(s) include clear triggers for assurance and capability reviews, and to take learning from improvement processes.
| 2.1 | Governance | Best | Intelligent Client and Property Manager roles are effectively delivered. | Governance and management framework(s) include clear triggers for assurance and capability reviews, and to take learning from improvement processes.
4. Assurance | 3.1 | Property Strategy | Good | Your organisation has a current property strategy, developed either internally or in collaboration between your delivery organisation and Intelligent Client function.
4.1. Decision Making | 3.1 | Property Strategy | Good | Intentions for significant changes in asset portfolio or property management are set out in your organisation’s business plan.
4.2. Assurance Reviews | 3.1 | Property Strategy | Better | The property strategy for your organisation is consistent with the cross-government property strategy (Government Estate Strategy). | If applicable, relocation plans have been made to support the Locations and People programme (Levelling Up policy).
4.3. Capability & Capacity | 3.1 | Property Strategy | Best | The organisational property strategy and the cross-government property strategy are supported through transformational change programmes.
| 3.2 | Property Delivery Plans | Good | Delivery plans (including event pipelines) are proportionate to your organisation’s property portfolio and outline all significant expected changes, especially those coming forward for business case approval under spend controls. | Plans are in place to deliver the property strategy.
5. Leadership | 3.2 | Property Delivery Plans | Better | Property projects outlined at strategic level are defined in plans, specifying whether they are for acquisitions, disposals, retentions (when disposal would be possible, such as passing a lease break) or investments (such as refurbishment or extension), and whether wider estate transformation is involved. | Plans cover all anticipated changes for the SR period
5.1. Senior Officer Accountable for Property Assets | 3.2 | Property Delivery Plans | Best | Alignment with business plans and cross-government strategies is demonstrated, including workforce and resourcing plans. | All assets are covered by current strategy and plans and data recording.
5.2. Senior Officer Accountable for Property Management | 3.2 | Property Delivery Plans | Best | Essential data for all assets entered into property databases. | All assets are covered by current strategy and plans and data recording.
| 3.3 | Strategic Asset Management Plans (SAMPs) | Good | A current SAMP outlines how your organisation’s property strategy will be translated into delivery plans and projects for implementation. | The SAMP presents a clear overview of the organisation’s property strategy, delivery plans and pipeline of forthcoming projects.
6. Property Life Cycle | 3.3 | Strategic Asset Management Plans (SAMPs) | Good | Suitable versions can be (i) shared with OGP to satisfy the latest commission from Head of Function; (ii) published on GOV.UK, after approval by the Accounting Officer. | The SAMP presents a clear overview of the organisation’s property strategy, delivery plans and pipeline of forthcoming projects.
6.1. Whole Life Costs | 3.3 | Strategic Asset Management Plans (SAMPs) | Better | Your SAMP summarises the organisation’s property strategy and delivery plans in a way that enables easy integration with the cross-government delivery coordination plan (Function Plan). | Information supplied to satisfy cross-government programme data collection is consistent with the SAMP.
6.2. New Building Projects and Acquisitions | 3.3 | Strategic Asset Management Plans (SAMPs) | Better | Supplementary information is added whenever necessary to maintain the SAMP as a ‘live’ document. | Information supplied to satisfy cross-government programme data collection is consistent with the SAMP.
6.3. Value for Money and Sustainable Building Operation | 3.3 | Strategic Asset Management Plans (SAMPs) | Best | The SAMP is complemented by an assessment of capability and capacity for implementing the organisation’s property strategy and delivery plans, undertaken through an assurance review.
6.4. Workplace & Facilities Management | 3.3 | Strategic Asset Management Plans (SAMPs) | Best | Your SAMP considers any potential for mutual support via the cross- government property function.
6.5. Disposals | 4.1 | Decision Making | Good | Business cases are prepared on a whole-life basis in accordance with Government Functional Standard GovS 006, Finance.
| 4.1 | Decision Making | Good | Programmes and projects are managed in accordance with Government Functional Standard GovS 002, Project delivery.
7. Management Practices - Data, Information & Digital Modelling | 4.1 | Decision Making | Good | The quality of business cases that are eligible to be part of the Government Major Projects Portfolio is examined and validated by the Infrastructure and Projects Authority
7.1. Information Management | 4.1 | Decision Making | Better | The HMT Green Book is used appropriately to demonstrate the viability of business cases from strategic, economic, commercial, financial and management perspectives. | Decisions are holistic, taking account of social, economic and environmental considerations. OR Decisions are made following effective stakeholder consultation and options analysis.
7.2. Performance Reporting | 4.1 | Decision Making | Better | Construction, procurement, or transformational projects utilise the advice given in IPA guidance, such as Transforming Infrastructure Performance: Roadmap to 2030 | Decisions are holistic, taking account of social, economic and environmental considerations. OR Decisions are made following effective stakeholder consultation and options analysis.
7.3. Building Information Modelling (BIM) | 4.1 | Decision Making | Best | Supplementary appraisal guides issued by departments or professional bodies are used to support decision making with regard to social value, safety and sustainability considerations.
| 4.1 | Decision Making | Best | Projects take account of the National Infrastructure Strategy, Construction Playbook, and IPA Routemap modules, including Asset Management, and achieve best practice outcomes.
8. Management Practices - General | 4.2 | Assurance Reviews | Good | A framework for continuous improvement including assurance reviews is in place, involving self-assessment processes.
8.1. Risk | 4.2 | Assurance Reviews | Better | Self-assessment is strengthened by peer review or similar forms of external support or benchmarking, resulting in examples of improvement | Assurance is a productive part of a learning and continuous improvement culture.
8.2. Programme & Project Management | 4.2 | Assurance Reviews | Best | Self-assessment processes feed into and complement three levels of assurance (4.6.1).
8.3. ICT | 4.3 | Capability & Capacity | Good | A capability and capacity review is undertaken regularly or at appropriate times to ensure that business needs can be met by the available human resources. | A Capability and Capacity Blueprint has been prepared in line with OGP guidance.
| 4.3 | Capability & Capacity | Good | The property function for your organisation has a role in strategic workforce planning (following Government Functional Standard GovS 003, Human Resources) and has made an assessment of its own future capability and capacity. | A Capability and Capacity Blueprint has been prepared in line with OGP guidance.
9. Management Practices - Core Themes | 4.3 | Capability & Capacity | Better | Roles and responsibilities are adjusted to suit the scale and needs of the estate using the Government Property Career Framework. | A capability review was undertaken when a property transformation programme was adopted.
9.1. Sustainability | 4.3 | Capability & Capacity | Better | Capacity and capability assessments include the management of individual property projects (in accordance with GovS 002, Project delivery). | A capability review was undertaken when a property transformation programme was adopted.
9.2. Health, Safety & Wellbeing | 4.3 | Capability & Capacity | Better | Your organisation uses resources provided centrally to benchmark and drive recruitment, induction, training and development in the property function. | A capability review was undertaken when a property transformation programme was adopted.
9.3. Security | 4.3 | Capability & Capacity | Best | The Intelligent Client role for the organisation has been reviewed, using a GPA guide or other best practice professional methodology. | Technical and specialist roles are assigned or commissioned in relation to specified needs and to other roles, with any necessary training.
| 4.3 | Capability & Capacity | Best | Management of training includes: an analysis of needs, strategy for development, maintaining briefings and courses, with monitoring of the effectiveness of training provided. | Technical and specialist roles are assigned or commissioned in relation to specified needs and to other roles, with any necessary training.
10. Management Practices - Support | 5.1 | Senior Officer Accountable for Property Assets | Good | The senior officer accountable for property assets is clearly identifiable and ensures that governance of property is integral to the organisation’s management.
10.1. Financial, Commerical & Legal Aspects | 5.1 | Senior Officer Accountable for Property Assets | Better | Property can be shown to be an effective enabler of business objectives by examples or case studies. | Property projects enable specific change management programme(s).
10.2. Governance - Separate Jurisdictions | 5.1 | Senior Officer Accountable for Property Assets | Better | GovS 004 Property and its supporting governance and management framework is referenced from the Accounting Officer System Statement (or the equivalent in an Arm’s Length Body) | Property projects enable specific change management programme(s).
10.3. Learning | 5.1 | Senior Officer Accountable for Property Assets | Best | Property can be shown to be a systemic enabler of business objectives through transformational programmes. | The organisation’s business plan (Outcomes Delivery Plan) refers formatively to the estate.
10.4. Recruitment, Induction & Training | 5.2 | Senior Officer Accountable for Property Management | Good | The senior officer accountable for property management is familiar with delivery plans setting out how the property strategy is to be implemented, including the strategic asset management plan, property event pipeline, and any other kind of delivery plan that might be necessary for productive management of the estate.
| 5.2 | Senior Officer Accountable for Property Management | Better | The Property Leader has defined pathways for reviewing, challenging, and resetting strategic direction for the organisation’s estate. | An FM contract has been awarded following central guidance to meet the needs of the organisation.
11. Non-Mandatory Content of the Standard | 5.2 | Senior Officer Accountable for Property Management | Better | Contracts and appointments meet the needs of the organisation. | An FM contract has been awarded following central guidance to meet the needs of the organisation.
11.1. Advisory Content - "Should" Statements | 5.2 | Senior Officer Accountable for Property Management | Better | Assurance and capability reviews are carried out. | An FM contract has been awarded following central guidance to meet the needs of the organisation.
| 5.2 | Senior Officer Accountable for Property Management | Best | The Property Leader ensures that all roles and accountabilities interact effectively within the organisation - including FM management responsibilities and coordination in each site or location (via the Property Manager role), especially on sites in shared occupancy. | Specialist advice has been commissioned for dealing with conservation issues on heritage estate.
| 6.1 | Whole Life Costs | Good | The property function provides the finance team with whole life property cost profiles for budgeting purposes. | Analysis identifies historic, current and future maintenance or service charge liabilities, following FM Services and Asset Data standards.
| 6.1 | Whole Life Costs | Better | Decisions to invest in refurbishment, extension or adaptation are taken with regard to whole life costs and a thorough options analysis.
| 6.1 | Whole Life Costs | Better | Toolkit(s) are in use for calculating whole life costs.
| 6.1 | Whole Life Costs | Best | The relevance and importance of community, place, heritage, environmental quality and accessibility are considered in comprehensive options analyses.
| 6.1 | Whole Life Costs | Best | Decision making is followed through with timely actions to achieve benefits.
| 6.2 | New Building Projects and Acquisitions | Good | New build property solutions comply with organisational requirements and cross-government standards, including the Common Minimum Standards for Construction. | Projects for constructing new or adapting existing government buildings take account of government guidance on project initiation. OR Office projects make use of Government Hubs policy and its associated design guidance.
| 6.2 | New Building Projects and Acquisitions | Good | Design of government buildings follows design guides adopted in cross-government and organisational management frameworks, such as guidance for the design of offices, schools, hospitals, or prisons. | Projects for constructing new or adapting existing government buildings take account of government guidance on project initiation. OR Office projects make use of Government Hubs policy and its associated design guidance.
| 6.2 | New Building Projects and Acquisitions | Good | In procurement using government buying standards, when options are being assessed, a costed option to achieve a higher rating than the minimum is evaluated. | Projects for constructing new or adapting existing government buildings take account of government guidance on project initiation. OR Office projects make use of Government Hubs policy and its associated design guidance.
| 6.2 | New Building Projects and Acquisitions | Good | The senior officer accountable for property strategy across government is consulted in accordance with property spend control requirements. | Projects for constructing new or adapting existing government buildings take account of government guidance on project initiation. OR Office projects make use of Government Hubs policy and its associated design guidance.
| 6.2 | New Building Projects and Acquisitions | Better | The senior officer accountable for property strategy across government is consulted before a commitment is made to a new acquisition or construction project | Communication with stakeholders is an integral part of delivery planning and in any engagements follows GovS 011, Communication.
| 6.2 | New Building Projects and Acquisitions | Better | Managers of construction projects make arrangements for efficient transition into operational phases as an integral part of the project from the outset. | Communication with stakeholders is an integral part of delivery planning and in any engagements follows GovS 011, Communication.
| 6.2 | New Building Projects and Acquisitions | Better | Projects for constructing new or adapting existing government buildings take account of:Government guidance on project initiation, including Transforming Infrastructure Performance. Current options for modern methods of construction (MMC). Government policy for climate change and guidance provided in the Net Zero Estate Playbook. | Communication with stakeholders is an integral part of delivery planning and in any engagements follows GovS 011, Communication.
| 6.2 | New Building Projects and Acquisitions | Best | Government guidance on project initiation is employed including Transforming Infrastructure Performance
| 6.2 | New Building Projects and Acquisitions | Best | If there is a need for commercial activity to acquire new property, the market is engaged early and requirements set to be accessible to as many suppliers as possible.
| 6.3 | Value for Money and Sustainable Building Operation | Good | Commercial arrangements and maintenance contracts comply with GovS 008, Commercial
| 6.3 | Value for Money and Sustainable Building Operation | Good | Condition and energy surveys are conducted regularly and at least every five years.
| 6.3 | Value for Money and Sustainable Building Operation | Better | The organisation has a maintenance strategy which is regularly updated and aligned to the SAMP (including resourcing).
| 6.3 | Value for Money and Sustainable Building Operation | Better | A plan exists for sustainability, including a pathway to Net Zero for each building or portfolio.
| 6.3 | Value for Money and Sustainable Building Operation | Best | W&FM practices include comprehensive and consistent condition surveys and a means of measuring building performance in operation. | The organisation has an assessment of the likely impact on service delivery of any under-investment in property maintenance.
| 6.4 | Workplace & Facilities Management | Good | Recognised standards for workplace and facilities management are used as the basis for defining the services needed, regardless of whether the services are provided through in-house operations or outsourced to a delivery organisation. | Acoustic, lighting and air quality characteristics of meeting rooms, office space and other work areas are assessed and made suitable for their intended use. OR Management aligns with the FM Standards for Asset data and Services.
| 6.4 | Workplace & Facilities Management | Good | A sourcing strategy defines the elements that will be delivered within the organisation or by external suppliers respectively. | Acoustic, lighting and air quality characteristics of meeting rooms, office space and other work areas are assessed and made suitable for their intended use. OR Management aligns with the FM Standards for Asset data and Services.
| 6.4 | Workplace & Facilities Management | Better | Utilisation of meeting rooms and other workspaces has been optimised by creating facilities that can be used flexibly for different purposes, by different users.
| 6.4 | Workplace & Facilities Management | Better | Smarter Working has been assessed and has reached a growing level of maturity.
| 6.4 | Workplace & Facilities Management | Best | Integrated workplace management systems are in use to enhance agile working, space utilisation and building performance. | Smart and hybrid working is optimised.
| 6.5 | Disposals | Good | Sales of freehold are preceded by consultation with other public sector bodies through the Register of Surplus Public Sector Land, which is held by the Office of Government Property. | Disposals follow current guidance for the disposal of government property.
| 6.5 | Disposals | Better | A strategy for disposals is maintained, including an assessment of the potential of existing assets for beneficial alternative uses.
| 6.5 | Disposals | Best | Potential disposals of surplus assets are being implemented and beneficial alternatives are being delivered.
| 7.1 | Information Management | Good | Records of all property assets are accurate and up to date in both departmental and central government databases, in accordance with data standards, using metric units of measurement | Property records use the current Data Standard published by OGP for the digital National Asset Register (InSite).
| 7.1 | Information Management | Good | Information on non-strategic assets (such as individual components of a building) is recorded in the organisation’s own property management data systems. | Property records use the current Data Standard published by OGP for the digital National Asset Register (InSite).
| 7.1 | Information Management | Better | Property management information is produced directly from operational data base(s) and metrics include indicators as recommended in GovS 004 (6.3) | Information on non-strategic assets is consistent with the FM Asset Data standard.
| 7.1 | Information Management | Best | Informative notes are added to asset records if strategic assets have potential for beneficial alternative use
| 7.2 | Performance Reporting | Good | Reporting includes benchmarking and data required for the State of the Estate report (SOFTE). | Parliament receives good quality information from the organisation on the performance of its property portfolio.
| 7.2 | Performance Reporting | Better | Data is organised to facilitate inputs to SOFTE without additional processing.
| 7.2 | Performance Reporting | Best | Positive case studies can be contributed to the SOFTE report.
| 7.3 | Building Information Modelling (BIM) | Good | Building Information Modelling is used for all new projects, undertaken in accordance with the prevailing modelling standards.
| 7.3 | Building Information Modelling (BIM) | Better | ‘Digital twins’ provide a shared knowledge resource in use as the basis for many decisions. | BIM is being used to add value in the design and construction phases of property, and to support building management during the life of the asset.
| 7.3 | Building Information Modelling (BIM) | Best | Procurement of digital models takes advantage of opportunities to demonstrate leadership in the advancement of BIM for the UK construction sector.
| 8.1 | Risk | Good | Risk is managed throughout the property life cycle to minimise physical, financial and other liabilities. | Guidance in the HMT Orange Book is used and implemented to manage risk associated with the organisation’s property holdings.
| 8.1 | Risk | Good | Requirements of the Orange Book: management of risk – principles and concepts, are met. | Guidance in the HMT Orange Book is used and implemented to manage risk associated with the organisation’s property holdings.
| 8.1 | Risk | Better | A defined framework for risk management covers initial assessment, mitigation and control, addressing priorities.
| 8.1 | Risk | Best | Plans for business continuity and resilience are in place that will minimise disruption.
| 8.2 | Programme & Project Management | Good | Changes to a property portfolio, such as new construction, lease extensions or freehold acquisitions, refurbishment projects, relocations or disposals, are managed as projects in accordance with GovS 002, Project delivery.
| 8.2 | Programme & Project Management | Good | Contracts for new or refurbished facilities include provision of operational handbooks (or equivalent documentation), post-construction operational advice and support.
| 8.2 | Programme & Project Management | Better | End users are involved during design of new facilities and their needs are considered. | Guidance on Government Soft Landings is in use to guide transitions and end-users.
| 8.2 | Programme & Project Management | Better | Projects include support of people moving from their previous locations to new or refurbished property. | Guidance on Government Soft Landings is in use to guide transitions and end-users.
| 8.2 | Programme & Project Management | Best | Post-occupancy evaluation and feedback is given to design teams and construction teams to inform future practice, and is stored in the Building Information Model.
| 8.3 | ICT | Good | Information and communication technology systems enable flexibility for varying workforce conditions and staff deployments. | ICT is matched to the security requirements of building occupants.
| 8.3 | ICT | Better | Design of ICT demonstrably improves productivity, including efficient access for people working remotely.
| 8.3 | ICT | Best | ICT has been installed in managed sites to benefit citizens by improving the reach and efficiency of transmissions infrastructure. | Mast installation by external service providers facilitates new broadband services.
| 9.1 | Sustainability | Good | Management of all property is directed towards compliance with government environmental and sustainability policies, including Net Zero.
| 9.1 | Sustainability | Good | Buildings meet the minimum energy efficiency standards (MEES), all certification is available / on display (DEC and EPC) and recommendations of DEC advisory reports are being addressed.
| 9.1 | Sustainability | Better | Plans are in place to achieve sustainability targets within defined timescales before 2030. | Opportunities for generation of clean energy on land and within buildings are appraised and included within SAMPs.
| 9.1 | Sustainability | Better | Monitoring is in place to report the actual (operational) energy performance of all buildings. | Opportunities for generation of clean energy on land and within buildings are appraised and included within SAMPs.
| 9.1 | Sustainability | Better | Land that is contaminated has been assessed for remediation to determine the action required to bring it to an acceptable standard of environmental quality. | Opportunities for generation of clean energy on land and within buildings are appraised and included within SAMPs.
| 9.1 | Sustainability | Best | Comprehensive reporting is in place for achieving Net Zero, Net Gain, water quality and consumption, waste reduction and recycling.
| 9.1 | Sustainability | Best | Renewable sources of energy are in use and meeting an increasing proportion of the total requirement.
| 9.2 | Health, Safety & Wellbeing | Good | Building and land assets are assessed regularly for safety risks. Risks identified are recorded, notified to management, and minimised. | Testing of electrical and other equipment is carried out to the required legal standard or FM contract obligations. OR Health and safety files are handed over at the end of building projects. OR Records are maintained of key components of building structures that could carry risk for health and safety, based on appropriate inspection regimes by competent people.
| 9.2 | Health, Safety & Wellbeing | Good | Users of government property are protected from avoidable harm. Fire risk assessments are carried out by the responsible person. Routines for the safe evacuation of buildings are practiced regularly. Workplace and service delivery conditions fulfil the prevailing industry and Health and Safety Executive (HSE) standards and as specified in facilities management and other contracts. | Testing of electrical and other equipment is carried out to the required legal standard or FM contract obligations. OR Health and safety files are handed over at the end of building projects. OR Records are maintained of key components of building structures that could carry risk for health and safety, based on appropriate inspection regimes by competent people.
| 9.2 | Health, Safety & Wellbeing | Better | Wellbeing of users is considered when undertaking planned and preventative maintenance of buildings.
| 9.2 | Health, Safety & Wellbeing | Better | Building accessibility complies with statutory requirements and achieves a higher standard.
| 9.2 | Health, Safety & Wellbeing | Best | Heating, cooling, lighting, noise and air quality are regularly monitored and adjusted for human comfort in addition to mandatory standards set by the Health and Safety Executive.
| 9.3 | Security | Good | Design and management of buildings and land takes minimum security standards into account, enabling reporting against minimum security standards in accordance with guidance and Government Security Policy.
| 9.3 | Security | Good | Incident response plans follow GovS 007, Security
| 9.3 | Security | Better | Work spaces have been designed to match security levels and classifications in a way that maximises their productivity. | Security passes implement necessary security regimes efficiently.
| 9.3 | Security | Best | Interactions between security, safety, environmental and other property-related services are facilitated and optimised.
| 10.1 | Financial, Commerical & Legal Aspects | Good | Contracts for the construction, purchase or leasing of new buildings or other property services are entered into or renewed only after completing due diligence, taking account of the financial status and stability of the supplier.
| 10.1 | Financial, Commerical & Legal Aspects | Good | Projects involving procurement follow national procurement policy, the Commercial functional standard, GovS 008, and relevant frameworks managed by Crown Commercial Service.
| 10.1 | Financial, Commerical & Legal Aspects | Better | Due diligence includes counter-fraud measures, taking account of GovS 013, Counter Fraud. | Offshore ownership arrangements by landlords are scrutinised for financial probity to avoid money-laundering.
| 10.1 | Financial, Commerical & Legal Aspects | Best | Property managers obtain relevant financial and commercial guidance to undertake their roles effectively, and make themselves aware of current commercial and financial regulations and good practice.
| 10.2 | Governance - Separate Jurisdictions | Good | Property is managed to UK standards unless the local jurisdiction requires a different standard. | Jurisdiction for Devolved Administrations or overseas locations is followed or specification defaults to UK standards.
| 10.3 | Learning | Good | Health and safety files are handed over at the end of projects, to ensure continuity with retained knowledge.
| 10.3 | Learning | Better | Lessons from previous experience are identified and applied when planning and undertaking new work.
| 10.3 | Learning | Best | Actions include post-occupancy evaluation, monitoring and evaluation of usage, and user satisfaction | Organisation leaders update their management framework(s) and knowledge sources, and communicate learning across government.
| 10.4 | Recruitment, Induction & Training | Good | Induction and training are provided so that staff engaged in management of property assets can work in them safely as soon as is practical.
| 10.4 | Recruitment, Induction & Training | Better | Management of training includes an analysis of needs, strategy, availability of briefings and courses, and monitors effectiveness. | Apprentices are employed in building capacity for the property function.
| 10.4 | Recruitment, Induction & Training | Best | Talent and staff development fills gaps and provides leadership for property management.
| 11.1 | Advisory Content - "Should" Statements | Good | Takes some account | Establishing a regime for Electronic Communications.
| 11.1 | Advisory Content - "Should" Statements | Better | Takes account to a significant extent | Post-occupancy evaluation and monitoring of usage and user-satisfaction is arranged.
| 11.1 | Advisory Content - "Should" Statements | Best | Takes account throughout | Governance and management frameworks are updated in the light of experience.

## Theme 1
OFFICIAL
Property Assessment Framework Scoring Tool Theme 1 - Capability & Capacity | [10 empty] | Navigation Panel | Attainment List | 1.1 | Good | Good | Better | Better | Better | Best | Best | Best
[12 empty] | Substantially or Fully Meeting |  | G22 | G23 | G24 | G25 | G26 | G27 | G28 | G29 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Partially Meeting | Substantially or Fully Meeting | [9 empty] | Good | 0 | 55% | 27% | 0% | bar: G22 to G29
[12 empty] | Not or Seldom Meeting | Partially Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G22 to G29
[12 empty] | NA | Not or Seldom Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G22 to G29
Summary of Rating and Score
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 1.2 | G22: Good; G23: Better; G24: Best
[14 empty] | G22: G30; G23: G31; G24: G32 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [9 empty] | Good | 0 | 55% | 27% | 0% | bar: G22 to G24
|  |  | Practice Area | [9 empty] | Partially Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G22 to G24
|  |  | 1.1 Learning |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G22 to G24
|  |  | 1.2 Assurance & Continuous Improvement |  | Development | 0%
|  |  | 1.3 Strategic Workforce Planning |  | Development | 0% | [6 empty] | 1.3 | Good | Good | Good | Good | Good | Better | Better | Better | Better | Better | Best | Best | Best | Best |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  |  | 1.4 Recruitment, Induction & Training |  | Development | 0% | [7 empty] | G33 | G34 | G35 | G36 | G37 | G38 | G39 | G40 | G41 | G42 | G43 | G44 | G45 | G46 | Good | 0 | 55% | 27% | 0%
|  |  | 1.5 Workload & Change Management |  | Development | 0% | [6 empty] | Substantially or Fully Meeting | [14 empty] | Better | 0 | 25% | 13% | 0% | bar: G33 to G46
|  |  | Theme 1 - Capability & Capacity |  | Development | 0% | [6 empty] | Partially Meeting | [14 empty] | Best | 0 | 20% | 10% | 0% | bar: G33 to G46
Not or Seldom Meeting | bar: G33 to G46
[13 empty] | 1.4 | Good | Good | Good | Good | Better | Better | Better | Best | Best | Best |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  |  | G45 | G46 | G47 | G48 | G49 | G50 | G51 | G52 | G53 | G54 | Good | 0 | 55% | 27% | 0%
1.1 | Learning | Good | Systems are in place to capture valuable experience and covey it to others. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [10 empty] | Better | 0 | 25% | 13% | 0% | bar: G45 to G54
|  | Good | Teams share learning as part of project closure. |  |  | #N/A | [6 empty] | Partially Meeting | [10 empty] | Best | 0 | 20% | 10% | 0% | bar: G45 to G54
|  | Better | A storage facility is available to store and access learning from property projects. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G45 to G54
|  | Better | Lessons from previous experience are recoverable and re-examined when planning new work. |  |  | #N/A
|  | Better | Project initiation guidance or templates includes assessment of relevant past experience. |  |  | #N/A | [6 empty] | 1.5 | Good | Good | Good | Better | Better | Better | Best | Best | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Best | Routines include post-occupancy evaluation, and monitoring of usage and user satisfaction. |  |  | #N/A | [7 empty] | G55 | G56 | G57 | G58 | G59 | G60 | G61 | G62 | G63 |  | Good | 0 | 55% | 27% | 0%
|  | Best | Occupancy data is used to adjust current building operations and / or to design new property solutions. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [10 empty] | Better | 0 | 25% | 13% | 0% | bar: G55 to G63
|  | Best | Organisation leaders update management framework(s) in the light of experience, and communicate learning across government. |  |  | #N/A | [6 empty] | Partially Meeting | [10 empty] | Best | 0 | 20% | 10% | 0% | bar: G55 to G63
1.2 | Assurance & Continuous Improvement | Good | A framework and process for continuous improvement is in place, including assurance reviews based on self-assessment by operational management. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G55 to G63
|  | Better | Self-assessment is strengthened by peer review or similar forms of benchmarking, resulting in examples of improvement, with reporting of progress to senior management. |  |  | #N/A
|  | Best | Self-assessment and peer review processes feed into external assurance by independent bodies, including the adequacy and effectiveness of governance, risk management and spend controls. |  |  | #N/A | [6 empty] | Theme 1 'Yes' Practices | G55: 0
1.3 | Strategic Workforce Planning | Good | A capability and capacity review is undertaken regularly or at appropriate times to ensure that the needs of the property function can be met by the available human resources. |  |  | #N/A
|  | Good | Mapping roles to the Government Property Profession Career Framework has been undertaken to support the progression and development of the property function within the organisation. |  |  | #N/A
|  | Good | A resourcing strategy and target operating model is approved in a blueprint or equivalent and defines appropriate specialist and general capacity across the organisation. |  |  | #N/A
|  | Good | The property function has a role in strategic workforce planning for the whole organisation (following Government Functional Standard 003, Human Resources). |  |  | #N/A
|  | Good | The resourcing strategy promotes a diverse and inclusive workforce in line with human resourcing policies. |  |  | #N/A
|  | Better | Roles and responsibilities are adjusted to suit the scale and needs of the estate using the Government Property Career Framework. |  |  | #N/A
|  | Better | A capability and capacity review preceded the latest property transformation programme or project. |  |  | #N/A
|  | Better | A plan is in place to deliver the approved target operating model and resourcing strategy and is on track to be delivered. |  |  | #N/A
|  | Better | Capacity and capability assessments include the management of property projects (in accordance with Government Functional Standard 002, Project Delivery). |  |  | #N/A
|  | Better | Examples can be evidenced of diversity and inclusion being increased in the workforce through recent recruitment |  |  | #N/A
|  | Best | Intelligent Client roles and relationships between client and delivery bodies (if any) are regularly reviewed in depth, taking account of functional guidance and best practice professional methodology, to achieve coherent operational outcomes. |  |  | #N/A
|  | Best | The resourcing strategy and target operating model set out in the approved blueprint or equivalent is fully achieved. |  |  | #N/A
|  | Best | Technical and specialist roles are assigned or commissioned in relation to specified needs and to other established roles and are provided with all necessary training. |  |  | #N/A
|  | Best | Diversity and Inclusion is considered through all resourcing, development and performance management practices, with active interventions in place to increase the diversity of the team, particularly at senior levels. |  |  | #N/A
1.4 | Recruitment, Induction & Training | Good | Job specifications, with the appropriate level of accreditation set, are used to define any role needing to be recruited, and show how it will augment the capability and capacity of the property function. |  |  | #N/A
|  | Good | Induction and training are provided so that staff engaged in management of property assets can work in them safely as soon as is practical. |  |  | #N/A
|  | Good | All mandatory training (e.g. for asbestos, legionella, or other health and safety issues) is obtained and kept up to date by relevant people in the workforce. |  |  | #N/A
|  | Good | The organisation supports its workforce to access appropriate Continuing Professional Development, including opportunities for staff to act on learning where it is beneficial for improving organisational performance. |  |  | #N/A
|  | Better | Management of training includes an analysis of needs, strategy, availability of briefings and courses, and monitors effectiveness. |  |  | #N/A
|  | Better | Resources are provided by the organisation to benchmark and drive recruitment, induction, training and development in the property function. |  |  | #N/A
|  | Better | Roles at Senior Practitioner and Senior Leader will be held by appropriately accredited individuals, or those working towards and appropriate accreditation, as set out in the Career Framework. |  |  | #N/A
|  | Best | Talent and staff development fill gaps promptly and provide leadership for property management. |  |  | #N/A
|  | Best | Apprentices are employed in building capacity for the property function. |  |  | #N/A
|  | Best | Routes to accreditation are actively supported for Senior Practitioner and above, and Practitioners who wish to train. |  |  | #N/A
1.5 | Workload & Change Management | Good | Individuals in essential property management roles are resourced and supported by others to reflect changing workload and specialist skills required. |  |  | #N/A
|  | Good | Structural change requirements in the property function are anticipated and planned. |  |  | #N/A
|  | Good | Resilience is maintained by contingency planning. |  |  | #N/A
|  | Better | Resourcing is adjusted to match the prevailing workload, using people working full-time or part-time, in generalist or specialist roles. |  |  | #N/A
|  | Better | Structural change is managed as a project with initiation, stage management and closure delivering agreed outcomes. |  |  | #N/A
|  | Better | Continuity arrangements allow service delivery to be largely unaffected during a change programme. |  |  | #N/A
|  | Best | Senior leaders maintain an overview that considers the balance of work by in-house employees, mutual support across government of the property function, and contracting out. |  |  | #N/A
|  | Best | Opportunity is taken during structural change to achieve ancillary improvements. |  |  | #N/A
|  | Best | Agile working prevails at a level that can accommodate minor changes easily, without significant impact on continuity of service. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 1.1. Learning | 2 | 0 | 0 | 0 | 2 | 15
|  |  | 1.2. Assurance & Continuous Improvement | 1 | 0 | 0 | 0 | 1
|  |  | 1.3 Strategic Workforce Planning | 5 | 0 | 0 | 0 | 5
|  |  | 1.4 Recruitment, Induction & Training | 4 | 0 | 0 | 0 | 4
|  |  | 1.5 Workload & Change Management | 3 | 0 | 0 | 0 | 3
|  |  | Total | 15 | 0 | 0 | 0 | 15
0
Theme 5
Theme 6
Theme 7
Theme 2
Theme 3
Theme 4
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Please complete the Summary of Rating and Score table, by selecting Yes or No in column F, before completing the assessment table below.

## Theme 2
OFFICIAL
Property Assessment Framework Scoring Tool Theme 2 - Data & Management Information (including financial) | [10 empty] | Navigation Panel |  | 2.1 | Good | Good | Good | Better | Better | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Attainment List |  | G24 | G25 | G26 | G27 | G28 | G29 |  | Good | 0 | 55% | 27% | 0%
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | [7 empty] | Better | 0 | 25% | 13% | 0% | bar: G24 to G29
[12 empty] | Partially Meeting | Partially Meeting | [7 empty] | Best | 0 | 20% | 10% | 0% | bar: G24 to G29
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | bar: G24 to G29
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 2.2 | G24: Good; G25: Better; G26: Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[14 empty] | G24: G30; G25: G31; G26: G32 |  | Good | 0 | 55% | 27% | 0%
[13 empty] | Substantially or Fully Meeting | [7 empty] | Better | 0 | 25% | 13% | 0% | bar: G24 to G26
|  |  | Practice Area | [9 empty] | Partially Meeting | [7 empty] | Best | 0 | 20% | 10% | 0% | bar: G24 to G26
|  |  | 2.1 Asset Inventory Data |  | Development | 0% | [6 empty] | Not or Seldom Meeting | bar: G24 to G26
|  |  | 2.2 Building Information Modelling & Information Management |  | Development | 0%
|  |  | 2.3 Condition Survey Data |  | Development | 0% | [6 empty] | 2.3 | Good | Good | Good | Better | Better | Best | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  |  | 2.4 Risk |  | Development | 0% | [7 empty] | G33 | G34 | G35 | G36 | G37 | G38 | G39 |  | Good | 0 | 55% | 27% | 0%
|  |  | 2.5 Performance Reporting |  | Development | 0% | [6 empty] | Substantially or Fully Meeting | [8 empty] | Better | 0 | 25% | 13% | 0% | bar: G33 to G39
|  |  | 2.6 Whole Life Costs |  | Development | 0% | [6 empty] | Partially Meeting | [8 empty] | Best | 0 | 20% | 10% | 0% | bar: G33 to G39
|  |  | 2.7 Financial Management for Property |  | Development | 0% | [6 empty] | Not or Seldom Meeting | bar: G33 to G39
|  |  | Theme 2 - Data & Management Information (including financial) |  | Development | 0%
[13 empty] | 2.4 | Good | Good | Good | Better | Better | Better | Best | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[14 empty] | G40 | G41 | G42 | G43 | G44 | G45 | G46 | G47 |  | Good | 0 | 55% | 27% | 0%
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  | Substantially or Fully Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G40 to G47
2.1 | Asset Inventory Data | Good | Records of property assets are accurate and up to date in both departmental and central government databases. |  |  | #N/A | [6 empty] | Partially Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G40 to G47
|  | Good | Property records use the current Government Property Data Standard published by OGP and mandated for the cross-government asset data register (InSite). |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G40 to G47
|  | Good | Information on non-strategic assets (such as individual components of a building) is recorded in the organisation's property management data system in ways consistent with the FM Asset Data Standard. |  |  | #N/A
|  | Better | Property management information is produced directly from operational data base(s) and metrics include indicators as recommended in Government Functional Standard 004, Property. |  |  | #N/A | [6 empty] | 2.5 | G40: Good; G41: Good; G42: Better; G43: Best |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Better | Property records include qualitative data to show whether assets are regarded as fit for purpose, in good condition, and performing satisfactorily. |  |  | #N/A | [7 empty] | G40: G48; G41: G49; G42: G50; G43: G51 | Good | 0 | 55% | 27% | 0%
|  | Best | Informative notes are added to asset records if there is a potential for alternative use that would benefit government objectives or revenues. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [8 empty] | Better | 0 | 25% | 13% | 0% | bar: G40 to G43
2.2 | Building Information Modelling & Information Management | Good | Building Information Modelling is used for all new projects, undertaken in accordance with prevailing modelling standards. |  |  | #N/A | [6 empty] | Partially Meeting | [8 empty] | Best | 0 | 20% | 10% | 0% | bar: G40 to G43
|  | Better | Management of building information including 'digital twins' provide a shared knowledge resource that is used as the basis for operational decisions. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G40 to G43
|  | Best | Procurement takes advantage of opportunities to demonstrate leadership in the advancement of digital information management and BIM for the UK construction sector. |  |  | #N/A
2.3 | Condition Survey Data | Good | Condition surveys are undertaken by practitioners with the necessary competence and results recorded to convey essential information to decision makers. |  |  | #N/A | [6 empty] | 2.6 | Good | Good | Better | Better | Best |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Good | Condition surveys include building materials, structure and structural components, and alert managers to immediate risks. |  |  | #N/A | [7 empty] | G52 | G53 | G54 | G55 | G56 |  |  | Good | 0 | 55% | 27% | 0%
|  | Good | Condition and energy surveys are conducted regularly and at least every five years to ensure that management information is available for quarterly reporting and can be used as a basis for budgeting expenditure on repair, replacement and refurbishment. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | 0% | 0% | 0% | 0% | 0% |  |  | Better | 0 | 25% | 13% | 0%
|  | Better | Condition surveys correlate maintenance requirements (backlog, priority repairs, routine replacement) with foreseeable future needs. |  |  | #N/A | [6 empty] | Partially Meeting | 0% | 0% | 0% | 0% | 0% |  |  | Best | 0 | 20% | 10% | 0%
|  | Better | Analysis identifies historic, current and future maintenance costs and service charge liabilities, following FM Services and Asset Data Standards. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G40 to G44
|  | Best | Assessments are made of the likely impact under-investment in property maintenance on service delivery. |  |  | #N/A
|  | Best | Asset condition records include date of last survey, operational status of the property and life expectancy. |  |  | #N/A | [6 empty] | 2.7 | G40: Good; G41: Better; G42: Best | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
2.4 | Risk | Good | Building, land and infrastructure assets are assessed regularly for risks (including safety, climate adaptation, operational failure, financial or other) and risks identified are recorded, notified to management and minimised. |  |  | #N/A | [7 empty] | G40: G57; G41: G58; G42: G59; G47: Good | 0 | 55% | 27% | 0%
|  | Good | Plans for business continuity and resilience are in place that minimise disruption to premises and accommodation. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Better | 0 | 25% | 13% | 0%
|  | Good | Guidance in the HMT Orange Book is used and implemented for property. |  |  | #N/A | [6 empty] | Partially Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Best | 0 | 20% | 10% | 0%
|  | Better | A defined framework for risk management covers initial assessment, mitigation and control, addressing priorities. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G40 to G42
|  | Better | Risk is managed throughout the property lifecycle to minimise physical, financial and other liabilities. |  |  | #N/A
|  | Better | Risk assessment includes the need for adaptation to deal with climate change. |  |  | #N/A | [6 empty] | Theme 2 'Yes' Practices | G40: 0
|  | Best | Levels of risk are assessed in relation to matters that are important to the organisation. Strategic or major risks are defined and referenced in the strategic asset management plan. |  |  | #N/A
|  | Best | Robust processes are in place to manage risk against all the principles of the functional standard. |  |  | #N/A
2.5 | Performance Reporting | Good | Parliament receives good quality information via the State of the Estate report (SOFTE) on the performance of the organisation's property portfolio. |  |  | #N/A
|  | Good | Data is gathered and organised for regular inputs to management information and to SOFTE without customising processes. |  |  | #N/A
|  | Better | Data series include accurate and comprehensive coverage of running costs, energy and water consumption, waste, security, incident management, and user satisfaction. |  |  | #N/A
|  | Best | Exemplary case studies can be contributed to organisational or professional reports and the SOFTE report, including data on Modern Methods of Construction. |  |  | #N/A
2.6 | Whole Life Costs | Good | The property function provides finance team members with whole life property cost profiles for budgeting purposes. |  |  | #N/A
|  | Good | Allowance is made in maintenance budgets for historic, current and future liabilities, including service change liabilities and final dilapidations settlements. |  |  | #N/A
|  | Better | Decisions to invest in refurbishment, adaptation or enlargement are taken with regard to whole life costs and thorough options analysis. |  |  | #N/A
|  | Better | Toolkit(s) provided centrally for the property function are used for calculating whole life costs. |  |  | #N/A
|  | Best | The relevance and importance of Social Value (community, place, heritage, environmental quality and accessibility) are considered in options analyses or costings. |  |  | #N/A
2.7 | Financial Management for Property | Good | Financial planning, control and reporting or property projects is undertaken in accordance with Government Functional Standard 006 Finance. |  |  | #N/A
|  | Better | Options analysis for property projects includes financial estimates in advance of commitment to project initiation. |  |  | #N/A
|  | Best | Budgetary planning and control for property projects incorporates approvals gateways and timescales that apply internally and externally. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 2.1 Asset Inventory Data | 3 | 0 | 0 | 0 | 3 | 15
|  |  | 2.2 Building Information Modelling & Information Management | 1 | 0 | 0 | 0 | 1
|  |  | 2.3 Condition Survey Data | 3 | 0 | 0 | 0 | 3
|  |  | 2.4 Risk | 3 | 0 | 0 | 0 | 3
|  |  | 2.5 Performance Reporting | 2 | 0 | 0 | 0 | 2
|  |  | 2.6 Whole Life Costs | 2 | 0 | 0 | 0 | 2
|  |  | 2.7 Financial Management for Property | 1 | 0 | 0 | 0 | 1
|  |  | Total | 15 | 0 | 0 | 0 | 15
0
Theme 5
Theme 6
Theme 7
Theme 3
Theme 4
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Theme 3
OFFICIAL
Property Assessment Framework Scoring Tool Theme 3 - Planning & Decision Making | [10 empty] | Navigation Panel |  | 3.1 | Good | Good | Better | Better | Best | Best
[12 empty] | Attainment List |  | G24 | G25 | G26 | G27 | G28 | G29 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | [7 empty] | Good | 0 | 55% | 27% | 0% | bar: G24 to G29
[12 empty] | Partially Meeting | Partially Meeting | [7 empty] | Better | 0 | 25% | 13% | 0% | bar: G24 to G29
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | [7 empty] | Best | 0 | 20% | 10% | 0% | bar: G24 to G29
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 3.2 | Good | Good | Good | Better | Better | Better | Best | Best | Best
[14 empty] | G30 | G31 | G32 | G33 | G34 | G35 | G36 | G37 | G38 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [10 empty] | Good | 0 | 55% | 27% | 0% | bar: G30 to G38
|  |  | Practice Area | [9 empty] | Partially Meeting | [10 empty] | Better | 0 | 25% | 13% | 0% | bar: G30 to G38
|  |  | 3.1 Context |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [10 empty] | Best | 0 | 20% | 10% | 0% | bar: G30 to G38
|  |  | 3.2 Strategic Asset Management Plans (SAMPs) |  | Development | 0%
|  |  | 3.3 Delivery Plans |  | Development | 0%
|  |  | 3.4 Life Cycle Options |  | Development | 0% | [6 empty] | 3.3 | Good | Good | Good | Better | Better | Better | Best | Best
|  |  | 3.5 New Building Projects & Acquisitions |  | Development | 0% | [7 empty] | G39 | G40 | G41 | G42 | G43 | G44 | G45 | G46 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  |  | 3.6 Operation |  | Development | 0% | [6 empty] | Substantially or Fully Meeting | [9 empty] | Good | 0 | 55% | 27% | 0% | bar: G39 to G46
|  |  | 3.7 Disposals |  | Development | 0% | [6 empty] | Partially Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G39 to G46
|  |  | Theme 3 - Planning & Decision Making |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G39 to G46
[13 empty] | 3.4 | Good | Good | Better | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[14 empty] | G47 | G48 | G49 | G50 |  | Good | 0 | 55% | 27% | 0%
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  | Substantially or Fully Meeting | 0% | 0% | 0% | 0% |  | Better | 0 | 25% | 13% | 0%
3.1 | Context | Good | Decision-making within the organisation is structured to take account of the wider, cross-government and public sector context, including the Government Property Strategy, as well as the organisation's business strategy and plans. |  |  | #N/A | [6 empty] | Partially Meeting | 0% | 0% | 0% | 0% |  | Best | 0 | 20% | 10% | 0%
|  | Good | Business cases reflect interaction with relevant parts of cross-government machinery, taking account of Treasury guidance (for example, the Green Book) and Cabinet Office spend controls. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G39 to G42
|  | Better | Examples can be given of effective working relationships between sponsor departments and ALB or other delivery organisations, as well as the centre of government (CO/HMT). |  |  | #N/A
|  | Better | Assets of Arm's Length Bodies are managed appropriately for the status of the ALB. |  |  | #N/A | [6 empty] | 3.5 | Good | Good | Good | Better | Better | Better | Best | Best
|  | Best | Alignments between departmental and government-wide objectives are maintained systematically, such as participation in a cross-government property forum. |  |  | #N/A | [7 empty] | G51 | G52 | G53 | G54 | G55 | G56 | G57 | G58 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Best | Strategy and delivery plans support both national and organisational objectives. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [9 empty] | Good | 0 | 55% | 27% | 0% | bar: G51 to G58
3.2 | Strategic Asset Management Plans (SAMPs) | Good | A current SAMP outlines how your organisation's property strategy will be translated into delivery plans and projects for implementation. |  |  | #N/A | [6 empty] | Partially Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G51 to G58
|  | Good | Suitable versions of the SAMP can be (i) shared with OGP to satisfy the latest commission from Head of Function; (ii) published on GOV.UK, after approval by the Accounting Officer. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G51 to G58
|  | Good | The SAMP presents a clear overview of the organisation's property strategy, delivery plans and pipeline of forthcoming projects, with summaries on assurance for continuous improvement, capability and capacity, financial status, and alignment to standards. It takes account of the Government Property Strategy as well as the organisation's business strategy. |  |  | #N/A
|  | Better | Your SAMP summarises the organisation's property strategy and delivery plans in a way that enables easy integration with the cross-government delivery coordination plan (Function Plan). |  |  | #N/A | [6 empty] | 3.6 | Good | Good | Better | Better | Best | Best
|  | Better | Supplementary information is added whenever necessary to maintain the SAMP as a 'live' document. |  |  | #N/A | [7 empty] | G59 | G60 | G61 | G62 | G63 | G64 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Better | Information supplied to cross-government programme data collection is consistent with the SAMP. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [7 empty] | Good | 0 | 55% | 27% | 0% | bar: G59 to G64
|  | Best | The SAMP is complemented by an assessment of capability and capacity for implementing the organisation's property strategy and delivery plans, undertaken through and assurance review. |  |  | #N/A | [6 empty] | Partially Meeting | [7 empty] | Better | 0 | 25% | 13% | 0% | bar: G59 to G64
|  | Best | Your SAMP considers any potential for mutual support via the cross-government property function. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | [7 empty] | Best | 0 | 20% | 10% | 0% | bar: G59 to G64
|  | Best | Opportunities for generation of clean energy on land and within buildings are appraised and included within the SAMP or cross-referenced in sustainability strategies. |  |  | #N/A
3.3 | Delivery Plans | Good | Delivery plans (including event pipelines) are in place to deliver the property strategy. |  |  | #N/A | [6 empty] | 3.7 | Good | Better | Best |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Good | Delivery plans are proportionate to your organisation's property portfolio, outlining the means for expected changes, including the pipeline for business case approvals under spend controls. |  |  | #N/A | [7 empty] | G65 | G66 | G67 |  | Good | 0 | 55% | 27% | 0%
|  | Good | The quality of a business case that meets the criteria for a Government Major Project is examined and validated by the Infrastructure and Projects Authority, and if in scope for the National Property Control is examined and validated by the Office of Government Property. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | 0% | 0% | 0% |  | Better | 0 | 25% | 13% | 0%
|  | Better | Property projects outlined at strategic level are defined in plans specifying acquisitions, disposals, retentions (when disposal would be possible, such as passing a lease break) or investments (such as refurbishment or extension). |  |  | #N/A | [6 empty] | Partially Meeting | 0% | 0% | 0% |  | Best | 0 | 20% | 10% | 0%
|  | Better | Plans cover all anticipated changes during the Spending Review period. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | bar: G59 to G61
|  | Better | Decisions are holistic, taking account of social, economic and environmental considerations. |  |  | #N/A
|  | Best | Alignment of business plans and cross-government strategies is demonstrated, including workforce and resourcing plans. |  |  | #N/A | [6 empty] | Theme 2 'Yes' Practices | G59: 0
|  | Best | Current property strategy and delivery plans have continuous data and information updates in property databases to show outcomes to date. |  |  | #N/A
3.4 | Life Cycle Options | Good | Decisions about property solutions are made with due regard to: a. the requirements of property strategies and related plans b. management information, including costs and condition data c. scope for disposing of surplus accommodation. |  |  | #N/A
|  | Good | The senior officer accountable for property strategy across government is consulted in accordance with property spend control and pipeline requirements. |  |  | #N/A
|  | Better | Decisions about property solutions are made with due regard to: a. potential for improving sustainability or efficient utilisation b. optimising contracts relating to facilities management and any other property services. |  |  | #N/A
|  | Best | Decisions about property solutions are made with regard to: a. optimising the tenure of property assets, whether leased or freehold (including and Crown Estate Lease provisions b. specialist advice on adaptation to deal with climate change. |  |  | #N/A
3.5 | New Building Projects & Acquisitions | Good | New-build property solutions comply with organisational requirements and cross-government standards, including the Common Minimum Standards for Construction. |  |  | #N/A
|  | Good | Design of new buildings follows design guides adopted under organisational and cross-government management frameworks, such as guidance for the design of schools, hospitals, or prisons; office projects making use of Government Hubs policy and its associated design guidance. |  |  | #N/A
|  | Good | In procurement using government buying standards, when options are being assessed, a costed option to achieve quality ratings higher than the minimum is evaluated. |  |  | #N/A
|  | Better | The senior officer accountable for property strategy across government is consulted before any interest in a new acquisition or construction project is communicated to the market. |  |  | #N/A
|  | Better | Managers of construction projects make arrangements from the outset for efficient transition into operational phases as in integral part of the project. |  |  | #N/A
|  | Better | Projects constructing new or adapting existing government buildings take account of: a. current options for modern methods of construction (MMC) b. government policy for climate change and guidance provided in the Net Zero Estate Playbook. |  |  | #N/A
|  | Best | Government guidance on project initiation is employed, including Transforming Infrastructure Performance. |  |  | #N/A
|  | Best | If there is a need for commercial activity to acquire new property, the market is engaged early and requirements are set to be accessible to as many suppliers as possible. |  |  | #N/A
3.6 | Operation | Good | Annual budgets and business plans include sufficient resources for sustaining adequate maintenance with decarbonisation. |  |  | #N/A
|  | Good | Maintenance includes routine replacement, remedial action and statutory certification. |  |  | #N/A
|  | Better | A maintenance strategy is regularly updated and aligned to the strategic asset management plan (SAMP). |  |  | #N/A
|  | Better | Plans for extensions or major refurbishments include capital investment for maintenance, better sustainability or care of heritage assets. |  |  | #N/A
|  | Best | If premises are failing to meet contractual obligations or agreed standards for safety or sustainability, the alternative property solutions are evaluated. |  |  | #N/A
|  | Best | Business cases for maintenance programmes include options analysis showing the relative merits of retro-fitting improvements compared with a new acquisition. |  |  | #N/A
3.7 | Disposals | Good | Sales of freehold are preceded by consultation with other public sector bodies through the Register of Surplus Public Sector Land, which is held by the Office of Government Property. |  |  | #N/A
|  | Better | A strategy for disposals is kept up-to-date, including a holistic assessment of potential for beneficial alternatives uses, including financial, social, economic and environmental benefits. |  |  | #N/A
|  | Best | Disposals of surplus assets are being implemented and beneficial alternative uses delivered. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 3.1 Property Strategy | 2 | 0 | 0 | 0 | 2 | 16
|  |  | 3.2 Property Delivery Plans | 3 | 0 | 0 | 0 | 3
|  |  | 3.3 Strategic Asset Management Plans (SAMPs) | 3 | 0 | 0 | 0 | 3
|  |  | 3.4 Life Cycle Options | 2 | 0 | 0 | 0 | 2
|  |  | 3.5 New Building Projects & Acquisitions | 3 | 0 | 0 | 0 | 3
|  |  | 3.6 Operation | 2 | 0 | 0 | 0 | 2
|  |  | 3.7 Disposals | 1 | 0 | 0 | 0 | 1
|  |  | Total | 16 | 0 | 0 | 0 | 16
0
Theme 5
Theme 6
Theme 7
Theme 4
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Theme 4
OFFICIAL
Property Assessment Framework Scoring Tool Theme 4 - Operational Performance | [10 empty] | Navigation Panel |  | 4.1 | Good | Good | Better | Best
[12 empty] | Attainment List |  | G22 | G23 | G24 | G25 | [5 empty] | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Good | 0 | 55% | 27% | 0%
[12 empty] | Partially Meeting | Partially Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Better | 0 | 25% | 13% | 0%
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Best | 0 | 20% | 10% | 0%
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 4.2 | Good | Good | Good | Better | Better | Best
[14 empty] | G26 | G27 | G28 | G29 | G30 | G31 |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [8 empty] | Good | 0 | 55% | 27% | 0% | bar: G26 to G31
|  |  | Practice Area | [9 empty] | Partially Meeting | [8 empty] | Better | 0 | 25% | 13% | 0% | bar: G26 to G31
|  |  | 4.1 Safety |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [8 empty] | Best | 0 | 20% | 10% | 0% | bar: G26 to G31
|  |  | 4.2 Security |  | Development | 0%
|  |  | 4.3 Health & Wellbeing |  | Development | 0% | [6 empty] | 4.3 | Good | Good | Better | Best
|  |  | 4.4 Workplace & Facilities Management |  | Development | 0% | [7 empty] | G32 | G33 | G34 | G35 | [5 empty] | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  |  | 4.5 Information Technology |  | Development | 0% | [6 empty] | Substantially or Fully Meeting | [8 empty] | Good | 0 | 55% | 27% | 0% | bar: G26 to G29
|  |  | Theme 4 - Operational Performance |  | Development | 0% | [6 empty] | Partially Meeting | [8 empty] | Better | 0 | 25% | 13% | 0% | bar: G26 to G29
[13 empty] | Not or Seldom Meeting | [8 empty] | Best | 0 | 20% | 10% | 0% | bar: G26 to G29
[13 empty] | 4.4 | Good | Good | Good | Good | Good | Good | Better | Better | Better | Better | Best | Best | Best
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  |  | G36 | G37 | G38 | G39 | G40 | G41 | G42 | G43 | G44 | G45 | G46 | G47 | G48 |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
4.1 | Safety | Good | Users of government property are protected from avoidable harm by precautionary action, including: fire risk assessments carried out by the responsible person; routines for the safe evacuation of buildings being practiced regularly; testing of electrical and other equipment being carried out to the required legal standard or FM contract obligations. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [13 empty] | Good | 0 | 55% | 27% | 0% | bar: G36 to G48
|  | Good | Workplace management meets prevailing industry and Health and Safety Executive (HSE) standards and those specified in facilities management or other contracts. |  |  | #N/A | [6 empty] | Partially Meeting | [13 empty] | Better | 0 | 25% | 13% | 0% | bar: G36 to G48
|  | Better | Building accessibility complies with statutory requirements and exceeds them to ensure the safety of people on an inclusive basis (all ability groups) on all government premises. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | [13 empty] | Best | 0 | 20% | 10% | 0% | bar: G36 to G48
|  | Best | Safety precautions are incorporated into arrangements for the reorganisation or alteration of premises, achieving agreed low levels of risk. |  |  | #N/A
4.2 | Security | Good | Design and management of buildings and infrastructure takes security standards into account, enabling reporting against them in accordance with government security policy. |  |  | #N/A | [6 empty] | 4.5 | G36: Good; G37: Good; G38: Better; G39: Best
|  | Good | Security incident management planning follows Government Function Standard 007, Security. |  |  | #N/A | [7 empty] | G49 | G50 | G51 | G52 | [5 empty] | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Good | Internal and external security controls operate in a coherent manner to deter or prevent unauthorised access, protect assets and maintain safety. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Good | 0 | 55% | 27% | 0%
|  | Better | Work spaces are designed to comply with agreed security levels in a way that maximises productivity. |  |  | #N/A | [6 empty] | Partially Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Better | 0 | 25% | 13% | 0%
|  | Better | Security passes implement the selected security regime(s) efficiently. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | 0% | 0% | 0% | 0% |  |  |  |  | Best | 0 | 20% | 10% | 0%
|  | Best | Interactions between security, safety, environmental and other property-related services are facilitated and optimised. |  |  | #N/A
4.3 | Health & Wellbeing | Good | A health and wellbeing at work plan promotes a good quality working environment, protecting the wellbeing of employees in addition to satisfying the mandatory standards set by the Heath and Safety Executive. |  |  | #N/A | [6 empty] | Theme 4 'Yes' Practices | G36: 0
|  | Good | Building accessibility complies with statutory requirements. |  |  | #N/A
|  | Better | Wellbeing of users is maintained when undertaking planned and preventative maintenance of buildings. |  |  | #N/A
|  | Best | Heating, cooling, lighting, noise and air quality are monitored and adjusted for the health and wellbeing of occupants. |  |  | #N/A
4.4 | Workplace & Facilities Management | Good | Recognised standards for workplace and facilities management are used as the basis for defining the services needed, regardless of whether the services are provided through in-house operations or outsourced to a delivery organisation. |  |  | #N/A
|  | Good | A sourcing strategy defines the elements to be delivered within the organisation and by external suppliers respectively. |  |  | #N/A
|  | Good | Environmental characteristics of meeting rooms, office space and other work areas are made suitable for their intended use. |  |  | #N/A
|  | Good | Management practice aligns with the FM Standards for Asset Data and Services. |  |  | #N/A
|  | Good | Commercial arrangements and maintenance contracts comply with Government Function Standard 008, Commercial. |  |  | #N/A
|  | Good | Condition and energy efficiency surveys are conducted regularly and at least every five years. |  |  | #N/A
|  | Better | Utilisation of meeting rooms and other workspaces is optimised by offering flexible use of facilities, for different purposes, by different users. |  |  | #N/A
|  | Better | Smarter Working has reached a growing level of maturity that includes significant elements of self-service. |  |  | #N/A
|  | Better | The organisation has a maintenance strategy which is regularly updated and aligned to the SAMP (including resourcing). |  |  | #N/A
|  | Better | A plan exists for sustainability, including a pathway to Net Zero for each building or portfolio. |  |  | #N/A
|  | Best | integrated workplace management systems are in use to enhance agile working, space utilisation and building performance. |  |  | #N/A
|  | Best | Smart and hybrid working are optimised through a balance of facilities that raises efficiency and productivity. |  |  | #N/A
|  | Best | Management practices include comprehensive and consistent condition surveys and a means of measuring building performance in operation. |  |  | #N/A
4.5 | Information Technology | Good | Information and communication technology systems enable flexibility to cope with varying workforce numbers and staff deployments. |  |  | #N/A
|  | Good | ICT is matched to the security requirements of building occupants. |  |  | #N/A
|  | Better | Design of ICT demonstrably improves productivity, including efficient access for people working remotely. |  |  | #N/A
|  | Best | ICT has been installed on sites held by the organisation to benefit citizens by improving the reach and efficiency of transmissions infrastructure. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 4.1 Safety | 2 | 0 | 0 | 0 | 2 | 15
|  |  | 4.2 Security | 3 | 0 | 0 | 0 | 3
|  |  | 4.3 Health & Wellbeing | 2 | 0 | 0 | 0 | 2
|  |  | 4.4 Workplace & Facilities Management | 6 | 0 | 0 | 0 | 6
|  |  | 4.5 Information Technology | 2 | 0 | 0 | 0 | 2
|  |  | Total | 15 | 0 | 0 | 0 | 15
0
Theme 5
Theme 6
Theme 7
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Theme 3
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Theme 5
OFFICIAL
Property Assessment Framework Scoring Tool Theme 5 - Sustainability & Stewardship | [10 empty] | Navigation Panel |  | 5.1 | Good | Better | Best
[12 empty] | Attainment List |  | G20 | G21 | G22 |  |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | 0% | 0% | 0% |  |  |  | Good | 0 | 55% | 27% | 0%
[12 empty] | Partially Meeting | Partially Meeting | 0% | 0% | 0% |  |  |  | Better | 0 | 25% | 13% | 0%
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | 0% | 0% | 0% |  |  |  | Best | 0 | 20% | 10% | 0%
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 5.2 | Good | Better | Best
[14 empty] | G23 | G24 | G25 |  |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | 0% | 0% | 0% |  |  |  | Good | 0 | 55% | 27% | 0%
|  |  | Practice Area | [9 empty] | Partially Meeting | 0% | 0% | 0% |  |  |  | Better | 0 | 25% | 13% | 0%
|  |  | 5.1 Sustainability Targets |  | Development | 0% | [6 empty] | Not or Seldom Meeting | 0% | 0% | 0% |  |  |  | Best | 0 | 20% | 10% | 0%
|  |  | 5.2 Energy Efficiency |  | Development | 0%
|  |  | 5.3 Conservation, Remediation & Adaptation |  | Development | 0%
|  |  | Theme 5 - Sustainability & Stewardship |  | Development | 0% | [6 empty] | 5.3 | Good | Good | Good | Better | Better | Better | Best | Best | Best
[14 empty] | G26 | G27 | G28 | G29 | G30 | G31 | G32 | G33 | G34 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [10 empty] | Good | 0 | 55% | 27% | 0% | bar: G26 to G34
[13 empty] | Partially Meeting | [10 empty] | Better | 0 | 25% | 13% | 0% | bar: G26 to G34
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  | Not or Seldom Meeting | [10 empty] | Best | 0 | 20% | 10% | 0% | bar: G26 to G34
5.1 | Sustainability Targets | Good | Targets have been set to improve the handling of waste and the use of water and energy. |  |  | #N/A
|  | Better | Plans are in place to achieve government-wide sustainability targets within defined timescales before 2030. |  |  | #N/A | [6 empty] | Theme 5 'Yes' Practices | G26: 0
|  | Best | Comprehensive reporting is in place for achieving Net Zero, Biodiversity Net Gain, water quality and consumption, waste reduction and recycling. |  |  | #N/A
5.2 | Energy Efficiency | Good | Buildings meet the minimum energy efficiency standards (MEES), certification is available/on display (DEC and EPC) and recommendations of DEC advisory reports are being addressed. |  |  | #N/A
|  | Better | Monitoring is in place to report the actual (operational) energy performance of buildings. |  |  | #N/A
|  | Best | Renewable sources of energy are in use and meeting an increasing proportion of the total requirement. |  |  | #N/A
5.3 | Conservation, Remediation & Adaptation | Good | Contamination of land in government ownership is identified and evaluated as a possible risk. |  |  | #N/A
|  | Good | The heritage value of government property is recognised and recorded. |  |  | #N/A
|  | Good | Adaptation to climate change or other aspects of change in the environment are incorporated into new property plans. |  |  | #N/A
|  | Better | Land that is contaminated is assessed for remediation to determine the action required to bring it to an acceptable standard of environmental quality. |  |  | #N/A
|  | Better | Specialist advice is taken to optimise the value of heritage assets. |  |  | #N/A
|  | Better | Adaptation measures are being implemented retrospectively. |  |  | #N/A
|  | Best | Disposal strategies provide for remediation prior to disposal, including facilitation of necessary action by a new owner. |  |  | #N/A
|  | Best | Access to heritage assets is maximised for the benefit of the public. |  |  | #N/A
|  | Best | Adaptation includes positive environment benefits as well as protection for property assets. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 5.1 Sustainability Targets | 1 | 0 | 0 | 0 | 1 | 5
|  |  | 5.2 Energy Efficiency | 1 | 0 | 0 | 0 | 1
|  |  | 5.3 Conservation, Remediation & Adaptation | 3 | 0 | 0 | 0 | 3
|  |  | Total | 5 | 0 | 0 | 0 | 5
0
Theme 6
Theme 7
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Theme 3
Theme 4
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Theme 6
OFFICIAL
Property Assessment Framework Scoring Tool Theme 6 - Engagement & Transactions | [10 empty] | Navigation Panel |  | 6.1 | Good | Better | Best
[12 empty] | Attainment List |  | G22 | G23 | G24 |  |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | 0% | 0% | 0% |  |  |  | Good | 0 | 55% | 27% | 0%
[12 empty] | Partially Meeting | Partially Meeting | 0% | 0% | 0% |  |  |  | Better | 0 | 25% | 13% | 0%
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | 0% | 0% | 0% |  |  |  | Best | 0 | 20% | 10% | 0%
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 6.2 | Good | Better | Best
[14 empty] | G25 | G26 | G27 |  |  |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | 0% | 0% | 0% |  |  |  | Good | 0 | 55% | 27% | 0%
|  |  | Practice Area | [9 empty] | Partially Meeting | 0% | 0% | 0% |  |  |  | Better | 0 | 25% | 13% | 0%
|  |  | 6.1 Procurement |  | Development | 0% | [6 empty] | Not or Seldom Meeting | 0% | 0% | 0% |  |  |  | Best | 0 | 20% | 10% | 0%
|  |  | 6.2 Due Diligence |  | Development | 0%
|  |  | 6.3 Communications |  | Development | 0% | [6 empty] | 6.3 | Good | Good | Better | Better | Best | Best
|  |  | Theme 6 - Engagement & Transactions |  | Development | 0% | [7 empty] | G28 | G29 | G30 | G31 | G32 | G33 |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [6 empty] | Good | 0 | 55% | 27% | 0% | bar: G28 to G33
[13 empty] | Partially Meeting | [6 empty] | Better | 0 | 25% | 13% | 0% | bar: G28 to G33
[13 empty] | Not or Seldom Meeting | [6 empty] | Best | 0 | 20% | 10% | 0% | bar: G28 to G33
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink
6.1 | Procurement | Good | Projects involving procurement follow national procurement policy, the Commercial functional standard, GovS 008, and relevant frameworks managed by Crown Commercial Service |  |  | #N/A | [6 empty] | Theme 6 'Yes' Practices | G28: 0
|  | Better | The responsible person obtains commercial information to make themselves aware of current market conditions and how to obtain best value, including evaluating different options for tenure. |  |  | #N/A
|  | Best | Procurement achieves its immediate goal (satisfying a requirement) and also adds value to the property portfolio. |  |  | #N/A
6.2 | Due Diligence | Good | Contracts for the construction, purchase or leasing of new buildings or acquiring other property services or assets are entered into or renewed only after completing due diligence, taking account of the financial status and stability of the supplier and commercial legal advice. |  |  | #N/A
|  | Better | Due diligence includes counter-fraud measures, taking account of Government Functional Standard 013, Counter Fraud. |  |  | #N/A
|  | Best | Senior officials receive updates to keep them aware of current commercial trends, financial regulations and good practice, giving them the ability to scrutinise property holding arrangements and landlords (such as offshore ownership) to ensure financial probity and avoid money-laundering. |  |  | #N/A
6.3 | Communications | Good | Communication with stakeholders is an integral part of delivery planning and engagement follows Government Functional Standard 011, Communication. |  |  | #N/A
|  | Good | Communications with delivery organisations includes working in accordance with Government Functional Standard 004, Property. |  |  | #N/A
|  | Better | Decisions are the subject of consultation with stakeholders by appropriate means, supported by accurate information and analysis, enabling effective appraisal of the available options. |  |  | #N/A
|  | Better | Checks are made to ensure that good communication exists between the Intelligent Client role and delivery organisation. |  |  | #N/A
|  | Best | Communications dealing with property decisions use stakeholder insight, drawing on a range of resources to identify the most appropriate method to reach them. |  |  | #N/A
|  | Best | Within a delivery organisation, responsibilities are assigned to reflect specific requirements of the client and maintain an ongoing dialogue on delivery. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 6.1 Procurement | 1 | 0 | 0 | 0 | 1 | 4
|  |  | 6.2 Due Diligence | 1 | 0 | 0 | 0 | 1
|  |  | 6.3 Communications | 2 | 0 | 0 | 0 | 2
|  |  | Total | 4 | 0 | 0 | 0 | 4
0
Theme 7
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Theme 3
Theme 4
Theme 5
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Theme 7
OFFICIAL
Property Assessment Framework Scoring Tool Theme 7 - Governance & Strategy | [10 empty] | Navigation Panel |  | 7.1 | Good | Good | Better | Better | Best | Best
[12 empty] | Attainment List |  | G23 | G24 | G25 | G26 | G27 | G28 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[12 empty] | Substantially or Fully Meeting | Substantially or Fully Meeting | [7 empty] | Good | 0 | 55% | 27% | 0% | bar: G23 to G28
[12 empty] | Partially Meeting | Partially Meeting | [7 empty] | Better | 0 | 25% | 13% | 0% | bar: G23 to G28
[12 empty] | Not or Seldom Meeting | Not or Seldom Meeting | [7 empty] | Best | 0 | 20% | 10% | 0% | bar: G23 to G28
|  |  | Summary of Rating and Score | [8 empty] | NA
|  |  |  | Is your organisation submitting an assessment rating for this Practice Area? | Rating | Score | [6 empty] | 7.2 | Good | Good | Good | Good | Better | Better | Better | Better | Best | Best | Best
[14 empty] | G29 | G30 | G31 | G32 | G33 | G34 | G35 | G36 | G37 | G38 | G39 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
[13 empty] | Substantially or Fully Meeting | [12 empty] | Good | 0 | 55% | 27% | 0% | bar: G29 to G39
|  |  | Practice Area | [9 empty] | Partially Meeting | [12 empty] | Better | 0 | 25% | 13% | 0% | bar: G29 to G39
|  |  | 7.1 Governance & Management Frameworks |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [12 empty] | Best | 0 | 20% | 10% | 0% | bar: G29 to G39
|  |  | 7.2 Roles & Accountabilities |  | Development | 0%
|  |  | 7.3 Property Strategy |  | Development | 0% | [6 empty] | 7.3 | Good | Good | Good | Better | Better | Better | Best | Best
|  |  | 7.4 Governance in Separate Jurisdictions, with UK & Overseas |  | Development | 0% | [7 empty] | G40 | G41 | G42 | G43 | G44 | G45 | G46 | G47 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  |  | 7.5 Use of Guidance |  | Development | 0% | [6 empty] | Substantially or Fully Meeting | [9 empty] | Good | 0 | 55% | 27% | 0% | bar: G40 to G47
|  |  | 7.6 Management of the Property Function Across Government |  | Development | 0% | [6 empty] | Partially Meeting | [9 empty] | Better | 0 | 25% | 13% | 0% | bar: G40 to G47
|  |  | Theme 7 - Governance & Strategy |  | Development | 0% | [6 empty] | Not or Seldom Meeting | [9 empty] | Best | 0 | 20% | 10% | 0% | bar: G40 to G47
[13 empty] | 7.4 | G40: Good; G41: Better; G42: Best
[14 empty] | G40: G48; G41: G49; G42: G50 | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
Number | Practice Area | Rating of Criteria | Criteria |  | Attainment | Value | Summary of Supporting Evidence/Examples | Owner | Action Plan | Evidence Hyperlink |  |  | Substantially or Fully Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Good | 0 | 55% | 27% | 0%
7.1 | Governance & Management Frameworks | Good | A governance and management framework for property management has been documented, showing system overview, structures, decision making processes, terms of reference and job roles, and defines remits and authority limits for decision-making. |  |  | #N/A | [6 empty] | Partially Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Better | 0 | 25% | 13% | 0%
|  | Good | The governance and management framework describes the property function in government departments and their Arm's Length Bodies. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Best | 0 | 20% | 10% | 0%
|  | Better | The governance and management framework for property is embedded by key documents being referenced in commissions, project initiation documents and job descriptions. |  |  | #N/A
|  | Better | Arm's Length Bodies (ALB) have well defined requirements for their property function from their sponsor department. |  |  | #N/A | [6 empty] | 7.5 | G40: Good; G41: Better; G42: Best
|  | Best | A comprehensive governance and management framework includes systems for agile responses or adjustments to change, incorporating improvement opportunities. |  |  | #N/A | [7 empty] | G40: G51; G41: G52; G42: G53 | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Best | Systems are in place to inform those performing sponsor department roles or progress with delivery plans in ALB. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Good | 0 | 55% | 27% | 0%
7.2 | Roles & Accountabilities | Good | Roles and accountabilities are defined and assigned to people with appropriate seniority, skills and experience. |  |  | #N/A | [6 empty] | Partially Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Better | 0 | 25% | 13% | 0%
|  | Good | The senior officer accountable for property assets is clearly identifiable and ensures that governance of property is integral to the organisation's overall management. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | G40: 0%; G41: 0%; G42: 0%; G47: Best | 0 | 20% | 10% | 0%
|  | Good | Intelligent Client roles are appointed so that strategic commissioning takes account of organisational strategy, property strategy, business objectives and workforce strategy. |  |  | #N/A
|  | Good | Delivery managers prepare plans in conjunction with the Intelligent Client role, so that they are consistent with organisational strategy, business objectives and workforce strategy. |  |  | #N/A | [6 empty] | 7.6 | Good | Good | Good | Good | Good | Better | Better | Better | Better | Better | Best | Best
|  | Better | The Accounting Officer and Property Leader ensure that their organisation periodically reviews roles and accountabilities to suit the scale and needs of the estate. |  |  | #N/A | [7 empty] | G54 | G55 | G56 | G57 | G58 | G59 | G60 | G61 | G62 | G63 | G64 | G65 |  |  | Count | Fully Met Weighting | Partially Met Weighting | Not Met Weighting
|  | Better | Property roles are seen to be effective enablers of business processes or objectives, by examples, and reflect the Government Property Career Framework. |  |  | #N/A | [6 empty] | Substantially or Fully Meeting | [13 empty] | Good | 0 | 55% | 27% | 0% | bar: G54 to G65
|  | Better | Government Function Standard 004, Property and its supporting governance and management framework is referenced from the Accounting Officer System Statement (or the equivalent in an Arm's Length Body). |  |  | #N/A | [6 empty] | Partially Meeting | [13 empty] | Better | 0 | 25% | 13% | 0% | bar: G54 to G65
|  | Better | Property Manager roles are delivered effectively so that building users are well informed and confident about who to contact in the event of incidents, emergencies, failure of equipment or facilities, deliveries, requests for adjustment, furnishing, health and safety conditions, security, queries about space allocation, and offering feedback. |  |  | #N/A | [6 empty] | Not or Seldom Meeting | [13 empty] | Best | 0 | 20% | 10% | 0% | bar: G54 to G65
|  | Best | Specialist and technical roles are defined and assigned to suitably qualified people. |  |  | #N/A
|  | Best | Property roles are shown to be systematic enabler of business objectives through transformational programmes. |  |  | #N/A | [6 empty] | Theme 7 'Yes' Practices | G54: 0
|  | Best | Intelligent Client roles are performed so that contracted or commissioned service providers are clear about the expectations placed on them and agreements are in place to specify how expectations will be met, with feedback and metrics measuring performance. |  |  | #N/A
7.3 | Property Strategy | Good | Your organisation has a property strategy which is consistent with your organisation's business plan and supports the delivery of its objectives. |  |  | #N/A
|  | Good | The organisational property strategy uses the Government Functional Standard 004, Property as a basis for the work of its property function. |  |  | #N/A
|  | Good | The property strategy for your organisation is consistent with the cross-government property strategy (Government Property Strategy). |  |  | #N/A
|  | Better | A property strategy reaches 3-5 years into the future, or at least to the end of the current Spending Round, showing aspirations for delivery of the function's work. |  |  | #N/A
|  | Better | Examples can be evidenced of property function activity and projects implementing principles of the Government Functional Standard 004, Property. |  |  | #N/A
|  | Better | The property strategy for your organisation implements a significant aspect of the Government Property Strategy (for example, relocation plans to support the Levelling Up policy). |  |  | #N/A
|  | Best | Organisational property strategy and the cross-government property strategy are being supported through a transformational change programme. |  |  | #N/A
|  | Best | All principles of the Government Functional Standard 004, Property can be shown to be applied through its strategy and delivered in its outcomes. |  |  | #N/A
7.4 | Governance in Separate Jurisdictions, with UK & Overseas | Good | Property is managed to standards set by U.K. Government unless the local jurisdiction requires a different standard, including higher, better or different technical specifications. |  |  | #N/A
|  | Better | Action is taken on notified changes to the requirements of local jurisdiction. |  |  | #N/A
|  | Best | Liaison is maintained with representatives of local jurisdictions to gain prompt updates of information having implications for property management |  |  | #N/A
7.5 | Use of Guidance | Good | Outcomes show evidence of following the advisory content of Government Functional Standard 004, Property. |  |  | #N/A
|  | Better | Outcomes show evidence of following the advisory content of Government Functional Standard 004, Property and its supporting governance and management framework. |  |  | #N/A
|  | Best | Outcomes show evidence of routinely taking account of the advisory content of Government Functional Standard 004, Property and its supporting governance and management framework. |  |  | #N/A
7.6 | Management of the Property Function Across Government | Good | Senior roles managing the function are assigned, namely the Government Chief Property Officer (as Head of Function), Government Head of Property Profession, and Head of Function in each organisation (Estates Director etc.). |  |  | #N/A
|  | Good | A cross-government governance and management framework is defined and actively used in ways that are overseen and encouraged by the Property Leaders Board and its Policy & Standards Committee. |  |  | #N/A
|  | Good | An up-to-date Government Property Strategy contains a vision statement and reaches 3-5 years into the future, enabling stakeholders to know what are the intended aspirations for delivery of the function's work. |  |  | #N/A
|  | Good | Heads of Profession contribute to governance and management frameworks and are accountable for implementing their organisation's strategic workforce plan. |  |  | #N/A
|  | Good | A continuous improvement assessment framework has been published. |  |  | #N/A
|  | Better | Senior stakeholders contribute to the function's governance, strategies, plans and standards. |  |  | #N/A
|  | Better | Implementation of vision, strategy and delivery plans is built into governance and management frameworks by means of a Function Plan that coordinates delivery of the Government Property Strategy across government. |  |  | #N/A
|  | Better | Vision and strategy are promoted to all those involved in the function's work. |  |  | #N/A
|  | Better | Subject specific standards, systems and processes are managed to enable cross-government collaboration and interoperability. |  |  | #N/A
|  | Better | Property function governance is integrated with organisational governance. |  |  | #N/A
|  | Best | Governance and management frameworks are integrated across functional boundaries. |  |  | #N/A
|  | Best | A mechanism is in place to consistently integrate improved practice into relevant governance and management frameworks. |  |  | #N/A
|  |  |  | No of Shalls | Met | Partial | Not Met | Number of N/As or Incompleted | Total Number of Shalls
|  |  | 7.1 Governance & Management Frameworks | 2 | 0 | 0 | 0 | 2 | 16
|  |  | 7.2 Roles & Accountabilities | 4 | 0 | 0 | 0 | 4
|  |  | 7.3 Property Strategy | 3 | 0 | 0 | 0 | 3
|  |  | 7.4 Governance in Separate Jurisdictions, with UK & Overseas | 1 | 0 | 0 | 0 | 1
|  |  | 7.5 Use of Guidance | 1 | 0 | 0 | 0 | 1
|  |  | 7.6 Management of the Property Function Across Government | 5 | 0 | 0 | 0 | 5
|  |  | Total | 16 | 0 | 0 | 0 | 16
0
Summary
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Theme 3
Theme 4
Theme 5
Theme 6
Please complete the Summary of Rating and Score table by selecting Yes or No in column F, before completing the assessment table below.

## Summary
OFFICIAL SENSITIVE
Property Standards Assessment scoring Tool
Summary Analysis | [5 empty] | Navigation Panel
Summary by Theme
| Overall Rating | Overall Score
Theme 1 - Capability & Capacity | Development | 0%
Theme 2 - Data & Management Information (including financial) | Development | 0%
Theme 3 - Planning & Decision Making | Development | 0%
Theme 4 - Operational Performance | Development | 0%
Theme 5 - Sustainability & Stewardship | Development | 0%
Theme 6 - Engagement & Transactions | Development | 0%
Theme 7 - Governance & Strategy | Development | 0%
Summary by Practice Area
| Overall Rating | Overall Score | Average by Area
1.1 Learning | Development | 0% | 0%
1.2 Assurance & Continuous Improvement | Development | 0%
1.3 Strategic Workforce Planning | Development | 0%
1.4 Recruitment, Induction & Training | Development | 0%
1.5 Workload & Change Management | Development | 0%
2.1 Asset Inventory Data | Development | 0% | 0%
2.2 Building Information Modelling & Information Management | Development | 0%
2.3 Condition Survey Data | Development | 0%
2.4 Risk | Development | 0%
2.5 Performance Reporting | Development | 0%
2.6 Whole Life Costs | Development | 0%
2.7 Financial Management for Property | Development | 0%
3.1 Context | Development | 0% | 0%
3.2 Strategic Asset Management Plans (SAMPs) | Development | 0%
3.3 Delivery Plans | Development | 0%
3.4 Life Cycle Options | Development | 0%
3.5 New Building Projects & Acquisitions | Development | 0%
3.6 Operation | Development | 0%
3.7 Disposals | Development | 0%
4.1 Safety | Development | 0% | 0%
4.2 Security | Development | 0%
4.3 Health & Wellbeing | Development | 0%
4.4 Workplace & Facilities Management | Development | 0%
4.5 Information Technology | Development | 0%
5.1 Sustainability Targets | Development | 0% | 0%
5.2 Energy Efficiency | Development | 0%
5.3 Conservation, Remediation & Adaptation | Development | 0%
6.1 Procurement | Development | 0% | 0%
6.2 Due Diligence | Development | 0%
6.3 Communications | Development | 0%
7.1 Governance & Management Frameworks | Development | 0% | 0%
7.2 Roles & Accountabilities | Development | 0%
7.3 Property Strategy | Development | 0%
7.4 Governance in Separate Jurisdictions, with UK & Overseas | Development | 0%
7.5 Use of Guidance | Development | 0%
7.6 Management of the Property Function Across Government | Development | 0%
Summary of Shall Statements
| No of Shalls | Met | Partial | Not Met | N/A or Incomplete
1.1 Learning | 2 | 0 | 0 | 0 | 2
1.2 Assurance & Continuous Improvement | 1 | 0 | 0 | 0 | 1 |  | N. Beno
1.3 Strategic Workforce Planning | 5 | 0 | 0 | 0 | 5
1.4 Recruitment, Induction & Training | 4 | 0 | 0 | 0 | 4
1.5 Workload & Change Management | 3 | 0 | 0 | 0 | 3
2.1 Asset Inventory Data | 3 | 0 | 0 | 0 | 3
2.2 Building Information Modelling & Information Management | 1 | 0 | 0 | 0 | 1
2.3 Condition Survey Data | 3 | 0 | 0 | 0 | 3
2.4 Risk | 3 | 0 | 0 | 0 | 3
2.5 Performance Reporting | 2 | 0 | 0 | 0 | 2
2.6 Whole Life Costs | 2 | 0 | 0 | 0 | 2
2.7 Financial Management for Property | 1 | 0 | 0 | 0 | 1
3.1 Context | 2 | 0 | 0 | 0 | 2
3.2 Strategic Asset Management Plans (SAMPs) | 3 | 0 | 0 | 0 | 3
3.3 Delivery Plans | 3 | 0 | 0 | 0 | 3
3.4 Life Cycle Options | 2 | 0 | 0 | 0 | 2
3.5 New Building Projects & Acquisitions | 3 | 0 | 0 | 0 | 3
3.6 Operation | 2 | 0 | 0 | 0 | 2
3.7 Disposals | 1 | 0 | 0 | 0 | 1
4.1 Safety | 2 | 0 | 0 | 0 | 2
4.2 Security | 3 | 0 | 0 | 0 | 3
4.3 Health & Wellbeing | 2 | 0 | 0 | 0 | 2
4.4 Workplace & Facilities Management | 6 | 0 | 0 | 0 | 6
4.5 Information Technology | 2 | 0 | 0 | 0 | 2
5.1 Sustainability Targets | 1 | 0 | 0 | 0 | 1
5.2 Energy Efficiency | 1 | 0 | 0 | 0 | 1
5.3 Conservation, Remediation & Adaptation | 3 | 0 | 0 | 0 | 3
6.1 Procurement | 1 | 0 | 0 | 0 | 1
6.2 Due Diligence | 1 | 0 | 0 | 0 | 1
6.3 Communications | 2 | 0 | 0 | 0 | 2
7.1 Governance & Management Frameworks | 2 | 0 | 0 | 0 | 2
7.2 Roles & Accountabilities | 4 | 0 | 0 | 0 | 4
7.3 Property Strategy | 3 | 0 | 0 | 0 | 3
7.4 Governance in Separate Jurisdictions, with UK & Overseas | 1 | 0 | 0 | 0 | 1
7.5 Use of Guidance | 1 | 0 | 0 | 0 | 1
7.6 Management of the Property Function Across Government | 5 | 0 | 0 | 0 | 5
Totals | 86 | 0 | 0 | 0 | 86
Total Number of Shall Statements | 86
Best
How to use the Tool
Scoring Model
Cover Sheet
Overview of Findings
Theme 1
Theme 2
Theme 3
Theme 4
Theme 5
Theme 6
Theme 7