## Instructions
This proforma document needs to be conducted and submitted to the MHRA with each bimonthly submission. Please send the completed document along with any necessary attachments to COVID19.variants@mhra.gov.uk
Please refer to the guidance documents that were emailed to you on how analysis should be conducted (the guidance documents can also be found at: https://www.gov.uk/government/publications/how-tests-and-testing-kits-for-coronavirus-covid-19-work/guidance-for-manufacturers-diagnostic-assurance-with-sars-cov-2-variants-in-circulation)
Please refer to the following link for continually updated SARS-CoV-2 lineage prevalence and growth rates: https://www.gov.uk/government/publications/sars-cov-2-genome-sequence-prevalence-and-growth-rate
To avoid ambiguity please complete the tabs in this order: 1. GENERAL 2. IN SILICO ANALYSIS 3. WET LAB TESTING Complete all questions in full, even if you have been asked questions that are similar and answered them previously.
Please complete a separate document for each assay.
Complete ALL shaded columns or use the drop-down menu to complete each section. Any submissions that are not complete will not be accepted.
You must submit any additional details in column C of the relevant tabs or provide written result reports as well as this proforma BUT THIS DOCUMENT MUST BE COMPLETED IN FULL FOR SUBMISSION. Information that is provided in the proforma does not need to be replicated in a separate report, but please provide the additional information requested in a separate report.

## 1. GENERAL INFORMATION
INFORMATION REQUIRED | PLEASE COMPLETE | ADDITIONAL DETAILS (provide as attachment if relevant)
SECTION 1: GENERAL
Manufacturer/supplier | (Complete name of company)
Test name | (Complete name of assay being evaluated)
Type of antigen test | (e.g. LFD, ELISA etc.)
Product code | (Tell us the product reference/code)
Does your product have a UKCA or CE mark? (Please use drop-down menu) |  |  | CE
UKCA
SECTION 1.1: TARGET PROTEIN SEQUENCE |  |  | None
1. Is your assay a multiplex assay i.e. if it is a lateral flow device, does it target more than one viral genome? (Please use the drop-down menu)
2. If your assay is a multiplex assay, please provide details of which other viruses are targeted. | (Please provide more details on which viruses are targeted) |  | Recombinant protein; give details in Section A1 below
3. Which SARS-CoV-2 Protein(s) is(are) targeted? | (Please can you provide a full description of assay(s) in a report as an attachment with this submission identifying the targeted protein region and ideally the amino acid sequence of the immunogenic epitope for the SARS-COV-2 target. If unable to provide the latter then please provide the peptide region that was used to elicit an immune response during the production of the antibodies) |  | Purified protein; give details in Section A1 below
3. Does your assay include the gene for the Spike protein? (Please use drop-down menu) |  |  | Virus; give details in Section A2 below
Other; give details in Section A3 below
SECTION 1.2: ANTIBODIES USED
SECTION A: ANTIGEN USED TO RAISE PRIMARY/CAPTURE ANTIBODY (GO TO SECTION B IF ANTIBODIES ARE COMMERCIALLY SOURCED)
1. Type of antigen? (Please use the drop-down menu)
SECTION A1: RECOMBINANT/PURIFIED PROTEIN USED AS ANTIGEN
2. What is the source of recombinant/purified protein? | (Tell us the source/manufacturer/supplier of the recombinant/purified protein and include the amino acid sequence of the antigen used) |  | Clinical material | Cell Culture | Other
3. What is the Catalogue/Product reference No.? | (Tell us the catalogue/Product reference No. of the recombinant/purified protein) |  | No (providing with this submission)
SECTION A2: VIRUS USED AS ANTIGEN
4. Which variant was the antibody generated against? | (Specify which variant was used)
5. What is the variant sequence ID? | (Provide accession numbers, GISAID EPI_ISL etc., used as the variant reference sequence) |  | Yes
6. Was this a clinical sample or cultured in the laboratory? (Please use the drop down menu) |  |  | No
7. If the clinical sample was sequenced, what type of sequencing was conducted? | (Specify type of sequencing conducted for the verification of the variant i.e. whole/partial genome sequencing)
8. If virus was inactivated, how was this done? | (Specify the process of inactivation used)
9. If virus was cultured in the laboratory, what is the host cell-line? | (Tell us name of cell-line used)
9. If cultured, what was the original passage number of the cell-line? | (Tell us the original passage/s of cell-line used) |  | Monoclonal
10. If cultured, was the sequence of the variant verified? | (Specify method used for sequence verification and changes identified against reference sequence) |  | Polyclonal
11. Was any other characterisation conducted on the clinical/cultured material? (Please use the drop down menu) |  |  | Raised
12. If answered "Yes" to Q.11, please specify and provide a report/evidence of results of all characterisation conducted as an attachment with this submission. | (if Yes, please provide further information on method(s) e.g. HPLC and results of characterisation). |  | Engineered
SECTION A3: OTHER MATERIAL USED AS ANTIGEN |  |  | Linear
13. If "Other" material used as antigen to raise the primary/capture antibodies, provide details here and provide any attachments with this submission. | (If Other, please give details) |  | Conformational
SECTION B: COMMERCIALLY SOURCED PRIMARY/CAPTURE ANTIBODY(IES) USED
1. What is the source of antibody(ies)? | (Tell us the source/manufacturer/supplier of the antibody)
2. What is the Catalogue/Product reference No.? | (Tell us the catalogue/Product reference No. of the antibody)
3. What is the type of antibody? (Please use the drop down menu)
4. Was the antibody raised in a mammal or lab engineered? (Please use the drop down menu)
5. Location/range of epitope/s recognition site/s | (Tell us the amino acid sequence for each epitope and number)
6. Type of epitope(s) e.g. linear conformational epitope/s | (List each epitope and type)
SECTION C: SECONDARY ANTIBODY(IES) USED (IF NOT APPLICABLE; GO TO SECTION D)
1. What is the source of antibody(ies)? | (Tell us the source/manufacturer/supplier of the antibody)
2. What is the Catalogue/Product reference No.? | (Tell us the catalogue/Product reference No. of the antibody)
3. What is the type of antibody? (Please use the drop down menu)
4. Was the antibody raised in a mammal or lab engineered?
5. Location/range of epitope/s recognition site/s | (Tell us the amino acid sequence for each epitope and number)
6. Type of epitope(s) e.g. linear conformational epitope/s | (List each epitope and type)
SECTION D: DETECTION ANTIBODY(IES) USED
1. What is the source of antibody(ies)? | (Tell us the source/manufacturer/supplier of the antibody)
2. What is the Catalogue/Product reference No.? | (Tell us the catalogue/Product reference No. of the antibody) |  | Sequence or lineage alignment
3. What is the type of antibody? (Please use the drop down menu) |  |  | 3D modelling (static)
4. Was the antibody raised in a mammal or lab engineered? (Please use the drop down menu) |  |  | 3D modelling (dynamic)
5. Location/range of epitope/s recognition site/s | (Tell us the amino acid sequence for each epitope and number) |  | Sequence or lineage alignment to primer/probe
6. Type of epitope(s) e.g. linear conformational epitope/s | (List each epitope and type)
7. Type of detection method | (e.g. colloidal gold; biotin etc.) |  | Yes (certificate previously provided)
No (certificate is provided with this submission)
SECTION 1.3: PROFICIENCY TESTING (PT) or EQA schemes |  |  | To be provided within next 6 months
1. Are you registered with any SARS-CoV-2 PT schemes/EQA schemes? (Please use the drop down menu)
2. If "Yes" to Q 1.3.1 what is the name of the PT scheme(s)? | (Tell us the scheme(s) you are registered with) |  | Pass
3. What are the results from latest PT/EQA report? (Please use the drop down menu) |  |  | Fail
4. Please give details of the results achieved in Q1.3.3 | (Give us details of your results e.g the z-score, sensitivity and/or specificity achieved from this report) |  | Fail
5. If "No" to Q 1.3.1 do you intend to join a PT/EQA schemes? | (Tell us your intention to join a scheme and when you are joining)
SECTION 1.4: ACCREDITATION & POST MARKET SURVEILLANCE
1. Do you have ISO 13485 certification and compliance with the requirements for risk management under ISO 14971? (Please use the drop down menu)
2. Please provide a description of your post-market surveillance plan for VOC/VUIs in your report.
SECTION 1.5: IFU
1. Please provide your IFU | Please provide your most recent IFU version as an attachment with this submission.
2. What is the material/variant used for original validation of this assay. | Please tell us which material was used for the validation of your assay as described in your IFU.

## 2. IN SILICO ANALYSIS
INFORMATION REQUIRED | PLEASE COMPLETE | ADDITIONAL DETAILS (provide as attachment if relevant)
SECTION 2: IN SILICO ANALYSIS
1. Do you conduct in silico analysis of the potential impact of VOCs/VUIs on your assay? (Please use the drop-down menu)
2. Was the in silico analysis conducted in house or via a 3rd party provider? | (Tell us where the testing was conducted and provenance of data e.g. provide a report as an attachment with this submission)
3. What type of analysis was conducted? (Please use the drop-down menu)
4. If answer to Q2.3 is "Other", let us know what type was conducted? | (If Other, please give details) |  | Sequence or lineage alignment
5. How frequently do you conduct in silico analysis (fortnightly/monthly/other)? | (Tell us the frequency you conduct in silico to monitor the efficiency of your assay) |  | 3D modelling (static)
6. What is the reference sequence ID that was used? (Please use the drop-down menu) |  |  | 3D modelling (dynamic)
7. What software was used for the analysis? | (Provide accession numbers, GISAID EPI_ISL etc., used as the reference sequence) |  | Predicted impact on binding affinity (binding energy)
8. What is the geographical regions of the sequences? | (Is this freely available vs in-house software? Please also provide specific modules and versions of this software Provide a description in report if in-house designed) |  | Other
9. Which database are sequences retrieved from? | (Please tell us if you conduct analysis with sequences from all the geographical regions your assays are used. Please consider UK nations as well as regions)
10. What is the timeframe of the sequences mined? | (Tell us the name of the database the sequences are mined from) |  | Yes
11. Which VOCs/VUIs were assessed in silico? | (Tell us the timeframe sequences were mined from the database e.g. 01/01/2022-01/02/2022) |  | No; go to next tab (Section 3: wet lab testing)
12. What criteria was used to evaluate if mismatches have potential impact on test? | (List the variant/s); include at minimum lineages and variants from: https://www.gov.uk/government/publications/investigation-of-sars-cov-2-variants-technical-briefings |  | In-house
13. Detail your mutation location criteria/tolerance before proceeding to wet lab testing (mismatch% in Primer 3' end Probe). | When do you consider a change in amino acid sequence should be investigated? Please explain the criteria used for determining whether an assay will be considered to be of potential concern when used against a VOC/VUI derived sequence change. Please provide as much information as you can. |  | Third party
14. How was the in silico analysis conducted for each VOCs/VUIs assessed? | (Provide a detailed description of how the in silico was conducted for the variant(s)).
15. What (if any) was the predicted impact of the VOCs/VUIs assessed? | (Provide results in a report as an attachment with this submission. Report should consist as a minimum of a table with information for each variant tested to include: - name of variant- VOC/VUI (including sub lineages) - number of database sequences evaluated - number AND percentage of sequences with mismatch for each Gene Target(s)/Epitope -result call if assay is affected as determined when using in silico criteria)

## 3. WET LAB TESTING
INFORMATION REQUIRED | PLEASE COMPLETE | ADDITIONAL DETAILS (provide as attachment if relevant)
SECTION 3: WET LAB TESTING
1. Have you conducted wet lab analysis? (Please use the drop-down menu)
2. Was wet lab testing conducted in house or via a third party provider? | (Tell us where the testing was conducted and provenance of data e.g. provide a clinical report as an attachment with this submission)
No
SECTION 3.1: LAB ANALYSIS |  |  | Yes, provide details in this section
1. Please detail the material used to conduct wet testing. | (Does you assessment include: -Whole virus (clinical or synthetic) -recombinant protein) |  | No, continue to section 3.3
2. What reference genome was used as a control and run alongside the variant material? |  |  | Yes
3. Does your wet lab assessment rely on failure? | (If your wet lab testing explores whether a amino acid change results in assay failure please detail the methodology of how this is conducted in terms of replication, matrix, concentration of target, etc.) |  | No
4. Please provide a comprehensive description of how this is evaluated e.g. LoD or 3 log above LoD. | (Tell us how the you achieved the LOD including the source/manufacturer/supplier of the material used in Q3.1.2) |  | N/A; in silico does not predict any impact (there is no need to complete the rest of the questions in this section)
5. Have there been any examples where an amino acid sequence change associated with a VOC/VUI has disrupted any of your assays (if yes please provide details of impact and what interventions were applied as mitigation)?
SECTION 3.2: TYPE OF SAMPLES USED TO GENERATE CLINICAL DATA
1. Have you evaluated any clinical material against the VOCs/VUIs?
2. If clinical material, what is the sample type collected? | (Tell us sample type e.g. NP, OP etc.) |  | Yes, provided with this submission
3. What was the variant and how was it determined? | (List which variant was used and how the variant was determined) |  | No
4. How were samples tested? | (Tell us if method used aligns with IFU)
5. Has viral concentration of the variant within the sample been determined? | (List the variant/s and concentrations in copies/mL). Provide results as a report as an attachment with this submission.
6.How was the viral concentration determined? | (Give detailed description of how this was determined)
7. Did you use contrived samples?
8. What was the matrix that was used to generate contrived samples? | Tell us the matrix used to generate contrived samples (if answer to Q3.2.7 is "No", please move on to Q3.2.9) |  | Whole
9. How many samples were tested? | (Tell us how many positive and negative samples were used in this clinical study) |  | Partial
10. Is there a clinical report (please refer to example of clinical report requirement https://www.gov.uk/government/publications/how-tests-and-testing-kits-for-coronavirus-covid-19-work) for each variant listed in Q3.2.3? (Please use drop-down menu) |  |  | Not applicable
11. What is the published clinical sensitivity of your assay? | (Tell us the clinical sensitivity of your assay as described in your IFU, INCLUDING 95% upper and lower Confidence Intervals)
12. What is the published clinical specificity of your assay? | (Tell us the clinical specificity of your assay as described in your IFU, INCLUDING 95% upper and lower Confidence Intervals)
SECTION 3.3: LIMIT OF DETECTION (LOD)
1. What is the reference material used for wild-type? | (Tell us the manufacturer/cat No)
2. What is the reference material used for variant(s)? | (List all the variants used and Tell us the manufacturer/cat No)
3. Methodology | (Detail how LOD is measured)
4. If using recombinant protein, was it whole/partial. (Please use drop-down menu)
5.Mutation profile of each variant recombinant protein tested | (List the mutations for each variant)
6. Do these mutations fall within your epitope regions? (Please use drop-down menu)
7. If yes to Q3.3.6, what are these mutation/s | (List the mutations that fall within epitope regions)
8. What is the LOD of wild-type tested? | (Define units of measurement e.g. LOD in pg./ml or PFU/ml; )
9. What is the LOD of variant/s tested? | (Define units of measurement e.g. LOD in pg./ml or PFU/ml for each variant tested)