UK Standards for Microbiology Investigations

Investigation of bone and soft tissue associated with osteomyelitis

Acknowledgments

UK Standards for Microbiology Investigations (SMIs) are developed under the auspices of Public Health England (PHE) working in partnership with the National Health Service (NHS), Public Health Wales and with the professional organisations whose logos are displayed below and listed on the website https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories. SMIs are developed, reviewed and revised by various working groups which are overseen by a steering committee (see https://www.gov.uk/government/groups/standards-for-microbiology-investigations-steering-committee).

The contributions of many individuals in clinical, specialist and reference laboratories who have provided information and comments during the development of this document are acknowledged. We are grateful to the medical editors for editing the medical content.

We also acknowledge Dr Bridget Atkins, of the Bone Infection Unit, Nuffield Orthopaedic Centre, Oxford University Hospitals NHS for her considerable specialist input.

For further information please contact us at:

Standards Unit

Microbiology Services

Public Health England

61 Colindale Avenue

London NW9 5EQ

E-mail: standards@phe.gov.uk

Website: https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories

PHE publications gateway number: 2015573

UK Standards for Microbiology Investigations are produced in association with:

Logos correct at time of publishing.

Contents

Acknowledgments	2

Amendment table	4

UK SMI: scope and purpose	5

Scope of document	7

Introduction	7

Technical information/limitations	13

1 	Safety considerations	15

2	Specimen collection	15

3	Specimen transport and storage	16

4 	Specimen processing/procedure	16

5	Reporting procedure	21

6	Notification to PHE, or equivalent in the devolved administrations	22

Appendix 1: Investigation of bone and soft tissue associated with osteomyelitis by culture	23

References	24

Amendment table

Each SMI method has an individual record of amendments. The current amendments are listed on this page. The amendment history is available from standards@phe.gov.uk.

New or revised documents should be controlled within the laboratory in accordance with the local quality management system.

| Amendment no/date. | 4/14.12.15 |
| --- | --- |
| Issue no. discarded. | 1.3 |
| Insert issue no. | 2 |
| Section(s) involved | Amendment |

| Whole document. | Hyperlinks updated to gov.uk. |
| --- | --- |
| Page 2. | Updated logos added. |
| Scope. | Updated for clarity. |
| Introduction. | Re-organised and streamlined. Updated to include Waldvogel and Cierry-Mader classifications, spondylodiscitis and rapid techniques. |
| Technical information/limitations. | Updated to include limitations of UK SMIs. |
| Specimen transport and storage. | Section 3.1. IDSA Guidelines for transport included: Transport at room temperature, and should be processed immediately, and within a maximum of 2hr. |
| Specimen processing/procedure. | Section 4.3.1. Surgically obtained specimens for fungal culture should be cut (finely sliced) rather than homogenised. Addition of information regarding molecular testing. |
| Culture and investigation. | Culture media, conditions and organisms updated. Direct FAA plate removed. Addition of molecular testing. |
| Reporting. | Reporting text updated. Addition of molecular testing. |
| Appendix. | Flowchart updated to reflect culture media table. |

UK SMI: scope and purpose

Users of SMIs

Primarily, SMIs are intended as a general resource for practising professionals operating in the field of laboratory medicine and infection specialties in the UK. SMIs also provide clinicians with information about the available test repertoire and the standard of laboratory services they should expect for the investigation of infection in their patients, as well as providing information that aids the electronic ordering of appropriate tests. The documents also provide commissioners of healthcare services with the appropriateness and standard of microbiology investigations they should be seeking as part of the clinical and public health care package for their population.

Background to SMIs

SMIs comprise a collection of recommended algorithms and procedures covering all stages of the investigative process in microbiology from the pre-analytical (clinical syndrome) stage to the analytical (laboratory testing) and post analytical (result interpretation and reporting) stages. Syndromic algorithms are supported by more detailed documents containing advice on the investigation of specific diseases and infections. Guidance notes cover the clinical background, differential diagnosis, and appropriate investigation of particular clinical conditions. Quality guidance notes describe laboratory processes which underpin quality, for example assay validation.

Standardisation of the diagnostic process through the application of SMIs helps to assure the equivalence of investigation strategies in different laboratories across the UK and is essential for public health surveillance, research and development activities.

Equal partnership working

SMIs are developed in equal partnership with PHE, NHS, Royal College of Pathologists and professional societies. The list of participating societies may be found at https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories. Inclusion of a logo in an SMI indicates participation of the society in equal partnership and support for the objectives and process of preparing SMIs. Nominees of professional societies are members of the Steering Committee and working groups which develop SMIs. The views of nominees cannot be rigorously representative of the members of their nominating organisations nor the corporate views of their organisations. Nominees act as a conduit for two way reporting and dialogue. Representative views are sought through the consultation process. SMIs are developed, reviewed and updated through a wide consultation process.

Quality assurance

NICE has accredited the process used by the SMI working groups to produce SMIs. The accreditation is applicable to all guidance produced since October 2009. The process for the development of SMIs is certified to ISO 9001:2008. SMIs represent a good standard of practice to which all clinical and public health microbiology laboratories in the UK are expected to work. SMIs are NICE accredited and represent neither minimum standards of practice nor the highest level of complex laboratory investigation possible. In using SMIs, laboratories should take account of local requirements and undertake additional investigations where appropriate. SMIs help laboratories to meet accreditation requirements by promoting high quality practices which are auditable. SMIs also provide a reference point for method development. The performance of SMIs depends on competent staff and appropriate quality reagents and equipment. Laboratories should ensure that all commercial and in-house tests have been validated and shown to be fit for purpose. Laboratories should participate in external quality assessment schemes and undertake relevant internal quality control procedures.

Patient and public involvement

The SMI working groups are committed to patient and public involvement in the development of SMIs. By involving the public, health professionals, scientists and voluntary organisations the resulting SMI will be robust and meet the needs of the user. An opportunity is given to members of the public to contribute to consultations through our open access website.

Information governance and equality

PHE is a Caldicott compliant organisation. It seeks to take every possible precaution to prevent unauthorised disclosure of patient details and to ensure that patient-related records are kept under secure conditions. The development of SMIs is subject to PHE Equality objectives https://www.gov.uk/government/organisations/public-health-england/about/equality-and-diversity.

The SMI working groups are committed to achieving the equality objectives by effective consultation with members of the public, partners, stakeholders and specialist interest groups.

Legal statement

While every care has been taken in the preparation of SMIs, PHE and any supporting organisation, shall, to the greatest extent possible under any applicable law, exclude liability for all losses, costs, claims, damages or expenses arising out of or connected with the use of an SMI or any information contained therein. If alterations are made to an SMI, it must be made clear where and by whom such changes have been made.

The evidence base and microbial taxonomy for the SMI is as complete as possible at the time of issue. Any omissions and new material will be considered at the next review. These standards can only be superseded by revisions of the standard, legislative action, or by NICE accredited guidance.

SMIs are Crown copyright which should be acknowledged where appropriate.

Suggested citation for this document

Public Health England. (2015). Investigation of bone and soft tissue associated with osteomyelitis. UK Standards for Microbiology Investigations. B 42 Issue 2. https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories

Scope of document

Type of specimen

Intra-operative samples of bone, bone biopsies, soft tissue, aspirates

This SMI describes the processing and microbiological investigation of bone and soft tissue associated with osteomyelitis and includes information regarding molecular techniques.

For biopsies and aspirates sent for the investigation of prosthetic joint infections refer to B 44 – Investigation of orthopaedic implant associated infections.

This SMI should be used in conjunction with other SMIs.

Introduction

Osteomyelitis is a progressive infection which results in inflammation of the bone and causes bone destruction, necrosis and deformation1. In children the growing ends of long bones are the most common site of infection whereas in adults it is the spine2,3. Risk factors for adult (haematogenous) osteomyelitis include sickle cell disease, immune deficiencies and intravenous drug use4.  Organisms most often isolated from bone and soft tissue samples include5:

- Staphylococcus aureus

- coagulase negative staphylococci

- Enterococcus species

Gram negative bacteria and fungi may also be isolated. Gram negative bacilli when isolated are of major clinical importance due to their antimicrobial resistance patterns6.

Classification

Two classification systems of osteomyelitis are currently in use; the Waldvogel classification and the Cierny-Mader classification7,8.

The Waldvogel classification is based on the pathogenesis of disease. Categories are defined by the duration of illness (acute/chronic), the source of infection (eg contiguous focus originating from local infected tissue) and vascular insufficiency (eg diabetic foot infection)7,9.

There are several limitations to the Waldvogel classification; it does not include infection caused by direct inoculation into the bone, for example caused by trauma, and due to the fact that it is based on pathogeneses of disease, it does not lend itself to use in clinical practice9.

The Cierny-Mader classification is a clinical ‘staged’ classification. Initially cases are categorised into one of four stages of osteomyelitis; stage 1 (medullary), stage 2 (superficial), stage 3 (localised) or stage 4 (diffuse)9,10. The patient is then categorised as either A, B or C. Patients in category A do not have systemic or local compromising factors, those in category B are affected by systemic and/or local compromising factors and those patients  in category C are severely compromised, and treatment is considered worse than the disease9.

There are also several limitations to the Cierny-Mader method of classification. Placing patients into category C is subjective and categorisation may differ between clinicians. Also, the classification does not take the duration of the disease into consideration9.

For the purpose of this SMI the structure of the introduction has been arranged based on the Waldvogel classification because of its etiological basis.

Acute contiguous-focus osteomyelitis

In contiguous-focus osteomyelitis, the organisms may be inoculated at the time of trauma or during intra-operative or peri-operative procedures. Alternatively they may extend from an adjacent soft tissue focus of infection. Common predisposing factors include surgical reduction and fixation of fractures, prosthetic devices, open fractures and chronic soft tissue infections (see B 14 – Investigation of abscesses and deep seated wound infections). In general the microbiology of contiguous osteomyelitis is more complex than that of haematogenous osteomyelitis and is commonly polymicrobial.

Contiguous-focus osteomyelitis without vascular insufficiency

Puncture wounds of the foot through footwear such as training shoes are particularly associated with osteomyelitis due to Pseudomonas aeruginosa11-13. Osteomyelitis following human bites and tooth socket infections affecting the mandible are often caused by strict anaerobes for example Actinomyces species; in children anaerobic bone and joint infections are rare14-16.

Contiguous-focus osteomyelitis with vascular insufficiency

Most patients with contiguous-focus osteomyelitis associated with vascular insufficiency have diabetes mellitus. The bones and joints of the feet are most often affected9.

Diabetic foot infections are responsible for many hospital admissions and a significant number can end up with limb amputation and consequent disability17-19. Neuropathy and vasculopathy (impaired blood supply) are complications of diabetes. The former means that protective sensation is lost, allowing skin injury to occur without it being perceived. In addition it can ultimately lead to fragmentation, destruction and dislocations of the bones of the foot (Charcot neuro-osteoarthropathy). Foot deformity in diabetics due to motor neuropathy is also a further strong risk factor for developing ulcers and infection. The basic principles in the treatment of diabetic foot infection are education and prevention with good glucose control, accommodative footwear, regular inspection and general compliance.

Once infection has occurred, abscesses may need to be drained, diagnostic biopsies may be required to guide antibiotics and diseased bone may need to be resected. Acute infections in patients who have not recently received antimicrobials are often monomicrobial (almost always with aerobic Gram positive cocci such as S. aureus and β-haemolytic streptococci), whereas chronic infections are often polymicrobial. Cultures of specimens obtained from patients with such mixed infections generally yield 3–5 isolates, including Gram positive and Gram negative aerobes and anaerobes. These may include enterococci, various Enterobacteriaceae, obligate anaerobes, Pseudomonas aeruginosa and other non-fermentative Gram negative rods. Hospitalisation, surgical procedures, and, especially, prolonged or broad spectrum antibiotic therapy may predispose patients to colonisation and/or infection with antibiotic resistant organisms (eg meticillin resistant Staphylococcus aureus (MRSA) or vancomycin resistant enterococci (VRE)). The impaired host defences around necrotic soft tissue or bone may allow low-virulence colonizers, such as coagulase negative staphylococci and Corynebacterium species (“diphtheroids”), to assume a pathogenic role.

In the immunocompromised or diabetic host, Nocardia species should also be considered as a rare cause of osteomyelitis20.

Acute haematogenous osteomyelitis1,2,4,21

Haematogenous osteomyelitis has been classically described in childhood, but can occur in any age group especially when there are risk factors such as a recent intravascular device, haemodialysis, intravenous drug usage or recurrent infections elsewhere (such as urinary tract infections)4. In adults the vertebrae are most often affected, however the long bones, pelvis or clavicle may also be affected22.

In classical haematogenous osteomyelitis of childhood, the growing ends (metaphyses) of long bones are involved. The commonest organism is S. aureus; however β-haemolytic streptococci and HACEK organisms such as Kingella species are also important causes21. Organisms in the bloodstream gain access to bone by way of the nutrient artery. They pass through branches of this vessel to the small blind ended terminal vessels usually near the epiphyseal plate (growing end of the bone). This area is thought to have sluggish circulation, and bacteria can lodge here, starting the process of infection. Following this there is extension to other areas and the host inflammatory response is mobilised. Pus is created and expands under pressure thereby creating further impedance of the local circulation and death of bone.

In certain areas such as the hip, where the epiphyseal plate is situated within the joint capsule, early joint involvement by infection is common. Pus under pressure may strip the periosteum (outer lining of bone). New immature bone is formed as a response to periosteal stripping, and, in severe cases, the entire shaft may be encased in a sheath of new bone referred to as an involucrum. Where a major portion of the shaft has been deprived of blood supply, a resulting sequestrum (dead bone) lies within the involucrum. Openings in the bone may permit escape of pus from bone causing abscesses, systemic sepsis and in some cases death.

The bacterial species in haematogenous osteomyelitis are usually dependent on the age of the patient. In neonates, Group B streptococci, S. aureus and Escherichia coli cause infection1. Multiple sites of infection are common in neonates23. Between the ages of one and sixteen, S. aureus, and Haemophilus influenzae type b predominate (although the latter is rare after the age of five years and increasingly rare in children under five because of a successful vaccination campaign). Streptococcus pneumoniae is occasionally involved. In adult life, S. aureus is the commonest organism and, in the elderly, infection with aerobic Gram negative rods may occur. Candida species may be found when intravenous devices are in use24. In acute haematogenous osteomyelitis a single pathogenic organism is usually isolated but in many cases of chronic osteomyelitis, particularly when associated with wounds and ulcers the disease can be polymicrobial.

Salmonella species rarely cause osteomyelitis in patients who are immunocompetent; typically infections with Salmonella species (usually non-typhi serotypes) are associated with sickle cell anaemia (see below), other haemoglobinopathies or patients who are immunocompromised25. Salmonella osteomyelitis normally affects the diaphysis of long bones (usually the femur or humerus)  and the vertebrae25.  Infection by indirect contamination from an animal host has been reported26,27.

Spondylodiscitis3

The term spondylodiscitis refers to vertical osteomyelitis, discitis and spondylitis. These are manifestations of haematogenous osteomyelitis, which may result from the same pathological process and may occur at the same time3,28. Spondylodiscitis is responsible for 3-5% of all osteomyelitis cases, and it is the main cause of osteomyelitis in patients aged over 50 years3.

In adults, organisms may enter the discs via the arteries causing inflammation; infection may then extend to the vertebral column28,29. Vertebral osteomyelitis may also result from trauma or complications during surgery. Risk factors include older age, a recent intravascular device, haemodialysis, diabetes and intravenous drug usage (a risk factor for Pseudomonas infection), infection and immunosupression30. Lumbar spine infections may originate from urinary tract infections, possibly by translocation of bacteria via a venous plexus (Batson’s plexus) that links the bladder with the spine. Following the initial infection, pus may break out of the cortex anteriorly to form a paravertebral abscess or posteriorly to form an epidural abscess. In addition weakening of the bone may cause vertebral collapse. Organisms causing vertebral infections include S. aureus, streptococci and aerobic Gram negative rods (associated with urinary tract infections)1.

In patients with risk factors, tuberculosis should always be considered; microbiological diagnosis (with or without histology) is required for a definitive diagnosis31,32. Although infection most often occurs in the spine, extrapulmonary tuberculosis can occur in any bone or joint. Diagnosis is mainly by biopsy for histology and microbiology. Cultures are often positive and are crucial for determining the presence of resistance to anti-tuberculosis agents. However the decision to treat is often made on clinical and histopathological grounds in the first instance33,34. Other mycobacteria, such as Mycobacterium marinum, Mycobacterium avium-intracellulare, Mycobacterium fortuitum and Mycobacterium gordonae have also been associated with bone infections particularly in patients who are immunocompromised.

In endemic areas Brucella species are a common cause of vertebral infection, therefore a travel history should always be sought. Other fastidious Gram negative rods eg the HACEK group (Haemophilus species, Actinobacillus actinomycetemcomitans, Cardiobacterium hominis, Eikenella corrodens and Kingella species (see ID 12 – Identification of Haemophilus species and the HACEK group of organisms) may be occasional causes of vertebral osteomyelitis35.

Sickle cell disease1,9

Adult haematogenous osteomyelitis in adults is often associated with sickle cell disease. Symptoms may mimic those of marrow crisis; culture results should therefore be used for confirmation of clinical diagnosis. Organisms often isolated include Salmonella species, S. aureus and streptococci.

Haemodialysis patients9

As a result of the use of intravascular access devices in these patients, haematogenous infections can occur usually due to S. aureus or coagulase negative staphylococci. Gram negative infections are more common in haemodialysis patients than in the general population.

Intravenous drug users9,36

Septic arthritis and osteomyelitis of the long bones or vertebral discs are associated with haematogenous infection in intravenous drug users. Organisms often isolated include S. aureus, P. aeruginosa and Candida species.

Chronic osteomyelitis1,9,22

Patients typically present with chronic pain and drainage, and may have a history of previous osteomyelitis at the same site. Treatment of infection may be challenging as surrounding tissue and bone will be of poor quality; antibiotic treatment alone is rarely sufficient to arrest infection. Risk factors include open fractures, bacteraemia and ischemic ulcers associated with diabetes, sickle cell disease and malnutrition. Organisms often associated with chronic osteomyelitis include S. aureus, Gram negative bacilli and anaerobic bacteria.

Device related osteomyelitis

In chronic device related infections, organisms may be present in a biofilm that is associated with the device or diseased/necrotic bone. Refer to B 44 – Investigation of orthopaedic implant associated infections.

Haematogenous

Acute haematogenous osteomyelitis can lead to chronic osteomyelitis characterised by dead areas of bone and sinus tract37,38. This condition can fail to respond to treatment and persist for long periods10. Infections may recur many years after the first episode39.

Brodie’s abscess40

Brodie’s abscess is an uncommon condition and is a chronic localised abscess of bone, most often in the distal part of the tibia. It is usually due to S. aureus and generally occurs in patients under 25 years of age. Surgery (surgical debridement) and culture-specific antibiotic therapy are usually effective in arresting infection.

Fungal osteomyelitis

Fungal osteomyelitis is rare; however, some fungi endemic to certain areas can be associated with osteomyelitis. This includes Cryptococcus, Blastomyces and Sporothrix species. In patients who are immunocompromised or those with multiple previous surgical procedures at that site, more common fungi such as Candida or Aspergillus species can also cause osteomyelitis24,41. A mycetoma is a chronic granulomatous infection of the skin, subcutaneous tissues and in its advanced stages, bone. It is most prevalent in tropical and sub-tropical regions of Africa, Asia and Central America. Infection usually follows traumatic inoculation of organisms into subcutaneous tissue from soil or vegetable sources42. Various genera have been implicated including Madurella, Acremonium, Pseudoallescheria and Actinomadura species. Mycetoma may also be caused by bacteria43. It is characterised by subcutaneous granulomata containing grains and can lead to infection of the bone. Black grains are indicative of fungal infection and the condition known as eumycetoma. Actinomycetoma is caused by bacteria, and grains are white, yellow or red44. Infection normally occurs through a puncture wound (normally of the foot); however infection can occur in the legs, hands or arms43. Deep surgical biopsy is required to obtain viable samples for microbiological culture44.

Diagnosis9,19,21,22

The diagnosis of osteomyelitis usually requires a combination of a full clinical assessment, plain X-rays and further imaging (eg MRI scan, CT scan, ultra-sound), blood cultures (particularly in acute cases), bone and/or soft tissue biopsies and/or surgical sampling. For specific indications eg risk of Brucella infection, other tests such as serology may be required. When tuberculosis is suspected, a full clinical ‘work up’ including a chest X-ray is indicated.

Sample types

Radiologically obtained percutaneous bone biopsies

These may be taken in the radiology department where they can be guided by imaging such as ultrasound, fluoroscopy or CT. Usually a sample should also be sent to histology to confirm infection, provide pointers to unusual infections and/or exclude malignancy. It is not commonly possible to send more than one sample to microbiology, but when this is done, each should be processed separately. It is important that detailed clinical information is provided to ensure cultures are set up for appropriate organisms. This includes details such as the presence of a prosthetic device (where any organism eg a coagulase negative staphylococcus, may be the pathogen and also where prolonged cultures are required). It also includes any clinical suspicion or risk factors for tuberculosis, brucella, nocardia, atypical mycobacteria or fungi.

Intra-operative bone biopsies

These are taken in theatre either as primarily a diagnostic procedure, or as the first part of a larger debridement/resection procedure. Multiple (4-5) samples should be taken from separate site using separate sterile instruments for microbiological culture. Similar samples from similar sites should also be taken for histopathological examination. A risk-benefit assessment of antibiotic timing is required. Where infection is likely and/or a microbiological diagnosis is likely to significantly affect clinical outcome, prophylactic antibiotics can be withheld until immediately after sampling. The effect of a single dose of antibiotic on the sensitivity of microbiological culture is unknown. In addition to bone samples, deep soft tissue samples are usually taken at the same time. Sinus samples should be discouraged as colonising organisms cannot be differentiated from infecting organisms.

Samples from around devices45

Samples of bone and soft tissues may be taken from around a prosthetic device, eg a fracture fixation plate or nail. Samples associated with such devices should be processed with the same principles as those associated with prosthetic joint samples (B 44 – Investigation of orthopaedic implant associated infection).

Enrichment culture

Blood culture systems, where bottles are incubated for up to five days, have shown equivalent sensitivity to conventional enrichment broth for the culture of orthopaedic implant associated specimens (refer to B 44 – Investigation of orthopaedic implant associated infection)46,47. Similar studies have not yet been published regarding their use for bone and soft tissue specimens associated with osteomyelitis.

Management9,19,21,22

In acute presentations, surgery may be required to drain pus. In chronic osteomyelitis, areas of dead bone may need to be resected. Both need to be accompanied by specific antibiotic therapy depending on culture results. This is most often carried out intravenously, initially. In some cases, where the disease is too extensive to fully resect, the patient is too unfit for surgery, or a device is retained, long term oral antibiotics may be required. Organisms need to be tested against a wide variety of antibiotic options as patients commonly are intolerant of one or more antibiotics.

Rapid techniques48-50

Molecular methods50-52

Nucleic acid amplification techniques - NAAT (eg PCR) for the identification of bacteria, fungi, parasites and viruses from clinical samples have been shown to be highly specific and sensitive50,51,53. PCR targets conserved genes within the genome, and enables the rapid identification of organisms including those that are slow to grow or are unculturable. Results are available within a short timeframe particularly if multiplex real-time PCR is used.

PCR has been shown to be more sensitive than conventional culture for the isolation of some fastidious organisms for example Kingella kingae, and PCR – hybridization after sonication has been shown to improve diagnosis of implant related infections54,55. There are however some issues with NAATs analysis. A lowered sensitivity may be observed due to the small volume of samples processed, in some cases there may be interference with human DNA originating from the tissue samples, and antibiotic susceptibility information is not available56,57.

MALDI-TOF mass spectrometry48,49

Recent developments in identification of bacteria and yeast include the use of 16s ribosomal protein profiles obtained by matrix assisted laser desorption ionisation – time of flight (MALDI-TOF) mass spectrometry. Mass peaks achieved by the test strains are compared to those of known reference strains. It is possible for an organism to be identified from an isolate within a short time frame and it is increasingly being used in laboratories to provide a robust, rapid and effective identification system for bacterial and yeast isolates.

Technical information/limitations

Limitations of UK SMIs

The recommendations made in UK SMIs are based on evidence (eg sensitivity and specificity) where available, expert opinion and pragmatism, with consideration also being given to available resources. Laboratories should take account of local requirements and undertake additional investigations where appropriate. Prior to use, laboratories should ensure that all commercial and in-house tests have been validated and are fit for purpose.

Specimen containers58,59

SMIs use the term “CE marked leak proof container” to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: “The design must allow easy handling and, where necessary, reduce as far as possible contamination of and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes”

1 	Safety considerations58-74

1.1	Specimen collection, transport and storage58-63

Use aseptic technique.

Care should be taken to avoid accidental injury when using “sharps”.

Collect specimens in appropriate CE marked leak proof containers and transport in sealed plastic bags.

Compliance with postal, transport and storage regulations is essential.

1.2	Specimen processing58-74

Containment Level 2.

Laboratory procedures that give rise to infectious aerosols must be conducted in a microbiological safety cabinet66.

Refer to current guidance on the safe handling of all organisms documented in this SMI.

The above guidance should be supplemented with local COSHH and risk assessments.

2	Specimen collection

2.1	Type of specimens

Bone, bone biopsies, soft tissue, aspirates

2.2	Optimal time and method of collection75

For safety considerations refer to Section 1.1.

Collect specimens before starting antimicrobial therapy where possible75.

Unless otherwise stated, swabs for bacterial and fungal culture should be placed in appropriate transport medium76-80.

Collect specimens other than swabs into appropriate CE marked leak proof containers and place in sealed plastic bags.

Direct collection in theatres can be placed into a CE marked leak proof container with Ringer’s or saline solution and Ballotini beads (as an option) which is placed into sealed plastic bags. However, microbiology and histology specimen pots can be confused leading to difficulties in processing samples.

2.3	Adequate quantity and appropriate number of specimens75

In surgery for chronic osteomyelitis collection of multiple (4-5) intra-operative samples with separate instruments (usually sterile forceps and scalpel) is important. Duplicate samples must be taken for histology. Swabs are not recommended.

Minimum specimen size will depend on the number of investigations requested.

Numbers and frequency of specimens collected are dependent on clinical condition of patient.

3	Specimen transport and storage58,59

3.1	Optimal transport and storage conditions

For safety considerations refer to Section 1.1.

Specimens should be transported and processed as soon as possible75. To enable timely clinical management, samples should be processed urgently.

The Infectious Diseases Society of America (IDSA) guidelines recommend that specimens should be transported at room temperature, and should be processed immediately, and within a maximum of 2hr75.

If processing is delayed, refrigeration is preferable to storage at ambient temperature.

If possible stop all antibiotics at least 2 weeks prior to sampling and consider not giving routine surgical prophylaxis until after sampling81.

The volume of the specimen influences the transport time that is acceptable. Larger pieces of bone may maintain the viability of anaerobes for longer82. Samples should not however exceed the size of the CE marked leak proof containers available.

4 	Specimen processing/procedure58,59

4.1	Test selection

Select a representative portion of specimen for appropriate procedures such as culture for Mycobacterium species (B 40 - Investigation of specimens for Mycobacterium species) or fungi depending on clinical details.

4.2	Appearance

N/A

4.3 	Sample preparation

To enable timely clinical management, samples should be processed urgently. Non-repeatable samples should be prioritised.

For safety considerations refer to Section 1.2.

4.3.1 	Pre-treatment

Examine the specimen for the presence of any soft tissue. Remove soft tissue using a sterile scalpel or scissors and homogenise using, as appropriate, a sterile grinder (Griffith tube or unbreakable alternative), a sterile scalpel or (preferably) sterile scissors and Petri dish. The addition of a small volume (approximately 0.5mL) of sterile filtered water, saline or nutrient Ringer’s will aid the homogenisation process.

Homogenisation must be performed in a racked shaker for 15 minutes in a Class 1 exhaust protective cabinet.

Note: Surgically obtained specimens for fungal culture should be cut (finely sliced) rather than homogenised83.

Optional

N/A

Supplementary

Fungi and Mycobacterium species (B 40 - Investigation of specimens for Mycobacterium species).

4.3.2	Specimen processing

Standard

Bone (percutaneous biopsy or intra-operative sample) or soft tissue associated with osteomyelitis

The objective should be to reduce manipulation to a minimum (for instance the number of times any container is opened), thereby minimising the risk of exposing the operative sample to potential contamination. For this reason centrifugation of the sample for concentration should not be performed, instead divide the whole sample in appropriate amounts for tests.

In units with high workloads of this specimen type, the provision to the operating theatre of CE marked leak proof containers in a sealed plastic bag with approximately 10 Ballotini beads and 5mL broth could be considered. In such circumstances, homogenisation can be carried out in the original container. It is not uncommon, however, for microbiology and histology specimen pots to be confused leading to difficulties in processing samples.

Alternatively, samples may be sent to the laboratory in a plain CE marked leak proof container in a sealed plastic bag. These samples require transfer, homogenisation and then further transfer to culture media, including liquid media. If this methodology is followed, particular care is necessary with asepsis when transferring, homogenising or processing the sample. Clean air provision is desirable. Homogenisation with Ballotini beads can be performed by adding the sample to a universal with approximately 10 Ballotini beads and 5mL of sterile saline (or Ringers solution) then shaking at 250 rpm for 10 minutes in a covered rack on an orbital shaker, or alternatively vortexing for 15 seconds (40 Hz). If molecular analysis is to be carried out then sterile molecular grade water and new universal containers should be used. In the case of molecular work the volume should not exceed 2mL.

Inoculate each agar plate and a slide for Gram staining with a drop of the suspension using a sterile pipette (see Q 5 - Inoculation of culture media for bacteriology).

For the isolation of individual colonies, spread inoculum using a sterile loop. Inoculate broth with the remainder of the suspension including any tissue fragments.

Optional

Specimens collected into appropriate CE marked leak proof containers should be used for microscopy and may be used for molecular techniques. Specimens for molecular testing should be processed according to manufacturer’s instructions.

Supplementary

Fungi and Mycobacterium species (B 40 - Investigation of specimens for Mycobacterium species).

4.4	Microscopy

4.4.1	Supplementary

Gram stain (see TP 39 - Staining procedures)

Gram stains should be carried out on all pus samples and may be carried out on other sample types where clinically indicated.  If sufficient specimen is received prepare as recommended in Section 4.5. Using a sterile pipette place one drop of specimen on to a clean microscope slide.

Spread this with a sterile loop to make a thin smear for Gram staining.

Note: Gram stain on tissue can be difficult to interpret and yield can be low.

4.5	Culture and investigation

Inoculate each agar plate using a sterile pipette (Q 5 - Inoculation of culture media for bacteriology).

For the isolation of individual colonies, spread inoculum with a sterile loop.

4.5.1	Culture media, conditions and organisms

| Clinical details/ conditions | Specimen | Standard media | Incubation |  |  | Cultures read | Target organism(s) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Temp °C | Atmos | Time |  |  |
| ‡Osteomyelitis Brodie’s abscess, Diabetic foot osteomyelitis, Discitis +For debridement of fracture fixation device refer to B 44 – Investigation of prosthetic joint infection. | Bone, Bone biopsy Soft tissue Aspirate | Blood agar and Chocolate agar | 35 - 37 | 5 - 10% CO2 | 40 - 48hr | Daily | Staphylococci Streptococci Enterobacteriaceae Pseudomonads HACEK group Nocardia species* |
|  |  | Fastidious anaerobic broth, cooked meat broth or equivalent Subculture onto plates if evidence of growth, or at day 5 as below: | 35 - 37 | Air | 5 d | N/A | Staphylococci Streptococci Enterobacteriaceace Pseudomonads Anaerobes |
| Subculture plates | Bone, Bone biopsy Soft tissue Aspirate | FAA | 35 - 37 | Anaerobic | 40 - 48hr | ≥40hr | Anaerobes |
|  |  | Chocolate agar | 35 - 37 | 5 - 10% CO2 | 40 - 48hr | Daily | Any |
| For these situations, add the following: |  |  |  |  |  |  |  |
| Clinical details/ conditions | Specimen | Supplementary media | Incubation |  |  | Cultures read | Target organism(s) |
|  |  |  | Temp °C | Atmos | Time |  |  |
| Deep seated fungal infection# | Bone, Bone biopsy Soft tissue Aspirate | Sabouraud agar (slopes) | 28 - 30 | Air | 14 d | Daily‡ | Yeast Mould |
| Optional molecular techniques |  |  |  |  |  |  |  |
| Clinical details/ conditions | Specimen | Molecular technique | Instructions |  |  |  | Target organism(s) |
| All clinical conditions | Bone marrow | NAAT | Follow manufacturer’s instructions |  |  |  | Any organism |
| Always consider other organisms such as Mycobacterium species (B 40 - Investigation of specimens for Mycobacterium species), fungi and actinomycetes. Routine processing for mycobacteria should be considered for all non-post operative spinal infections. * If infection with Nocardia species is suspected, samples may require incubation for a further 3 days. ** Subcultures should be examined periodically (ideally daily) and subcultured if there is evidence suggestive of growth. Terminal subcultures should be performed at 5 days. +Most surgical cases with intra-operative biopsies eg fracture fixation devices or chronic osteomyelitis requires multiple samples. If an indistinguishable organism is isolated in two or more samples then it is likely to be clinically significant. ‡ Extended incubation may be required (for up to 8 weeks) for certain species of fungi such as Cryptococcus species or Histoplasma species84,85. # When investigating mycetoma, deep surgical biopsy is required to obtain viable samples for microbiological culture. Samples should be submitted in normal saline44. (Refer to B 17 – Investigation of tissues and biopsies). |  |  |  |  |  |  |  |

4.6	Identification

Refer to individual SMIs for organism identification.

4.6.1	Minimum level of identification in the laboratory

| Actinomycetes | genus level ID 15 – Identification of anaerobic Actinomyces species |
| --- | --- |
| Anaerobes | genus level ID 14 - Identification of anaerobic cocci ID 8 - Identification of Clostridium species ID 25 - Identification of anaerobic gram negative rods ID 15 – Identification of anaerobic Actinomyces species |
| -haemolytic streptococci | Lancefield group level |
| Other streptococci | species level |
| Enterococci | species level |
| Enterobacteriaceae | species level |
| Yeast and Moulds | species level |
| Haemophilus | species level |
| Pseudomonads | species level |
| S. aureus | species level |
| Staphylococci (not S. aureus) | genus level |
| Mycobacterium species | B 40 - Investigation of specimens for Mycobacterium species |

Organisms may be further identified if this is clinically or epidemiologically indicated.

Note: Any organism considered to be a contaminant may not require identification to species level.

4.7	Antimicrobial susceptibility testing

Refer to British Society for Antimicrobial Chemotherapy (BSAC), and/or EUCAST guidelines, or CSLI guidelines where applicable.

It is important to include a wide range of antibiotics particularly for those patients who may require prolonged oral treatment with biofilm active drugs (see Introduction). These antibiotics are not usually included in the common first line antimicrobials tested in most laboratories. For Gram positive organisms these may include a teicoplanin MIC plus antibiotics such as rifampicin, tetracyclines, quinolones, co-trimoxazole, fusidic acid, linezolid or quinupristin/dalfopristin.

4.8	Referral for outbreak investigations

N/A

4.9	Referral to reference laboratories

For information on the tests offered, turnaround times, transport procedure and the other requirements of the reference laboratory click here for user manuals and request forms.

Organisms with unusual or unexpected resistance, or associated with a laboratory or clinical problem, or anomaly that requires elucidation should be sent to the appropriate reference laboratory.

Contact appropriate devolved national reference laboratory for information on the tests available, turnaround times, transport procedure and any other requirements for sample submission:

England and Wales

https://www.gov.uk/specialist-and-reference-microbiology-laboratory-tests-and-services

Scotland

http://www.hps.scot.nhs.uk/reflab/index.aspx

Northern Ireland

http://www.publichealth.hscni.net/directorate-public-health/health-protection

5	Reporting procedure

5.1	Microscopy

Standard

Gram stain

Report on WBCs and organisms detected.

5.1.1	Microscopy reporting time

All results should be issued to the requesting clinician as soon as they become available, unless specific alternative arrangements have been made with the requestors.

Urgent results should be telephoned or transmitted electronically in accordance with local policies.

5.2	Culture

Following results should be reported:

- clinically significant organisms isolated

- other growth

- absence of growth

5.2.1	Culture reporting time

Interim or preliminary results should be issued on detection of potentially clinically significant isolates as soon as growth is detected, unless specific alternative arrangements have been made with the requestors.

Urgent results should be telephoned or transmitted electronically in accordance with local policies.

Final written or computer generated reports should follow preliminary and verbal reports as soon as possible.

Also, report results of supplementary investigations.

Supplementary investigations: B 40 - Investigation of specimens for Mycobacterium species.

5.3	Molecular

Refer to manufacturer’s instructions.

5.4	Antimicrobial susceptibility testing

Report susceptibilities as clinically indicated. Prudent use of antimicrobials according to local and national protocols is recommended.

6	Notification to PHE86,87, or equivalent in the devolved administrations88-91

The Health Protection (Notification) regulations 2010 require diagnostic laboratories to notify Public Health England (PHE) when they identify the causative agents that are listed in Schedule 2 of the Regulations. Notifications must be provided in writing, on paper or electronically, within seven days. Urgent cases should be notified orally and as soon as possible, recommended within 24 hours. These should be followed up by written notification within seven days.

For the purposes of the Notification Regulations, the recipient of laboratory notifications is the local PHE Health Protection Team. If a case has already been notified by a registered medical practitioner, the diagnostic laboratory is still required to notify the case if they identify any evidence of an infection caused by a notifiable causative agent.

Notification under the Health Protection (Notification) Regulations 2010 does not replace voluntary reporting to PHE. The vast majority of NHS laboratories voluntarily report a wide range of laboratory diagnoses of causative agents to PHE and many PHE Health protection Teams have agreements with local laboratories for urgent reporting of some infections. This should continue.

Note: The Health Protection Legislation Guidance (2010) includes reporting of Human Immunodeficiency Virus (HIV) & Sexually Transmitted Infections (STIs), Healthcare Associated Infections (HCAIs) and Creutzfeldt–Jakob disease (CJD) under ‘Notification Duties of Registered Medical Practitioners’: it is not noted under ‘Notification Duties of Diagnostic Laboratories’.

https://www.gov.uk/government/organisations/public-health-england/about/our-governance#health-protection-regulations-2010

Other arrangements exist in Scotland88,89, Wales90 and Northern Ireland91.

Appendix 1: Investigation of bone and soft tissue associated with osteomyelitis by culture

References

1. 	Jorge LS, Chueire AG, Rossit AR. Osteomyelitis: a current challenge. Braz J Infect Dis 2010;14:310-5.

2. 	Faust SN, Clark J, Pallett A, Clarke NM. Managing bone and joint infection in children. Arch Dis Child 2012;97:545-53.

3. 	Gouliouris T, Aliyu SH, Brown NM. Spondylodiscitis: update on diagnosis and management. J Antimicrob Chemother 2010;65 Suppl 3:iii11-iii24.

4. 	Gaujoux-Viala C, Zeller V, Leclerc P, Chicheportiche V, Mamoudy P, Desplaces N, et al. Osteomyelitis in adults: an underrecognized clinical entity in immunocompetent hosts. A report of six cases. Joint Bone Spine 2011;78:75-9.

5. 	Calhoun JH, Manring MM, Shirtliff M. Osteomyelitis of the long bones. Semin Plast Surg 2009;23:59-72.

6. 	Carvalho VC, Oliveira PR, Dal-Paz K, Paula AP, Felix CS, Lima AL. Gram-negative osteomyelitis: clinical and microbiological profile. Braz J Infect Dis 2012;16:63-7.

7. 	Waldvogel FA, Medoff G, Swartz MN. Osteomyelitis: a review of clinical features, therapeutic considerations and unusual aspects. N Engl J Med 1970;282:198-206.

8. 	Cierny G, Mader JT, Penninck JJ. A Clinical Staging System for Adult Osteomyelitis.   p. 7-24.

9. 	Calhoun JH, Manring MM. Adult osteomyelitis. Infect Dis Clin North Am 2005;19:765-86.

10. 	Cierny G, Mader JT. Adult chronic osteomyelitis. Orthopaedics 1984;7:1557-64.

11. 	Rahn KA, Jacobson FS. Pseudomonas osteomyelitis of the metatarsal sesamoid bones. Am J Orthop 1997;26:365-7.

12. 	Niall DM, Murphy PG, Fogarty EE, Dowling FE, Moore DP. Puncture wound related pseudomonas infections of the foot in children. Ir J Med Sci 1997;166:98-101.

13. 	Laughlin TJ, Armstrong DG, Caporusso J, Lavery LA. Soft tissue and bone infections from puncture wounds in children. West J Med 1997;166:126-8.

14. 	Figueiredo LM, Trindade SC, Sarmento VA, de Oliveira TF, Muniz WR, Valente RO. Actinomycotic osteomyelitis of the mandible: an unusual case. Oral Maxillofac Surg 2013;17:299-302.

15. 	Gaetti-Jardim E Jr, Landucci LF, de Oliveira KL, Costa I, Ranieri RV, Okamoto AC, et al. Microbiota associated with infections of the jaws. Int J Dent 2012;2012:369751.

16. 	Brook I. Joint and bone infections due to anaerobic bacteria in children. Pediatr Rehabil 2002;5:11-9.

17. 	Lipsky BA, Berendt AR, Cornia PB, Pile JC, Peters EJ, Armstrong DG, et al. 2012 Infectious Diseases Society of America clinical practice guideline for the diagnosis and treatment of diabetic foot infections. Clin Infect Dis 2012;54:e132-e173.

18. 	Lavery LA, Armstrong DG, Murdoch DP, Peters EJ, Lipsky BA. Validation of the Infectious Diseases Society of America's diabetic foot infection classification system. Clin Infect Dis 2007;44:562-5.

19. 	National Institute for Health and Clinical Excellence. Diabetic foot problems: Inpatient management of diabetic foot problems.  2012.

20. 	Vanegas S, Franco-Cendejas R, Cicero A, Lopez-Jacome E, Colin C, Hernandez M. Nocardia brasiliensis-associated femorotibial osteomyelitis. Int J Infect Dis 2014;20:63-5.

21. 	Dartnell J, Ramachandran M, Katchburian M. Haematogenous acute and subacute paediatric osteomyelitis: a systematic review of the literature. J Bone Joint Surg Br 2012;94:584-95.

22. 	Hatzenbuehler J, Pulling TJ. Diagnosis and management of osteomyelitis. Am Fam Physician 2011;84:1027-33.

23. 	Ish-Horowicz MR, McIntyre P, Nade S. Bone and Joint infections caused by multiple resistant Staphylococcus aureus in a neonatal intensive care unit. Pediatr Infect Dis 1992;11:82-7.

24. 	Mader JT, Calhoun J. Osteomyelitis. In: Mandell GL, Bennett JE, Dolin R, editors. Mandell Douglas and Bennett's Principles and Practice of Infectious Diseases. 5th ed.  Edinburgh: Churchill Livingstone; 2000. p. 1182-96.

25. 	Salem KH. Salmonella osteomyelitis: A rare differential diagnosis in osteolytic lesions around the knee. J Infect Public Health 2014;7:66-9.

26. 	Lebeaux D, Zarrouk V, Petrover D, Nicolas-Chanoine MH, Fantin B. Salmonella Colindale osteomyelitis in an immunocompetent female patient. Med Mal Infect 2012;42:36-7.

27. 	Kolker S, Itsekzon T, Yinnon AM, Lachish T. Osteomyelitis due to Salmonella enterica subsp. arizonae: the price of exotic pets. Clin Microbiol Infect 2012;18:167-70.

28. 	Cebrian Parra JL, Saez-Arenillas MA, Urda Martinez-Aedo AL, Soler I, I, Agreda E, Lopez-Duran SL. Management of infectious discitis. Outcome in one hundred and eight patients in a university hospital. Int Orthop 2012;36:239-44.

29. 	Skaf GS, Domloj NT, Fehlings MG, Bouclaous CH, Sabbagh AS, Kanafani ZA, et al. Pyogenic spondylodiscitis: an overview. J Infect Public Health 2010;3:5-16.

30. 	Holzman RS, Bishko F. Osteomyelitis in heroin addicts. Ann Intern Med 1971;75:693-6.

31. 	Fuentes FM, Gutierrez TL, Ayala RO, Rumayor ZM, del Prado GN. Tuberculosis of the spine. A systematic review of case series. Int Orthop 2012;36:221-31.

32. 	Merino P, Candel FJ, Gestoso I, Baos E, Picazo J. Microbiological diagnosis of spinal tuberculosis. Int Orthop 2012;36:233-8.

33. 	Sagoo RS, Lakdawala A, Subbu R. Tuberculosis of the elbow joint. JRSM Short Rep 2011;2:17.

34. 	Sandher DS, Al-Jibury M, Paton RW, Ormerod LP. Bone and joint tuberculosis: cases in Blackburn between 1988 and 2005. J Bone Joint Surg Br 2007;89:1379-81.

35. 	Farrington M, Eykyn SJ, Walker M, Warren RE. Vertebral osteomyelitis due to coccobacilli of the HB group. Br Med J (Clin Res Ed) 1983;287:1658-60.

36. 	Allison DC, Holtom PD, Patzakis MJ, Zalavras CG. Microbiology of bone and joint infections in injecting drug abusers. Clin Orthop Relat Res 2010;468:2107-12.

37. 	Mackowiak PA, Jones SR, Smith JW. Diagnostic value of sinus-tract cultures in chronic osteomyelitis. JAMA 1978;239:2772-5.

38. 	Mousa HA. Evaluation of sinus-track cultures in chronic bone infection. J Bone Joint Surg Br 1997;79:567-9.

39. 	Waldvogel FA, Papageorgiou PS. Osteomyelitis: the past decade. N Engl J Med 1980;360-70.

40. 	Olasinde AA, Oluwadiya KS, Adegbehingbe OO. Treatment of Brodie's abscess: excellent results from curettage, bone grafting and antibiotics. Singapore Med J 2011;52:436-9.

41. 	Dirschl DR, Almekinders LC. Osteomyelitis. Common causes and treatment recommendations. Drugs 1993;45:29-43.

42. 	 Medical Microbiology L A Guide to Microbial Infections. 15 ed. Edinburgh: Churchill Livingstone; 1997. p. 566

43. 	Asly M, Rafaoui A, Bouyermane H, Hakam K, Moustamsik B, Lmidmani F, et al. Mycetoma (Madura foot): A case report. Ann Phys Rehabil Med 2010;53:650-4.

44. 	Fahal AH, Shaheen S, Jones DH. The orthopaedic aspects of mycetoma. Bone Joint J 2014;96-B:420-5.

45. 	Osmon DR, Berbari EF, Berendt AR, Lew D, Zimmerli W, Steckelberg JM, et al. Executive summary: diagnosis and management of prosthetic joint infection: clinical practice guidelines by the infectious diseases society of America. Clin Infect Dis 2013;56:1-10.

46. 	Minassian AM, Newnham R, Kalimeris E, Bejon P, Atkins BL, Bowler IC. Use of an automated blood culture system (BD BACTEC) for diagnosis of prosthetic joint infections: easy and fast. BMC Infect Dis 2014;14:233.

47. 	Hughes HC, Newnham R, Athanasou N, Atkins BL, Bejon P, Bowler IC. Microbiological diagnosis of prosthetic joint infections: a prospective evaluation of four bacterial culture media in the routine laboratory. Clin Microbiol Infect 2011;17:1528-30.

48. 	Carbonnelle E, Mesquita C, Bille E, Day N, Dauphin B, Beretti JL, et al. MALDI-TOF mass spectrometry tools for bacterial identification in clinical microbiology laboratory. Clin Biochem 2011;44:104-9.

49. 	van Veen SQ, Claas ECJ, Kuijper EJ. High-Throughput Identification of Bacteria and Yeast by Matrix-Assisted Laser Desorption Ionization-Time of Flight Mass Spectrometry in Conventional Medical Microbiology Laboratories. J Clin Microbiol 2010;48:900-7.

50. 	Espy MJ, Uhl JR, Sloan LM, Buckwalter SP, Jones MF, Vetter EA, et al. Real-time PCR in clinical microbiology: applications for routine laboratory testing. Clin Microbiol Rev 2006;19:165-256.

51. 	Martagon-Villamil J, Shrestha N, Sholtis M, Isada CM, Hall GS, Bryne T, et al. Identification of Histoplasma capsulatum from culture extracts by real-time PCR. J Clin Microbiol 2003;41:1295-8.

52. 	Yoon SH, Chung SK, Kim KJ, Kim HJ, Jin YJ, Kim HB. Pyogenic vertebral osteomyelitis: identification of microorganism and laboratory markers used to predict clinical outcome. Eur Spine J 2010;19:575-82.

53. 	Dayan L, Sprecher H, Hananni A, Rosenbaum H, Milloul V, Oren I. Aspergillus vertebral osteomyelitis in chronic leukocyte leukemia patient diagnosed by a novel panfungal polymerase chain reaction method. Spine J 2007;7:615-7.

54. 	Esteban J, Alonso-Rodriguez N, del-Prado G, Ortiz-Perez A, Molina-Manso D, Cordero-Ampuero J, et al. PCR-hybridization after sonication improves diagnosis of implant-related infection. Acta Orthop 2012;83:299-304.

55. 	Cherkaoui A, Ceroni D, Emonet S, Lefevre Y, Schrenzel J. Molecular diagnosis of Kingella kingae osteoarticular infections by specific real-time PCR assay. J Med Microbiol 2009;58:65-8.

56. 	Bjerkan G, Witso E, Nor A, Viset T, Loseth K, Lydersen S, et al. A comprehensive microbiological evaluation of fifty-four patients undergoing revision surgery due to prosthetic joint loosening. J Med Microbiol 2012;61:572-81.

57. 	Esposito S, Leone S. Prosthetic joint infections: microbiology, diagnosis, management and prevention. Int J Antimicrob Agents 2008;32:287-93.

58. 	European Parliament. UK Standards for Microbiology Investigations (SMIs) use the term "CE marked leak proof container" to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: "The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes".

59. 	Official Journal of the European Communities. Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on in vitro diagnostic medical devices. 7-12-1998. p. 1-37.

60. 	Health and Safety Executive. Safe use of pneumatic air tube transport systems for pathology specimens.  9/99.

61. 	Department for transport. Transport of Infectious Substances, 2011 Revision 5.  2011.

62. 	World Health Organization. Guidance on regulations for the Transport of Infectious Substances 2013-2014.  2012.

63. 	Home Office. Anti-terrorism, Crime and Security Act.  2001 (as amended).

64. 	Advisory Committee on Dangerous Pathogens. The Approved List of Biological Agents. Health and Safety Executive. 2013. p. 1-32

65. 	Advisory Committee on Dangerous Pathogens. Infections at work: Controlling the risks. Her Majesty's Stationery Office. 2003.

66. 	Advisory Committee on Dangerous Pathogens. Biological agents: Managing the risks in laboratories and healthcare premises. Health and Safety Executive. 2005.

67. 	Advisory Committee on Dangerous Pathogens. Biological Agents: Managing the Risks in Laboratories and Healthcare Premises. Appendix 1.2 Transport of Infectious Substances - Revision. Health and Safety Executive. 2008.

68. 	Centers for Disease Control and Prevention. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR Surveill Summ 2012;61:1-102.

69. 	Health and Safety Executive. Control of Substances Hazardous to Health Regulations. The Control of Substances Hazardous to Health Regulations 2002. 5th ed.  HSE Books; 2002.

70. 	Health and Safety Executive. Five Steps to Risk Assessment: A Step by Step Guide to a Safer and Healthier Workplace. HSE Books.  2002.

71. 	Health and Safety Executive. A Guide to Risk Assessment Requirements: Common Provisions in Health and Safety Law. HSE Books.  2002.

72. 	Health Services Advisory Committee. Safe Working and the Prevention of Infection in Clinical Laboratories and Similar Facilities. HSE Books. 2003.

73. 	British Standards Institution (BSI). BS EN12469 - Biotechnology - performance criteria for microbiological safety cabinets. 2000.

74. 	British Standards Institution (BSI). BS 5726:2005 - Microbiological safety cabinets. Information to be supplied by the purchaser and to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance. 24-3-2005. p. 1-14

75. 	Baron EJ, Miller JM, Weinstein MP, Richter SS, Gilligan PH, Thomson RB, Jr., et al. A Guide to Utilization of the Microbiology Laboratory for Diagnosis of Infectious Diseases: 2013 Recommendations by the Infectious Diseases Society of America (IDSA) and the American Society for Microbiology (ASM). Clin Infect Dis 2013;57:e22-e121.

76. 	Rishmawi N, Ghneim R, Kattan R, Ghneim R, Zoughbi M, Abu-Diab A, et al. Survival of fastidious and nonfastidious aerobic bacteria in three bacterial transport swab systems. J Clin Microbiol 2007;45:1278-83.

77. 	Barber S, Lawson PJ, Grove DI. Evaluation of bacteriological transport swabs. Pathology 1998;30:179-82.

78. 	Van Horn KG, Audette CD, Sebeck D, Tucker KA. Comparison of the Copan ESwab system with two Amies agar swab transport systems for maintenance of microorganism viability. J Clin Microbiol 2008;46:1655-8.

79. 	Nys S, Vijgen S, Magerman K, Cartuyvels R. Comparison of Copan eSwab with the Copan Venturi Transystem for the quantitative survival of Escherichia coli, Streptococcus agalactiae and Candida albicans. Eur J Clin Microbiol Infect Dis 2010;29:453-6.

80. 	Tano E, Melhus A. Evaluation of three swab transport systems for the maintenance of clinically important bacteria in simulated mono- and polymicrobial samples. APMIS 2011;119:198-203.

81. 	Trampuz A, Piper KE, Jacobson MJ, Hanssen AD, Unni KK, Osmon DR, et al. Sonication of removed hip and knee prostheses for diagnosis of infection. N Engl J Med 2007;357:654-63.

82. 	Holden J. Collection and transport of clinical specimens for anaerobic culture. In: Isenberg HD, editor. Clinical Microbiology Procedures Handbook.Vol 1. Washington D.C.: American Society for Microbiology; 1992. p. 2.2.1-7.

83. 	Revankar SG, Sutton DA. Melanized fungi in human disease. Clin Microbiol Rev 2010;23:884-928.

84. 	Bosshard PP. Incubation of fungal cultures: how long is long enough? Mycoses 2011;54:e539-e545.

85. 	Morris AJ, Byrne TC, Madden JF, Reller LB. Duration of incubation of fungal cultures. J Clin Microbiol 1996;34:1583-5.

86. 	Public Health England. Laboratory Reporting to Public Health England: A Guide for Diagnostic Laboratories. 2013. p. 1-37.

87. 	Department of Health. Health Protection Legislation (England) Guidance.  2010.  p. 1-112.

88. 	Scottish Government. Public Health (Scotland) Act.  2008 (as amended).

89. 	Scottish Government. Public Health etc. (Scotland) Act 2008. Implementation of Part 2: Notifiable Diseases, Organisms and Health Risk States. 2009.

90. 	The Welsh Assembly Government. Health Protection Legislation (Wales) Guidance.  2010.

91. 	Home Office. Public Health Act (Northern Ireland) 1967 Chapter 36.  1967 (as amended).

Microbiology is used as a generic term to include the two GMC-recognised specialties of Medical Microbiology (which includes Bacteriology, Mycology and Parasitology) and Medical Virology.