| Department for Environment, Food and Rural Affairs Scottish Government Welsh Government |  |
| --- | --- |
| Model Declaration Regarding the Compliance of a Poultry Litter Combustion Chamber with Annex III of the Animal By-Products (EU) Regulation No. 142/2011 |

The on farm Combustion Plant Technology Provider should insert their own letter heading and footer.

Technology Providers Declaration Regarding the Compliance of a poultry litter combustion chamber with Annex III of The Animal By-Products Regulation (EU) No. 142/2011

We (Name of Company) HEREBY CERTIFY that (make, model of combustion chamber) meets the operating requirements set out in Annex III Chapters IV and V of Regulation (EU) No. 142/2011 implementing Regulation (EC) No. 1069/2009 and the provisions of The Animal By-Products (Enforcement) (England) Regulations 2013/The Animal By-Products (Enforcement) (Scotland) Regulations 2013/The Animal By-Products (Enforcement) (Wales) Regulations 2014, as a combustion plant compliant with the requirement to i) raise the temperature of the resultant gas to 850°C for 2 seconds ii) produce emissions below the levels stated in the legislation provided that:

- The combustion plant is operated only with the auxiliary burners specified below. Set at the fuel flow and air settings specified. These are set to meet the required emission standards specified in the Regulation.

- No alteration is made to the combustion plant flows and inputs that will affect compliance with the emission standards specified in the Regulation.

- The combustion plant is operated at all times in accordance with the Technology Providers Operating Instructions.

- The combustion plant undergoes such regular (at least once annually) servicing as specified in the Technology Providers Operating Instructions. Servicing is to be carried out by a suitably qualified and certified Engineer

- The temperature measuring equipment and any temperature recording equipment fitted to the combustion plant shall be maintained in proper working order and shall be re-calibrated as specified by the manufacturer. Re-calibration shall be carried out in accordance with instructions contained in the Operating Instructions and to a recognised standard (e.g. UKAS).

- The bag filters are cleaned at least every seven weeks and replaced every two years according to the manufacturer’s instructions.

| Technology Providers Company Name: |  |
| --- | --- |
| Make and model of combustion plant: |  |
| Make and model of auxiliary burner : |  |
| Type of auxiliary burner used for start up and shut down operations: | Natural draught/forced draught burner * |
|  | Oil/LPG/Natural Gas* |
| Serial number of auxiliary burner (if applicable): |  |
| Jet setting of auxiliary burners: |  |
| Fuel pressure setting auxiliary burner (Gas only): |  |
| Fuel and air settings of auxiliary burner (powered burners only): |  |
| Rated KW and BTU rating of combustion plant: |  |

*Delete as appropriate

| Signed |  | Date |  |
| --- | --- | --- | --- |
| Name in BLOCK LETTERS |  | Position |  |

The Animal and Plant Health Agency is an Executive Agency of the Department for Environment, Food and Rural Affairs working to safeguard animal and plant health for the benefit of people, the environment and the economy.