## Intro
Project: | DECC Domestic Retrofit Cost Assumptions Study
Date: | 2016-04-14
Version: | 8
This spreadsheet sets out the results of a data-gathering exercise undertaken by CAR for DECC over the period Jan-Apr 2016. Cost data was gathered for a range of domestic retrofit measures from a range of organisations via interviews and email correspondence. Organisations were asked to provide installed cost data from 2015/early 2016, and to comment on factors affecting the data. The data they provided is summarised on the other worksheets within this spreadsheet. Some DIY costs are additionally included for certain measures, based on internet searches of products on company websites. The measures included on the following worksheets are as follows:
MEASURE | WORKSHEET
Wall Insulation
Internal Wall Insulation | IWI
External Wall Insulation | EWI
Cavity Wall Insulation | CWI
Party Cavity Wall Insulation | PWI
Roof Insulation
Loft Insulation (Joists) | R1
Loft Insulation (Rafters) | R2
Flat Roof Insulation | R3
Floor Insulation
Underfloor Insulation | F1
Glazing
Replacement Double Glazing (panes and frames) | DG
Secondary Glazing | SG
Heating
Gas Boiler Replacement | Gas
Oil Boiler Replacement | Oil
Gas Central Heating Installation | CH
Hot Water Cylinder Insulation (Jacket) | HWC
LEDs | LED
Draught-Proofing | DP
Note on inclusions/exclusions:
The costs presented are on an installed cost to household basis. They exclude 'hassle costs' and search costs.
The 'low' and 'high' costs are based on the lowest and highest costs provided by participating organisations. They show the range of costs provided. The 'medium' costs are based on the mean values of all costs provided for each measure.

## Summary
OVERALL COST SUMMARY TABLES
WALLS |  | IWI - Internal Wall Insulation |  |  | EWI - External Wall Insulation |  |  | CWI - Cavity Wall Insulation |  |  | PWI - Party Wall Insulation
|  | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High
Cost per m² element area (materials + labour) |  | 55 | 94.6429 | 140 | 55 | 116 | 180 | 5 | 5.5 | 6 | 25 | 27.5 | 30
Cost per housetype | Small flat (<54m²) | 2500 | 2800 | 3000 | 4300 | 5300 | 6100 | 300 | 380 | 630 | 350 | 350 | 350
| Large flat (>54m²) | 3000 | 3500 | 4000 | 6700 | 6700 | 6700 | 350 | 430 | 640 | 350 | 350 | 350
| Small mid-terrace house (<76m²) | 3000 | 3700 | 5000 | 5500 | 6800 | 8000 | 350 | 460 | 660 | 350 | 350 | 350
| Large mid-terrace house (>76m²) | 4000 | 4000 | 4000 | 7500 | 7500 | 7500 | 450 | 504.945 | 670 | 350 | 350 | 350
| Small semi-detached or end-of-terrace (<80m²) | 5000 | 6800 | 10400 | 7000 | 7800 | 9000 | 480 | 528.98 | 660 | 350 | 350 | 350
| Large semi-detached or end terrace (>80m²) | 6000 | 7000 | 8000 | 7800 | 8400 | 10000 | 600 | 660 | 690 | 350 | 350 | 350
| Small detached house (<117m²) | 6600 | 7200 | 8000 | 8900 | 10200 | 12000 | 550 | 680 | 800
| Large detached house (>117m²) | 7000 | 9400 | 11600 | 10000 | 11500 | 20000 | 750 | 950 | 1200
| Bungalow (around 117m²) | 5600 | 6300 | 7000 | 5000 | 9800 | 11100 | 500 | 650 | 750
ROOFS |  | R1 - Loft Insulation (Joists) |  |  | R2 - Loft Insulation (Rafters) |  |  | R3 - Flat Roof Insulation
|  | Low | Medium | High | Low | Medium | High | Low | Medium | High
Cost per m² element area (materials + labour) |  | 10 | 10 | £20 (based on sheep's wool) | 20 | 40 | 40 | 50 | 80 | 100
Cost per housetype | Small flat (<54m²) | 180 | 320 | 580 | - | - | -
| Large flat (>54m²) | 235 | 430 | 590 | - | - | -
| Small mid-terrace house (<76m²) | 180 | 350 | 600 | 1300 | 1600 | 2000
| Large mid-terrace house (>76m²) | 200 | 420 | 645 | 1900 | 1900 | 1900
| Small semi-detached or end-of-terrace (<80m²) | 180 | 360 | 610 | 1900 | 2200 | 2500
| Large semi-detached or end terrace (>80m²) | 210 | 470 | 650 | 2300 | 2300 | 2300
| Small detached house (<117m²) | 220 | 510 | 750 | 2300 | 2300 | 2300
| Large detached house (>117m²) | 300 | 600 | 955 | 3000 | 3100 | 3500
| Bungalow (around 117m²) | 430 | 620 | 900 | 2500 | 2800 | 3000
FLOORS |  | F1 - Underfloor Insulation
|  | Low | Medium | High
Cost per m² element area (materials + labour) |  | £1/m2 for material, plus around £500-£600 per floor labour costs. | - | 95
Cost per housetype | Small flat (<54m²) | - | - | -
| Large flat (>54m²) | - | - | -
| Small mid-terrace house (<76m²) | - | - | -
| Large mid-terrace house (>76m²) | - | 550 | -
| Small semi-detached or end-of-terrace (<80m²) | - | - | -
| Large semi-detached or end terrace (>80m²) | - | 750 | -
| Small detached house (<117m²) | - | - | -
| Large detached house (>117m²) | - | 900 | -
| Bungalow (around 117m²) | - | - | -
GLAZING |  | G1 - Double Glazing |  |  | G3 - Secondary Glazing
|  | Low | Medium | High | Low | Medium | High
Cost per m² element area (materials + labour) |  | 300 | 530 | 1000 | £110 (DIY) | £110 (DIY) | £110 (DIY)
Cost per housetype | Small flat (<54m²) | 1200 | 2400 | 3000 | 1200 | 1700 | 2500
| Large flat (>54m²) | 3000 | 3600 | 4200 | 5300 | 5700 | 6000
| Small mid-terrace house (<76m²) | 3200 | 3900 | 5000 | 3500 | 3800 | 4000
| Large mid-terrace house (>76m²) | 4800 | 5000 | 5500 | 5300 | 5700 | 6000
| Small semi-detached or end-of-terrace (<80m²) | 4800 | 5500 | 7000 | 1800 | 2800 | 4000
| Large semi-detached or end terrace (>80m²) | 6000 | 6400 | 8000 | 5300 | 5700 | 6000
| Small detached house (<117m²) | 5000 | 5900 | 7000 | 3000 | 4500 | 6000
| Large detached house (>117m²) | 7000 | 8300 | 10000 | 2600 | 5900 | 10000
| Bungalow (around 117m²) | 5800 | 6600 | 8000 | 3500 | 3800 | 4000
HEATING |  | Gas Boiler Replacement |  |  | Oil Boiler Replacement |  |  | Gas Central Heating Installation
|  | Low | Medium | High | Low | Medium | High | Low | Medium | High
Cost per housetype | Small flat (<54m²) | 1200 | 1700 | 2000 | 2500 | 2700 | 3000 | 1900 | 2700 | 3800
| Large flat (>54m²) | 1300 | 1800 | 2500 | 2500 | 2500 | 2500 | 2200.2778 | 3300 | 4200
| Small mid-terrace house (<76m²) | 1400 | 2200 | 3000 | 2500 | 2800 | 3000 | 2100 | 3400 | 4500
| Large mid-terrace house (>76m²) | 1600 | 2400 | 3500 | 2600 | 2600 | 2600 | 2300 | 3800 | 5000
| Small semi-detached or end-of-terrace (<80m²) | 1600 | 2300 | 4000 | 2500 | 3500 | 5000 | 2100 | 3800 | 5500
| Large semi-detached or end terrace (>80m²) | 1700 | 2800 | 5000 | 2600 | 2800 | 3100 | 2300 | 4200 | 6000
| Small detached house (<117m²) | 1700 | 3200 | 6000 | 2600 | 3300 | 4000 | 2300 | 4400 | 6500
| Large detached house (>117m²) | 1700 | 4300 | 7000 | 2600 | 4300 | 7000 | 2500 | 5800 | 8000
| Bungalow (around 117m²) | 1700 | 3200 | 6000 | 2600 | 3000 | 3500 | 2400 | 4600 | 7000
LEDs |  | LEDs
|  | Low | Medium | High
Cost per bulb (DIY) |  | 2 | 7.5 | 20.4
| Small semi-detached or end-of-terrace (<80m²) | £200 bulbs only | £250 bulbs only | £300 bulbs only

## IWI
INTERNAL WALL INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Thousands in total, though majority of interviewees appear to work at small scale and base costs on one-off installations |  |  | 10 | One interviewee suggested saving of £5-10/m² | One interview suggested adding 20% in SE Cost increases for replacing kitchen/bathroom fittings, moving sockets, radiators, detailing, adding ventilation
Cost per m² wall area (materials + labour) |  | 55 | 94.6429 | 140 | 8 (1 of which provided minimum figures only)
Cost per housetype | Small flat (<54m²) | 2500 | 2800 | 3000 | 2
| Large flat (>54m²) | 3000 | 3500 | 4000 | 2
| Small mid-terrace house (<76m²) | 3000 | 3700 | 5000 | 3
| Large mid-terrace house (>76m²) | 4000 | 4000 | 4000 | 2
| Small semi-detached or end-of-terrace (<80m²) | 5000 | 6800 | 10400 | 5
| Large semi-detached or end terrace (>80m²) | 6000 | 7000 | 8000 | 3
| Small detached house (<117m²) | 6600 | 7200 | 8000 | 3
| Large detached house (>117m²) | 7000 | 9400 | 11600 | 5
| Bungalow (around 117m²) | 5600 | 6300 | 7000 | 2
COSTS BY ORGANISATION |  | 1 | 10 | 11 | 13 | 14 | 15 | 16 | 18 | 23 | 25
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Company Size |  | Large | Smaller | Smaller | Medium? | Smaller | Smaller | Small - Medium? | Smaller | Smaller | Smaller
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Insulation: IWI, EWI, CWI, R. Renewables too. IWI and EWI for last 4 years. | Insulation: IWI, EWI, CWI, R, G. Boilers, Renewables. Worked in area for over 30 years. | Insulation: IWI, EWI, G, doors. Focus on breathable products. Worked in area for nearly 10 years. | Insulation: IWI and EWI | Some IWI, EWI, R. Solar. Worked in area for about 10 years. | IWI | IWI, plastering. | Insulation: IWI, EWI, R, F, G. Focus on breathable products. Worked in area for nearly 10 years.
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Private owned | - | Private. Also commercial. | - | Private owned | Social. Also commercial. | Private rented (though majority of work new build) | - | Extensions and conversions as well as retrofit.
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | Region, small scale | Small scale | Small scale | Small scale, materials | Small scale | Region | Region, small scale | Small scale | Region, small scale
Reliability rating (1-5, with 5 being most reliable) |  | 5 | 4 | 2 | 5 | 3 | 4 | 3 | 5 | 4 | 3
Total cost (materials + labour) for a specific project |  | - | - | - | 11600 | £21,927 (but also notes most jobs are within a £4,000 - £12,000 range) | 3000 | - | 7000 | 7400 | 10400
No. and type of homes in project |  | 1000s in total | One offs | One offs | 1 | 1 | 1 | - | 2 | 1 | 1
Project location |  | Various | London | North Yorkshire | Berkshire, but work nationwide. | Somerset | Lemington, works in Midlands | London / SE | Kent, works in SE | Warwickshire | London
Cost per m² wall area (materials + labour) |  | £60-120 (suggests 100) - for basic system | £80-90 | £20-30 (cost to company only - not clear what this is) | £120-130 | - | £60-70 | 100 | £70+ (£70 is min. starting cost, and includes window area) | £55-60 | £120-140
Average costs per m² |  | 100 | 85 | Excluded as outlier | 125 | - | 65 | 100 | Excluded as stated minimum cost. | 57.5 | 130
Cost per housetype | Small flat (<54m²) | - | - | - | - | - | 2500 | - | 3000 | - | -
| Large flat (>54m²) | - | - | - | - | - | 3000 | - | 4000 | - | -
| Small mid-terrace house (<76m²) | - | - | - | 5000 | Omitted - front elevation only (£3,254) | 3000 | - | 3000 | - | -
| Large mid-terrace house (>76m²) | - | - | - | - | - | 4000 | - | 4000 | - | -
| Small semi-detached or end-of-terrace (<80m²) | - | - | - | - | 6042.25 | 5000 | - | 5600 | £6,000 - £8,000 (3 bed semi) | £10,400 (3 bed end-terrace)
| Large semi-detached or end terrace (>80m²) | - | - | - | 8000 | - | 6000 | - | 6930 | - | -
| Small detached house (<117m²) | - | - | - | - | 6640.4 | 7000 | - | 8000 | - | -
| Large detached house (>117m²) | £8000-9000 | - | £7000+ | 11600 | - | 8000 | - | £9500+ | - | -
| Bungalow (around 117m²) | - | - | - | - | 5629.96 | 7000 | - | - | - | -
Alternative ways of splitting the costs |  | Majority of cost is labour (£60-100/m²), rest materials (£20-25/m²). | - | - | - | - | - | - | - | - | -
Costs at scale (e.g. >=10 homes) |  | Maybe £5-10/m² saving, due to transport and labour savings | - | - | - | - | - | - | - | - | -
Special considerations affecting costs, impact |  | Replacing kitchen or bathroom fittings: very significant impact. Moving sockets (especially in kitchens, and mid-terraces): less significant, and not too difficult if electrics are modern (likely to be in social housing) but difficult if old (more likely in owner occupied). Moving radiators: not too difficult. System type required: may depend on exposure to wind/rain, breathability of existing render, thickness required (solutions for small rooms include Aerogels, at around £200/m² for product alone). | - | Amount of prepration work and reinstating work required: including bathrooms and kitchens fittings and tiling. Reduced if other work is being done at same time. Extruding cills, light fittings, coving. A difficult install could be double the cost of an easy one. | Enabling/reinstating works: e.g. flues, electrics, plumbing, skirting. Adding ventilation provision: for example, passive vent system at around £900. | Note: company uses a wood fibre product with breathable vapour layer. Lots of variables: curtain rails, cornicing ,windows, cills, media, floor covering, kitchens and bathrooms and central heating systems. | Moving fittings, electrics and radiators increases costs, but most of company's jobs are as part of renovation projects so these do not apply. | If occupants are present this increases costs. | Very variable: moving plumbing, electrics, kitchen and bathroom fittings. Window reveal detailing. Hard to quantify as so variable: difficult job would add on significant percentage to min. price of £70/m² though not as much as double. | - | Material type affects costs: using breathable product increases costs. Needing to deal with damp/water ingress increases costs.
Change of cost of work since 2000 (as %) |  | Hard to compare as no approved systems in 2000 | - | Company has halved materials costs (not clear over what period) since stopping using approved systems. Note however company not working in area in 2000. | Not much overall. Company's labour costs have reduced with experience, but this is company-specific. | Not really changed - just cost of materials (not quantified). Note however company not working in area in 2000. | - | - | Materials costs increased significantly due to need to use approved systems (cannot quantify). Labour costs increased by about 20% but company tries to absorb these increases. | - | -
Notes on additional costs |  | Includes basic system over substrate, plasterboard and skim finish, decoration. | - | - | Includes prelims and reinstating works, not decorating. | Costs for specific project above were based on a complicated project: a large farmhouse involving moving/replacing lots of fittings, and some extras. | Costs exclude moving plumbing or electrics. | - | Includes reveals, skirtings, plastering, but not decorating. | Cost per m² excludes electrics, plumbing. Includes plaster, making good including cills, architraves, skirting. Plumbers and electricians costs would add around £800-900. Number and type of windows affects costs, as do number of sockets and light fittings needing moving, floor coverings and detailing at windows, coving, cornicing etc. adds costs. Access issues would add cost. If remedial work to existing plaster is required this would add more. | -
Regional variations in costs (as %) |  | Around 20% higher in SE Exposure to wind and rain affects system design and cost. | - | - | - | - | - | - | - | - | -
Other comments |  | No longer works in IWI market as market changed. Risk profile varied due to variation between properties. Full surveys required. | - | Need incentives for IWI - currently most jobs are complete refurbishments only. | Now there are insufficient incentives for retrofitting homes where EWI is impractical/undesirable. | DECC need to speak to more people with technical knowledge about the true costs of upgrades. Relying on energy companies involves conflicts of interest and they will install the cheapest option. | Company uses Celotex. | - | Full surveys required for costing. Green Deal should not have been pulled, now there are insufficient incentives for retrofitting homes where EWI is impractical/undesirable. | Company uses Celotex PL4000 75mm. Initial costs are considerable even for smaller jobs - costs of different trades (electricians, plumbers, plasterers) and products. | Company does not work on small flats as has found there is no profit in such jobs. Full surveys required for costing.

## EWI
EXTERNAL WALL INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Thousands in total |  |  | 9 | 5 companies suggesting savings of around 5-10%; most estimates being closer to 10%. One company quantified this as £15-20/m². | Cost increases for quality/type of finish specified, moving power or telephone cables or satellite dishes, detailing, increased scaffolding requirements (e.g. high-rise flats), presence of asbestos, damp proof course requirement
Cost per m² wall area (materials + labour) |  | 55 | 116 | 180 | 6 (1 of which provided minimum cost only)
Cost per housetype | Small flat (<54m²) | 4300 | 5300 | 6100 | 5 (1 of which provided minimum cost only)
| Large flat (>54m²) | 6700 | 6700 | 6700 | 1
| Small mid-terrace house (<76m²) | 5500 | 6800 | 8000 | 5
| Large mid-terrace house (>76m²) | 7500 | 7500 | 7500 | 1
| Small semi-detached or end-of-terrace (<80m²) | 7000 | 7800 | 9000 | 5
| Large semi-detached or end terrace (>80m²) | 7800 | 8400 | 10000 | 3 (1 of which provided maximum cost only)
| Small detached house (<117m²) | 8900 | 10200 | 12000 | 5 (2 of which provided maximum costs only)
| Large detached house (>117m²) | 10000 | 11500 | 20000 | 4 (1 of which provided maximum cost only, 1 minimum cost only)
| Bungalow (around 117m²) | 5000 | 9800 | 11100 | 4
COSTS BY ORGANISATION |  | 1 | 2 | 4 | 5 | 6 | 10 | 21 | 22 | 53
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Company Size |  | Large | Large | Smaller | Smaller | Medium | Smaller | Small-Medium | Smaller | Large
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | EWI, some IWI and R. Has been doing EWI for around 30 years. | EWI, some IWI and R. Worked in area for 4 years. | EWI. Over 15 years experience in this area. | EWI, some G. Worked in area for over 10 years. Renewables. | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | EWI, some CWI and R. | EWI, some CWI, R, F, G. Worked in area for 10 years. Works on lots of park homes as well as others. | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Various | Private | Various, also non-domestic | Social housing. Also commercial. | Private owned | Private | Private, Social | Mostly social for EWI, also private for other measures
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | Region | Region | - | - | Region | - | - | Possibly scale
Reliability rating (1-5, with 5 being most reliable) |  | 5 | 5 | 4 | 4 | 3 | 4 | 4 | 4 | 5
Total cost (materials + labour) for a specific project |  | - | 650379.57 | - | - | - | - | - | 6500 | -
No. and type of homes in project |  | 1000s in total | 112 | Not stated, works at small scale. | - | Not stated, works mainly at larger scale. | One offs | - | 1 home, 90m². Works at range of scales. | Mix of houses, flats, maisonettes and bungalows
Project location |  | Various | Kent | Surrey, works in London/SE | Company is based in Derbyshire | Company works nationwide | London | Company works in the Midlands | Exeter, works in SW | Plymouth / West Midlands
Cost per m² wall area (materials + labour) |  | £80/100-£180 (absolute min. £55) | - | £125-£150 | - | £90-£150 | £100+ | £70-£95 | £100-£120 | -
Average costs per m² |  | 130 | - | 137.5 | - | 120 | Excluded as stated minimum cost. | 82.5 | 110 | -
Cost per housetype | Small flat (<54m²) | Low rise: £100/m² High rise: £120-130/m² | 5612.112 | 5000 | Not worked on flats. | - | - | 4300 | £5,000+ | 6125.36
| Large flat (>54m²) | - | - | - | - | - | - | - | - | 6705.78
| Small mid-terrace house (<76m²) | - | 7041.012 | 7000 | £7,000 - £8,000 | - | 5500 | - | - | 6863.36
| Large mid-terrace house (>76m²) | - | - | - | - | - | - | - | - | 7513
| Small semi-detached or end-of-terrace (<80m²) | - | 7509.04 | 8500 | £8,000 - £9,000 | - | - | 7000 | - | 7636
| Large semi-detached or end terrace (>80m²) | - | - | - | Up to £10,000 | - | £8,000 - £10,000 | - | - | 7759
| Small detached house (<117m²) | - | 10750.311 | 11000 | Up to £12,000 | - | - | - | Up to £12,000 | 8896.76
| Large detached house (>117m²) | - | - | - | Up to £20,000 | - | £12,000+ | £10,000-£12,000 | - | 12064.02
| Bungalow (around 117m²) | - | 11072.82 | - | £10,000 - £11,000 | - | - | £5,000-£10,000 depnding on size | - | 10034.51
Alternative ways of splitting the costs |  | Around £1,000 for scaffolding, plus variable cost (get a saving on larger homes), around £90/m² for a semi-detached house. | Fixed plus variable costs only work at scale where the construction is the same and architypes are similar. All other costings need to be done on an individual survey basis. | - | Notes variability of costs, need for survey. | Notes variability of costs, need for survey. | They start with a minimum cost per m² and then add on costs specific to the project. | - | Costs are too variable to give on a per housetype basis. Works on a per square metre basis. | -
Costs at scale (e.g. >=10 homes) |  | £15-20/m² saving, due to transport and labour savings (team working, having team work on other parts of site during drying times). | Savings of around 10%. (Costs provided were at scale for multiple homes but have been adjusted to give a 'individual home' cost). | Thought there would be economies particularly if supply chain close to site, but not got much experience of work at scale. | Stated that there are no economies of scale, but note that the company has not worked on flats. | Estimated saving of 5-10% for schemes over 10 units compared to one-offs. Savings mainly in prelim and labour costs. | - | Estimated saving of 5-10%. | Around 10% saving on average. £80/m² as bare minimum for basic job with multiple homes at scale. | Typical approach is at scale. Affects lead generation, site and project management costs. Not quantified.
Special considerations affecting costs, impact |  | Large variations between projects. Satellite dish: add £150 Moving phone cables: possibly £100-150 | Large variations in costs but wouldn't usually expect major additional costs over those provided. | Main factor is the finish specified: for example, a job costing £10,000 with a basic finish could be £15,000 with a different quality finish. Also if there is a 3rd party between customer and installer, can add 25% to customer's cost. | Requirement to move power or telephone cables. | Costs within range given depend on finish required and on location. Too many variations to list (said over 200, includes replacing cast iron downpipes). Quality and detailing are important and have a big impact on cost. 3rd party charges also identified. | Scaffolding can be £1000. Requirement for a damp proof course adds costs. Render finish and colour. | Additional costs may include asbestos clearing, survey costs for unusual constructions, planning applications, high-end finishes. | Increase cost estimate to £120/m² for more difficult jobs where more enabling works are required. Enabling works, scaffolding, flue extensions (£150-£200), other plumbing and electrical works increase costs. | Enabling costs can be significant. Also phone cables, alarms, CCTV, dishes - notably where electricians required to test - costs up to £150 each. Different finishes such as brick slips, matching canopies. Asbestos removal.
Change of cost of work since 2000 (as %) |  | - | Very little overall: maybe 5% increase. Material costs have gone down; labour costs up; scaffold access, prelims and enabling works have increased by approximately 20%. | Prices have increased gradually in last 4 years mainly due to labour cost increases of about 10% in total. | Not much change - gone up slightly. | - | - | - | Materials have increased around 1-5% per year in last 10 years. Main cost increase has been around certification but company has not passed this cost on to remain competitive. | Only started installing EWI fairly recently.
Notes on additional costs |  | - | Costs include scaffolding, enabling works, prelims. | Costs are based on a basic per m² price that includes materials, installation, scaffold and other factors. | - | - | - | - | - | Costs do not include customer service, lead generation or survey. Costs exclude VAT. Costs are based on social housing sector - in private sector lead generation costs can be significant.
Regional variations in costs (as %) |  | 20% higher £/m² in SE | - | - | - | - | - | - | - | -
Other comments |  | - | Individual surveys needed. A lot of recent installs have been carried out to a poor standard. The industry needs to be better regulated to raise standards and increase confidence. | Individual surveys needed. | Individual surveys needed. Incentives needed, Green Deal should not have been removed. Interviewee suggests standards met by large companies were often poor, causing reputational issues. | - | - | - | Individual surveys needed. Companies who do not want to compromise standards are disadvantaged as those who do cut corners (interviewee suggested this was often an issue relating to larger companies) still get certification, despite poor detailing and the issues associated with this e.g. thermal bridging, damage to industry reputation. | -
Note on C28: Mary Livingstone: Not included in summary as per sqm not per flat.

## CWI
CAVITY WALL INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Hundreds of thousands in total |  |  | 9 | 5-10% (1 interviewee), 10% (2 interviewees), included in figures already (1 interviewee). Related to labour savings: number of jobs can do per day. 2 interviewees suggested a threshold of 3 jobs/day. | Cavity size, access issues (conservatories, requirement for scaffolding), quality of work, need to clear debris or remove existing CWI, narrow cavities requiring specialist products, repointing, adding DPCs or ventilation. Lead generation and customer service.
Cost per m² wall area (materials + labour) |  | 5 | 5.5 | 6 | 1
Cost per housetype | Small flat (<54m²) | 300 | 380 | 630 | 6
| Large flat (>54m²) | 350 | 430 | 640 | 6
| Small mid-terrace house (<76m²) | 350 | 460 | 660 | 4
| Large mid-terrace house (>76m²) | 450 | 504.945 | 670 | 4
| Small semi-detached or end-of-terrace (<80m²) | 480 | 528.98 | 660 | 5
| Large semi-detached or end terrace (>80m²) | 600 | 660 | 690 | 6
| Small detached house (<117m²) | 550 | 680 | 800 | 3
| Large detached house (>117m²) | 750 | 950 | 1200 | 6
| Bungalow (around 117m²) | 500 | 650 | 750 | 7
COSTS BY ORGANISATION |  | 1 | 7 | 9 | 10 | 12 | 17 | 19 | 21 | 53
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Company Size |  | Large | Smaller | Medium-Small (downsized) | Smaller | Smaller | Smaller | Small | Small-Medium | Large
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | CWI, R Worked in area for over 20 years. | CWI, R | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | CWI, R, F Boilers | Insulation: IWI, EWI, CWI, R, F. Boilers, renewables. | CWI, PWI | EWI, some CWI and R. | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Mainly social, some private. Also commercial. | Private, Social | Private owned | Private Also new build. | - | Private, Social. However main sector is new build. | Private | Private, Social
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | - | - | Region | Region? | Region | - | - | -
Reliability rating (1-5, with 5 being most reliable) |  | 5 | 5 | 4 | 4 | 4 | 4 | 3 | 4 | 5
Total cost (materials + labour) for a specific project |  | - | - | - | - | 500 | 540 | - | - | -
No. and type of homes in project |  | 100,000s per year in total | - | 7000 | One offs | 1 house, 80m² | 1 home, 90m² | - | - | 1,000s per year in total, standard cavities in mix of property types
Project location |  | Various | Works in Bristol and nearby area | Based in Cambridge, works nationally | London | Based in Suffolk | London | Works in SE and SW | Works in Midlands | National
Cost per m² wall area (materials + labour) |  | £5-£6 | - | - | - | - | - | - | - | -
Cost per housetype | Small flat (<54m²) | - | 300 | - | - | 300 | 300 | 400 | 360 | 633.18
| Large flat (>54m²) | - | £350-£400 | 350 | - | £400-£450 | £400-£420 | 400 | - | 641.72
| Small mid-terrace house (<76m²) | - | £350-£400 |  | - | £400-£500 | 350 | - | - | 656.36
| Large mid-terrace house (>76m²) | - | 450 |  | - | £400-£500 | 450 | - | - | 669.78
| Small semi-detached or end-of-terrace (<80m²) | - | 500 |  | - | 500 | 480 | 500 | - | 664.9
| Large semi-detached or end terrace (>80m²) | - | £600-£650 | £650 (£400 if mineral wool) | - | 650 | 600 | - | 720 | 686.86
| Small detached house (<117m²) | - | £750-£800 | - | - | £550-£600 | 700 | - | - | -
| Large detached house (>117m²) | - | £1,000-£1,200 | £800-£1,200 | - | £750-£800 | 840 | 1000 | 960 | -
| Bungalow (around 117m²) | - | 600 | 750 | - | £550-£600 | 700 | 500 | 720 | 723.46
Alternative ways of splitting the costs |  | £2/m² for materials, plus £500-£600 install costs | Uses £/m² but did not provide. | - | - | - | Uses £/m² but did not provide. | Uses £/m² but did not provide. | - | Uses fixed cost plus £/m² but did not provide.
Costs at scale (e.g. >=10 homes) |  | Economies of scale if can do 3 jobs/day, which is easier with larger schemes. Costs generally based on assumption this can be done; if not costs would increase. | Around 10% saving. Might allow another job to be fitted in during day. | Yes if can do 3 jobs per day. | - | No. Possibly labour, but suggested saving would be low. | 10% saving if style not complicated and in close proximity | Yes only if can do multiple homes together, increasing number per day | 5-10% saving | Has generally done in individual homes
Special considerations affecting costs, impact |  | Costs above based on an average 65mm cavity. Access issues increase costs, particularly conservatory issues. Requirement to clear debris from cavities can add around £500 (variable, labour). Narrow cavities increase costs as they require specialist products: maybe adding £100. | Cavity size: charged on a pro rata basis. Scaffolding if working at height. | Access: 2-storeys can be done using long ladders, scaffold towers would be around £120/home. Adding vents: £40 (not clear what specification) | Cavity size, ventilation modifications, removing debris, removing old CWI, repointing, DPC | Quality of work is biggest variable. Cavity size. Need to clear debris: could be around £150 Allows 10-20% for potential issues may encounter on site. | Access: conservatory issues. Scaffolding would add £300-£400 extra. | - | Access: if scaffolding is needed instead of ladders, adds £400/elevation. | Hard to treat cavities would add costs. Scaffolding cost which can cost between £500 - £1500. Cleaning cavity and remedial work on walls will increase costs by around £1000+. Volume of jobs and utilisation of workforce.
Costs of different insulation types (e.g. foam, beads, mineral wool) |  | Costs above based on mineral fibre. Other materials would add cost: beads would add £30-£40 (affected by oil price); foam £40/m². Better site supervision is also needed. Whole install costs maybe 10 times higher than fibre. | Only uses beads: estimated price £35-£45/m³ | Costs above based on beads. Mineral wool costs about 30-40% cheaper. | Foam: £20/m² - only uses it for narrow cavities Bead: £35-£45/m² - finds it good for providing a water barrier White wool: £7/m² - find this does not expand well | Only uses mineral wool | Only uses mineral wool | Only uses beads | Only uses mineral wool at £8²/m | Only usees mineral wool as stated foam is very labour intensive and therefore expensive.
Change of cost of work since 2000 (as %) |  | Cost fallen from around £1000/home in 1990s, when measure was relatively unusual. | Materials costs reduced about 10-12% | Overall increase of 25% but due to administration costs. | - | Actual prices not changed much, but price being paid has changed due to incentives changing (e.g. 2013 ECO rates were too high, since then too low). | Increased (not quantified) due to increased material, labour, guarantee costs. | Material costs increased slightly. Labour costs increased. | Admin costs increased 30-40% due to compliance paperwork. | -
Notes on additional costs |  | Excludes ECO paperwork costs | - |  | - | - | - | - | - | Costs exclude customer service, lead generation and survey. These can add 50% - 100% extra cost. Costs exclude VAT.
Regional variations in costs (as %) | bar: 1 to 2; 4 to 9
Other comments |  | All costs are really variable. | Most of their extraction work is carried out due to original poor installations. |  | - | Difficult to do business in current market. Some companies are trying to cut costs resulting in poor work. | - | - | - | -
Note on E32: Mary Livingstone: not included mineral wool figure at present

## PWI
PARTY CAVITY WALL INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown, presumed fairly low as measure uncommon. |  |  | 2 (1 further interviewee participated but provided no cost data) | Related to number of jobs which need to be done per day to avoid losing money. Not quantified by interviewees. | Cavity size, wall size, ability to do several jobs in one day.
Cost per m² wall area (materials + labour) |  | 25 | 27.5 | 30 | 1
Cost per housetype | Small flat (<54m²) | 350 | 350 | 350 | 1
| Large flat (>54m²) | 350 | 350 | 350 | 1
| Small mid-terrace house (<76m²) | 350 | 350 | 350 | 1
| Large mid-terrace house (>76m²) | 350 | 350 | 350 | 1
| Small semi-detached or end-of-terrace (<80m²) | 350 | 350 | 350 | 1
| Large semi-detached or end terrace (>80m²) | 350 | 350 | 350 | 1
COSTS BY ORGANISATION |  | 1 | 19 | 28
| Organisation | 1 | 2 | 3
Company Size |  | Large | Small | Medium
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | CWI, PWI | Insulation: CWI, PWI, R, F. Works with preferred installers. Open cell spray foam insulation.
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Private, Social. However main sector is New Build. | Various
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | - | Possibly product type?
Reliability rating (1-5, with 5 being most reliable) |  | 5 | 2 | 3
Total cost (materials + labour) for a specific project |  | - | - | -
No. and type of homes in project |  | - | - | -
Project location |  | Various | Works in SE and SW | Various
Cost per m² wall area (materials + labour) |  | - | - | £25-£30
Cost per housetype | Small flat (<54m²) | 350 | - | -
| Large flat (>54m²) | 350 | - | -
| Small mid-terrace house (<76m²) | 350 | - | -
| Large mid-terrace house (>76m²) | 350 | - | -
| Small semi-detached or end-of-terrace (<80m²) | 350 | - | -
| Large semi-detached or end terrace (>80m²) | 350 | - | -
Alternative ways of splitting the costs |  | - | Works on a per m² basis, but did not want to give costs. Stated that jobs are too variable to give costs per housetype. | -
Costs at scale (e.g. >=10 homes) |  | Economies of scale are vital for PWI - would want to do 6 jobs per day, on properties in close proximity. May also be some economies of scale in multiple flats, but offset by requirement for multiple consents. | Suggested economies of scale are insignificant. | Would be economies, amount not quantified.
Special considerations affecting costs, impact |  | If work is limited to 1 or 2 installs per day, this significantly increases costs. The work only takes around an hour. | Size of wall, size of cavity. | Size of cavity (amount of product). Product particularly aimed at hard to treat cavities.
Costs of different insulation types (e.g. foam, beads, mineral wool) |  | Foam and beads generally cannot be used due to fireplaces, as they melt. | Only uses mineral wool. | Only uses open cell spray foam.
Change of cost of work since 2000 (as %) |  | - | Material costs increased a little. Labour cost increases but these costs have been absorbed to remain competitive. (Note: company appears to have been incorporated in 2008, so presumably not comparing to 2000) | No significant changes
Notes on additional costs |  | - | - | -
Regional variations in costs (as %) |  | - | - | -
Other comments |  | PWI should be standard part of CWI jobs, but is not - funding does not incentivise it so it is usually not done. | - | -

## R1
LOFT INSULATION - JOISTS
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | 10,000s in total |  |  | 7 (4 of which are top-ups only) | 2 interviewees suggested no saving (1 of these because completing multiple jobs per day was seen as standard), 1 suggested 10% saving | Moving contents of loft if not DIY, virgin installations rather than top-ups (most figures based on top-ups), providing roof ventilation, installing loft hatch, raising and boarding joists, removing old insulation, product type, location
Cost per m² roof area (materials + labour) |  | 10 | 10 | £20 (based on sheep's wool) | 1
Cost per housetype | Small flat (<54m²) | 180 | 320 | 580 | 5
| Large flat (>54m²) | 235 | 430 | 590 | 4
| Small mid-terrace house (<76m²) | 180 | 350 | 600 | 5
| Large mid-terrace house (>76m²) | 200 | 420 | 645 | 5
| Small semi-detached or end-of-terrace (<80m²) | 180 | 360 | 610 | 4
| Large semi-detached or end terrace (>80m²) | 210 | 470 | 650 | 5
| Small detached house (<117m²) | 220 | 510 | 750 | 4
| Large detached house (>117m²) | 300 | 600 | 955 | 5
| Bungalow (around 117m²) | 430 | 620 | 900 | 4
COSTS BY ORGANISATION |  | 1 | 3 | 7 | 8 | 10 | 20 | 53
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7
Company Size |  | Large | Smaller | Smaller | Small | Smaller | Small-Medium | Large
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | CWI, R | CWI, R Worked in area for over 20 years. | CWI, R Renewables | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | EWI, CWI, R, G Boilers, renewables. | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Social, small amount of private. Also new build. | Mainly social, some private. Also commercial. | Private Also commercial | Private owned | Mainly social, some private. Working in area for over 40 years. Also new build. | Private, Social
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | Region? | Scale? | - | Region | Region? | -
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 5 | 5 | 3 | 4 | 4 | 5
Total cost (materials + labour) for a specific project |  | - | 191468 | £19,000 (discounted as cost at scale) | 4000 | - | - | -
No. and type of homes in project |  | - | Top-up loft insulation. 425 homes (so £450 per home) | Top-up loft insulation. Number not stated - 2,500m² (not clear if floor or roof area) | Top-up loft insulation. Number not stated - 4,000m² (not clear if floor or roof area) | One offs | Top-ups only | 10,000s of homes each year
Project location |  | Various | East Anglia | Works in Bristol and nearby area | Worcestershire | London | Company based in Wales | Nationwide
Cost per m² roof area (materials + labour) |  | - | - | - |  | £10 (mineral wool) - of which £5 is labour; £20 (sheep's wool) - assume DIY | - | -
Cost per housetype | Small flat (<54m²) |  | 370 | 180 | 225 | - | 225 | 577.06
| Large flat (>54m²) |  | 445 | 235 | 450 | - | - | 585.6
| Small mid-terrace house (<76m²) |  | 295 | 180 | 450 | - | 225 | 601.46
| Large mid-terrace house (>76m²) |  | 345 | 200 | 645 | - | 275 | 616.1
| Small semi-detached or end-of-terrace (<80m²) | £300-£350 | 320 | 180 | - | - | - | 610
| Large semi-detached or end terrace (>80m²) |  | 505 | 210 | 650 | - | £350-£380 | 634.4
| Small detached house (<117m²) |  | 395 | £220-£240 | 750 | - | - | 646.6
| Large detached house (>117m²) |  | 495 | 300 | 955 | - | £500-£600 | 685.64
| Bungalow (around 117m²) |  | 470 | 430 | 900 | - | £290 (but based on smaller bungalow of around 70m²) | 673.44
Alternative ways of splitting the costs |  | Noted material costs of £1/m² for 100mm thickness. | Uses £/m² plus fixed cost but did not provide. | - | - | Material costs per m², plus labour at £100/day | Uses £/m² and cost for transport based on distance but did not provide figures. | Uses £/m² plus fixed cost but did not provide.
Costs at scale (e.g. >=10 homes) |  | 8/day is probably limit and normal practice for contractors. | - | 10% saving. | - | - | Slight saving but not much. | Not done at scale
Special considerations affecting costs, impact |  | Requirement to move contents from loft - usually this has to be done by residents, otherwise extra cost. | Figures based on top-ups. Virgin installs would be around 35% higher but rarely done. Roof ventilation (tile vents £200-£300 or lap vents £120-£200). Loft clearance £80-£175. Installing loft hatch £200-£300. | Removal of old insulation would add £9.50/m² | Need to raise joists and put down boarding (extra £33/m²). Removing old insulation (around £3/m²). | Product type: sheep's wool more expensive. Might use PIR boards (cost not given) where a loft is being used for storage and it is easier to use this instead of mineral wool and then needing to build up joists before fixing boarding. | Location of work, requirement for access equipment. Additional cost for removing old insulation. | Loft clearance, walkboards. Health and safety provision.
Change of cost of work since 2000 (as %) |  | Material costs have decreased by around 20%. Install costs also down from estimated £500 to £350 per home. | Increased by 40% at a guess. | Materials costs increased around 10%. In last 18 months labour costs have increased around 40%. | Overall costs increased slightly in last 2.5 years, and materials costs increased around 6%. | - | Materials costs increased about 20%. Labour costs not changed much (note: in Wales) | More top-up of insulation rather than virgin loft. Scaled back on labour.
Notes on additional costs |  | - |  | - | - | - | - | Costs exclude customer service, lead generation and survey. These can add 50% - 100% extra cost. Costs exclude VAT.
Regional variations in costs (as %) |  | - |  | - | - | - | - | There is no real variation in material costs. There is variation in labour rates, productivity (e.g. due to property density and travel) and utilisation (where we may employ fixed workforce).
Other comments |  | System certification would be welcomed. |  | - | - | - | Funding badly managed in last 3-4 years. For instance no longer do difficult to treat PCWI because it was costing £800 for license and then too few jobs and no funding made it not cost effective to continue. | No longer installs loft insulation.
Note on D39: Mary Livingstone: These figures higher than others provided.

## R2
LOFT INSULATION - RAFTERS
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown. 2 of the interviewees reported that they have done work at scale. |  |  | 4 | 1 interviewee suggested savings of 10-20% depending on project. Another suggested can reduce costs below minimum of £20/m² given here. | Finish quality required, access, requirement to remove and reinstall plasterboard, remedial work, working round windows if using board, amount of insulation. Significant differences between product types not observed based on this (small) sample.
Cost per m² roof area (materials + labour) |  | 20 | 40 | 40 | 3
Cost per housetype | Small flat (<54m²) | - | - | - | 0
| Large flat (>54m²) | - | - | - | 0
| Small mid-terrace house (<76m²) | 1300 | 1600 | 2000 | 2
| Large mid-terrace house (>76m²) | 1900 | 1900 | 1900 | 1
| Small semi-detached or end-of-terrace (<80m²) | 1900 | 2200 | 2500 | 2
| Large semi-detached or end terrace (>80m²) | 2300 | 2300 | 2300 | 1
| Small detached house (<117m²) | 2300 | 2300 | 2300 | 1
| Large detached house (>117m²) | 3000 | 3100 | 3500 | 2
| Bungalow (around 117m²) | 2500 | 2800 | 3000 | 2
COSTS BY ORGANISATION |  | 10 | 28 | 29 | 31 | 32
| Organisation | 1 | 2 | 3 | 4 | 5
Company Size |  | Smaller | Medium | Smaller-Medium | Smaller | Smaller
Company Specialisms |  | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Insulation: CWI, PWI, R, F. Works with preferred installers. Spray foam insulation. | R, F Spray foam insulation (PU). | IWI, EWI, R | R Extensions, conversions, electrics, plumbing
Company main sectors (e.g. social housing, private owned, private rented) |  | Private owned | Various | Social, Private. Also commercial. | - | -
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Possibly product type? | Possibly product type? | Region? | Region
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 3 | 4 | 4 | 2
Total cost (materials + labour) for a specific project |  | - | - | - | 1 - 4 bed house PIR board | Details not given. 7 room in roof retrofit projects completed in last 12 months.
No. and type of homes in project |  | One offs | - | - | 2700 | 5500
Project location |  | London | - | Nationwide | Bournemouth. Works in South England. | London, Hertfordshire
Cost per m² roof area (materials + labour) |  | £12/m² for materials (PIR board), plus labour cost (not quantified) | £20-£40 | £25-£50 | 40 | -
Cost per housetype | Small flat (<54m²) | - | - | Never worked on a flat | Never worked on a flat | -
| Large flat (>54m²) | - | - |  |  | -
| Small mid-terrace house (<76m²) | - | - | 1250 | 2000 | -
| Large mid-terrace house (>76m²) | - | - | 1875 | - | -
| Small semi-detached or end-of-terrace (<80m²) | - | - | 1875 | 2500 | -
| Large semi-detached or end terrace (>80m²) | - | - | 2250 | - | -
| Small detached house (<117m²) | - | - | 2250 | - | -
| Large detached house (>117m²) | - | - | 3000 | £3,000-£3500 | -
| Bungalow (around 117m²) | - | - | 3000 | 2500 | -
Alternative ways of splitting the costs |  | - | - | - | - | Costs very variable
Costs at scale (e.g. >=10 homes) |  | - | Has done 5-20 installs per day in past, taking cost below £20/m² (not quantified) | Project dependent, but maybe 10-20% saving. | - | -
Special considerations affecting costs, impact |  | - | Cost based on spray foam insulation. Depends on construction and amount of material needed: if unfinished roof space where can spray between rafters, £20/m²; but if room in roof space higher (depends on if can inject spray, or need to remove and reinstall boarding (latter at £40/m²)). | Costs based on 100mm spray foam insulation. Lower end based on spraying directly under roof tiles, higher if remedial work required (£40/m²). Access issues: if need to remove and reinstate boards (can increase to £50/m²). | Costs assume simple installation with PIR board. Access difficulties would increase costs: if can't access front and back of house. Working round windows, removing and reinstating plasterboards (would treat as IWI, increase costs to around £100/m²). | Designs, amount of insulation required.
Change of cost of work since 2000 (as %) |  | - | No changes observed. | No significant changes. | - | Changes to Building Regulations impacted on costs through changing specifications (not quantified)
Notes on additional costs |  | - | - | - | - | -
Regional variations in costs (as %) |  | - | - | - | - | -
Other comments |  | - | - | Need to do condensation risk analysis | - | -

## R3
FLAT ROOF INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown, low |  |  | 2 | Interviewees suggested savings would be considerable, but did not quantify these. | Access, fire break requirement, whether done internally/externally, working round rooflights, profile of existing roof, requirement to remove existing ballast/concrete covering, requirement for tapered insulation, removing and reinstating roof fittings. Possibly product type, but hard to tell based on very small sample and lack of information.
Cost per m² roof area (materials + labour) |  | 50 | 80 | 100 | 2
Cost per housetype | Small flat (<54m²) | - | - | - | 0
| Large flat (>54m²) | - | - | - | 0
| Small mid-terrace house (<76m²) | - | - | - | 0
| Large mid-terrace house (>76m²) | - | - | - | 0
| Small semi-detached or end-of-terrace (<80m²) | - | - | - | 0
| Large semi-detached or end terrace (>80m²) | - | - | - | 0
| Small detached house (<117m²) | - | - | - | 0
| Large detached house (>117m²) | - | - | - | 0
| Bungalow (around 117m²) | - | - | - | 0
COSTS BY ORGANISATION |  | 10 | 29 | 30
| Organisation | 1 | 2 | 3
Company Size |  | Smaller | Smaller-Medium | Smaller
Company Specialisms |  | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | R, F Spray foam insulation (PU). | R
Company main sectors (e.g. social housing, private owned, private rented) |  | Private owned | Social, Private. Also commercial. | Social. Also commercial.
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Possibly product type? | -
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 4 | 1 (no cost data)
Total cost (materials + labour) for a specific project |  | - | - | -
No. and type of homes in project |  | One offs | - | Works at scale
Project location |  | London | Nationwide | North England
Cost per m² roof area (materials + labour) |  | 100 | 50 | - | Another company suggested £25/m2 (of which £5=labour) but based on commercial projects - excluded. Suggested material costs had increased around 15% since 2000
Cost per housetype | Small flat (<54m²) | - | - | -
| Large flat (>54m²) | - | - | -
| Small mid-terrace house (<76m²) | - | - | -
| Large mid-terrace house (>76m²) | - | - | -
| Small semi-detached or end-of-terrace (<80m²) | - | - | -
| Large semi-detached or end terrace (>80m²) | - | - | -
| Small detached house (<117m²) | - | - | -
| Large detached house (>117m²) | - | - | -
| Bungalow (around 117m²) | - | - | -
Alternative ways of splitting the costs |  | - | - | Said costs too variable to give any figures.
Costs at scale (e.g. >=10 homes) |  | Would be considerable savings but not quantified these. | Would be considerable savings but not quantified these. | All company's work is at scale.
Special considerations affecting costs, impact |  | Cost based on a 'typical' flat roof extension that might be in need of repair. Add costs if working at height e.g. scaffold. Where firebreaks required, use particular product (e.g. Rockwool) at extra cost, but costs would be offset if doing a whole block. | Depends if done internally or externally: external most common, installation usually prompted by need to replace failed roof covering. Costs above based on external: spray foam plus weatherproof membrane. Internal would involve replacing ceiling, redecorating. Otherwise not come across many. Working round rooflights can increase time and costs. | Profile of the existing roof, and if it needs build ups. If existing covering is ballast/concrete, needs to be broken up and taken away. Tapered insulation is more expensive if this is needed. Moving and refitting of roof fixtures.
Change of cost of work since 2000 (as %) |  | - | Not observed any. | Steady yearly increases (not quantified).
Notes on additional costs |  | - | - | -
Regional variations in costs (as %) |  | - | - | -
Other comments |  | - | Need to do condensation risk analysis | -
Note on C39: Mary Livingstone: Costs based on EPS

## F1
UNDER FLOOR INSULATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown - low |  |  | 3 | Interviewees who responded reported that the measure was not undertaken at scale | Need to replace joists/floorboards, electrics, access issues/ease of access (one interview cited £25/m² cost if can access via cellar). Need to know what is under floorboards to determine costs. Costs would reduce if floorboards already lifted for other renovation work. Not enough evidence to comment on relative costs of different products. Some costs based on being able to install without lifting all floorboards, others not clear.
Cost per m² floor area (materials + labour) |  | £1/m2 for material, plus around £500-£600 per floor labour costs. | - | 95 | 2
Cost per housetype | Small flat (<54m²) | - | - | - | 0
| Large flat (>54m²) | - | - | - | 0
| Small mid-terrace house (<76m²) | - | - | - | 0
| Large mid-terrace house (>76m²) | - | 550 | - | 1
| Small semi-detached or end-of-terrace (<80m²) | - | - | - | 0
| Large semi-detached or end terrace (>80m²) | - | 750 | - | 1
| Small detached house (<117m²) | - | - | - | 0
| Large detached house (>117m²) | - | 900 | - | 1
| Bungalow (around 117m²) | - | - | - | 0
COSTS BY ORGANISATION |  | 1 | 25 | 27 | 29 | 32
| Organisation | 1 | 2 | 3 | 4 | 5
Company Size |  | Large | Smaller | Small | Smaller-Medium | Smaller
Company Specialisms |  | Insulation: IWI, EWI, CWI, PWI, R Works with preferred installers. Worked in area for many decades. | Insulation: IWI, EWI, R, F, G. Focus on breathable products. Worked in area for nearly 10 years. | Insulation (not CWI) Worked in area for last 3 years. | R, F Spray foam insulation (PU). | R Extensions, conversions, electrics, plumbing
Company main sectors (e.g. social housing, private owned, private rented) |  | Various | Extensions and conversions as well as retrofit. | Private Mainly Victorian solid-walled properties. | Social, Private. Also commercial. | -
Significant factors affecting cost data (e.g. scale of work, regional location) |  | See below | Region | - | Possibly product type? | Region
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 3 | 4 | 2 | 2
Total cost (materials + labour) for a specific project |  | - | 3800 | 1000 | - | 1900
No. and type of homes in project |  | - | 1 mid terrace (40m²) | 1 Victorian 4 bed | - | 1 home, type unspecified
Project location |  | Various | London | Birmingham | Nationwide | London, Hertfordshire
Cost per m² floor area (materials + labour) |  | £1/m2 for material, plus around £500-£600 per floor labour costs. | 95 | - | £25 min. | -
Cost per housetype | Small flat (<54m²) | - | - | Not done | - | -
| Large flat (>54m²) | - | - | Not done | - | -
| Small mid-terrace house (<76m²) | - | - | - | - | -
| Large mid-terrace house (>76m²) | - | - | 550 | - | -
| Small semi-detached or end-of-terrace (<80m²) | - | - | - | - | -
| Large semi-detached or end terrace (>80m²) | - | - | 750 | - | -
| Small detached house (<117m²) | - | - | - | - | -
| Large detached house (>117m²) | - | - | 900 | - | -
| Bungalow (around 117m²) | - | - | Not done | - | -
Alternative ways of splitting the costs |  | - | Housetype not very relevant, can work off cost per square metre | - | - | -
Costs at scale (e.g. >=10 homes) |  | - | Not done at scale | Not done at scale | - | Not done at scale
Special considerations affecting costs, impact |  | Based on loft roll insulation plus netting. If floorboards need replacing, might add £2,000. Cost increases if need to move/work round electrics, access issues/ease of access. Concrete floors harder to do and very uncommon. | Costs based on mineral wool, fitting a windproof membrane and sealing with tape. If joists need replacing (e.g. are rotten/damp) this adds cost: min. £500. If floorboards need replacing (e.g. break when lifted), adds cost. Costs really depend on what is found under floorboards - so company has a long T&Cs list for measure. | Based on mineral wool. Sometimes uses PIR boards. Prices based on ground floor - don't do upper floors except for sound insulation. Prices would increase (double) if needed to lift all floorboards - these are based on void being large enough for crawl space and fitting from below. Costs for kitchens and hallways would be higher - not usually done, kitchens usually solid. If renovation work was being done and floorboards were already lifted, would save costs (perhaps half a day's labour). | Costs based on PU spray foam. Requirement to lift and replace boards adds significant time and cost. If can fit from a cellar, insulation can be applied quickly and easily onto the cellar ceiling: relatively cheap at £25/m². | Various (unspecified) factors.
Change of cost of work since 2000 (as %) |  | - | Not really changed | Not changed in last 3 years. | - | -
Notes on additional costs |  | - | - | - | - | -
Regional variations in costs (as %) |  | - | - | - | - | -
Other comments |  | Survey needed to identify any issues affecting costs | Need to take a holistic, whole house approach to retrofit, like in Germany. | - | Need to do condensation risk analysis | -
Note on F26: Mary Livingstone: Excluded as outlier - relies on being able to fit from a cellar.

## DG
DOUBLE GLAZING - PANES AND FRAMES
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown |  |  | 7 | Two interviewees reported no significant economies (one suggesting any savings would be balanced out by costs of tendering). One suggested economies would only be realised on commercial buildings. | Material: 1 interviewee said aluminium approx. double uPVC cost; 1 interviewee said same for timber but another said 50% increase (min.). Size, style. Number of openers, dividers, splits. Frame colours and finishes. Scaffolding if needed (e.g. for conservatories, dormers, flats). Bi-fold patio doors. Distance from manufacturer. Triple glazing (one suggested 15% increase).
Cost per window (materials + labour) |  | 300 | 530 | 1000 | 2
Cost per housetype | Small flat (<54m²) | 1200 | 2400 | 3000 | 5
| Large flat (>54m²) | 3000 | 3600 | 4200 | 4
| Small mid-terrace house (<76m²) | 3200 | 3900 | 5000 | 4
| Large mid-terrace house (>76m²) | 4800 | 5000 | 5500 | 4
| Small semi-detached or end-of-terrace (<80m²) | 4800 | 5500 | 7000 | 4
| Large semi-detached or end terrace (>80m²) | 6000 | 6400 | 8000 | 5
| Small detached house (<117m²) | 5000 | 5900 | 7000 | 3
| Large detached house (>117m²) | 7000 | 8300 | 10000 | 4 (1 minimum only)
| Bungalow (around 117m²) | 5800 | 6600 | 8000 | 4
COSTS BY ORGANISATION |  | 43 | 10 | 44 | 45 | 46 | 47 | 49
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7
Company Size |  | Smaller | Smaller | Smaller | Smaller | Small - Medium | Smaller | Smaller
Company Specialisms |  | Double glazing | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Double glazing Insulation, heating, renewables | Double glazing, replacement panes | Double glazing | Double glazing, replacement panes | Double glazing IWI, EWI
Company main sectors (e.g. social housing, private owned, private rented) |  | Private owned | Private owned | - | - | - | - | -
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Region | - | - | - | Region | Region
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 3 | 4 | 2 | 3 | 4 | 4
Total cost (materials + labour) for a specific project |  | 120000 | - | 3100 | - | 3300 | - | 3800
No. and type of homes in project |  | 24 (unspecified types) | One offs | 1 (unspecified type) | Semi with 8-10 windows | 91, typically 8 windows and 2 doors. | Small flat costs assume 5-6 windows, large flats 7-8. | 1 (unspecified type) Small flat below based on 3-5 frames, large 5-6, large mid 8, large semi 10.
Project location |  | Surrey, Hertfordshire | London | Dorset | Birmingham | North East | South | London, East
Cost per window (materials + labour) |  | - | £400 per uPVC window | - | - | £300 - £1,000 per uPVC window | - | -
Cost per housetype | Small flat (<54m²) | 2000 | 2500 | 2800 | Hard to give as all jobs different | Hard to give as all jobs different | 3000 | £1,200 - £2,200
| Large flat (>54m²) | 3000 | - | 4400 | - | - | £4,000 - £4,200 | £2,200 - £3,200
| Small mid-terrace house (<76m²) | 3500 | 4500 | 3200 | - | - | £4,000 - £5,000 | -
| Large mid-terrace house (>76m²) | 5000 | - | 4800 | - | - | £5,000 - £5,500 | £4,500 - £5,500
| Small semi-detached or end-of-terrace (<80m²) | 5000 | - | 4800 | 6000 | - | £5,000 - £7,000 | -
| Large semi-detached or end terrace (>80m²) | 6000 | £8,000+ | 6400 | - | - | £6,500 - £7,500 | £5,500 - £6,500
| Small detached house (<117m²) | £6,000 - £6,500 | - | 5400 | - | - | £5,000 - £7,000 | -
| Large detached house (>117m²) | £8,000 - £9,000 | - | £7,000 - £8,000 | - | - | £8,000 - £10,000 | £8,000+
| Bungalow (around 117m²) | £6,000 - £7,000 | - | 5800 | - | - | 8000 | 6000
Alternative ways of splitting the costs |  | Number of windows | Number of windows | Number of windows, size, type | Material cost plus fixed installation cost | Number of windows, size, type | Material cost plus fixed installation cost plus disposal. However need details of job to be able to price. | Price per window
Costs at scale (e.g. >=10 homes) |  | No significant economies | Not done | Not done | - | Brought costs down for social housing, not necessarily economies of scale though, and used basic product and achieved lower margins: average cost £2,000 per property | Only on commercial buildings | No, and any savings cancelled out by tendering process costs
Special considerations affecting costs, impact |  | Size, style, number of openers | Company does uPVC and timber (mostly timber sash windows in London). Above costs based on uPVC. Material affects costs: timber over twice uPVC. Triple glazed sash window would add another £150 per window. Window style: sash more expensive than casement. | Above costs based on uPVC. Customer specifications: timber frames add at least 50% to costs. Window size. Number of dividers, openers. Triple glazing: about 15% more than double. | Company does uPVC and timber. Style (e.g. Georgian) | Company mainly does uPVC, also some aluminium. Type and size (e.g. large Edwardian would add £1,500 to £3,300 cost above). Design complexity (e.g. bay windows) Number of openers, splits. Decorative/coloured glass. Colour of frames - foil finishes, rosewood, mahogany. Scaffolding if access issues and windows can't be fitted from inside (e.g. for conservatory or dormer windows) | Scaffolding if needed. Bi-fold doors. Style and size of window. Material: aluminium approx. double uPVC cost. | Above costs based on uPVC. Style, colour (£1,200 for small flat would increase to £1,600 for anthracite finish). Patio doors (£1,200 to £3,500 - high end is for bi-folds). Distance from manufacturer: can be significant transport costs. Requirement for scaffolding for flats (sometimes needed for safety though most of work from inside).
Change of cost of work since 2000 (as %) |  | Not much change | - | Some reductions | - | Significant increase in resin cost and therefore uPVC in 2009/10. Steady annual increases since. Labour costs increased 10-12% since 2000. | Price not really changed, but energy efficiency increased. | Not noticed change
Notes on additional costs |  | - | - | Costs provided were supplied only, but have been adjusted to installed costs (based on interviewee statement that these would be around the same as supplied costs). | - | - | - | -
Regional variations in costs (as %) |  | - | - | - | - | - | - | -
Other comments |  | - | - | More stability needed in market | - | Building Regulations minimum requirement could be increased to Band A. | - | More stability needed in market
Note on D32: Mary Livingstone: given as min. cost but used as 'high' cost in table as max. value given - ok?
Note on I34: Mary Livingstone: excluded from averaging used to calculate 'medium' cost, as stated as minimum cost

## SG
SECONDARY GLAZING
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown |  |  | 3 | No comments | Product type/quality, style, finish. Number of openers. Colour matching requirement. Issues with shutters, blinds.
Cost per m² window area (materials + labour) |  | £110 (DIY) | £110 (DIY) | £110 (DIY) | 1
Cost per housetype | Small flat (<54m²) | 1200 | 1700 | 2500 | 2
| Large flat (>54m²) | 5300 | 5700 | 6000 | 1
| Small mid-terrace house (<76m²) | 3500 | 3800 | 4000 | 1
| Large mid-terrace house (>76m²) | 5300 | 5700 | 6000 | 1
| Small semi-detached or end-of-terrace (<80m²) | 1800 | 2800 | 4000 | 2
| Large semi-detached or end terrace (>80m²) | 5300 | 5700 | 6000 | 1
| Small detached house (<117m²) | 3000 | 4500 | 6000 | 1
| Large detached house (>117m²) | 2600 | 5900 | 10000 | 2
| Bungalow (around 117m²) | 3500 | 3800 | 4000 | 1
COSTS BY ORGANISATION |  | 10 | 48 | 50
| Organisation | 1 | 2 | 3
Company Size |  | Smaller | Smaller | Smaller
Company Specialisms |  | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Secondary glazing only | Secondary glazing only
Company main sectors (e.g. social housing, private owned, private rented) |  | Private owned | Private | -
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Region, Product quality | -
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 4 | 2
Total cost (materials + labour) for a specific project |  | - | - | £1,930 excl. VAT
No. and type of homes in project |  | One offs | Small flat is assumed 1 bed with 6 windows. Large flat is assumed 3 bed with 15 windows. They often work in very big flats. | Semi-detached cottage, 9 windows (average 950mm x 950mm), most with one-sided opening. Note: for flat assume 5 windows 1100mm x 1200mm; semi-detached 8; detached 12.
Project location |  | London | London | North West
Cost per m² window area (materials + labour) |  | £110 for magnetic secondary glazing (excl. installation, assume DIY). | - | -
Cost per housetype | Small flat (<54m²) | - | £2,000 - £2,500 | 1180
| Large flat (>54m²) | - | £5,300 - £6,000 | -
| Small mid-terrace house (<76m²) | - | £3,500 - £4,000 | -
| Large mid-terrace house (>76m²) | - | £5,300 - £6,000 | -
| Small semi-detached or end-of-terrace (<80m²) | - | £3,500 - £4,000 | 1766
| Large semi-detached or end terrace (>80m²) | - | £5,300 - £6,000 | -
| Small detached house (<117m²) | - | £3,000 - £6,000 | -
| Large detached house (>117m²) | - | £8,500 - £10,000 | 2550
| Bungalow (around 117m²) | - | £3,500 - £4,000 | -
Alternative ways of splitting the costs |  | - | Number of windows | -
Costs at scale (e.g. >=10 homes) |  | - | Not done | Not done
Special considerations affecting costs, impact |  | Alternative products with aluminium frames and sliders are cheaper but less effective. | Costs reported to be based on high quality product. Client requirements. Style, finish, number of openers, need to match colours. | Costs based on aluminium framed perspex magnetic secondary glazing. Working shutters, need to re-fit blinds.
Change of cost of work since 2000 (as %) |  | - | None noticed | -
Notes on additional costs |  | - | - | -
Regional variations in costs (as %) |  | - | - | -
Other comments |  | - | - | -
DIY Costs
Company | Type | Product Description | Price
A | Glazing Film | Secondary Glazing Film 6m2 | 7
B | Glazing Film | Secondary Glazing Film 6m2 | 7
C | Glazing Film | Secondary Glazing Film 6m2 | 9
D | Magnetic/Acrylic Secondary Glazing | Kit requiring self-assembly and fitting | 1 x window = £62
5 x windows = £464
8 x windows = £765
12 x windows = £1167
E | Magnetic/Acrylic Secondary Glazing | Assembled product, for self-fitting | 1 x window = £109
5 x windows = £545
8 x windows = £871
12 x windows = £1307
F | Magnetic/Acrylic Secondary Glazing | Assembled product, for self-fitting | 1 x window = £121
5 x windows = £605
8 x windows = £986
12 x windows = £1452
G | Aluminium Sliders | Basic horizontal equal sliders with 4mm toughened glass | 1 x window = £211
Note on E34: Mary Livingstone: Note large difference between 2 estimates

## GAS
GAS BOILER REPLACEMENT
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown, thousands |  |  | 8 | 1 interviewee suggested 10% saving in social housing; the others had not done work at scale. | System type (new and replacement), boiler make, boiler size, flue replacement, gas pipe upgrade requirement, need to move component positions (e.g. boiler), chemical/power flush, filter, warranty length, control types, requirement for vertical flue.
Cost per housetype | Small flat (<54m²) | 1200 | 1700 | 2000 | 7
| Large flat (>54m²) | 1300 | 1800 | 2500 | 5
| Small mid-terrace house (<76m²) | 1400 | 2200 | 3000 | 5
| Large mid-terrace house (>76m²) | 1600 | 2400 | 3500 | 4
| Small semi-detached or end-of-terrace (<80m²) | 1600 | 2300 | 4000 | 4
| Large semi-detached or end terrace (>80m²) | 1700 | 2800 | 5000 | 4
| Small detached house (<117m²) | 1700 | 3200 | 6000 | 3
| Large detached house (>117m²) | 1700 | 4300 | 7000 | 6
| Bungalow (around 117m²) | 1700 | 3200 | 6000 | 3
COSTS BY ORGANISATION |  | 33 | 10 | 34 | 35 | 36 | 42 | 54 | 53
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Company Size |  | Small | Smaller | Smaller | Small | Smaller | Smaller | Smaller | Large
Company Specialisms |  | Boilers, central heating | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Insulation, boilers, central heating. Renewables. | Gas boilers, central heating, LEDs | - | Gas boilers, LEDs, electrics. Solar. | Gas boilers, central heating | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Private. Also commercial. | Private owned | Private, Social. New build too. | Private | - | All sectors | - | Social, Private
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Region | Region? | - | Region | - | Region? | Costs provided were at scale, but have been adjusted
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 4 | 3 | 5 | 5 | 2 | 3 | 5
Total cost (materials + labour) for a specific project |  | 3000 | £3,500 (home type unspecified) | - | 2040 | £2,240 / £1,960 | 1650 | 2040 | £1,500-£1,700 for individual project See below per housetype
No. and type of homes in project |  | 1, type unspecified | One offs | - | Regular boiler replacing regular boiler (24kW) | Combi boiler 28kW replacing combi boiler 24kW / cheaper combi to combi (smaller boiler) | 1, basic combi to combi replacement | 3 bed 1 bathroom house. Combi boiler replacing regular boiler. This is their most common project type. | 500
Project location |  | Kent | London | Company based in Suffolk | North England | Company based in Cambridge | Bradford | Midlands, also North London | Suffolk
Cost per housetype | Small flat (<54m²) | 2000 | £1,700-£1,900 for combi replacement (higher end = higher end boiler) | £2,000 (small job) | £1,200 for combi replacement | £1,800 (min. price, but usually customers want larger boiler size) | 1650 | - | 1530.1
| Large flat (>54m²) | 2500 |  | - | 1300 | 2000 | - | - | 1627.3556
| Small mid-terrace house (<76m²) | 3000 | £2,500 for changing regular to combi | - | 1400 | 2320 | - | - | 1557.7444
| Large mid-terrace house (>76m²) | 3500 | - | - | 1600 | 2720 | - | - | 1659.0444
| Small semi-detached or end-of-terrace (<80m²) | 4000 | - | - | 1600 | - | - | 2040 | 1557.7444
| Large semi-detached or end terrace (>80m²) | 5000 | - | - | 1750 | £2,950 (38kW combi) | - | - | 1659.0444
| Small detached house (<117m²) | 6000 | - | - | 1800 | - | - | - | 1659.0444
| Large detached house (>117m²) | 7000 | £3,500 - £4,000 + a tank (£1,000) + probably need to change piping and flue unit (£1,500). Assumes includes a change from non-pressurised to pressurised system. | 6000 | 2100 | £2,850 (30kW regular boiler) | - | - | 1690.7333
| Bungalow (around 117m²) | 6000 | - | - | 1800 | - | - | - | 1659.0444
Alternative ways of splitting the costs |  | - | More relevant to consider the number of householders and number of bathrooms than housetype because costs really come down to system type | Housetype not that relevant, depends on system type. Could split by boiler cost plus labour plus extras. | Number of bathrooms is key, determining pressure required, therefore system type and size | - | - | Need to consider number of bathrooms to establish type and size of boiler. | -
Costs at scale (e.g. >=10 homes) |  | Not done | Not done | Not done | Not done | Not done | Not done | Not done | Around 10% saving, in social housing. Pricing was provided by interviewee based on costs at scale, has been adjusted to be individual project costs.
Special considerations affecting costs, impact |  | System type - combi or regular. | Boiler make: high end adds £200. System type, what is replacing what. If switch from pressurised to non-pressurised (see detached house cost above). If flue needs changing (+£1,000), if gas pipe needs changing to current standards (+£300). | Boiler make: they use higher end. System type and what is being replaced. If components are to be moved (e.g. boiler from floor to wall). If piping does not meet current standards and needs replacing. Power flush (£500). Warranty length. | System type, what is being replaced. If increase size of boiler, add around £50 per increment. If need to upgrade piping to 22mm would add £150, to add vertical flue £200. If replacing regular with regular, similar to replacing combi with combi unless need new hot water cylinder. Extra cost for replacing regular with combi (stripping out old parts, adding flue) | If need to upgrade to 22mm piping adds about £280 Customer preferences/needs: boiler size (each increment would add about £200), warranty length. What is replacing what (e.g. for small flat cost of £1,800, if replacing regular with combi instead then would add £600-£700. Vertical flue would add £500. Chemical flush is £140, power flush £400. Programmable wireless device would cost £180, internet controls would add a further £100. Installing high end boiler with 8 year warranty would add £200-£300. | Depends on what needs to be replaced/modified. | System type and what is being replaced is significant: like for like is cheaper. If high end boiler, adds £200-£400. Cheapest boiler could be £300 less than mid-range, but would not recommend this. Moving a boiler to new location +£250. Vertical flue +£300. Heating controls +£100-£300. Magnetic filter +£100-150. Power flush around +£350. If there is much waste needing removing and disposal adds cost. | Type and make of boiler, controls required, vertical flue, moving boiler position, number of TRVs.
Change of cost of work since 2000 (as %) |  | 30% increase due to materials and labour | Prices have been quite stable | Not observed much change | Boiler costs increased steadily year on year, no big fluctuations | Only boiler costs - steady 4-5% year on year | Steady increases, nothing major | All steadily increasing (not quantified) | Materials have increased on average by 4% per year.
Notes on additional costs |  | - | Exclude VAT, GasSafe certificate and warranty | - | - |  | Cost include installer margin. | - | Pricing is based on a combination boiler for existing wall boiler replacement in original place with standard horizontal flue, new integral programmer and wiring, new TRVs, system filter and additives. Labour and materials only. The prices are exclusive of VAT and do not include customer service, lead generation or survey.
Regional variations in costs (as %) |  | - | - | - | - | - | - | - | There are regional costs for labour and productivity (not quantified), not for materials.
Other comments |  | Survey required | - | Survey required | Green Deal should be brought back | - | Survey required | - | -

## OIL
OIL BOILER REPLACEMENT
COST SUMMARY TABLE
|  | Low | Medium* | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown |  |  | 5 | Interviewees had not done this work at scale | System type (new and replacement), boiler make, need to move component, requirement to replace piping, flush, cylinder or tank replacement, tank location, long flues, oil tank pump requirement, radiator number, controls, vertical flues.
Cost per housetype | Small flat (<54m²) | 2500 | 2700 | 3000 | 2
| Large flat (>54m²) | 2500 | 2500 | 2500 | 1
| Small mid-terrace house (<76m²) | 2500 | 2800 | 3000 | 2
| Large mid-terrace house (>76m²) | 2600 | 2600 | 2600 | 1
| Small semi-detached or end-of-terrace (<80m²) | 2500 | 3500 | 5000 | 3
| Large semi-detached or end terrace (>80m²) | 2600 | 2800 | 3100 | 2
| Small detached house (<117m²) | 2600 | 3300 | 4000 | 3
| Large detached house (>117m²) | 2600 | 4300 | 7000 | 5
| Bungalow (around 117m²) | 2600 | 3000 | 3500 | 2
* Different numbers of responses for different sizes of home distorted the 'Medium' costs given for oil boilers. Some of the smaller housetypes had a wider range of costs, with the 'high' costs given more costly than those for some of the larger housetypes. This means the average costs are skewed upwards for smaller dwellings.
COSTS BY ORGANISATION |  | 34 | 37 | 38 | 39 | 53
| Organisation | 1 | 2 | 3 | 4 | 5
Company Size |  | Smaller | Smaller | Smaller | Small | Large
Company Specialisms |  | Insulation, boilers, central heating. Renewables. | Gas boilers, oil boilers, central heating, solid fuel. Solar. 40 years experience | Gas boilers, oil boilers, central heating. Renewables. | Oil boilers | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Private, Social. New build too. | Private | - | Private | Social, Private
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region? | Region? | Region? | - | Costs provided were at scale, but have been adjusted
Reliability rating (1-5, with 5 being most reliable) |  | 3 | 4 | 2 | 4 | 5
Total cost (materials + labour) for a specific project |  | - | 3100 | 2000 | 3500 | -
No. and type of homes in project |  | - | 1 - combi replacing combi | 3 bed bungalow, simple replacement | 1 home | -
Project location |  | Company based in Suffolk | North/mid Wales | Wales | Lincolnshire, Nottinghamshire, Yorkshire | Not stated, company works nationwide
Cost per housetype | Small flat (<54m²) | £3,000+ (small job) | - | Not done | Not done | 2494.8
| Large flat (>54m²) | - | - | Not done | Not done | 2540.61
| Small mid-terrace house (<76m²) | - | - | - | 3000 | 2523.67
| Large mid-terrace house (>76m²) | - | - | - | - | 2574.49
| Small semi-detached or end-of-terrace (<80m²) | £4,000-£5,000 | - | - | 3500 | 2523.67
| Large semi-detached or end terrace (>80m²) | - | 3100 | - | - | 2574.49
| Small detached house (<117m²) | - | 3300 | - | 4000 | 2574.49
| Large detached house (>117m²) | £7,000+ | 3500 | 3800 | 4500 | 2601.18
| Bungalow (around 117m²) | - | - | - | 3500 | 2574.49
Alternative ways of splitting the costs |  | - | Boiler type | - | Basic boiler price, plus add-ons | -
Costs at scale (e.g. >=10 homes) |  | Not done | Not done | - | Not done | Not done work at scale
Notes on additional costs |  | If oil tank needs replacing (up to £1000 depending on size). If the tank is to be below ground adds excavation costs. Boiler make. System type and what is being replaced. If components are to be moved (e.g. boiler from floor to wall). If piping does not meet current standards and needs replacing. Power flush. Warranty length. | Boiler type. If need to run piping, replace cylinders or replace oil tanks | - | Extra long flues. Heating cylinders. Needing to install fully pumped oil tank. Extra upgrades and radiators. A very complex job requiring all this can cost £10,500. | Type and make of boiler, controls required, vertical flue, alternative boiler position, number of TRVs, lower volumes, if new oil tank/base/or pipeline is required, area of work.
Change of cost of work since 2000 (as %) |  | Not really changed | Possibly around £1,000 increase, due to overhead, boiler and admin costs | - | Labour costs remained similar. VAT cost increase is most significant. | Materials have increased on average by 4% per year.
Confirmation the figures above are the whole cost, with no additional costs? VAT included or excluded? |  | - | - | - |  | Pricing is based on a heat only wall boiler for existing wall boiler replacement in original position with standard horizontal flue, new programmer, roomstat and wiring, new TRVs, system filter and additives, connected to existing oil tank and line. Prices are exclusive of VAT and do not include customer service, lead generation or survey.
Regional variations in costs (as %) |  | - | - | - |  | There are regional costs for labour and productivity (not quantified), not for materials.
Other comments |  | - | ECO paperwork needs to be simplified, has significantly increased since 2011 | - |  | -

## CH
GAS CENTRAL HEATING INSTALLATION
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown |  |  | 8 | 1 interviewee suggested 10% saving in social housing, another agreed there are savings; the others had not done work at scale. | System type (new and replacement), number and size of radiators, specification required for boiler/radiators/TRVs, need to move radiators, pipe run lengths, flue, pipe accessibility (e.g. floor type), requirement to upgrade pipes, filter/flush.
Cost per housetype | Small flat (<54m²) | 1900 | 2700 | 3800 | 5
| Large flat (>54m²) | 2200.2778 | 3300 | 4200 | 5
| Small mid-terrace house (<76m²) | 2100 | 3400 | 4500 | 5
| Large mid-terrace house (>76m²) | 2300 | 3800 | 5000 | 5
| Small semi-detached or end-of-terrace (<80m²) | 2100 | 3800 | 5500 | 4
| Large semi-detached or end terrace (>80m²) | 2300 | 4200 | 6000 | 4
| Small detached house (<117m²) | 2300 | 4400 | 6500 | 4
| Large detached house (>117m²) | 2500 | 5800 | 8000 | 6
| Bungalow (around 117m²) | 2400 | 4600 | 7000 | 3
COSTS BY ORGANISATION |  | 33 | 10 | 35 | 36 | 40 | 41 | 54 | 53
| Organisation | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Company Size |  | Small | Smaller | Small | Smaller | Small | Smaller? | Smaller | Large
Company Specialisms |  | Boilers, central heating | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Gas boilers, central heating, LEDs | - | Gas boilers, central heating Worked in area for around 30 years | Gas, central heating, insulation Solar | Gas boilers, central heating | EWI, CWI, R1, boilers Works nationwide.
Company main sectors (e.g. social housing, private owned, private rented) |  | Private. Also commercial. | Private owned | Private | - | - | Social, Private | - | Social, Private
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region | Region | - | Region | - | Region | Region? | Costs provided were at scale, but have been adjusted
Reliability rating (1-5, with 5 being most reliable) |  | 4 | 4 | 5 | 4 | 4 | 4 | 2 | 5
Total cost (materials + labour) for a specific project |  | - | 5600 | - | As for gas but add £200 per radiator | - | £5,090 + VAT | As for gas but add costs for radiators: around £2,000 for 8. | -
No. and type of homes in project |  | - | 1 terraced house, 8 radiators | - | - | - | 1 terraced house, 3 beds | - | -
Project location |  | Kent | London | North England | Company based in Cambridge | Derby | London | Midlands, also North London | Not stated, company works nationwide
Cost per housetype | Small flat (<54m²) | 3000 | - | 2200 | As for gas but add £200 per radiator | £2,500-£3,000 | 3784 | - | 1946.7
| Large flat (>54m²) | 4000 | - | 2500 | - | 3500 | 4197.6 | - | 2200.2778
| Small mid-terrace house (<76m²) | 4500 | - | 2800 | - | £3,500-£4,500 | 3969.9 | - | 2061.6667
| Large mid-terrace house (>76m²) | 5000 | - | 3100 | - | £4,000-£4,750 | 4383.5 | - | 2295.7
| Small semi-detached or end-of-terrace (<80m²) | 5500 | - | 3400 | - | £4,000-£4,750 | As above plus £100 extra per radiator | - | 2061.6667
| Large semi-detached or end terrace (>80m²) | 6000 | - | 3700 | - | £4,500-£5,000 |  | - | 2295.7
| Small detached house (<117m²) | 6500 | - | 4000 | - | 5000 |  | - | 2295.7
| Large detached house (>117m²) | 8000 | £8,000-£9,000 | 3700 | - | £5,000-£6,000 | 6500 | - | 2530.3778
| Bungalow (around 117m²) | 7000 | - |  | - | 4500 | - | - | 2405.2333
Alternative ways of splitting the costs |  | Depends on number of rooms | Boiler cost + cost per radiator | Boiler cost + cost per radiator | Boiler cost + cost per radiator and for controls | Boiler cost + cost per radiator | Boiler cost + cost per radiator | Boiler cost + cost per radiator and for controls | -
Costs at scale (e.g. >=10 homes) |  | Not done | Not done | - | Not done | Not done | Already competitive, some savings for large-scale work (not quantified) | Not done | Around 10% saving, in social housing. Pricing was provided by interviewee based on costs at scale, has been adjusted to be individual project costs.
Special considerations affecting costs, impact |  | Depends on numbers of rooms and specification required - radiators and TRV costs vary in price. Costs provided are based on basic job. Extra to move radiators if needed. System type. | Simple radiator swap is £200, but new radiator in new position would be around £400 including pipe run. | Costs above based on fitting a combi boiler from scratch with radiators and controls. Costs vary depending on what exists already and system being installed. Standard radiator swap is about £100. Heating controls vary from about £50 - £150. If installing cylinders for a regular boiler or unvented system. Heating control costs and TRVs and radiators vary. Radiator pipe runs. Flues. Amount of electrical work needed. | If replacing radiators in situ cost is about £200/radiator (could just replace the TRVs on existing radiators for about £35 if doing work already). If need to move a radiator this would be nearer £400. If need to replace a cylinder - a vented copper cylinder would be about £400 whereas an unvented, mains fed cylinder about £1,200. Controls for a regular boiler would be around £400. | Prices above based on combi boiler + radiators. High quality boiler around £200 extra. Vertical flue is about £300 - £400. A new cylinder if needed would be about £450. Pipes runs and modifying the pipes to 22mm adds costs too. Another factor is the age/condition of the property and associated heating demands: determines radiator output/size required. | Difficult flooring like concrete for putting in pipework. Vertical flues. Changing lead piping in old properties. Parking and travel. Occupants and amount of clutter - void properties easier. | System type and what is being replaced is significant: like for like is cheaper. If high end boiler, adds £200-£400. Cheapest boiler could be £300 less than mid-range, but would not recommend this. Moving a boiler to new location +£250. Vertical flue +£300. Heating controls +£100-£300. Magnetic filter +£100-150. Power flush around +£350. If there is much waste needing removing and disposal adds cost. | Type and make of boiler, controls required, vertical flue, alternative boiler position, number of radiators and valves, lower volumes, area of work.
Change of cost of work since 2000 (as %) |  | Increase of around 30% | No change in recent years | Steady increases (not quantified) | - | Not much change | - | - | Materials have increased on average by 4% per year
Notes on additional costs |  | - | - | - | - | - | At least some costs exclude VAT - probably all on same basis | - | Pricing is for material and labour, based on a full system including combination boiler with standard horizontal flue, new integral programmer and roomstat and wiring, new radiators with TRVs and L/Shield radiator valves, system filter, and additional all pipework and fittings. Includes all builders work and finishes. Radiators: 4 in small flat, 6 in small semi/mid-terrace, 7 in large flat, 9 in large semi/mid-terrace and small detached and bungalow, 11 in large detached.
Regional variations in costs (as %) |  | - | - | - | - | - | - | - | There are regional costs for labour and productivity (not quantified), not for materials.
Other comments | bar: 1 to 8
Note on F22: Mary Livingstone: not included as radiator numbers not given

## HWC
HOT WATER CYLINDER INSULATION (JACKET)
COSTS BY ORGANISATION |  | 41
| Organisation | 1
Company Size |  | Smaller?
Company Specialisms |  | Gas, central heating, insulation Solar
Company main sectors (e.g. social housing, private owned, private rented) |  | Social, Private
Significant factors affecting cost data (e.g. scale of work, regional location) |  | Region
Reliability rating (1-5, with 5 being most reliable) |  | 4
Total cost (materials + labour) for a specific project |  | -
No. and type of homes in project |  | -
Project location |  | London
Cost per jacket |  | £10-£20 for jacket depending on size, plus £70 for labour (based on 1 hour)
Cost per housetype | Small flat (<54m²) | -
| Large flat (>54m²) | -
| Small mid-terrace house (<76m²) | -
| Large mid-terrace house (>76m²) | -
| Small semi-detached or end-of-terrace (<80m²) | -
| Large semi-detached or end terrace (>80m²) | -
| Small detached house (<117m²) | -
| Large detached house (>117m²) | -
| Bungalow (around 117m²) | -
Alternative ways of splitting the costs |  | Not much variation from one cylinder to another
Costs at scale (e.g. >=10 homes) |  | Going to a job to just insulate a cylinder would only be feasible if property very close. If 4-5 could be done per day it would be more cost-effective (not quantified).
Special considerations affecting costs, impact |  | Small increase if need to lag cylinder pipework.
Change of cost of work since 2000 (as %) |  | -
Notes on additional costs |  | -
Regional variations in costs (as %) |  | London location adds congestion charging and parking costs
Other comments |  | -
DIY Costs
Company | Price
A | 14.69
B | 14.99
C | 14.63
D | Armadillo £36.99 - £40.99 / Sheepwool £69.99
E | 9.99

## LED
LEDs
COST SUMMARY TABLE
|  | Low | Medium | High | No. of Interviewees (excl. outliers) | Cost Efficiencies at Scale | Cost Adjustment Factors
No. of homes contributing to cost estimates |  | Unknown |  |  | 4 | 1 interview noted economies of scale within home (not quantified) | Extra fittings or switches, wiring alterations, need for drivers, transformers.
Cost per bulb (DIY) |  | 2 | 7.5 | 20.4 | 2
Cost per fitting |  | £50/fitting (installed) | £50/fitting (installed) | £50/fitting (installed) | 1
Cost per housetype | Small flat (<54m²) | - | - | - | 0
| Large flat (>54m²) | - | - | - | 0
| Small mid-terrace house (<76m²) | - | - | - | 0
| Large mid-terrace house (>76m²) | - | - | - | 0
| Small semi-detached or end-of-terrace (<80m²) | £200 bulbs only | £250 bulbs only | £300 bulbs only | 1
| Large semi-detached or end terrace (>80m²) | - | - | - | 0
| Small detached house (<117m²) | - | - | - | 0
| Large detached house (>117m²) | - | - | - | 0
| Bungalow (around 117m²) | - | - | - | 0
Reliability rating (1-5, with 5 being most reliable)
COSTS BY ORGANISATION |  | 32 | 42 | 10 | 54
| Organisation | 1 | 2 | 3 | 4
Company Size |  | Smaller | Smaller | Smaller | -
Company Specialisms |  | R Extensions, conversions, electrics, plumbing | Gas boilers, LEDs, electrics. Solar. | Insulation: IWI, EWI, CWI, R, F, G. Gas, Renewables. Works with preferred installers. | Research
Company main sectors (e.g. social housing, private owned, private rented) |  | - | - | Private owned | -
Significant factors affecting cost data (e.g. scale of work, regional location) |  | - | - | - | -
Reliability rating (1-5, with 5 being most reliable) |  | 3 | 3 | 4 | 5
Total cost (materials + labour) for a specific project |  | 6000 | - | - | -
No. and type of homes in project |  | 9 homes in last 12 months - bulbs and fittings installed (but not whole homes) | - | - | 23 domestic LED models sampled (duplicate similar models from same manufacturer excluded).
Project location |  | London, Hertfordshire | Bradford | London | -
Cost per bulb |  | £52 per fitting (installed) | - | £3-£11 per bulb (supplied only, assume DIY) £10.50 per fitting (supplied only). Driver to adjust voltage for GU10 halogen lighting with transformers (supplied only): £20 | Range: £2.01 to £20.37 per bulb. Average: £8.05 per bulb. Spplied only, assume DIY. Excludes delivery.
Cost per housetype | Small flat (<54m²) | Usually does part of home, not whole home | - | - | -
| Large flat (>54m²) |  | - | - | -
| Small mid-terrace house (<76m²) |  | - | - | - | Another interviewee provided an estimate of £800-£900 per house for a full upgrade, but they only did commercial work so were excluded.
| Large mid-terrace house (>76m²) |  | - | - | -
| Small semi-detached or end-of-terrace (<80m²) |  | £200-£300 (bulbs only) | - | -
| Large semi-detached or end terrace (>80m²) |  | - | - | -
| Small detached house (<117m²) |  | - | - | -
| Large detached house (>117m²) |  | - | - | -
| Bungalow (around 117m²) |  | - | - | -
Alternative ways of splitting the costs |  | - | - | Per bulb if DIY | -
Costs at scale (e.g. >=10 homes) |  | No - but economies of scale within home (not quantified) | - | - | -
Special considerations affecting costs, impact |  | Extra fittings or wiring alterations would increase costs. | Usually does bulbs only; fittings and switches would add cost. | Supplies bulbs, fittings, drivers - costs above would be higher if installation was included. If existing MR16 halogen lights have a transformer this will need replacing to avoid LED lights flashing. | -
Change of cost of work since 2000 (as %) |  | Bulb prices have reduced by about 30% | Bulb prices have reduced (not quantified) | Bulb prices have reduced (not quantified) | -
Notes on additional costs |  | - | - | - | -
Regional variations in costs (as %) |  | - | - | - | -
Other comments |  | - | - | - | -
DIY Costs
Company | Bulb Type
| GU10 (5W) | MR16 (5W) | B22 | E27 | E14
A | 6 | 8 | £6 (3 for £10) (6W) | £6 (3 for £10) (6W) | £7 (6W)
B | £5 - £7 | 7 | £7 (6W) | £7 (6W) | £8 (5W)
C | 3.5 | - | £8 (4W) / £9 (8.2W) | £9 (5W) | £6.50 (2.5W)
D | 6 | £5 - £7 | £6 (5W) | £5 - £10 (5W) | £5 (5W)

## DP
DRAUGHT-PROOFING
DIY Costs
Company | Window film (6m²) | Seal for doors and windows | Letterbox draught excluder | Door brush draught excluder | Chimney draught excluder
A | 8 | £4 for 6m | 19.49 | - | £13.50 - £47.50
B | 9 | £4.50 for 5m £8 for 10m | £7.50 - £20 | 8.49 | -
C | 7 | £6.50 - £7 for 10m | £5 - £13 | 4.99 | -
D | 7 | £7 for 10m £11 for 20m | £5 - £20 | 13 | £17 - £66