COSHH / Routine Exposure Monitoring Record	MOD Form 5011b / 10/2020

1. Serial No.

 Guidance notes for completion of Routine Exposure Monitoring

Organisation: / state TLB/TFA and business unit/command. / Establishment: / state abbreviated title and location e.g. RNAY Fleetlands. / Location: / state building name/number and location within building. / For locations afloat, state centre number and compartment type e.g. diesel generator space. / Task: / describe the task being monitored. It is important the description can be cross-referred to the COSHH assessment form (MOD Form 5011) and, where applicable, the health surveillance record (MOD Form 5051).		Substance(s) being monitored: / quote all chemicals compounds or elements being monitored. / Method: / Note: It is essential routine monitoring programmes are devised by a competent person fully conversant with air sampling techniques. / Quote the report source and reference which recommended the routine monitoring. Describe the method e.g. charcoal tube, desorption using CS2 and GC with FID. / Workplace Exposure Limits (WEL): / are obtainable from HSE Guidance Note EH40. Where other publications are used, state source.

Results:
Organisation					Establishment

Location

Task

					Date monitoring carried out 
Substance(s)

Method

WEL		(tick box)					(tick box)
EH40					Other		Source:					ppm	mgm3
					10 min TWA
					8 hr TWA

Results: / Ensure name and / or staff number is quoted in all cases of personal sampling. If static sampling is used state location in the workplace and attach a sketch to this form. / Sampling period and results columns: / The sampling period must be quoted accurately in cases of personal or static pump or passive sampling. Where direct reading instruments are used instantaneous readings should not be recorded. Instead your method of working should include a method of estimating the time-averaged result over a short but finite period e.g. one or five minutes. These times and results should be quoted. Where dataloggers or similar devices are used, you will need to estimate the time average exposure over a period relevant to the work situation and enter it on the form. / The TWA results should be calculated on a time averaging basis for either 8 hours or 10 minutes and the appropriate time-averaging period box ticked.					Each centre in which exposure monitoring is performed on a routine basis must have a satisfactory procedure for critical appraisal of recent results. In particular, the following points must be considered: / Have exposure limits been exceeded? / Are the levels otherwise significant? (the assessment record should include any advice given on this.) / Are the levels increasing or decreasing? / Is corrective action required? / Where corrective action has been applied as a result of the considerations above, a re-assessment should be undertaken.

Name (for personal sampling) / or / Location (for static sampling)	Sampling period / (Hrs : Mins)			Result over / sampling period	Result TWA
	Start	Finish	Total		8 hrs	10 min

Details of person carrying out monitoring:
Name				Organisation

Rank / Grade				Contact details			Date

The data collected above is for the sole purpose of recording potential or actual exposure to substances hazardous to health. The data will be protected in accordance with DPA18 and MOD policy.