UK Standards for Microbiology Investigations

Investigation of gastric biopsies for Helicobacter pylori

DRAFT - THIS DOCUMENT WAS CONSULTED ON BETWEEN 20 APRIL - 4 MAY 2018

Acknowledgments
UK Standards for Microbiology Investigations (UK SMIs) are developed under the auspices of Public Health England (PHE) working in partnership with the National Health Service (NHS), Public Health Wales and with the professional organisations whose logos are displayed below and listed on the website https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories. UK SMIs are developed, reviewed and revised by various working groups which are overseen by a steering committee (see https://www.gov.uk/government/groups/standards-for-microbiology-investigations-steering-committee).
The contributions of many individuals in clinical, specialist and reference laboratories who have provided information and comments during the development of this document are acknowledged. We are grateful to the medical editors for editing the medical content.
For further information please contact us at:
Standards Unit
Microbiology Services

Public Health England
DRAFT - THIS DOCUMENT WAS CONSULTED ON BETWEEN 20 APRIL - 4 MAY 2018
61 Colindale Avenue
London NW9 5EQ
E-mail: standards@phe.gov.uk
Website: https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories
PHE publications gateway number: 2015574
UK Standards for Microbiology Investigations are produced in association with:

Logos correct at time of publishing.

Contents

Amendment table
Each UK SMI method has an individual record of amendments. The current amendments are listed on this page. The amendment history is available from standards@phe.gov.uk.
New or revised documents should be controlled within the laboratory in accordance with the local quality management system.
Amendment no/date.
Issue no. discarded.
Insert issue no.
Section(s) involved	Amendment

UK SMI[]: scope and purpose
[] Microbiology is used as a generic term to include the two GMC-recognised specialties of Medical Microbiology (which includes Bacteriology, Mycology and Parasitology) and Medical Virology.
Users of UK SMIs
Primarily, UK SMIs are intended as a general resource for practising professionals operating in the field of laboratory medicine and infection specialties in the UK. UK SMIs also provide clinicians with information about the available test repertoire and the standard of laboratory services they should expect for the investigation of infection in their patients, as well as providing information that aids the electronic ordering of appropriate tests. The documents also provide commissioners of healthcare services with the appropriateness and standard of microbiology investigations they should be seeking as part of the clinical and public health care package for their population.
Background to UK SMIs
UK SMIs comprise a collection of recommended algorithms and procedures covering all stages of the investigative process in microbiology from the pre-analytical (clinical syndrome) stage to the analytical (laboratory testing) and post analytical (result interpretation and reporting) stages. Syndromic algorithms are supported by more detailed documents containing advice on the investigation of specific diseases and infections. Quality guidance notes describe laboratory processes which underpin quality, for example assay validation.
Standardisation of the diagnostic process through the application of UK SMIs helps to assure the equivalence of investigation strategies in different laboratories across the UK and is essential for public health surveillance, research and development activities.
Equal partnership working
UK SMIs are developed in equal partnership with PHE, NHS, Royal College of Pathologists and professional societies. The list of participating societies may be found at https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories. Inclusion of a logo in an UK SMI indicates participation of the society in equal partnership and support for the objectives and process of preparing UK SMIs. Nominees of professional societies are members of the Steering Committee and working groups which develop UK SMIs. The views of nominees cannot be rigorously representative of the members of their nominating organisations nor the corporate views of their organisations. Nominees act as a conduit for two way reporting and dialogue. Representative views are sought through the consultation process. UK SMIs are developed, reviewed and updated through a wide consultation process.
Quality assurance
NICE has accredited the process used by the UK SMI working groups to produce UK SMIs. The accreditation is applicable to all guidance produced since October 2009. The process for the development of UK SMIs is certified to ISO 9001:2008. UK SMIs represent a good standard of practice to which all clinical and public health microbiology laboratories in the UK are expected to work. UK SMIs are NICE accredited and represent neither minimum standards of practice nor the highest level of complex laboratory investigation possible. In using UK SMIs, laboratories should take account of local requirements and undertake additional investigations where appropriate. UK SMIs help laboratories to meet accreditation requirements by promoting high quality practices which are auditable. UK SMIs also provide a reference point for method development. The performance of UK SMIs depends on competent staff and appropriate quality reagents and equipment. Laboratories should ensure that all commercial and in-house tests have been validated and shown to be fit for purpose. Laboratories should participate in external quality assessment schemes and undertake relevant internal quality control procedures.
Patient and public involvement
The UK SMI working groups are committed to patient and public involvement in the development of UK SMIs. By involving the public, health professionals, scientists and voluntary organisations the resulting UK SMI will be robust and meet the needs of the user. An opportunity is given to members of the public to contribute to consultations through our open access website.
Information governance and equality
PHE is a Caldicott compliant organisation. It seeks to take every possible precaution to prevent unauthorised disclosure of patient details and to ensure that patient-related records are kept under secure conditions. The development of UK SMIs is subject to PHE Equality objectives https://www.gov.uk/government/organisations/public-health-england/about/equality-and-diversity.
The UK SMI working groups are committed to achieving the equality objectives by effective consultation with members of the public, partners, stakeholders and specialist interest groups.
Legal statement
While every care has been taken in the preparation of UK SMIs, PHE and the partner organisations, shall, to the greatest extent possible under any applicable law, exclude liability for all losses, costs, claims, damages or expenses arising out of or connected with the use of an UK SMI or any information contained therein. If alterations are made by an end user to an UK SMI for local use, it must be made clear where in the document the alterations have been made and by whom such alterations have been made and also acknowledged that PHE and the partner organisations shall bear no liability for such alterations. For the further avoidance of doubt, as UK SMIs have been developed for application within the UK, any application outside the UK shall be at the user’s risk.
The evidence base and microbial taxonomy for the UK SMI is as complete as possible at the date of issue. Any omissions and new material will be considered at the next review. These standards can only be superseded by revisions of the standard, legislative action, or by NICE accredited guidance.
UK SMIs are Crown copyright which should be acknowledged where appropriate.
Suggested citation for this document
Public Health England. (YYYY <tab+enter>). Investigation of gastric biopsies for Helicobacter pylori. UK Standards for Microbiology Investigations. B 55 Issue xx. https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories

Scope of document
Type of specimen
Gastric biopsy
This UK SMI describes the processing and bacteriological investigation of gastric biopsies for Helicobacter pylori.
This UK SMI should be used in conjunction with other UK SMIs including ID 26 – Identification of Helicobacter species.
Introduction
In 1984 Warren and Marshall first proposed the association of H. pylori with peptic ulcer disease, and since then it has become established as the most clinically important species of Helicobacter1. It is recognized as the main cause of peptic ulcer disease and a major risk factor for gastric cancer2. H. pylori infection is also an independent risk factor for the development of atrophic gastritis, gastric ulcer disease, gastric adenocarcinomas, and gastric mucosa-associated lymphoid tissue (MALT) lymphomas2. The species establishes a chronic infection in the majority of infected people, represented by chronic gastritis. Prominent mucosal inflammation is often evident in the antrum (antrum-predominant gastritis), predisposing to hyperacidity and duodenal ulcer disease. Many patients infected with H. pylori have recurrent abdominal symptoms (non-ulcer dyspepsia) without ulcer disease, and there appears to be a clinical benefit in eradicating H. pylori in these patients3. Acute symptoms of gastritis and epigastric pain, nausea and vomiting may occur and usually subside, but hyperchlorhydria may persist for much longer.
The detection and diagnosis of H. pylori infections has been of great interest. Initially invasive techniques (for example, tissue biopsies) were used for diagnosis. However, with progress in the diagnostic field, (especially molecular biology) non-invasive techniques are now routinely used within the clinical laboratory for initial diagnosis of infection.
The National Institute of Clinical Excellence (NICE) and PHE guidelines on dyspepsia states that a ‘test and treat’ strategy should be employed for cases of dyspepsia and suspected gastric and duodenal ulcer that have not previously been investigated3-6. Recommended tests include the urea breath test (UBT) and stool antigen test
(SAT)3-6. Blood serology is less accurate than the UBT or SAT, results are variable and these tests should not be used in the elderly, children or post treatment5,6. Near -patient serology tests are not recommended5.
Following a positive result for H. pylori eradication therapy consisting of a seven day course of a proton pump inhibitor (PPI) with amoxicillin and either clarithromycin or metronidazole is given. An alternative first line treatment regimen is required if the patient is allergic to penicillin; detailed information regarding first and second line treatment options can be found in NICE clinical guidance 184: Dyspepsia and gastro-oesophageal reflux disease4. H. pylori culture and sensitivities on gastric biopsies should be considered after the first treatment failure if an endoscopy is carried out. Following a second treatment failure, culture and sensitivity should be performed on all cases7. The Maastricht IV consensus report also recommends that culture and sensitivities are carried out in areas where resistance to clarithromycin is above 20%7,8.
In the UK H. pylori is frequently resistant to metronidazole (20% to 80%). Clarithromycin resistance is less common in the general population (4% to 11%). Levofloxacin resistance is uncommon (~15%), but occurs due to the widespread use of fluoroquinolones. H. pylori are rarely resistant to amoxicillin, rifampicin and tetracycline (~3%). H. pylori can also be treated with rifabutin a similar drug to rifampicin, but with different susceptibilities (resistance is extremely rare <1%)9.
Non-invasive techniques
Non-invasive techniques avoid having the need for expensive and invasive endoscopy10. For the investigation of cases of dyspepsia and suspected gastric and duodenal ulcer that have not previously been investigated the following tests are recommended3,5,6:
- urea breath tests (UBTs)
- stool antigen tests
The urea breath test and stool antigen test have been shown to have equivalent diagnostic accuracy; serological tests are less accurate and may only be used in certain situations7.
Urea breath tests (UBT)
UBTs are considered to be the diagnostic gold standard11. Urea Breath Test utilise either a carbon radioactive isotope (14C) or a nonradioactive natural isotope (13C), which are ingested by the patient. The labelled CO2 is absorbed by the blood and exhaled in expired air. The testing methodology and factors influencing the result, standardization, and application in different clinical settings have been comprehensively reviewed12. The use of the UBT has high diagnostic accuracy (>95%) and, where available, is consistently recommended for the diagnosis of
H. pylori13.
UBT tests are also used as a screening tool by gastroenterologists. Treatment is recommended for results <45 and patients with results >45 are referred for further investigation to discard possible gastric cancer.
Stool antigen tests (SAT) (HPStAg)
Stool antigen tests using an ELISA provide another valuable aid in the diagnosis of an active H. pylori infection14. The test is easy to perform and has the advantage of being non-invasive. Two types of stool antigen test are available; a laboratory based enzyme-linked immunosorbent assay (ELISA) method and rapid near patient (immunochromatographic) kits. Over recent years SAT ELISAs using monoclonal antibodies instead of polyclonal antibodies have been developed. These have high accuracy for both primary diagnosis and post treatment diagnosis7,15-17. Near-patient testing serology (pregnancy test-style) kits are less reliable7,18. Evidence-based studies suggest that ELISA HPStAg is the most cost-effective means of diagnosing
H. pylori infection19,20.
Serology
H. pylori infection is regarded as a chronic infection and therefore only IgG is considered when carrying out serological tests for diagnosis7. The favoured method is standard ELISA. Commercial tests show variable accuracy and ideally validated IgG serology may only be used in the following situations7,8:
- following recent use of antimicrobial and antisecretory drugs
- where there is ulcer bleeding, atrophy or gastric malignancy
Laboratory based serology should only be used where a particular serological assay has been sufficiently validated locally and has been shown to be fit for use.
Invasive techniques (gastric biopsies)
Gastric biopsy is the specimen of choice for the culture of H. pylori. Attempts to culture from other specimens have a low success rate21. The collection of a biopsy is an invasive procedure mean of diagnosing H. pylori infections.
Invasive techniques for examination of gastric biopsies taken at endoscopy include12,22,23:
- culture
- biopsy (urease test)
- microscopy
- histology
Neither culture nor histology provides a rapid diagnosis.
Culture
Culture of the organism is the most specific method and offers opportunity for conventional antimicrobial susceptibility testing. This is important in predicting and evaluating the efficacy of treatment, and in identifying re-infections. With the adoption of the ‘test and treat’ strategy as recommended by NICE, the main rationale for obtaining a biopsy for culture is to establish the susceptibility of the isolate.
Biopsy (urease test)
The urease test also known as the rapid urease test (RUT) or Campylobacter-like organism test (CLO test), is a rapid, sensitive and cost effective test8,22. Positive results are often available within minutes but negative reporting may take a great deal longer, according to manufacturers’ instructions. It is recommended for use in combination with either culture or histology, depending on local facilities. This test is often carried out in the endoscopy suite. Commercial kits are available which are highly accurate but also expensive.
Microscopy
Organisms may be stained using Giemsa or Gram stains according to preference. Sensitivities of up to 90% have been reported if two biopsies are examined, but this method requires technical expertise21.
Histology
Histology examination is as sensitive as culture when detecting H. pylori, and has a high degree of specificity12. It is also a useful means of detecting culture-resistant Helicobacter species such as Helicobacter heilmannii and similar species which are uncommon causes of gastritis and ulcer. Currently Giemsa staining is most widely used, immunostaining may also be used and increases sensitivity and specificity8.
Rapid identification
Nucleic acid amplification techniques (NAATs)
NAATS have been used for the detection of H. pylori in various sample types including gastric biopsies, gastric mucosa and stool samples8,22. PCR and real-time PCR are most frequently used, however the role of PCR in routine diagnosis remains to be established8,22. NAATs assays can provide added value in investigating culture-negative gastric biopsy specimens, particularly those from cases for which other clinical tests indicate an H. pylori infection24. A systematic study of primers for H. pylori detection found that the four best-performing assays each attained a detection limit of <100 CFU/mL from gastric tissue25. However, no assay had 100% specificity or sensitivity, and all produced false positives25,26.
MALDI-TOF mass spectroscopy
This technology is promising for the identification of relatively unreactive bacteria such as Helicobacter species. Although it is probably more useful for non-pylori Helicobacter species (refer to ID 26 - Identification of Helicobacter species)27. MALDI-TOF still requires the organism to be cultured.
Technical information/limitations
Limitations of UK SMIs
The recommendations made in UK SMIs are based on evidence (for example sensitivity and specificity) where available, expert opinion and pragmatism, with consideration also being given to available resources. Laboratories should take account of local requirements and undertake additional investigations where appropriate. Prior to use, laboratories should ensure that all commercial and in-house tests have been validated and are fit for purpose.
Specimen containers28,29
UK SMIs use the term “CE marked leak proof container” to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: “The design must allow easy handling and, where necessary, reduce as far as possible contamination of and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes”.
Optimal growth requirements
Media
There is no consensus on which medium is best for the isolation of H. pylori although blood based media is preferred. Several have been described23,30-32. Blood-free media, containing alternative supplements, may not be as good for primary isolation. This UK SMI recommends the use of Columbia Blood Agar (CBA) with 10% horse blood and Dent’s selective agar. Other selective media are available which may inhibit the growth of some campylobacter pylori strains33.
Antimicrobial supplements may be added to media to inhibit overgrowth with contaminating bacteria and fungi33. H. pylori is sensitive to clindamycin, cephalosporins and sodium desoxycholate, none of which should be used in the selective medium.
Atmosphere
Optimal growth requirements for the isolation of H. pylori are a moist, micro-aerobic atmosphere (5-7% O2 and 5-10% CO2) at 35-3723. It should be noted that H. pylori recovery is significantly enhanced by the presence of hydrogen (3-5%), which is absent from the most widely available micro-aerobic atmosphere generating kits21,34. Micro-aerobic atmosphere generating kits that include hydrogen are available; alternatively other methods which introduce hydrogen into the system can be used (for example, using a tailored gas supply)21. All methods should be verified prior to use.
Incubation
Cultures should be incubated for a minimum of 10 days, although colonies may be visible at 3 to 5 days23. It is not good practice to expose the plates to air too regularly, and once examined they should be returned to the incubator or gas jar as soon as possible.
Sensitivity testing
Disk diffusion criteria for antimicrobial susceptibility testing of Helicobacter pylori have not yet been defined. EUCAST recommends the use of MIC method. Where a commercial MIC method is used, the manufacturer´s instructions should be followed.
Contamination
Contamination with moulds may be reduced by the incorporation of an antifungal agent to the medium such as cyclohexamide (100mg/L) and thorough cleaning of equipment before and after use. Autoclaving of jars previously contaminated with moulds is recommended (if able to according to manufacturer’s instructions). Otherwise thorough decontamination followed by cleaning and thorough rinsing is recommended.

1	Safety considerations28,29,35-49
1.1	Specimen collection, transport and storage28,29,35-38
Use aseptic technique.
Collect specimens in appropriate CE marked leak proof containers and transport in sealed plastic bags.
Compliance with postal, transport and storage regulations is essential.
1.2	Specimen processing28,29,35-49
Containment Level 2.
Laboratory procedures that give rise to infectious aerosols must be conducted in a microbiological safety cabinet41.
Refer to current guidance on the safe handling of all organisms documented in this UK SMI.
The above guidance should be supplemented with local COSHH and risk assessments.
2	Specimen collection
2.1	Type of specimens
Gastric biopsy
2.2	Optimal time and method of collection50
For safety considerations refer to Section 1.1.
Collect specimens before starting antimicrobial therapy where possible50.
Ideally biopsies should be taken before antimicrobial therapy is begun, however a ‘test and treat’ strategy for the diagnosis of H. pylori is recommend by NICE and therefore most samples referred for culture will be due to treatment failure3-5,20. A period of at least two weeks should have elapsed since the last dose of antimicrobial therapy before the collection of the specimen7.
Gastric biopsy specimens are usually taken from the gastric antrum at endoscopy, and sometimes from the main body of the stomach depending on location of inflammation. Duodenal biopsies will be taken in cases with duodenal ulcers.
2.3	Adequate quantity and appropriate number of specimens50
Numbers and frequency of specimen collection are dependent on clinical condition of patient at the discretion of the endoscopist as it depends on the individual patient.
3	Specimen transport and storage28,29
3.1	Optimal transport and storage conditions
For safety considerations refer to Section 1.1.
Specimens should be transported and processed as soon as possible (preferably within 6hr)23,50.
It is important to maintain a moist atmosphere during transport.
If processing is delayed, refrigeration is preferable to storage at ambient temperature50,51.
Where culture is to be carried out within six hours23:
The biopsy should be placed in a small, CE marked, leak proof container such as a bijou bottle, containing a small amount (approximately 100µL) of sterile isotonic saline to prevent desiccation52. Alternatively, Dent’s transport medium can be used33.
Note: Sensitivity of the microscopy may be reduced if the biopsy is submerged in the saline, because mucus globules form and production of a satisfactory smear becomes difficult.
Where delays of >6hr are expected23,53:
The biopsy should be covered with approximately 1mL brain heart infusion broth in a small sterile container, such as a bijou bottle, and stored at 4°C for up to 48hr. Alternatively Dent’s transport medium can be used.
Biopsies may be stored for up to 6 months at -70°C in broth containing 20-25% glycerol although viability will be significantly reduced.
4	Specimen processing/procedure28,29
4.1	Test selection
The urease test is often performed on biopsies in the endoscopy suite; therefore only culture and microscopy may be required in the laboratory.
The order in which any or all of the tests are performed will be in accordance with local protocol.
4.2	Appearance
N/A
4.3	Sample preparation
For safety considerations refer to Section 1.2.
Finely cut biopsy with a sterile scalpel.
Homogenisation can be performed if needed, using a sterile homogenising system such as the Ballotini beads.
4.4	Microscopy
Refer to TP 39 – Staining procedures.
Microscopy is carried out using carbol fuchsin or Sandiford’s counter stain54.
4.4.1	Standard
Pick up the biopsy (or piece of finely cut biopsy) with a sterile swab and smear vigorously on to a clean microscope slide (a sterile slide is required if microscopy is performed before culture).
Gram or Giemsa stains are suitable for immediate observation of the organism although gram stain sensitivity is poor.
4.5	Culture and investigation
4.5.1	Pre-treatment
N/A
4.5.2	Specimen processing
Culture
The same swab containing the biopsy that was used for microscopy (if performed) should be used to inoculate each agar plate (see Q 5 – Inoculation of culture media for bacteriology).
For the isolation of individual colonies, spread inoculum with a sterile loop.
Note: The simultaneous subculture of known control strains of H. pylori is recommended, especially if susceptibility testing is to be performed.
The following control strains may be used9:
- type strain – NCTC 11637
- Metronidazole and Clarithromycin sensitive strain – NCTC 12455
- Metronidazole and Clarithromycin resistant strain – NCTC 11637
Biopsy (urease test)
Squash the biopsy on the end of a swab into urea broth after culture (and microscopy if performed).
The swab should be broken off in the broth and left in situ throughout the test.
Incubate the urea broth at ambient temperature. Positive results are often available within minutes, but negative reporting takes longer (up to 24hr), according to manufacturers’ instructions.

4.5.3	Culture media, conditions and organisms
Clinical details/ / conditions	Specimen	Standard media	Incubation			Cultures read	Target organism(s)
			Temp °C	Atmos	Time
Gastritis	Gastric biopsy	Dent’s selective agar / or / alternative H. pylori selective agar*	35-37	Microaerobic / Moist chamber, ideally containing hydrogen	10 d	Every 48hr	H. pylori
		Blood agar 10% horse blood30	35-37	Microaerobic / Moist chamber, ideally containing hydrogen	10 d	Every 48hr
For these situations, add the following:
Clinical details/ / conditions	Specimen	Supplementary media	Incubation			Cultures read	Target organism(s)
			Temp °C	Atmos	Time
Gastritis - Biopsy urease test if not already performed in endoscopy suite	Gastric biopsy	Christenson’s / Urea broth **	ambient	air	24hr	hourly up to 6hr and again at 24hr	H. pylori
*GC selective agar may be used in absence of H. pylori media. / ** Brain heart influsion (BHI) broth can be used to start the culture process55.

4.6	Identification
Refer to UK SMI ID 26: Identification of Helicobacter species for organism identification.
4.6.1	Minimum level of identification in the laboratory
H. pylori	species level

4.7	Antimicrobial susceptibility testing
Disc diffusion criteria for antimicrobial susceptibility testing of H. pylori have not been defined therefore an MIC method should be used56.
If a commercial MIC method is used, manufacturer’s instructions should be followed.
Refer to EUCAST guidelines for breakpoint information.
Alternatively, isolates can be sent to an appropriate specialist or reference laboratory.
4.8	Referral for outbreak investigations
N/A
4.9	Referral to reference laboratories
For information on the tests offered, turnaround times, transport procedure and the other requirements of the reference laboratory click here for user manuals and request forms.
Organisms with unusual or unexpected resistance, or associated with a laboratory or clinical problem, or anomaly that requires elucidation should be sent to the appropriate reference laboratory.
Contact appropriate devolved national reference laboratory for information on the tests available, turnaround times, transport procedure and any other requirements for sample submission:
England and Wales
https://www.gov.uk/specialist-and-reference-microbiology-laboratory-tests-and-services
Scotland
http://www.hps.scot.nhs.uk/reflab/index.aspx
Northern Ireland
http://www.publichealth.hscni.net/directorate-public-health/health-protection
Notes: In case of sending away to laboratories for processing, ensure that specimen is placed in appropriate package and transported accordingly.
5	Reporting procedure
5.1	Microscopy
Gram stain (if performed)
Report presence or absence of H. pylori-like organisms.
5.1.1	Microscopy reporting time
All results should be issued to the requesting clinician as soon as they become available, unless specific alternative arrangements have been made with the requestors.
Urgent results should be telephoned or transmitted electronically in accordance with local policies.
5.2	Culture
The following as appropriate:
Culture
Positive report
H. pylori isolated
Negative report
H. pylori not isolated
Biopsy (urease test) if performed
Report urease test result as positive or negative.
5.2.1	Culture reporting time
Interim or preliminary results should be issued on detection of potentially clinically significant isolates as soon as growth is detected, unless specific alternative arrangements have been made with the requestors.
Urgent results should be telephoned or transmitted electronically in accordance with local policies.
Final written or computer generated reports should follow preliminary and verbal reports as soon as possible.
Culture results may take up to 12 days (15 days if antimicrobial susceptibility testing is required), but are usually available within 10 days.
5.3	Antimicrobial susceptibility testing
Report susceptibilities as clinically indicated. Prudent use of antimicrobials according to local and national protocols is recommended.
6	Notification to PHE57,58, or equivalent in the devolved administrations59-62
The Health Protection (Notification) regulations 2010 require diagnostic laboratories to notify Public Health England (PHE) when they identify the causative agents that are listed in Schedule 2 of the Regulations. Notifications must be provided in writing, on paper or electronically, within seven days. Urgent cases should be notified orally and as soon as possible, recommended within 24 hours. These should be followed up by written notification within seven days.
For the purposes of the Notification Regulations, the recipient of laboratory notifications is the local PHE Health Protection Team. If a case has already been notified by a registered medical practitioner, the diagnostic laboratory is still required to notify the case if they identify any evidence of an infection caused by a notifiable causative agent.
Notification under the Health Protection (Notification) Regulations 2010 does not replace voluntary reporting to PHE. The vast majority of NHS laboratories voluntarily report a wide range of laboratory diagnoses of causative agents to PHE and many PHE Health protection Teams have agreements with local laboratories for urgent reporting of some infections. This should continue.
Note: The Health Protection Legislation Guidance (2010) includes reporting of Human Immunodeficiency Virus (HIV) & Sexually Transmitted Infections (STIs), Healthcare Associated Infections (HCAIs) and Creutzfeldt–Jakob disease (CJD) under ‘Notification Duties of Registered Medical Practitioners’: it is not noted under ‘Notification Duties of Diagnostic Laboratories’.
https://www.gov.uk/government/organisations/public-health-england/about/our-governance#health-protection-regulations-2010
Other arrangements exist in Scotland59,60, Wales61 and Northern Ireland62.

Appendix: Gastric biopsies for Helicobacter pylori

References

1.	Warren JR, Marshall B. Unidentified curved bacilli on gastric epithelium in active chronic gastritis. Lancet 1983;1:1273-5.

2.	Suerbaum S, Michetti P. Helicobacter pylori infection. NEnglJMed 2002;347:1175-86.

3.	Moayyedi P, Deeks J, Talley NJ, Delaney B, Forman D. An update of the Cochrane systematic review of Helicobacter pylori eradication therapy in nonulcer dyspepsia: resolving the discrepancy between systematic reviews. AmJGastroenterol 2003;98:2621-6.

4.	National Institute for Health and Care Excellence. NICE clinical guideline 184: Dyspepsia and gastro-oesophageal reflux disease 2014.

5.	Health Protection Agency, British Infection Association. Test and Treat for Helicobacter pylori (HP) in Dyspepsia Quick Reference Guide for Primary Care. 2012.

6.	Public Health England. Helicobacter pylori: diagnosis and treatment guide for primary care 2014.

7.	Malfertheiner P, Megraud F, O'Morain CA, Atherton J, Axon AT, Bazzoli F et al. Management of Helicobacter pylori infection--the Maastricht IV/ Florence Consensus Report. GUT 2012;61:646-64.

8.	Tonkic A, Tonkic M, Lehours P, Megraud F. Epidemiology and diagnosis of Helicobacter pylori infection. Helicobacter 2012;17 Suppl 1:1-8.

9.	McNulty CA, Lasseter G, Shaw I, Nichols T, D'Arcy S, Lawson AJ et al. Is Helicobacter pylori antibiotic resistance surveillance needed and how can it be delivered? AlimentPharmacolTher 2012;35:1221-30.

10.	Vaira D, Vakil N. Blood, urine, stool, breath, money, and Helicobacter pylori. GUT 2001;48:287-9.

11.	Logan RP. Urea breath tests in the management of Helicobacter pylori infection. GUT 1998;43 Suppl 1:S47-S50.

12.	Megraud F, Lehours P. Helicobacter pylori detection and antimicrobial susceptibility testing. ClinMicrobiolRev 2007;20:280-322.

13.	NICE, NHS Evidence. Dyspepsia: Managing Dyspepsia in Adults in Primary Care. Clinical Guideline 17 2013. 1-47.

14.	Gisbert JP, Pajares JM. Stool antigen test for the diagnosis of Helicobacter pylori infection: a systematic review. Helicobacter 2004;9:347-68.

15.	Douraghi M, Nateghi RM, Goudarzi H, Ghalavand Z. Comparison of stool antigen immunoassay and serology for screening for Helicobacter pylori infection in intellectually disabled children. MicrobiolImmunol 2013;57:772-7.

16.	Blanco S, Forne M, Lacoma A, Prat C, Cuesta MA, Latorre I et al. Comparison of stool antigen immunoassay methods for detecting Helicobacter pylori infection before and after eradication treatment. DiagnMicrobiolInfectDis 2008;61:150-5.

17.	Sharbatdaran M, Kashifard M, Shefaee S, Siadati S, Jahed B, Asgari S. Comparison of stool antigen test with gastric biopsy for the detection of Helicobacter Pylori infection. PakJMed Sci 2013;29:68-71.

18.	Chisholm SA, Watson CL, Teare EL, Saverymuttu S, Owen RJ. Non-invasive diagnosis of Helicobacter pylori infection in adult dyspeptic patients by stool antigen detection: does the rapid immunochromatography test provide a reliable alternative to conventional ELISA kits? JMed Microbiol 2004;53:623-7.

19.	Elwyn G, Taubert M, Davies S, Brown G, Allison M, Phillips C. Which test is best for Helicobacter pylori? A cost-effectiveness model using decision analysis. BrJGenPract 2007;57:401-3.

20.	Health Protection Agency Primary Care Uni. Test & Treat Helicobacter Management of Dyspepsia. Cost comparison of serology to stool antigen & breath test. 2007.

21.	Lawson AJ. Helicobacter. Manual of Clinical Microbiology 10th Edition American Society for Microbiology. 10 ed.; 2011.

22.	McNulty CA, Lehours P, Megraud F. Diagnosis of Helicobacter pylori Infection. Helicobacter 2011;16 Suppl 1:10-8.

23.	Glupczynski Y. The diagnosis of Helocobacter pylori infection: a microbiologist's perspective. Rev Med Microbiol 1994;5:199-208.

24.	Chisholm SA, Owen RJ. Application of polymerase chain reaction-based assays for rapid identification and antibiotic resistance screening of Helicobacter pylori in gastric biopsies. DiagnMicrobiolInfectDis 2008;61:67-71.

25.	Sugimoto M, Wu JY, Abudayyeh S, Hoffman J, Brahem H, Al-Khatib K et al. Unreliability of results of PCR detection of Helicobacter pylori in clinical or environmental samples. JClinMicrobiol 2009;47:738-42.

26.	Mishra S, Singh V, Rao GR, Jain AK, Dixit VK, Gulati AK et al. Detection of Helicobacter pylori in stool specimens: comparative evaluation of nested PCR and antigen detection. JInfectDevCtries 2008;2:206-10.

27.	Welker M, Moore ER. Applications of whole-cell matrix-assisted laser-desorption/ionization time-of-flight mass spectrometry in systematic microbiology. SystApplMicrobiol 2011;34:2-11.

28.	European Parliament. UK Standards for Microbiology Investigations (UK SMIs) use the term "CE marked leak proof container" to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: "The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes". 1998.

29.	Official Journal of the European Communities. Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on in vitro diagnostic medical devices 1998. 1-37.

30.	Miendje Deyi VY, Van den Borre C, Fontaine V. Comparative evaluation of 3 selective media for primary isolation of Helicobacter pylori from gastric biopsies under routine conditions. DiagnMicrobiolInfectDis 2010;68:474-6.

31.	Hachem CY, Clarridge JE, Evans DG, Graham DY. Comparison of agar based media for primary isolation of Helicobacter pylori. J Clin Pathol 1995;48:714-6.

32.	Henriksen TH, Brorson O, Schoyen R, Thoresen T, Setegn D, Madebo T. Rapid growth of Helicobacter pylori. EurJ Clin Microbiol Infect Dis 1995;14:1008-11.

33.	Dent JC, McNulty CA. Evaluation of a new selective medium for Campylobacter pylori. EurJClinMicrobiolInfectDis 1988;7:555-8.

34.	Azevedo NF, Pacheco AP, Keevil CW, Vieira MJ. Nutrient shock and incubation atmosphere influence recovery of culturable Helicobacter pylori from water. ApplEnvironMicrobiol 2004;70:490-3.

35.	Health and Safety Executive. Safe use of pneumatic air tube transport systems for pathology specimens. 2009.

36.	Department for transport. Transport of Infectious Substances, 2011 Revision 5. 2011.

37.	World Health Organization. Guidance on regulations for the Transport of Infectious Substances 2013-2014. 2012.

38.	Home Office. Anti-terrorism, Crime and Security Act. 2001.

39.	Advisory Committee on Dangerous Pathogens. The Approved List of Biological Agents. Health and Safety Executive 2013. 1-32.

40.	Advisory Committee on Dangerous Pathogens. Infections at work: Controlling the risks. Her Majesty's Stationery Office 2003.

41.	Advisory Committee on Dangerous Pathogens. Biological agents: Managing the risks in laboratories and healthcare premises. Health and Safety Executive 2005.

42.	Advisory Committee on Dangerous Pathogens. Biological Agents: Managing the Risks in Laboratories and Healthcare Premises. Appendix 1.2 Transport of Infectious Substances - Revision. Health and Safety Executive 2008.

43.	Centers for Disease Control and Prevention. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR Surveill Summ 2012;61:1-102.

44.	Health and Safety Executive. Control of Substances Hazardous to Health Regulations. The Control of Substances Hazardous to Health Regulations 2002. 5th ed.: HSE Books,; 2002.

45.	Health and Safety Executive. Five Steps to Risk Assessment: A Step by Step Guide to a Safer and Healthier Workplace. HSE Books,. 2002.

46.	Health and Safety Executive. A Guide to Risk Assessment Requirements: Common Provisions in Health and Safety Law. HSE Books,. 2002.

47.	Health Services Advisory Committee. Safe Working and the Prevention of Infection in Clinical Laboratories and Similar Facilities. HSE Books 2003.

48.	British Standards Institution (BSI). BS EN12469 - Biotechnology - performance criteria for microbiological safety cabinets 2000.

49.	British Standards Institution (BSI). BS 5726:2005 - Microbiological safety cabinets. Information to be supplied by the purchaser and to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance. 2005. 1-14.

50.	Baron EJ, Miller JM, Weinstein MP, Richter SS, Gilligan PH, Thomson RB, Jr. et al. A Guide to Utilization of the Microbiology Laboratory for Diagnosis of Infectious Diseases: 2013 Recommendations by the Infectious Diseases Society of America (IDSA) and the American Society for Microbiology (ASM). ClinInfectDis 2013;57:e22-e121.

51.	Soltesz V, Zeeberg B, Wadstrom T. Optimal survival of Helicobacter pylori under various transport conditions. JClinMicrobiol 1992;30:1453-6.

52.	Veenendaal RA, Lichtendahl-Bernards AT, Pena AS, Endtz HP, van Boven CP, Lamers CB. Effect of transport medium and transportation time on culture of Helicobacter pylori from gastric biopsy specimens. JClinPathol 1993;46:561-3.

53.	Tompkins D. Diagnosis of Helicobacter pylori infection. PHLS Microbiol Dig 1997;14:34-6.

54.	Dhiraputra C, Chavalittamrong B, Ratanarapee S. Advantage of Sandiford's counterstain in detection of Gram negative bacteria in clinical specimens. Southeast Asian J Trop Med Public Health 1980;11:267-8.

55.	Xu J, Czinn SJ, Blanchard TG. Maintenance of Helicobacter pylori cultures in agar stabs. Helicobacter 2010;15:477-80.

56.	British Society for Antimicrobial Chemotherapy. BSAC Methods for Antimicrobial Susceptibility Testing. 2013.

57.	Public Health England. Laboratory Reporting to Public Health England: A Guide for Diagnostic Laboratories 2013. 1-37.

58.	Department of Health. Health Protection Legislation (England) Guidance. 1-112. 2010.

59.	Scottish Government. Public Health (Scotland) Act. 2008.

60.	Scottish Government. Public Health etc. (Scotland) Act 2008. Implementation of Part 2: Notifiable Diseases, Organisms and Health Risk States. 2009.

61.	The Welsh Assembly Government. Health Protection Legislation (Wales) Guidance. 2010.

62.	Home Office. Public Health Act (Northern Ireland) 1967 Chapter 36. 1967.