REQUEST FOR QUOTE

NBO/014/2018: provision of central and standalone ups maintenance services FOR THE BRITISH HIGH COMMISSION NAIROBI for a period of upto 3 years

Dear Service Provider,

1. On behalf of the Foreign and Commonwealth Office (FCO) as represented by British High Commission – Nairobi. BHC is requesting a quote from you for the PROVISION OF CENTRAL AND STANDALONE UPS MAINTENANCE SERVICES FOR THE BRITISH HIGH COMMISSION NAIROBI further details on the requirement are set out in the attached Statement of Requirements
2. Please include in your reply a nominated point of contact with telephone, e-mail and postal address details.
3. Your quote should remain valid for 90 days from the required date of receipt and all costs should be stated in KES Your quotation should be inclusive all costs broken down for the 3 years.
4. Your quote must be received on or before 15:00 hours on Friday 2nd November, 2018 (Kenyan Time).
5. Send your response to nairobiquotations@fco.gov.uk and use the title: RFQ Response NBO/014/2018
6. If you have any questions, please contact the procurement team at nairobiprocurement@fco.gov.uk . Answers will be shared with all bidders. Use the title: RFQ QUESTION NBO/014/2018
7. Should your quote be accepted, this request, the attached Specification, and your response will form a legally binding contract between you and the FCO under the terms and conditions set out in the associated Purchase Order.
8. Should you wish to provide an alternative solution that meets our requirements, you are free to do so; however you must also submit the attached standard proposals as well.
9. This Request for a Quote does not imply any commitment on the part of the FCO.
10. From 2nd April 2014 the Government is introducing its new Government Security Classifications (GSC) classification scheme to replace the current Government Protective Marking Scheme (GPMS). A key aspect of this is the reduction in the number of security classifications used. All potential suppliers should make themselves aware of the changes as it may impact on this Requirement. The following link to the Gov.uk website provides information on the new GSC - https://www.gov.uk/government/publications/government-security-classifications

We look forward to receiving your proposal.

TERMS OF REFERENCE FOR PROVISION OF CENTRAL AND STANDALONE UPS MAINTENACE SERVICE AT THE BRITISH HIGH COMMISSION NAIROBI
The British High Commission (BHC) is the UK Government’s representative responsible for British Government bilateral relationship with Kenya. To meet this objective, BHC continuously seeks to partner with competent suppliers and service Providers for supply of various goods and provision of various services.
The British High Commission Nairobi seeks a proposal from qualified IT companies offering Maintenance Services for central and Standalone UPS(s).
Proposal are invited from reputable firms for the provision of UPS Maintenance Services for a period of up to three years on an annual review basis, with an option to extend for up to a further two years depending on the BHC’s needs and performance against a Service Level Agreement

General information

British High Commission (BHC) is located on Upper Hill Road in Nairobi, is seeking for qualified Companies offering UPS Maintenance services hereinafter referred to as “Service Provider(s).

- All the information contained in this tender and in the Service Provider’s response will be handled with confidentiality by both the Service Provider and BHC.
- Any statement and cost-proposal made by the Service Provider will form the basis of any contract that may be entered into between BHC and the Service Provider.
- BHC shall not be liable for or required to pay any costs, expenses or losses that may be incurred by the Service Provider in the preparation of their tender response.
- All required information will be submitted on the documents specified in this tender.
- The Service Provider is to submit a fully qualifying bid.
- BHC reserves the right to conduct UNANNOUNCED SITE VISITS to the Service Providers premises. BHC will also contact or arrange site visits to the referees provided for in this tender.
- The services provided will be exempt from VAT and excise duty under the terms of the BHCs host country agreements with the Government of Kenya

Specification for Service Provision
- Battery life and Load testing every six months.
- Replace UPS batteries after the 6th year or as and when required without charging labour or under the service maintenance contract.
- UPS unit service and routine maintenance after every 3 months.
- Part replacement in case of fault.
- Perform thermographic Survey of Batteries to check for Hot Spots
- Troubleshooting fault at site on request by the client under service maintenance contract.

Payment guidelines
- Company must accept PDQ as a payment mode for goods and services of under £1,500.
- Company must accept Purchase Orders as a form of contract.

Customer Service and Administration
The Service provider shall nominate one account manager as a single point of contact. The account manager shall be responsible for delivering and managing the Authority’s requirement stated herein, including but not limited to:

- Performance against service levels (Key Performance Indicators (KPIs));
- Performance issues;
- Submitting reports to the Authority;
- Reviewing requirements with the customer on a quarterly basis;
- Managing and overseeing monitoring tools;
- Allocation/escalation of issues to other teams.

The Contractor shall provide responses to the Authority’s account management queries made either by phone or e-mail with high impact calls and e-mails resolved within one business day and low impact calls and e-mails answered within two business days.

Review Meetings
The Contractor shall organise and attend face-to-face review meetings at Authority premises in Upper Hill, using Authority facilities.

The objective of such reviews shall be to review the Contract, including risk and issue management and Contractor performance in the period, any required or proposed modifications to the UPS(s) to improve value for money either by service improvements or reductions in costs and Management and Administrative arrangements.

Such reviews shall also include analysis of each UPS and include any proposal to replace part(s) to improve efficiency.

Customer Service
Customer service helpdesk facility shall be available 24 hours, 7 days a week that can provide technical support for issues and problems relating to UPS performance and associated service delivery and to address issues and complaints

On-site support shall be provided if defective parts must be replaced or trouble shooting is required.

Response time must be within 4-hours from the time the report is received.

Reporting Obligation
The Contractor shall provide management information reports detailing UPS performance for the period.

Security and Access
- All Contractors working within the grounds of the BHC Estate shall observe the Security Regulations that are in place and wear and display at all times clear identification
- You should provide details of any vehicle that would require access to the BHC Estate.
- Access to the BHC is only permitted upon prior approval of at least 24 hours’ notice. The Contractor must confine his staff to the areas of working only.
Personal Protective Equipment
- Supplier to provide Risk Assessments & Method Statement for tasks undertaken
- The Service Provider will supply all staff under its duty of care with appropriate Personal Protective Equipment to conduct their work in full compliance with Health & Safety Procedures.
- The Service Provider will ensure all necessary PPE and tools shall be safe to use and well maintained and serviced (e.g. drilling equipment).
Review Meetings
The Contractor shall be required to attend quarterly meetings with the BHC to review the running of the contract and to resolve any contractual issues.
Health and Safety
- The BHC expects ALL Staff and Contractors working on the Diplomatic Estate to observe the Foreign and Commonwealth Office Health and Safety Policy, the Foreign and Commonwealth Office Electrical Safety Regulations and other safety regulations that are relevant to their scope of works.
- The Service Provider shall be liable for and shall indemnify the BHC against loss, liability, claim or proceedings in respect of any injury or damage whatsoever to any property real or personal in so far as such injury or damage arises out of any negligence, omission or default of the Service Provider, their servants or agents or of any Sub-Contractor employed by them.
- They shall ensure that any electrical appliances that are used are in good working order, that the electrical is neither damaged or stretched or contains any twisted or taped joints and is fitted with a proper three pin plug top.
- The Service Provider is expected to comply with the following Foreign and Commonwealth Office (FCO) Health and Safety Policies which are provided as part of this request for quotation as supplementary annexes:

HS10.8.3	Fire Safety Guide for Post – Inspection and Testing

WIBA
Contractor staff working within the BHC premises shall be covered under the Work Injury Benefits act and proof of the same provided to BHC.
Disclosure of Information and Transparency
The contractor shall not disclose any information relating to the contract or the authority’s activities.

Key Performance Indicators

Objective	Performance Measure	Target
Minimal cases of unsatisfactory service delivery	Number of incidents per quarter as reported	One or none
Limited complaints during service delivery	Number of complaints received per quarter	less than or equal to two
Services rendered within specified time frames	Emergency Requests and normal Service Requests are attended within agreed times depending on the nature of the request	95- 100%
Review Meetings with BHC	Request for meetings responded to/ attended	95-100%
Billing completed within service standard	Number of invoices not issued within 2 weeks of service rendered.	Less than or equal to one

A mandatory site visit will be held on Tuesday 23rd October 2018 at 1000hrs at the British High Commission Nairobi. All interested bidders must attend this site visit to be eligible to bid for services. Each organisation can send up to two (2) representatives and must email their names, ID numbers and vehicle registration number to NairobiQuotations@fco.gov.uk no later than Friday 19th October at 13:00. Representatives should carry their staff ID cards or any form of proof to show that they are working for the represented company. Parking is limited and will be allocated on a first come first served basis.

British High Commission
The British High Commission looks forward to receiving your quotation for the work described in the document.

EVALUATION CRITERIA

1. The tender process will be conducted to ensure that tenders are evaluated fairly to ascertain the most economically advantageous tender.
2. Your response to our requirement will be evaluated under the following headings based on the quality aspects to your tender and the pricing thereof:
1. Mandatory requirements ( Based on YES/NO checks)
2. Technical Evaluation – 60 Points
3. Commercial Evaluation – 40 Points
4. Due diligence – Pass/Fail

MANDATORY REQUIREMENTS
No.	Evaluation Criteria – Mandatory documents	YES/NO
1	Certificate of Incorporation/ Business Registration
2	PIN and VAT registration certificates
3	Valid Tax compliance certificate
4	Current Single Business Permit
5	Manufacturers Authorization Letters
6	Authorised dealer for Schneider/APC Electric products with a bias of UPS units.
7	The 3 year contract will be subject to the FCO's Standard Terms and Conditions set out in Annex 1.	Please confirm in writing that you accept these terms and conditions

A bidder who fails to produce all the (VALID) documents outlined above will NOT be qualified to enter the next stage of evaluation

EVALUATION CRITERIA – TECHNICAL SCORE – 60 POINTS

No.	Evaluation Criteria	Weighted Points
1.	Explain in detail, your approach and methodology to meeting all the services required. NB: Please clearly detail your approach and methodology for each service.	10 Points
2.	Submit a company profile and give details of the resources you propose to use to service the Contract, including the number of staff you expect to use for providing the service. Also include an organisational chart indicating responsibilities and reporting lines in respect of this contract.	10 points
3	Provide proposals for monitoring and reporting of KPIs as detailed in the scope of work / Describe your customer liaison arrangement including procedures for dealing with complaints or problems, and escalation procedures, matrix and contact details specifically for this contract.	15 points
4	Submit with your proposal at least three reference letters from clients whom you have done business in similar nature (laundry and dry cleaning services). Provide contact details (names, address, telephone number, project description and project cost) of three of your clients.	15 points
5	Please describe your system for continuous monitoring and reporting on the quality of service delivered. Include details of Quality Assurance procedures and Health & Safety standards. Please provide evidence of any international quality standards achieved or being sought e.g. ISO9000	10 points
	Total Points	60 points

In order to qualify for commercial evaluation, tenders MUST obtain a 50% threshold of the technical score. Tenderers who do not obtain the 50% threshold will be disqualified.

All tenders will be scored as above in accordance with the marking system set out below:

Interpretation	Score
Satisfies the requirement with minor additional benefits. Above average demonstration by the Tenderer of the understanding and evidence in their ability/proposed methodology to deliver a solution for the required supplies/services. Response identifies factors that will offer potential added value, with evidence to support the response.	3 - good
Satisfies the requirement. Demonstration by the Tenderer of the understanding and evidence in their ability/proposed methodology to deliver a solution for the required supplies/services.	2 - Acceptable
Satisfies the requirement with minor reservations. Some minor reservations of the Tenderers understanding and proposed methodology, with limited evidence to support the response. Tenderer has accepted FCO standard terms and conditions of contract.	1 - Minor Reservations
Does not meet the requirement. Does not comply and/or insufficient information provided to demonstrate that the Tenderer has the understanding or suitable methodology, with little or no evidence to support the response. Tenderer has rejected FCO standard terms and conditions of contract.	0 - Unacceptable / Non compliant

COMMERCIAL SCORE – 40 POINTS

Marks will be awarded as an inverse percentage. The most financially attractive offer submitted to the Authority will score 40. Scores for bids other than the most financially attractive bid will be awarded on an inverse percentage difference from the most financially attractive offer:

Example: Bid A - UGX 60K =- 40 pts, Bid B = UGX 70K = 34 pts (UGX 60K/ UGX 70K x 40 pts)

DUE DILIGENCE

1. British High Commission shall undertake a due diligence on the Successful bidder after the combination of both technical and financial score to verify the information provided in the Bidding document.
2. The due diligence shall be in a PASS/FAIL Criteria. Where the bidder fails the Due diligence, the BHC shall disqualify the bidder and proceed to the second best evaluated bidder.