ANNEX B

THE OZONE DEPLETING SUBSTANCES (ODS) REGULATION (EC) No. 1005 / 2009

RECORD MAINTENANCE TEMPLATE

[A record for each calendar year must be maintained by Operators for equipment containing 3 kgs + of controlled substances (Operators may wish to keep records on equipment with < 3 kgs of controlled substances - but this is not mandatory).  If there have been any unintentional / accidental releases of controlled substances equal to or more than 1,000 tonnes of CO2 equivalent these (plus the corresponding amount in kgs) must be reported to OPRED’s Offshore Inspectorate - using the Annex C form - within 48 hours of it being established that such an incident had occurred.]

| RECORD MAINTENANCE TEMPLATE FOR THE EU ODS REGULATION [Add / expand rows under headings as necessary] Year: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Installation Name and Operator: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Equipment (make / model) i.e. refrigeration system, air-conditioning unit, heat pump, or fire-protection system (FPS) |  |  |  |  |  | 3. Quantity (kgs) of controlled substances in equipment - at start of year i.e. halons, CFCs or HCFCs as applicable |  |  |  |  |  |  |  |  |
| 4. Equipment manufacturer: |  |  |  |  |  | 5. Year equipment supplied: |  |  |  |  |  |  |  |  |
| 6. Data on halons used in FPS (under ‘critical use’ exemption) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Name of Company / technician who performed maintenance / servicing |  | Amount / type of halons added (kgs) |  |  |  |  | Amount / type of halons recovered (kgs) |  |  |  | What was done with the recovered halons (e.g. sent to onshore facility for disposal)? |  |  |
| Annual total of halons added / recovered |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Data on halons / CFCs recovered from refrigeration, air conditioning and heat pump equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Name of Company / technician who performed maintenance / servicing |  |  | Amount / type of halons recovered (kgs) |  |  |  | Amount / type of CFCs recovered (kgs) |  | What was done with recovered halons / CFCs (e.g. sent to onshore disposal facility)? |  |  |  |  |
| Annual total of halons / CFCs recovered |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Data on reclaimed / recycled HCFCs used in refrigeration, air conditioning and heat pump equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Name of Company / technician who performed maintenance / servicing | Amount / type of HCFCs recovered (kgs) |  |  |  |  | Has the label been updated? |  |  |  | What was done with the recovered HCFCs (e.g. sent to onshore disposal facility)? |  |  |  |
| Annual total of HCFCs recovered |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Leak Tests |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Name of Company / technician who performed leakage checking |  |  |  | Test result (including location / cause of any leaks identified) |  |  |  |  |  |  |  | Follow-up actions required |  |
| 10. Quantity of inherent (operational) emissions of controlled substances detected during testing |  |  |  |  |  |  | Date |  | Halons (kgs) |  |  |  | CFCs (kgs) | HCFCs (kgs) |
| 10(a). Annual total of inherent (operational) emissions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10(b). Date(s) when data under Section 10(a) was reported to EEMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Annual total of unintentional / accidental releases of controlled substances reported via the Annex C form |  |  |  |  |  |  |  |  | Halons (kgs) |  |  |  | CFCs (kgs) | HCFCs (kgs) |
| 11(a). Annual total of other unintentional / accidental releases of controlled substances < 1,000 t/CO2/e |  |  |  |  |  |  |  |  | Halons (kgs) |  |  |  | CFCs (kgs) | HCFCs (kgs) |
| 11(b). Annual total of inherent (operational) emissions plus unintentional / accidental releases of controlled substances |  |  |  |  |  |  |  |  | Halons (kgs) |  |  |  | CFCs (kgs) | HCFCs (kgs) |