This publication was withdrawn on 3 March 2023.

**Specification for Chlorine Tablets and Granules**

1. **Product Description**

|  |  |
| --- | --- |
| **Name** | **Description/Scope** |
| Chlorine Tablets and Granules | Chlorine releasing tablets and granules for disinfecting within a healthcare environment and includes but shall not be limited to;  • Chlorine releasing tablets;  • Chlorine releasing granules; and  • Diluters |

1. **Standards/ Directives/ Legislative requirements**

Base raw material active ingredient

NaDCC (Troclosene Sodium) (CAS:2893-79-9)

NaDCC (Sodium Dichloroisocyanurate Dihydrate) (CAS:51580-86-0)

**Both must conform to**: ECHA Article 95 list BPR, Regulation (EU) 528/ 2012

**Product Manufacturing Environment and Standards**

Manufacturing facilities and production environments for the tablets and granules must be verified (e.g. having a Medicine’s Licence or a successful external audit) as conforming and operating to “Pharmaceutical Good Manufacturing Practice” (GMP) standard

**Tablets Specifications**

With the exception of product “Chlorine Releasing Tablets 4.5g NaDCC” all tablets must contain NaDCC (Troclosene Sodium) as the active ingredient.

Product “Chlorine Releasing Tablets 4.5g NaDCC” must contain NaDCC (Sodium Dichloroisocyanurate Dihydrate) as the active ingredient.

All specific tablet specifications are to be listed as:

* Total gross weight,
* Weight of NaDCC contained in the tablet.

All tablets must be supplied in a re-sealable container.

The weight stated on the container must be the gross weight of the Troclosene Sodium or Sodium Dichloroisocyanurate Dihydrate, as appropriate.

**Granules Specifications**

Product “Chlorine Releasing Granules” must contain NaDCC (Troclosene Sodium) as the active ingredient.

All specific granules specifications are to be listed as:

* Total gross weight of granules,
* % of NaDCC within granules.

All granules must be supplied in a re-sealable container.

The weight stated on the container must be the gross weight of the granules.

|  |
| --- |
| **STANDARD / CERTIFICATION** |
| *NaDCC (Troclosene Sodium) absorbent must* *conform to;*  **ECHA article 95 list BPR, Regulation (EU) 528/2012)** |