## Home
BEIS Electricity Generation Costs (2020)
Key data and assumptions for generation technologies
Index
Click on the scenario name to go to the sheet containing the corresponding data:
| Sheet Name | Sheet Description
| Technical and cost assumptions | Formatted table listing the technical assumptions for all technologies. Where assumptions are unavailable or not applicable, figures have been omitted.
General notes
| 1 | Link to the full report
| 2 | All costs are in real 2018 GBP

## Technical and cost assumptions
Technology |  |  | CCGT H Class |  |  |  | CCGT CHP mode |  |  |  | OCGT 600MW 500 hr |  |  |  | OCGT 400MW 500 hr |  |  |  | OCGT 300MW 500 hr |  |  |  | OCGT 299MW 500 hr |  |  |  | OCGT 100MW 500 hr |  |  |  | OCGT 600MW 2000 hr |  |  |  | OCGT 400MW 2000 hr |  |  |  | OCGT 300MW 2000 hr |  |  |  | OCGT 299MW 2000 hr |  |  |  | OCGT 100MW 2000 hr |  |  |  | Recip Diesel 2000 hr |  |  |  | Recip Diesel 500 hrs |  |  |  | Recip Diesel 90 hrs |  |  |  | Recip Gas 2000 hr |  |  |  | Recip Gas 500 hrs |  |  |  | Dedicated Biomass |  |  |  | Biomass CHP |  |  |  | Onshore Wind |  |  |  | Offshore Wind |  |  |  | Large-scale Solar |  |  |  | Solar PV 10-50kW |  |  |  | Solar PV 4-10kW |  |  |  | Solar PV <4kW |  |  |  | EfW |  |  |  | EfW CHP |  |  |  | AD |  |  |  | AD CHP |  |  |  | ACT Standard |  |  |  | ACT Advanced |  |  |  | ACT CHP |  |  |  | Landfill gas |  |  |  | Sewage gas |  |  |  | Geothermal CHP |  |  |  | Hydro Large Storage |  |  |  | Hydro 516MW |  |  |  | Wave |  |  |  | CCGT + CCS Post Combustion (FOAK) |  |  |  | CCGT + CCS Post Combustion (NOAK) |  |  |  | Biomass CCS (FOAK) |  |  |  | Biomass CCS (NOAK)
Commissioning Year |  |  | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040 | 2025 | 2030 | 2035 | 2040
Reference plant size |  | MW | 1200 | 1200 | 1200 | 1200 | 168 | 168 | 168 | 168 | 625 | 625 | 625 | 625 | 400 | 400 | 400 | 400 | 311 | 311 | 311 | 311 | 299 | 299 | 299 | 299 | 96 | 96 | 96 | 96 | 625 | 625 | 625 | 625 | 400 | 400 | 400 | 400 | 311 | 311 | 311 | 311 | 299 | 299 | 299 | 299 | 96 | 96 | 96 | 96 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 23 | 23 | 23 | 23 | 14 | 14 | 14 | 14 | 51 | 51 | 51 | 51 | 1000 | 1000 | 1000 | 1000 | 16 | 16 | 16 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 24 | 24 | 24 | 2025 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 12 | 12 | 12 | 12 | 9 | 9 | 9 | 9 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 9 | 9 | 9 | 9 | 1056 | 1056 |  |  |  |  | 1070 | 1070 | 396 | 396 |  |  |  |  | 396 | 396
Average load factor (net of availablility) |  | % | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 22% | 5% | 5% | 5% | 5% | 1% | 1% | 1% | 1% | 22% | 22% | 22% | 22% | 5% | 5% | 5% | 5% | 84% | 84% | 84% | 84% | 80% | 80% | 80% | 80% | 34% | 34% | 34% | 34% | 51% | 57% | 60% | 63% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 11% | 81% | 81% | 81% | 81% | 81% | 81% | 81% | 81% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 58% | 58% | 58% | 58% | 46% | 46% | 46% | 46% | 90% | 90% | 90% | 90% | 45% | 45% | 45% | 45% | 35% | 35% | 35% | 35% | 30% | 30% | 30% | 30% | 87% | 87% |  |  |  |  | 92% | 92% | 89% | 89% |  |  |  |  | 89% | 89%
Average fuel efficiency |  | % | 53% | 53% | 53% | 53% | 33% | 33% | 33% | 33% | 35% | 35% | 35% | 35% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 35% | 35% | 35% | 35% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 36% | 32% | 32% | 32% | 32% | 32% | 32% | 32% | 32% | 29% | 29% | 29% | 29% | 23% | 23% | 23% | 23% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 28% | 28% | 28% | 28% | 22% | 22% | 22% | 22% | 40% | 40% | 40% | 40% | 32% | 32% | 32% | 32% | 21% | 21% | 21% | 21% | 25% | 25% | 25% | 25% | 24% | 24% | 24% | 24% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 47% | 47% |  |  |  |  | 47% | 47% | - | - |  |  |  |  | - | -
Operating lifetime |  | years | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 25 | 25 | 25 | 25 | 24 | 24 | 24 | 24 | 25 | 25 | 25 | 25 | 30 | 30 | 30 | 30 | 35 | 35 | 35 | 35 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 28 | 28 | 28 | 28 | 20 | 20 | 20 | 20 | 25 | 25 | 25 | 25 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 20 | 20 | 20 | 20 | 25 | 25 |  |  |  |  | 25 | 25 | 25 | 25 |  |  |  |  | 25 | 25
Pre-development cost | Low | £/kW | 10 | 10 | 10 | 10 | 40 | 40 | 40 | 40 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 70 | 70 | 70 | 70 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 70 | 70 | 70 | 70 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 90 | 90 | 90 | 90 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 60 | 60 | 60 | 60 | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 140 | 140 | 140 | 140 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 50 | 50 | 50 | 50 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 30 | 30 | 30 | 30 | 440 | 440 | 440 | 440 | 90 | 90 | 90 | 90 |  |  |  |  | 40 | 40 | 40 | 40 | 50 | 50 | 50 | 50 | 10 | 10 |  |  |  |  | 10 | 10 | 80 | 80 |  |  |  |  | 70 | 70
| Medium | £/kW | 10 | 10 | 10 | 10 | 70 | 70 | 70 | 70 | 20 | 20 | 20 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 80 | 80 | 80 | 80 | 20 | 20 | 20 | 20 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 80 | 80 | 80 | 80 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 120 | 120 | 120 | 120 | 280 | 280 | 280 | 280 | 120 | 120 | 120 | 120 | 130 | 130 | 130 | 130 | 50 | 50 | 50 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240 | 240 | 240 | 240 | 220 | 220 | 220 | 220 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 200 | 200 | 200 | 200 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | 40 | 40 | 40 | 40 | 440 | 440 | 440 | 440 | 110 | 110 | 110 | 110 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 140 | 140 | 140 | 140 | 10 | 10 |  |  |  |  | 10 | 10 | 100 | 100 |  |  |  |  | 90 | 90
| High | £/kW | 20 | 20 | 20 | 20 | 80 | 80 | 80 | 80 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 100 | 100 | 100 | 100 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 100 | 100 | 100 | 100 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 170 | 170 | 170 | 170 | 620 | 620 | 620 | 620 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 120 | 120 | 120 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 320 | 320 | 320 | 320 | 470 | 470 | 470 | 470 | 470 | 470 | 470 | 470 | 330 | 330 | 330 | 330 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 60 | 60 | 60 | 60 | 450 | 450 | 450 | 450 | 140 | 140 | 140 | 140 |  |  |  |  | 320 | 320 | 320 | 320 | 280 | 280 | 280 | 280 | 20 | 20 |  |  |  |  | 20 | 20 | 140 | 140 |  |  |  |  | 130 | 130
Pre-development period |  | years | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 1 | 1 | 1 | 1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 2 | 2 |  |  |  |  | 2 | 2 | 5 | 5 |  |  |  |  | 3 | 3
Pre-development phasing | Year 1 | % | 43.48% | 43.48% | 43.48% | 43.48% | 43.48% | 43.48% | 43.48% | 43.48% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 55.56% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 25% | 25% | 25% | 25% | 22.22% | 22.22% | 22.22% | 22.22% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 66.67% | 66.67% | 66.67% | 66.67% | 66.67% | 66.67% | 66.67% | 66.67% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 47.62% | 47.62% | 47.62% | 47.62% | 33.33% | 33.33% | 33.33% | 33.33% | 43.48% | 43.48% |  |  |  |  | 43.48% | 43.48% | 33.33% | 33.33% |  |  |  |  | 50% | 50%
(% spent in each year) | Year 2 | % | 56.52% | 56.52% | 56.52% | 56.52% | 56.52% | 56.52% | 56.52% | 56.52% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 44.44% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 25% | 25% | 25% | 25% | 22.22% | 22.22% | 22.22% | 22.22% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 36.36% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 52.38% | 52.38% | 52.38% | 52.38% | 33.33% | 33.33% | 33.33% | 33.33% | 56.52% | 56.52% |  |  |  |  | 56.52% | 56.52% | 33.33% | 33.33% |  |  |  |  | 50% | 50%
| Year 3 | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 33.33% | 25% | 25% | 25% | 25% | 22.22% | 22.22% | 22.22% | 22.22% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 22.54% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 27.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33.33% | 33.33% | 33.33% | 33.33% | 0% | 0% |  |  |  |  | 0% | 0% | 33.33% | 33.33% |  |  |  |  | 0% | 0%
| Year 4 | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 25% | 25% | 25% | 25% | 22.22% | 22.22% | 22.22% | 22.22% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 32.39% | 32.39% | 32.39% | 32.39% | 32.39% | 32.39% | 32.39% | 32.39% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  |  |  |  | 0% | 0% | 0% | 0% |  |  |  |  | 0% | 0%
| Year 5 | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 11.11% | 11.11% | 11.11% | 11.11% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  |  |  |  | 0% | 0% | 0% | 0% |  |  |  |  | 0% | 0%
| Year 6 | % | bar: CCGT H Class 2025 to CCGT + CCS Post Combustion (FOAK) 2030; CCGT + CCS Post Combustion (NOAK) 2035 to Biomass CCS (FOAK) 2030; Biomass CCS (NOAK) 2035 to Biomass CCS (NOAK) 2040
Construction cost | Low | £/kW | 400 | 400 | 400 | 400 | 600 | 600 | 600 | 600 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 600 | 600 | 600 | 600 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 2500 | 2400 | 2400 | 2400 | 4000 | 3900 | 3900 | 3900 | 900 | 800 | 800 | 800 | 1300 | 1100 | 1000 | 900 | 400 | 300 | 300 | 200 | 700 | 600 | 600 | 600 | 800 | 800 | 800 | 800 | 1000 | 1000 | 1000 | 1000 |  |  |  |  | 10800 | 10700 | 10600 | 10600 | 3100 | 3100 | 3100 | 3100 | 3500 | 3500 | 3500 | 3500 | 4200 | 4000 | 3900 | 3900 | 4300 | 4100 | 3900 | 3900 | 4900 | 4700 | 4500 | 4500 | 900 | 900 | 900 | 900 | 2000 | 2000 | 2000 | 2000 | 3100 | 3000 | 3000 | 3000 |  |  |  |  | 1700 | 1700 | 1700 | 1700 | 2800 | 2100 | 1900 | 1900 | 1200 | 1100 |  |  |  |  | 1100 | 1100 | 2700 | 2700 |  |  |  |  | 2500 | 2400
| Medium | £/kW | 600 | 600 | 600 | 600 | 800 | 800 | 800 | 800 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 700 | 700 | 700 | 700 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 700 | 700 | 700 | 700 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 3000 | 3000 | 3000 | 3000 | 5300 | 5200 | 5200 | 5200 | 1000 | 1000 | 900 | 900 | 1500 | 1300 | 1100 | 1100 | 400 | 400 | 300 | 300 | 900 | 800 | 800 | 800 | 1100 | 1100 | 1100 | 1100 | 1300 | 1300 | 1300 | 1300 | 8600 | 8500 | 8400 | 8400 | 13900 | 13800 | 13700 | 13700 | 4000 | 4000 | 4000 | 4000 | 4600 | 4600 | 4600 | 4600 | 6000 | 5700 | 5600 | 5600 | 7100 | 6700 | 6500 | 6500 | 8900 | 8500 | 8300 | 8300 | 2300 | 2300 | 2300 | 2300 | 5400 | 5400 | 5400 | 5400 | 7100 | 7000 | 6900 | 6900 | 3400 | 3400 | 3400 | 3400 | 3200 | 3200 | 3200 | 3200 | 4800 | 3700 | 3300 | 3300 | 1500 | 1400 |  |  |  |  | 1300 | 1300 | 3400 | 3400 |  |  |  |  | 3100 | 3100
| High | £/kW | 700 | 700 | 700 | 700 | 900 | 900 | 900 | 900 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 900 | 900 | 900 | 900 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 900 | 900 | 900 | 900 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 3500 | 3500 | 3500 | 3500 | 6300 | 6200 | 6200 | 6200 | 1100 | 1100 | 1100 | 1000 | 1700 | 1400 | 1300 | 1200 | 500 | 400 | 300 | 300 | 1100 | 1000 | 1000 | 1000 | 1400 | 1300 | 1300 | 1300 | 1700 | 1600 | 1600 | 1600 |  |  |  |  | 16600 | 16400 | 16300 | 16300 | 5200 | 5200 | 5200 | 5200 | 6000 | 6000 | 6000 | 6000 | 7000 | 6700 | 6500 | 6500 | 12300 | 11700 | 11300 | 11300 | 16600 | 15800 | 15300 | 15300 | 3800 | 3800 | 3800 | 3800 | 7500 | 7500 | 7500 | 7500 | 9700 | 9400 | 9300 | 9300 |  |  |  |  | 3300 | 3300 | 3300 | 3300 | 6700 | 5100 | 4600 | 4600 | 1800 | 1800 |  |  |  |  | 1500 | 1500 | 4400 | 4400 |  |  |  |  | 4000 | 4100
Construction period |  | years | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 |  |  |  |  | 3 | 3 | 4 | 4 |  |  |  |  | 4 | 4
Construction phasing | Year 1 | % | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 46% | 46% | 46% | 46% | 47% | 47% | 47% | 47% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 50% | 50% | 50% | 50% | 44% | 44% | 44% | 44% | 44% | 44% | 44% | 44% | 100% | 100% | 100% | 100% | 55% | 55% | 55% | 55% | 33% | 33% | 33% | 33% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 40% | 40% |  |  |  |  | 40% | 40% | 15% | 15% |  |  |  |  | 15% | 15%
(% spent in each year) | Year 2 | % | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 40% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 54% | 54% | 54% | 54% | 53% | 53% | 53% | 53% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 34% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 50% | 50% | 50% | 56% | 56% | 56% | 56% | 56% | 56% | 56% | 56% | 0% | 0% | 0% | 0% | 45% | 45% | 45% | 45% | 33% | 33% | 33% | 33% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 40% | 40% |  |  |  |  | 40% | 40% | 35% | 35% |  |  |  |  | 35% | 35%
| Year 3 | % | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 33% | 33% | 33% | 33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 20% | 20% |  |  |  |  | 20% | 20% | 40% | 40% |  |  |  |  | 40% | 40%
| Year 4 | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  |  |  |  | 0% | 0% | 10% | 10% |  |  |  |  | 10% | 10%
| Year 5 | % | bar: CCGT H Class 2025 to CCGT + CCS Post Combustion (FOAK) 2030; CCGT + CCS Post Combustion (NOAK) 2035 to Biomass CCS (FOAK) 2030; Biomass CCS (NOAK) 2035 to Biomass CCS (NOAK) 2040
| Year 6 | % | bar: CCGT H Class 2025 to CCGT + CCS Post Combustion (FOAK) 2030; CCGT + CCS Post Combustion (NOAK) 2035 to Biomass CCS (FOAK) 2030; Biomass CCS (NOAK) 2035 to Biomass CCS (NOAK) 2040
| Year 7 | % | bar: CCGT H Class 2025 to CCGT + CCS Post Combustion (FOAK) 2030; CCGT + CCS Post Combustion (NOAK) 2035 to Biomass CCS (FOAK) 2030; Biomass CCS (NOAK) 2035 to Biomass CCS (NOAK) 2040
| Year 8 | % | bar: CCGT H Class 2025 to CCGT + CCS Post Combustion (FOAK) 2030; CCGT + CCS Post Combustion (NOAK) 2035 to Biomass CCS (FOAK) 2030; Biomass CCS (NOAK) 2035 to Biomass CCS (NOAK) 2040
Infrastructure |  | £'000 | 16100 | 16100 | 16100 | 16100 | 14500 | 14500 | 14500 | 14500 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 13400 | 13400 | 13400 | 13400 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 16100 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 14500 | 13400 | 13400 | 13400 | 13400 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 3700 | 3700 | 3700 | 3700 | 3700 | 3700 | 3700 | 3700 | 500 | 500 | 500 | 500 | 1000 | 1000 | 1000 | 1000 | 3500 | 3500 | 3500 | 3500 | 344800 | 344800 | 344800 | 344800 | 1300 | 1300 | 1300 | 1300 | [12 empty] | 5000 | 5000 | 5000 | 5000 | 6300 | 6300 | 6300 | 6300 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 800 | 800 | 800 | 800 | 200 | 200 | 200 | 200 | 400 | 400 | 400 | 400 | [8 empty] | 5400 | 5400 | 5400 | 5400 | 16100 | 16100 |  |  |  |  | 16100 | 16100 | 29600 | 29600 |  |  |  |  | 29600 | 29600
Fixed O&M |  | £/MW/year | 13100 | 13100 | 13100 | 13100 | 30100 | 30100 | 30100 | 30100 | 4900 | 4900 | 4900 | 4900 | 5600 | 5600 | 5600 | 5600 | 6800 | 6800 | 6800 | 6800 | 6800 | 6800 | 6800 | 6800 | 10500 | 10500 | 10500 | 10500 | 7300 | 7300 | 7300 | 7300 | 8300 | 8300 | 8300 | 8300 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 15800 | 15800 | 15800 | 15800 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 10700 | 69900 | 69900 | 69900 | 69900 | 256800 | 256600 | 256500 | 256500 | 23500 | 23500 | 23500 | 23500 | 36300 | 28000 | 24500 | 22500 | 6700 | 6400 | 6000 | 5700 | 7500 | 6700 | 6600 | 6600 | 7500 | 7000 | 7000 | 7000 | 18500 | 17200 | 17200 | 17200 | 143900 | 141800 | 140500 | 140500 | 157900 | 155500 | 154100 | 154100 | 83400 | 83400 | 83400 | 83400 | 140900 | 140900 | 140900 | 140900 | 238300 | 231600 | 229000 | 229000 | 161800 | 157300 | 155400 | 155400 | 161800 | 157300 | 155400 | 155400 | 86500 | 86500 | 86500 | 86500 | 51900 | 51900 | 51900 | 51900 | 86500 | 86500 | 86500 | 86500 | 27400 | 27400 | 27400 | 27400 | 48100 | 48100 | 48100 | 48100 | 43300 | 31200 | 26400 | 26400 | 25800 | 25800 |  |  |  |  | 22300 | 22300 | 160400 | 160400 |  |  |  |  | 146200 | 146200
Variable O&M |  | £/MWh | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 9 | 9 | 9 | 9 | 13 | 13 | 13 | 13 | 6 | 6 | 6 | 6 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 26 | 26 | 26 | 58 | 57 | 56 | 56 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | 22 | 22 | 21 | 21 | 42 | 40 | 40 | 40 | 42 | 40 | 40 | 40 | 10 | 10 | 10 | 10 | 14 | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 9 | 9 | 9 | 9 | 6 | 6 | 6 | 6 | 26 | 18 | 16 | 16 | 5 | 5 |  |  |  |  | 5 | 5 | 4 | 4 |  |  |  |  | 4 | 4
Insurance |  | £/MW/year | 2200 | 2200 | 2200 | 2200 | 3100 | 3100 | 3100 | 3100 | 1200 | 1200 | 1200 | 1200 | 1400 | 1400 | 1400 | 1400 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 2700 | 2700 | 2700 | 2700 | 1200 | 1200 | 1200 | 1200 | 1400 | 1400 | 1400 | 1400 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 2700 | 2700 | 2700 | 2700 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 12300 | 12300 | 12300 | 12300 | 50600 | 50500 | 50500 | 50500 | 1600 | 1600 | 1600 | 1600 | 2800 | 2700 | 2700 | 2700 | 1900 | 1800 | 1700 | 1600 | [12 empty] | 31500 | 31000 | 30700 | 30700 | 88000 | 86700 | 85900 | 85900 | 57900 | 57900 | 57900 | 57900 | 57900 | 57900 | 57900 | 57900 | 58100 | 56500 | 55800 | 55800 | 85500 | 83100 | 82100 | 82100 | 85500 | 83100 | 82100 | 82100 | 1700 | 1700 | 1700 | 1700 | 39000 | 39000 | 39000 | 39000 | 1700 | 1700 | 1700 | 1700 | 1000 | 1000 | 1000 | 1000 |  |  |  |  | 12700 | 9100 | 7700 | 7700 | 16100 | 16100 |  |  |  |  | 2500 | 2500 | 29600 | 29600 |  |  |  |  | 0 | 0
Connection and use of system charges |  | £/MW/year | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | 2700 | -34100 | -34100 | -34100 | -34100 | -30500 | -30500 | -30500 | -30500 | -29900 | -29900 | -29900 | -29900 | -34100 | -34100 | -34100 | -34100 | -30500 | -30500 | -30500 | -30500 | 13800 | 13800 | 13800 | 13800 | 17900 | 17900 | 17800 | 17800 | 4100 | 4400 | 4800 | 5100 | 56800 | 61800 | 65100 | 68900 | 1600 | 1600 | 1600 | 1600 | [12 empty] | 17200 | 17000 | 16800 | 16800 | 17200 | 17000 | 16800 | 16800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13000 | 12700 | 12500 | 12500 | 13000 | 12700 | 12500 | 12500 | 13000 | 12700 | 12500 | 12500 | 6900 | 6900 | 6900 | 6900 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 13800 | 8100 | 8100 | 8100 | 8100 |  |  |  |  | 34500 | 24800 | 21000 | 21000 | 3500 | 3500 |  |  |  |  | 3500 | 3500 | 4100 | 4100 |  |  |  |  | 4100 | 4100
Hurdle Rate |  | % | 7.5% | 7.5% | 7.5% | 7.5% | 9% | 9% | 9% | 9% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 6.8% | 6.8% | 6.8% | 6.8% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 6.8% | 6.8% | 6.8% | 6.8% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.1% | 7.9% | 7.9% | 7.9% | 7.9% | 9.9% | 9.9% | 9.9% | 9.9% | 5.2% | 5.2% | 5.2% | 5.2% | 6.3% | 6.3% | 6.3% | 6.3% | 5% | 5% | 5% | 5% | 5.6% | 5.6% | 5.6% | 5.6% | 5.1% | 5.1% | 5.1% | 5.1% | 5.1% | 5.1% | 5.1% | 5.1% | 6.5% | 6.5% | 6.5% | 6.5% | 7.6% | 7.6% | 7.6% | 7.6% | 8.3% | 8.3% | 8.3% | 8.3% | 9.9% | 9.9% | 9.9% | 9.9% | 7.2% | 7.2% | 7.2% | 7.2% | 8.1% | 8.1% | 8.1% | 8.1% | 8.9% | 8.9% | 8.9% | 8.9% | 6.1% | 6.1% | 6.1% | 6.1% | 7.1% | 7.1% | 7.1% | 7.1% | 18.8% | 18.8% | 18.8% | 18.8% | 5.4% | 5.4% | 5.4% | 5.4% | 5.4% | 5.4% | 5.4% | 5.4% | 8.6% | 8.6% | 8.6% | 8.6% | 9% | 9% |  |  |  |  | 7.3% | 7.3% | 9.1% | 9.1% |  |  |  |  | 9.1% | 9.1%