MOD Form 5070
        10/2020

PERMIT TO DIG

ESTABLISHMENT (name & location):			REF No:

SECTION A (To be completed by the nominated Responsible Person)

ISSUED TO: (Person in charge of excavation)		Name:

LOCATION AND BRIEF DESCRIPTION OF WORKS:

SECTION B (To be completed by the nominated Responsible Person)
Name:
STATEMENT OF SERVICE LOCATIONS:
To the best of my knowledge, based upon existing record drawings, the proposed area of excavations as described above and shown on the attached drawings: (delete as applicable) / (a) is free from all underground services / (b) includes underground services as indicated below / (c) may include buried ordnance / (d) may include buried chemicals or other hazardous substances

TYPE OF / SERVICE	ELECTRICAL / SERVICES	COMMUNICATION / SERVICES	WATER / SERVICES	GAS / SERVICES	STEAM / SERVICES	OTHER / (FUEL OIL / ETC)	DRAINS / SEWERAGE / CULVERTS
Services / identified on / drawings / (see below)
Services / believed to / exist / (info limited)

REFERENCED DRAWING No(s): (Indicate presence of services with ‘x’)

METHOD OF DIG:
Permission is given for the excavation works detailed to proceed in accordance with the conditions listed and any Special Conditions identified below
SPECIAL CONDITIONS: (If none, write ‘none’)

VALIDITY OF PERMIT:
This permit is valid subject to the conditions overleaf from the date of issue for a period not exceeding one calendar month or until:
INSERT DATE (if exceeding one calendar Month):

Statement: I have formally notified the responsible person that these excavation works are going to be carried out:
NAME:		SIGNED:		DATE:
EMPLOYED BY

SECTION C (To be completed by person in charge of excavation)

Statement: I have examined and understand the contents of this permit and attachments and confirm that work will he carried out in a safe manner in accordance with the conditions overleaf and any special conditions listed above.
NAME:		SIGNED:	DATE:
EMPLOYED BY:

IN THE EVENT OF AN UNIDENTIFIED SERVICE, OR OBJECT BEING DISCOVERED, OR ANY OTHER EMERGENCY. / STOP WORK AND CONTACT: / TEL:

SECTION D (To be completed by person in charge of the excavation)

DECLARATION: The work described on this permit is either:
(a) complete and all back filling is complete. All persons, tools and equipment in my charge have been removed from site. All surplus arisings have been disposed of in accordance with site procedures
OR / (delete as applicable)
Has been suspended for the reasons stated below. The excavation has been left in a safe condition.
REASON FOR SUSPENDING WORK:

NAME:	SIGNED:	DATE:
EMPLOYED BY:

SECTION E (To be completed by the nominated responsible person)

CANCELLATION: This permit is hereby cancelled. / No further excavation work may be carried out in this location without the issue of a new permit.
NAME:	SIGNED:	DATE:
EMPLOYED BY:

CONDITIONS FOR CARRYING OUT EXCAVATIONS

a	All works must be carried out in a safe manner and in accordance with Health & Safety Executive guidance

b	Information regarding the location of underground services or apparatus given on this permit or the drawings attached is the best available information and should be treated as a guide only. It is the responsibility of the persons carrying out the excavations to take the necessary precautions to avoid danger.

c	All trial holes must be hand dug.

d	No mechanical excavator must be used within 600 millimetres of a known underground service or apparatus.

e	If, during excavation, any unrecorded services or unidentified buried objects or apparatus are uncovered, or any underground apparatus is damaged, work must be suspended immediately and the emergency contact informed.

f	The person in charge of the excavation must inform all persons involved in the excavation work of the contents of this permit and must remain on site at all times whilst work is in progress.

g	If due to unforeseen circumstances it becomes necessary to extend the area of work outside of the contents of this permit, the permit must be cancelled and a new permit raised taking account of the new circumstances.

h	All excavations must be maintained in a safe condition at all times, with all necessary shuttering and guarding, in order to prevent danger to other persons or vehicles on site.

i.	Any incidents or injuries associated with the works described on this permit must be reported immediately to the emergency contact overleaf.

j	Upon completion of work the permit must be signed off at Section D and returned to the issuing authority for cancellation.

k	All excavations must be satisfactorily backfilled and all arisings disposed of in an approved manner, in accordance with site procedures, before departure from site.

l	An accurate record drawing of the completed works must be submitted to the nominated responsible person to update the site records.