## Notes
	Supplementary data for Annex O: BEIS 2019 Updated Energy & Emissions Projections
	v1.0 11-12-2020

	Annex H	Major power producers' cumulative new electricity generating capacity
List of scenarios
	Click on the link to go to the sheet containing the corresponding data:

Link	Scenario Name	Scenario Description
link	Net Zero Scenario - Higher Demand	Net Zero Scenario - Higher Demand
link	Net Zero Scenario - Lower Demand	Net Zero Scenario - Lower Demand

Please send any enquiries about this publication to:
	emissionsprojections@beis.gov.uk

The data in this Annex is given for the scenarios described in Annex O: Net Zero and the Power sector.
The two scenarios presented here are illustrative scenarios of how a Net Zero consistent power sector could be reached by 2050. Unlike the projections in EEP 2019, they go beyond what we can expect to happen under current policies.
These scenarios represent a range of net-zero consistent scenarios and are not a forecast nor do they indicate a preferred outcome.
For more information on the scenarios and their development - see Annex O of the EEP 2019 publication.

## NZ_Higher_Demand
Supplementary data for Annex O: BEIS 2019 Updated Energy & Emissions Projections
v1.0 11-12-2020
Annex H	Major power producers' cumulative new electricity generating capacity
Net Zero Scenario - Higher Demand

Scenario assumptions
Fossil Fuel Prices	Reference
Economic Growth	Reference
Policies	Net Zero

Cumulative new build for Major Power Producers
GW
	2019	2020	2021	2022	2023	2024	2025	2026	2027	2028	2029	2030	2031	2032	2033	2034	2035	2036	2037	2038	2039	2040	2041	2042	2043	2044	2045	2046	2047	2048	2049	2050
Coal	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Coal and natural gas CCS	0	0	0	0	0	0	0	1	1	1	1	1	2	3	4	5	6	7	9	10	11	12	13	14	15	16	17	18	19	20	21	21
Oil	0	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1
Natural gas	1	2	3	4	4	7	8	8	8	8	9	10	10	12	14	18	25	30	35	41	47	53	59	63	68	71	77	82	84	89	93	99
Nuclear	0	0	0	0	0	0	2	3	3	3	3	5	7	7	7	7	8	10	10	11	13	15	16	18	20	21	23	25	26	28	30	30
Other thermal	1	1	2	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3
Renewables	2	3	4	6	8	10	15	22	31	38	45	51	57	62	67	72	78	82	88	93	99	103	109	114	120	125	131	136	142	147	154	159
Interconnectors	1	1	2	6	6	8	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15
Storage	0	0	1	1	1	1	1	1	1	1	1	1	1	1	4	5	6	10	14	14	14	14	14	14	14	14	14	14	14	14	14	14
Total new build	5	8	13	21	23	30	44	55	63	70	78	87	96	104	115	126	142	158	175	188	203	216	230	242	255	267	281	293	304	317	331	342

Notes
1	This covers Major Power Producers (MPPs) and all renewables-based generation except Combined Heat and Power (CHP). Section “Generating companies” (5.86 et seq.) of the Digest of UK Energy Statistics defines the term MPP. See:
	https://www.gov.uk/government/collections/digest-of-uk-energy-statistics-dukes
2	These are net capacities after allowing for plants' own power use (but before allowing for derating, e.g. of wind plants).
3	Storage capacity includes both pumped hydro storage and battery storage.

Please send any enquiries about this publication to:
	emissionsprojections@beis.gov.uk

## NZ_Lower_Demand
Supplementary data for Annex O: BEIS 2019 Updated Energy & Emissions Projections
v1.0 11-12-2020
Annex H	Major power producers' cumulative new electricity generating capacity
Net Zero Scenario - Lower Demand

Scenario assumptions
Fossil Fuel Prices	Reference
Economic Growth	Reference
Policies	Net Zero

Cumulative new build for Major Power Producers
GW
	2019	2020	2021	2022	2023	2024	2025	2026	2027	2028	2029	2030	2031	2032	2033	2034	2035	2036	2037	2038	2039	2040	2041	2042	2043	2044	2045	2046	2047	2048	2049	2050
Coal	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0	0
Coal and natural gas CCS	0	0	0	0	0	0	0	1	1	1	1	1	2	3	4	5	6	7	9	10	11	12	13	14	15	16	17	18	19	20	21	21
Oil	0	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1	1
Natural gas	1	2	3	4	5	7	8	8	8	8	8	9	9	10	12	14	19	24	28	33	38	41	44	48	52	55	61	66	70	75	78	82
Nuclear	0	0	0	0	0	0	2	3	3	3	3	5	7	7	7	7	8	10	10	10	11	13	13	13	15	16	16	16	18	20	20	20
Other thermal	1	1	2	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3	3
Renewables	2	3	4	6	8	10	14	21	29	35	41	46	51	55	60	64	69	73	78	82	87	91	96	101	106	110	115	120	125	129	135	139
Interconnectors	1	1	2	6	6	8	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15	15
Storage	0	0	1	1	1	1	1	1	1	1	1	1	1	1	2	5	5	8	10	10	10	10	10	10	10	10	10	10	10	10	10	10
Total new build	5	8	13	21	25	30	44	53	61	67	73	82	89	95	104	115	127	141	154	163	176	185	194	204	217	226	239	249	261	273	283	291

Notes
1	This covers Major Power Producers (MPPs) and all renewables-based generation except Combined Heat and Power (CHP). Section “Generating companies” (5.86 et seq.) of the Digest of UK Energy Statistics defines the term MPP. See:
	https://www.gov.uk/government/collections/digest-of-uk-energy-statistics-dukes
2	These are net capacities after allowing for plants' own power use (but before allowing for derating, e.g. of wind plants).
3	Storage capacity includes both pumped hydro storage and battery storage.

Please send any enquiries about this publication to:
	emissionsprojections@beis.gov.uk