Green Homes Grant Voucher Scheme Registered Business Requirements V1.1

Refer to the table below for measures that have additional requirements:

Scenario	Technical risk	Risk reduction
Measures requiring other intervention
Internal Wall Insulation	Technical risks where installed services create an obstacle within the structure	Partial internal wall insulation treatment of properties can be fraught with issues. The temperature differential between rooms or areas can create the ideal conditions for condensation. Thermal bridges become extremely difficult to eliminate, giving further grounds for concern. / The best solution is always treating the whole or 100% of the external envelope of the building. / Should this not be feasible then a medium term retrofit plan through the PAS 2035 route should always be the best solution.
Solid Wall Insulation	Technical delivery risks may be presented and create additional challenges that would require further considerations.	Where a (pre-design) building survey or assessment identifies issues regarding conditions or installation challenges, these situations must be addressed prior to installation.
Low carbon heating	The design of the heating system is critical to the successful installation of a low carbon heating source.	System design which considers the house fabric must be completed and recorded in accordance with the relevant MCS standards requirements before the installation of low carbon heating / measures (s).

Note: While the Green Homes Grant voucher ‘Scheme Rules’ can allow partial treatment of a dwelling, installers must be aware of the requirements of the Building Regulations and the PAS standards and carry out work that is compliant with them. If additional technical support is needed to understand what is required to meet those requirements, particularly related to measures of significant technical risk, installers should seek support from their Certification Body.