## comments
Except for Jan 2012 data, values for each year are end of year, i.e. "2012" means Dec 2012
Updates since v1 13-1-12
1. High capex value for 10-50kW corrected to 3,200
2. Medium capex value for 10-50kW adjusted

## CAPEX (PB)
Technology capital costs
Live costs (for selected technology) are shown in the first two tables
Input data by technology in the tables below
[15 empty] | Low Cost Estimates | [22 empty] | Medium Cost Estimates | [22 empty] | High Cost Estimates
Capital costs -fixed |  | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Capital costs -marginal |  | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
PV
[16 empty] | 10% | 10% | 5% | 3% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% |  |  |  |  | 5% | 5% | 3% | 3% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% |  |  |  |  | 2.5% | 2.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
Capital costs -fixed | £ | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020
|  | PV | New build domestic (2kW) | [11 empty] | 734.4257 | 660.9832 | 594.8849 | 565.1406 | 548.1864 | 545.4455 | 542.7182 | 540.0046 | 537.3046 | 534.6181 | 531.945 | 529.2853 | 526.6389 | 524.0057 | 521.3856 | 518.7787 | 516.1848 | 513.6039 | 511.0359 | 508.4807 |  |  |  | 1248.9556 | 1186.5078 | 1127.1825 | 1070.8233 | 1038.6986 | 1007.5377 | 997.4623 | 987.4877 | 977.6128 | 967.8367 | 958.1583 | 948.5767 | 939.091 | 929.7 | 920.403 | 911.199 | 902.087 | 893.0662 | 884.1355 | 875.2941 |  |  |  | 2288.4568 | 2231.2454 | 2175.4643 | 2121.0777 | 2089.2615 | 2057.9226 | 2027.0537 | 1996.6479 | 1966.6982 | 1937.1977 | 1908.1398 | 1879.5177 | 1851.3249 | 1823.555 | 1796.2017 | 1769.2587 | 1742.7198 | 1716.579 | 1690.8303 | 1665.4679
|  | PV | Retrofit domestic (2kW) | [11 empty] | 734.4257 | 660.9832 | 594.8849 | 565.1406 | 548.1864 | 545.4455 | 542.7182 | 540.0046 | 537.3046 | 534.6181 | 531.945 | 529.2853 | 526.6389 | 524.0057 | 521.3856 | 518.7787 | 516.1848 | 513.6039 | 511.0359 | 508.4807 |  |  |  | 1248.9556 | 1186.5078 | 1127.1825 | 1070.8233 | 1038.6986 | 1007.5377 | 997.4623 | 987.4877 | 977.6128 | 967.8367 | 958.1583 | 948.5767 | 939.091 | 929.7 | 920.403 | 911.199 | 902.087 | 893.0662 | 884.1355 | 875.2941 |  |  |  | 2288.4568 | 2231.2454 | 2175.4643 | 2121.0777 | 2089.2615 | 2057.9226 | 2027.0537 | 1996.6479 | 1966.6982 | 1937.1977 | 1908.1398 | 1879.5177 | 1851.3249 | 1823.555 | 1796.2017 | 1769.2587 | 1742.7198 | 1716.579 | 1690.8303 | 1665.4679
|  | PV | New build 4–10kW
|  | PV | Retrofit 4–10kW
|  | PV | New build 10–50kW
|  | PV | Retrofit 10–50kW
|  | PV | New build 50–150kW
|  | PV | Retrofit 50–150kW
|  | PV | New build 150–250kW
|  | PV | Retrofit 150–250kW
|  | PV | New build 250–5000kW
|  | PV | Retrofit 250–5000kW
|  | PV | Stand alone system
|  | PV | Aggregators<4kW | [11 empty] | 660 | 594 | 534.6 | 507.87 | 492.6339 | 490.1707 | 487.7199 | 485.2813 | 482.8549 | 480.4406 | 478.0384 | 475.6482 | 473.27 | 470.9036 | 468.5491 | 466.2063 | 463.8753 | 461.5559 | 459.2482 | 456.9519 |  |  |  | 850 | 807.5 | 767.125 | 728.7687 | 706.9057 | 685.6985 | 678.8415 | 672.0531 | 665.3326 | 658.6793 | 652.0925 | 645.5715 | 639.1158 | 632.7247 | 626.3974 | 620.1334 | 613.9321 | 607.7928 | 601.7149 | 595.6977 |  |  |  | 1400 | 1365 | 1330.875 | 1297.6031 | 1278.1391 | 1258.967 | 1240.0825 | 1221.4812 | 1203.159 | 1185.1116 | 1167.335 | 1149.8249 | 1132.5776 | 1115.5889 | 1098.8551 | 1082.3722 | 1066.1367 | 1050.1446 | 1034.3924 | 1018.8766
|  | PV | Aggregators>4kW
[16 empty] | 30% | 25% | 10% | 10% | 7% | 7% | 7% | 7% | 7% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4% |  |  |  |  | 25% | 15% | 10% | 7% | 5% | 5% | 5% | 5% | 5% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% |  |  |  |  | 10% | 10% | 5% | 5% | 3% | 3% | 3% | 3% | 3% | 3% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2%
[16 empty] | 30% | 25% | 15% | 15% | 10% | 10% | 10% | 10% | 10% | 5% | 5% | 5% | 5% | 5% | 3% | 3% | 3% | 3% | 3% |  |  |  |  | 25% | 15% | 10% | 10% | 8% | 8% | 8% | 8% | 8% | 4% | 4% | 4% | 4% | 4% | 3% | 3% | 3% | 3% | 3% |  |  |  |  | 10% | 10% | 5% | 5% | 4% | 4% | 4% | 4% | 4% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2%
Capital costs -marginal | £ / kW | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020
|  | PV | New build domestic (2kW) | [11 empty] | 1716.1205 | 1201.2843 | 900.9632 | 810.8669 | 729.7802 | 678.6956 | 631.1869 | 587.0038 | 545.9136 | 507.6996 | 487.3916 | 467.896 | 449.1801 | 431.2129 | 413.9644 | 397.4058 | 381.5096 | 366.2492 | 351.5992 | 337.5353 |  |  |  | 2542.0663 | 1906.5497 | 1620.5672 | 1458.5105 | 1356.4148 | 1288.594 | 1224.1643 | 1162.9561 | 1104.8083 | 1049.5679 | 1018.0809 | 987.5384 | 957.9123 | 929.1749 | 901.2997 | 874.2607 | 848.0329 | 822.5919 | 797.9141 | 773.9767 |  |  |  | 3605.7716 | 3245.1944 | 2920.675 | 2774.6412 | 2635.9092 | 2556.8319 | 2480.1269 | 2405.7231 | 2333.5514 | 2263.5449 | 2195.6385 | 2151.7258 | 2108.6913 | 2066.5174 | 2025.1871 | 1984.6833 | 1944.9897 | 1906.0899 | 1867.9681 | 1830.6087
|  | PV | Retrofit domestic (2kW) | [11 empty] | 1716.1205 | 1201.2843 | 900.9632 | 810.8669 | 729.7802 | 678.6956 | 631.1869 | 587.0038 | 545.9136 | 507.6996 | 487.3916 | 467.896 | 449.1801 | 431.2129 | 413.9644 | 397.4058 | 381.5096 | 366.2492 | 351.5992 | 337.5353 |  |  |  | 2542.0663 | 1906.5497 | 1620.5672 | 1458.5105 | 1356.4148 | 1288.594 | 1224.1643 | 1162.9561 | 1104.8083 | 1049.5679 | 1018.0809 | 987.5384 | 957.9123 | 929.1749 | 901.2997 | 874.2607 | 848.0329 | 822.5919 | 797.9141 | 773.9767 |  |  |  | 3605.7716 | 3245.1944 | 2920.675 | 2774.6412 | 2635.9092 | 2556.8319 | 2480.1269 | 2405.7231 | 2333.5514 | 2263.5449 | 2195.6385 | 2151.7258 | 2108.6913 | 2066.5174 | 2025.1871 | 1984.6833 | 1944.9897 | 1906.0899 | 1867.9681 | 1830.6087
|  | PV | New build 4–10kW | [11 empty] | 1700 | 1190 | 892.5 | 758.625 | 644.8312 | 580.3481 | 522.3133 | 470.082 | 423.0738 | 380.7664 | 361.7281 | 343.6417 | 326.4596 | 310.1366 | 294.6298 | 285.7909 | 277.2172 | 268.9007 | 260.8336 | 253.0086 |  |  |  | 2464.2636 | 1848.1977 | 1570.968 | 1413.8712 | 1272.4841 | 1170.6854 | 1077.0306 | 990.8681 | 911.5987 | 838.6708 | 805.1239 | 772.919 | 742.0022 | 712.3221 | 683.8292 | 663.3144 | 643.4149 | 624.1125 | 605.3891 | 587.2274 |  |  |  | 3600 | 3240 | 2916 | 2770.2 | 2631.69 | 2526.4224 | 2425.3655 | 2328.3509 | 2235.2168 | 2145.8082 | 2102.892 | 2060.8342 | 2019.6175 | 1979.2251 | 1939.6406 | 1900.8478 | 1862.8309 | 1825.5742 | 1789.0628 | 1753.2815
|  | PV | Retrofit 4–10kW | [11 empty] | 1700 | 1190 | 892.5 | 758.625 | 644.8312 | 580.3481 | 522.3133 | 470.082 | 423.0738 | 380.7664 | 361.7281 | 343.6417 | 326.4596 | 310.1366 | 294.6298 | 285.7909 | 277.2172 | 268.9007 | 260.8336 | 253.0086 |  |  |  | 2464.2636 | 1848.1977 | 1570.968 | 1413.8712 | 1272.4841 | 1170.6854 | 1077.0306 | 990.8681 | 911.5987 | 838.6708 | 805.1239 | 772.919 | 742.0022 | 712.3221 | 683.8292 | 663.3144 | 643.4149 | 624.1125 | 605.3891 | 587.2274 |  |  |  | 3600 | 3240 | 2916 | 2770.2 | 2631.69 | 2526.4224 | 2425.3655 | 2328.3509 | 2235.2168 | 2145.8082 | 2102.892 | 2060.8342 | 2019.6175 | 1979.2251 | 1939.6406 | 1900.8478 | 1862.8309 | 1825.5742 | 1789.0628 | 1753.2815
|  | PV | New build 10–50kW | [11 empty] | 1699.5 | 1189.65 | 892.2375 | 758.4019 | 644.6416 | 580.1774 | 522.1597 | 469.9437 | 422.9493 | 380.6544 | 361.6217 | 343.5406 | 326.3636 | 310.0454 | 294.5431 | 285.7068 | 277.1356 | 268.8216 | 260.7569 | 252.9342 |  |  |  | 2260 | 1695 | 1440.75 | 1296.675 | 1167.0075 | 1073.6469 | 987.7551 | 908.7347 | 836.036 | 769.1531 | 738.387 | 708.8515 | 680.4974 | 653.2775 | 627.1464 | 608.332 | 590.0821 | 572.3796 | 555.2082 | 538.552 |  |  |  | 3200 | 2880 | 2592 | 2462.4 | 2339.28 | 2245.7088 | 2155.8804 | 2069.6452 | 1986.8594 | 1907.385 | 1869.2373 | 1831.8526 | 1795.2155 | 1759.3112 | 1724.125 | 1689.6425 | 1655.8497 | 1622.7327 | 1590.278 | 1558.4725
|  | PV | Retrofit 10–50kW | [11 empty] | 1699.5 | 1189.65 | 892.2375 | 758.4019 | 644.6416 | 580.1774 | 522.1597 | 469.9437 | 422.9493 | 380.6544 | 361.6217 | 343.5406 | 326.3636 | 310.0454 | 294.5431 | 285.7068 | 277.1356 | 268.8216 | 260.7569 | 252.9342 |  |  |  | 2260 | 1695 | 1440.75 | 1296.675 | 1167.0075 | 1073.6469 | 987.7551 | 908.7347 | 836.036 | 769.1531 | 738.387 | 708.8515 | 680.4974 | 653.2775 | 627.1464 | 608.332 | 590.0821 | 572.3796 | 555.2082 | 538.552 |  |  |  | 3200 | 2880 | 2592 | 2462.4 | 2339.28 | 2245.7088 | 2155.8804 | 2069.6452 | 1986.8594 | 1907.385 | 1869.2373 | 1831.8526 | 1795.2155 | 1759.3112 | 1724.125 | 1689.6425 | 1655.8497 | 1622.7327 | 1590.278 | 1558.4725
|  | PV | New build 50–150kW | [11 empty] | 1400 | 980 | 735 | 624.75 | 531.0375 | 477.9337 | 430.1404 | 387.1263 | 348.4137 | 313.5723 | 297.8937 | 282.999 | 268.8491 | 255.4066 | 242.6363 | 235.3572 | 228.2965 | 221.4476 | 214.8042 | 208.36 |  |  |  | 1648.2843 | 1236.2132 | 1050.7812 | 945.7031 | 851.1328 | 783.0422 | 720.3988 | 662.7669 | 609.7455 | 560.9659 | 538.5273 | 516.9862 | 496.3067 | 476.4545 | 457.3963 | 443.6744 | 430.3642 | 417.4532 | 404.9296 | 392.7817 |  |  |  | 2200 | 1980 | 1782 | 1692.9 | 1608.255 | 1543.9248 | 1482.1678 | 1422.8811 | 1365.9659 | 1311.3272 | 1285.1007 | 1259.3987 | 1234.2107 | 1209.5265 | 1185.3359 | 1161.6292 | 1138.3966 | 1115.6287 | 1093.3161 | 1071.4498
|  | PV | Retrofit 50–150kW | [11 empty] | 1400 | 980 | 735 | 624.75 | 531.0375 | 477.9337 | 430.1404 | 387.1263 | 348.4137 | 313.5723 | 297.8937 | 282.999 | 268.8491 | 255.4066 | 242.6363 | 235.3572 | 228.2965 | 221.4476 | 214.8042 | 208.36 |  |  |  | 1648.2843 | 1236.2132 | 1050.7812 | 945.7031 | 851.1328 | 783.0422 | 720.3988 | 662.7669 | 609.7455 | 560.9659 | 538.5273 | 516.9862 | 496.3067 | 476.4545 | 457.3963 | 443.6744 | 430.3642 | 417.4532 | 404.9296 | 392.7817 |  |  |  | 2200 | 1980 | 1782 | 1692.9 | 1608.255 | 1543.9248 | 1482.1678 | 1422.8811 | 1365.9659 | 1311.3272 | 1285.1007 | 1259.3987 | 1234.2107 | 1209.5265 | 1185.3359 | 1161.6292 | 1138.3966 | 1115.6287 | 1093.3161 | 1071.4498
|  | PV | New build 150–250kW | [11 empty] | 1100 | 770 | 577.5 | 490.875 | 417.2437 | 375.5194 | 337.9674 | 304.1707 | 273.7536 | 246.3783 | 234.0593 | 222.3564 | 211.2386 | 200.6766 | 190.6428 | 184.9235 | 179.3758 | 173.9945 | 168.7747 | 163.7115 |  |  |  | 1300 | 975 | 828.75 | 745.875 | 671.2875 | 617.5845 | 568.1777 | 522.7235 | 480.9056 | 442.4332 | 424.7359 | 407.7464 | 391.4366 | 375.7791 | 360.7479 | 349.9255 | 339.4277 | 329.2449 | 319.3676 | 309.7865 |  |  |  | 2100 | 1890 | 1701 | 1615.95 | 1535.1525 | 1473.7464 | 1414.7965 | 1358.2047 | 1303.8765 | 1251.7214 | 1226.687 | 1202.1533 | 1178.1102 | 1154.548 | 1131.457 | 1108.8279 | 1086.6513 | 1064.9183 | 1043.6199 | 1022.7475
|  | PV | Retrofit 150–250kW | [11 empty] | 1100 | 770 | 577.5 | 490.875 | 417.2437 | 375.5194 | 337.9674 | 304.1707 | 273.7536 | 246.3783 | 234.0593 | 222.3564 | 211.2386 | 200.6766 | 190.6428 | 184.9235 | 179.3758 | 173.9945 | 168.7747 | 163.7115 |  |  |  | 1300 | 975 | 828.75 | 745.875 | 671.2875 | 617.5845 | 568.1777 | 522.7235 | 480.9056 | 442.4332 | 424.7359 | 407.7464 | 391.4366 | 375.7791 | 360.7479 | 349.9255 | 339.4277 | 329.2449 | 319.3676 | 309.7865 |  |  |  | 2100 | 1890 | 1701 | 1615.95 | 1535.1525 | 1473.7464 | 1414.7965 | 1358.2047 | 1303.8765 | 1251.7214 | 1226.687 | 1202.1533 | 1178.1102 | 1154.548 | 1131.457 | 1108.8279 | 1086.6513 | 1064.9183 | 1043.6199 | 1022.7475
|  | PV | New build 250–5000kW | [11 empty] | 1000 | 700 | 525 | 446.25 | 379.3125 | 341.3813 | 307.2431 | 276.5188 | 248.8669 | 223.9802 | 212.7812 | 202.1422 | 192.0351 | 182.4333 | 173.3116 | 168.1123 | 163.0689 | 158.1769 | 153.4315 | 148.8286 |  |  |  | 1200 | 900 | 765 | 688.5 | 619.65 | 570.078 | 524.4718 | 482.514 | 443.9129 | 408.3999 | 392.0639 | 376.3813 | 361.3261 | 346.873 | 332.9981 | 323.0082 | 313.3179 | 303.9184 | 294.8008 | 285.9568 |  |  |  | 2000 | 1800 | 1620 | 1539 | 1462.05 | 1403.568 | 1347.4253 | 1293.5283 | 1241.7871 | 1192.1157 | 1168.2733 | 1144.9079 | 1122.0097 | 1099.5695 | 1077.5781 | 1056.0266 | 1034.906 | 1014.2079 | 993.9238 | 974.0453
|  | PV | Retrofit 250–5000kW | [11 empty] | 1000 | 700 | 525 | 446.25 | 379.3125 | 341.3813 | 307.2431 | 276.5188 | 248.8669 | 223.9802 | 212.7812 | 202.1422 | 192.0351 | 182.4333 | 173.3116 | 168.1123 | 163.0689 | 158.1769 | 153.4315 | 148.8286 |  |  |  | 1200 | 900 | 765 | 688.5 | 619.65 | 570.078 | 524.4718 | 482.514 | 443.9129 | 408.3999 | 392.0639 | 376.3813 | 361.3261 | 346.873 | 332.9981 | 323.0082 | 313.3179 | 303.9184 | 294.8008 | 285.9568 |  |  |  | 2000 | 1800 | 1620 | 1539 | 1462.05 | 1403.568 | 1347.4253 | 1293.5283 | 1241.7871 | 1192.1157 | 1168.2733 | 1144.9079 | 1122.0097 | 1099.5695 | 1077.5781 | 1056.0266 | 1034.906 | 1014.2079 | 993.9238 | 974.0453
|  | PV | Stand alone system | [11 empty] | 1000 | 700 | 525 | 446.25 | 379.3125 | 341.3813 | 307.2431 | 276.5188 | 248.8669 | 223.9802 | 212.7812 | 202.1422 | 192.0351 | 182.4333 | 173.3116 | 168.1123 | 163.0689 | 158.1769 | 153.4315 | 148.8286 |  |  |  | 1200 | 900 | 765 | 688.5 | 619.65 | 570.078 | 524.4718 | 482.514 | 443.9129 | 408.3999 | 392.0639 | 376.3813 | 361.3261 | 346.873 | 332.9981 | 323.0082 | 313.3179 | 303.9184 | 294.8008 | 285.9568 |  |  |  | 2000 | 1800 | 1620 | 1539 | 1462.05 | 1403.568 | 1347.4253 | 1293.5283 | 1241.7871 | 1192.1157 | 1168.2733 | 1144.9079 | 1122.0097 | 1099.5695 | 1077.5781 | 1056.0266 | 1034.906 | 1014.2079 | 993.9238 | 974.0453
|  | PV | Aggregators<4kW | [11 empty] | 1100 | 550 | 412.5 | 371.25 | 334.125 | 307.395 | 282.8034 | 260.1791 | 239.3648 | 220.2156 | 209.2048 | 198.7446 | 188.8074 | 179.367 | 170.3986 | 161.8787 | 153.7848 | 146.0955 | 138.7908 | 131.8512 |  |  |  | 1225 | 918.75 | 780.9375 | 702.8438 | 653.6447 | 607.8896 | 565.3373 | 525.7637 | 488.9602 | 454.733 | 436.5437 | 419.0819 | 402.3187 | 386.2259 | 370.7769 | 355.9458 | 341.708 | 328.0397 | 314.9181 | 302.3213 |  |  |  | 1750 | 1575 | 1417.5 | 1346.625 | 1279.2938 | 1228.122 | 1178.9971 | 1131.8372 | 1086.5637 | 1043.1012 | 1022.2392 | 1001.7944 | 981.7585 | 962.1233 | 942.8809 | 924.0232 | 905.5428 | 887.4319 | 869.6833 | 852.2896
|  | PV | Aggregators>4kW | [11 empty] | 1257.1429 | 628.5714 | 471.4286 | 424.2857 | 381.8571 | 351.3086 | 323.2039 | 297.3476 | 273.5598 | 251.675 | 239.0912 | 227.1367 | 215.7798 | 204.9909 | 194.7413 | 185.0042 | 175.754 | 166.9663 | 158.618 | 150.6871 |  |  |  | 1378.125 | 1033.5938 | 878.5547 | 790.6992 | 735.3503 | 683.8758 | 636.0045 | 591.4841 | 550.0803 | 511.5746 | 491.1116 | 471.4672 | 452.6085 | 434.5042 | 417.124 | 400.439 | 384.4215 | 369.0446 | 354.2828 | 340.1115 |  |  |  | 2423.0769 | 2180.7692 | 1962.6923 | 1864.5577 | 1771.3298 | 1700.4766 | 1632.4576 | 1567.1592 | 1504.4729 | 1444.294 | 1415.4081 | 1387.0999 | 1359.3579 | 1332.1708 | 1305.5274 | 1279.4168 | 1253.8285 | 1228.7519 | 1204.1769 | 1180.0933
[16 empty] | 50% | 25% | 10% | 10% | 8% | 8% | 8% | 8% | 8% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% |  |  |  |  | 25% | 15% | 10% | 7% | 7% | 7% | 7% | 7% | 7% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4% | 4%

## OPEX (PB)
Technology maintenance costs
Live costs (for selected technology) are shown in the first three tables
Input data by technology in the tables below
[15 empty] | Low Cost Estimates | [22 empty] | Medium Cost Estimates | [22 empty] | High Cost Estimates
PV
[16 empty] | 4% | 2% | 2% | 2% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% |  |  |  |  | 2.5% | 1% | 1% | 1% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% | 0.2% |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Maintenance fixed costs | £ | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020
|  | PV | New build domestic (2kW) | [11 empty] | 45 | 43.2 | 42.336 | 41.4893 | 40.6595 | 40.4562 | 40.2539 | 40.0526 | 39.8524 | 39.6531 | 39.4549 | 39.2576 | 39.0613 | 38.866 | 38.6717 | 38.4783 | 38.2859 | 38.0945 | 37.904 | 37.7145 |  |  |  | 65 | 63.375 | 62.7413 | 62.1138 | 61.4927 | 61.3697 | 61.247 | 61.1245 | 61.0022 | 60.8802 | 60.7585 | 60.6369 | 60.5157 | 60.3946 | 60.2739 | 60.1533 | 60.033 | 59.9129 | 59.7931 | 59.6735 |  |  |  | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
|  | PV | Retrofit domestic (2kW) | [11 empty] | 45 | 43.2 | 42.336 | 41.4893 | 40.6595 | 40.4562 | 40.2539 | 40.0526 | 39.8524 | 39.6531 | 39.4549 | 39.2576 | 39.0613 | 38.866 | 38.6717 | 38.4783 | 38.2859 | 38.0945 | 37.904 | 37.7145 |  |  |  | 65 | 63.375 | 62.7413 | 62.1138 | 61.4927 | 61.3697 | 61.247 | 61.1245 | 61.0022 | 60.8802 | 60.7585 | 60.6369 | 60.5157 | 60.3946 | 60.2739 | 60.1533 | 60.033 | 59.9129 | 59.7931 | 59.6735 |  |  |  | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
|  | PV | New build 4–10kW
|  | PV | Retrofit 4–10kW
|  | PV | New build 10–50kW
|  | PV | Retrofit 10–50kW
|  | PV | New build 50–150kW
|  | PV | Retrofit 50–150kW
|  | PV | New build 150–250kW
|  | PV | Retrofit 150–250kW
|  | PV | New build 250–5000kW
|  | PV | Retrofit 250–5000kW
|  | PV | Stand alone system
|  | PV | Aggregators<4kW | [11 empty] | 40 | 38.4 | 37.632 | 36.8794 | 36.1418 | 35.9611 | 35.7813 | 35.6024 | 35.4243 | 35.2472 | 35.071 | 34.8956 | 34.7211 | 34.5475 | 34.3748 | 34.2029 | 34.0319 | 33.8618 | 33.6924 | 33.524 |  |  |  | 90 | 87.75 | 86.8725 | 86.0038 | 85.1437 | 84.9734 | 84.8035 | 84.6339 | 84.4646 | 84.2957 | 84.1271 | 83.9589 | 83.7909 | 83.6234 | 83.4561 | 83.2892 | 83.1226 | 82.9564 | 82.7905 | 82.6249 |  |  |  | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140
|  | PV | Aggregators>4kW
[16 empty] | 4% | 2% | 2% | 2% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% |  |  |  |  | 2.5% | 1% | 1% | 1% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% | 0.3% |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[16 empty] | 2% | 1.5% | 1.5% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% |  |  |  |  | 1.5% | 1% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% |  |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Maintenance cost per kW | £ / kW | Technology | Size | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020 | 2010 | 2012-01-01 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2011-2015 | 2015-2020
|  | PV | New build domestic (2kW)
|  | PV | Retrofit domestic (2kW)
|  | PV | New build 4–10kW | [11 empty] | 17 | 16.32 | 15.9936 | 15.6737 | 15.3603 | 15.2835 | 15.207 | 15.131 | 15.0553 | 14.9801 | 14.9052 | 14.8306 | 14.7565 | 14.6827 | 14.6093 | 14.5362 | 14.4636 | 14.3912 | 14.3193 | 14.2477 |  |  |  | 23 | 22.425 | 22.2007 | 21.9787 | 21.759 | 21.6937 | 21.6286 | 21.5637 | 21.499 | 21.4345 | 21.3702 | 21.3061 | 21.2422 | 21.1785 | 21.1149 | 21.0516 | 20.9884 | 20.9255 | 20.8627 | 20.8001 |  |  |  | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
|  | PV | Retrofit 4–10kW | [11 empty] | 17 | 16.32 | 15.9936 | 15.6737 | 15.3603 | 15.2835 | 15.207 | 15.131 | 15.0553 | 14.9801 | 14.9052 | 14.8306 | 14.7565 | 14.6827 | 14.6093 | 14.5362 | 14.4636 | 14.3912 | 14.3193 | 14.2477 |  |  |  | 23 | 22.425 | 22.2007 | 21.9787 | 21.759 | 21.6937 | 21.6286 | 21.5637 | 21.499 | 21.4345 | 21.3702 | 21.3061 | 21.2422 | 21.1785 | 21.1149 | 21.0516 | 20.9884 | 20.9255 | 20.8627 | 20.8001 |  |  |  | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
|  | PV | New build 10–50kW | [11 empty] | 17 | 16.32 | 15.9936 | 15.6737 | 15.3603 | 15.2835 | 15.207 | 15.131 | 15.0553 | 14.9801 | 14.9052 | 14.8306 | 14.7565 | 14.6827 | 14.6093 | 14.5362 | 14.4636 | 14.3912 | 14.3193 | 14.2477 |  |  |  | 22 | 21.45 | 21.2355 | 21.0231 | 20.8129 | 20.7505 | 20.6882 | 20.6262 | 20.5643 | 20.5026 | 20.4411 | 20.3798 | 20.3186 | 20.2577 | 20.1969 | 20.1363 | 20.0759 | 20.0157 | 19.9556 | 19.8957 |  |  |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
|  | PV | Retrofit 10–50kW | [11 empty] | 17 | 16.32 | 15.9936 | 15.6737 | 15.3603 | 15.2835 | 15.207 | 15.131 | 15.0553 | 14.9801 | 14.9052 | 14.8306 | 14.7565 | 14.6827 | 14.6093 | 14.5362 | 14.4636 | 14.3912 | 14.3193 | 14.2477 |  |  |  | 22 | 21.45 | 21.2355 | 21.0231 | 20.8129 | 20.7505 | 20.6882 | 20.6262 | 20.5643 | 20.5026 | 20.4411 | 20.3798 | 20.3186 | 20.2577 | 20.1969 | 20.1363 | 20.0759 | 20.0157 | 19.9556 | 19.8957 |  |  |  | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
|  | PV | New build 50–150kW | [11 empty] | 16 | 15.36 | 15.0528 | 14.7517 | 14.4567 | 14.3844 | 14.3125 | 14.2409 | 14.1697 | 14.0989 | 14.0284 | 13.9583 | 13.8885 | 13.819 | 13.7499 | 13.6812 | 13.6128 | 13.5447 | 13.477 | 13.4096 |  |  |  | 22 | 21.67 | 21.4533 | 21.2924 | 21.1327 | 20.9742 | 20.8169 | 20.6608 | 20.5058 | 20.352 | 20.1994 | 20.0479 | 19.8975 | 19.7483 | 19.6002 | 19.4532 | 19.3073 | 19.1625 | 19.0188 | 18.8761 |  |  |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
|  | PV | Retrofit 50–150kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 22 | 21.67 | 21.4533 | 21.2924 | 21.1327 | 20.9742 | 20.8169 | 20.6608 | 20.5058 | 20.352 | 20.1994 | 20.0479 | 19.8975 | 19.7483 | 19.6002 | 19.4532 | 19.3073 | 19.1625 | 19.0188 | 18.8761 |  |  |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
|  | PV | New build 150–250kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 20 | 19.7 | 19.503 | 19.3567 | 19.2116 | 19.0675 | 18.9245 | 18.7825 | 18.6417 | 18.5018 | 18.3631 | 18.2254 | 18.0887 | 17.953 | 17.8184 | 17.6847 | 17.5521 | 17.4204 | 17.2898 | 17.1601 |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | PV | Retrofit 150–250kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 20 | 19.7 | 19.503 | 19.3567 | 19.2116 | 19.0675 | 18.9245 | 18.7825 | 18.6417 | 18.5018 | 18.3631 | 18.2254 | 18.0887 | 17.953 | 17.8184 | 17.6847 | 17.5521 | 17.4204 | 17.2898 | 17.1601 |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | PV | New build 250–5000kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 20 | 19.7 | 19.503 | 19.3567 | 19.2116 | 19.0675 | 18.9245 | 18.7825 | 18.6417 | 18.5018 | 18.3631 | 18.2254 | 18.0887 | 17.953 | 17.8184 | 17.6847 | 17.5521 | 17.4204 | 17.2898 | 17.1601 |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | PV | Retrofit 250–5000kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 20 | 19.7 | 19.503 | 19.3567 | 19.2116 | 19.0675 | 18.9245 | 18.7825 | 18.6417 | 18.5018 | 18.3631 | 18.2254 | 18.0887 | 17.953 | 17.8184 | 17.6847 | 17.5521 | 17.4204 | 17.2898 | 17.1601 |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | PV | Stand alone system | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 20 | 19.7 | 19.503 | 19.3567 | 19.2116 | 19.0675 | 18.9245 | 18.7825 | 18.6417 | 18.5018 | 18.3631 | 18.2254 | 18.0887 | 17.953 | 17.8184 | 17.6847 | 17.5521 | 17.4204 | 17.2898 | 17.1601 |  |  |  | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
|  | PV | Aggregators<4kW
|  | PV | Aggregators>4kW | [11 empty] | 16 | 15.68 | 15.4448 | 15.2131 | 15.061 | 14.9104 | 14.7613 | 14.6137 | 14.4675 | 14.3229 | 14.1796 | 14.0378 | 13.8975 | 13.7585 | 13.6209 | 13.4847 | 13.3498 | 13.2163 | 13.0842 | 12.9533 |  |  |  | 25 | 24.625 | 24.3788 | 24.1959 | 24.0144 | 23.8343 | 23.6556 | 23.4782 | 23.3021 | 23.1273 | 22.9539 | 22.7817 | 22.6108 | 22.4413 | 22.2729 | 22.1059 | 21.9401 | 21.7756 | 21.6122 | 21.4501 |  |  |  | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35

## check charts
£/kW | Capex
|  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
<4kW | L | 2083.3333 | 1531.7759 | 1198.4057 | 1093.4372 | 1003.8734 | 951.4183 | 902.546 | 857.0062 | 814.5659 | 775.0087 | 753.3641 | 732.5386 | 712.4996 | 693.2158 | 674.6572 | 656.7952 | 639.602 | 623.0512 | 607.1172 | 591.7756
| M | 3166.5441 | 2499.8036 | 2184.1585 | 1993.9222 | 1875.7641 | 1792.3629 | 1722.8955 | 1656.7 | 1593.6147 | 1533.4862 | 1497.16 | 1461.8268 | 1427.4578 | 1394.0249 | 1361.5012 | 1329.8602 | 1299.0764 | 1269.1249 | 1239.9819 | 1211.6238
| H | 4750 | 4360.8171 | 4008.4071 | 3835.1801 | 3680.5399 | 3585.7932 | 3493.6538 | 3404.0471 | 3316.9005 | 3232.1438 | 3149.7084 | 3091.4846 | 3034.3537 | 2978.295 | 2923.2879 | 2869.3127 | 2816.3496 | 2764.3794 | 2713.3833 | 2663.3427
4-10kW | L | 1700 | 1190 | 892.5 | 758.625 | 644.8312 | 580.3481 | 522.3133 | 470.082 | 423.0738 | 380.7664 | 361.7281 | 343.6417 | 326.4596 | 310.1366 | 294.6298 | 285.7909 | 277.2172 | 268.9007 | 260.8336 | 253.0086
| M | 2464.2636 | 1848.1977 | 1570.968 | 1413.8712 | 1272.4841 | 1170.6854 | 1077.0306 | 990.8681 | 911.5987 | 838.6708 | 805.1239 | 772.919 | 742.0022 | 712.3221 | 683.8292 | 663.3144 | 643.4149 | 624.1125 | 605.3891 | 587.2274
| H | 3600 | 3240 | 2916 | 2770.2 | 2631.69 | 2526.4224 | 2425.3655 | 2328.3509 | 2235.2168 | 2145.8082 | 2102.892 | 2060.8342 | 2019.6175 | 1979.2251 | 1939.6406 | 1900.8478 | 1862.8309 | 1825.5742 | 1789.0628 | 1753.2815
10-50kW | L | 1699.5 | 1189.65 | 892.2375 | 758.4019 | 644.6416 | 580.1774 | 522.1597 | 469.9437 | 422.9493 | 380.6544 | 361.6217 | 343.5406 | 326.3636 | 310.0454 | 294.5431 | 285.7068 | 277.1356 | 268.8216 | 260.7569 | 252.9342
| M | 2260 | 1695 | 1440.75 | 1296.675 | 1167.0075 | 1073.6469 | 987.7551 | 908.7347 | 836.036 | 769.1531 | 738.387 | 708.8515 | 680.4974 | 653.2775 | 627.1464 | 608.332 | 590.0821 | 572.3796 | 555.2082 | 538.552
| H | 3200 | 2880 | 2592 | 2462.4 | 2339.28 | 2245.7088 | 2155.8804 | 2069.6452 | 1986.8594 | 1907.385 | 1869.2373 | 1831.8526 | 1795.2155 | 1759.3112 | 1724.125 | 1689.6425 | 1655.8497 | 1622.7327 | 1590.278 | 1558.4725
50-150kW | L | 1400 | 980 | 735 | 624.75 | 531.0375 | 477.9337 | 430.1404 | 387.1263 | 348.4137 | 313.5723 | 297.8937 | 282.999 | 268.8491 | 255.4066 | 242.6363 | 235.3572 | 228.2965 | 221.4476 | 214.8042 | 208.36
| M | 1648.2843 | 1236.2132 | 1050.7812 | 945.7031 | 851.1328 | 783.0422 | 720.3988 | 662.7669 | 609.7455 | 560.9659 | 538.5273 | 516.9862 | 496.3067 | 476.4545 | 457.3963 | 443.6744 | 430.3642 | 417.4532 | 404.9296 | 392.7817
| H | 2200 | 1980 | 1782 | 1692.9 | 1608.255 | 1543.9248 | 1482.1678 | 1422.8811 | 1365.9659 | 1311.3272 | 1285.1007 | 1259.3987 | 1234.2107 | 1209.5265 | 1185.3359 | 1161.6292 | 1138.3966 | 1115.6287 | 1093.3161 | 1071.4498
150-250 | L | 1100 | 770 | 577.5 | 490.875 | 417.2437 | 375.5194 | 337.9674 | 304.1707 | 273.7536 | 246.3783 | 234.0593 | 222.3564 | 211.2386 | 200.6766 | 190.6428 | 184.9235 | 179.3758 | 173.9945 | 168.7747 | 163.7115
| M | 1300 | 975 | 828.75 | 745.875 | 671.2875 | 617.5845 | 568.1777 | 522.7235 | 480.9056 | 442.4332 | 424.7359 | 407.7464 | 391.4366 | 375.7791 | 360.7479 | 349.9255 | 339.4277 | 329.2449 | 319.3676 | 309.7865
| H | 2100 | 1890 | 1701 | 1615.95 | 1535.1525 | 1473.7464 | 1414.7965 | 1358.2047 | 1303.8765 | 1251.7214 | 1226.687 | 1202.1533 | 1178.1102 | 1154.548 | 1131.457 | 1108.8279 | 1086.6513 | 1064.9183 | 1043.6199 | 1022.7475
250-5000 | L | 1000 | 700 | 525 | 446.25 | 379.3125 | 341.3813 | 307.2431 | 276.5188 | 248.8669 | 223.9802 | 212.7812 | 202.1422 | 192.0351 | 182.4333 | 173.3116 | 168.1123 | 163.0689 | 158.1769 | 153.4315 | 148.8286
| M | 1200 | 900 | 765 | 688.5 | 619.65 | 570.078 | 524.4718 | 482.514 | 443.9129 | 408.3999 | 392.0639 | 376.3813 | 361.3261 | 346.873 | 332.9981 | 323.0082 | 313.3179 | 303.9184 | 294.8008 | 285.9568
| H | 2000 | 1800 | 1620 | 1539 | 1462.05 | 1403.568 | 1347.4253 | 1293.5283 | 1241.7871 | 1192.1157 | 1168.2733 | 1144.9079 | 1122.0097 | 1099.5695 | 1077.5781 | 1056.0266 | 1034.906 | 1014.2079 | 993.9238 | 974.0453
stand alone | L | 1000 | 700 | 525 | 446.25 | 379.3125 | 341.3813 | 307.2431 | 276.5188 | 248.8669 | 223.9802 | 212.7812 | 202.1422 | 192.0351 | 182.4333 | 173.3116 | 168.1123 | 163.0689 | 158.1769 | 153.4315 | 148.8286
| M | 1200 | 900 | 765 | 688.5 | 619.65 | 570.078 | 524.4718 | 482.514 | 443.9129 | 408.3999 | 392.0639 | 376.3813 | 361.3261 | 346.873 | 332.9981 | 323.0082 | 313.3179 | 303.9184 | 294.8008 | 285.9568
| H | 2000 | 1800 | 1620 | 1539 | 1462.05 | 1403.568 | 1347.4253 | 1293.5283 | 1241.7871 | 1192.1157 | 1168.2733 | 1144.9079 | 1122.0097 | 1099.5695 | 1077.5781 | 1056.0266 | 1034.906 | 1014.2079 | 993.9238 | 974.0453
<4kW agg | L | 1430 | 847 | 679.8 | 625.185 | 580.442 | 552.4804 | 526.6633 | 502.8198 | 480.7922 | 460.4359 | 448.224 | 436.5687 | 425.4423 | 414.8188 | 404.6732 | 394.9819 | 385.7224 | 376.8735 | 368.4148 | 360.3272
| M | 1650 | 1322.5 | 1164.5 | 1067.2281 | 1007.0975 | 950.7388 | 904.7581 | 861.7902 | 821.6265 | 784.0726 | 762.5899 | 741.8677 | 721.8766 | 702.5882 | 683.9756 | 666.0125 | 648.674 | 631.936 | 615.7755 | 600.1702
| H | 2450 | 2257.5 | 2082.9375 | 1995.4266 | 1918.3633 | 1857.6055 | 1799.0384 | 1742.5779 | 1688.1433 | 1635.657 | 1605.9067 | 1576.7069 | 1548.0473 | 1519.9178 | 1492.3084 | 1465.2094 | 1438.6111 | 1412.5042 | 1386.8795 | 1361.7279
>4kW agg | L | 1257.1429 | 628.5714 | 471.4286 | 424.2857 | 381.8571 | 351.3086 | 323.2039 | 297.3476 | 273.5598 | 251.675 | 239.0912 | 227.1367 | 215.7798 | 204.9909 | 194.7413 | 185.0042 | 175.754 | 166.9663 | 158.618 | 150.6871
| M | 1378.125 | 1033.5938 | 878.5547 | 790.6992 | 735.3503 | 683.8758 | 636.0045 | 591.4841 | 550.0803 | 511.5746 | 491.1116 | 471.4672 | 452.6085 | 434.5042 | 417.124 | 400.439 | 384.4215 | 369.0446 | 354.2828 | 340.1115
| H | 2423.0769 | 2180.7692 | 1962.6923 | 1864.5577 | 1771.3298 | 1700.4766 | 1632.4576 | 1567.1592 | 1504.4729 | 1444.294 | 1415.4081 | 1387.0999 | 1359.3579 | 1332.1708 | 1305.5274 | 1279.4168 | 1253.8285 | 1228.7519 | 1204.1769 | 1180.0933
Charts used as sense check for band and future cost trends
Note on C2: DuftonD: actually Jan 2012