## Contents
English Housing Survey Home Report 2010:
Chapter 6, Figures and Tables
Chapter 6 list of Tables
Table 6.1 | Trend in mean SAP rating, and comparison between SAP05 and SAP09 for 2010
Table 6.2 | Mean SAP, mean CO2 and total CO2 by house type, 2010
Table 6.3 | Mean SAP, mean CO2 and total CO2 by tenure, 2010
Table 6.4 | Dwellings with solid wall insulation by tenure, 2010
Table 6.5 | Distribution of renewable energy measures by tenure, 2010
Chapter 6 list of Figures
Figure 6.1 | Energy efficiency, average SAP rating by tenure, 1996 - 2010
Figure 6.2 | Proportion of dwellings with insulated cavity walls, 2001-2010
Figure 6.3 | Percentage of dwellings with given loft insulation levels, 2003-2010
Figure 6.4 | Dwellings with given levels of double glazing, 1996-2010
Figure 6.5 | Distribution of non-boiler heating systems, 1996-2010
Figure 6.6 | Percentage of dwellings with given boiler types, 1996-2010
Figure 6.7 | Percentage of dwellings using given heating fuels, 1996-2010
Chapter 6 list of Annex Tables
Annex Table 6.1 | Trend in mean SAP rating, and comparison between SAP05 and SAP09 for 2010
Annex Table 6.2 | Energy efficiency, average SAP rating by tenure, 1996 - 2010
Annex Table 6.3 | Mean SAP, mean CO2 and total CO2 by tenure, 2010
Annex Table 6.4 | Houses built 1965-1980: mean SAP, mean CO2 and total CO2 by house type, 2010
Annex Table 6.5 | Mean SAP, mean CO2 and total CO2 by housing stock groups, 2010
Annex Table 6.6 | Number of dwellings with cavity walls, 1996 - 2010
Annex Table 6.7 | Proportion of dwellings with insulated cavity walls, 2001-2010
Annex Table 6.8 | Proportion of dwellings with cavity wall insulation by tenure, 2010
Annex Table 6.9 | Percentage of dwellings with given loft insulation levels by tenure, 2010
Annex Table 6.10 | Percentage of dwellings with different amounts of loft insulation, 2003-2010
Annex Table 6.11 | Dwellings with given levels of double glazing, 1996-2010
Annex Table 6.12 | Distribution of non-boiler heating systems, 1996-2010
Annex Table 6.13 | Percentage of dwellings with given boiler types, 1996-2010
Annex Table 6.14 | Percentage of dwellings using given heating fuels by tenure, 2010
Annex Table 6.15 | Percentage of dwellings using given heating fuels by dwelling age, 2010
Annex Table 6.16 | Heating fuel use in purpose built flats by construction date
Annex Table 6.17 | Percentage of dwellings using given heating fuels by tenure, 2010
Annex Table 6.18 | Percentage of dwellings using given heating fuels, 1996-2010

## Table 6.1
Table 6.1: Trend in mean SAP rating, and comparison between SAP05 and SAP09 for 2010
all dwellings
| private sector | social sector | all tenures
1996 | 43.4999 | 48.632 | 44.6128
2001 | 45.3436 | 52.0957 | 46.6916
2003 | 46.259 | 53.567 | 47.646
2004 | 46.9914 | 54.8979 | 48.4547
2005 | 47.3557 | 56.1412 | 48.9623
2006 | 48 | 56.6699 | 49.5519
2007 | 49.1963 | 57.0055 | 50.5657
2008 | 50.3374 | 57.8677 | 51.67
2009 | 51.9395 | 59.6116 | 53.2394
2010 | 53.7122 | 61.3579 | 55.0166
2010 (SAP05) | 52.8931 | 62.4157 | 54.5178
Base: all dwellings
Sources:
1996-2007: English House Condition Survey;
2008 onwards: English Housing Survey, dwelling sample

## Table 6.2
Table 6.2: Mean SAP, mean CO2 and total CO2 by tenure, 2010
| % of stock | mean SAP | % in SAP bands F and G | mean CO2 (tonnes per dwelling) | % of total CO2 | sample size
tenure
owner occupied | 66.382 | 53.7016 | 10.391 | 6.3008 | 73.981 | 8791
private rented | 16.556 | 53.7549 | 13.47 | 5.1639 | 15.121 | 3096
local authority | 8.047 | 59.9282 | 4.252 | 3.6947 | 5.259 | 2276
housing association | 9.013 | 62.6343 | 2.414 | 3.5363 | 5.637 | 2507
all tenures | 100 | 55.0166 | 9.688 | 5.6537 | 100 | 16670
Base: all dwellings
Source: English Housing Survey, dwelling sample

## Table 6.3
Table 6.3: Houses built 1965-1980: mean SAP, mean CO2 and total CO2 by house type, 2010
| % of all houses | mean SAP | % in SAP bands F and G | mean CO2 (tonnes per dwelling) | % of total CO2 for houses | sample size
houses built between 1965 and 1980
end terrace | 14.405 | 56.2762 | * | 4.7482 | 12.527 | 420
mid-terrace | 18.43 | 61.3565 | * | 3.9718 | 13.407 | 533
semi detached | 31.98 | 55.8871 | 4.083 | 4.884 | 28.606 | 772
detached | 35.183 | 51.6452 | 10.472 | 7.0545 | 45.458 | 815
of which,
detached house | 23.147 | 53.8269 | 6.811 | 7.4727 | 31.68 | 534
detached bungalow | 12.036 | 47.4494 | 17.512 | 6.2502 | 13.777 | 281
all houses (1965-1980) | 100 | 55.4588 | 6.358 | 5.46 | 100 | 2540
Base: houses built between 1965 and 1980
Notes:
1) * indicates sample size too small for reliable estimate
2) figures in italics are based on small samples and should be treated with caution
Source: English Housing Survey, paired dwelling sample

## Table 6.4
Table 6.4: Dwellings with solid wall insulation by tenure, 2010
all dwellings with solid walls
| private sector | social sector | all tenures | sample size
dwellings (000s)
no solid wall insulation | 5909.329 | 697.117 | 6606.446 | 4545
solid wall with external insulation | 82.302 | 95.473 | 177.775 | 186
predominant internal insulation | 129.717 | 30.004 | 159.721 | 123
total | 6121.348 | 822.594 | 6943.942 | 4854
percentages within tenure
no solid wall insulation | 96.5364 | 84.7462 | 95.1397
solid wall with external insulation | 1.3445 | 11.6063 | 2.5601
predominant internal insulation | 2.1191 | 3.6475 | 2.3001
total | 100 | 100 | 100
percentages within group
no solid wall insulation | 89.447 | 10.552 | 100
solid wall with external insulation | 46.295 | 53.704 | 100
predominant internal insulation | 81.214 | 18.785 | 100
total | 88.153 | 11.846 | 100
Base: all solid walled dwellings
Source: English Housing Survey, dwelling sample

## Table 6.5
Table 6.5: Distribution of renewable energy measures by tenure, 2010
dwellings with a renewable energy measure | number of dwellings (000s) | percentages1
solar hot water | 167.906 | 32.581
photovoltaic | 216.71 | 42.051
wind turbine | 157.526 | 30.567
any renewable energy measure | 515.342 | 100
sample size | 378
1percentages do not sum to 100 because some dwellings have more than one of these measures
Base: dwellings with a renewable energy measure
Source: English Housing Survey, dwelling sample

## Figure 6.1
Figure 6.1: Energy efficiency, average SAP rating by tenure, 1996 - 2010
|  | 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| owner occupied | 43.9363 | 45.5765 | 46.383 | 47.0352 | 47.3977 | 48.073 | 49.2556 | 50.3789 | 51.9597 | 53.7016
| private rented | 40.4565 | 43.7564 | 45.4043 | 46.7046 | 47.0945 | 47.5681 | 48.8595 | 50.1484 | 51.8556 | 53.7549
| local authority | 47.552 | 50.1665 | 52.007 | 53.6972 | 54.7371 | 55.3077 | 55.7249 | 56.7753 | 58.2814 | 59.9282
| housing association | 52.6156 | 55.9012 | 55.931 | 56.5817 | 57.8151 | 58.2059 | 58.3419 | 58.9782 | 60.8339 | 62.6343
| all dwellings | 44.6128 | 46.6916 | 47.646 | 48.4547 | 48.9623 | 49.5519 | 50.5657 | 51.67 | 53.2394 | 55.0166
Base: all dwellings
Source: English House Condition Survey 1996-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.2
Figure 6.2: Proportion of dwellings with insulated cavity walls, 2001-2010
|  | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| cavity insulated | 35.443 | 36.306 | 38.727 | 39.651 | 43.882 | 46.805 | 47.884 | 49.849 | 53.537
| post-1990 - no CWI evidence | 3.555 | 5.114 | 4.96 | 5.443 | 5.783 | 6.454 | 7.847 | 7.764 | 7.145
| cavity uninsulated | 61 | 58.579 | 56.312 | 54.905 | 50.333 | 46.74 | 44.267 | 42.386 | 39.316
Base: all dwellings with cavity walls
Source: English House Condition Survey 2001-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.3
Figure 6.3: Percentage of dwellings with different amounts of loft insulation, 2003-2010
|  | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| none | 3.998 | 4.255 | 4.416 | 4.172 | 3.696 | 3.392 | 3.372 | 3.245
| less than 100mm | 25.698 | 26.157 | 24.469 | 22.542 | 21.063 | 20.304 | 19.906 | 19.099
| 100 up to 150mm | 36.031 | 34.825 | 33.767 | 33.521 | 32.451 | 31.166 | 29.128 | 25.899
| 150mm or more | 23.98 | 26.625 | 28.929 | 31.812 | 34.865 | 36.664 | 39.341 | 43.043
| flat roof or unknown | 10.291 | 8.136 | 8.418 | 7.95 | 7.923 | 8.471 | 8.25 | 8.712
Base: all dwellings adjacent to a loft space or flat roof
Source: English House Condition Survey 2003-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.4
Figure 6.4: Dwellings with given levels of double glazing, 1996-2010
|  | 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| no DG | 40.568 | 24.592 | 19.054 | 16.186 | 14.481 | 13.361 | 11.411 | 9.672 | 8.797 | 8.189
| up to half DG | 14.214 | 9.949 | 9.218 | 8.497 | 7.718 | 7.432 | 6.976 | 6.275 | 5.662 | 5.22
| more than half DG | 14.879 | 14.593 | 16.268 | 15.88 | 15.886 | 15.882 | 14.709 | 13.246 | 12.646 | 12.391
| full DG | 30.337 | 50.864 | 55.458 | 59.435 | 61.914 | 63.324 | 66.901 | 70.805 | 72.893 | 74.198
Base: all dwellings
Source: English House Condition Survey 1996-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.5
Figure 6.5: Distribution of non-boiler heating systems, 1996-2010
|  | 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| room heater | 12.365 | 6.869 | 6.02 | 4.987 | 4.559 | 4.109 | 3.499 | 3.311 | 3.043 | 3.131
| storage radiators | 8.077 | 7.671 | 7.387 | 7.477 | 7.385 | 6.967 | 6.977 | 7.377 | 7.491 | 7.16
| warm air system | 2.63 | 1.833 | 1.675 | 1.562 | 1.455 | 1.314 | 1.086 | 0.972 | 0.875 | 0.733
| communal | 1.364 | 1.89 | 1.766 | 1.633 | 1.551 | 1.726 | 1.49 | 1.388 | 1.459 | 1.572
| other systems | 0.727 | 0.332 | 0.209 | 0.13 | 0.056 | 0.071 | 0.137 | 0.177 | 0.129 | 0.059
Base: all dwellings
Source: English House Condition Survey 1996-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.6
Figure 6.6: Percentage of dwellings with given boiler types, 1996-2010
|  | 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| standard boiler | 51.375 | 48.9 | 44.877 | 44.58 | 43.27 | 40.992 | 39.572 | 36.3 | 32.698 | 29.248
| back boiler | 13.637 | 13.049 | 12.01 | 11.144 | 10.014 | 9.689 | 8.782 | 7.6 | 6.592 | 5.727
| combination boiler | 13.817 | 20.958 | 25.562 | 27.456 | 28.711 | 28.706 | 28.312 | 27.3 | 24.615 | 21.579
| condensing boiler | 0 | 0.734 | 0.715 | 0.936 | 1.378 | 2.091 | 3.148 | 4.3 | 5.959 | 7.932
| condensing-combination boiler | 0 | 1.505 | 1.733 | 1.93 | 3.339 | 5.897 | 8.294 | 12.5 | 18.184 | 23.735
| no boiler | 21.17 | 14.852 | 15.099 | 13.952 | 13.286 | 12.621 | 11.889 | 12 | 11.948 | 11.776
| all condensing | 0 | 2.239 | 2.448 | 2.866 | 4.717 | 7.988 | 11.442 | 16.8 | 24.143 | 31.667
Base: all dwellings
Source: English House Condition Survey 1996-2007, English Housing Survey 2008 onwards, dwelling sample

## Figure 6.7
Figure 6.7: Percentage of dwellings using given heating fuels, 1996-2010
|  | 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| electrical system | 11.593 | 10.053 | 9.096 | 8.911 | 8.666 | 8.24 | 8.376 | 9.18 | 9.652 | 9.7
| solid fuel fired system | 3.38 | 2.153 | 1.966 | 1.721 | 1.515 | 1.477 | 1.451 | 1.124 | 0.902 | 0.905
| oil fired system | 2.189 | 3.106 | 3.731 | 3.971 | 3.932 | 4.161 | 4.258 | 3.963 | 4.048 | 4.125
Base: all dwellings except those with communal heating systems
Source: English House Condition Survey 1996-2007, English Housing Survey 2008 onwards, dwelling sample

## AT 6.1
Annex Table 6.1: Trend in mean SAP rating, and comparison between SAP05 and SAP09 for 2010
all dwellings
mean SAP rating
| private | social | all tenures | all dwellings
1996 | 43.4999 | 48.632 | 44.6128 | 20314.793
2001 | 45.3436 | 52.0957 | 46.6916 | 21200.895
2003 | 46.259 | 53.567 | 47.646 | 21483.41
2004 | 46.9914 | 54.8979 | 48.4547 | 21613.049
2005 | 47.3557 | 56.1412 | 48.9623 | 21781.055
2006 | 48 | 56.6699 | 49.5519 | 21988.95
2007 | 49.1963 | 57.0055 | 50.5657 | 22188.969
2008 | 50.3374 | 57.8677 | 51.67 | 22239.398
2009 | 51.9395 | 59.6116 | 53.2394 | 22334.698
2010 | 53.7122 | 61.3579 | 55.0166 | 22385.775
2010 (SAP05) | 52.8931 | 62.4157 | 54.5178 | 22385.775
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.2
Annex Table 6.2: Energy efficiency, average SAP rating by tenure, 1996 - 2010
all dwellings
mean SAP rating by tenure
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
owner occupied | 43.9363 | 45.5765 | 46.383 | 47.0352 | 47.3977 | 48.073 | 49.2556 | 50.3789 | 51.9597 | 53.7016
private rented | 40.4565 | 43.7564 | 45.4043 | 46.7046 | 47.0945 | 47.5681 | 48.8595 | 50.1484 | 51.8556 | 53.7549
local authority | 47.552 | 50.1665 | 52.007 | 53.6972 | 54.7371 | 55.3077 | 55.7249 | 56.7753 | 58.2814 | 59.9282
housing association | 52.6156 | 55.9012 | 55.931 | 56.5817 | 57.8151 | 58.2059 | 58.3419 | 58.9782 | 60.8339 | 62.6343
all dwellings | 44.6128 | 46.6916 | 47.646 | 48.4547 | 48.9623 | 49.5519 | 50.5657 | 51.67 | 53.2394 | 55.0166
number of dwellings (000s)
owner occupied | 13914.132 | 14796.995 | 15200.968 | 15279.011 | 15331.042 | 15441.96 | 15559.994 | 15007.451 | 14962.87 | 14860.295
private rented | 1995.282 | 2171.34 | 2204.98 | 2333.986 | 2467.017 | 2611.013 | 2738.016 | 3296.496 | 3587.706 | 3706.223
local authority | 3465.783 | 2808.699 | 2456.441 | 2335.043 | 2166.001 | 2085.982 | 1986.976 | 1984.001 | 1812.138 | 1801.464
housing association | 939.596 | 1423.861 | 1621.021 | 1665.009 | 1816.995 | 1849.995 | 1903.983 | 1951.45 | 1971.984 | 2017.793
all dwellings | 20314.793 | 21200.895 | 21483.41 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.3
Annex Table 6.3: Mean SAP, mean CO2 and total CO2 by tenure, 2010
all dwellings
| SAP |  |  | CO₂
| mean SAP | % in SAP bands F and G | number of dwellings in SAP bands F and G (000s) | mean CO2 (tonnes per dwelling) | % of total CO2 | number of dwellings (share of CO₂)(000s) | sample size
tenure
owner occupied | 53.7016 | 10.391 | 1544.228 | 6.3008 | 73.981 | 14860.295 | 8791
private rented | 53.7549 | 13.47 | 499.231 | 5.1639 | 15.121 | 3706.223 | 3096
local authority | 59.9282 | 4.252 | 76.609 | 3.6947 | 5.259 | 1801.464 | 2276
housing association | 62.6343 | 2.414 | 48.727 | 3.5363 | 5.637 | 2017.793 | 2507
all tenures | 55.0166 | 9.688 | 2168.795 | 5.6537 | 100 | 22385.775 | 16670
sample size |  | 1454 |  |  | 16670
Source: English Housing Survey, dwelling sample

## AT 6.4
Annex Table 6.4: Houses built 1965-1980: mean SAP, mean CO2 and total CO2 by house type, 2010
all houses built between 1965 and 1980
| SAP |  |  |  | CO₂
| % of all houses | mean SAP | % in SAP bands F and G | number of dwellings in SAP bands F and G (000s) | mean CO2 (tonnes per dwelling) | % of total CO2 for houses | number of dwellings (share of CO₂)(000s) | sample size
houses built between 1965 and 1980
end terrace | 14.405 | 56.2762 | * | * | 4.7482 | 12.527 | 500.226 | 420
mid-terrace | 18.43 | 61.3565 | * | * | 3.9718 | 13.407 | 639.98 | 533
semi detached | 31.98 | 55.8871 | 4.083 | 45.346 | 4.884 | 28.606 | 1110.485 | 772
detached, of which | 35.183 | 51.6452 | 10.472 | 127.944 | 7.0545 | 45.458 | 1221.724 | 815
detached house
detached bungalow | 23.147 | 53.8269 | 6.811 | 54.752 | 7.4727 | 31.68 | 803.784 | 534
| 12.036 | 47.4494 | 17.512 | 73.192 | 6.2502 | 13.777 | 417.94 | 281
all houses (1965-1980)
sample size | 100 | 55.4588 | 6.358 | 220.79 | 5.46 | 100 | 3472.415 | 2540
Notes:
1) * indicates sample size too small for reliable estimate
2) figures in italics are based on small samples and should be treated with caution
Source: English Housing Survey 2010, paired dwelling sample

## AT 6.5
Annex Table 6.5: Mean SAP, mean CO2 and total CO2 by housing stock groups, 2010
all dwellings
| mean SAP | % in SAP bands F and G | mean CO2 (tonnes per dwelling) | % of total CO2 | all dwellings | sample size
dwelling age
pre 1919 | 47.2934 | 21.507 | 7.6349 | 29.346 | 4864.567 | 3249
1919-44 | 51.2003 | 11.71 | 6.0983 | 18.073 | 3750.77 | 2684
1945-64 | 55.1117 | 6.628 | 5.3255 | 18.502 | 4397.132 | 3609
1965-80 | 57.0669 | 6.37 | 4.9352 | 17.944 | 4601.745 | 3593
1981-90 | 60.0141 | 3.218 | 4.6667 | 6.931 | 1879.586 | 1429
post 1990 | 66.3024 | * | 4.0281 | 9.204 | 2891.975 | 2106
type of area
city and other urban centres | 55.5497 | 10.144 | 4.9623 | 18.524 | 4724.494 | 3508
suburban residential areas | 56.2046 | 6.914 | 5.1823 | 56.137 | 13709.932 | 10254
rural areas | 50.2575 | 18.767 | 8.116 | 25.339 | 3951.349 | 2908
dwelling type
end terrace | 52.3506 | 12.79 | 5.6828 | 10.108 | 2251.1 | 1729
mid terrace | 57.3976 | 5.482 | 4.7156 | 15.294 | 4104.796 | 3087
semi detached | 53.2006 | 9.386 | 5.9452 | 27.526 | 5859.702 | 4193
detached | 53.3945 | 12.356 | 8.6307 | 25.889 | 3796.46 | 2488
bungalow | 50.358 | 13.955 | 5.3986 | 8.515 | 1996.223 | 1606
converted flats | 47.0876 | 21.225 | 5.4005 | 4.047 | 948.353 | 593
purpose-built flats | 63.7207 | * | 3.182 | 8.622 | 3429.141 | 2974
all dwellings | 55.0166 | 9.688 | 5.6537 | 100 | 22385.775 | 16670
sample size |  | 1454
Notes:
1) * indicates sample size too small for reliable estimate
2) figures in italics are based on small samples and should be treated with caution
Source: English Housing Survey, dwelling sample
Total
[7 empty] | 1965-80 | 1981-90 | post 1990
[7 empty] | 7655 | 7135 | 12543 | 27333
[7 empty] | 28.01% | 26.1% | 45.89% | 100%
[7 empty] | 0.1663% | 0.3796% | 0.4337% | 0.1221%
[7 empty] | 0.0342% | 0.03187% | 0.05603% | 0.1221%
[7 empty] | 596939 | 365376 | 1296133 | 2610220
[7 empty] | 22.87% | 14% | 49.66% | 100%
[7 empty] | 12.97% | 19.44% | 44.82% | 11.66%
[7 empty] | 2.667% | 1.632% | 5.79% | 11.66%
[7 empty] | 2382777 | 1048471 | 1372769 | 10488610
[7 empty] | 22.72% | 9.996% | 13.09% | 100%
[7 empty] | 51.78% | 55.78% | 47.47% | 46.85%
[7 empty] | 10.64% | 4.684% | 6.132% | 46.85%
[7 empty] | 1321233 | 398107 | 172337 | 7090817
[7 empty] | 18.63% | 5.614% | 2.43% | 100%
[7 empty] | 28.71% | 21.18% | 5.959% | 31.68%
[7 empty] | 5.902% | 1.778% | 0.7699% | 31.68%
[7 empty] | 233057 | 40874 | 31180 | 1673638
[7 empty] | 13.93% | 2.442% | 1.863% | 100%
[7 empty] | 5.065% | 2.175% | 1.078% | 7.476%
[7 empty] | 1.041% | 0.1826% | 0.1393% | 7.476%
[7 empty] | 60084 | 19623 | 7013 | 495157
[7 empty] | 12.13% | 3.963% | 1.416% | 100%
[7 empty] | 1.306% | 1.044% | 0.2425% | 2.212%
[7 empty] | 0.2684% | 0.08766% | 0.03133% | 2.212%
[7 empty] | 4601745 | 1879586 | 2891975 | 22385775
[7 empty] | 20.56% | 8.396% | 12.92% | 100%
[7 empty] | 100% | 100% | 100% | 100%
[7 empty] | 20.56% | 8.396% | 12.92% | 100%
Total
[7 empty] | detached | bungalow | converted flat | purpose built flat, low rise | purpose built flat, high rise
[7 empty] | 0 | 0 | 0 | 22323 | 5010 | 27333
[7 empty] | 0% | 0% | 0% | 81.67% | 18.33% | 100%
[7 empty] | 0% | 0% | 0% | 0.7346% | 1.284% | 0.1221%
[7 empty] | 0% | 0% | 0% | 0.09972% | 0.02238% | 0.1221%
[7 empty] | 282630 | 44636 | 12195 | 1228505 | 142459 | 2610220
[7 empty] | 10.83% | 1.71% | 0.4672% | 47.07% | 5.458% | 100%
[7 empty] | 7.445% | 2.236% | 1.286% | 40.43% | 36.5% | 11.66%
[7 empty] | 1.263% | 0.1994% | 0.05448% | 5.488% | 0.6364% | 11.66%
[7 empty] | 1762810 | 811176 | 340101 | 1323927 | 145046 | 10488610
[7 empty] | 16.81% | 7.734% | 3.243% | 12.62% | 1.383% | 100%
[7 empty] | 46.43% | 40.64% | 35.86% | 43.57% | 37.17% | 46.85%
[7 empty] | 7.875% | 3.624% | 1.519% | 5.914% | 0.6479% | 46.85%
[7 empty] | 1281903 | 861836 | 394767 | 341137 | 63896 | 7090817
[7 empty] | 18.08% | 12.15% | 5.567% | 4.811% | 0.9011% | 100%
[7 empty] | 33.77% | 43.17% | 41.63% | 11.23% | 16.37% | 31.68%
[7 empty] | 5.726% | 3.85% | 1.763% | 1.524% | 0.2854% | 31.68%
[7 empty] | 409094 | 215720 | 114184 | 86904 | 26789 | 1673638
[7 empty] | 24.44% | 12.89% | 6.823% | 5.193% | 1.601% | 100%
[7 empty] | 10.78% | 10.81% | 12.04% | 2.86% | 6.864% | 7.476%
[7 empty] | 1.827% | 0.9636% | 0.5101% | 0.3882% | 0.1197% | 7.476%
[7 empty] | 60023 | 62855 | 87106 | 36079 | 7066 | 495157
[7 empty] | 12.12% | 12.69% | 17.59% | 7.286% | 1.427% | 100%
[7 empty] | 1.581% | 3.149% | 9.185% | 1.187% | 1.811% | 2.212%
[7 empty] | 0.2681% | 0.2808% | 0.3891% | 0.1612% | 0.03156% | 2.212%
[7 empty] | 3796460 | 1996223 | 948353 | 3038875 | 390266 | 22385775
[7 empty] | 16.96% | 8.917% | 4.236% | 13.58% | 1.743% | 100%
[7 empty] | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | 16.96% | 8.917% | 4.236% | 13.58% | 1.743% | 100%
Total
[7 empty] | detached | purpose built | converted | non residential
[7 empty] | 0 | 27333 | 0 | 0 | 27333
[7 empty] | 0% | 100% | 0% | 0% | 100%
[7 empty] | 0% | 0.7971% | 0% | 0% | 0.1221%
[7 empty] | 0% | 0.1221% | 0% | 0% | 0.1221%
[7 empty] | 299822 | 1370964 | 11114 | 1081 | 2610220
[7 empty] | 11.49% | 52.52% | 0.4258% | 0.04141% | 100%
[7 empty] | 6.073% | 39.98% | 1.209% | 3.762% | 11.66%
[7 empty] | 1.339% | 6.124% | 0.04965% | 0.004829% | 11.66%
[7 empty] | 2143277 | 1468973 | 330208 | 9893 | 10488610
[7 empty] | 20.43% | 14.01% | 3.148% | 0.09432% | 100%
[7 empty] | 43.41% | 42.84% | 35.91% | 34.43% | 46.85%
[7 empty] | 9.574% | 6.562% | 1.475% | 0.04419% | 46.85%
[7 empty] | 1810337 | 405033 | 385996 | 8771 | 7090817
[7 empty] | 25.53% | 5.712% | 5.444% | 0.1237% | 100%
[7 empty] | 36.67% | 11.81% | 41.97% | 30.52% | 31.68%
[7 empty] | 8.087% | 1.809% | 1.724% | 0.03918% | 31.68%
[7 empty] | 568881 | 113693 | 109342 | 4842 | 1673638
[7 empty] | 33.99% | 6.793% | 6.533% | 0.2893% | 100%
[7 empty] | 11.52% | 3.315% | 11.89% | 16.85% | 7.476%
[7 empty] | 2.541% | 0.5079% | 0.4884% | 0.02163% | 7.476%
[7 empty] | 114429 | 43145 | 82959 | 4147 | 495157
[7 empty] | 23.11% | 8.713% | 16.75% | 0.8375% | 100%
[7 empty] | 2.318% | 1.258% | 9.021% | 14.43% | 2.212%
[7 empty] | 0.5112% | 0.1927% | 0.3706% | 0.01853% | 2.212%
[7 empty] | 4936746 | 3429141 | 919619 | 28734 | 22385775
[7 empty] | 22.05% | 15.32% | 4.108% | 0.1284% | 100%
[7 empty] | 100% | 100% | 100% | 100% | 100%
[7 empty] | 22.05% | 15.32% | 4.108% | 0.1284% | 100%
Total
27333
100%
0.1221%
0.1221%
2610220
100%
11.66%
11.66%
10488610
100%
46.85%
46.85%
7090817
100%
31.68%
31.68%
1673638
100%
7.476%
7.476%
495157
100%
2.212%
2.212%
22385775
100%
100%
100%

## AT 6.6
Annex Table 6.6: Number of dwellings with cavity walls, 1996 - 2010
all dwellings
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
cavity walls | 13220.144 | 14744.008 | 14690.902 | 15042.119 | 15067.208 | 15140.567 | 15527.586 | 15490.831 | 15440.622 | 15522.335
non-cavity walls | 7114.596 | 6462.568 | 6793.099 | 6570.93 | 6713.847 | 6848.383 | 6661.383 | 6748.567 | 6894.076 | 6863.44
all dwellings | 20334.74 | 21206.576 | 21484.001 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
percentages
cavity walls | 65.012 | 69.525 | 68.38 | 69.597 | 69.175 | 68.855 | 69.978 | 69.654 | 69.132 | 69.34
non-cavity walls | 34.987 | 30.474 | 31.619 | 30.402 | 30.824 | 31.144 | 30.021 | 30.345 | 30.867 | 30.659
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources:
1996 to 2007: English House Condition Survey;
2008 onwards: English Housing Survey, dwelling sample

## AT 6.7
Annex Table 6.7: Proportion of dwellings with insulated cavity walls, 2001-2010
all dwellings with cavity walls
| 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
cavity insulated | 5225.812 | 5333.734 | 5825.364 | 5974.309 | 6644.064 | 7267.758 | 7417.72 | 7697.061 | 8310.307
post-1990 - no CWI evidence | 524.284 | 751.332 | 746.123 | 820.174 | 875.72 | 1002.213 | 1215.648 | 1198.851 | 1109.121
cavity uninsulated | 8993.912 | 8605.836 | 8470.632 | 8272.725 | 7620.783 | 7257.615 | 6857.463 | 6544.71 | 6102.907
all dwellings | 14744.008 | 14690.902 | 15042.119 | 15067.208 | 15140.567 | 15527.586 | 15490.831 | 15440.622 | 15522.335
percentages
cavity insulated | 35.443 | 36.306 | 38.727 | 39.651 | 43.882 | 46.805 | 47.884 | 49.849 | 53.537
post-1990 - no CWI evidence | 3.555 | 5.114 | 4.96 | 5.443 | 5.783 | 6.454 | 7.847 | 7.764 | 7.145
cavity uninsulated | 61 | 58.579 | 56.312 | 54.905 | 50.333 | 46.74 | 44.267 | 42.386 | 39.316
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources: English House Condition Survey 2001-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.8
Annex Table 6.8: Proportion of dwellings with CWI by tenure, 2010
all dwellings with cavity walls
| owner occupied | private rented | local authority | housing association | all dwellings
thousands of dwellings
cavity insulated | 6488.119 | 924.079 | 861.016 | 1146.214 | 9419.428
evidence of CWI | 5770.473 | 719.178 | 847.598 | 973.058 | 8310.307
post-1990 - no CWI evidence | 717.646 | 204.901 | * | 173.156 | 1109.121
cavity uninsulated | 4079.323 | 1017.6 | 500.878 | 505.106 | 6102.907
total | 10567.442 | 1941.679 | 1361.894 | 1651.32 | 15522.335
percentages
cavity insulated | 61.397 | 47.591 | 63.221 | 69.411 | 60.683
evidence of CWI | 54.606 | 37.038 | 62.236 | 58.926 | 53.537
post-1990 - no CWI evidence | 6.791 | 10.552 | * | 10.485 | 7.145
cavity uninsulated | 38.602 | 52.408 | 36.778 | 30.588 | 39.316
total | 100 | 100 | 100 | 100 | 100
sample size | 6366 | 1680 | 1747 | 2087 | 11880
Note: * indicates sample size too small for reliable estimate
Source: English Housing Survey, dwelling sample

## AT 6.9
Annex Table 6.9: Percentage of dwellings with given loft insulation levels by tenure, 2010
all dwellings adjacent to a loft space or flat roof
| owner occupied | private rented | local authority | housing association | all dwellings
thousands of dwellings
flat roof or unknown | 833.646 | 584.902 | 162.907 | 130.354 | 1711.809
none | 422.307 | 186.824 | * | * | 637.62
less than 100mm | 2902.911 | 546.778 | 155.621 | 147.376 | 3752.686
100 up to 150mm | 3846.432 | 684.394 | 247.904 | 310.082 | 5088.812
150mm or more | 6085.317 | 819.152 | 671.265 | 881.645 | 8457.379
total | 14090.613 | 2822.05 | 1251.172 | 1484.471 | 19648.306
percentages
flat roof or unknown | 5.916 | 20.726 | 13.02 | 8.781 | 8.712
none | 2.997 | 6.62 | * | * | 3.245
less than 100mm | 20.601 | 19.375 | 12.438 | 9.927 | 19.099
100 up to 150mm | 27.297 | 24.251 | 19.813 | 20.888 | 25.899
150mm or more | 43.187 | 29.026 | 53.65 | 59.391 | 43.043
total | 100 | 100 | 100 | 100 | 100
sample size | 8415 | 2443 | 1658 | 1904 | 14420
Note: * indicates sample size too small for reliable estimate
Source: English Housing Survey, dwelling sample

## AT 6.10
Annex Table 6.10: Percentage of dwellings with different amounts of loft insulation, 2003-2010
all houses and top floor flats
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
none | 768.433 | 825.194 | 857.071 | 818.777 | 735.96 | 669.731 | 665.672 | 637.62
less than 100mm | 4939.047 | 5072.751 | 4748.566 | 4423.212 | 4193.087 | 4007.823 | 3929.304 | 3752.686
100 up to 150mm | 6925.039 | 6753.654 | 6552.97 | 6577.381 | 6460.199 | 6151.859 | 5749.647 | 5088.812
150mm or more | 4608.99 | 5163.47 | 5614.097 | 6242.077 | 6940.675 | 7237.061 | 7765.491 | 8457.379
flat roof or unknown | 1977.996 | 1577.961 | 1633.654 | 1559.929 | 1577.357 | 1672.197 | 1628.638 | 1711.809
all dwellings | 19219.505 | 19393.03 | 19406.358 | 19621.376 | 19907.278 | 19738.671 | 19738.752 | 19648.306
percentages
none | 3.998 | 4.255 | 4.416 | 4.172 | 3.696 | 3.392 | 3.372 | 3.245
less than 100mm | 25.698 | 26.157 | 24.469 | 22.542 | 21.063 | 20.304 | 19.906 | 19.099
100 up to 150mm | 36.031 | 34.825 | 33.767 | 33.521 | 32.451 | 31.166 | 29.128 | 25.899
150mm or more | 23.98 | 26.625 | 28.929 | 31.812 | 34.865 | 36.664 | 39.341 | 43.043
flat roof or unknown | 10.291 | 8.136 | 8.418 | 7.95 | 7.923 | 8.471 | 8.25 | 8.712
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources: English House Condition Survey 2003-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.11
Annex Table 6.11: Dwellings with given levels of double glazing, 1996-2010
all dwellings
mean SAP rating by tenure
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
no double glazing | 8249.506 | 5215.319 | 4093.625 | 3498.402 | 3154.122 | 2937.949 | 2532.199 | 2151.05 | 1965.004 | 1833.204
up to half double glazing | 2890.394 | 2109.872 | 1980.566 | 1836.563 | 1681.069 | 1634.239 | 1548.014 | 1395.714 | 1264.663 | 1168.581
more than half double glazing | 3025.747 | 3094.744 | 3495.116 | 3432.257 | 3460.245 | 3492.467 | 3263.898 | 2945.834 | 2824.511 | 2773.983
full double glazing | 6169.093 | 10786.641 | 11914.694 | 12845.827 | 13485.619 | 13924.295 | 14844.858 | 15746.8 | 16280.52 | 16610.007
all dwellings | 20334.74 | 21206.576 | 21484.001 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
percentages
no double glazing | 40.6 | 24.6 | 19.1 | 16.2 | 14.5 | 13.4 | 11.411 | 9.7 | 8.797 | 8.189
up to half double glazing | 14.2 | 9.9 | 9.2 | 8.5 | 7.7 | 7.4 | 6.976 | 6.3 | 5.662 | 5.22
more than half double glazing | 14.9 | 14.6 | 16.3 | 15.9 | 15.9 | 15.9 | 14.709 | 13.2 | 12.646 | 12.391
full double glazing | 30.3 | 50.9 | 55.5 | 59.4 | 61.9 | 63.3 | 66.901 | 70.8 | 72.893 | 74.198
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.12
Annex Table 6.12: Distribution of non-boiler heating systems, 1996-2010
all dwellings
mean SAP rating by tenure
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
boiler system with radiators | 15217.513 | 17262.756 | 17818.763 | 18200.032 | 18511.9 | 18868.847 | 19261.793 | 19297.948 | 19431.453 | 19552.161
room heater | 2514.52 | 1456.739 | 1293.504 | 1078.046 | 993.115 | 903.73 | 776.498 | 736.365 | 679.773 | 701.109
storage radiators | 1642.535 | 1626.935 | 1587.079 | 1616.033 | 1608.673 | 1531.993 | 1548.152 | 1640.651 | 1673.125 | 1602.829
warm air system | 534.809 | 388.72 | 359.957 | 337.674 | 317.089 | 289.061 | 241.098 | 216.313 | 195.558 | 164.31
communal | 277.516 | 400.867 | 379.621 | 353.145 | 337.976 | 379.706 | 330.813 | 308.748 | 325.975 | 352.056
other systems | 147.847 | 70.559 | 45.077 | * | * | * | * | * | * | *
all dwellings | 20334.74 | 21206.576 | 21484.001 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
percentages
boiler system with radiators | 74.835 | 81.402 | 82.939 | 84.208 | 84.99 | 85.81 | 86.807 | 86.773 | 87.001 | 87.341
room heater | 12.365 | 6.869 | 6.02 | 4.987 | 4.559 | 4.109 | 3.499 | 3.311 | 3.043 | 3.131
storage radiators | 8.077 | 7.671 | 7.387 | 7.477 | 7.385 | 6.967 | 6.977 | 7.377 | 7.491 | 7.16
warm air system | 2.63 | 1.833 | 1.675 | 1.562 | 1.455 | 1.314 | 1.086 | 0.972 | 0.875 | 0.733
communal | 1.364 | 1.89 | 1.766 | 1.633 | 1.551 | 1.726 | 1.49 | 1.388 | 1.459 | 1.572
other systems | 0.727 | 0.332 | 0.209 | * | * | * | * | * | * | *
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Notes:
1) * indicates sample size too small for reliable estimate
2) figures in italics are based on small samples and should be treated with caution
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.13
Annex Table 6.13: Percentage of dwellings with given boiler types, 1996-2010
all dwellings
mean SAP rating by tenure
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
standard boiler | 10447.079 | 10359.902 | 9641.517 | 9635.2 | 9424.813 | 9013.805 | 8780.8 | 8072.262 | 7303.203 | 6547.594
back boiler | 2773.093 | 2769.158 | 2580.297 | 2408.573 | 2181.249 | 2130.676 | 1948.833 | 1687.597 | 1472.464 | 1282.145
combination boiler | 2809.666 | 4447.891 | 5491.921 | 5934.12 | 6253.611 | 6312.339 | 6282.242 | 6081.799 | 5497.894 | 4830.652
condensing boiler | 0 | 155.157 | 153.702 | 202.299 | 300.255 | 459.867 | 698.61 | 948.442 | 1331.062 | 1775.72
condensing-combination boiler | 0 | 319.184 | 372.521 | 417.326 | 727.283 | 1296.879 | 1840.428 | 2773.23 | 4061.399 | 5313.458
no boiler | 4304.902 | 3155.284 | 3244.043 | 3015.531 | 2893.844 | 2775.384 | 2638.056 | 2676.068 | 2668.676 | 2636.206
all dwellings | 20334.74 | 21206.576 | 21484.001 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
percentages
standard boiler | 51.375 | 48.9 | 44.877 | 44.58 | 43.27 | 40.992 | 39.572 | 36.3 | 32.698 | 29.248
back boiler | 13.637 | 13.049 | 12.01 | 11.144 | 10.014 | 9.689 | 8.782 | 7.6 | 6.592 | 5.727
combination boiler | 13.817 | 20.958 | 25.562 | 27.456 | 28.711 | 28.706 | 28.312 | 27.3 | 24.615 | 21.579
condensing boiler | 0 | 0.734 | 0.715 | 0.936 | 1.378 | 2.091 | 3.148 | 4.3 | 5.959 | 7.932
condensing-combination boiler | 0 | 1.505 | 1.733 | 1.93 | 3.339 | 5.897 | 8.294 | 12.5 | 18.184 | 23.735
no boiler | 21.17 | 14.852 | 15.099 | 13.952 | 13.286 | 12.621 | 11.889 | 12 | 11.948 | 11.776
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample

## AT 6.14
Annex Table 6.14: Percentage of dwellings using given heating fuels by tenure, 2010
all dwellings except those with communal heating systems
| 1996 | 2010
thousands of dwellings
gas fired system | 16567.203 | 18735.808
oil fired system | 445.166 | 923.605
solid fuel fired system | 687.421 | 202.68
electrical system | 2357.434 | 2171.626
total | 20057.224 | 22033.719
percentages
gas fired system | 82.599 | 85.032
oil fired system | 2.219 | 4.191
solid fuel fired system | 3.427 | 0.919
electrical system | 11.753 | 9.855
total | 100 | 100
sample size | 13326 | 16295
Sources:
1996: English House Condition Survey, dwelling sample
2010: English Housing Survey, dwelling sample

## AT 6.15
Annex Table 6.15: Percentage of dwellings using given heating fuels by dwelling age, 2010
all dwellings except those with communal heating systems
| gas fired system | oil fired system | solid fuel fired system | electrical system | all dwellings
thousands of dwellings
pre 1919 | 3872.01 | 387.635 | 85.75 | 481.286 | 4826.681
1919-44 | 3440.264 | 69.463 | * | 193.004 | 3730.857
1945-64 | 3880.702 | 145.242 | 61.383 | 274.454 | 4361.781
1965-80 | 3794.622 | 154.618 | * | 476.939 | 4440.067
1981-90 | 1438.757 | 71.597 | * | 286.219 | 1808.991
post 1990 | 2309.453 | 95.05 | * | 459.724 | 2865.342
total | 18735.808 | 923.605 | 202.68 | 2171.626 | 22033.719
percentages
pre 1919 | 20.666 | 41.969 | 42.308 | 22.162 | 21.905
1919-44 | 18.361 | 7.52 | * | 8.887 | 16.932
1945-64 | 20.712 | 15.725 | 30.285 | 12.638 | 19.795
1965-80 | 20.253 | 16.74 | * | 21.962 | 20.151
1981-90 | 7.679 | 7.751 | * | 13.179 | 8.21
post 1990 | 12.326 | 10.291 | * | 21.169 | 13.004
total | 100 | 100 | 100 | 100 | 100
sample size | 13872 | 653 | 161 | 1609 | 16295
Note: * indicates sample size too small for reliable estimate
Source: English Housing Survey, dwelling sample

## AT 6.16
Annex Table 6.16: Heating fuel use in purpose built flats by construction date
all purpose built flats
| boiler system with radiators | storage radiators | other heating systems | all dwellings | sample size
thousands of dwellings
pre 1919 | 154.428 | * | * | 190.278 | 135
1919-44 | 177.856 | * | * | 237.424 | 187
1945-64 | 483.996 | 78.301 | 52.37 | 614.667 | 601
1965-80 | 658.78 | 253.107 | 212.309 | 1124.196 | 1048
1981-90 | 221.267 | 147.255 | 93.126 | 461.648 | 408
post 1990 | 406.093 | 302.792 | 92.043 | 800.928 | 595
total | 2102.42 | 820.122 | 506.599 | 3429.141 | 2974
percentages
pre 1919 | 81.159 | * | * | 100
1919-44 | 74.91 | * | * | 100
1945-64 | 78.741 | 12.738 | 8.52 | 100
1965-80 | 58.6 | 22.514 | 18.885 | 100
1981-90 | 47.929 | 31.897 | 20.172 | 100
post 1990 | 50.702 | 37.805 | 11.492 | 100
total | 61.31 | 23.916 | 14.773 | 100
Note: * indicates sample size too small for reliable estimate
Source: English Housing Survey, dwelling sample

## AT 6.17
Annex Table 6.17: Percentage of dwellings using given heating fuels by tenure, 2010
all dwellings except those with communal heating systems
| owner occupied | private rented | local authority | housing association | all dwellings
thousands of dwellings
gas fired system | 12891.041 | 2795.382 | 1467.743 | 1581.642 | 18735.808
oil fired system | 775.384 | 121.158 | * | * | 923.605
solid fuel fired system | 143.719 | 31.934 | * | * | 202.68
electrical system | 1010.107 | 704.989 | 176.688 | 279.842 | 2171.626
total | 14820.251 | 3653.463 | 1664.712 | 1895.293 | 22033.719
percentages
gas fired system | 86.982 | 76.513 | 88.167 | 83.451 | 85.032
oil fired system | 5.231 | 3.316 | * | * | 4.191
solid fuel fired system | 0.969 | 0.874 | * | * | 0.919
electrical system | 6.815 | 19.296 | 10.613 | 14.765 | 9.855
total | 100 | 100 | 100 | 100 | 100
sample size | 8773 | 3050 | 2117 | 2355 | 16295
Notes:
1) * indicates sample size too small for reliable estimate
2) figures in italics are based on small samples and should be treated with caution
Source: English Housing Survey, dwelling sample

## AT 6.18
Annex Table 6.18: Percentage of dwellings using given heating fuels, 1996-2010
all dwellings
mean SAP rating by tenure
| 1996 | 2001 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
thousands of dwellings
gas fired system | 16567.203 | 17558.229 | 17925.9 | 18102.574 | 18367.923 | 18557.249 | 18732.744 | 18757.261 | 18746.914 | 18735.808
oil fired system | 445.166 | 658.727 | 801.753 | 858.383 | 856.619 | 915.074 | 944.81 | 881.557 | 904.276 | 923.605
solid fuel fired system | 687.421 | 456.663 | 422.467 | 372.156 | 330.064 | 324.992 | 322.049 | 250.191 | 201.568 | 202.68
electrical system | 2357.434 | 2132.09 | 1954.26 | 1926.04 | 1887.748 | 1811.929 | 1858.553 | 2041.641 | 2155.965 | 2171.626
communal systems | 277.516 | 400.867 | 379.621 | 353.896 | 338.701 | 379.706 | 330.813 | 308.748 | 325.975 | 352.056
all dwellings | 20334.74 | 21206.576 | 21484.001 | 21613.049 | 21781.055 | 21988.95 | 22188.969 | 22239.398 | 22334.698 | 22385.775
percentages
gas fired system | 81.472 | 82.796 | 83.438 | 83.757 | 84.329 | 84.393 | 84.423 | 84.342 | 83.936 | 83.695
oil fired system | 2.189 | 3.106 | 3.731 | 3.971 | 3.932 | 4.161 | 4.258 | 3.963 | 4.048 | 4.125
solid fuel fired system | 3.38 | 2.153 | 1.966 | 1.721 | 1.515 | 1.477 | 1.451 | 1.124 | 0.902 | 0.905
electrical system | 11.593 | 10.053 | 9.096 | 8.911 | 8.666 | 8.24 | 8.376 | 9.18 | 9.652 | 9.7
communal systems | 1.364 | 1.89 | 1.766 | 1.637 | 1.555 | 1.726 | 1.49 | 1.388 | 1.459 | 1.572
all dwellings | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Sources: English House Condition Survey 1996-2007,
English Housing Survey 2008 onwards, dwelling sample