## Estimated benefits
APPENDIX 1 - ESTIMATED BENEFITS FROM SPECIFIC INITIATIVES IN ESQCR
Initiative | Fatalities | Reduction in fatalities |  | Injuries | Reduction in injuries |  | Cable | Reduction in damage
| impacted | % | quantity | impacted | % | quantity | damages | % | quantity
impacted
Risk assessment | 107 | 10% | 10.7 | 504 | 10% | 50.4 | ---- | ---- | ----
Signs on LV poles | ---- | ---- | ---- | 343 | 5% | 17.15 | ---- | ---- | ----
Dangers of OHL | 89 | 10% | 8.9 | 419 | 10% | 41.9 | ---- | ---- | ----
Marking LV cables | 5 | 2.5% | 0.125 | 2221 | 2.5% | 55.525 | 542135 | 2.5% | 13553.375
TOTALS (12 yrs) |  |  | 19.725 |  |  | 164.975 |  |  | 13553.375
BENEFITS
PER ANNUM |  |  | 1.6438 |  |  | 13.7479 |  |  | 1129.4479
Notes: | 1. Incidents impacted are the number of fatalities/injuries/cable damages occurring over the 12 year period 1 April 1989 to 31 March
2001 that might have been impacted by the new proposals had they been in place at the time of each incident. The source of data
is the Engineering Inspectorate's Electrical Incidents Database, compiled from incidents reported to DTI by electricity companies.
2. Reduction in incidents are estimates (after 10 years) based on views and experience of Engineering Inspectors at DTI.
3. Risk assessment - fatalities:- OHL - hiabs etc. + poles etc. + other = 98; Substations - 9; total 107.
4. Risk assessment - injuries:- OHL - estimate half of 853; Substations - 78; total 504.
5. Signs on LV poles - injuries: - poles etc. + building etc. + damage etc. + hiabs etc. + other = 343.
6. Dangers of OHL - fatalities: hiabs etc. + poles etc. = 89.
7. Dangers of OHL - injuries: LV - poles etc. + building etc. + damage etc. + hiabs etc. = 264; HV - estimate half of 310; total 419.
8. Marking of LV cables - fatalities: 5.
9. Marking of LV cables - injuries: 2,221.
10. Marking of LV cables - cable damages: 542,135.

## Value of benefits
APPENDIX 2 - ESTIMATED FINANCIAL VALUES OF BENEFITS FROM ESQCR (AFTER 10 YEARS)
Type of | No. of incidents | Value | Total benefit
incident | prevented pa | per incident | per annum
Fatalities | 2 | 1089130 | 2178260
Injuries | 14 | 65910 | 922740
Cable damages | 1129 | 1000 | 1129000
TOTAL
BENEFIT PA |  |  | 4230000
Notes: | 1. Values for fatalities and injuries are based on DETR Highways Economics Note No.1:1999 which assesses the
value of accident prevention in terms of lost output, medical and ambulance costs, and human costs.
Fatalities are valued at £1,089,130.
Serious injuries are valued at £122,380 and slight injuries are valued at £9,440. Electrical injuries are more
likely to be serious than slight, particularly for high voltage incidents (burns). On the other hand low voltage incidents
which are not fatal tend to result in less serious injuries. Take mid range figure.
2. Cost of cable damage is rough estimate of labour, materials, management, and debt recovery costs for each
incident.

## Cost of measures - companies
APPENDIX 3 - ESTIMATED COST OF IMPACT OF ESQCR - COSTS FROM COMPANIES
COSTS SUBMITTED BY INDIVIDUAL COMPANIES
New initiative | Reg' | One off | costs | Annual | costs | Total | costs
|  | Average per | No. of companies | Average per | No. of companies | One off costs | Annual costs
|  | company | affected | company | affected
Pre-1937 cut-outs | 2.-(4) | 1000000 | 1 | 1070000 | 1 | 1000000 | 1070000
Risk register | 3.-(2) | 1038229 | 13 | 125083 | 12 | 13496977 | 1500996
Dangers of OHL | 3.-(3) | 311571 | 7 | 296444 | 9 | 2180997 | 2667996
Duty of co-operation | 4 | 282500 | 4 | 36778 | 9 | 1130000 | 331002
Inspection records | 5 | 100000 | 1 | 0 | 0 | 100000 | 0
Substation signs | 11.-(c) | 30000 | 1 | 13000 | 2 | 30000 | 26000
Mark LV cables | 14.-(2) | 0 | 0 | 529250 | 4 | 0 | 2117000
OHL near buildings | 18.-(5) | 0 | 0 | 60000 | 2 | 0 | 120000
OHL safety signs | 19.-(2) | 0 | 0 | 94286 | 7 | 0 | 660002
OHL stay wires | 20 | 0 | 0 | 160666 | 9 | 0 | 1445994
Parallel generation | 22 | 5000 | 1 | 0 | 0 | 5000 | 0
New connections | 25 | 20000 | 1 | 360000 | 2 | 20000 | 720000
TOTALS |  | 2787300 |  | 2745507 |  | 17962974 | 10658990
ESTIMATE FROM ELECTRICITY ASSOCIATION | [5 empty] | Total | costs
New initiative | Regulation |  |  |  |  | One off costs | Annual costs
Risk register | 3.-(2) |  |  |  |  | 11300000 | 2460000
Dangers of OHL | 3.-(3) |  |  |  |  | 2540000 | 5920000
Duty of co-operation | 4 |  |  |  |  | 0 | 1400000
TOTALS | [5 empty] | 13840000 | 9780000
Notes: | 1. Some companies returned one figure for two initiatives, e.g. risk register and inspection records. In these cases
the single figure is included in one of the initiatives, e.g. in the risk register.
2. Costs of the following measure are not included: [wording deleted] safety signs on LV poles.
3. Average costs are calculated from individual responses submitted by companies.
4. Where costs have been submitted for anticipated burdens which were not intended, these costs have not been
included in the analysis, e.g. risk assessment and 10 year records for metering and service equipment, fences for very
low risk substations, IT system for determining number of phases of supply, costs associated with earthing.
5. Not all respondents provided costs in their responses to the consultation documents.
6. Where costs have been returned by one organisation for 2 distributors, the costs have been attributed to 2 companies.
7. The numbering of the individual regulations in this table refers to the proposed Regulations and not to the numbering
of the draft included in the public consultation documents.

## Cost of measures - DTI view
APPENDIX 4 - ESTIMATED COST OF IMPACT OF ESQCR - DTI VIEW
New initiative | Reg' | One off costs | Annual costs | Comments
|  | per company | per company
Pre-1937 cut-outs | 2.-(4) | 0 | 50000 | 10 year programme. Very little of this equipment left.
Risk register | 3.-(2) | 300000 | 100000 | [wording deleted] Companies need only modify existing systems.
Dangers of OHL | 3.-(3) | 0 | 100000 | Costs of personnel engaged in warning the public.
Duty of co-operation | 4 | 0 | 25000 | No new systems required.
Inspection records | 5 | 25000 | 0 | Most companies already have systems in place.
Substation signs | 11.-(c) | 20000 | 0 | Most companies have updated signs.
Mark LV cables | 14.-(2) | 0 | 100000 | Most companies already install marker tape over LV cables.
Charges for maps | 15.-(4) | 0 | -75000 | Companies may receive income for providing maps at reasonable charge.
OHL near buildings | 18.-(5) | 0 | 0 | Existing requirement.
OHL safety signs | 19.-(2) | 0 | 100000 | Now includes LV poles with bare conductors (10 year programme)
OHL stay wires | 20 | 0 | 50000 | 10 year programme - ESR 88 material alteration clause applies here
Parallel generation | 22 | 0 | 0 | No significant change here
New connections | 25 | 0 | 0 | No significant change here
TOTALS PER COMPANY |  | 345000 | 450000 | ----
TOTALS FOR 15 COMPANIES |  | 5175000 | 6750000 | ----
Notes: | 1. Costs are DTI's view of impact of each new burden on a typical company in the light of the requirements in
ESQCR, and taking account of detailed responses to consultation received from electricity companies.
2. Calculate total impact on industry based on 15 distribution companies in England, Wales and Scotland
(including NGC).
3. The numbering of the individual regulations in this table refers to the proposed Regulations and not to the
numbering of the draft included in the public consultation documents.
4. Comparison with Appendix 3 indicates that DTI's cost estimates are significantly less than those submitted by
industry. DTI's view is that companies have overestimated the costs of implementing the new measures. Please
refer to the Guidance Notes for clarification of exactly what works are required for the new measures in practice.
5. Annual costs for for the first 10 years only. After 10 years some costs disappear.

## Costs vs Benefits
APPENDIX 5 - ESTIMATED COSTS (DTI VIEW) COMPARED TO BENEFITS
ANNUAL COSTS TO INDUSTRY (DTI VIEW) COMPARED TO ANNUAL BENEFITS
New initiative | Reg' | One off costs | Total annual costs | Total annual costs |  | Reductions pa after 10 years |  | Total value
|  | total | for first 10 yrs | after 10 years | fatalities | injuries | c' damage | of benefits pa
Pre-1937 cut-outs | 2.-(4) | 0 | 750000 | 0 |  |  |  | 0
Risk register | 3.-(2) | 4500000 | 1500000 | 1500000 | 1 | 4 |  | 1352770
Dangers of OHL | 3.-(3) | 0 | 1500000 | 1500000 | 1 | 4 |  | 1352770
Duty of co-operation | 4 | 0 | 375000 | 375000 |  |  |  | 0
Inspection records | 5 | 375000 | 0 | 0 |  |  |  | 0
Substation signs | 11.-(c) | 300000 | 0 | 0 |  |  |  | 0
Mark LV cables | 14.-(2) | 0 | 1500000 | 1500000 |  | 5 | 1129 | 1458550
Charges for maps | 15.-(4) | 0 | -1125000 | -1125000 |  |  |  | 0
OHL near buildings | 18.-(5) | 0 | 0 | 0 |  |  |  | 0
OHL safety signs | 19.-(2) | 0 | 1500000 | 0 |  | 1 |  | 65910
OHL stay wires | 20 | 0 | 750000 | 0 |  |  |  | 0
Parallel generation | 22 | 0 | 0 | 0 |  |  |  | 0
New connections | 25 | 0 | 0 | 0 |  |  |  | 0
TOTALS |  | 5175000 | 6750000 | 3750000 | 2 | 14 | 1129 | 4230000
Notes: | 1. For simplicity, all values are calculated at today's prices.
2. All of the costs (DTI view) have been included but only some of the benefits. This is because some of the
benefits are qualitative and virtually impossible to quantify.
3. Costs and benefits are all presented as annual figures.
4. Benefits are calculated after 10 years which is the time necessary for all benefits to be realised.
5. Some of the costs disappear after 10 years following completion of initiatives.
6. The numbering of the individual regulations in this table refers to the proposed Regulations and not to the
numbering of the draft included in the public consultation documents.