## 1_Menu
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
Completed?
Completed?
Completed?
Completed?
Completed?
Completed?
Servers
PCs and monitors
Networks
Totals and analysis
INTRODUCTION and INSTRUCTIONS This tool is was designed to help Further and Higher Education (FHE) Institutions estimate the in-house energy use and costs and carbon footprint of their non-residential ICT usage. It has now been revised to enable UK HMG's Green ICT Delivery Unit (GDU) to provide it to UK government departments and agencies who do not have their own footprinting methods and tools in place to use in reporting their operational energy consumption footprints as required under the Greening Government ICT Strategy The tool can be used in two ways: 1. The ‘quick and simple’ method (blue area of the worksheet). This only requires a number (which can be estimated) for each of the different types of ICT device. 2. The ‘thorough’ (and more accurate) method (yellow area of the worksheet). In addition to numbers of devices, this enables users to enter institution-specific data on the power rating/typical usage hours or energy consumption of equipment. For each item on the right, click on the link to go to the appropriate sheet and fill in the details for your institution. Measure your progress by indicating when you have completed a section. Each section allows you to return to this menu, or from each page you can a) click a link to take you to another section or b) click the Tab for the section you want to go to. When you have completed all sections you can see your totals and an analysis of your results by clicking on the 'Totals and Analysis' button. Once completed please submit by email to the GDU mail box greenict@cabinet-office.gsi.gov.uk. Also please email any queries or problems you encounter in using this workbook to the same address.
AV
Phones
Imaging
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 2_Read_Me
Using the tool The tool can be used in two ways: The ‘quick and simple’ method (blue area of worksheets 5-11). This only requires a number (which can be estimated) for each of the different types of ICT device. The spreadsheet then uses default assumptions of power ratings and usage to estimate the total energy consumption (kWh/y) and carbon dioxide emissions (kg/kWh) of the ICT devices in the worksheet labelled “Total and Analysis”. The ‘thorough’ (and more accurate) method (yellow area of the worksheets 5-11). In addition to numbers of devices, this enables users to enter institution-specific data on the power rating of equipment, and typical usage hours. The assumptions used to obtain the default settings for power and usage are described below, and also summarised in the worksheet labelled “Assumptions”.
Quick and Simple Method Step 1: Working with relevant staff (IT management, energy management, print management, academics, library/learning support, research staff) gather data on the number of ICT devices at your institution. Step 2: Use the “Menu” worksheet to navigate around the spreadsheet. For each individual category of ICT device, go to the relevant worksheet and enter estimates of the number of ICT devices at the university, including departmental devices. Use the “Menu” worksheet to measure progress as you complete each individual worksheet. Step 3: Once you have entered all the data in the worksheets 5-11, the tool will provide a breakdown of ICT energy use by category and total energy consumption in the worksheet “Total and Analysis” with graphical displays in the worksheets “Energy use”, “Energy Cost” and “CO2 Emissions”. If required you can amend the default electricity price and carbon dioxide emission. Step 4: In the “ICT in the University” worksheet enter data on total institution non-residential electricity use, total non-residential electricity cost and total non-residential electricity-related carbon emissions. Check the total ICT energy consumption estimate against the total non-residential electricity usage for the institution to see if it appears to be a reasonable proportion (e.g. between 10-50%). If very low or very high you may need to check the assumptions used. Once you have entered all the data, the tool will provide a breakdown of ICT energy use, energy costs and carbon emissions in the worksheet "Total and Analysis" with graphical displays in the worksheets "Energy Use", "Energy Cost" and "CO2 Emissions".
READ ME: SusteIT ICT Energy and Carbon Footprinting Tool Please note that there may be occasional problems with displays of graphs and tables - you may need to adjust your screen resolution for optimum display. The tool is a simple Excel spreadsheet which contains the following worksheets (numbered in the order in which they appear in the spreadsheet): 1. Menu – includes an introduction, and an overview on navigation and and completing the various worksheets 2. Read Me – contains detailed step by step instructions 3. Assumptions – provides all the default figures and how they were derived 4. Blank (was example from Sheffield University) 5. Blank (Was tab for high performance computing ) 6. Server Rooms – Enter data on central and departmental servers plus storage and cooling/power supply overhead 7. PCs and Monitors – Enter data on PCs, laptops, thin clients and monitors 8. Networks – Enter data on hubs, switches, routers and Power Over Ethernet 9. Phones – Enter data on PABX and VOIP phones power supply/cooling overhead for PABX 10. Imaging – Enter data on printers, copiers, scanners, faxes 11. AV – Enter data on projectors, OHP and plasma screens 12. Total and Analysis – Displays results for energy use and carbon dioxide emissions broken down by category of device 13. Energy Use – Provides graphic displays of energy use broken down by category of device 14. Energy Cost – Provides graphic displays of energy cost broken down by category of device 15. CO2 Emissions – Provides graphic displays of carbon dioxide emissions broken down by category of device 16. ICT in the Organisation – Optional -compares ICT energy and carbon dioxide emissions to total organisational energy and carbon dioxide emissions Worksheets 2-4 above are informational only. Worksheets 5 – 11 are the main worksheets requiring data input on numbers of devices and, where available, data on power and usage. They each have a similar format. Worksheet 12 displays results for worksheets 5-11 based on default assumptions for electricity costs and carbon dioxide emissions. These defaults can be amended if required. Worksheets 13-15 displays bar and pie charts of the results for worksheets 5-11. Worksheet 16 require data input on the total (non-residential) electricity use, costs and carbon emissions for the organisation and displays ICT as a proportion of those.
Thorough Method Step 1: Working with relevant staff (IT management, energy management, print management, academics, library/learning support) gather data on the number, type and typical usage of ICT devices at your institution. Step 2: Use the “Menu” worksheet to navigate around the spreadsheet. For each individual category of ICT device, go to the relevant worksheet and enter estimates of the number of ICT devices at the university, including departmental devices in worksheets 5-11 for individual categories. Use the “Menu” worksheet to measure progress as you complete each individual worksheet. Step 3: If your institution uses some form of powersave management to put computers into a lower power mode (e.g. hibernate, sleep or standby) after a certain period or at a certain time, then you need to estimate what proportion of PCs are affected, both in computer suites and in departments. This will affect the usage hours in a particular energy mode (i.e. computers with powersave management typically spend less time in active/idle mode). You will then need to adjust the usage hours in active mode in the yellow area of the worksheet “PCs and monitors” accordingly (the hours in standby mode will adjust automatically). Step 4: Check the usage assumptions in the “Imaging” and “AV” worksheets and adjust in the yellow area of the worksheet where necessary. Step 5: Check if your institution has any data on the overheads as shown in Table 1 and amend the default value where appropriate in the relevant worksheet. Table 1: Default values for the overheads used in the tool Worksheet Overhead Cell Default value HPC Cooling E8 0.425 HPC Power supply E9 0.075 Servers Storage and other equipment E7 0.15 Servers Cooling E9 0.425 Servers Power supply E10 0.075 PCs & Monitors Cooling (for airconditioned H19 0 computer suites only) Phones PABX cooling and power supply E6 0.1 Step 6: Check the tool's default figures for power ratings (watts) for the different devices in worksheets 5-11 (see Table 6 for summary), and see if these appear reasonable based on the typical devices used at your institution. If too low or too high, change the default settings in the yellow area of worksheets 5-11. If you are unsure, estimate a range of energy consumption based on separate calculations using low and high power ratings. Step 7: Check the tool's default figures for usage (hours per year) for the different devices in worksheets 5-11(see Table 7 for summary), and see if these appear reasonable based on usage patterns at your institution. If too high or too low, change the default settings in the yellow area of the tool. If you are unsure, estimate a range of energy consumption based on separate calculations using low and high usage rates. Step 8: In worksheet “Total and Analysis” check the default figures for electricity costs (p/kWh) and carbon dioxide emission factor (kgCO2/kWh) and change if necessary. The former is based on a typical figure for 2011 (including VAT). The latter is based on Defra’s 2008 conversion factor for grid electricity which is a rolling average of the last five years and is updated annually. Institutions with Combined Heat and Power (CHP) should use the conversion method in Defra’s Guidelines. Step 9: In the “ICT in the University” worksheet enter data on total institution non-residential electricity use, total non-residential electricity cost and total non-residential electricity-related carbon emissions. Check the total ICT energy consumption estimate against the total non-residential electricity usage for the institution to see if it appears to be a reasonable proportion (e.g. between 10-50%). If very low or very high you may need to check the assumptions used. Once you have entered all the data, the tool will provide a breakdown of ICT energy use, energy costs and carbon emissions in the worksheet “Total and Analysis” with graphical displays in the worksheets “Energy use”, “Energy Cost” and “CO2 Emissions”.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 3_Assumptions
SusteIT ICT Energy and Carbon Footprinting Tool: Assumptions
Below are the different categories of ICT equipment and the assumptions used to obtain the default data in the yellow area of the tool.
The alphabetical numbering system refers to the reference in the tool.
Note that all usage figures assume that equipment is NOT switched off at the mains supply at any point in the academic year, i.e. standby mode is the lowest power mode in this tool.
Text in italics indicates where the HEEPI tool assumptions deviate from the Sheffield data.
6. Server rooms
(c) Watts per unit: 300W, based on measurements made on individual HPCs at University of Sheffield of 270W rounded up. At University of Sheffield a total measured figure for all server equipment was available only with no breakdown based on numbers of servers or equipment.
(d) Storage and other server equipment. A figure of 15% of total server power was used based on Emerson (2007) (see References below). At University of Sheffield a total measured figure for all server equipment was available only with no breakdown based on numbers of servers or equipment.
(e) Cooling and Power Supply overhead: +80%. See note (b)
7. PCs and Monitors
(f) Watts per unit for active/idle power consumption for CRT monitors were based on measurements made on individual computers at University of Sheffield, rounded up. Active/standby power for LCD monitors were based on typical Dell LCD monitors rounded up: Dell E190S uses 19W in use and 1W on standby.
(g) Hours per year in use for monitors were based on active/idle mode for 40 hours per week, 52 weeks per year (i.e. 2,080 hours/year) as the default on most operating systems tends to power them down to standby after 20 minutes.
(h) Total Energy Consumption (TEC) figures for PCs and laptops were based on the maximum TEC values for computing equipment in Energy Star v5. More details can be found in the User Guide.
(i) The tool does not apply an overhead to normal computer suites/rooms used by students on the grounds that they are not normally air conditioned. If computer suites/rooms are air-conditioned an overhead percentage needs to be made in the line labelled “Adjustments” (in cell H19). This in turn needs to be multiplied only by the total energy of the computers and monitors in computer suites – the tool assumes as a default that this is student standard PCs plus the same number of LCD monitors (see calculation in cell I19) but this should be amended accordingly.
8. Networks
(j) Power usage for 10/100 switches based on CISCO 2960 48TC-L (36W) rounded up, while power for 10/100/1000 switches based on CISCO 2960S 48LPS-L (70W).
(k) Power usage for network equipment was based on measurements at the University of Sheffield, rounded up.
(l) Power over Ethernet figures were obtained by taking the mean power of a typical device in the class and assumping losses of 20% (from the switch power supply and cable losses) to power the device.
9. Phones
(m) Watts per PABX distributed phone were based on measurements at University of Sheffield of 1.75W, rounded up.
(n) An overhead of 10% was made for the extra electricity used by the UPS units based on estimates at the University of Sheffield.
(o) Locally powered VOIP phones were assumed to use 8W per phone based on a CISCO IP phone (5 W per hone and 3W per Ethernet port) (Cartledge, 2007). The University of Sheffield does not have any VOIP phones.
10. Imaging Devices
(p) Total Energy Consumption (TEC) figures for imaging devices was based on the TEC values for Imaging equipment in Energy Star v1.1, using ipm values for typical devices. More details can be found in the User Guide.
11. Audio-Visual Devices
(q) Projectors and OHP power use based on manufacturer’s stated data for active use and measured data for standby power for devices at the University of Sheffield, rounded up. Teaching hours is based on 5 hours a day, 5 days per week for 40 weeks a year (i.e. 1,000 hours per year)
(r) Plasma screens based on power consumption for typical 61" plasma screen. However power rating would need to be increased or decreased for larger and smaller screens respectively. E.g 84" screen typically 1100W,42" screen typically 275W. Assumed that these are run 24/7 but adjustment would need to be made for screens powered down with timer switches to standby. There are no plasma screens at the University of Sheffield.
(s) Testing done by the Welsh Video Network (WVN) found a well-specified videoconferencing studio uses approximately 600 watts/hour (including screens), equivalent to 14.4 kWh/day. A shutdown feature saves approximately 500 watts/hr and if implemented at night and weekends will save approximately 3452 kWh/y. See http://www.wvn.ac.uk/en/media/Power%20Consumption%20of%20Videoconferencing%20Equipment.pdf
(t) Figure based on testing by the Welsh Video Network (WVN) assuming a reasonably high-spec CODEC with 40 inch LCD monitor, run for 8 hours/day, 260 days/yr
Energy Costs
(u) Energy costs are based on a nominal electricity price of 12 p/kWh (incl. VAT)
Carbon Dioxide Emissions
(v) Carbon emissions are based on the 2010 conversion factor of 0.54702 kgCO2eq/kWh for grid electricity contained in Annex 3 of the 2012 Guidelines to Defra/DECC's Greenhouse Gas Conversion Factors for Company Reporting (Defra 2012). Note this figure is a rolling average of the previous five years and is updated annually. Institutions with on-site renewable electricity should adjust this figure. Institutions with Combined Heat and Power (CHP) should use the conversion method Defra’s Guidelines.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 6_ServerRooms
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
Server Rooms | Number of 1U servers | Watts per server (c) | Multiplier for storage & other equipment (d) | Overhead/DCIE (e) | Total Energy kWh/year
In-house servers not cooled | 1 | 300
In-house standard servers cooled | 1 | 300 |  |  | 2628
High performance servers in-house | 1 | 400 |  |  | 3504
Off-site servers | 1 | 300 |  |  | 2628
High performance servers off site | 1 | 400 |  |  | 3504
Storage & other server equipment |  |  | 0.15 |  | 788.4
Server/equipment energy sub-total |  |  |  |  | 13052.4
Server cooling and power supply overhead - In-house |  |  |  | 0.8 | 4905.6
Server cooling and power supply overhead - Off-site (Shared?) |  |  |  | 0.8 | 4905.6
Storage & other server equipment overhead |  |  |  | 0.8 | 630.72
Server cooling & power supply overhead - total |  |  |  |  | 10441.92
Server energy sub-total |  |  |  |  | 23494.32
Note on D4: Watts per unit: 300W, based on measurements made on individual HPCs at University of Sheffield of 270W rounded up. At University of Sheffield a total measured figure for all server equipment was available only with no breakdown based on numbers of servers or equipment.
Note on E4: Other server equipment. A figure of 15% of total server power was used based on Emerson (2007) (see References in 'Assumptions sheet). At University of Sheffield a total measured figure for all server equipment was available only with no breakdown based on numbers of servers or equipment.
Note on B7: Author: Assumed these are always cooled
Note on B8: Author: Assumed these are always cooled
Note on B9: Author: Assumed these are always cooled
PCs and monitors
Networks
Phones
Totals and analysis
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
AV
MENU
Imaging
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 7_PCs_&_monitors
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
PCs & Monitors | Number | Watts (Active, idle) (f) | Watts (Standby) (f) | Hours/y (Active, idle) (g) | Hours/y (Standby) (g) | Total Energy Consumption kWh/y per PC (h) | Total Energy kWh/y
PCs
Power desktop PCs | 1 |  |  |  |  | 400 | 400
Standard desktop PCs | 1 |  |  |  |  | 200 | 200
Power laptop | 1 |  |  |  |  | 60 | 60
Standard laptop
Other Devices
Thin clients | 1 |  |  |  |  | 50 | 50
IPADS | 1 |  |  |  |  | 0 | 0
Tablets
Other devices
Monitors
LCD Monitors | 1 | 70 | 5 | 2080 | 6680 | 179 | 179
TFT Monitors | 1 | 25 | 1 | 2080 | 6680 | 58.68 | 58.68
LED Monitors
PCs & monitors energy sub-total | [6 empty] | 947.68
Note on D4: Watts per unit for active/idle power consumption were based on measurements made on individual computers at University of Sheffield, rounded up. The idle power rating was adopted as most PCs spend most of their time in this mode. Typically idle mode for a desktop can range between 40-90W. Standby mode for a desktop is typically between 1-3 W. Laptop power is typically lower. Power use for monitors was based on measurements at the University of Sheffield. Thin client power was based on measurements of SunRay units without a monitor which use around 7W on a 24*7 basis.
Note on E4: Watts per unit for active/idle power consumption were based on measurements made on individual computers at University of Sheffield, rounded up. The idle power rating was adopted as most PCs spend most of their time in this mode. Typically idle mode for a desktop can range between 40-90W. Standby mode for a desktop is typically between 1-3 W. Laptop power is typically lower. Power use for monitors was based on measurements at the University of Sheffield. Thin client power was based on measurements of SunRay units without a monitor which use around 7W on a 24*7 basis.
Note on F4: Hours per year in use for active/idle and standby were based on the following: Managed computers (i.e. PCs are powered down automatically by the network after a certain time in idle mode and hence spend more time in standby) are in active/idle mode for 40 hours per week, 52 weeks a year (i.e.2,080 hours/year), and in standby for the remaining hours of the year. Unmanaged computers in computer suites and departments are in active/idle mode for 70 hours per week, 52 weeks per year (i.e. 3,640 hours/year) (and in standby for the remaining time). Laptops and monitors are active/idle for 40 hours per week, 52 weeks per year (i.e. 2,080 hours/year) as the default on most operating systems tends to power them down to standby after 20 minutes.
Note on G4: Hours per year in use for active/idle and standby were based on the following: Managed computers (i.e. PCs are powered down automatically by the network after a certain time in idle mode and hence spend more time in standby) are in active/idle mode for 40 hours per week, 52 weeks a year (i.e.2,080 hours/year), and in standby for the remaining hours of the year. Unmanaged computers in computer suites and departments are in active/idle mode for 70 hours per week, 52 weeks per year (i.e. 3,640 hours/year) (and in standby for the remaining time). Laptops and monitors are active/idle for 40 hours per week, 52 weeks per year (i.e. 2,080 hours/year) as the default on most operating systems tends to power them down to standby after 20 minutes.
Note on B21: The tool does not apply an overhead to normal computer suites/rooms used by students on the grounds that they are not normally air conditioned. If computer suites/rooms are air-conditioned an overhead percentage needs to be made in the line labelled “Adjustments” (in cell G36). This in turn needs to be multiplied only by the total energy of the computers and monitors in computer suites – the tool assumes as a default that this is student managed PCs plus the same number of CRT monitors (see calculation in cell H36) but this should be amended accordingly.
Servers
Networks
Phones
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
AV
MENU
Imaging
Totals and analysis
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 8_Networks
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
Networks | Number | Watts per unit | Hours/y | Total Energy kWh/y
Cabinet-based hubs, switches, wireless access points & routers
10/100 switches (j) | 1 | 36 | 8760 | 315.36
10/100/1000 switches (j) | 1 | 70 | 8760 | 613.2
Core switches (k) | 1 | 600 | 8760 | 5256
Wireless access points (k) | 1 | 16 | 8760 | 140.16
Room-based switches, wireless access points & hubs
Room based hubs (k) | 1 | 4 | 8760 | 35.04
Unmanaged edge switches (k) | 1 | 25 | 8760 | 219
Power over ethernet (POE) (l)
POE Class 1 | 1 | 3 | 8760 | 26.28
POE Class 2 | 1 | 7 | 8760 | 61.32
POE Class 3 | 1 | 13 | 8760 | 113.88
POE Class 4 | 1 | 25 | 8760 | 219
Other | 0 | 0 | 8760 | 0
Networks energy sub-total |  |  |  | 6999.24
Servers
PCs and monitors
Phones
Totals and analysis
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
AV
MENU
Imaging
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 9_Phones
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
Phones | Number | Watts per unit | Overhead | Total Energy kWh/y
PABX phones
PABX distributed (m) | 1 | 2 |  | 17.52
PABX cooling and power supply (n) |  |  | 0.1 | 1.752
VOIP phones
Locally powered VOIP phones (o) | 1 | 8 |  | 70.08
Power over ethernet (POE) (l)
POE Class 1 | 1 | 3 |  | 26.28
POE Class 2 | 1 | 7 |  | 61.32
POE Class 3 | 1 | 13 |  | 113.88
POE Class 4 | 1 | 25 |  | 219
Mobile devices
Mobile phones
Smart phones eg Blackberries
Other | 1 | 0 |  | 0
Phones energy sub-total |  |  |  | 509.832
Note on B6: Watts per PABX distributed phone were based on measurements at University of Sheffield of 1.75W, rounded up.
Note on B7: An overhead of 10% was made for the extra electricity used by the UPS units based on estimates at the University of Sheffield.
Note on B9: Locally powered VOIP phones were assumed to use 8W per phone based on a CISCO IP phone (5 W per hone and 3W per Ethernet port) (Cartledge, 2007). The University of Sheffield does not have any VOIP phones.
Note on B10: Figures obtained by taking the mean power of a typical device in the class and assuming losses of 20% (from the switch power supply and cable losses) to power the device
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
Networks
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
INSTRUCTIONS Type in the blue areas below - nominal figures only have been entered.
PCs and monitors
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Servers
AV
MENU
Imaging
Totals and analysis
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 10_Imaging
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
Imaging | Number | Total Energy Consump-tion kWh/unit (p) | Total Energy kWh/y
Reprographics
Production mono MFD | 1 | 6000 | 6000
Production colour MFD | 1 | 2000 | 2000
Shared devices
High volume MFD (colour) | 1 | 2000 | 2000
High volume MFD (b/w)
Standard volume MFD (colour) | 1 | 1600 | 1600
Standard volume MFD (b/w) | 1 | 245 | 245
Laser printer | 1 | 600 | 600
Ink-jet | 1 | 300 | 300
Scanner | 1 | 400 | 400
Copier
Fax | 1 | 50 | 50
Personal
Personal printer | 1 | 100 | 100
Personal MFD | 1 | 290 | 290
Other
Other imaging devices | 1 | 0 | 0
Imaging energy sub-total |  |  | 13585
Servers
PCs and monitors
Networks
Totals and analysis
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
AV
MENU
Phones
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 11_AV
j
SusteIT ICT Energy and Carbon Footprinting Tool © SusteIT 2012
| AV | Number | Watts (Active) | Watts (Standby) | Hours/y (Active) | Hours/y (Standby) | Energy per unit kWh/y | Total Energy kWh/y
| Projectors (q) | 1 | 300 | 8 | 500 | 8260 |  | 216.08
| LED/PICO projectors (q) | 1 | 300 | 2 | 500 | 8260 |  | 166.52
| Plasma screens (r) | 1 | 700 | 3 | 8760 | 0 |  | 6132
| videoconferencing studio unit | 0 |  |  |  |  | 5256 | 0
|  | 0 | [5 empty] | 0
| Other AV equipment | 0 |  |  |  |  | 0 | 0
| AV energy sub-total | [6 empty] | 6514.6
INSTRUCTIONS Type in the blue areas - nominal figures only have been entered.
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Servers
PCs and monitors
Networks
Totals and analysis
MENU
Phones
Imaging
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 12_TotalAndAnalysis
Breakdown of Annual ICT Energy Use, Energy Cost and Carbon Emissions by Category
NB ADD IN STAFF Numbers to get a carbon density measure good for shjowing change over time
|  | Category | Energy Use (kWh/y) | % | Energy Cost (£/y) | CO2 emissions (kg/y)
Default electricity price (p/KwH) (u) | 0.12
Default CO2 emission (kg CO2/kWh) (v) | 0.54702 | Servers | 23494.32 | 45.14% | 2819.3184 | 12851.8629
|  | PCs | 947.68 | 1.821% | 113.7216 | 518.3999
|  | Networks | 6999.24 | 13.45% | 839.9088 | 3828.7243
|  | Telephony | 509.832 | 0.9795% | 61.1798 | 278.8883
|  | Imaging | 13585 | 26.1% | 1630.2 | 7431.2667
|  | AV | 6514.6 | 12.52% | 781.752 | 3563.6165
|  | TOTAL | 52050.672 | 100% | 6246.0806 | 28472.7586
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Energy use analysis
Energy cost analysis
CO2 emissions analysis
MENU
ICT vs total energy costs
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 13_EnergyUse
Analysis of Annual (Non-Residential) ICT Energy Use
|  | Category | Energy Use (kWh/y) | %
|  | Servers | 23494.32 | 45.14%
|  | PCs | 947.68 | 1.821%
Default electricity price (p/KwH) (u) | 0.12 | Networks | 6999.24 | 13.45%
Default CO2 emission (kg CO2/kWh) (v) | 0.54702 | Phones | 509.832 | 0.9795%
|  | Imaging | 13585 | 26.1%
|  | AV | 6514.6 | 12.52%
|  | TOTAL | 52050.672 | 100%
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Energy cost analysis
CO2 emissions analysis
MENU
Totals and analysis
ICT vs total energy costs
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 14_EnergyCost
Analysis of Annual Energy Cost by Category
|  | Category | Energy Use (kWh/y) | % | Energy Cost (£/y) | Energy Cost (%)
Default electricity price (p/KwH) (u) | 0.12 | Servers | 23494.32 | 45.14% | 2819.3184 | 45.14%
Default CO2 emission (kg CO2/kWh) (v) | 0.54702 | PCs | 947.68 | 1.821% | 113.7216 | 1.821%
|  | Networks | 6999.24 | 13.45% | 839.9088 | 13.45%
|  | Phones | 509.832 | 0.9795% | 61.1798 | 0.9795%
|  | Imaging | 13585 | 26.1% | 1630.2 | 26.1%
|  | AV | 6514.6 | 12.52% | 781.752 | 12.52%
|  | TOTAL | 52050.672 | 100% | 6246.0806
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Energy use analysis
CO2 emissions analysis
MENU
Totals and analysis
ICT vs total energy costs
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 15_CO2emissions
Analysis of Annual ICT Carbon Emissions by Category
|  | Category | Energy Use (kWh/y) | % | Energy Cost (£/y) | CO2 emissions (kg/y) | CO2 emissions (%)
Default electricity price (p/KwH) (u) | 0.12 | Servers | 23494.32 | 45.14% | 2819.3184 | 12851.8629 | 45.14%
Default CO2 emissions (kg/kWh) (v) | 0.54702 | PCs | 947.68 | 1.821% | 113.7216 | 518.3999 | 1.821%
|  | Networks | 6999.24 | 13.45% | 839.9088 | 3828.7243 | 13.45%
|  | Telephony | 509.832 | 0.9795% | 61.1798 | 278.8883 | 0.9795%
|  | Imaging | 13585 | 26.1% | 1630.2 | 7431.2667 | 26.1%
|  | AV | 6514.6 | 12.52% | 781.752 | 3563.6165 | 12.52%
|  | TOTAL | 52050.672 | 100% | 6246.0806 | 28472.7586
Areas in yellow are default figures which can be altered if data specific to the institution is available.
Energy use analysis
Energy cost analysis
MENU
Totals and analysis
ICT vs total energy costs
NOTES The letters in brackets correspond to explanations in the User Guide and the worksheet "Assumptions" on how the default assumptions were derived.
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]

## 16_ICT_in_the_org (optional)
Annual ICT Electricity Use, Electricity Cost and Carbon Emissions as related to the Total Institution
|  | Electricity use (Non residential) (kWh/y) | Electricity use (%) | Electricity cost (£/y) | Electricity cost (%) | CO2 emissions (kg/y) | CO2 emissions (%)
| Total institution | 200000 |  | 25000 |  | 100000
| ICT | 52050.672 | 26.03% | 6246.0806 | 24.98% | 28472.7586 | 28.47%
| Non-ICT | 147949.328 | 73.97% | 18753.9194 | 75.02% | 71527.2414 | 71.53%
Areas in yellow should be filled in with data specific to the institution.
MENU
Totals and analysis
CO2 emissions analysis
Energy use analysis
Energy cost analysis
http://creativecommons.org/licenses/by-nc-nd/3.0/ [cid:3444195277_2494814]