## 4.1.16
£ million 2011/12 prices | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21
LCF profile | 3300 | 4300 | 4900 | 5600 | 6450 | 7000 | 7600

## 6.1.1
Renewable Technology - Core scenario 30% | Strike Prices £/MWh (2012 prices)
| 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Advanced Conversion Technologies (with or without CHP) | 155 | 155 | 145 | 140 | 135
Anaerobic Digestion (with or without CHP) | 145 | 145 | 140 | 140 | 135
Dedicated biomass (with CHP) | 120 | 120 | 120 | 120 | 120
Energy from Waste (with CHP) | 90 | 90 | 90 | 90 | 90
Geothermal (with or without CHP) | 125 | 120 | 120 | 120 | 120
Hydro | 95 | 95 | 95 | 95 | 95
Landfill gas | 65 | 65 | 65 | 65 | 65
Sewage Gas | 85 | 85 | 85 | 85 | 85
Onshore Wind | 95 | 95 | 95 | 95 | 95
Offshore wind | 145 | 145 | 145 | 140 | 135
Biomass Conversion | 100 | 100 | 100 | 100 | 100
Marine (tidal / wave) | 305 | 305 | 305 | 305 | 305
Large Solar Photo-Voltaic | 125 | 125 | 120 | 115 | 110
Renewable Technology - Core scenario 32% | Strike Prices £/MWh (2012 prices)
| 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Advanced Conversion Technologies (with or without CHP) | 155 | 155 | 150 | 140 | 135
Anaerobic Digestion (with or without CHP) | 145 | 145 | 145 | 140 | 135
Dedicated biomass (with CHP) | 120 | 120 | 120 | 120 | 120
Energy from Waste (with CHP) | 90 | 90 | 90 | 90 | 90
Geothermal (with or without CHP) | 125 | 120 | 120 | 120 | 120
Hydro | 95 | 95 | 95 | 95 | 95
Landfill gas | 65 | 65 | 65 | 65 | 65
Sewage Gas | 85 | 85 | 85 | 85 | 85
Onshore Wind | 100 | 100 | 100 | 95 | 95
Offshore wind | 155 | 155 | 150 | 140 | 135
Biomass Conversion | 105 | 105 | 105 | 105 | 105
Marine (tidal / wave) | 305 | 305 | 305 | 305 | 305
Large Solar Photo-Voltaic | 125 | 125 | 120 | 115 | 110
Renewable Technology - Core scenario 35% | Strike Prices £/MWh (2012 prices)
| 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19
Advanced Conversion Technologies (with or without CHP) | 155 | 155 | 150 | 140 | 135
Anaerobic Digestion (with or without CHP) | 145 | 145 | 145 | 140 | 135
Dedicated biomass (with CHP) | 120 | 120 | 120 | 120 | 120
Energy from Waste (with CHP) | 90 | 90 | 90 | 90 | 90
Geothermal (with or without CHP) | 125 | 120 | 120 | 120 | 120
Hydro | 95 | 95 | 95 | 95 | 95
Landfill gas | 65 | 65 | 65 | 65 | 65
Sewage Gas | 85 | 85 | 85 | 85 | 85
Onshore Wind | 105 | 105 | 105 | 105 | 105
Offshore wind | 155 | 155 | 155 | 145 | 140
Biomass Conversion | 105 | 105 | 105 | 105 | 105
Marine (tidal / wave) | 305 | 305 | 305 | 305 | 305
Large Solar Photo-Voltaic | 125 | 125 | 120 | 115 | 110

## 6.1.2
CfD RO FiT - UK £ million 2011/12*
Scenario | FiT | RO | CFD
Core Scenario 30% | 1095 | 3335 | 2300
Core Scenario 32% | 1095 | 3295 | 2535
Core Scenario 35% | 1095 | 3365 | 3175
High offshore deployment | 1095 | 2990 | 3230
Low Tech Costs | 1095 | 3310 | 3205
High Tech Costs | 1095 | 3000 | 2985
Low Fossil Fuel Prices | 1095 | 3235 | 3290
High Demand | 1095 | 3305 | 2845
Higher Biomass Conversions | 1095 | 3665 | 2565
High LOLE | 1095 | 3295 | 2525
Low LOLE | 1095 | 3295 | 2540
*Rounded to the nearest £5million

## 6.1.3
2020 Total GB Capacity, GW
Capacity - GW | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | High Offshore Deployment | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand | Higher Biomass Conversions | High LOLE | Low LOLE
Advanced Conversion Technologies (CHP) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Anaerobic Digestion (CHP) | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Dedicated biomass (CHP) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
EfW with CHP | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
Geothermal (CHP) | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
Hydro | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7
Landfill gas | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
Sewage gas | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Onshore wind | 10.7 | 10.4 | 11.7 | 10.2 | 11.7 | 9.5 | 9.7 | 10.9 | 10.4 | 10.4 | 10.4
Offshore wind | 9 | 8 | 9.4 | 16 | 10.2 | 10.3 | 8 | 9 | 8 | 8 | 8
Biomass Conversion | 1.2 | 2.6 | 2.6 | 1.2 | 2.6 | 1.2 | 2.6 | 2.6 | 4 | 2.6 | 2.6
Marine | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
Large Solar Photo Voltaic | 3.2 | 2.4 | 2.4 | 2.2 | 3.2 | 2.5 | 1.8 | 2.9 | 2.4 | 2.3 | 2.4
Other renewables (incl small scale FITs) | 9.3 | 9.3 | 9.5 | 9.3 | 9.3 | 9.3 | 9.3 | 9.3 | 9.3 | 9.3 | 9.3
Unabated gas | 28.1 | 27.9 | 28.9 | 31.8 | 28.9 | 28.8 | 34.5 | 31.1 | 27.2 | 26.6 | 30.4
Unabated coal | 13.8 | 12.7 | 11.6 | 12.2 | 11.1 | 13.3 | 7.4 | 12.7 | 12.2 | 12.7 | 12.2
CCS | 0.6 | 0.6 | 0.6 | 0 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
Nuclear | 10.7 | 10.7 | 10.7 | 9.1 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7
Other | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5
New Build GB Capacity (2013-2020), GW
Capacity - GW | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | High Offshore Deployment | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand | Higher Biomass Conversions | High LOLE | Low LOLE
Advanced Conversion Technologies (CHP) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Anaerobic Digestion (CHP) | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Dedicated biomass (CHP) | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
EfW with CHP | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
Geothermal (CHP) | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
Hydro | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Landfill gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sewage gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Onshore wind | 5.7 | 5.5 | 6.7 | 5.2 | 6.8 | 4.5 | 4.7 | 5.9 | 5.5 | 5.5 | 5.5
Offshore wind | 6.4 | 5.4 | 6.8 | 13.4 | 7.6 | 7.7 | 5.4 | 6.4 | 5.4 | 5.4 | 5.4
Biomass Conversion | 1.2 | 2.6 | 2.6 | 1.2 | 2.6 | 1.2 | 2.6 | 2.6 | 4 | 2.6 | 2.6
Marine | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14
Large Solar Photo Voltaic | 2.9 | 2.1 | 2.2 | 2 | 2.9 | 2.2 | 1.5 | 2.7 | 2.2 | 2 | 2.2
Other renewables (incl small scale FITs) | 7 | 7 | 7.1 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
Unabated gas | 5.5 | 3.3 | 3.3 | 5.5 | 3.3 | 5.5 | 7.8 | 7.2 | 3.3 | 5.5 | 3.8
Unabated coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCS | 0.6 | 0.6 | 0.6 | 0 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
Nuclear | 1.7 | 1.7 | 1.7 | 0 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7 | 1.7
Other | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5
Note:
1. New build figures for 'unabated gas' and 'other' were incorrectly quoted in the NG report and have been updated in this spreadsheet.

## 6.1.4
2020 Total GB Generation TWh
Generation - TWh | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | High Offshore Deployment | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand | Higher Biomass Conversions | High LOLE | Low LOLE
Advanced Conversion Technologies (CHP) | 2.1 | 2.2 | 2.2 | 2.2 | 2.6 | 2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
Anaerobic Digestion (CHP) | 1.6 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 1.5 | 1.6 | 1.5 | 1.5 | 1.5
Dedicated biomass (CHP) | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1
EfW with CHP | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4
Geothermal (CHP) | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Hydro | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Landfill gas | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Sewage gas | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
Onshore wind | 25.8 | 25.2 | 28.2 | 24.7 | 28.4 | 23 | 23.3 | 26.3 | 25.2 | 25.2 | 25.2
Offshore wind | 27.8 | 24.3 | 29.2 | 51.6 | 31.8 | 32.5 | 24.3 | 27.8 | 24.3 | 24.3 | 24.3
Biomass Conversion | 7.4 | 17.1 | 16.8 | 7.1 | 16.7 | 7.4 | 17.2 | 17.2 | 25.6 | 17.1 | 17.1
Marine | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
Large Solar Photo Voltaic | 3.1 | 2.3 | 2.4 | 2.2 | 3.1 | 2.4 | 1.7 | 2.9 | 2.4 | 2.2 | 2.4
Other renewables (incl small scale FITs) | 14.1 | 14.1 | 15.4 | 14.1 | 14.1 | 14.1 | 14.2 | 14.1 | 14.1 | 14.1 | 14.1
Unabated gas | 73.5 | 71 | 64.7 | 73.2 | 63.1 | 73.7 | 99.1 | 79.7 | 64.2 | 71.1 | 71.5
Unabated coal | 24.3 | 21.9 | 19.4 | 21.1 | 18.5 | 23.3 | 0.5 | 23.1 | 20.2 | 21.9 | 21.3
CCS | 4.7 | 4.7 | 4.7 | 0 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7
Nuclear | 69.4 | 69.4 | 69.4 | 56.3 | 69.4 | 69.4 | 69.4 | 69.4 | 69.4 | 69.4 | 69.4
Other | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9 | 47.9

## 6.1.5
Baseload wholesale price £/MWh 2012 prices* | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Core Scenario 30% | 46.3 | 51.03 | 56.76 | 58.5 | 59.37 | 60.55 | 61.4 | 61.73 | 63.83 | 66.14 | 66.57 | 68.23 | 69.47 | 69.19 | 71.75 | 71.58 | 69.27 | 67.83
Core Scenario 32% | 46.3 | 50.98 | 56.8 | 58.35 | 59.24 | 60.44 | 61.33 | 61.84 | 64.07 | 66.14 | 66.7 | 68.26 | 69.24 | 68.97 | 72.57 | 71.88 | 70.36 | 68.71
Core Scenario 35% | 46.3 | 50.98 | 56.73 | 58.18 | 59.01 | 59.99 | 60.84 | 61.02 | 62.94 | 65.17 | 65.18 | 67.41 | 67.89 | 66.75 | 70.48 | 70.85 | 70.07 | 68.59
High Offshore Deployment | 46.3 | 51.03 | 56.76 | 58.49 | 59.31 | 60.5 | 60.57 | 60.22 | 58.56 | 58.45 | 55.68 | 58.47 | 55.72 | 56.68 | 58.12 | 56.77 | 54.66 | 52.24
Low Tech Costs | 46.3 | 50.98 | 56.72 | 58.1 | 58.77 | 59.72 | 60.7 | 60.61 | 63.14 | 65.65 | 66.38 | 68.43 | 69.41 | 68.94 | 72.34 | 72.57 | 71.83 | 70.34
High Tech Costs | 46.3 | 51.05 | 56.84 | 58.72 | 59.73 | 60.95 | 61.29 | 61.63 | 63.74 | 65.94 | 66.41 | 67.87 | 69.1 | 68.56 | 70.81 | 70.01 | 68 | 66.63
Low Fossil Fuel Prices | 40.51 | 41.69 | 44.87 | 43.74 | 42.22 | 41.19 | 41.76 | 42.19 | 44.11 | 45.86 | 46.43 | 48.1 | 49.33 | 49.81 | 52.88 | 53 | 50.62 | 49.72
High Demand | 46.87 | 52.02 | 58.61 | 60.7 | 60.83 | 61.59 | 61.59 | 62.15 | 64.41 | 66.52 | 67.02 | 68.2 | 69.43 | 69.03 | 72.45 | 72.57 | 70.45 | 69.59
Higher Biomass Conversions | 46.3 | 51.03 | 56.37 | 57.83 | 58.71 | 59.96 | 60.98 | 61.43 | 63.57 | 65.65 | 66.09 | 67.87 | 68.6 | 68.14 | 72.98 | 72.62 | 70.9 | 69.64
High LOLE | 46.3 | 50.98 | 56.8 | 58.35 | 59.24 | 60.44 | 61.48 | 61.97 | 64.2 | 66.34 | 66.97 | 68.6 | 69.83 | 70.01 | 74 | 73.47 | 71.21 | 69.88
Low LOLE | 46.3 | 50.98 | 56.8 | 58.35 | 59.24 | 60.44 | 61.02 | 61.74 | 63.96 | 66.05 | 66.56 | 67.95 | 68.96 | 68.47 | 71.68 | 70.97 | 69.09 | 68.01
*Rounded to the nearest pence

## 6.1.6
Scenario | Total Network Costs in 2020 £ million 2012 prices*
Core Scenario 30% | 4100
Core Scenario 32% | 4000
Core Scenario 35% | 4300
High Offshore Deployment | 4800
Low Tech Costs | 4300
High Tech Costs | 4100
Low Fossil Fuel Prices | 3800
High Demand | 4200
Higher Biomass Conversions | 4100
High LOLE | 4000
Low LOLE | 4000
*Rounded to the nearest £100million

## 6.3.1
2020 Total Capacity, GW
Capacity - GW | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand
Onshore wind | 1.054 | 1.084 | 1.114 | 1.084 | 1.084 | 1.084 | 1.091
Offshore wind | 0.182 | 0.191 | 0.2 | 0.191 | 0.191 | 0.191 | 0.196
Marine | 0.147 | 0.154 | 0.161 | 0.154 | 0.154 | 0.154 | 0.158
Other renewables | 0.144 | 0.148 | 0.152 | 0.148 | 0.148 | 0.148 | 0.151
Unabated gas | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99
Unabated coal | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48
Other (excluding interconnection) | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
New Build Capacity (2013-2020), GW
Capacity - GW | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand
Onshore wind | 0.59 | 0.62 | 0.65 | 0.62 | 0.62 | 0.62 | 0.62
Offshore wind | 0.18 | 0.19 | 0.2 | 0.19 | 0.19 | 0.19 | 0.2
Marine | 0.15 | 0.15 | 0.16 | 0.15 | 0.15 | 0.15 | 0.16
Other renewables | 0.11 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12
Unabated gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unabated coal | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other (excluding interconnection) | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02

## 6.3.2
2020 Total Generation TWh (modelled)
Generation - TWh | Core Scenario 30% | Core Scenario 32% | Core Scenario 35% | Low Tech Costs | High Tech Costs | Low Fossil Fuel Prices | High Demand
Onshore wind | 2.55 | 2.62 | 2.69 | 2.62 | 2.62 | 2.62 | 2.64
Offshore wind | 0.54 | 0.56 | 0.59 | 0.56 | 0.56 | 0.56 | 0.58
Marine | 0.24 | 0.26 | 0.27 | 0.26 | 0.26 | 0.26 | 0.26
Other renewables | 0.56 | 0.57 | 0.58 | 0.57 | 0.57 | 0.57 | 0.58
Unabated gas | 2.23 | 2.2 | 2.17 | 2.2 | 2.2 | 3.37 | 2.39
Unabated coal | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 | 0.29 | 0.51
Other (excluding interconnection) | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01

## 6.4
Scenario | 2020/21 LCF spend £million (2011/12 prices)* | UK Renewable % electricity
Core Scenario 30% | 6700 | 30%
Core Scenario 32% | 6900 | 32%
Core scenario 35% | 7600 | 35%
High offshore deployment | 7300 | 35%
Low Tech Costs | 7600 | 35%
High Tech Costs | 7100 | 30%
Low Fossil Fuel Prices | 7600 | 31%
High Demand | 7200 | 32%
Higher Biomass Conversions | 7300 | 35%
High LOLE | 6900 | 32%
Low LOLE | 6900 | 32%
*Rounded to the nearest £100 million

## Annex 2
UK Demand TWh | Low | Central | Adjusted for low fossil fuel prices | High
2012 | 348 | 352 | 352 | 356
2013 | 338 | 344 | 345 | 352
2014 | 332 | 339 | 340 | 350
2015 | 325 | 333 | 335 | 349
2016 | 319 | 328 | 331 | 348
2017 | 317 | 326 | 330 | 345
2018 | 316 | 326 | 331 | 342
2019 | 315 | 327 | 332 | 343
2020 | 314 | 327 | 331 | 343
2021 | 317 | 332 | 336 | 346
2022 | 321 | 336 | 340 | 352
2023 | 326 | 342 | 347 | 359
2024 | 331 | 347 | 351 | 364
2025 | 334 | 352 | 356 | 371
2026 | 342 | 360 | 364 | 378
2027 | 350 | 370 | 375 | 389
2028 | 359 | 380 | 385 | 400
2029 | 366 | 387 | 392 | 407
2030 | 374 | 397 | 402 | 418

## Annex 3
Oil Prices $/bbl |  |  |  | Gas Prices p/therm |  |  |  | Coal Prices $/tonne
| Low | Central | High |  | Low | Central | High |  | Low | Central | High
2012 | 111.6 | 111.6 | 111.6 | 2012 | 60.1 | 60.1 | 60.1 | 2012 | 92.3 | 92.3 | 92.3
2013 | 93 | 107.7 | 122.4 | 2013 | 53 | 62.3 | 71.7 | 2013 | 85 | 89.5 | 94
2014 | 91.8 | 109 | 125.7 | 2014 | 50.6 | 65.3 | 86.4 | 2014 | 85.9 | 95.6 | 105.2
2015 | 90.5 | 110.4 | 129 | 2015 | 48.3 | 68.3 | 88.7 | 2015 | 86.7 | 101.8 | 110.4
2016 | 89.2 | 111.7 | 132.4 | 2016 | 45.9 | 69.1 | 91.1 | 2016 | 87.6 | 105.5 | 115.6
2017 | 88.1 | 113 | 135.9 | 2017 | 43.7 | 70.7 | 93.4 | 2017 | 88.3 | 109.2 | 120.8
2018 | 86.8 | 114.4 | 139.6 | 2018 | 41.3 | 72.3 | 95.9 | 2018 | 89.2 | 112.9 | 126
2019 | 85.6 | 115.8 | 143.2 | 2019 | 41.3 | 72.3 | 98.4 | 2019 | 90 | 116.7 | 131.1
2020 | 84.4 | 117.2 | 147 | 2020 | 41.3 | 72.3 | 101.1 | 2020 | 90.9 | 120.4 | 136.3
2021 | 83.3 | 118.6 | 150.9 | 2021 | 41.3 | 72.3 | 103.2 | 2021 | 90.9 | 120.4 | 141.6
2022 | 82.1 | 120.1 | 154.9 | 2022 | 41.3 | 72.3 | 103.2 | 2022 | 90.9 | 120.4 | 146.8
2023 | 81 | 121.5 | 159.1 | 2023 | 41.3 | 72.3 | 103.2 | 2023 | 90.9 | 120.4 | 152
2024 | 79.8 | 123 | 163.3 | 2024 | 41.3 | 72.3 | 103.2 | 2024 | 90.9 | 120.4 | 157.2
2025 | 78.7 | 124.5 | 167.6 | 2025 | 41.3 | 72.3 | 103.2 | 2025 | 90.9 | 120.4 | 162.4
2026 | 77.7 | 126 | 172 | 2026 | 41.3 | 72.3 | 103.2 | 2026 | 90.9 | 120.4 | 162.4
2027 | 76.6 | 127.5 | 176.6 | 2027 | 41.3 | 72.3 | 103.2 | 2027 | 90.9 | 120.4 | 162.4
2028 | 75.5 | 129.1 | 181.3 | 2028 | 41.3 | 72.3 | 103.2 | 2028 | 90.9 | 120.4 | 162.4
2029 | 74.5 | 130.7 | 186.1 | 2029 | 41.3 | 72.3 | 103.2 | 2029 | 90.9 | 120.4 | 162.4
2030 | 73.5 | 132.2 | 191 | 2030 | 41.3 | 72.3 | 103.2 | 2030 | 90.9 | 120.4 | 162.4

## Annex 4
Carbon Price Floor, 2012 £/tonne of CO2e
Central
2013 | 10
2014 | 14
2015 | 21
2016 | 23
2017 | 25
2018 | 28
2019 | 30
2020 | 32
2021 | 36
2022 | 41
2023 | 45
2024 | 49
2025 | 53
2026 | 58
2027 | 62
2028 | 66
2029 | 70
2030 | 75

## Annex 5
£ million 2011/12 prices | 2014/15 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21
LCF profile | 3300 | 4300 | 4900 | 5600 | 6450 | 7000 | 7600

## Annex 6
Technology name | RO hurdle rates used for draft Delivery Plan* | Hurdle rate under CfDs
ACT advanced | 11.2% | 10.6%
ACT CHP | 9.4% | 9%
ACT standard | 8.4% | 8%
AD >5MW | 12% | 11.3%
AD CHP | 13% | 12.3%
Dedicated Biomass CHP | 13.5% | 12.7%
Biomass Conversion | 11.6% | 10.9%
EfW CHP | 11.9% | 11.2%
Geothermal | 22.5% | 21.1%
Geothermal CHP | 23.5% | 22%
Hydro | 7% | 6.7%
Landfill gas | 8.4% | 8%
Offshore Wind** | 10.2% | 9.6%
Offshore Wind R3** | 12% | 11.3%
Onshore Wind | 8.3% | 7.9%
Sewage Gas | 9.4% | 9%
Large Solar Photo-Voltaic | 6.2% | 5.8%
Tidal stream (pre-commercial) | 8% | 7.3%
Wave (pre-commercial) | 8% | 7.4%
*These have been adjusted for the Effective Tax Rate work which is explained in DECC’s Electricity Generation Costs 2013 report.
**Note that there is unlikely to be a clear distinction between all R2 and all R3 projects, as pre-tax real hurdle rates will vary on a project by project basis.

## Annex 7
PPA discounts under the Renewables Obligation
| Wholesale price | ROC | LEC
Offshore wind | 5% | 5% | 5%
Onshore wind | 13% | 10% | 10%
Other intermittent renewables | 13% | 10% | 10%
Non-intermittent renewables | 7% | 10% | 10%
PPA discounts under CfDs
| Wholesale price | LEC
Offshore wind | 5% | 5%
Onshore wind | 10% | 10%
Other intermittent renewables | 13% | 10%
Non-intermittent renewables | 7% | 10%

## Annex 8
Max build limits of renewable plants supported by CfDs, by commissioning year - MW
Rounded | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
ACT advanced | 0 | 0 | 0 | 30 | 60 | 30 | 30 | 15
ACT CHP | 0 | 0 | 0 | 0 | 15 | 0 | 15 | 0
ACT standard | 10 | 15 | 40 | 90 | 105 | 75 | 105 | 45
AD | 0 | 40 | 45 | 45 | 65 | 70 | 70 | 65
AD CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Dedicated Biomass CHP | 50 | 40 | 10 | 0 | 100 | 60 | 200 | 100
EfW CHP | 50 | 90 | 70 | 30 | 0 | 200 | 100 | 30
Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal CHP | 0 | 5 | 5 | 0 | 0 | 5 | 5 | 5
Hydro | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10
Landfill gas | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Large Solar Photo-Voltaic | 200 | 100 | 200 | 1000 | 1000 | 1000 | 1000 | 1000
Offshore Wind | 1000 | 200 | 400 | 1000 | 2200 | 2400 | 3100 | 3300
Onshore Wind | 1800 | 500 | 1100 | 1300 | 900 | 1000 | 1000 | 1100
Sewage Gas | 5 | 5 | 10 | 5 | 5 | 5 | 5 | 5
Tidal range | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tidal stream | 5 | 0 | 0 | 30 | 5 | 50 | 0 | 50
Wave | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50
Notes:
1. Biomass conversions assumptions are exogenously imposed in the modelling, and as such no assumed maximum build constraints have been set.
2. There is limited information on maximum build limits for tidal range, but when details of potential projects emerge, impacts may be considered on a project-by-project basis.
3. Maximum build limits include pipeline plant in early years.
4. Maximum build limits >100MW are rounded to the nearest 100MW; maximum build limits <100MW are rounded to the nearest 5MW.
5. A build limit of 0MW means no build is assumed in that year.

## Annex 9
Technology name | Maximum annual net load factors of CfD supported plant
ACT advanced | 87%
ACT CHP | 77%
ACT standard | 89%
AD >5MW | 84%
AD CHP | 84%
Dedicated Biomass CHP | 83%
EfW CHP | 85%
Geothermal | 91%
Geothermal CHP | 91%
Hydro | 35%
Landfill gas | 57%
Offshore Wind | 38%
Onshore Wind | 28%
Sewage Gas | 44%
Large Solar Photo-Voltaic | 11%
Tidal stream (pre-commercial) | 31%
Wave (pre-commercial) | 31%
Notes:
1. Biomass conversion plants are modelled on a plant by plant basis.
2. The load factor for tidal stream refers to tidal stream shallow. Tidal stream deep is assumed to have a maximum annual net load factor of 39%.
3. Maximum load factors for offshore wind refer to R2 sites. R3 sites are assumed to have an average maximum load factor of 39.5%. In practice there is unlikely to be a clear distinction between all R2 and all R3 projects, as load factors will vary on a project by project basis.