UK Standards for Microbiology Investigations

Isolation of Human Herpes Viruses (excluding Herpes genitalis)

Acknowledgments

UK Standards for Microbiology Investigations (SMIs) are developed under the auspices of Public Health England (PHE) working in partnership with the National Health Service (NHS), Public Health Wales and with the professional organisations whose logos are displayed below and listed on the website http://www.hpa.org.uk/SMI/Partnerships. SMIs are developed, reviewed and revised by various working groups which are overseen by a steering committee (see http://www.hpa.org.uk/SMI/WorkingGroups).

The contributions of many individuals in clinical, specialist and reference laboratories who have provided information and comments during the development of this document are acknowledged. We are grateful to the Medical Editors for editing the medical content.

For further information please contact us at:

Standards Unit

Microbiology Services

Public Health England

61 Colindale Avenue

London NW9 5EQ

E-mail: standards@phe.gov.uk

Website: http://www.hpa.org.uk/SMI

UK Standards for Microbiology Investigations are produced in association with:

Contents

Acknowledgments	2

Amendment Table	4

UK Standards for Microbiology Investigations: Scope and Purpose	5

Scope of Document	8

Introduction	8

Technical Information/Limitations	10

1	Safety Considerations	11

2	Specimen Collection	11

3	Specimen Transport and Storage	12

4	Specimen Processing/Procedure	12

5	Quality Assurance	15

6	Limitations	15

7	Reporting Procedure	15

8	Notification to PHE or Equivalent in the Devolved Administrations	16

References	17

Amendment Table

Each SMI method has an individual record of amendments. The current amendments are listed on this page. The amendment history is available from standards@phe.gov.uk.

New or revised documents should be controlled within the laboratory in accordance with the local quality management system.

| Amendment No/Date. | 6/10.10.13 |
| --- | --- |
| Issue no. discarded. | 3.2 |
| Insert Issue no. | 3.3 |
| Section(s) involved | Amendment |
| Whole document. | Document has been transferred to a new template to reflect the Health Protection Agency’s transition to Public Health England. Front page has been redesigned. Status page has been renamed as Scope and Purpose and updated as appropriate. Professional body logos have been reviewed and updated. Standard safety references have been reviewed and updated. Scientific content remains unchanged. |

| Amendment No/Date. | 5/20.04.12 |
| --- | --- |
| Issue no. discarded. | 3.1 |
| Insert Issue no. | 3.2 |
| Section(s) involved | Amendment |
| Whole document. | Document presented in a new format. Standard heading for Technical Information added. |
| Section 3. | Headings rearranged. |
| Section 8. | Updated to include the Health protection regulations 2010. |
| References. | Some references updated. |

UK Standards for Microbiology Investigations(: Scope and Purpose

Users of SMIs

- SMIs are primarily intended as a general resource for practising professionals operating in the field of laboratory medicine and infection specialties in the UK.

- SMIs provide clinicians with information about the available test repertoire and the standard of laboratory services they should expect for the investigation of infection in their patients, as well as providing information that aids the electronic ordering of appropriate tests.

- SMIs provide commissioners of healthcare services with the appropriateness and standard of microbiology investigations they should be seeking as part of the clinical and public health care package for their population.

Background to SMIs

SMIs comprise a collection of recommended algorithms and procedures covering all stages of the investigative process in microbiology from the pre-analytical (clinical syndrome) stage to the analytical (laboratory testing) and post analytical (result interpretation and reporting) stages.

Syndromic algorithms are supported by more detailed documents containing advice on the investigation of specific diseases and infections. Guidance notes cover the clinical background, differential diagnosis, and appropriate investigation of particular clinical conditions. Quality guidance notes describe laboratory processes which underpin quality, for example assay validation.

Standardisation of the diagnostic process through the application of SMIs helps to assure the equivalence of investigation strategies in different laboratories across the UK and is essential for public health surveillance, research and development activities.

Equal Partnership Working

SMIs are developed in equal partnership with PHE, NHS, Royal College of Pathologists and professional societies.

The list of participating societies may be found at http://www.hpa.org.uk/SMI/Partnerships. Inclusion of a logo in an SMI indicates participation of the society in equal partnership and support for the objectives and process of preparing SMIs. Nominees of professional societies are members of the Steering Committee and Working Groups which develop SMIs. The views of nominees cannot be rigorously representative of the members of their nominating organisations nor the corporate views of their organisations. Nominees act as a conduit for two way reporting and dialogue. Representative views are sought through the consultation process.

SMIs are developed, reviewed and updated through a wide consultation process.

Quality Assurance

NICE has accredited the process used by the SMI Working Groups to produce SMIs. The accreditation is applicable to all guidance produced since October 2009. The process for the development of SMIs is certified to ISO 9001:2008.

SMIs represent a good standard of practice to which all clinical and public health microbiology laboratories in the UK are expected to work. SMIs are NICE accredited and represent neither minimum standards of practice nor the highest level of complex laboratory investigation possible. In using SMIs, laboratories should take account of local requirements and undertake additional investigations where appropriate. SMIs help laboratories to meet accreditation requirements by promoting high quality practices which are auditable. SMIs also provide a reference point for method development.

The performance of SMIs depends on competent staff and appropriate quality reagents and equipment. Laboratories should ensure that all commercial and in-house tests have been validated and shown to be fit for purpose. Laboratories should participate in external quality assessment schemes and undertake relevant internal quality control procedures.

Patient and Public Involvement

The SMI Working Groups are committed to patient and public involvement in the development of SMIs. By involving the public, health professionals, scientists and voluntary organisations the resulting SMI will be robust and meet the needs of the user. An opportunity is given to members of the public to contribute to consultations through our open access website.

Information Governance and Equality

PHE is a Caldicott compliant organisation. It seeks to take every possible precaution to prevent unauthorised disclosure of patient details and to ensure that patient-related records are kept under secure conditions.

The development of SMIs are subject to PHE Equality objectives http://www.hpa.org.uk/webc/HPAwebFile/HPAweb_C/1317133470313. The SMI Working Groups are committed to achieving the equality objectives by effective consultation with members of the public, partners, stakeholders and specialist interest groups.

Legal Statement

Whilst every care has been taken in the preparation of SMIs, PHE and any supporting organisation, shall, to the greatest extent possible under any applicable law, exclude liability for all losses, costs, claims, damages or expenses arising out of or connected with the use of an SMI or any information contained therein. If alterations are made to an SMI, it must be made clear where and by whom such changes have been made.

The evidence base and microbial taxonomy for the SMI is as complete as possible at the time of issue. Any omissions and new material will be considered at the next review. These standards can only be superseded by revisions of the standard, legislative action, or by NICE accredited guidance.

SMIs are Crown copyright which should be acknowledged where appropriate.

Suggested Citation for this Document

Public Health England. (2013). Isolation of Human Herpes Viruses (excluding Herpes genitalis) . UK Standards for Microbiology Investigations. V 23 Issue 3.3. http://www.hpa.org.uk/SMI/pdf.

Scope of Document

The SMI describes the method used to isolate and identify HSV (isolated from non-genital sites), VZV and CMV utilizing two cell culture techniques. The investigation of HSV from genital sites (herpes genitalis) is outlined in V 17-Isolation of Herpes Simplex Virus associated with Herpes genitalis.

This SMI should be used in conjunction with other SMIs.

Introduction

Background1

The Family Herpesviridae comprises over 100 viruses that have been isolated from a wide range of vertebrates. The Family Herpesviridae is sub-divided into three subfamilies or genera; the Alpha, Beta and Gammaherpesviridae depending upon the host range, duration of the reproductive cycle, cytopathology and the characteristics of latent infection. To date, eight members of the Family have been identified as causing an infection in humans, of which four can be isolated and identified employing conventional monolayer cell culture techniques, namely:

- Herpes simplex virus type 1 (HSV1)

- Herpes simplex virus type 2 (HSV2)

- Varicella-zoster virus (VZV)

- Cytomegalovirus (CMV)

- Herpes Simplex virus (HSV)

HSV is a member of the genus Alphaherpesviridae. It is a virus that infects mucosal epithelium and can occur at a variety of sites on the body2.

During primary infection the virus enters the sensory nerve endings and is transported to the dorsal root ganglion, specific to the affected epithelium, where latent infection is established. It is from this latent virus that reactivation or recurrence of the infection or the asymptomatic shedding of virus can occur.

HSV1 has traditionally been ascribed to infections "above the belt" but this distinction is less clear and infections with HSV1 can commonly be found infecting all sites. Classically HSV1 causes oral herpes (cold sores), but can be associated with infection of the eye (keratoconjunctivitis and corneal ulceration) and with genital infections, where, in the immunocompetent person, the infection remains localised3.

HSV can infect the central nervous system (CNS) to manifest itself as herpes encephalitis. This infection can result from either a primary HSV infection or as a result of reactivation of the virus. The requirement for a speedy diagnosis of herpes encephalitis to enable the prompt administration of specific antiviral drugs is essential. The detection of viral DNA in the cerebrospinal fluid (CSF) utilising the Polymerase Chain Reaction (PCR), rather than the isolation of the virus using cell culture techniques, is the method of choice in diagnosing this manifestation4,5.

In the neonate, HSV can present as a generalised infection affecting multiple organs and is often fatal6. It has been noted that neonates born to mothers who have acquired a primary HSV infection close to term, have a higher incidence of infection, probably due to the higher viral load associated with primary infection as opposed to an infection associated with the reactivation of the virus7.

The development of antiviral drugs effective against HSV infections has highlighted the requirement for diagnostic methods that are accurate, relatively quick, allows typing of isolates and, if required, allows the determination of antiviral susceptibility. The isolation of HSV in monolayer cell culture fulfils these criteria.

Varicella-Zoster virus (VZV)8

VZV is a member of the genus Alphaherpesviridae. The primary infection with this virus is varicella (chickenpox) which is usually seen as a childhood illness. After an incubation period ranging from 10 - 21 days the symptoms present as a febrile illness with a macular rash rapidly developing into fluid filled vesicles that crust after a few days and then heal. The lesions characteristically appear in "crops" so that all stages of the rash can be present at the same time and the distribution of the rash over the body is centripetal. The severity of the disease increases in the adult when complications such as pneumonia and encephalitis can occur, especially in patients who are immunocompromised. VZV infection in pregnancy either presents a risk to the developing foetus, in utero, or if the infection is contracted close to term, as a severe neonatal infection with symptoms developing 7 - 10 days after birth.

VZV establishes life-long infection of the sensory root ganglion. However, reactivation of the virus takes the form of a unilateral rash, usually limited to a single dermatome. This manifestation of the virus is termed herpes zoster (commonly known as shingles). The condition is most widely seen as a rash in the thoracic region and occasionally the cranial region where eye involvement may occur. Shingles occurs more frequently in the elderly and the immunocompromised. In patients who are immunocompromised, the rash may be associated with a disseminated infection, infecting a wide range of organs.

Cytomegalovirus (CMV)9

CMV is a member of the genus Betaherpesviridae and demonstrates many characteristics of the genera. It displays marked host cell tropism, is cell associated and replicates more slowly than members of the Alphaherpesviridae such as HSV or VZV.

Following a primary infection, as with other members of the Herpesviridae, a state of persistent infection or viral latency occurs and virus can be recovered for extended periods from various body fluids such as saliva, urine, semen and breast milk.

In individuals who are immunocompetent, CMV rarely causes a symptomatic infection. It has however been associated with heterophile antibody negative cases of infectious mononucleosis following large scale administration of blood products after major surgery or trauma. Infection with CMV during pregnancy may be asymptomatic but can cause an infection in utero giving rise to congenital CMV infection10.

CMV infection, in patients who are immunocompromised, either acquired as in AIDS or induced as in allograft recipients, can produce serious consequences accounting for a high degree of morbidity and mortality in these groups. In the latter group infection can arise either as a result of reactivation of endogenous virus or as infection or re-infection by virus present in the transplanted organ. In either instance accurate, speedy diagnosis of the CMV infection is essential to enable anti-viral therapy to be instigated. To this end diagnosis of CMV infection in the patient who is immunocompromised is best effected by the demonstration of viral DNA utilising a PCR technique11.

Technical Information/Limitations

N/A

1	Safety Considerations12-28

1.1	Specimen Collection12,13

Appropriate hazard labelling according to local policy.

1.2	Specimen Transport and Storage12-17

Compliance with current postal and courier transportation regulations is essential.

A suitable virus transport system must be used and the specimen should be placed in a sealed plastic bag, separately from the request form.

1.3	Specimen Processing12-28

- These viruses are classified as a Hazard Group 2 pathogen; refer to current guidance on the safe handling of Hazard Group 2 organisms

- Pregnant women may be at risk of passing the infection to the foetus. Therefore, staff with no known history of these infections who are, or may be, pregnant should be made aware of the risks involved

- Laboratory procedures that may give rise to infectious aerosols must be conducted in a Class 1 microbiological safety cabinet (MSC)

- It is strongly recommended that disposable gloves are worn when inoculating samples or manipulating cell cultures suspected of containing these viruses

The above guidance should be supplemented with local COSHH and risk assessments.

2	Specimen Collection

2.1	Type of Specimens

| HSV | Vesicle swabs | Conjunctival swab |
| --- | --- | --- |
|  | Lesions swabs | Throat swabs |
|  | Ulcer swabs | Mouth swabs |
| CMV | Mouth washing | Urine |
|  | Throat gargle | Heparinised blood |
|  | Bronchoalveolar lavage | Induced sputum |
| VZV | Vesicle fluids | Lesion swabs |
|  | Vesicle swabs | Crusts from lesions |
|  | Lesions swabs | Scrapings from lesions |

2.2	Optimal Time of Specimen Collection

Swabs or samples should be taken as soon as possible after symptoms appear. Scraping or swabs taken from the base of active lesions should be put immediately into Virus Transport Medium (VTM). Repeat sampling is not usually necessary except for suspected cases of CMV. In this case viral excretion or shedding may be transient and continue some considerable time after a primary infection and it may therefore be necessary to examine a number of samples in order to isolate the virus.

All specimens should be taken before anti-viral chemotherapy is commenced.

2.3	Correct Specimen Type and Method of Collection

N/A

2.4	Adequate Quantity and Appropriate Number of Specimens

N/A

3	Specimen Transport and Storage12,13

3.1	Time between Specimen Collection and Processing

Specimens should be processed as soon as possible after collection.

Where used, transportation systems should ensure that specimens arrive in the laboratory within 24hr.

3.2	Special Considerations to Minimise Deterioration

Samples should be placed in a suitable VTM immediately after collection.

When there is a delay in processing samples should be refrigerated; if the delay may exceed 24hr, samples may be frozen at -70°C or lower and thawed prior to processing. Repeated freezing and thawing should be avoided.

4	Specimen Processing/Procedure12,13

4.1	Test Selection

Under circumstances where a rapid result is required electron microscopy (EM), immunofluorescence (IF) or a commercial antigen detection assay may be used to provide a provisional interim report, but this result should ideally be confirmed by PCR or culture. For CMV it is also worth considering using a “shell vial” technique.

4.2 	Microscopy Technique

Grids for EM and slides prepared for IF microscopy should preferably be prepared from material taken directly from the lesion. Refer to V 13 - Investigation of Clinical Specimens by Electron Microscopy using the Floatation (direct) Method.

4.3	Culture and Investigation

Pre-treatment of specimen

N/A

Specimen processing

Specimens should be vortexed or vigorously agitated to release the cellular material into the transport medium. To avoid the release of aerosols the specimen should not be opened immediately after this process.

Specimens should be centrifuged, in order to concentrate the cellular material in the sample, prior to inoculation. To avoid the release of aerosols the specimen should not be opened immediately after centrifugation. If immediate processing of the sample is necessary the specimen should be opened in a class 1 MSC.

If vesicle crusts are received for virus isolation, these may be prepared by grinding the crusts in a Griffiths tube and resuspending the material in VTM. Before inoculating the cell cultures it may be necessary to clarify the VTM by centrifugation. It should be noted that any procedures that potentially produce aerosols must be performed in a class 1 MSC.

Isolation and Cytopathic effect

HSV1,29

Many of the cell lines in routine use for virus isolation are susceptible to infection with HSV. Of these, the semi-continuous human diploid fibroblast cell line MRC-5, has been shown to be the most susceptible to infection and to produce a cytopathic effect (CPE) more rapidly than other cell lines. Of the established cell lines the Vero cell line, derived from African Green Monkey Kidney, is a suitable alternative.

Inoculate 100µL – 200µL of the VTM containing the clinical material into each of two cell culture tubes containing the selected cell line(s). The cultures should be incubated at 35°C – 37°C, with or without rolling, for seven to ten days. For rapid results, cultures should be examined daily for the appearance of the characteristic CPE associated with HSV infection. Alternatively, laboratories may examine cell cultures after 24hr and 48hr then every other working day.

Blind passage of the cell cultures should not normally be required in order to produce the appearance of a CPE and should only be necessary if the cell cultures become contaminated with bacteria or fungi, or display degeneracy as a result of the clinical material.

VZV8

VZV is capable of replicating in many of the mammalian cell lines in routine use, however in vitro optimal replication is best effected in a semi-continuous human diploid fibroblast cell lines such as MRC-5.

Inoculate 100µL – 200µL of the VTM containing the clinical material into each of two cell culture tubes containing the selected cell line(s). The cultures should be incubated at 35°C - 37°C with or without rolling. If the clinical material contains VZV the appearance of a CPE can take up to 21 days or sometimes longer.

VZV is a highly cell associated virus and consequently viral particles are not released into the culture medium. The consequence of this is that the CPE takes on the nature of small foci of "ballooning" cells. It is important that the cultures are observed on a daily basis, as it is quite possible for the infected cells to drop off the cell culture vessel (tube or flask) and the resulting gap in the cell sheet to be overgrown with uninfected fibroblasts.

Because of the cell associated nature of the virus, "blind" passaging of the culture or serial propagation of the virus requires that the cells be disrupted by a physical method. The cell monolayer should be removed from the surface of the culture vessel by scraping the cell sheet with an appropriate sterile instrument or by trypsinisation and the resultant cell suspension disrupted by either a freezing and thawing cycle or by sonication.

CMV

CMV displays a marked host cell tropism and so can only be isolated in cells of human origin. The cell line of choice for the isolation of CMV in cell culture is the semi-continuous human diploid fibroblast cell line, MRC-5.

Inoculate 100L – 200L of the clinical material into each of two MRC-5 cell culture tubes. The cultures should be incubated at 35°C – 37°C with or without rolling for a minimum period of 28 days. In order to keep the cell cultures from deteriorating it is advisable to feed the cultures with fresh maintenance media every 7 days.

CMV is a cell associated virus and consequently viral particles are not released into the culture medium. The consequence of this is that the CPE is characterised by the appearance of foci containing large refractile cells. Because of the slow replication of CMV, cell cultures should be observed for up to 28 days before being discarded as negative. Due to the cell associated nature of the virus, "blind" passaging of the cultures or serial propagation of the virus requires that the cells be disrupted by a physical method. The cell monolayer should be removed from the surface of the culture vessel (tube or flask) by scraping the cell sheet with an appropriate sterile instrument or by trypsinisation and the resultant cell suspension disrupted by either a freezing and thawing cycle or by sonication.

4.4	Identification

Within the laboratory

The CPE produced by HSV, CMV and VZV can be considered characteristic, especially by an experienced person, however it should be confirmed by either direct or indirect IF utilising a monoclonal antibody.

Sero-typing of HSV isolates is recommended on all new isolates using either direct or indirect IF with type specific monoclonal antibodies.

Referral to Reference Laboratories

Referral is necessary for:

- Typing of isolates

- Antiviral susceptibility testing (available at the Antiviral Susceptibility Reference Laboratory, Birmingham Laboratory, Public Health England, West Midlands)

5	Quality Assurance

A quality system should be in place to ensure that appropriate internal and external quality assessment and quality control procedures are maintained30.

It is essential that laboratories have evidence of adequate validation of methods, equipment and commercial and in-house test procedures demonstrating that they are fit for purpose31.

6	Limitations

Successful isolation of organisms depends on correct specimen collection, transport, storage and processing; the quality and range of cell lines used and the use of correct conditions for culture and the provision of adequate/suitable clinical information.

Only cell lines proved to be susceptible to human herpes viruses should be used and susceptibility should be checked on acquisition and at regular intervals. Cells retrieved from liquid nitrogen storage should be checked for sensitivity before use.

The procedure(s) in these documents aim to describe good microbiological standard methods for the specimen types specified. Other procedures may be required and professional interpretation by qualified staff is essential. Please note that knowledge of infectious diseases changes constantly and although this SMI is under regular review it may not include emerging pathogens.

The above guidance should be supplemented with local assessment of limitations.

7	Reporting Procedure

7.1	Reports

Specimens that produce a characteristic CPE that is subsequently confirmed by IF utilising a specific monoclonal antibody should be reported as:

eg "Cytomegalovirus isolated".

Specimens not displaying a characteristic CPE after a minimum of 28 days incubation should be reported as:

"Virus not isolated".

HSV positive results should be reported as “Herpes simplex virus type … isolated”.

8	Notification to PHE32,33 or Equivalent in the Devolved Administrations34-37

The Health Protection (Notification) regulations 2010 require diagnostic laboratories to notify Public Health England (PHE) when they identify the causative agents that are listed in Schedule 2 of the Regulations. Notifications must be provided in writing, on paper or electronically, within seven days. Urgent cases should be notified orally and as soon as possible, recommended within 24 hours. These should be followed up by written notification within seven days. For the purposes of the Notification Regulations, the recipient of laboratory notifications is the local PHE Health Protection Team. If a case has already been notified by a registered medical practitioner, the diagnostic laboratory is still required to notify the case if they identify any evidence of an infection caused by a notifiable causative agent.

Notification under the Health Protection (Notification) Regulations 2010 does not replace voluntary reporting to PHE. The vast majority of NHS laboratories voluntarily report a wide range of laboratory diagnoses of causative agents to PHE and many PHE Health Protection Teams have agreements with local laboratories for urgent reporting of some infections. This should continue.

Note: The Health Protection Legislation Guidance (2010) includes reporting of HIV & STIs, HCAIs and CJD under ‘Notification Duties of Registered Medical Practitioners’: it is not noted under ‘Notification Duties of Diagnostic Laboratories’.

Other arrangements exist in Scotland34,35, Wales36 and Northern Ireland37.

The following require reporting to Public Health England:

All clinically significant identifications of HSV from neurological or genital sites or cases of meningitis, encephalitis and deaths.

All clinically significant identifications of CMV.

All clinically significant identifications of VZV from neonates or pregnant women and cases of meningitis, encephalitis, pneumonia and deaths.

Chickenpox is not a notifiable disease in England and Wales and therefore does not require reporting to the local CCDC. It is a notifiable disease in Scotland and should be reported to the Scottish Centre for Infection and Environmental Health (SCIEH).

HSV and CMV are not notifiable diseases and therefore do not require reporting to the local CCDC.

References

1. 	Whitley RJ. Herpes simplex virus. In: Fields BN, Knipe DM, Howley PM, editors. "Fields" Virology. 4th ed. Vol 2. Philadelphia: Lippincott Williams and Wilkins; 2001. p. 2493.

2. 	Kolokotronis A, Doumas S. Herpes simplex virus infection, with particular reference to the progression and complications of primary herpetic gingivostomatitis. Clin Microbiol Infect 2006;12:202-11.

3. 	Kaye S, Choudhary A. Herpes simplex keratitis. Prog Retin Eye Res 2006;25:355-80.

4. 	Whitley RJ. Herpes simplex encephalitis: adolescents and adults. Antiviral Res 2006;71:141-8.

5. 	Strick LB, Wald A. Diagnostics for herpes simplex virus: is PCR the new gold standard? Mol Diagn Ther 2006;10:17-28.

6. 	Caviness AC, Demmler GJ, Almendarez Y, Selwyn BJ. The prevalence of neonatal herpes simplex virus infection compared with serious bacterial illness in hospitalized neonates. J Pediatr 2008;153:164-9.

7. 	Prober CG, Sullender WM, Yasukawa LL, Au DS, Yeager AS, Arvin AM. Low risk of herpes simplex virus infections in neonates exposed to the virus at the time of vaginal delivery to mothers with recurrent genital herpes simplex virus infections. N Engl J Med 1987;316:240-4.

8. 	Arvin AM. Varicella Zoster Virus. In: Fields BN, Knipe DM, Howley PM, Roizmann B, Monath TP, Straus SE, Chanock RM, Melinick JL, editors. "Fields" Virology. 3rd ed. Vol 2. Lippincott Williams and Wilkins; 1996. p. 2565.

9. 	Ho M. The history of cytomegalovirus and its diseases. Med Microbiol Immunol 2008;197:65-73.

10. 	Mosca F, Pugni L. Cytomegalovirus infection: the state of the art. J Chemother 2007;19 Suppl 2:46-8.

11. 	Drew WL. Laboratory diagnosis of cytomegalovirus infection and disease in immunocompromised patients. Curr Opin Infect Dis 2007;20:408-11.

12. 	European Parliament. UK Standards for Microbiology Investigations (SMIs) use the term "CE marked leak proof container" to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: "The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes".

13. 	Official Journal of the European Communities. Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on in vitro diagnostic medical devices. 7-12-1998. p. 1-37.

14. 	Health and Safety Executive. Safe use of pneumatic air tube transport systems for pathology specimens.  9/99.

15. 	Department for transport. Transport of Infectious Substances, 2011 Revision 5.  2011.

16. 	World Health Organization. Guidance on regulations for the Transport of Infectious Substances 2013-2014.  2012.

17. 	Home Office. Anti-terrorism, Crime and Security Act.  2001 (as amended).

18. 	Advisory Committee on Dangerous Pathogens. The Approved List of Biological Agents. Health and Safety Executive. 2013. p. 1-32

19. 	Advisory Committee on Dangerous Pathogens. Infections at work: Controlling the risks. Her Majesty's Stationery Office. 2003.

20. 	Advisory Committee on Dangerous Pathogens. Biological agents: Managing the risks in laboratories and healthcare premises. Health and Safety Executive. 2005.

21. 	Advisory Committee on Dangerous Pathogens. Biological Agents: Managing the Risks in Laboratories and Healthcare Premises. Appendix 1.2 Transport of Infectious Substances - Revision. Health and Safety Executive. 2008.

22. 	Centers for Disease Control and Prevention. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR Surveill Summ 2012;61:1-102.

23. 	Health and Safety Executive. Control of Substances Hazardous to Health Regulations. The Control of Substances Hazardous to Health Regulations 2002. 5th ed.  HSE Books; 2002.

24. 	Health and Safety Executive. Five Steps to Risk Assessment: A Step by Step Guide to a Safer and Healthier Workplace. HSE Books.  2002.

25. 	Health and Safety Executive. A Guide to Risk Assessment Requirements: Common Provisions in Health and Safety Law. HSE Books.  2002.

26. 	Health Services Advisory Committee. Safe Working and the Prevention of Infection in Clinical Laboratories and Similar Facilities. HSE Books. 2003.

27. 	British Standards Institution (BSI). BS EN12469 - Biotechnology - performance criteria for microbiological safety cabinets. 2000.

28. 	British Standards Institution (BSI). BS 5726:2005 - Microbiological safety cabinets. Information to be supplied by the purchaser and to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance. 24-3-2005. p. 1-14

29. 	Gray JJ. Herpes simplex virus. In: Caul EO, editor. Immunofluorescence: Antigen detection techniques in diagnostic microbiology. London: Public Health Laboratory Service; 1992. p. 75-84.

30. 	Snell JJS BD, Roberts C, editors. Immunoflurescence: Antigen detection techniques in diagnostic microbiology. Quality Assurance Principles and Practice in the Microbiology Laboratory. 1999. p. 147-8.

31. 	Clinical Pathology Accreditation (UK) Ltd. Standards for the Medical Laboratory. Clinical Pathology Accreditation (UK) Ltd. Sheffield: 2004. p. 1-56.

32. 	Public Health England. Laboratory Reporting to Public Health England: A Guide for Diagnostic Laboratories. 2013. p. 1-37

33. 	Department of Health. Health Protection Legislation (England) Guidance.  2010.  p. 1-112.

34. 	Scottish Government. Public Health (Scotland) Act.  2008 (as amended).

35. 	Scottish Government. Public Health etc. (Scotland) Act 2008. Implementation of Part 2: Notifiable Diseases, Organisms and Health Risk States. 2009.

36. 	The Welsh Assembly Government. Health Protection Legislation (Wales) Guidance.  2010.

37. 	Home Office. Public Health Act (Northern Ireland) 1967 Chapter 36.  1967 (as amended).

# Footnotes

(Microbiology is used as a generic term to include the two GMC-recognised specialties of Medical Microbiology (which includes Bacteriology, Mycology and Parasitology) and Medical Virology.