Environmental Permitting (England and Wales) Regulations

Information in support of an application for a landfill permit

Landfill Gas Risk Assessment Report

Notes to the Applicant – Please read before completing this Report

(a) 	This template should be completed in conjunction with the Conceptual Model and Environmental Setting and Installation Design (ESID) Report.

(b) 	The landfill gas risk assessment must establish:

- that appropriate measures are taken in order to control the accumulation and migration of landfill gas; and

- the collection, treatment and use of landfill gas is being carried out in a manner that minimises damage to or deterioration of the environment and risk to human health.

(c) When completing this template, the following is recommended:

- All sections should be completed even if to confirm that a section is not relevant.

- All tabulated information should be included within the text of the report at the appropriate point.

- All numerical models that are relied upon must be supplied to the Environment Agency in an electronic format and must accompany this report.

- The landfill gas risk assessment should be accompanied by the drawings as set out within this template. One drawing can provide the information for more than one of the requirements as long as the drawing must be clear. Identification numbers must be included for each monitoring point.

- All drawings should be to recognised scales sufficient to show the following details as specified. Each drawing should have a label that includes:

    - title of drawing;

    - installation name;

    - name and address of the operator;

    - date the drawing was made;

    - drawing identification number;

    - scale of the drawing.

LANDFILL GAS GENERATION AND RISK ASSESSMENT

TABLE OF CONTENTS

| Paragraph number | Section | Page |
| --- | --- | --- |
| 1.0 | INTRODUCTION | 5 |
| 1.1 | Report Context | 5 |
| 1.2 | Conceptual Site Model - Landfill Gas | 5 |
| 2.0 | LANDFILL GAS RISK ASSESSMENT | 6 |
| 2.1 | The Nature of the Landfill Gas Risk Assessment | 6 |
| 2.2 | The Proposed Assessment Scenarios | 6 |
| 2.2.1 | Lifecycle Phases | 6 |
| 2.2.2 | Accidents and their Consequences | 6 |
| 2.2.3 | The Generated Gases to be Modelled | 6 |
| 2.4 | Numerical Modelling | 7 |
| 2.4.1 | Justification for Modelling Approach and Software | 7 |
| 2.4.2 | Model Parameterisation | 7 |
| 2.4.3 | Sensitivity Analysis | 7 |
| 2.4.4 | Model Validation | 7 |
| 2.5 | Risks to the Environment and Human Health | 7 |
| 2.5.1 | Landfill Gas Emissions | 7 |
| 2.5.2 | Sub-surface Migration and Vegetation Stress | 8 |
| 2.5.3 | Atmospheric Dispersion and Odour | 8 |
| 2.5.4 | Exposure | 8 |
| 2.5.5 | Global Atmospheric Impact | 8 |
| 2.6 | Landfill Gas Completion Criteria | 8 |
| 3.0 | LANDFILL GAS MANAGEMENT PLAN | 9 |
| 3.1 | Control Measures | 9 |
| 3.2 | Monitoring and Sampling Plan | 9 |
| 3.3 | Action Plan | 9 |
| 4.0 | CONCLUSIONS | 10 |
| 4.1 | Compliance with the Landfill Directive | 10 |

TABLES

Tables should be used whenever possible and included within the text to which they relate, as they can summarise large volumes of information/ data into a manageable format. The numbering and content of the tables presented within this report will alter according to site-specific circumstances and whether the information is presented elsewhere (e.g. on a drawing or in an appendix). However, typical examples of tables that could be included are presented below.

Table LFGRA1 	The proposed conceptual site model, which would include all of the relevant source, pathway and receptor terms

Table LFGRA2 	The proposed assessment scenarios, including the lifecycle phases and the possible accidents, and the conceptualisation of these scenarios (i.e. how certain inputs may change with time)

Table LFGRA3 	The justification for the generated gases to be modelled

Table LFGRA4 	The derivation and justification of the input parameters chosen

Table LFGRA5 	The results of any sensitivity analysis carried out for the site

Table LFGRA6 	The model validation exercise, which compares the output against observed conditions

Table LFGRA7 	The modelling results including sub-surface migration, vegetation stress, atmospheric dispersion, odour, exposure and global atmospheric impact

Table LFGRA8 	The risk-based control measures for landfill gas management

Table LFGRA9 	Internal, gas plant and external monitoring and sampling schedules

Table LFGRA10 	The proposals for emission limits and landfill gas compliance level concentrations

Table LFGRA11 	Compliance with the Landfill Directive

DRAWINGS

The numbering and content of the drawings presented within this report will vary according to site-specific circumstances. However, typical examples of drawings that could be included are presented below.

Drawing LFGRA1 Conceptual Landfill Gas Model

A plan accompanied with appropriate cross-sections, which identifies all the potential receptors of landfill gas emissions and relevant compliance points. These plans and cross sections should also identify all the potential pathways.

Drawing LFGRA2 Proposed Assessment Scenarios and Numerical Modelling

Schematic plans/ cross-sections of each of the assessment or model scenarios should be considered, including the different phases of the landfill’s lifecycle and any relevant accidents. This is to allow clear visualisation of how the conceptual understanding of the site area to be translated into the generally simpler quantitative assessment. Relevant input parameters, and associated distributions, could be annotated onto these plans/cross sections.

Drawing LFGRA3 Risks to the Environment and Human Health

Plans of resultant risks associated with the site, to include, for example, odour distributions or exposures to trace gases at key receptors.

Drawing LFGRA4 Landfill Gas Management Plan

A plan of all internal gas plant and external monitoring points for landfill gas and odours. This must indicate all points where assessment and compliance limits have been set. Relevant limits can be annotated onto the plan (or drawing).

APPENDICES

The numbering and content of the appendices presented within this report will vary according to site-specific circumstances. However, typical examples of appendices that could be included are presented below.

Appendix LFGRA1 	Electronic copies of all models relied upon within the assessment.

Appendix LFGRA2 	Hard copies of the models and inputs used within the assessment.

Appendix LFGRA3 	Results of any sensitivity analysis carried out for the site (unless specified within the text).

Appendix LFGRA4 	The proposed risk-based monitoring and sampling scheme for	the landfill (unless specified within the text).

Appendix LFGRA5 	The derivation of all emission limits and landfill gas compliance levels.

1.0 INTRODUCTION

1.1 Report Context

Should include details relating to the following:

- The operator of the proposed installation.

- The Agent who completed this report.

- An outline of the proposed installation and how it relates to historically operated areas of landfill.

- Cross reference to the Conceptual Site Model Report (i.e. ESID report).

1.2 Conceptual Site Model – Landfill Gas

To include summary details cross referenced to ESID report relating to the following.

Sources

- The nature of the waste and an indication of the likelihood of gas production, whether gas extraction is required and whether utilisation is proposed.

- The design of the containment, collection and treatment systems.

Pathways

- The identification of all potential pathways to receptors including direct and indirect release (emission) points/areas for landfill gas and combustion products.

Receptors

- The identification of all potential receptors.

- The consideration of the sensitivity of receptors and the selection of the appropriate environmental benchmarks (e.g. Environmental Assessment Limits (EALs) and odour thresholds).

- The prioritisation and initial assessment of the potential impacts on each receptor.

- Quantification of emissions and dispersion.

2.0 LANDFILL GAS RISK ASSESSMENT

2.1 The Nature of the Landfill Gas Risk Assessment

Should include details relating to the following:

- The full justification for the level of risk assessment required and the methodology to be applied. This requires a consideration of the potential risks presented by the site, the sensitivity of the receptors and surrounding environment, the degree of uncertainty and the likelihood of the risks being realised.

2.2 The Proposed Assessment Scenarios

2.2.1 Lifecycle Phases

Should include details relating to the following:

- The proposed stages of the landfill’s life-cycle that will be considered as separate scenarios within this assessment, along with the full justification for their choice.

- The conceptualisation of the different life-cycle stages and how certain inputs may change with time e.g. the potential for degradation of or change in the operation of the landfill gas management system and the integrity of the containment system, etc.

- The clear specification of the implications for further quantitative assessment (e.g. the nature of the degradation of the lining systems to be modelled etc.).

2.2.2 Accidents and their Consequences

Should include details relating to the following:

- A qualitative consideration of the impact of accidents and resulting damage to liner systems, landfill gas management and other engineering and management structures.

- The likelihood of the accidents occurring and the magnitude of the consequences of such accidents and failures.

- The justification for whether the specified accidents require quantitative assessment or not.

- The clear specification of additional scenarios that are to be given further quantitative analysis and the resultant implications for modelling.

2.3 The Generated Gases to be Modelled

A full justification for the generated gases to be modelled should be included. Should include details relating to the following:

- The actual or potential presence of gases of concern.

- Consideration of the representative substances to be modelled and use of potential surrogate substances that could be used as indicators, including an assessment of their chemical and physical characteristics.

- The full justification of the final choice of substances.

- An assessment of the uncertainties associated with the choice of surrogate substances.

2.4 Numerical Modelling

2.4.1 Justification for Modelling Approach and Software

Should include details relating to the following:

- Model selection and suitability to represent all of the considered scenarios (i.e. the different modelled phases of the lifecycle, potential impacts of accidents), gas generation, the dispersion of emissions and the environmental conditions.

- Justification for the confidence levels used within any stochastic modelling.

- A full justification for the use of a particular computer models/software, which includes relevance to the particular circumstance of the installation.

- Model verification and the suitability of model to identify and represent receptors and compliance criteria.

2.4.2 Model Parameterisation

Should include details of relating to the following:

- The nature of the parameterisation process including model calibration.

- The justification for using model defaults against providing field measurements.

- A realistic appraisal of the use of conservative and worst case inputs.

2.4.3 Sensitivity Analysis

Should include details of relating to the following:

- The completion of a sufficient sensitivity analysis, which may include the use of multiple model runs to simulate different justifiable ranges of input parameter values.

- The consideration of assessment limitations, the assessment of uncertainties and the need for safety factors.

2.4.4 Model Validation

Should include details of relating to the following:

- The comparison of modelled output against what is observed in the field and represented within the conceptual landfill gas model (e.g. is the modelled gas generation compatible with that observed, etc.).

- Justification that the model provides a sufficiently adequate representation of reality.

2.5 Risks to the Environment and Human Health

The landfill gas risk assessment should address each of the considered scenarios (i.e. the different modelled phases of the lifecycle and the potential impact of accidents).

2.5.1 Landfill Gas Emissions

To include details of:

- the estimated emissions from the site via the sub-surface, surface, gas engines and flares (including operational periods for the gas plant if appropriate).

- A gas generation profile forecast for the installation including uncertainty estimates.

2.5.2 Sub-surface Migration and Vegetation Stress

Should include details of relating to the following:

- Predicted leakage through proposed barriers.

- Comparison of predicted levels with background concentrations and the corresponding environmental benchmarks.

2.5.3 Atmospheric Dispersion and Odour

To include details of:

- comparisons of the Predicted Environmental Concentration (PEC) of each modelled substance releases to air with background concentrations and the corresponding environmental benchmarks (EAL or EQS).

- The location of the maximum ground-level concentrations from the proposed utilisation plant and flares.

- Appropriate stack heights for both utilisation plant and flares.

2.5.4 Exposure

To include details of:

- the estimates of concentration or doses to which the population may be exposed.

2.5.5 Global Atmospheric Impact

To include details of:

- the contribution of landfill gas from the landfill to global warming, using Global Warming Potentials and quantitative concentration and flux data.

2.6 Landfill Gas Completion Criteria

Landfill completion requires a consideration of whether the site, as a result of the disposal of controlled wastes, is likely or unlikely to cause pollution of the environment or harm to human health. As the landfill gas risk assessment must be undertaken for the whole lifecycle of the landfill, it follows that the process should result in the initial production criteria that identify when the unmanaged site is unlikely to cause pollution or harm and the licence can be surrendered.

Consequently, this section should provide details of the following.

- The assessment of the active life of the site using gas generation models, which should include comparison with the hydrogeological risk assessment and the linkage between the leachate management and landfill gas management systems.

- The estimate of the period of time predicted for active gas extraction and treatment.

- The estimation of when passive fluxes are no longer likely to cause pollution of the environment or harm to human health.

3.0 LANDFILL GAS MANAGEMENT PLAN

The gas management plan must provide a framework for the management, monitoring and sampling of landfill gas.

The landfill gas risk assessment should be used to develop risk-based management and monitoring objectives and schedules. In addition, it must demonstrate that the gas control system is appropriate for the site conditions during site development, operation, closure and post-closure stages. This section must provide the technical rationalisation for the design of the control measures as well as the monitoring and sampling regimes, in order to focus management and monitoring effort on actual risks.

It must include:

- management options, procedures and collection efficiency determination; and

- emissions monitoring and assessment from various parts of the landfill gas  infrastructure.

3.1 Control Measures

These should include details relating to containment, collection and treatment of landfill gas. In particular the following should be considered.

- Landfill development.

- Emissions standards.

- Collection system (including the year you propose to start collecting landfill gas).

- Condensate management.

- Utilisation, flaring and treatment.

- Inspection, maintenance and servicing.

3.2 Monitoring and Sampling Plan

Should include details of relating to the following:

- Schedule for specific data collection and frequency of monitoring at all stages of the site.

- Layout showing construction and location of monitoring points in relation to the site.

- Descriptions of the measurement techniques and sampling strategy.

- Analytical and testing schedule.

- Methodology for data storage, retrieval and presentation.

- Background and compliance and assessment values against which collected data will be evaluated.

- Methodology for data interpretation, review and reporting.

- Means of communicating the results of the monitoring and interpretation to the Environment Agency.

3.3 Action Plan

Should include details of relating to the following:

- The criteria used to determine the severity of an event.

- Actions taken by the operator as a result of:

  - abnormal changes observed in collected monitoring data;

  - Identified operational problems or failures of the gas control system;

  - A reported event e.g. an odour complaint.

- Emergency procedures and protocols.

- Remedial actions (e.g. changes to gas management techniques, routine monitoring etc.).

4.0 CONCLUSIONS

4.1 Compliance with the Landfill Directive 1999

This section must include specific conditions relating to the compliance of the landfill with the landfill gas specific requirements of the Landfill Directive 1999. These must relate to the following.

- The appropriate measures that must be taken in order to control the accumulation and migration of landfill gas.

- Confirmation that, if the landfill is to receive biodegradable wastes, landfill gas will be collected, treated and, to the extent possible, used. This is to include whether energy will be produced or whether flares are to be used.

- Confirmation that the collection, treatment and use of landfill gas will be carried out in a manner that minimises damage to or deterioration of the environment and risk to human health.