## Introduction
INTRODUCTION
The following sheets provide details of the reported mass emissions of the 15 coal & oil stations in England & Wales that operate under the ELV or opt-out options of the LCPD. Cumulative operating hours since 1 January 2008, where limited by the LCPD are also shown. The remaining stations that chose the NERP option and their emissions are submitted and published under the NERP Regulations.
Emissions of sulphur dioxide and oxides of nitrogen are normally calculated from continuous measurement of these emissions. In some cases(certain opted out stations) the sulphur content of the fuel is used to calculate emissions of sulphur dioxide and emissions of nitrogen oxides are calculated using established emission factors for each station and fuel.
These emissions can be compared to the A and B-limits for each station. A-limits are a non-transferable limit for each station. B-limits are transferable between the 15 stations and provide a lower overall cap to minimise emissions across the sector.
A-limit emissions are based on the total emissions from each station while B-limits are emissions between start-up and shut-down. Operating hours are also calculated on the basis of time between start-up and shut-down.
Emissions are operating hours are submitted monthly within 28 days of the end of the month. These will be published within 14 days.
The sheets also lists any trades between sites and operators and the resulting effects on B-limits. Trades may happen at any time and will be published on website within 14 days.

## Site_Emissions_SO2
Operator Name | Site Name | SO2 A Limit | Latest SO2 B limit | Cumulative SO2 emissions vs B limit | Remaining SO2 B limit | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01
|  | Tonnes | Tonnes | Emissions in Tonnes | Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes
E.ON UK plc | Ironbridge | 34300 | 8676 | 11.6 | 8664.4 | 2015-01-01: 2.3; 2015-02-01: 2.2; 2015-03-01: 1.8; 2015-04-01: 2.1; 2015-05-01: 1.3; 2015-06-01: 1.9
E.ON UK plc | Ratcliffe | 50000 | 18000 | 2213.4 | 15786.6 | 2015-01-01: 624.7; 2015-02-01: 652.1; 2015-03-01: 472.2; 2015-04-01: 184.7; 2015-05-01: 166.4; 2015-06-01: 113.3
EDF ENERGY plc | Cottam | 61000 | 13584 | 2151.4 | 11432.6 | 2015-01-01: 555.4; 2015-02-01: 361.5; 2015-03-01: 364.8; 2015-04-01: 445.1; 2015-05-01: 223.1; 2015-06-01: 201.5
EDF ENERGY plc | West Burton | 30000 | 22164 | 5787.8 | 16376.2 | 2015-01-01: 848.1; 2015-02-01: 846.1; 2015-03-01: 746.5; 2015-04-01: 1273.9; 2015-05-01: 1184.7; 2015-06-01: 888.5
Rugeley Power Ltd | Rugeley | 34300 | 8964 | 1244 | 7720 | 2015-01-01: 236; 2015-02-01: 152; 2015-03-01: 233; 2015-04-01: 254; 2015-05-01: 230; 2015-06-01: 139
RWE npower plc | Aberthaw | 39000 | 14769 | 4728 | 10041 | 2015-01-01: 1045.6; 2015-02-01: 935.1; 2015-03-01: 840.1; 2015-04-01: 1127.8; 2015-05-01: 511.5; 2015-06-01: 267.9
RWE npower plc | Littlebrook | 13000 | 2652 | 7 | 2645 | 2015-01-01: 3; 2015-02-01: 4; 2015-03-01: 0; 2015-04-01: 0; 2015-05-01: 0; 2015-06-01: 0
SSE | Ferrybridge | 55900 | 8824.5 | 1934.4 | 6890.1 | 2015-01-01: 750.2; 2015-02-01: 529; 2015-03-01: 606; 2015-04-01: 49.2; 2015-05-01: 0; 2015-06-01: 0
SSE | Fiddlers Ferry | 44600 | 17644.5 | 3452 | 14192.5 | 2015-01-01: 951; 2015-02-01: 997; 2015-03-01: 1148; 2015-04-01: 356; 2015-05-01: 0; 2015-06-01: 0
| Uskmouth | 3500 | 3267 | 145.63 | 3121.37 | 2015-01-01: 0; 2015-02-01: 0; 2015-03-01: 21.87; 2015-04-01: 61; 2015-05-01: 33.46; 2015-06-01: 29.3
Total |  | 365600 | 118545 | 21675.23 | 96869.77 | 5016.3 | 4479 | 4412.4 | 3753.8 | 2350.46 | 1641.4 | 0 | 0 | 0 | 0 | 0 | 0

## Site_Emissions_NOx
Operator Name | Site Name | NOx A Limit | Latest NOx B limit | Cumulative NOx emissions vs B limit | Remaining NOx B limit | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01
|  | Tonnes | Tonnes | Emissions in Tonnes | Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes | Emissions in Tonnes
E.ON UK plc | Ironbridge | 26300 | 6266 | 889.3 | 5376.7 | 2015-01-01: 153.5; 2015-02-01: 150.9; 2015-03-01: 145.2; 2015-04-01: 156.1; 2015-05-01: 135; 2015-06-01: 148.6
E.ON UK plc | Ratcliffe | 40000 | 25400 | 4710.9 | 20689.1 | 2015-01-01: 1426.7; 2015-02-01: 1605.3; 2015-03-01: 847.9; 2015-04-01: 283.2; 2015-05-01: 307.2; 2015-06-01: 240.6
EDF ENERGY plc | Cottam | 26000 | 26000 | 6435.7 | 19564.3 | 2015-01-01: 1727.3; 2015-02-01: 1214.1; 2015-03-01: 1167.5; 2015-04-01: 1216.9; 2015-05-01: 634.7; 2015-06-01: 475.2
EDF ENERGY plc | West Burton | 26000 | 24444 | 8984.4 | 15459.6 | 2015-01-01: 1692.2; 2015-02-01: 1572.4; 2015-03-01: 1738.3; 2015-04-01: 1665.9; 2015-05-01: 1376.4; 2015-06-01: 939.2
RUGELEY POWER LTD | Rugeley | 19800 | 12649 | 4253 | 8396 | 2015-01-01: 907; 2015-02-01: 706; 2015-03-01: 939; 2015-04-01: 793; 2015-05-01: 567; 2015-06-01: 341
RWE npower plc | Aberthaw | 33000 | 43651 | 15727.7 | 27923.3 | 2015-01-01: 3616; 2015-02-01: 2953; 2015-03-01: 2766.1; 2015-04-01: 3102.7; 2015-05-01: 1842.4; 2015-06-01: 1447.5
RWE npower plc | Littlebrook | 11200 | 2099 | 7 | 2092 | 2015-01-01: 3; 2015-02-01: 4; 2015-03-01: 0; 2015-04-01: 0; 2015-05-01: 0; 2015-06-01: 0
SCOTTISH and SOUTHERN ENERGY | Ferrybridge C (Tot) | 31800 | 15490.2 | 1674.5 | 13815.7 | 2015-01-01: 592.7; 2015-02-01: 474.4; 2015-03-01: 516.5; 2015-04-01: 90.9; 2015-05-01: 0; 2015-06-01: 0
SCOTTISH and SOUTHERN ENERGY | Fiddlers Ferry | 22800 | 21860.5 | 4667 | 17193.5 | 2015-01-01: 1250; 2015-02-01: 1381; 2015-03-01: 1486; 2015-04-01: 550; 2015-05-01: 0; 2015-06-01: 0
| Uskmouth | 3500 | 4610 | 181.09 | 4428.91 | 2015-01-01: 0; 2015-02-01: 0; 2015-03-01: 24.84; 2015-04-01: 85.21; 2015-05-01: 44.24; 2015-06-01: 26.8
Total |  | 240400 | 182469.7 | 47530.59 | 134939.11 | 11368.4 | 10061.1 | 9606.5 | 7943.91 | 4906.94 | 3618.9 | 0 | 0 | 0 | 0 | 0 | 0

## Transfers
Pollutant | Divesting Operator | Aquiring Operator | Transfer Date | Transfer Amount (tonnes) | Divesting Operator New B Limit (tonnes) | Aquiring Operator New B Limit (tonnes)

## Operating hours
Operator Name | Site Name | Operating Regime | Operating Hours end date | Operating Hours Allowance | Cumulative Operating Hours to: | Remaining Hours | Comments
2015-05-31
E.ON UK plc | Grain | Opt-out | 2012-12-31 | 10000 | 1230.04 | 0 | Closed
E.ON UK plc | Ironbridge | Opt-out | 2015-12-31 | 20000 | 17766.08 | 2233.92
E.ON UK plc | Kingsnorth | Opt-out | 2012-12-17 | 20000 | 20000 | 0 | Closed
E.ON UK plc | Ratcliffe | ELV
EDF ENERGY plc | Cottam | ELV
EDF ENERGY plc | West Burton | ELV
RUGELEY POWER LTD | Rugeley | ELV | 2008-11-21 | 1086 | 960.48 | 125.52 | Has now left Article 5(1)
RWE npower plc | Aberthaw | ELV | 2008-03-18 | 521 | 516 | 5 | Has now left Article 5(1)
RWE npower plc | Didcot A | Opt-out | 2015-12-31 | 20000 | 20000 | 0 | Closed
RWE npower plc | Fawley | Opt-out | 2015-12-31 | 10000 | 837.25 | 0 | Closed.Opted to operate <10,000hrs under Annex VIII 2)
RWE npower plc | Littlebrook | Opt-out | 2015-12-31 | 10000 | 1325.37 | 8674.63 | Opted to operate <10,000hrs under Annex VIII 2)
RWE npower plc | Tilbury LCP 1 Boilers 7&8 | Opt-out | 2015-12-31 | 20000 | 19919.98 | 80.02 | Closed
RWE npower plc | Tilbury LCP 2 Boilers 9&10 | Opt-out | 2015-12-31 | 20000 | 19994.09 | 5.91 | Closed
SCOTTISH and SOUTHERN ENERGY | Ferrybridge C Unit 1 & 2 | Opt-out | 42369 | 20000 | 20000 | 0 | Corrected to include 102.03hrs during Jan-May 08, Closed
SCOTTISH and SOUTHERN ENERGY | Ferrybridge C Unit 3 & 4 | ELV | 2009-02-07 | 2294 | 2293.73 | 0.27 | Has now left Article 5(1)
SCOTTISH and SOUTHERN ENERGY | Fiddlers Ferry | ELV | 2009-01-07 | 2059 | 2058.82 | 0.18 | Has now left Article 5(1)
SCOTTISH and SOUTHERN ENERGY | Uskmouth Power Station | ELV