## Title
Non-Domestic RHI and domestic RHI installation cost estimate: October 2015
These statistics provide additional information on reported installation costs for RHI installations, to supplement the RHI Reform Impact Assessment.
Published: | 3rd March 2016
Next update: | None planned
Prepared by:
Max Enoch
Max.Enoch@decc.gsi.gov.uk
0300 068 8027
Statistician responsible:
James White
James.White@decc.gsi.gov.uk
0300 068 8185

## About
Non-Domestic RHI and domestic RHI installation cost estimate: October 2015
About these statistics
These statistics provide additional information on reported installation costs for RHI installations, to supplement the RHI Reform Impact Assessment.
The Statistics are derived from RHI scheme data as recorded at the end of October 2015 (source: Ofgem). Installation costs are self-reported by applicants to both RHI schemes as part of the application process. Applicants who respond to this question may include costs not directly associated with the installation (e.g. construction costs unrelated to the heating system) therefore the costs reported here should be treated as indicative. They are included in this report to add to the overall evidence base on the costs of renewable heating systems.
RHI applicants report direct and indirect costs. These statistics sum direct and indirect costs in order to mitigate against possible differences in the apportionment of direct/indirect costs between applicants.
Costs are reported as £ per kW capacity in order to control for scale. Note that higher capacity installations of a given technology generally have a lower cost per KW. The statistics are provided as a mean and a median, once outliers have been removed (see 'Data Definitions' below). Characteristics of outliers have been assessed relative to data from October 2015 to determine what can be removed with reasonable confidence.
These statistics are presented on a standalone basis. Elements of this release are utilised in the RHI Reform Impact . There are currently no plans to publish this data on a regular basis.
We welcome stakeholders' comments on this data, particularly its usefulness and whether the results align with their own understanding of the costs associated with renewable heating systems.
DATA DEFINITIONS
Non-domestic
* Derived from full and preliminary applications to the end of October 2015
* The top and bottom 10% (by costs) have been removed as outliers, as well as any costs reported as zero
Domestic
* Derived from full accreditations to the end of October 2015
* The data is split by capacity. Capacities for which there are fewer than 20 installations are not given. Note that domestic capacities are self-reported by applicants
* The top and bottom 5% (by costs) have been removed as outliers, as well as any costs or capacities reported as zero (the majority of which were from legacy applications). The upper limit for reported capacity has been set at 45KW
* New and legacy domestic RHI installations are included
The number of installations included has been compared to the totals from the November 2015 RHI deployment statistical release (which uses October 2015 data).
Full October deployment statistics are available on gov.uk:
https://www.gov.uk/government/statistics/rhi-deployment-data-november-2015

## Non-domestic
Non-domestic RHI reported installation costs (Oct 2015)
| Number of applications included 1 | Average reported installation costs (£ per KW capacity)
|  | Median | Mean
Small Solid Biomass Boiler (< 200 kW) | 9930 | 583 | 603
Medium Solid Biomass Boiler (200-1000 kW) | 814 | 438 | 479
Large Solid Biomass Boiler (> 1000 kW) | 31 | 360 | 471
Small Solar Thermal (< 200 kW) | 216 | 1448 | 1609
Small Water or Ground Source Heat Pumps (< 100 kW) | 318 | 1851 | 1869
Large Water or Ground Source Heat Pumps (>100 kW) | 73 | 1349 | 1403
Biogas | 76 | 2309 | 3540
Air Source Heat Pumps | 127 | 765 | 848
Biomethane | Insuffient data 2
CHP | Insufficient data 3
Deep Geothermal | Insufficient data 3
1 The outlier removal and filtering processes described in the 'About these Statistics' section have led to 3,083 applications being removed from this analysis.
2 Biomethane does not have an associated capacity, instead being assessed on the volume of eligible gas injected into the grid. Volume injected can change for a given installation on a monthly basis. At the time of measurement, there is insufficient data on average gas volumes over time to draw a conclusion
3 There are too few CHP and Deep Geothermal installations in October 2015 to present meaningful information

## Domestic
Domestic RHI reported installation costs (Oct 2015)
|  | Air Source Heat Pump |  |  | Biomass |  |  | Ground Source Heat Pump |  |  | Solar Thermal
| Installation Capacity (KW) | Number of included installations 1 | Mean installation cost (£/KW) | Median installation cost (£/KW) | Number of included installations 1 | Mean installation cost (£/KW) | Median installation cost (£/KW) | Number of included installations 1 | Mean installation cost (£/KW) | Median installation cost (£/KW) | Number of included installations 1 | Mean installation cost (£/KW) | Median installation cost (£/KW)
| 1 | [9 empty] | 158 | 2762.3008 | 2543.8245
| 2 | [9 empty] | 717 | 2300.3473 | 2222.2222
| 3 | [9 empty] | 902 | 1687.6417 | 1538.4615
| 4 | 57 | 1522.079 | 1714.2857 |  |  |  | 89 | 1753.1076 | 1802.75 | 305 | 1347.1897 | 1157.4879
| 5 | 1287 | 1370.5088 | 1458.0851 |  |  |  | 102 | 1803.9393 | 1717.6 | 103 | 1303.772 | 1052.7733
| 6 | 1215 | 1239.3304 | 1149.1667 |  |  |  | 423 | 1793.6788 | 1816.5317 | 39 | 1218.1177 | 991.1667
| 7 | 305 | 1074.1807 | 985 |  |  |  | 217 | 1708.0279 | 1557.0271
| 8 | 1367 | 970.8452 | 875 |  |  |  | 230 | 1781.2926 | 1744.3125
| 9 | 2311 | 937.3864 | 882.3529 |  |  |  | 207 | 1629.2164 | 1555.5556
| 10 | 134 | 1121.6427 | 1051.3158 | 26 | 788.3101 | 750.25 | 161 | 1615.832 | 1500
| 11 | 402 | 928.2893 | 863.6364 | 21 | 863.2077 | 983.6364 | 434 | 1577.1545 | 1454.5455
| 12 | 481 | 932.6801 | 864.29 | 109 | 745.3334 | 752.5845 | 362 | 1560.8265 | 1480.5113
| 13 | 121 | 867.2335 | 793.8462 | 25 | 562.5541 | 537.6346
| 14 | 1104 | 823.3425 | 750 | 90 | 646.0828 | 647.8104 | 91 | 1589.1313 | 1428.5714
| 15 | 101 | 861.461 | 763.8113 | 662 | 788.9343 | 743.2883 | 64 | 1553.0207 | 1407.1667
| 16 | 1000 | 815.4292 | 770.5359 | 53 | 661.0241 | 656.25 | 94 | 1553.5009 | 1501.7188
| 17 | 24 | 970 | 877.3235 | 48 | 546.1768 | 505.1194 | 81 | 1480.3649 | 1323.5294
| 18 | 40 | 867.5602 | 842.6641 | 349 | 727.8315 | 744.7506 | 29 | 1531.8727 | 1415.6285
| 19 |  |  |  | 34 | 534.9218 | 468.3091
| 20 |  |  |  | 425 | 740.8538 | 733.7 | 59 | 1479.702 | 1339.8
| 21 |  |  |  | 156 | 680.4636 | 674.7619
| 22 |  |  |  | 202 | 539.3749 | 474.3164 | 76 | 1351.2111 | 1217.4318
| 23 |  |  |  | 80 | 564.6568 | 550.837
| 24 |  |  |  | 197 | 520.0274 | 481 | 58 | 1447.4943 | 1272.1423
| 25 | 32 | 833.9908 | 741.9 | 1039 | 677.9081 | 720
| 26 |  |  |  | 463 | 663.7164 | 639.2665
| 27 |  |  |  | 62 | 519.5307 | 501.4338
| 28 | 23 | 868.2935 | 785.7143 | 522 | 628.2326 | 617.2321
| 29 |  |  |  | 55 | 539.6978 | 493.9655
| 30 |  |  |  | 166 | 617.0982 | 607.5417 | 45 | 1367.7207 | 1328.9037
| 31 |  |  |  | 28 | 451.8874 | 444.5595
| 32 | 31 | 744.589 | 625 | 280 | 683.8095 | 676.1562
33
34
| 35 |  |  |  | 860 | 553.2809 | 514.2857
| 36 |  |  |  | 190 | 545.2645 | 505.7406
37
| 38 |  |  |  | 41 | 722.6342 | 692.1053
39
| 40 |  |  |  | 370 | 548.1871 | 500
41
42
| 43 |  |  |  | 47 | 504.8513 | 488.3721
| 44 |  |  |  | 34 | 435.5976 | 413.0658
| 45 |  |  |  | 368 | 648.203 | 628.7051
1 The outlier removal conditions described in the "About these statistics" section has led to the removal of 21,119 accreditated installations from this analysis