## Contents
National Energy Efficiency Data Framework (NEED)
Impact of Measures
Headline tables
Contents
Table 1: | Installation of an energy efficiency measure - summary of savings (weighted)
Year | 2012
Coverage | England and Wales
Table 2: | Installation of a combination of energy efficiency measures - summary of savings (weighted)
Year | 2012
Coverage | England and Wales
Table 3: | Installation of an energy efficiency measure - distribution of savings (weighted)
Year | 2012
Coverage | England and Wales
Table 4: | Installation of a combination of energy efficiency measures - distribution of savings (weighted)
Year | 2012
Coverage | England and Wales
Publication URN: 15D/148
This workbook was created in June 2015

## Table 1
Back to contents
Table 1: Installation of an energy efficiency measure - summary of savings (weighted)1,2,3,4
Year: 2012
Coverage: England and Wales
Energy efficiency measure |  | Number in sample | Percentage saving | Saving (kWh)
Cavity wall insulation | Median | 5910 | -8.4% | -1200
| Mean | 5910 | -7.1% | -1300
Loft insulation | Median | 14120 | -2.6% | -400
| Mean | 14120 | -2.2% | -400
Condensing boiler | Median | 12440 | -9.2% | -1300
| Mean | 12440 | -8% | -1500
Solid wall insulation5 | Median | 1740 | -17.2% | -2200
| Mean | 1740 | -14.7% | -2100
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.
5. Solid wall insulation figures should be interpreted with care since they are based on a much smaller number of records and a less diverse housing stock than other energy efficiency measures presented in this report.

## Table 2
Back to contents
Table 2: Installation of a combination of energy efficiency measures - summary of savings (weighted)1,2,3,4,5
Year: 2012
Coverage: England and Wales
Combination of measures |  | Number in sample | Percentage saving | Saving (kWh)
Cavity wall insulation and loft insulation | Median | 21670 | -11.6% | -1700
| Mean | 21670 | -10% | -1800
Cavity wall insulation and boiler | Median | 1590 | -18.6% | -2800
| Mean | 1590 | -15.4% | -2900
Solid wall insulation6 and loft | Median | 770 | -20.7% | -2400
insulation | Mean | 770 | -17.9% | -3000
Solid wall insulation6 and | Median | 760 | -21.3% | -3200
boiler | Mean | 760 | -21.7% | -3500
Loft insulation and boiler | Median | 4900 | -11.8% | -1700
| Mean | 4900 | -10.3% | -1900
Cavity wall insulation, loft insulation and boiler | Median | 1470 | -19.5% | -2800
| Mean | 1470 | -16.1% | -3200
Source: NEED
1. The number of records are larger than those in Table 1 as the table contains all matched records from the full NEED dataset and not the NEED sample.
2. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
3. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
4. Households with suspected estimated gas consumption readings have been excluded.
5. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.
6. Solid wall insulation figures should be interpreted with care since they are based on a much smaller number of records and a less diverse housing stock than other energy efficiency measures presented in this report. The combination of solid wall insulation, loft insulation and boiler has not been included as the sample size was very small.

## Table 3
Back to contents
Table 3: Installation of an energy efficiency measure - distribution of savings (weighted)1,2,3,4
Year: 2012
Coverage: England and Wales
Energy efficiency measure | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Cavity wall insulation 2012 - change in consumption | 5910 | -11.1% | -41.9% | -20.6% | -11.3% | -1% | 19.1%
Comparator group - change in consumption | 5910 | -3% | -37.4% | -12.3% | -1.2% | 7.7% | 26.9%
Saving estimate | 5910 | -7.1% | -47.9% | -23.7% | -8.4% | 7.6% | 39.9%
Loft insulation 2012 - change in consumption | 14120 | -5.6% | -43.7% | -16.3% | -4.4% | 6.4% | 27.1%
Comparator group - change in consumption | 14120 | -3.1% | -40.4% | -13.3% | -1.7% | 8.5% | 28.9%
Saving estimate | 14120 | -2.2% | -49.1% | -19.3% | -2.6% | 14.4% | 46.1%
Condensing boiler 2012 - change in consumption | 12440 | -11.8% | -49% | -25.5% | -12% | 1.6% | 27.4%
Comparator group - change in consumption | 12440 | -3.4% | -40.3% | -13.4% | -1.7% | 8.2% | 27.9%
Saving estimate | 12440 | -8% | -53.6% | -26.5% | -9.2% | 9.6% | 41.8%
Solid wall insulation5 2012 - change in consumption | 1740 | -18.8% | -56.7% | -33.5% | -19.4% | -5.2% | 19.9%
Comparator group - change in consumption | 1740 | -4.7% | -44.9% | -16.8% | -3.3% | 9% | 30.9%
Saving estimate | 1740 | -14.7% | -62.9% | -33.8% | -17.2% | 4.5% | 34.8%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.
5. Solid wall insulation figures should be interpreted with care since they are based on a much smaller number of records and a less diverse housing stock than other energy efficiency measures presented in this report.

## Table 4
Back to contents
Table 4: Installation of a combination of energy efficiency measures - distribution of savings (weighted)1,2,3,4
Year: 2012
Coverage: England and Wales
Combination of measures | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Cavity wall insulation and loft insulation 2012 - change in consumption | 21670 | -14.1% | -46.6% | -25% | -14% | -3.6% | 18.4%
Comparator group - change in consumption | 21670 | -2.9% | -38.5% | -12.1% | -1.3% | 8.2% | 26.7%
Saving estimate | 21670 | -10% | -54% | -27.1% | -11.6% | -6.3% | 38.8%
Cavity wall insulation and boiler 2012 - change in consumption | 1590 | -20.2% | -51.8% | -32.4% | -21.6% | -8.9% | 17.2%
Comparator group - change in consumption | 1590 | -3.7% | -39.3% | -12.7% | -1.5% | 7.7% | 24.5%
Saving estimate | 1590 | -15.4% | -57.1% | -33.2% | -18.6% | -0.3% | 33.5%
Solid wall insulation5 and loft insulation 2012 - change in consumption | 770 | -20.6% | -58.8% | -35% | -21.5% | -6.4% | 21.4%
Comparator group - change in consumption | 770 | -3.3% | -45.6% | -15.1% | -1.8% | 9.9% | 32.3%
Saving estimate | 770 | -17.9% | -64.4% | -41.7% | -20.7% | -2.7% | 43.1%
Solid wall insulation5 and boiler 2012 - change in consumption | 760 | -26.2% | -59.3% | -40.9% | -27.5% | -13.6% | 12.7%
Comparator group - change in consumption | 760 | -4.2% | -46.4% | -14.6% | -3.1% | 8.3% | 30.5%
Saving estimate | 760 | -21.7% | -62.8% | -42.2% | -21.3% | -8.1% | 27.8%
Loft insulation and boiler 2012 - change in consumption | 4890 | -14.7% | -51.3% | -28.9% | -15.6% | -1.8% | 27.2%
Comparator group - change in consumption | 4890 | -3.4% | -40.2% | -13.2% | -1.8% | 8.1% | 26.9%
Saving estimate | 4890 | -10.3% | -56.2% | -29.2% | -11.8% | -7.6% | 41.2%
Cavity wall insulation, loft insulation and boiler 2012 - change in consumption | 1470 | -22.3% | -55.7% | -35.7% | -24.3% | -11.3% | 19.1%
Comparator group - change in consumption | 1470 | -3.3% | -35.6% | -12.4% | -2.2% | 7.6% | 23.8%
Saving estimate | 1470 | -16.1% | -58.5% | -34.9% | -19.5% | -2.8% | 41.7%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.
5. Solid wall insulation figures should be interpreted with care since they are based on a much smaller number of records and a less diverse housing stock than other energy efficiency measures presented in this report. The combination of solid wall insulation, loft insulation and boiler has not been included as the sample size was very small.