## Information
Abbreviations and references used in the tables
ABDA: The Anaerobic Digestion & Bioresources Association AGRCC: The Australian Geothermal Reporting Code Committee
ASHRAE: American Society of Heating, Refrigerating and Air-Conditioning Engineers
B&ES: Building & Engineering Services Association
BEC: Biomass Energy Centre
Biomaster
BRE: Building Research Establishment
BDA: British Drilling Association
BSI: British Standards Institution
BSRIA: Building Services Research and Information Association
Carbon Trust
CIBSE: Chartered Institution of Building Services Engineers
CEA: Combustion Engineering Association
Defra: Department for Environment, Food and Rural Affairs
DEVP: Deutscher Energieholz- und Pellet-Verband e.V. (German Wood Fuel and Pellet Association) DCLG: Department for Communities and Local Government
DGS: The German Solar Energy Society
EC: European Commission
EST: Energy Saving Trust
EA: Environment Agency
ThermalNet: EU Project ThermalNet
EBA European Biogas Association
EGEC: European Geothermal Energy Council
EHPA: European Heat Pump Association
Felix Peuser et al 2013
DGS: German Solar Energy Society (DGS) & Ecofys
GLA: Greater London Authority
GSHPA: Ground Source Heat Pump Association
HETAS: Heating Equipment Testing and Approval Scheme
HHIC : Heating and Hotwater Industry Council
HMIP: HM Inspectorate of Pollution
HSE: Health and Safety Executive
IAQM: Institute of Air Quality Management
IEA Biogas: International Energy Agency Biogas
IET: The Institution of Engineering and Technology
IGEM: Institution of Gas Engineers & Managers
IGSHPA: International Ground Source Heat Pump Association
INP: Inspectorate of Pollution
ICE: Institution of Civil Engineers
Jansson C., Alderling M., Hogstedt C., Gustavsson P.
LEP: London Energy Partnership
MCS: Microgeneration Certification Scheme
NMO: National Measurement Office
NIGov: Northern Ireland Government
OECD: Organisation for Economic Co-operation and Development
Ofgem: Office of Gas and Electricity Markets
SEPA: Scottish Environment Protection Agency
ScotGov: Scottish Government
Sjaak Van Loo and Jaap Koppejan
UKGov: UK Government
UniDen: University of Southern Denmark
VDI: Association Of German Engineers
WRAP: Waste & Resources Action Programme
WRC: Water Research Centre

## Guidance and regulation
[7 empty] | The content of the document (where known): |  |  | From detailed examination of documents (Col D)
Name of the organisation who publishes the document | Name or title of the document | Date of publication of document (year) | Detailed examination of the document conducted (See page 'Formal standards' and columns K,L,M across for detail) | Details of which renewable heat technologies are supported by the document (where known) | How the document has been classified (by its content): i. provides detail about regulations ii. contains detail of regulations required by the RHI iii. is guidance produced by an organisation iv. is an ad hoc report | Whether the document is specific to a technology or contain general content | Includes content about the RHI application process/ requirements | May includes content on heat metering | Includes content on other areas which may be directly relevant to renewable heating technologies | Whether the document defines requirements of a manufacturer's product | Project phase(s) covered by the document content (where known) | Whether the focus of the document is on the domestic or non-domestic sector | Geographical coverage of document i.e. the area it applies to* * Another region may chose to adopt a standard which applies outside its area
ABDA | Voluntary guidelines on best practice for crop feedstocks in Anaerobic Digestion | 2014 |  | Biogas & biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
AGRCC | The Geothermal reporting code (second edition) | 2010 |  | Deep geothermal | Guidance | Technology specific | X | X | ✓ |  |  |  | International
ASHRAE | Handbook on refrigeration (ENplus A1) | 2014 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Applications handbook 2011 (Chapter 35: Solar Energy Use) | 2011 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Active solar heating system design manual | 1988 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Active solar heating systems installation manual | 1991 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Guide for preparing active solar heating systems pperation and maintenance | 1990 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Systems handbook for solar energy equipment (Chapter 37) | 2012 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | District cooling guide | 2013 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | N. America
ASHRAE | District heating guide | 2013 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | N. America
ASHRAE | Geothermal heating and cooling: Design of Ground-Source Heat Pump Systems | 2014 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Principles of heating, ventilating and air-conditioning, (7th edition) | 2013 |  | Air-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | N. America
ASHRAE | Procedures for commercial building energy audits (2nd edition) | 2011 |  | All RHI technologies except biogas & biomethane | Guidance | General | X | X | ✓ |  |  |  | N. America
B&ES | Domestic heating design guide | 2015 |  | All RHI technologies except biogas & biomethane | Guidance | General |  | X | ✓ |  |  |  | UK
B&ES | Installation of biofuel heating (TR 38) | 2008 |  | Biomass | Guidance | Technology specific | [6 empty] | UK
B&ES | Heat Pumps – Guide to good practice (TR 30) | 2013 |  | Ground and air-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
B&ES | Installation of Combined Heat and Power (TR 37) | 2008 |  | CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BDA | Guidance on managing the risk of hazardous gases when drilling near coal | 2012 |  | Ground-source heat pump and geothermal | Guidance | General | X | X | ✓ |  |  |  | UK
BEC | Biomass heating: a guide to feasibility studies | 2011 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BEC | Biomass heating: a guide to medium scale wood chip and wood pellet systems | 2011 |  | Biomass | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BEC | Biomass heating: a guide to small log and wood pellet systems | 2011 |  | Biomass | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
Biomaster | Report on standards for biomethane (D4.3) | 2013 |  | Biomethane | Guidance | General | X | X | ✓ |  |  |  | UK
BRE | Design of low-temperature domestic heating systems: A guide for system designers and installers | 2013 |  | All RHI technologies except biogas & biomethane | Guidance | General | X | X | ✓ |  |  |  | UK
BRE | Making the most of renewable energy systems | 2014 |  | All RHI technologies except biogas & biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BRE | Technical Guide to District Heating | 2014 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | UK
Brites | Pre-delivery and design checklist | 2009 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BSA | Code of Safe Drilling Practice: Health & Safety manual for land drilling : A code of safe drilling practice | 2015 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSA | Guidance for safe intrusive activities on contaminated or potentially contaminated land | 2008 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSA | Guidance notes for the protection of persons from rotating parts and ejected or falling material | 2000 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Variable-flow water systems – Design, installation and commissioning guidance (16/2002) | 2002 |  | Not identified | Guidance | General | X |  | ✓ |  |  |  | UK
BSRIA | Commissioning of pipework systems – design considerations (AG 20/95) | 1996 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Pre-Commission cleaning of pipework systems (BG 29/2012) | 2012 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Commissioning water systems (BG2/2010) | 2010 |  | Not identified | Guidance | General | X |  | ✓ |  |  |  | UK
BSRIA | Combined Heat and Power for Existing buildings – Guidance on design and installation (BG2/2007) | 2007 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Environmental Code of Practice for buildings and their services (2nd edition COP6/99) | 1999 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Ground Source Heat Pumps – A technology review (TN18/99) | 1999 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BSRIA | Heat Pumps – A guidance document for designers (BG7/2009) | 2009 |  | Ground, water and air-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
BSRIA | Heat recovery systems (HRS1/2009) | 2009 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Heating controls in large spaces (TN23/97) | 1997 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Illustrated guide to renewable technologies (BG1/2008) | 2008 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Screeds with Underfloor Heating – Guidance for a defect‐free interface (IEP1) | 2003 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Sustainable Housing ‐ Options for independent energy, water supply and sewerage (AG26/97) | 1997 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Underfloor heating and cooling (BG4/2011) | 2011 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
BSRIA | Water treatment for closed heating and cooling systems | 2013 |  | Not identified | Guidance | General |  | X |  |  |  |  | UK
Carbon Trust | Biomass decision support tool | 2013 |  | Biomass & CHP | Guidance | Technology specific | [6 empty] | UK
Carbon Trust | Biomass fuel procurement guide (CTG074) | 2012 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
Carbon Trust | Biomass heating - A practical guide for potential users (In-depth guide CTG012) | 2009 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
Carbon Trust | Contracting guide (CTG073) | 2012 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CEA | Health and safety in biomass systems - Design and operation guide | 2011 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CIBSE | Building energy and environmental modelling (AM11) | 1998 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Combined Heat and Power for buildings (CHP) (AM12) | 2013 |  | Biomass & CHP | Guidance | Technology specific | [6 empty] | UK
CIBSE | Non-domestic hot water heating systems (AM14) | 2010 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Biomass Heating, New 2014 (AM15) | 2014 | Yes | Biomass | Guidance | Technology specific | X | X | ✓ |  | Design, Construction, Installation | Non-domestic | UK
CIBSE | Commissioning Code W: Water distribution systems | 2010 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Domestic Heating - Design Guide 2015 (Domestic Building Services Panel) | 2015 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide A: Environmental design | 2006 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide B: Heating, ventilating, air Conditioning andrRefrigeration | 2001 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide C: Reference data 2007 | 2007 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide F: Energy efficiency in buildings New 2012 | 2012 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide J: Weather, solar and illuminance data | 2002 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide L: Sustainability (under revision) | 2007 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Guide M: Maintenance engineering and management | 2014 |  | Not identified | Guidance | General | X |  | ✓ |  |  |  | UK
CIBSE | Heat Networks: Code of Practice - Raising standards for heat supply | 2015 | Yes | Not identified | Guidance | General | X | ✓ | ✓ |  | Design, Construction, Installation, Commission, Operation | Non-domestic | UK
CIBSE | Sustainable Low Energy Cooling: An Overview (CIBSE Knowledge Series 3) (KS03) | 2005 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | How to Design a Heating System (KS08) | 2006 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Energy efficient heating: an overview (CIBSE Knowledge Series 14) (KS14) | 2009 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Capturing solar energy (KS15) | 2010 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CIBSE | Solar heating design & installation guide | 2007 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CIBSE | Minimising the risk of legionnaires’ disease (TM13) | 2013 |  | Not identified | Guidance | General | [6 empty] | UK
CIBSE | Energy assessment and reporting methodology (2nd edition) (TM22) | 2006 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Renewable energy sources for buildings (TM38) | 2006 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Groundwater cooling systems (TM45) | 2008 |  | Ground and water-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CIBSE | Energy benchmarks (TM46) | 2008 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
CIBSE | Ground Source Heat Pumps (TM51) | 2013 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
CIBSE | Underfloor Heating: Design & installation (Domestic building services panel) 2012 | 2012 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
DCLG | Domestic Building Services Compliance Guide (2013 edition) | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part B Fire Safety | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part F Ventilation | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part G (Sanitation, hot water safety and water efficiency) | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part J (Heat producing appliances) | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part L (Conservation of fuel and power) | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non Domestic Building Regulations - Part P (Electrical safety) | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DCLG | Non-Domestic Building Services Compliance Guide, 2013 Edition | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
DECC | Consignment and mass balance approach | 2014 |  | Biomass & CHP | RHI regulation | Technology specific | ✓ | X | ✓ |  |  |  | UK
DECC | Risk based regional assessment: a checklist approach | 2014 |  | Biomass & CHP | RHI regulation | Technology specific | ✓ | X | ✓ |  |  |  | UK
DECC | Woodfuel advice note | 2014 |  | Biomass & CHP | RHI regulation | Technology specific | ✓ | X | ✓ |  |  |  | UK
Defra | Local air quality management: Technical guidance LAQM.TG(09) | 2009 |  | Biomass, CHP, biogas and biomethane | Regulation | Technology specific | X | X | ✓ |  |  |  | UK
DEPV | Recommendations for storage of wood pellets | 2012 |  | Biomass | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
DGS | Planning and installing bioenergy systems: A guide for installers, architects and engineers | 2005 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | European
EA | Environmental good practice guide for ground source heating and cooling (GEHO0311BTPA-E-E) | 2011 |  | Ground and water-source heat pump, biogas | Regulation | Technology specific | X | X | ✓ |  |  |  | UK
EA | Groundwater Protection: policy and practice GP3 2007 | 2007 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
EBA | Standards for biomethane as vehicle fuel and for injection into the natural gas grid | 2013 |  | Biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | European
EC | Registration, Evaluation, Authorisation and Restriction of Chemicals (REACH) (1907/2006) | 2006 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | Classification, packaging and labelling of dangerous preparations (1999/45/EC) | 1999 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | Water Framework (2000/60/EC) | 2000 |  | Not identified | Regulation | General | [6 empty] | European
EC | Establishing a framework for Community action in the field of water policy (2000/60/EC) | 2000 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | Measuring Instruments Directive (MID) (2004/22/EC) | 2004 |  | Not identified | Regulation | General | ✓ | ✓ | ✓ |  |  |  | European
EC | Groundwater Daughter Directive (2006/118/EC) | 2006 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | On the protection of groundwater against pollution and deterioration (2006/118/EC) | 2006 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | Directive of the European Parliaments and of the Council on Energy Efficiency (2012/27/EU) | 2012 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EC | Classification, labelling and packaging of substances and mixtures (CLP-Regulation No 1272/2008) | 2008 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
ECC | On the protection of groundwater against pollution caused by certain dangerous substances (80/68/EEC) | 1980 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | European
EGEC | Guidelines, Standards, Certification and Legal Permits for Ground Source Heat Pumps in the European Union | 2008 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | European
EHPA | Heat Pump Implementation scenarios | 2013 |  | Ground, water and air-source heat pump | Report | Technology specific | X | X | ✓ |  |  |  | European
EST | Solar water heating systems – guidance for professionals, conventional indirect models (CE131) | 2006 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
Euroheat | District Heating handbook | 1997 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | European
Euroheat | Guidelines for district heating substations | 2008 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | European
Felix Peuser et al 2013 | Solar Thermal Systems: successful planning and construction | 2013 |  | Solar thermal | Guidance | Technology specific | X | X | ✓ |  |  |  | International
GLA | District heating manual for london | 2014 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | UK
GLA | Sustainable design and construction: supplementary planning guidance | 2014 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
GSHPA | Closed-loop vertical borehole design, installation & materials standards (Issue 1.0 September 2011) | 2011 | Yes | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ | Part | Design, Construction, Installation | Non-domestic | UK
GSHPA | Shallow Ground Source standard (Issue 1.0 July 2014) | 2014 | Yes | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ | Part | Design, Construction, Installation | Non-domestic | UK
GSHPA | Thermal Pile Design, Installation & Materials Standards (Issue 1.0 1st October 2012) | 2012 | Yes | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ | Part | Design, Construction, Installation | Non-domestic | UK
HETAS | Official HETAS Guide to Approved Products & Services | 2014 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
HHIC | Benchmark - Commissioning checklist for heat interface unit | 2013 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | UK
HMIP | Guidelines on discharge stack heights for polluting emissions (HMIP Technical Guidance Note (Dispersion) D1) | 1993 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
Hot Dry Rocks | Global review of geothermal reporting terminology | 2013 |  | Deep geothermal | Guidance | Technology specific | X | X | ✓ |  |  |  | International
HSE | Legionnaires’ disease. The control of legionella bacteria in water systems (ACoP L8) | 2013 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Specification for general purpose fuse links for domestic and similar purposes (primarily for use in plugs) (BS 1362) | 1973 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Code of practice for emergency lighting (BS 5266 Parts 1 to 10 also BS EN 50172) | 1999 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Fire detection & alarm systems for buildings (BS 5839 Parts 1 - 11, also PD6531:2010) | 1988 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Code of practice for distribution of electricity on construction and building sites (BS 7375) | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Code of practice for earthing (BS 7430) | 1998 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | requirements for electrical installations. IEE Wiring Regulations (BS 7671) (17th edition) | 2008 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. General principles for design. Risk assessment and risk reduction. (BS EN ISO 12100) | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Prevention of unexpected start-up (BS EN 1037) | 1996 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Interlocking devices associated with guards. Principles for design and selection. (BS EN 1088) | 2008 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Safety related parts of control systems. General principles for design (BS EN 13849) | 2008 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Operation of electrical installations (BS EN 50110 Parts 1 and 2) | 2004 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Electrical apparatus with protection by enclosure for use in the presence of combustible dusts (BS EN 61241) | 2004 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Code of practice for protection of structures against lightning (BS EN 62305, 4 parts) | 2006 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Safety requirements for fluid power systems and their components. Hydraulics. (BS EN 982) | 1996 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Safety requirements for fluid power systems and their components. Pneumatics. (BS EN 983) | 1996 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Safety of machinery. Emergency stop. Principles for design.(BS EN ISO 13850) | 2008 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Risk of carbon monoxide release during storage of wood pellets (Bulletin number OPSTD 3-2012) | 2012 |  | Biomass & CHP | Regulation | Technology specific | X | X | ✓ |  |  |  | UK
HSE | Reporting of injuries, diseases & dangerous occurrence Regulations 1995 | 1995 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
HSE | Confined Space Regulations 1997 (ACOP L101) | 1997 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Construction Design & Management Regulations 1997, 2007 (CDM 1997, 2007) (ACOP L144) | 2007 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Control of noise at work regulations 2005 (Guidance L108) | 2005 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Control of substances hazardous to health regulations 002, 2005 (COSHH 2002, 2005) (ACOP L5) | 2005 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Dangerous substances & explosive atmosphere regulations 2002 (DSEAR 2002) (ACOP L138) | 2002 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Guide to risk based assessments of in-situ large Ex e & Ex n machines (EEMUA 181) | 1995 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Workplace Exposure Limits (2nd edition) (EH40 /2005) | 2005 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Electricity at Work Regulations 1989 (HSG 85) | 1989 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Health & Safety at Work Act 1974 | 1974 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Management of health & safety at work regulations 1999 | 1999 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Managing health and safety in construction. Construction (Design and Management) Regulations 2007. Approved Code of Practice | 2007 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Manual handling operations regulations 1992 2002 (MOH Regs 1992, 2002) (ACOP L23) | 2002 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Risk of carbon monoxide release during storage of wood pellets (OPSTD 3-2012 Bulletin) | 2012 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Personal protective equipment at work regulations 1992, (2002 L25) | 2002 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Pressure system safety regulations 2002 (ACOP L122) | 2002 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Provision and use of work equipment regulations 1998 (PUWER 1998) (ACOP L22) | 1998 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Regulatory reform order (Fire Safety) | 2005 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | The Construction (Design & Management) Regulations | 2015 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Work at height regulations 2005 - 2007 (WaH Regs 2005, 2007) (INDG401) | 2007 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSE | Workplace (Health, Safety & Welfare) Regulations 1992 2002 (ACOP L24) | 2002 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
HSG | Protection of workers and the general public during development of contaminated land (HSG 66) | 1991 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
IAQM | Biomass and air quality guidance for local authorities (Scotland) | 2010 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
IAQM | Combined Heat and Power and air quality guidance, 2012 | 2012 |  | CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
IAQM | Significance in air quality, November 2009 | 2009 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
IAQM | Solid fuel and air quality - an update for local authorities | 2013 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
ICE | Specification for piling and embedded retaining walls | 2013 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
IEA | District Heating and Cooling | 2011 |  | Not identified | Report | General | X |  | ✓ |  |  |  | International
IEA Biogas | Biogas from crop digestion | 2011 |  | Biogas | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IEA Biogas | Biogas from energy crop digestion | 2010 |  | Biogas | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IEA Biogas | Biomethane - status and factors affecting market development and trade | 2014 |  | Biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IEA Biogas | Process monitoring in biogas plants | 2013 |  | Biogas | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IET | Code of Practice for electrical safety management | 2013 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
IET | Wiring Regulations (17th edition) (BS 7671:2008) | 2008 |  | Not identified | Guidance | General | [6 empty] | UK
IGEM | Biomethane injection - draft for approval and publication | 2014 |  | Biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
IGEM | Steel and PE pipelines for biogas distribution | 2014 |  | Biogas | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
IGSHPA | Closed-loop Geothermal Systems: slinky Installation guide | 1994 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Closed-loop/Geothermal heat pump systems: design and installation standards | 2010 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Closed-loop/Ground Source Heat Pump System: installation guide | 1988 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Grouting for vertical geothermal heat pump systems | 1997 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Residential and light commercial design and installation manual (#21025) | 2014 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Soil and rock classification for the design of ground-coupled heat pump system: field manual | 1990 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
IGSHPA | Understanding geothermal exchange heating and cooling | Not known |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | International
INP | Guidelines on discharge stack heights for polluting emissions | 1993 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK
MCS | Installer certification scheme requirements (Issue 2.4) (MCS 001) | 2014 | Yes | Not identified | RHI regulation | General | ✓ | X | ✓ |  | Design, Installation, Commission | Domestic | UK
MCS | Solar Collectors 3.1 (Product Certification Scheme Requirements) (MCS 004) | 2013 | Yes | Solar thermal | RHI regulation | Technology specific | ✓ | X | ✓ | Yes |  | Domestic | UK
MCS | Heat Pumps 3.0 (Product Certification Scheme Requirements) (MCS 007) | 2014 | Yes | Ground and air-source heat pump | RHI regulation | Technology specific | ✓ | X | ✓ | Yes |  | Domestic | UK
MCS | Biomass 2.2 (Product Certification Scheme Requirements) (MCS 008) | 2013 | Yes | Biomass | RHI regulation | Technology specific | ✓ | X | ✓ | Yes |  | Domestic | UK
MCS | Acceptance criteria for testing required for product certification (Issue 1.5) (Product Certification Scheme Requirements) (MCS 011) | 2009 | Yes | Not identified | RHI regulation | General | ✓ | X | ✓ | Yes |  | Domestic | UK
MCS | Planning Standards - For permitted development installations of wind turbines and air source heat pumps on domestic premises (MCS 020) | 2013 | Yes | Not identified | RHI regulation | General | ✓ | X | ✓ |  | Design | Domestic | UK
MCS | Heat emitter guide (MCS 021 2.0) | 2014 | Yes | Ground, water and air-source heat pump | RHI regulation | Technology specific | ✓ | X | ✓ |  | Design | Domestic | UK
MCS | Domestic RHI Metering Guidance v1.0 | 2013 | Yes | Not identified | RHI regulation | General | ✓ | ✓ | ✓ |  | Design | Domestic | UK
MCS | Factory Production Control Requirements (Issue 1.5) (Product Certification Scheme Requirements) (MCS: 010) | 2009 | Yes | Not identified | RHI regulation | General | ✓ | X | ✓ | Yes |  | Domestic | UK
MCS | Solar thermal (Installation Standard) (MIS 3001 4.1) | 2014 | Yes | Solar thermal | RHI regulation | Technology specific | ✓ | X | ✓ |  | Design, installation | Domestic | UK
MCS | Biomass (Installation Standard) (MIS 3004 4.0) | 2013 | Yes | Biomass | RHI regulation | Technology specific | ✓ | X | ✓ |  | Design, installation | Domestic | UK
MCS | Heat pumps (Installation Standard) (MIS 3005 4.1) | 2014 | Yes | Ground, water and air-source heat pump | RHI regulation | Technology specific | ✓ | X | ✓ |  | Design, installation | Domestic | UK
NIGov | Clean Air (Northern Ireland) Order 1981 | 1981 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
NIGov | Conservation of fuel and power in buildings other than dwellings, October 2012 (Technical Booklet F2) | 2012 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
NIGov | Combustion appliances and fuel storage, October 2012 (Technical Booklet L) | 2012 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
NMO | Heat networks regulation (metering & billing) - guidance in development | 2015 |  | Not identified | Regulation | General | X | ✓ | ✓ |  |  |  | UK
OECD | Inherent Biodegradability: Modified MITI Test (II) (OECD Guideline 302B) | 1992 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | International
OECD | Acute Oral Toxicity (OECD Guideline 401) | 1987 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | International
OECD | Acute Oral Toxicity – fixed dose procedure (OECD Guideline 420) | 2001 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | International
OECD | Acute Oral toxicity - acute toxic class method (OECD Guideline 423) | 2002 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | International
Ofgem | Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | 2015 | Yes | Not identified | RHI regulation | General | ✓ | ✓ | ✓ |  | RHI application, partly design and operation | Non-domestic | UK
Ofgem | Non-Domestic RHI Guidance Volume Two: Ongoing Obligations and Payments (Version 4) | 2015 | Yes | Not identified | RHI regulation | General | ✓ | ✓ | ✓ |  | RHI application, partly design and operation | Non-domestic | UK
Ofgem | UK solid and gaseous biomass carbon calculator | 2015 |  | Not identified | RHI regulation | General | ✓ | X | ✓ |  |  |  | UK
Ofgem | Renewable Heat Incentive guidance: Non-domestic scheme Metering Placement Examples | 2013 |  | Not identified | Guidance | General | ✓ | ✓ | ✓ |  |  |  | UK
ScotGov | Technical Guidance - Section 3 Environment | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
ScotGov | Technical Guidance - Section 6 Energy | 2010 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
SEPA | Groundwater Abstractions - Geothermal Energy (Supporting Guidance (WAT-SG-62) | 2014 |  | Ground-source heat pump and geothermal | Guidance | Technology specific | X |  | ✓ |  |  |  | UK
Sjaak Van Loo and Jaap Koppejan | The handbook of biomass combustion and co-firing | 2010 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | International
ThermalNet | Gas cleaning in flue gas from combustion of biomass (Carlsson K. (2008)) | 2008 |  | Biomass & CHP | Guidance | Technology specific | X | X | ✓ |  |  |  | European
UKDEA | A guide to developing district energy schemes in the UK | 2015 |  | Not identified | Guidance | General | X | ✓ | ✓ |  |  |  | UK
UKGov | Clean Air Act 1993 | 1993 |  | Not identified | Regulation | General | X | X | ✓ |  |  |  | UK
UniDen | Biogas handbook | 2008 |  | Biogas & biomethane | Guidance | Technology specific | X |  | ✓ |  |  |  | European
VDI | Thermal use of the underground - Ground source heat pump systems | 2001 |  | Ground-source heat pump | Guidance | Technology specific | X | X | ✓ |  |  |  | European
WRAP | Biomethane from waste | 2013 |  | Biogas & biomethane | Guidance | Technology specific | X | X | ✓ |  |  |  | UK
WRC | A Guide to the testing of water supply pipelines and sewer rising mains | 1999 |  | Not identified | Guidance | General | X | X | ✓ |  |  |  | UK

## Formal standards (detail)
Name or title of the document examined | Name of the organisation who publishes the document | Reference number(s) of the standard(s) identified in the document | Description and content of the standard(s) which were identified | Which renewable heat technology(ies) is this standard potentially relevant for | Whether the standard is specific to one or more renewable heat technologies | Geographical coverage of standard i.e. the area it applies to* * Another region may chose to adopt a standard which applies outside its area | Details of which body created the standard (where known) | Detail of how the relevant Committee responsible for keeping the standard up-to-date (where known) | Cost of purchasing the standard (where known)
AM15 Biomass Heating New 2014 | CIBSE | BS 3572:1986 | Specification for access fittings for chimneys and other high structures in concrete or brick work | Biomass | No | British Standard | BSI | B/514/39 | 108
AM15 Biomass Heating New 2014 | CIBSE | BS 3678:1986 | Specification for access hooks for chimneys and other high structures in steel | Biomass | No | British Standard | BSI | B/514/39 | 90
AM15 Biomass Heating New 2014 | CIBSE | BS 4207:1989 | Code of practice for the installation of monolithic linings for steel chimneys and flues | Biomass | No | British Standard | BSI | RPI/1 | 90
AM15 Biomass Heating New 2014 | CIBSE | BS 4211:2005+A1:2008 | Specification for permanently fixed ladders | Biomass | No | British Standard | BSI | B/208/1 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS 5854:1980 (1996) | Code of practice for flues and flue structures in buildings | Biomass | No | British Standard | BSI | B/506 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-1:2007 | Free-standing chimneys. General requirements | Biomass | No | British & European Standard | BSI | B/506/14 | 174
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-2:2007 | Free-standing chimneys. Concrete chimneys | Biomass | No | British & European Standard | BSI | B/506/14 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-4:2005 | Free-standing chimneys. Brick liners. Design and execution | Biomass | No | British & European Standard | BSI | B/506/14 | 200
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-5:2005 | Free-standing chimneys. Material for brick liners. Product specifications | Biomass | No | British & European Standard | BSI | B/506/14 | 174
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-6:2004 | Free-standing chimneys. Steel liners. Design and execution | Biomass | No | British & European Standard | BSI | B/506/14 | 108
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-7:2012 | Free-standing chimneys. Product specifications of cylindrical steel fabrications for use in single wall steel chimneys and steel liners | Biomass | No | British & European Standard | BSI | B/506/14 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13084-8:2005 | Free-standing industrial chimneys. Design and execution of mast construction with satellite components | Biomass | No | British & European Standard | BSI | B/506/14 | 108
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13384-1:2002+A2:2008 | Chimneys. Thermal and fluid dynamic calculation methods. Chimneys serving one appliance | Biomass | No | British & European Standard | BSI | B/506 | 242
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13384-2:2003+A1:2009 | Chimneys. Thermal and fluid dynamic calculation methods. Chimneys serving more than one heating appliance | Biomass | No | British & European Standard | BSI | B/506/1 | 226
AM15 Biomass Heating New 2014 | CIBSE | BS EN 13384-3:2005 | Chimneys. Thermal and fluid dynamic calculation methods. Methods for the development of diagrams and tables for chimneys serving one heating appliance | Biomass | No | British & European Standard | BSI | B/506/1 | 174
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1443:2003 | Chimneys. General requirements. | Biomass | No | British & European Standard | BSI | B/506 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 14961-1:2010 | Solid biofuels. Fuel specifications and classes. General requirements | Biomass | No | British & European Standard | BSI | PTI/17 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 15036-2:2006 | Heating boilers. Test regulations for airborne noise emissions from heat generators. Airborne noise emissions from heat generators | Biomass | Yes | British & European Standard | BSI | RHE/10 | 174
AM15 Biomass Heating New 2014 | CIBSE | BS EN 15234-1:2011 | Solid biofuels. Fuel quality assurance. General requirements | Biomass | Yes | British & European Standard | BSI | PTI/17 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 15287-1 AMD1 | Flues. Design, installation and commissioning of flues. Part 1. Flues for non-room-sealed heating appliances | Biomass | Yes | British & European Standard | BSI | None identified | 262
AM15 Biomass Heating New 2014 | CIBSE | BS EN 15287-1:2007 | Chimneys. Design, installation and commissioning of chimneys. Chimneys for non-room sealed heating appliances | Biomass | No | British & European Standard | BSI | B/506/1 | 262
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1856-1:2009 | Chimneys. Requirements for metal chimneys. System chimney products | Biomass | No | British & European Standard | BSI | B/506/5 | 226
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1856-2:2009 | Chimneys. Requirements for metal chimneys. Metal flue liners and connecting flue pipes | Biomass | No | British & European Standard | BSI | B/506/5 | 200
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1857:2010 | Chimneys. Components. Concrete flue liners | Biomass | No | British & European Standard | BSI | B/506/4 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1858:2008+A1:2011 | Chimneys. Components. Concrete flue blocks | Biomass | No | British & European Standard | BSI | B/506/4 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1991-1-4:2005+A1:2010 | Eurocode 1. Actions on structures. General actions. Wind actions | Biomass | No | British & European Standard | BSI | B/525/1 | 284
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1991-1-5:2003 | Eurocode 1. Actions on structures. General actions. Thermal actions | Biomass | No | British & European Standard | BSI | B/525/1 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1993-3-1:2006 | Eurocode 3. Design of steel structures. Towers, masts and chimneys. Towers and masts | Biomass | No | British & European Standard | BSI | CB/203 | 226
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1993-3-2:2006 | Eurocode 3. Design of steel structures. Towers, masts and chimneys. | Biomass | No | British & European Standard | BSI | CB/203 | 174
AM15 Biomass Heating New 2014 | CIBSE | BS EN 1998-6:2005 | Eurocode 8. Design of structures for earthquake resistance. Towers, masts and chimneys | Biomass | No | British & European Standard | BSI | B/525/8 | 212
AM15 Biomass Heating New 2014 | CIBSE | BS EN 50291-1:2010 | Electrical apparatus for the detection of carbon monoxide in domestic premises. Test methods and performance requirements | Biomass | No | British & European Standard | BSI | EXL/31/1 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 50292:2013 | Electrical apparatus for the detection of carbon monoxide in domestic premises, caravans and boats. Guide on the selection, installation, use and maintenance | Biomass | No | British & European Standard | BSI | EXL/31/1 | 152
AM15 Biomass Heating New 2014 | CIBSE | BS EN 50379-2:2012 | Specification for portable electrical apparatus designed to measure combustion flue gas parameters of heating appliances. Performance requirements for apparatus used in statutory inspections and assessment | Biomass | No | British & European Standard | BSI | EXL/31/1 | 108
AM15 Biomass Heating New 2014 | CIBSE | BS EN ISO 17225-2:2014 | Solid biofuels. Fuel specifications and classes. Graded wood pellets | Biomass | No | British, European and International Standard | BSI | PTI/17 | 104
AM15 Biomass Heating New 2014 | CIBSE | ISO 13790:2008 | Energy performance of buildings - Calculation of energy use for space heating and cooling | Biomass | Yes | International Standard | ISO | ISO/TC 163/SC 2 | 133.52
AM15 Biomass Heating New 2014 | CIBSE | ÖNORM M 7133:2013 | Chipped wood for energetic purposes - Requirements and test specifications | Biomass | No | Austrian Standard | BDB | 241 Energy from solid biomass | 45.13
AM15 Biomass Heating New 2014 | CIBSE | ÖNORM M 7135:2000 | Compressed wood or compressed bark in natural state - Pellets and briquettes - Requirements and test specifications | Biomass | No | Austrian Standard | BDB | 241 Energy from solid biomass | 45.13
AM15 Biomass Heating New 2014 | CIBSE | ÖNORM M 7137: 2012 | Compressed wood in natural state - Wood pellets - Requirements for storage of pellets at the ultimate consumer | Biomass | No | Austrian Standard | BDB | 241 Energy from solid biomass | 84.92
AM15 Biomass Heating New 2014 | CIBSE | PD 6688-1-4:2009 | Background information to the National Annex to BS EN 1991-1-4 (see row 27 above) and additional guidance | Biomass | No | British & European Standard | BSI | B/525/1 | 212
AM15 Biomass Heating New 2014 | CIBSE | PD 6698:2009 | Recommendations for the design of structures for earthquake resistance to BS EN 1998-6 (see row 30 above) | Biomass | No | British & European Standard | BSI | B/525/8 | 152
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS 5422:2009 | Method for specifying thermal insulating materials for pipes, tanks, vessels, ductwork and equipment operating within the temperature range -40°C to +700°C | All RHI technologies except biomethane | No | British Standard | BSI | B/540/7 | 226
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS 7592:2008 | Sampling for Legionella bacteria in water systems. Code of practice | All RHI technologies except biomethane | No | British Standard | BSI | EH/3/4 | 174
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS 8558:2011 | Guide to the design, installation, testing and maintenance of services supplying water for domestic use within buildings and their curtilages. Complementary guidance to BS EN 806-05 (see row 122 below) | All RHI technologies except biomethane | No | British Standard | BSI | B/504/2 | 226
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 13941:2009+A1:2010 | Design and installation of preinsulated bonded pipe systems for district heating | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 262
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 1434-3:2008 | Heat meters. Data exchanges and interface | All RHI technologies except biomethane | No | British & European Standard | BSI | CPI/30 | 174
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 14419:2009 | District heating pipes. Preinsulated bonded pipe systems for directly buried hot water networks. Surveillance systems | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 152
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 15632-4:2009 | District heating pipes. Pre-insulated flexible pipe systems. Bonded system with metal service pipes; requirements and test methods | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 90
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 15698-1:2009 | District heating pipes. Preinsulated bonded twin pipe systems for directly buried hot water networks. Twin pipe assembly of steel service pipe, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 108
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 253:2009+A1:2013 | District heating pipes. Preinsulated bonded pipe systems for directly buried hot water networks. Pipe assembly of steel service pipe, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 212
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 448:2009 | District heating pipes. Preinsulated bonded pipe systems for directly buried hot water networks. Fitting assemblies of steel service pipes, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 174
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 488:2013 | Standard in development: BS EN 488 District heating pipes - Preinsulated bonded pipe systems for directly buried hot water networks - Steel valve assembly for steel service pipes, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | £-
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS EN 489:2009 | District heating pipes. Preinsulated bonded pipe systems for directly buried hot water networks. Joint assembly for steel service pipes, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 174
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BS OHSAS 18001 | Occupational Health and Safety Management Systems | All RHI technologies except biomethane | No | British Standard | BSI | None identified | £-
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | BSI PAS55:2008 | Publicly Available Specification for the Optimal Management of Physical Assets | All RHI technologies except biomethane | No | British Standard | BSI | None identified | £-
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | DS 439:2009 | Code of Practice for domestic water supply installations | All RHI technologies except biomethane | No | Danish Standard | DS | DS/S-314 | 72
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | ISO 14001:2004 | Environmental management systems -- Requirements with guidance for use | All RHI technologies except biomethane | No | International Standard | ISO | ISO/TC 207/SC 1 | 80
Heat Networks: Code of Practice - Raising Standards for Heat Supply | CIBSE | ISO 9001:2008 | Quality management systems -- Requirements | All RHI technologies except biomethane | No | International Standard | ISO | ISO/TC 176/SC 2 | 93.79
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | ASTM C177 - 13 | Standard Test Method for Steady-State Heat Flux Measurements and Thermal Transmission Properties by Means of the Guarded-Hot-Plate Apparatus | Ground source heat pumps | No | International Standard | ASTM | C16.30 | 45.43
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | ASTM D1384 - 05(2012) | Standard Test Method for Corrosion Test for Engine Coolants in Glassware | Ground source heat pumps | No | International Standard | ASTM | D15.06 | 28
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | ASTM D-5084 | Standard Test Methods for Measurement of Hydraulic Conductivity of Saturated Porous Materials Using a Flexible Wall Permeameter | Ground source heat pumps | No | International Standard | ASTM | D18.04 | 45.43
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN 12201-4:2012 | Plastics piping systems for water supply, and for drainage and sewerage under pressure. Polyethylene. Valves | Ground source heat pumps | No | British Standard | BSI | PRI/88/2 | 152
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN 12831:2003 | Heating systems in buildings. Method for calculation of the design heat load | Biomass, all heat pumps, solar thermal and CHP | No | British & European Standard | BSI | RHE/24 | 226
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN 805:2000 | Water supply. Requirements for systems and components outside buildings | Ground source heat pumps | No | British & European Standard | BSI | B/504/-/1 | 212
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN ISO 14688-1:2002 | Geotechnical investigation and testing. Identification and classification of soil. Identification and description | Ground source heat pumps | No | British, European and International Standard | BSI | B/526/3 | 108
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN ISO 14689-1:2003 | Geotechnical investigation and testing. Identification and classification of rock. Identification and description | Ground source heat pumps | No | British, European and International Standard | BSI | B/526/3 | 152
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | BS EN ISO 7519:1997 | Technical drawings. Construction drawings. General principles of presentation for general arrangement and assembly drawings | Ground source heat pumps | No | British, European and International Standard | BSI | B/555 | 108
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | ISO 2719:2002 | Determination of flash point -- Pensky-Martens closed cup method | Ground source heat pumps | No | International Standard | ISO | ISO/TC 28 | 79.56
Closed-loop Vertical Borehole Design, Installation & Materials Standards Issue 1.0 September 2011 | GSHPA | ISO 9038:2002 | Test for sustained combustibility of liquids | Ground source heat pumps | No | International Standard | ISO | ISO/TC 35/SC 9 | 39.15
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | ASTM D1177 - 12 | Standard Test Method for Freezing Point of Aqueous Engine Coolants | Ground source heat pumps | No | International Standard | ASTM | D15.03 | 25
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | ASTM D1384 - 05(2012) | Standard Test Method for Corrosion Test for Engine Coolants in Glassware | Ground source heat pumps | No | International Standard | ASTM | D15.06 | 28
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS 10175:2011+A1:2013 | Investigation of potentially contaminated sites. Code of practice | Ground source heat pumps | No | British Standard | BSI | EH/4 | 274
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN 12201-4:2012 | Plastics piping systems for water supply, and for drainage and sewerage under pressure. Polyethylene (PE). Valves | Ground source heat pumps | No | British Standard | BSI | PRI/88/2 | 152
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN 15450:2007 | Heating systems in buildings. Design of heat pump heating systems | Ground source heat pumps | No | British & European Standard | BSI | RHE/24 | 200
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN 805 | Water supply. Requirements for systems and components outside buildings | Ground source heat pumps | No | British & European Standard | BSI | B/504/-/1 | 212
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN ISO 14688-1:2002 | Geotechnical investigation and testing. Identification and classification of soil. Identification and description | Ground source heat pumps and geothermal | No | British, European and International Standard | BSI | B/526/3 | 108
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN ISO 14689-1:2003 | Geotechnical investigation and testing. Identification and classification of rock. Identification and description | Ground source heat pumps and geothermal | No | British, European and International Standard | BSI | B/526/3 | 152
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN ISO 15875-5:2003 | Plastics piping systems for hot and cold water installations. Crosslinked polyethylene (PE-X). Fitness for purpose of the system | Ground source heat pumps | No | British, European and International Standard | BSI | PRI/88/2 | 108
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN ISO 7519:1997 | Technical drawings. Construction drawings. General principles of presentation for general arrangement and assembly drawings | Ground source heat pumps | No | British, European and International Standard | BSI | B/555 | 108
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | BS EN ISO 9001:2008 | Quality management system. Requirements | Ground source heat pumps | No | British, European and International Standard | BSI | QS/1 | 100
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | DIN 16892:2000-07 | Crosslinked polyethylene (PE-X) pipes - General requirements, testing | Ground source heat pumps | No | German Standard | DIN | None identified | 41.18
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | DIN 16893:2000-09 | Crosslinked polyethylene (PE-X) pipes - Dimensions | Ground source heat pumps | No | German Standard | DIN | None identified | 41.18
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | DIN 8074 | Polyethylene pipes - (PE) PE 80, PE 100 - Dimensions | Ground source heat pumps | No | German Standard | DIN | None identified | £-
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | DIN 8075 | DIN 8075 High-density polyethylene (HDPE) pipes: General quality requirements – Testing | Ground source heat pumps | No | German Standard | DIN | None identified | £-
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | IEEE 442-1981 | Guide for Soil Thermal Resistivity Measurements | Ground source heat pumps | No | International Standard | IEEE | PE/IC - Insulated Conductors | 61.93
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | ISO 2719:2002 | Determination of flash point -- Pensky-Martens closed cup method | Ground source heat pumps | No | International Standard | ISO | ISO/TC 28 | 79.56
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | ISO 9038:2002 | Test for sustained combustibility of liquids | Ground source heat pumps | No | International Standard | ISO | ISO/TC 35/SC 9 | 39.15
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | OECD Guideline No. 302B (1992) | Inherent Biodegradability: Modified MITI Test (II) | Ground source heat pumps | No | International Standard | OECD | None identified | £-
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | OPPTS 835.3200 | US EPA Fate, Transport and Transformation Test Guidelines | Ground source heat pumps | No | US standard | US EPA | EPA 712–C–98–084 | £-
Shallow Ground Source Standard Issue 1.0 July 2014 | GSHPA | PAS 1075 | Pipes made from Polyethylene for Alternative Installation Techniques: Dimensions, Technical Requirements and Testing | Ground source heat pumps | No | Not identified |  | None identified | £-
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | ASTM C1363 | Standard Test Method for Thermal Performance of Building Materials and Envelope Assemblies by Means of a Hot Box Apparatus | Ground source heat pumps | No | International Standard | ASTM | C16.30 | 45.43
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | ASTM C177 | Standard Test Method for Steady-State Heat Flux Measurements and Thermal Transmission Properties by Means of the Guarded-Hot-Plate Apparatus | Ground source heat pumps | No | International Standard | ASTM | C16.30 | 45.43
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | ASTM C518 | Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus | Ground source heat pumps | No | International Standard | ASTM | C16.30 | 32
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS 8500-1:2006+A1:2012 | Concrete. Complementary British Standard to BS EN 206-1 (see row 101 below). Method of specifying and guidance for the specifier | Ground source heat pumps | No | British Standard | BSI | B/517 | 212
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 12664:2001 | Thermal performance of building materials and products. Determination of thermal resistance by means of guarded hot plate and heat flow meter methods. Dry and moist products of medium and low thermal resistance | Ground source heat pumps | No | British & European Standard | BSI | B/540 | 226
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 12667:2001 | Thermal performance of building materials and products. Determination of thermal resistance by means of guarded hot plate and heat flow meter methods. Products of high and medium thermal resistance | Ground source heat pumps | No | British & European Standard | BSI | B/540 | 212
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 1536:2010 | Execution of special geotechnical works. Bored piles | Ground source heat pumps | No | British & European Standard | BSI | B/526 | 226
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 1538:2010 | Execution of special geotechnical works. Diaphragm walls | Ground source heat pumps | No | British & European Standard | BSI | B/526 | 212
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 1997-1:2004+A1:2013 | Eurocode 7. Geotechnical design. General rules | Ground source heat pumps | No | British & European Standard | BSI | B/526 | 284
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 1997-2:2007 | Eurocode 7. Geotechnical design. Ground investigation and testing | Ground source heat pumps | No | British & European Standard | BSI | B/526/3 | 284
Thermal Pile Design, Installation & Materials Standards Issue 1.0 1st October 2012 | GSHPA | BS EN 206:2013 | Concrete. Specification, performance, production and conformity | Ground source heat pumps | No | British & European Standard | BSI | B/517/1 | 226
MCS 004 Solar Collectors 3.1 (Product Certification Scheme Requirements) | MCS | BS EN 12975-1:2006 | Thermal solar systems and components. Solar collectors. General requirements | Solar thermal | No | British & European Standard | BSI | RHE/25 | 108
MCS 004 Solar Collectors 3.1 (Product Certification Scheme Requirements) | MCS | BS EN 12976-1:2006 | Thermal solar systems and components. Factory made systems. General requirements | Solar thermal | Yes | British & European Standard | BSI | RHE/25 | 108
MCS 007 Heat Pumps 3.0 (Product Certification Scheme Requirements) | MCS | EN 14511:2011 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling; | Ground and air-source heat pumps | Yes | European Standard |  | None identified | £-
MCS 007 Heat Pumps 3.0 (Product Certification Scheme Requirements) | MCS | EN 16147:2011 | Heat pumps with electrically driven compressors. Testing and requirements for marking of domestic hot water units | Ground and air-source heat pumps | Yes | European Standard |  | None identified | 174
MCS 008 Biomass 2.2 (Product Certification Scheme Requirements) | MCS | BS EN 13240:2001+A2:2004 | Room heaters fired by solid fuel. Requirements and test methods | Biomass | Yes | British & European Standard | BSI | RHE/28 | 226
MCS 008 Biomass 2.2 (Product Certification Scheme Requirements) | MCS | BS EN 303-5:2012 | Heating boilers. Heating boilers for solid fuels, manually and automatically stoked, nominal heat output of up to 500 kW. Terminology, requirements, testing and marking | Biomass and CHP | Yes | British & European Standard | BSI | RHE/10 | 226
MCS 008 Biomass 2.2 (Product Certification Scheme Requirements) | MCS | EN 14961-2 Class A1 | ENplus Wood pellet quality standard for production, storage and transport | Biomass | Yes | European Standard | European Pellet Council | None identified | £-
MCS 011 Product Certification Scheme Requirements: Acceptance Criteria for Testing Required for Product Certification Issue 1.5 | MCS | ISO 17025 | General requirements for the competence of testing and calibration laboratories | All RHI technologies except biogas & biomethane | Yes | International Standard | ISO | None identified | 93.23
MCS 021 2.0 | MCS | BS EN 1264-1:2011 | Water based surface embedded heating and cooling systems. Definitions and symbols | Ground and air-source heat pumps | No | British & European Standard | BSI | RHE/6 | 152
MCS 021 2.0 | MCS | BS EN 14825:2013 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors, for space heating and cooling. Testing and rating at part load conditions and calculation of seasonal performance | Ground and air-source heat pumps | No | British & European Standard | BSI | RHE/17 | 226
MCS 021 2.0 | MCS | BS EN 442-2:2014 | Radiators and convectors. Test methods and rating | Ground and air-source heat pumps | No | British & European Standard | BSI | RHE/6 | 218
MIS 3001 4.1 (Installation Standard) | MCS | BRE Digest 489 | Wind loads on roof-based photovoltaic systems | Solar thermal | No | British Standard | BRE | None identified | £-
MIS 3001 4.1 (Installation Standard) | MCS | BS 1566-1:2002+A1:2011 | Copper indirect cylinders for domestic purposes. Open vented copper cylinders. Requirements and test methods | Solar thermal | No | British Standard | BSI | B/504/-/10 | 108
MIS 3001 4.1 (Installation Standard) | MCS | BS 5615:1985 | Specification for insulating jackets for domestic hot water storage cylinders | Solar thermal | No | British Standard | BSI | B/540 | 90
MIS 3001 4.1 (Installation Standard) | MCS | BS EN 12975-2:2006 | Thermal solar systems and components. Solar collectors. | Solar thermal | No | British & European Standard | BSI | None identified | £-
MIS 3001 4.1 (Installation Standard) | MCS | BS EN ISO 9806:2013 | Solar energy. Solar thermal collectors. Test methods - Part 2 Test methods | Solar thermal | Yes | British, European and International Standard | BSI | RHE/25 | 262
MIS 3001 4.1 (Installation Standard) | MCS | Eurocode 1 – BSEN 1991 | Actions on Structures | Solar thermal | Yes | European Standard |  | None identified | £-
MIS 3004 4.0 (Installation Standard) | MCS | BS EN 12831 | Heating systems in buildings. Method for calculation of the design heat load | Biomass, ground and air-source heat pumps, CHP | No | British & European Standard | BSI | RHE/24 | 226
MIS 3004 4.0 (Installation Standard) | MCS | BS EN 14961-1:2010 | Solid Biofuels - Fuel Specifications and Classes | Biomass and CHP | No | British & European Standard | BSI | PTI/17 | 212
MIS 3005 4.1 (Installation Standard) | MCS | BS 8558:2011 | Guide to the design, installation, testing and maintenance of services supplying water for domestic use within buildings and their curtilages. Complementary guidance to BS EN 806 | Ground and air-source heat pumps | No | British Standard | BSI | B/504/3 | 226
MIS 3005 4.1 (Installation Standard) | MCS | BS EN 806-5:2012 | Specifications for installations inside buildings conveying water for human consumption | Ground and air-source heat pumps | No | British & European Standard | BSI | B/504/2 | 174
MIS 3005 4.1 (Installation Standard) | MCS | EN ISO 13790 | Energy performance of buildings -- Calculation of energy use for space heating and cooling | Ground and air-source heat pumps | No | European & International Standard | ISO | ISO/TC 163/SC 2 | 133.8
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS 5422:2009 | Method for specifying thermal insulating materials for pipes, tanks, vessels, ductwork and equipment operating within the temperature range -40°C to +700°C | All RHI technologies | No | British & European Standard | BSI | B/540/7 | 226
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 12831:2003 | Heating systems in buildings. Method for calculation of the design heat load | All RHI technologies except biogas & biomethane | No | British & European Standard | BSI | RHE/24 | 226
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 14511 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling. Test conditions | Ground and air-source heat pumps | No | British & European Standard | BSI | RHE/17 | 152
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 14825:2013 | Air conditioners, liquid chilling packages and heat pumps, with electrically driven compressors, for space heating and cooling. Testing and rating at part load conditions and calculation of seasonal performance | Ground and air-source heat pumps | No | British & European Standard | BSI | RHE/17 | 226
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 14961-1:2010 | Solid Biofuels — Fuel Specifications and Classes | Biomass and CHP | No | British & European Standard | BSI | PTI/17 | 212
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 15632-2:2010+A1:2014 | District heating pipes. Pre-insulated flexible pipe systems. Bonded plastic service pipes. Requirements and test methods | All RHI technologies except biomethane | Yes | British & European Standard | BSI | RHE/9 | 108
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 15632-3:2010+A1:2014 | District heating pipes. Pre-insulated flexible pipe systems. Non bonded system with plastic service pipes; requirements and test methods | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 90
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 15632-4:2009 | District heating pipes. Pre-insulated flexible pipe systems. Bonded system with metal service pipes; requirements and test methods | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 90
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 15698-1:2009 | District heating pipes. Preinsulated bonded twin pipe systems for directly buried hot water networks. Twin pipe assembly of steel service pipe, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies except biomethane | No | British & European Standard | BSI | RHE/9 | 108
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 16147:2011 | Heat pumps with electrically driven compressors. Testing and requirements for marking of domestic hot water units | Ground, water and air-source heat pumps | No | British & European Standard | BSI | RHE/17 | 174
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 253:2009+A1:2013 | District heating pipes. Preinsulated bonded pipe systems for directly buried hot water networks. Pipe assembly of steel service pipe, polyurethane thermal insulation and outer casing of polyethylene | All RHI technologies | No | British & European Standard | BSI | RHE/9 | 212
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN 303-5 | Heating boilers. Heating boilers for solid fuels, manually and automatically stoked, nominal heat output of up to 500 kW. Terminology, requirements, testing and marking | Biomass and CHP | No | British & European Standard | BSI | RHE/10 | 226
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | BS EN ISO/IEC 17065:2012 | Conformity assessment. Requirements for bodies certifying products, processes and services | Ground source heat pumps and solar thermal | No | British, European and International Standard | ISO | CAS/1 | 174
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | EN 1434: 2007 | Heat meters. General requirements | All RHI technologies | No | European Standard | BSI | CPI/30 | 152
Non-Domestic RHI Guidance Volume One: Eligibility and How to Apply (Version 4) | Ofgem | ISO 17025 | General requirements for the competence of testing and calibration laboratories | All RHI technologies | No | International Standard | ISO | ISO/CASCO | 93.23