REQUEST FOR QUOTE

NBO/007/2018: PROVISION OF 24 HOUR EMERGENCY FIRE RESPONSE SERVICE AND MAINTENANCE AND SERVICING OF FIRE FIGHTING EQUIPMENT FOR THE BRITISH HIGH COMMISSION NAIROBI

Dear Service Provider,

On behalf of the Foreign and Commonwealth Office (FCO) as represented by British High Commission - Nairobi, I am requesting a quote from you for the PROVISION OF 24 HOUR EMERGENCY FIRE RESPONSE SERVICE AND MAINTENANCE AND SERVICING OF FIRE FIGHTING EQUIPMENT FOR THE BRITISH HIGH COMMISSION (BHC) further details on the requirement are set out in the attached Statement of Requirements

Please include in your reply a nominated point of contact with telephone, e-mail and postal address details.

Your quote should remain valid for [90] days from the required date of receipt and all costs should be of inclusive all costs.

Your quote must be received on or before 15:00 hours on 31st May 2018 (Kenyan Time). If you will have any problems meeting this deadline but wish to submit a proposal, please inform the Authority via the email address below as soon as possible. Last minute request of an extension may be deemed as inappropriate

NB: Please provide a detailed quotation – outlining the total cost as requested in this tender document.

Responses to the request below should be submitted via email to nairobiquotations@fco.gov.uk.

Please use the contract ref NBO/007/2018 in the email subject header.

Should you wish to provide an alternative solution that meets our requirements, you are free to do so; however you must also submit the attached standard proposals as well.

Should your quote be accepted, this request, the statement of requirements and your response will form the basis of a contract between you and the FCO under the terms and conditions.

This Request for quote does not constitute in any way any commitment on the part of the FCO.

The FCO will not be liable for any expenses you incur as part of this process.

We look forward to receiving your proposal.

NBO/007/2018: PROVISION OF 24 HOUR EMERGENCY FIRE RESPONSE SERVICE AND MAINTENANCE AND SERVICING OF FIRE FIGHTING EQUIPMENT FOR THE BRITISH HIGH COMMISSION NAIROBI

SCOPE OF WORK

- The primary role of the Service Provider will be to provide 24 hour emergency fire response services to the British High Commission office and all its residential properties (both rented and owned).
- The secondary role of the Service Provider is to provide inspection, testing, maintenance, repair and replacement of fire protection equipment and systems for the British High Commission office, High Commissioners Residence in Muthaiga, and Workshop in Lavington.
- The Service Provider will provide full operational fire protection and fire response services in full compliance with industry, manufacturer and safety standards.
Premises
The locations and premises at which the Service Provider will be required to provide its services are:
1. British High Commission Nairobi, Upper Hill Road, Nairobi Kenya;
2. British High Commission Workshop, Gitanga Road, Lavington, Nairobi Kenya;
3. British High Commissioners Residence, Tchui Road, Muthaiga, Nairobi Kenya;
4. 95 Residential properties located across Nairobi (Runda, New Muthaiga, Muthaiga, Lavington, Kileleshwa, Riverside, Westlands, Loresho, Kilimani, Spring Valley)
Customer Care
- The Service Provider shall follow best practice principles in their contact with the BHC. This includes, but is not limited to:
    - All staff under the duty of care of the Service Provider must wear an identity card at all times when in the premises of the British High Commission or its properties;
    - Staff shall work as quietly as possible and take steps to minimise disruptions;
    - The Service Provider will adhere to times set for works to be completed and if due to unavoidable circumstance, shall inform the BHC within 24 hours on a rescheduled date and time to complete the services.
- Where the work is taking place in residential properties with occupants, the Service Provider will adopt high standards of customer service. Notables in this will include:
    - No use of radios for sight entertainment
    - No taking of photographs
    - No smoking
    - Taking reasonable care of other property in the home while conducting their work
- The Service Provider shall provide a system for the BHC to raise complaints and respond to the same within the agreed Service Level Agreement time frames.
Testing and Inspection Programme
- The Service Provider shall carry out Quarterly (four times per annum) inspection of all fire protection equipment. The equipment to be tested, serviced, repaired, maintained and/or replace comprise of:
    - Foam, Water, CO2, Dry Powder Fire Extinguishers (including Automatic)
    - Fire Hydrant Systems
    - Hose Reels
    - Fire Blankets
    - Accessories as required by the above
    - The Service Provider shall carry out the Quarterly checks in the BHC Office, Workshop in Lavington, and British High Commissioner’s Residence in Muthaiga
    - Annually, the Service Provider shall carry out inspection of all fire blankets in 95 residential properties across the Estate.
    - Following the quarterly inspections, the Service Provider shall provide copies of the inspection reports and test certificates to the authorised officer.
    - With specific request, the service of the systems shall be completed concurrently with any necessary repairs prior to the scheduled servicing date.
    - Repairs identified at the point of scheduled maintenance and inspection shall immediately be notified to the BHC and a action taken to restore to working order.
    - The following table summarises the current scope of works that will be carried out during the quarterly checks:
Equipment	Quantity
Water Fire Extinguishers 9 kgs each	25
Foam fire extinguishers 9 kgs each	44
Carbon dioxide extinguishers 5kgs each	37
Dry powder fire extinguishers 9 kgs each	26
Automatic dry chemical powder extinguisher 4.5 kgs each	10
Fire blankets	17
Hose reels	10
Booster pump	1
Hydrant system	3
Delivery hose	4
Branch pipe	4

    - The following table summarises the current scope of works that will be carried out during the annual checks:
Equipment	Quantity
Fire blankets in Residential Properties	95

Fire Response Programme
- The British High Commission has 95 properties that are clustered for logistics purposes. The properties are all located in Nairobi County in the following locations.
  - Upper Hill Road
  - Muthaiga
  - Thigiri (New Muthaiga)
  - Gitanga Road near Valley Arcade
  - Mimosa Gardens – Runda
  - Lower Kabete Road
  - Lavington
  - Westlands
  - Riverside Drive
  - Spring Valley
  - Kilimani
  - Kileleshwa
- The Service Provider shall share with BHC their response plan and management plan to this response.
- The Service Provider shall provide fire response services within agreed and acceptable response time frames (UK Standard Response time is under 6 minutes). This response will be required for :-
- Fire incidents
- Fire Alarm call alerts
- In case of a fire incident, the Service Provider shall conduct the preliminary investigations and hand over the report to BHC within 24 hours.
- The Service Provider shall detail what type of Fire Response Equipment they can deploy, including but not limited to:
  - Fire Ladder Truck
  - Manual Ladder
  - Water based Fire Truck
  - Foam based Fire Truck
The Service Provider must have access to a fire ladder truck and manual ladder that can reach up to a minimum 4 storey building.
Complaint and Problem Resolution
- If the Service Provider identifies a potentially dangerous problem they shall provide a detailed report of the same and hand it in the same working day and if an authorised BHC officer becomes aware of a potentially dangerous situation he/ she shall report and get a response within the same day.
- If in the opinion of the Service Provider, an item or equipment is considered to be beyond economic repair, a written report must be submitted to BHC within 3 days.
- If the Service Provider identifies equipment as becoming obsolete and requiring complete overhaul or the equipment is likely to fail the next inspection test outside the terms of the contract, a separate report shall be submitted by the contractor with an estimate of the cost of the complete replacement within 7 days of inspection.
- Repair response time will be prioritised into :-
- Emergency normal and out of hours will be 6 hours and instruction might be passed on phone followed by a written confirmation
- Urgent priority will be attended to within 3 days.
Security and Access
- All Contractors working within the grounds of the BHC shall observe the Security Regulations that are in place and wear and display at all times the security pass that has been issued.
- All staff will be required to undergo a security check by the security team of the Authority before commencing work within the grounds of the BHC. Under no circumstance will uncleared staff be permitted to conduct work on site.
- All Contractor staff shall also be subject to personal security check both upon entering and leaving the BHC. Any loss of a Security Pass must be reported IMMEDIATELY to the Security Helpdesk
- You should provide details of any vehicle that would require access to the BHC to off-load materials or equipment. The vehicle must enter the BHC by no later than 11:00 Hrs and is subject to a security check including by an explosive detection dog. Any vehicle entering the grounds must observe the speed limit – 15KM per hour. For security reasons parking is not permitted within the grounds of the BHC and it will be the responsibility of the contractor to find suitable parking.
- Access to the BHC is only permitted upon prior approval of at least 24 hours notice. The Contractor must confine his staff to the areas of working only.

Site Tidiness
It shall be the responsibility of the Service Provider to ensure that the areas of working are kept in good order and that any arisings are removed from site. When working inside the office, the Contractor shall ensure that all furnishings and the décor are protected. The Contractor will be charged for any damage resulting from their failure to provide an adequate means of protection.
Personal Protective Equipment
- The Service Provider will supply all staff under its duty of care with appropriate Personal Protective Equipment to conduct their work in full compliance with Health & Safety Procedures.
- The Service Provider will ensure all necessary PPE and tools shall be safe to use and well maintained and serviced (e.g. drilling equipment).
Review Meetings
The Contractor shall be required to attend quarterly meetings with the BHC to review the running of the contract and to resolve any contractual issues.
Health and Safety
- The BHC expects ALL Staff and Contractors working on the Diplomatic Estate to observe the Foreign and Commonwealth Office Health and Safety Policy, the Foreign and Commonwealth Office Electrical Safety Regulations and other safety regulations that are relevant to their scope of works.
- The Service Provider shall be liable for and shall indemnify the BHC against loss, liability, claim or proceedings in respect of any injury or damage whatsoever to any property real or personal in so far as such injury or damage arises out of any negligence, omission or default of the Service Provider, their servants or agents or of any Sub-Contractor employed by them.
- They shall ensure that any electrical appliances that are used are in good working order, that the electrical is neither damaged or stretched or contains any twisted or taped joints and is fitted with a proper three pin plug top.
- The Service Provider is expected to comply with the following Foreign and Commonwealth Office (FCO) Health and Safety Policies which are provided as part of this request for quotation as supplementary annexes:

HS10.8.3	Fire Safety Guide for Post – Inspection and Testing

WIBA
Contractor staff working within the BHC premises shall be covered under the Work Injury Benefits act and proof of the same provided to BHC.
Disclosure of Information and Transparency
The contractor shall not disclose any information relating to the contract or the authority’s activities.

Key Performance Indicators
Objective	Performance Measure	Target
Minimal incidents and accidents during contract delivery	Number of accidents or incidents per quarter as reported	One or none
Limited complains during service delivery	Number of complains received per quarter	less than or equal to two
All fire equipment testing and inspection up to date	All scheduled reports are received by BHC within 7 days of inspection/ servicing.	100%
Breakdowns and repairs are attended to within specified time frames	Urgent call outs are attended within agreed times depending on the nature of the call	95- 100%
Review Meetings with BHC	Request for meetings responded to/ attended	95-100%

Appendix 2- Key Performance Indicators for Fire response Services.
Objective	Performance Measure	Target
Response time to incidence location	Fire fighting and rescue equipment to reach scene of call in a maximum of 6 minutes. The same is expected during fire drills.	90-100%
Incidence attendance by Personnel	Setup time to be less than 2.5 minutes	Professionalism and familiarity with the setting up of the rescue equipment
Incidence reporting	All fire incidences must have a comprehensive report on the same submitted to BHC within 24 hours of the incidence	100%
First aid response to affected victims by the fire response personnel	Response personnel ability to administer basic first aid before victims reach the hospital(where applicable	90-100%

A mandatory site visit will be held on Thursday 10th May 2018 at 1000 at the British High Commission Nairobi. All interested bidders must attend this site visit to be eligible to bid for services. Each organisation can send up to two (2) representatives and must email their names, ID numbers and vehicle registration number to NairobiQuotations@fco.gov.uk no later than Wednesday 9th May at 13:00. Parking is limited and will be allocated on a first come first served basis.

# British High Commission
# The British High Commission and British Council looks forward to receiving your quotation for the work described in the document.

EVALUATION CRITERIA FOR NBO/007/2018: PROVISION OF 24 HOUR EMERGENCY FIRE RESPONSE SERVICE AND MAINTENANCE AND SERVICING OF FIRE FIGHTING EQUIPMENT FOR THE BRITISH HIGH COMMISSION NAIROBI

Evaluation Criteria

1. The tender process will be conducted to ensure that tenders are evaluated fairly to ascertain the most economically advantageous tender.
2. Your response to our requirement will be evaluated as outlined below:
1. Mandatory requirements ( Based on YES/NO checks)
2. Technical Evaluation – 60 Points
3. Commercial Evaluation – 40 Points

Mandatory requirements (A bidder who fails to produce all the ( VALID) documents outlined below will NOT be qualified to enter the next stage of evaluation)
No.	Evaluation Criteria – Mandatory documents	YES/NO
1	Company profile
2	Copy of Certificate of Incorporation
3	Valid Tax Compliance certificate
4	Valid Business permit

Evaluation Criteria – Technical Score – 60 points
No.	Evaluation Criteria	Weighted Points
1.	Explain in detail, your approach and methodology to meeting all the services required. NB: Please clearly detail your approach and methodology for each service. Submit with your proposal at least three reference letters from clients whom you have done business in similar nature, with at least 50 properties under their duty of care. Provide contact details (names, address, telephone number, project description and project cost) of three of your clients.	20 Points
2.	Submit a company profile and give details of the resources you propose to use to service the Contract, including the number of staff you expect to use for providing each service with their CV’s and qualifications. Also include an organisational chart indicating responsibilities and reporting lines in respect of this contract. Where a sub-contracting approach is proposed, all information requested should be given in respect of the sub-contractor such as company/organisation name, the composition of the supply chain, indicating which member of the supply chain will be responsible for the elements of the requirement noting that ultimate responsibility will always rest with the Prime Contractor. Clearly indicate which part of the contract will be subcontracted to the third-party	15 points
3	Provide proposals for monitoring and reporting of KPIs as detailed in the scope of work	10 points
4	Describe your customer liaison arrangement including procedures for dealing with complaints or problems, and escalation procedures, matrix and contact details specifically for this contract.	5 points
5	Please describe your system for continuous monitoring and reporting on the quality of service delivered. Include details of Quality Assurance procedures and Health & Safety standards. Please provide evidence of any international quality standards achieved or being sought e.g. ISO9000	10 points
	Total Points	60 points

In order to qualify for commercial evaluation, tenders MUST obtain 40 points and above. Bidders who do not obtain 40 points and above will be disqualified

Commercial score – 40 points
# Marks will be awarded as an inverse percentage. The most financially attractive offer submitted to the Authority will score 40. Scores for bids other than the most financially attractive bid will be awarded on an inverse percentage difference from the most financially attractive offer:
# Example: Bid A - UGX 60K =- 40 pts, Bid B = UGX 70K = 34 pts (UGX 60K/ UGX 70K x 40 pts)