## Slide 1
275kV
132kV
Dounreay
Substation
MITS
Finstown
Substation
33kV
Finstown
Grid Supply Point
15 km / 53 km / 1 km
Note: Exact switchgear and bus-bar arrangements simplified.
Orkney - Dounreay HVAC Link
220 kV Land / 220 kV Subsea / 220 kV Land Cable
SHEPD
SHE Transmission
60 MVA 132/33 kV
60 MVA 132/33 kV
360 MVA 220/132/33 kV
360 MVA 275/220/33 kV
1Please use the same CFD Unit Name as provided on the CFD application form.
CFD Unit Name1: