## Contents
National Energy Efficiency Data Framework (NEED)
Impact of Measures Scotland
Headline tables
Contents
| Table 1: | Installation of an energy efficiency measure - impact of measure1 (weighted)
| Year | 2016
| Coverage | Scotland
| Table 2: | Installation of a combination of energy efficiency measures - impact of measure1 (weighted)
| Year | 2016
| Coverage | Scotland
| Table 3: | Installation of an energy efficiency measure - distribution of savings (weighted)
| Year | 2016
| Coverage | Scotland
| Table 4: | Installation of a combination of energy efficiency measures - distribution of savings (weighted)
| Year | 2016
| Coverage | Scotland
This workbook was created in June 2019
1 Impact of measure refers to the percentage of consumption savings and savings in kWh made between the consumption years 2015 and 2017 where an energy efficiency measure has been installed in the gas period 2016 (30th September 2015 to 16th July 2017), or the electric year (1st January 2016 to 31st December 2016).

## Table 1
Back to contents
Table 1: Installation of an energy efficiency measure - impact of measure (weighted)1,2,3,4,5,6,7
Year: 2016
Coverage: Scotland
Energy efficiency measure |  | Number in group | Percentage saving | Standard error | Saving (kWh)
Condensing Boiler | Median | 6470 | 5.393% | 0.2931% | 900
| Mean | 6470 | 5.45% | 0.2931% | 1100
Cavity Wall Insulation | Median | 2900 | 5.025% | 0.4257% | 1100
| Mean | 2900 | 7.142% | 0.4257% | 1100
Solid Wall Insulation | Median | 1810 | 11.52% | 0.5452% | 1500
| Mean | 1810 | 11.25% | 0.5452% | 1800
Solar PV | Median | 270 | 11.28% | 1.788% | 400
| Mean | 270 | 10.87% | 1.788% | 400
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. For gas, only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. For electricity, only households with valid electric consumption between 100 and 25,000 kWh have been included
4. Households with suspected estimated consumption readings have been excluded.
5. The results for solar PV show electricity savings, unlike the rest of the table which show savings in gas consumption.
6. Energy efficiceny measures with a sample size of less than 200 have been removed from our analysis.
7. These savings refer to positive savings.

## Table 2
Back to contents
Table 2: Installation of a combination of energy efficiency measures - summary of changes in consumption (weighted)1,2,3,4,5,6
Year: 2016
Coverage: Scotland
Combination of measures |  | Number in sample | Percentage saving | Standard Error | Saving (kWh)
Condensing Boiler and Heat Controls | Median | 960 | 8.223% | 0.8069% | 1300
| Mean | 960 | 6.385% | 0.8069% | 1600
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. For gas, only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. For electricity, only households with valid electric consumption between 100 and 25,000 kWh have been included
4. Households with suspected estimated consumption readings have been excluded.
5. Energy efficiceny measures with a sample size of less than 200 have been removed from our analysis.
6. These savings refer to positive savings.

## Table 3
Back to contents
Table 3: Installation of an energy efficiency measure - distribution of savings (weighted)1,2,3,4,5,6,7
Year: 2016
Coverage: Scotland
Energy efficiency measure | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Condensing boiler 2016 - change in consumption | 6470 | 6.831% | -26.18% | -1.893% | 5.859% | 18.17% | 36.18%
Comparator group- change in consumption | 6470 | 1.381% | -29.37% | -7.946% | 1.203% | 10.87% | 32.2%
Saving estimate | 6470 | 5.45% | -33.73% | -9.35% | 5.393% | 20.4% | 43.33%
Cavity Wall Insulation 2016 - change in consumption | 2900 | 6.477% | -23.3% | -1.901% | 4.776% | 15.54% | 35.81%
Comparator group- change in consumption | 2900 | -0.6646% | -30.68% | -9.651% | 0.2365% | 8.438% | 27.1%
Saving estimate | 2900 | 7.142% | -29.87% | -6.129% | 5.025% | 21.3% | 46.18%
Solid Wall Insulation 2016 - change in consumption | 1810 | 8.825% | -24.55% | -1.276% | 9.955% | 21.89% | 39.38%
Comparator group- change in consumption | 1810 | -2.422% | -34.93% | -12.46% | -1.709% | 7.527% | 28.82%
Saving estimate | 1810 | 11.25% | -28.83% | -4.641% | 11.52% | 27.37% | 50.16%
Solar PV 2016 - change in consumption | 270 | 17.2% | -24.85% | 3.056% | 19.18% | 30.28% | 55.33%
Comparator group- change in consumption | 270 | 6.325% | -30.45% | -6.167% | 5.973% | 18.47% | 43.58%
Saving estimate | 270 | 10.87% | -40.79% | -9.259% | 11.28% | 31.67% | 58.26%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. For electricity, only households with valid electric consumption between 100 and 25,000 kWh have been included
4. Households with suspected estimated gas consumption readings have been excluded.
5. The results for solar PV show electricity savings, unlike the rest of the table which show savings in gas consumption.
6. Energy efficiceny measures with a sample size of less than 200 have been removed from our analysis.
7. These savings refer to positive savings.

## Table 4
Back to contents
Table 4: Installation of a combination of energy efficiency measures - distribution of savings (weighted)1,2,3,4,5,6
Year: 2015
Coverage: Scotland
Combination of measures | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Condensing Boiler and Heat Controls 2016 - change in consumption | 960 | 6.502% | -31.68% | -4.059% | 9.947% | 18.81% | 34.73%
Comparator group- change in consumption | 960 | 0.1171% | -31.05% | -8.979% | 0.3855% | 10.01% | 27.27%
Saving estimate | 960 | 6.385% | -35.14% | -6.893% | 8.223% | 19.01% | 45.54%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. For gas, only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. For electricity, only households with valid electric consumption between 100 and 25,000 kWh have been included
4. Households with suspected estimated consumption readings have been excluded.
5. Energy efficiceny measures with a sample size of less than 200 have been removed from our analysis.
6. These savings refer to positive savings.