## Contents
National Energy Efficiency Data Framework (NEED)
Impact of Measures1
Headline tables
Contents
Table 1: | The estimated energy savings resulting from the installation of an energy efficiency measure (weighted)
Year | 2017
Coverage | England and Wales
Table 2: | The estimated energy savings resulting from the installation of a combination of energy efficiency measures (weighted)
Year | 2017
Coverage | England and Wales
Table 3: | The estimated energy savings resulting from the installation of an energy efficiency measure - distribution of savings (weighted)
Year | 2017
Coverage | England and Wales
Table 4: | The estimated energy savings resulting from the installation of a combination of energy efficiency measures - distribution of savings (weighted)
Year | 2017
Coverage | England and Wales
Publication date: | 2020-06-25
Next Update: | June 2021 (prov)
1. These tables show the estimated energy savings resulting from energy efficiency measures installed mid July 2017 to mid May 2018
and solar PV installed February 2017 to January 2018. These are the estimated savings for the first (gas or electricity) year after installation.
Further information
Publication | www.gov.uk/government/collections/national-energy-efficiency-data-need-framework#statistical-releases
Data sources & methodology | www.gov.uk/government/publications/domestic-national-energy-efficiency-data-framework-need-methodology
Revisions policy | Energy statistics revisions policy
Contacts | BEIS Press Office (media enquiries)
newsdesk@beis.gov.uk
Statisticians: Alexandra Holden and Hiten Shah
energyefficiency.stats@beis.gov.uk

## Table 1
Back to contents
Table 1: The estimated energy savings resulting from the installation of an energy efficiency measure (weighted)1, 2, 3, 4, 5, 6
Year: 2017
Coverage: England and Wales
Energy efficiency measure |  | Number in sample | Percentage saving | Standard Error (from sample pairing)7 | Saving (kWh)
Condensing Boiler | Median | 187950 | 5.993% | 0.00642% | 800
| Mean | 187950 | 4.426% | 0.006732% | 800
Cavity Wall Insulation | Median | 8760 | 7.721% | 0.03639% | 1000
| Mean | 8760 | 6.545% | 0.03139% | 1000
Loft Insulation8 | Median | 2860 | 4.209% | 0.05338% | 500
| Mean | 2860 | 3.431% | 0.05669% | 700
Solid Wall Insulation | Median | 1050 | 18.88% | 0.1524% | 2400
| Mean | 1050 | 18.48% | 0.1428% | 2700
Solar PV | Median | 3950 | 12.58% | 0.09663% | 400
| Mean | 3950 | 7.851% | 0.07006% | 400
Source: NEED
1. The results for solar PV show electricity savings, while the results for the other measures refer to gas savings.
2. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
3. For gas, only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
4. For electricity, only households with valid electricity consumption between 500 and 25,000 kWh have been included
5. Estimates based on small sample sizes are likely to be less reliable.
6. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the
measure, compared to if the measure had not been installed.
7. Please note that this standard error shown here only refers to the uncertainty arising from the randomised pairing of properties in the intervention group with
similar properties in the control group. It does not represent the total uncertainty in the estimates which we expect to be higher.
8. Loft insulation includes roof and 'room in roof' insulation.
Owing to methodological changes, the figures in this table are not directly comparable to those published in previous years.

## Table 2
Back to contents
Table 2: The estimated energy savings resulting from the installation of a combination of energy efficiency measures (weighted)1, 2, 3, 4, 5
Year: 2017
Coverage: England and Wales
Combination of measures |  | Number in sample | Percentage saving | Standard Error (from sample pairing)6 | Saving (kWh)
Condensing Boiler and Cavity Wall Insulation | Median | 480 | 13.44% | 0.2266% | 1700
| Mean | 480 | 9.6% | 0.1655% | 1800
Condensing Boiler and Heat Controls | Median | 2590 | 3.269% | 0.07066% | 400
| Mean | 2590 | 1.346% | 0.06353% | 300
Condensing Boiler and Loft Insulation7 | Median | 260 | 10.23% | 0.2962% | 1300
| Mean | 260 | 7.661% | 0.1972% | 1600
Cavity Wall Insulation and Loft Insulation7 | Median | 610 | 14.79% | 0.1353% | 1800
| Mean | 610 | 13.58% | 0.1119% | 2100
Source: NEED
1. The results in this table refer to percentage gas savings.
2. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
3. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
4. Estimates based on small sample sizes are likely to be less reliable.
5. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the
measure, compared to if the measure had not been installed.
6. Please note that this standard error shown here only refers to the uncertainty arising from the randomised pairing of properties in the intervention group with
similar properties in the control group. It does not represent the total uncertainty in the estimates which we expect to be higher.
7. Loft insulation includes roof and 'room in roof' insulation.
Owing to methodological changes, the figures in this table are not directly comparable to those published in previous years.

## Table 3
Back to contents
Table 3: The estimated energy savings resulting from the installation of an energy efficiency measure - distribution of savings (weighted)1, 2, 3, 4, 5, 6
Year: 2017
Coverage: England and Wales
Energy efficiency measure |  | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Condensing Boiler | Intervention group: Change in consumption | 187950 | 2.937% | -38.35% | -8.371% | 4.716% | 16.82% | 37.5%
| Control group: Change in consumption | 187950 | -1.489% | -31.53% | -10.58% | -1.487% | 7.564% | 29.59%
| Saving estimate | 187950 | 4.426% | -44.99% | -11.49% | 5.993% | 22.22% | 47.68%
Cavity Wall Insulation | Intervention group: Change in consumption | 8760 | 5.703% | -27.74% | -3.983% | 6.919% | 17.05% | 34.85%
| Control group: Change in consumption | 8760 | -0.8419% | -29.39% | -9.843% | -1.03% | 7.903% | 29.13%
| Saving estimate | 8760 | 6.545% | -37.25% | -7.992% | 7.721% | 22.31% | 45.99%
Loft Insulation7 | Intervention group: Change in consumption | 2860 | 1.735% | -40.21% | -8.983% | 2.344% | 14.66% | 40.57%
| Control group: Change in consumption | 2860 | -1.696% | -32.96% | -10.89% | -1.575% | 7.614% | 30.39%
| Saving estimate | 2860 | 3.431% | -47.85% | -12.8% | 4.209% | 21.28% | 50.92%
Solid Wall Insulation | Intervention group: Change in consumption | 1050 | 16.58% | -17.42% | 5.051% | 17.5% | 29.32% | 48.47%
| Control group: Change in consumption | 1050 | -1.895% | -35.54% | -11.46% | -1.478% | 8.356% | 31.89%
| Saving estimate | 1050 | 18.48% | -26.67% | 1.701% | 18.88% | 35.26% | 63.03%
Solar PV | Intervention group: Change in consumption | 3950 | 12.01% | -61.17% | -0.6009% | 18.7% | 33.6% | 58.83%
| Control group: Change in consumption | 3950 | 4.163% | -36.95% | -7.988% | 4.825% | 17.88% | 44.9%
| Saving estimate | 3950 | 7.851% | -69.29% | -12.69% | 12.58% | 34.42% | 66.9%
Source: NEED
1. The results for solar PV show percentage electricity savings, while the results for the other measures refer to percentage gas savings.
2. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
3. For gas, only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
4. For electricity, only households with valid electricity consumption between 500 and 25,000 kWh have been included
5. Estimates based on small sample sizes are likely to be less reliable.
6. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
7. Loft insulation includes roof and 'room in roof' insulation.
Owing to methodological changes, the figures in this table are not directly comparable to those published in previous years.

## Table 4
Back to contents
Table 4: The estimated energy savings resulting from the installation of a combination of energy efficiency measures - distribution of savings (weighted)1, 2, 3, 4, 5
Year: 2017
Coverage: England and Wales
Combination of measures |  | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Condensing Boiler and Cavity Wall Insulation | Intervention group: Change in consumption | 480 | 9.259% | -49.13% | -2.763% | 14.22% | 25.88% | 48.63%
| Control group: Change in consumption | 480 | -0.3414% | -31.19% | -9.871% | -0.7995% | 8.946% | 34.1%
| Saving estimate | 480 | 9.6% | -51.16% | -6.566% | 13.44% | 30.27% | 55.43%
Condensing Boiler and Heat Controls | Intervention group: Change in consumption | 2590 | -0.4505% | -48.18% | -12.42% | 2.1% | 15.18% | 36.36%
| Control group: Change in consumption | 2590 | -1.796% | -34.2% | -11.37% | -1.569% | 7.976% | 31.46%
| Saving estimate | 2590 | 1.346% | -52.74% | -15.92% | 3.269% | 20.79% | 47.8%
Condensing Boiler and Loft Insulation6 | Intervention group: Change in consumption | 260 | 6.158% | -54.83% | -9.429% | 8.742% | 25.31% | 52.21%
| Control group: Change in consumption | 260 | -1.503% | -37.38% | -11.29% | -1.51% | 8.518% | 35.06%
| Saving estimate | 260 | 7.661% | -53.82% | -12.74% | 10.23% | 30.28% | 60.36%
Cavity Wall Insulation and Loft Insulation6 | Intervention group: Change in consumption | 610 | 12.99% | -28.78% | 2.05% | 14.15% | 25.64% | 53.59%
| Control group: Change in consumption | 610 | -0.5884% | -33.68% | -10.47% | -0.8493% | 8.92% | 35.3%
| Saving estimate | 610 | 13.58% | -39.02% | -2.835% | 14.79% | 31.76% | 60.76%
Source: NEED
1. The results in this table refer to percentage gas savings.
2. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
3. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
4. Estimates based on small sample sizes are likely to be less reliable.
5. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
6. Loft insulation includes roof and 'room in roof' insulation.
Owing to methodological changes, the figures in this table are not directly comparable to those published in previous years.