## Contents
	National Energy Efficiency Data Framework (NEED)
	Impact of Measures
	Percentage savings (weighted) in consumption in the years following installation

Contents

Table 1:	Percentage savings (weighted) in gas consumption in the years following installation: Condensing boilers
Year	2011, 2012 and 2013
Coverage	England and Wales

Table 2:	Percentage savings (weighted) in gas consumption in the years following installation: Cavity wall insulation
Year	2011, 2012 and 2013
Coverage	England and Wales

Table 3:	Percentage savings (weighted) in gas consumption in the years following installation: Loft insulation
Year	2011, 2012 and 2013
Coverage	England and Wales

Table 4	Percentage savings (weighted) in gas consumption in the years following installation: Solid wall insulation
Year	2011, 2012 and 2013
Coverage	England and Wales

Table 5	Percentage savings (weighted) in electricity consumption in the years following installation: Solar PV
Year	2011, 2012 and 2013
Coverage	England and Wales

Publication date:	Thursday, June 25, 2020
Next Update:	June 2021 (prov)

Further information
Publication	www.gov.uk/government/collections/national-energy-efficiency-data-need-framework#statistical-releases
Data sources & methodology	www.gov.uk/government/publications/domestic-national-energy-efficiency-data-framework-need-methodology
Revisions policy	Energy statistics revisions policy

Contacts	BEIS Press Office (media enquiries)
	newsdesk@beis.gov.uk

	Statisticians: Alexandra Holden and Hiten Shah
	energyefficiency.stats@beis.gov.uk

## Table_1
Back to contents
Table 1: Percentage savings (weighted) in gas consumption in the years following installation: Condensing boilers1, 2, 3, 4
Coverage: England and Wales

Condensing boilers	Year 1	Year 2	Year 3	Year 4	Year 5	Year 6	Year 7
Installed in 2011
Median savings	8.3%	8.1%	7.9%	7.5%	7.4%	7.0%	6.5%
Mean savings	6.5%	6.2%	6.0%	5.8%	5.8%	5.3%	4.9%
Number in group	263,680	257,420	261,920	244,720	145,010	163,060	144,540
Installed in 2012
Median savings	7.8%	7.7%	7.4%	7.4%	7.0%	6.6%
Mean savings	6.2%	5.9%	5.7%	5.7%	5.4%	5.0%
Number in group	263,370	270,530	253,470	150,750	169,490	150,180
Installed in 2013
Median savings	7.2%	7.0%	7.0%	6.6%	6.3%
Mean savings	5.5%	5.1%	5.2%	4.8%	4.5%
Number in group	337,930	316,670	187,610	210,100	185,310
					Source: NEED

1. Sample sizes have been rounded to the nearest 10.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Estimates based on small sample sizes are likely to be less reliable.
4. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.

## Table_2
Back to contents
Table 2: Percentage savings (weighted) in gas consumption in the years following installation: Cavity wall insulation1, 2, 3, 4
Coverage: England and Wales

Cavity wall insulation	Year 1	Year 2	Year 3	Year 4	Year 5	Year 6	Year 7
Installed in 2011
Median savings	8.3%	8.2%	8.1%	8.0%	7.7%	7.7%	7.7%
Mean savings	7.7%	7.6%	7.5%	7.6%	7.4%	7.4%	7.5%
Number in group	130,640	122,890	119,510	107,750	57,350	61,950	54,620
Installed in 2012
Median savings	7.7%	7.8%	7.9%	7.8%	7.8%	7.7%
Mean savings	7.2%	7.3%	7.5%	7.5%	7.5%	7.5%
Number in group	147,540	144,610	130,800	70,230	75,530	66,430
Installed in 2013
Median savings	6.1%	6.4%	6.4%	6.4%	6.4%
Mean savings	5.8%	6.1%	6.2%	6.2%	6.3%
Number in group	59,460	53,810	28,680	31,340	27,550
					Source: NEED

1. Sample sizes have been rounded to the nearest 10.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Estimates based on small sample sizes are likely to be less reliable.
4. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.

## Table_3
Back to contents
Table 3: Percentage savings (weighted) in gas consumption in the years following installation: Loft insulaton1, 2, 3, 4, 5
Coverage: England and Wales

Loft insulation	Year 1	Year 2	Year 3	Year 4	Year 5	Year 6	Year 7
Installed in 2011
Median savings	2.4%	2.5%	2.3%	2.2%	2.0%	2.0%	1.9%
Mean savings	2.2%	2.3%	2.2%	2.1%	2.0%	2.0%	1.7%
Number in group	234,150	217,000	205,860	183,110	95,630	103,000	90,350
Installed in 2012
Median savings	2.5%	2.4%	2.3%	2.2%	2.3%	2.2%
Mean savings	2.2%	2.2%	2.1%	2.0%	2.0%	1.9%
Number in group	340,890	323,900	288,010	149,940	162,090	141,600
Installed in 2013
Median savings	1.8%	1.9%	1.8%	1.8%	1.6%
Mean savings	1.6%	1.7%	1.6%	1.6%	1.3%
Number in group	146,510	130,380	66,610	73,110	63,980
					Source: NEED

1. Sample sizes have been rounded to the nearest 10.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Estimates based on small sample sizes are likely to be less reliable.
4. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
5. Loft insulation includes roof and 'room in roof' insulation.

## Table_4
Back to contents
Table 4: Percentage savings (weighted) in gas consumption in the years following installation: Solid wall insulation1, 2, 3, 4
Coverage: England and Wales

Solid wall insulation	Year 1	Year 2	Year 3	Year 4	Year 5	Year 6	Year 7
Installed in 2011
Median savings	15.2%	15.3%	13.8%	15.1%	15.9%	15.6%	17.0%
Mean savings	15.0%	15.0%	13.6%	14.7%	16.3%	15.3%	17.0%
Number in group	2,350	2,140	2,050	1,800	830	930	800
Installed in 2012
Median savings	18.6%	18.0%	18.2%	21.9%	20.8%	18.8%
Mean savings	18.0%	17.0%	17.9%	19.9%	18.9%	17.7%
Number in group	5,100	4,880	4,350	2,090	2,280	2,020
Installed in 2013
Median savings	11.1%	11.6%	13.6%	15.2%	14.6%
Mean savings	11.3%	11.7%	12.6%	14.1%	14.0%
Number in group	11,440	10,290	4,870	5,340	4,570
					Source: NEED

1. Sample sizes have been rounded to the nearest 10.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Estimates based on small sample sizes are likely to be less reliable.
4. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.

## Table_5
Back to contents
Table 5: Percentage savings (weighted) in electricity consumption in the years following installation: Solar PV1, 2, 3, 4
Coverage: England and Wales

Solar PV	Year 1	Year 2	Year 3	Year 4	Year 5	Year 6	Year 7
Installed in 2011
Median savings	12.9%	13.2%	12.3%	10.2%	9.9%	9.2%	8.9%
Mean savings	12.0%	12.1%	11.1%	9.1%	8.7%	7.9%	7.8%
Number in group	74,720	72,080	66,840	62,780	58,820	51,390	45,870
Installed in 2012
Median savings	12.5%	12.0%	9.7%	9.3%	8.6%	8.8%
Mean savings	11.5%	10.6%	8.5%	8.2%	7.6%	7.8%
Number in group	58,160	53,420	49,840	46,480	39,800	34,690
Installed in 2013
Median savings	15.8%	13.6%	13.2%	12.1%	12.1%
Mean savings	14.5%	12.3%	12.0%	10.8%	11.0%
Number in group	36,730	34,330	32,410	27,430	23,780
					Source: NEED

1. Sample sizes have been rounded to the nearest 10.
2. Only households with valid electric consumption between 500 and 25,000 kWh have been included
3. Estimates based on small sample sizes are likely to be less reliable.
4. These savings refer to positive savings. For example a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.