## Sheet_1
v1: 01/01/2021	The summary below consolidates the published references of standards. It reproduces information already in notices of publication. It contains all references which, when the summary was generated, still provided a presumption of conformity together with references already removed. The summary does not as such generate legal effects.
Legislation reference (A)	Reference number of the designated standard (B)	Title of the designated standard (C)	Date of start of presumption of conformity (1)	Notice of Publication reference (2)	Restriction (3)	Date of start of presumption of conformity with restriction (4)	Notice of Publication reference of a restriction (5)	Date of removal from publication (end of presumption of conformity) (6)	Notice of Publication reference for removal (7)
S.I. 2002/618	EN 285:2006+A2:2009	Sterilization - Steam sterilizers - Large sterilizers	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 455-1:2000	Medical gloves for single use - Part 1: Requirements and testing for freedom from holes	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 455-2:2009+A2:2013	Medical gloves for single use - Part 2: Requirements and testing for physical properties	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 455-3:2006	Medical gloves for single use - Part 3: Requirements and testing for biological evaluation	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 455-4:2009	Medical gloves for single use - Part 4: Requirements and testing for shelf life determination	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 556-1:2001, EN 556-1:2001/AC:2006	Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 556-2:2015	Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 794-3:1998+A2:2009	Lung ventilators - Part 3: Particular requirements for emergency and transport ventilators	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1041:2008	Information supplied by the manufacturer of medical devices	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1060-3:1997+A2:2009	Non-invasive sphygmomanometers - Part 3: Supplementary requirements for electro-mechanical blood pressure measuring systems	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1060-4:2004	Non-invasive sphygmomanometers - Part 4: Test procedures to determine the overall system accuracy of automated non-invasive sphygmomanometers	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 1135-4:2011	Transfusion equipment for medical use - Part 4: Transfusion sets for single use (ISO 1135-4:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1282-2:2005+A1:2009	Tracheostomy tubes - Part 2: Paediatric tubes (ISO 5366-3:2001, modified)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1422:1997+A1:2009	Sterilizers for medical purposes - Ethylene oxide sterilizers - Requirements and test methods	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1618:1997	Catheters other than intravascular catheters - Test methods for common properties	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1639:2009	Dentistry - Medical devices for dentistry - Instruments	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1640:2009	Dentistry - Medical devices for dentistry - Equipment	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1641:2009	Dentistry - Medical devices for dentistry - Materials	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1642:2011	Dentistry - Medical devices for dentistry - Dental implants	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1707:1996	Conical fittings with a 6 % (Luer) taper for syringes, needles and certain other medical equipment - Lock fittings	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1782:1998+A1:2009	Tracheal tubes and connectors	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1789:2007+A1:2010	Medical vehicles and their equipment - Road ambulances	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1820:2005+A1:2009	Anaesthetic reservoir bags (ISO 5362:2000, modified)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1865-1:2010+A1:2015	Patient handling equipment used in road ambulances - Part 1: General stretcher systems and patient handling equipment	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1865-2:2010+A1:2015	Patient handling equipment used in road ambulances - Part 2: Power assisted stretcher	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1865-3:2012	Patient handling equipment used in road ambulances - Part 3: Heavy duty stretcher	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1865-4:2012	Patient handling equipment used in road ambulances - Part 4: Foldable patient transfer chair	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1865-5:2012	Patient handling equipment used in road ambulances - Part 5: Stretcher support	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 1985:1998	Walking aids - General requirements and test methods	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN ISO 3826-2:2008	Plastics collapsible containers for human blood and blood components - Part 2: Graphical symbols for use on labels and instruction leaflets (ISO 3826-2:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 3826-3:2007	Plastics collapsible containers for human blood and blood components - Part 3: Blood bag systems with integrated features (ISO 3826- 3:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 3826-4:2015	Plastics collapsible containers for human blood and blood components - Part 4: Aphaeresis blood bag systems with integrated features (ISO 3826-4:2015)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 4074:2002	Natural latex rubber condoms - Requirements and test methods (ISO 4074:2002)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 4135:2001	Anaesthetic and respiratory equipment - Vocabulary (ISO 4135:2001)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 5359:2008, EN ISO 5359:2008/A1:2011	Low-pressure hose assemblies for use with medical gases (ISO 5359:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 5360:2009	Anaesthetic vaporizers - Agent-specific filling systems (ISO 5360:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 5366-1:2009	Anaesthetic and respiratory equipment - Tracheostomy tubes - Part 1: Tubes and connectors for use in adults (ISO 5366-1:2000)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 5840:2009	Cardiovascular implants - Cardiac valve prostheses (ISO 5840:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7197:2009	Neurosurgical implants - Sterile, single-use hydrocephalus shunts and components (ISO 7197:2006, including Cor 1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7376:2009	Anaesthetic and respiratory equipment - Laryngoscopes for tracheal intubation (ISO 7376:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7396-1:2007, EN ISO 7396-1:2007/A1:2010, EN ISO 7396-1:2007/A2:2010	Medical gas pipeline systems - Part 1: Pipeline systems for compressed medical gases and vacuum (ISO 7396-1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7396-2:2007	Medical gas pipeline systems - Part 2: Anaesthetic gas scavenging disposal systems (ISO 7396-2:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7886-3:2009	Sterile hypodermic syringes for single use - Part 3: Auto-disable syringes for fixed-dose immunization (ISO 7886-3:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 7886-4:2009	Sterile hypodermic syringes for single use - Part 4: Syringes with reuse prevention feature (ISO 7886-4:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8185:2009	Respiratory tract humidifiers for medical use - Particular requirements for respiratory humidification systems (ISO 8185:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8359:2009, EN ISO 8359:2009/A1:201	Oxygen concentrators for medical use - Safety requirements (ISO 8359:1996)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8835-2-2007	Inhalational anaesthesia systems - Part 2: Anaesthetic breathing systems (ISO 8835- 2:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8835-3:2009, EN ISO 8835-3:2009/A1:2010	Inhalational anaesthesia systems - Part 3: Transfer and receiving systems of active anaesthetic gas scavenging systems (ISO 8835-3:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8835-4:2009	Inhalational anaesthesia systems - Part 4: Anaesthetic vapour delivery devices (ISO 8835- 4:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 8835-5:2009	Inhalational anaesthesia systems - Part 5: Anaesthetic ventilators (ISO 8835-5:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 9170-1:2008	Terminal units for medical gas pipeline systems - Part 1: Terminal units for use with compressed medical gases and vacuum (ISO 9170-1:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 9170-2:2008	Terminal units for medical gas pipeline systems - Part 2: Terminal units for anaesthetic gas scavenging systems (ISO 9170-2:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 9360-1:2009	Anaesthetic and respiratory equipment - Heat and moisture exchangers (HMEs) for humidifying respired gases in humans - Part 1: HMEs for use with minimum tidal volumes of 250 ml (ISO 9360-1:2000)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 9360-2:2009	Anaesthetic and respiratory equipment - Heat and moisture exchangers (HMEs) for humidifying respired gases in humans - Part 2: HMEs for use with tracheostomized patients having minimum tidal volumes of 250 ml (ISO 9360-2:2001)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 9713:2009	Neurosurgical implants - Self-closing intracranial aneurysm clips (ISO 9713:2002)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10079-1:2009	Medical suction equipment - Part 1: Electrically powered suction equipment - Safety requirements (ISO 10079-1:1999)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10079-2:2009	Medical suction equipment - Part 2: Manually powered suction equipment (ISO 10079-2:1999)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10079-3:2009	Medical suction equipment - Part 3: Suction equipment powered from a vacuum or pressure source (ISO 10079-3:1999)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10328:2016	Prosthetics - Structural testing of lower-limb prostheses - Requirements and test methods (ISO 10328:2016)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10524-1:2006	Pressure regulators for use with medical gases - Part 1: Pressure regulators and pressure regulators with flow-metering devices (ISO 10524- 1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10524-2:2006	Pressure regulators for use with medical gases - Part 2: Manifold and line pressure regulators (ISO 10524-2:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10524-3:2006	Pressure regulators for use with medical gases - Part 3: Pressure regulators integrated with cylinder valves (ISO 10524-3:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10524-4:2008	Pressure regulators for use with medical gases - Part 4: Low-pressure regulators (ISO 10524- 4:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10535:2006	Hoists for the transfer of disabled persons - Requirements and test methods (ISO 10535:2006)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN ISO 10555-1:2009	Sterile, single-use intravascular catheters - Part 1: General requirements (ISO 10555-1:1995, including Amd 1:1999 and Amd 2:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10651-2:2009	Lung ventilators for medical use - Particular requirements for basic safety and essential performance - Part 2: Home care ventilators for ventilator-dependent patients (ISO 10651- 2:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10651-4:2009	Lung ventilators - Part 4: Particular requirements for operator-powered resuscitators (ISO 10651-4:2002)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10651-6:2009	Lung ventilators for medical use - Particular requirements for basic safety and essential performance - Part 6: Home-care ventilatory support devices (ISO 10651-6:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-1:2009, EN ISO 10993-1:2009/AC:2010	Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process (ISO 10993-1:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-3:2014	Biological evaluation of medical devices - Part 3: Tests for genotoxicity, carcinogenicity and reproductive toxicity (ISO 10993-3:2014)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-4:2009	Biological evaluation of medical devices - Part 4: Selection of tests for interactions with blood (ISO 10993-4:2002, including Amd 1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-5:2009	Biological evaluation of medical devices - Part 5: Tests for in vitro cytotoxicity (ISO 10993-5:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-6:2009	Biological evaluation of medical devices - Part 6: Tests for local effects after implantation (ISO 10993-6:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-7:2008, EN ISO 10993-7:2008/AC:2009	Biological evaluation of medical devices - Part 7: Ethylene oxide sterilization residuals (ISO 10993-7:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-9:2009	Biological evaluation of medical devices - Part 9: Framework for identification and quantification of potential degradation products (ISO 10993-9:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-11:2018	Biological evaluation of medical devices - Part 11: Tests for systemic toxicity (ISO 10993-11:2017)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-12:2012	Biological evaluation of medical devices - Part 12: Sample preparation and reference materials (ISO 10993-12:2012)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-13:2010	Biological evaluation of medical devices - Part 13: Identification and quantification of degradation products from polymeric medical devices (ISO 10993-13:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-14:2009	Biological evaluation of medical devices - Part 14: Identification and quantification of degradation products from ceramics (ISO 10993-14:2001)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-15:2009	Biological evaluation of medical devices - Part 15: Identification and quantification of degradation products from metals and alloys (ISO 10993-15:2000)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-16:2010	Biological evaluation of medical devices - Part 16: Toxicokinetic study design for degradation products and leachables (ISO 10993-16:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-17:2009	Biological evaluation of medical devices - Part 17: Establishment of allowable limits for leachable substances (ISO 10993-17:2002)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-18:2009	Biological evaluation of medical devices - Part 18: Chemical characterization of materials (ISO 10993-18:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11135-1:2007	Sterilization of health care products - Ethylene oxide - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11135-1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-1:2015, EN ISO 11137-1:2015/A2:2019	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-2:2015	Sterilization of health care products - Radiation - Part 2: Establishing the sterilization dose (ISO 11137-2:2013)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11138-2:2009	Sterilization of health care products - Biological indicators - Part 2: Biological indicators for ethylene oxide sterilization processes (ISO 11138-2:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11138-3:2009	Sterilization of health care products - Biological indicators - Part 3: Biological indicators for moist heat sterilization processes (ISO 11138-3:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11140-1:2009	Sterilization of health care products - Chemical indicators - Part 1: General requirements (ISO 11140-1:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11140-3:2009	Sterilization of health care products - Chemical indicators - Part 3: Class 2 indicator systems for use in the Bowie and Dick-type steam penetration test (ISO 11140-3:2007, including Cor 1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11197:2009	Medical supply units (ISO 11197:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11607-1:2009	Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11607-2:2006	Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO 11607-2:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11608-7:2017	Needle-based injection systems for medical use - Requirements and test methods - Part 7: Accessibility for persons with visual impairment (ISO 11608-7:2016)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11737-1:2006, EN ISO 11737-1:2006/AC:2009	Sterilization of medical devices - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11737-2:2009	Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11810-1:2009	Lasers and laser-related equipment - Test method and classification for the laser resistance of surgical drapes and/or patient protective covers - Part 1: Primary ignition and penetration (ISO 11810-1:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11810-2:2009	Lasers and laser-related equipment - Test method and classification for the laser-resistance of surgical drapes and/or patient-protective covers - Part 2: Secondary ignition (ISO 11810-2:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11979-8:2009	Ophthalmic implants - Intraocular lenses - Part 8: Fundamental requirements (ISO 11979- 8:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11990:2018	Lasers and laser-related equipment - Determination of laser resistance of tracheal tube shaft and tracheal cuffs (ISO 11990:2018)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12006-2:1998+A1:2009	Non active surgical implants - Particular requirements for cardiac and vascular implants - Part 2: Vascular prostheses including cardiac valve conduits	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12006-3:1998+A1:2009	Non active surgical implants - Particular requirements for cardiac and vascular implants - Part 3: Endovascular devices	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12183:2009	Manual wheelchairs - Requirements and test methods	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12184:2009	Electrically powered wheelchairs, scooters and their chargers - Requirements and test methods	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12342:1998+A1:2009	Breathing tubes intended for use with anaesthetic apparatus and ventilators	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12470-1:2000+A1:2009	Clinical thermometers - Part 1: Metallic liquid- in-glass thermometers with maximum device	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12470-2:2000+A1:2009	Clinical thermometers - Part 2: Phase change type (dot matrix) thermometers	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12470-3:2000+A1:2009	Clinical thermometers - Part 3: Performance of compact electrical thermometers (non-predictive and predictive) with maximum device	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12470-4:2000+A1:2009	Clinical thermometers - Part 4: Performance of electrical thermometers for continuous measurement	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 12470-5:2003	Clinical thermometers - Part 5: Performance of infra-red ear thermometers (with maximum device)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN ISO 12870:2009	Ophthalmic optics - Spectacle frames - Requirements and test methods (ISO 12870:2004)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13060:2014	Small steam sterilizers	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-1:2015	Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2008, including Amd 1:2013)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-2:2018	Aseptic processing of health care products - Part 2: Sterilizing filtration (ISO 13408-2:2018)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-3:2011	Aseptic processing of health care products - Part 3: Lyophilization (ISO 13408-3:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-4:2011	Aseptic processing of health care products - Part 4: Clean-in-place technologies (ISO 13408-4:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-5:2011	Aseptic processing of health care products - Part 5: Sterilization in place (ISO 13408-5:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-6:2011	Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-7:2015	Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products (ISO 13408-7:2012)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13485:2016	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016) / EN ISO 13485:2016/AC:2018	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13544-1:2007+A1:2009	Respiratory therapy equipment - Part 1: Nebulizing systems and their component	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13544-2:2002+A1:2009	Respiratory therapy equipment - Part 2: Tubing and connectors	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13544-3:2001+A1:2009	Respiratory therapy equipment - Part 3: Air entrainment devices	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13624:2003	Chemical disinfectants and antiseptics - Quantitative suspension test for the evaluation of fungicidal activity of chemical disinfectants for instruments used in the medical area - Test method and requirements (phase 2, step 1)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13718-1:2008	Medical vehicles and their equipment - Air ambulances - Part 1: Requirements for medical devices used in air ambulances	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13718-2:2015	Medical vehicles and their equipment - Air ambulances - Part 2: Operational and technical requirements for air ambulances	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13726-1:2002, EN 13726-1:2002/AC:2003	Test methods for primary wound dressings - Part 1: Aspects of absorbency	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13726-2:2002	Test methods for primary wound dressings - Part 2: Moisture vapour transmission rate of permeable film dressings	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13727:2012	Chemical disinfectants and antiseptics - Quantitative suspension test for the evaluation of bactericidal activity in the medical area - Test method and requirements (phase 2, step 1)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13795-1:2019	Surgical clothing and drapes - Requirements and test methods - Part 1: Surgical drapes and gowns	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13795-2:2019	Surgical clothing and drapes - Requirements and test methods - Part 2: Clean air suits	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13867:2002+A1:2009	Concentrates for haemodialysis and related therapies	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13976-1:2011	Rescue systems - Transportation of incubators - Part 1: Interface conditions	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 13976-2:2018	Rescue systems - Transportation of incubators - Part 2: System requirements	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14079:2003	Non-active medical devices - Performance requirements and test methods for absorbent cotton gauze and absorbent cotton and viscose gauze	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14139:2010	Ophthalmic optics - Specifications for ready-to- wear spectacles	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14155:2011, EN ISO 14155:2011/AC:2011	Clinical investigation of medical devices for human subjects - Good clinical practice (ISO 14155:2011)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14180:2003+A2:2009	Sterilizers for medical purposes - Low temperature steam and formaldehyde sterilizers - Requirements and testing	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14348:2005	Chemical disinfectants and antiseptics - Quantitative suspension test for the evaluation of mycobactericidal activity of chemical disinfectants in the medical area including instrument disinfectants - Test methods and requirements (phase 2, step 1)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14408:2009	Tracheal tubes designed for laser surgery - Requirements for marking and accompanying information (ISO 14408:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14561:2006	Chemical disinfectants and antiseptics - Quantitative carrier test for the evaluation of bactericidal activity for instruments used in the medical area - Test method and requirements (phase 2, step 2)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14562:2006	Chemical disinfectants and antiseptics - Quantitative carrier test for the evaluation of fungicidal or yeasticidal activity for instruments used in the medical area - Test method and requirements (phase 2, step 2)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14563:2008	Chemical disinfectants and antiseptics - Quantitative carrier test for the evaluation of mycobactericidal or tuberculocidal activity of chemical disinfectants used for instruments in the medical area - Test method and requirements (phase 2, step 2)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14602:2011	Non-active surgical implants - Implants for osteosynthesis - Particular requirements (ISO 14602:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14607:2009	Non-active surgical implants - Mammary implants - Particular requirements (ISO 14607:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14630:2009	Non-active surgical implants - General requirements (ISO 14630:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14683:2019+AC:2019	Medical face masks - Requirements and test methods	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14889:2009	Ophthalmic optics - Spectacle lenses - Fundamental requirements for uncut finished lenses (ISO 14889:2003)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 14931:2006	Pressure vessels for human occupancy (PVHO) - Multi-place pressure chamber systems for hyperbaric therapy - Performance, safety requirements and testing	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14937:2009	Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices (ISO 14937:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14971:2012	Medical devices - Application of risk management to medical devices (ISO 14971:2007, Corrected version 2007-10-01)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15001:2011	Anaesthetic and respiratory equipment - Compatibility with oxygen (ISO 15001:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15002:2008	Flow-metering devices for connection to terminal units of medical gas pipeline systems (ISO 15002:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15004-1:2009	Ophthalmic instruments - Fundamental requirements and test methods - Part 1: General requirements applicable to all ophthalmic instruments (ISO 15004-1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15223-1:2016	Medical devices - Symbols to be used with medical device labels, labelling and information to be supplied - Part 1: General requirements (ISO 15223-1:2016, Corrected version 2017-03)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15747:2019	Plastic containers for intravenous injections (ISO 15747:2018)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15798:2010	Ophthalmic implants - Ophthalmic viscosurgical devices (ISO 15798:2010)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15883-1:2009	Washer-disinfectors - Part 1: General requirements, terms and definitions and tests (ISO 15883-1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15883-2:2009	Washer-disinfectors - Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. (ISO 15883-2:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15883-3:2009	Washer-disinfectors - Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers (ISO 15883-3:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15883-4:2018	Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2018)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 15986:2011	Symbol for use in the labelling of medical devices - Requirements for labelling of medical devices containing phthalate	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 16061:2009	Instrumentation for use in association with non- active surgical implants - General requirements (ISO 16061:2008, Corrected version 2009-03- 15)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 16201:2006	Technical aids for disabled persons - Environmental control systems for daily living (ISO 16201:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17510-1:2009	Sleep apnoea breathing therapy - Part 1: Sleep apnoea breathing therapy equipment (ISO 17510-1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17510-2:2009	Sleep apnoea breathing therapy - Part 2: Masks and application accessories (ISO 17510-2:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17664:2017	Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices (ISO 17664:2017)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17665-1:2006	Sterilization of health care products - Moist heat - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 17665-1:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18777:2009	Transportable liquid oxygen systems for medical use - Particular requirements (ISO 18777:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18778:2009	Respiratory equipment - Infant monitors - Particular requirements (ISO 18778:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18779:2005	Medical devices for conserving oxygen and oxygen mixtures - Particular requirements (ISO 18779:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 19054:2006	Rail systems for supporting medical equipment (ISO 19054:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 20594-1:1993, EN 20594-1:1993/A1:1997, EN 20594-1:1993/AC:1996	Conical fittings with a 6 % (Luer) taper for syringes, needles and certain other medical equipment - Part 1: General requirements (ISO 594-1:1986)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21534:2009	Non-active surgical implants - Joint replacement implants - Particular requirements (ISO 21534:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21535:2009	Non-active surgical implants - Joint replacement implants - Specific requirements for hip- joint replacement implants (ISO 21535:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21536:2009	Non-active surgical implants - Joint replacement implants - Specific requirements for knee- joint replacement implants (ISO 21536:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21649:2009	Needle-free injectors for medical use - Requirements and test methods (ISO 21649:2006)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21969:2009	High-pressure flexible connections for use with medical gas systems (ISO 21969:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 21987:2017	Ophthalmic optics - Mounted spectacle lenses (ISO 21987:2017)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 22442-1:2007	Medical devices utilizing animal tissues and their derivatives - Part 1: Application of risk management (ISO 22442-1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 22442-2:2007	Medical devices utilizing animal tissues and their derivatives - Part 2: Controls on sourcing, collection and handling (ISO 22442-2:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 22442-3:2007	Medical devices utilizing animal tissues and their derivatives - Part 3: Validation of the elimination and/or inactivation of viruses and transmissible spongiform encephalopathy (TSE) agents (ISO 22442-3:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 22523:2006	External limb prostheses and external orthoses - Requirements and test methods (ISO 22523:2006)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN ISO 22675:2016	Prosthetics - Testing of ankle-foot devices and foot units - Requirements and test methods (ISO 22675:2016)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 23328-1:2008	Breathing system filters for anaesthetic and respiratory use - Part 1: Salt test method to assess filtration performance (ISO 23328- 1:2003)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 23328-2:2009	Breathing system filters for anaesthetic and respiratory use - Part 2: Non-filtration aspects (ISO 23328-2:2002)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 23747:2009	Anaesthetic and respiratory equipment - Peak expiratory flow meters for the assessment of pulmonary function in spontaneously breathing humans (ISO 23747:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 25424:2019	Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2018)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 25539-1:2009, EN ISO 25539-1:2009/AC:2011	Cardiovascular implants - Endovascular devices - Part 1: Endovascular prostheses (ISO 25539-1:2003 including Amd 1:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 25539-2:2009, EN ISO 25539-2:2009/AC:2011	Cardiovascular implants - Endovascular devices - Part 2: Vascular stents (ISO 25539- 2:2008)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 26782:2009, EN ISO 26782:2009/AC:2009	Anaesthetic and respiratory equipment - Spirometers intended for the measurement of time forced expired volumes in humans (ISO 26782:2009)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 27740:1992, EN 27740:1992/A1:1997, EN 27740:1992/AC:1996	Instruments for surgery, scalpels with detachable blades, fitting dimensions (ISO 7740:1985)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 60118-13:2005	Electroacoustics - Hearing aids - Part 13: Electromagnetic compatibility (EMC) (IEC 60118-13:2004)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60522:1999	Determination of the permanent filtration of X- ray tube assemblies (IEC 60522:1999)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60580:2000	Medical electrical equipment - Dose area product meters (IEC 60580:2000)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1:2006, EN 60601-1:2006/AC:2010, EN 60601-1:2006/A1:2013	Medical electrical equipment - Part 1: General requirements for basic safety and essential performance (IEC 60601-1:2005)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 60601-1-1:2001	Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems (IEC 60601-1-1:2000)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-2:2015	Medical electrical equipment - Part 1-2: General requirements for basic safety and essential performance - Collateral Standard: Electromagnetic disturbances - Requirements and tests (IEC 60601-1-2:2014)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN 60601-1-3:2008, EN 60601-1-3:2008/AC:2010, EN 60601-1-3:2008/A11:2016	Medical electrical equipment - Part 1-3: General requirements for basic safety and essential performance - Collateral Standard: Radiation protection in diagnostic X-ray equipment (IEC 60601-1-3:2008)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-4:1996, EN 60601-1-4:1996/A1:1999	Medical electrical equipment - Part 1-4: General requirements for safety - Collateral standard: Programmable electrical medical systems (IEC 60601-1-4:1996)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-6:2010	Medical electrical equipment - Part 1-6: General requirements for basic safety and essential performance - Collateral standard: Usability (IEC 60601-1-6:2010)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-8:2007, EN 60601-1-8:2007/AC:2010, EN 60601-1-8:2007/A11:2017	Medical electrical equipment - Part 1-8: General requirements for basic safety and essential performance - Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems (IEC 60601-1-8:2006)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-10:2008	Medical electrical equipment - Part 1-10: General requirements for basic safety and essential performance - Collateral Standard: Requirements for the development of physiologic closed-loop controllers (IEC 60601-1-10:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-1-11:2010	Medical electrical equipment - Part 1-11: General requirements for basic safety and essential performance - Collateral standard: Requirements for medical electrical equipment and medical electrical systems used in the home healthcare environment (IEC 60601-1-11:2010)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-1:1998, EN 60601-2-1:1998/A1:2002	Medical electrical equipment - Part 2-1: Particular requirements for the safety of electron accelerators in the range of 1 MeV to 50 MeV (IEC 60601-2-1:1998)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-2:2009	Medical electrical equipment - Part 2-2: Particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories (IEC 60601-2-2:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-3:1993, EN 60601-2-3:1993/A1:1998	Medical electrical equipment - Part 2: Particular requirements for the safety of short-wave therapy equipment (IEC 60601-2-3:1991)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-4:2003	Medical electrical equipment - Part 2-4: Particular requirements for the safety of cardiac defibrillators (IEC 60601-2-4:2002)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-5:2000	Medical electrical equipment - Part 2-5: Particular requirements for the safety of ultrasonic physiotherapy equipment (IEC 60601-2-5:2000)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-8:1997, EN 60601-2-8:1997/A1:1997	Medical electrical equipment - Part 2: Particular requirements for the safety of therapeutic X-ray equipment operating in the range 10 kV to 1 MV (IEC 60601-2-8:1987)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-10:2000, EN 60601-2-10:2000/A1:2001	Medical electrical equipment - Part 2-10: Particular requirements for the safety of nerve and muscle stimulators (IEC 60601-2-10:1987)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-11:1997, EN 60601-2-11:1997/A1:2004	Medical electrical equipment - Part 2-11: Particular requirements for the safety of gamma beam therapy equipment (IEC 60601-2-11:1997)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-12:2006	Medical electrical equipment - Part 2-12: Particular requirements for the safety of lung ventilators - Critical care ventilators (IEC 60601-2-12:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-13:2006, EN 60601-2-13:2006/A1:2007	Medical electrical equipment - Part 2-13: Particular requirements for the safety and essential performance of anaesthetic systems (IEC 60601-2-13:2003)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-16:1998, EN 60601-2-16:1998/AC:1999	Medical electrical equipment - Part 2-16: Particular requirements for the safety of haemodialysis, haemodiafiltration and haemofiltration equipment (IEC 60601-2-16:1998)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-17:2004	Medical electrical equipment - Part 2-17: Particular requirements for the safety of automatically-controlled brachytherapy afterloading equipment (IEC 60601-2-17:2004)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-18:1996, EN 60601-2-18:1996/A1:2000	Medical electrical equipment - Part 2-18: Particular requirements for the safety of endoscopic equipment (IEC 60601-2-18:1996)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-19:2009	Medical electrical equipment - Part 2-19: Particular requirements for the basic safety and essential performance of infant incubators (IEC 60601-2-19:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-20:2009	Medical electrical equipment - Part 2-20: Particular requirements for the basic safety and essential performance of infant transport incubators (IEC 60601-2-20:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-21:2009	Medical electrical equipment - Part 2-21: Particular requirements for the basic safety and essential performance of infant radiant warmers (IEC 60601-2-21:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-22:1996	Medical electrical equipment - Part 2: Particular requirements for the safety of diagnostic and therapeutic laser equipment (IEC 60601-2-22:1995)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-23:2000	Medical electrical equipment - Part 2-23: Particular requirements for the safety, including essential performance, of transcutaneous partial pressure monitoring equipment (IEC 60601-2-23:1999)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-24:1998	Medical electrical equipment - Part 2-24: Particular requirements for the safety of infusion pumps and controllers (IEC 60601-2-24:1998)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-25:1995, EN 60601-2-25:1995/A1:1999	Medical electrical equipment - Part 2-25: Particular requirements for the safety of electrocardiographs (IEC 60601-2-25:1993)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-26:2003	Medical electrical equipment - Part 2-26: Particular requirements for the safety of electroencephalographs (IEC 60601-2-26:2002)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-27:2006, EN 60601-2-27:2006/AC:2006	Medical electrical equipment - Part 2-27: Particular requirements for the safety, including essential performance, of electrocardiographic monitoring equipment (IEC 60601-2-27:2005)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-28:2010	Medical electrical equipment - Part 2-28: Particular requirements for the basic safety and essential performance of X-ray tube assemblies for medical diagnosis (IEC 60601-2-28:2010)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-29:2008	Medical electrical equipment - Part 2-29: Particular requirements for the basic safety and essential performance of radiotherapy simulators (IEC 60601-2-29:2008)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-30:2000	Medical electrical equipment - Part 2-30: Particular requirements for the safety, including essential performance, of automatic cycling non- invasive blood pressure monitoring equipment (IEC 60601-2-30:1999)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-33:2010, EN 60601-2-33:2010/A1:2015, EN 60601-2-33:2010/A2:2015 , EN 60601-2-33:2010/AC:2016-03, EN 60601-2-33:2010/A12:2016,	Medical electrical equipment - Part 2-33: Particular requirements for the basic safety and essential performance of magnetic resonance equipment for medical diagnosis (IEC 60601-2-33:2010)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-34:2000	Medical electrical equipment - Part 2-34: Particular requirements for the safety, including essential performance, of invasive blood pressure monitoring equipment (IEC 60601-2-34:2000)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-36:1997	Medical electrical equipment - Part 2: Particular requirements for the safety of equipment for extracorporeally induced lithotripsy (IEC 60601-2-36:1997)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-37:2008	Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment (IEC 60601-2-37:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-39:2008	Medical electrical equipment - Part 2-39: Particular requirements for basic safety and essential performance of peritoneal dialysis equipment (IEC 60601-2-39:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-40:1998	Medical electrical equipment - Part 2-40: Particular requirements for the safety of electromyographs and evoked response equipment (IEC 60601-2-40:1998)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-41:2009	Medical electrical equipment - Part 2-41: Particular requirements for basic safety and essential performance of surgical luminaires and luminaires for diagnosis (IEC 60601-2-41:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-43:2010	Medical electrical equipment - Part 2-43: Particular requirements for basic safety and essential performance of X-ray equipment for interventional procedures (IEC 60601-2-43:2010)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-44:2009	Medical electrical equipment - Part 2-44: Particular requirements for the basic safety and essential performance of X-ray equipment for computed tomography (IEC 60601-2-44:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-45:2001	Medical electrical equipment - Part 2-45: Particular requirements for the safety of mammographic X-ray equipment and mammographic stereotactic devices (IEC 60601-2-45:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-46:1998	Medical electrical equipment - Part 2-46: Particular requirements for the safety of operating tables (IEC 60601-2-46:1998)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-47:2001	Medical electrical equipment - Part 2-47: Particular requirements for the safety, including essential performance, of ambulatory electrocardiographic systems (IEC 60601-2-47:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-49:2001	Medical electrical equipment - Part 2-49: Particular requirements for the safety of multifunction patient monitoring equipment (IEC 60601-2-49:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-50:2009	Medical electrical equipment - Part 2-50: Particular requirements for the basic safety and essential performance of infant phototherapy equipment (IEC 60601-2-50:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-51:2003	Medical electrical equipment - Part 2-51: Particular requirements for safety, including essential performance, of recording and analysing single channel and multichannel electrocardiographs (IEC 60601-2-51:2003)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-52:2010, EN 60601-2-52:2010	Medical electrical equipment - Part 2-52: Particular requirements for basic safety and essential performance of medical beds (IEC 60601-2-52:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60601-2-54:2009	Medical electrical equipment - Part 2-54: Particular requirements for the basic safety and essential performance of X-ray equipment for radiography and radioscopy (IEC 60601-2-54:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60627:2001, EN 60627:2001/AC:2002	Diagnostic X-ray imaging equipment - Characteristics of general purpose and mammographic anti-scatter grids (IEC 60627:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60645-1:2001	Electroacoustics - Audiological equipment - Part 1: Pure-tone audiometers (IEC 60645-1:2001)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60645-2:1997	Audiometers - Part 2: Equipment for speech audiometry (IEC 60645-2:1993)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60645-3:2007	Electroacoustics - Audiometric equipment - Part 3: Test signals of short duration (IEC 60645-3:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 60645-4:1995	Audiometers - Part 4: Equipment for extended high-frequency audiometry (IEC 60645-4:1994)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 61217:2012	Radiotherapy equipment - Coordinates, movements and scales (IEC 61217:2011)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 61676:2002, EN 61676:2002/A1:2009	Medical electrical equipment - Dosimetric instruments used for non-invasive measurement of X-ray tube voltage in diagnostic radiology (IEC 61676:2002)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62083:2009	Medical electrical equipment - Requirements for the safety of radiotherapy treatment planning systems (IEC 62083:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62220-1:2004	Medical electrical equipment - Characteristics of digital X-ray imaging devices - Part 1: Determination of the detective quantum efficiency (IEC 62220-1:2003)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62220-1-2:2007	Medical electrical equipment - Characteristics of digital X-ray imaging devices - Part 1-2: Determination of the detective quantum efficiency - Detectors used in mammography (IEC 62220-1-2:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62220-1-3:2008	Medical electrical equipment - Characteristics of digital X-ray imaging devices - Part 1-3: Determination of the detective quantum efficiency - Detectors used in dynamic imaging (IEC 62220-1-3:2008)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62304:2006, EN 62304:2006/AC:2008	Medical device software - Software life-cycle processes (IEC 62304:2006)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 62366:2008	Medical devices - Application of usability engineering to medical devices (IEC 62366:2007)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 80601-2-35:2009	Medical electrical equipment - Part 2-35: Particular requirements for the basic safety and essential performance of heating devices using blankets, pads and mattresses and intended for heating in medical use (IEC 80601-2-35:2009)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 80601-2-58:2009	Medical electrical equipment - Part 2-58: Particular requirements for the basic safety and essential performance of lens removal devices and vitrectomy devices for ophthalmic surgery (IEC 80601-2-58:2008)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN 80601-2-59:2009	Medical electrical equipment - Part 2-59: Particular requirements for the basic safety and essential performance of screening thermographs for human febrile temperature screening (IEC 80601-2-59:2008)	01/01/2021	0034/21	Notice: This standard still needs to be amended to take into amendments made to the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC). Manufacturers are advised to check whether all relevant essential requirements are appropriately covered.	01/01/2021	0034/21	-	-
S.I. 2002/618	EN ISO 81060-1:2012	Non-invasive sphygmomanometers - Part 1: Requirements and test methods for non-automated measurement type (ISO 81060-1:2007)	01/01/2021	0034/21	-	-	-	-	-
S.I. 2002/618	EN ISO 81060-2:2019	Non-invasive sphygmomanometers - Part 2: Clinical investigation of intermittent automated measurement type (ISO 81060-2:2018)	01/01/2021	0034/21	-	-	-	-
S.I. 2002/618	EN ISO 10993-11:2009	Biological evaluation of medical devices - Part 11: Tests for systemic toxicity (ISO 10993-11:2006)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 11137-1:2015	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 11990-1:2014	Lasers and laser-related equipment - Determination of laser resistance of tracheal tubes - Part 1: Tracheal tube shaft (ISO 11990-1:2011)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 11990-2:2014	Lasers and laser-related equipment - Determination of laser resistance of tracheal tubes - Part 2: Tracheal tube cuffs (ISO 11990-2:2010)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 13408-2:2011	Aseptic processing of health care products - Part 2: Filtration (ISO 13408-2:2003)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 13485:2016, EN ISO 13485:2016/AC:2016	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN 13976-2:2011	Rescue systems - Transportation of incubators - Part 2: System requirements	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN 14683:2005	Surgical masks - Requirements and test methods	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 15747:2011	Plastic containers for intravenous injections (ISO 15747:2010)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 15883-4:2009	Washer-disinfectors - Part 4: Requirements and tests for washer-disinfectors employing chemical disinfection for thermolabile endoscopes (ISO 15883-4:2008)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 17664:2004	Sterilization of medical devices - Information to be provided by the manufacturer for the processing of resterilizable medical devices (ISO 17664:2004)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21
S.I. 2002/618	EN ISO 21987:2009	Ophthalmic optics - Mounted spectacle lenses (ISO 21987:2009)	01/01/2021	0034/21	-	-	-	30/09/2021	0034/21