## Sheet_1
v1: 01/01/2021	The summary below consolidates the published references of standards. It reproduces information already in notices of publication. It contains all references which, when the summary was generated, still provided a presumption of conformity together with references already removed. The summary does not as such generate legal effects.
Legislation reference (A)	Reference number of the designated standard (B)	Title of the designated standard (C)	Date of start of presumption of conformity (1)	Notice of Publication reference (2)	Restriction (3)	Date of start of presumption of conformity with restriction (4)	Notice of Publication reference of a restriction in (5)	Date of removal from publication (end of presumption of conformity) (6)	Notice of Publication reference for removal (7)
S.I. 2002/618	EN 556-1:2001, EN 556-1:2001/AC:2006	Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 556-2:2015	Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-1:2015, EN ISO 11137-1:2015/A2:2018	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-2:2015	Sterilization of health care products - Radiation - Part 2: Establishing the sterilization dose (ISO 11137-2:2013)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11737-2:2009	Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 12322:1999, EN 12322:1999/A1:2001	In vitro diagnostic medical devices - Culture media for microbiology - Performance criteria for culture media	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-1:2015	Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2008, including Amd 1:2013)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-2:2018	Aseptic processing of health care products - Part 2: Sterilizing filtration (ISO 13408-2:2018)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-3:2011	Aseptic processing of health care products - Part 3: Lyophilization (ISO 13408-3:2006)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-4:2011	Aseptic processing of health care products - Part 4: Clean-in-place technologies (ISO 13408-4:2005)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-5:2011	Aseptic processing of health care products - Part 5: Sterilization in place (ISO 13408-5:2006)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-6:2011	Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2005)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-7:2015	Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products (ISO 13408-7:2012)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13485:2016, EN ISO 13485:2016/AC:2018	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 13532:2002	General requirements for in vitro diagnostic medical devices for self-testing	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 13612:2002, EN 13612:2002/AC:2002	Performance evaluation of in vitro diagnostic medical devices	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 13641:2002	Elimination or reduction of risk of infection related to in vitro diagnostic reagents	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 13975:2003	Sampling procedures used for acceptance testing of in vitro diagnostic medical devices - Statistical aspects	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 14136:2004	Use of external quality assessment schemes in the assessment of the performance of in vitro diagnostic examination procedures	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 14254:2004	In vitro diagnostic medical devices - Single-use receptacles for the collection of specimens, other than blood, from humans	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 14820:2004	Single-use containers for human venous blood specimen collection	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14937:2009	Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices (ISO 14937:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14971:2012	Medical devices - Application of risk management to medical devices (ISO 14971:2007, Corrected version 2007-10-01)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15193:2009	In vitro diagnostic medical devices - Measurement of quantities in samples of biological origin - Requirements for content and presentation of reference measurement procedures (ISO 15193:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15194:2009	In vitro diagnostic medical devices - Measurement of quantities in samples of biological origin - Requirements for certified reference materials and the content of supporting documentation (ISO 15194:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15197:2015	In vitro diagnostic test systems - Requirements for blood-glucose monitoring systems for self-testing in managing diabetes mellitus (ISO 15197:2013)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15223-1:2016	Medical devices - Symbols to be used with medical device labels, labelling and information to be supplied - Part 1: General requirements (ISO 15223-1:2016, Corrected version 2017-03)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17511:2003	In vitro diagnostic medical devices - Measurement of quantities in biological samples - Metrological traceability of values assigned to calibrators and control materials (ISO 17511:2003)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18113-1:2011	In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 1: Terms, definitions and general requirements (ISO 18113-1:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18113-2:2011	In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 2: In vitro diagnostic reagents for professional use (ISO 18113-2:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18113-3:2011	In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 3: In vitro diagnostic instruments for professional use (ISO 18113-3:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18113-4:2011	In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 4: In vitro diagnostic reagents for self-testing (ISO 18113-4:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18113-5:2011	In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 5: In vitro diagnostic instruments for self-testing (ISO 18113-5:2009)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 18153:2003	In vitro diagnostic medical devices - Measurement of quantities in biological samples - Metrological traceability of values for catalytic concentration of enzymes assigned to calibrators and control materials (ISO 18153:2003)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 20776-1:2006	Clinical laboratory testing and in vitro diagnostic test systems - Susceptibility testing of infectious agents and evaluation of performance of antimicrobial susceptibility test devices - Part 1: Reference method for testing the in vitro activity of antimicrobial agents against rapidly growing aerobic bacteria involved in infectious diseases (ISO 20776-1:2006)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 23640:2015	In vitro diagnostic medical devices - Evaluation of stability of in vitro diagnostic reagents (ISO 23640:2011)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 25424:2019	Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2018)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 61010-2-101:2002	Safety requirements for electrical equipment for measurement, control, and laboratory use - Part 2-101: Particular requirements for in vitro diagnostic (IVD) medical equipment	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 61326-2-6:2006	Electrical equipment for measurement, control and laboratory use - EMC requirements - Part 2-6: Particular requirements - In vitro diagnostic (IVD) medical equipment	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 62304:2006, EN 62304:2006/AC:2008	Medical device software - Software life-cycle processes (IEC 62304:2006)	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN 62366:2008	Medical devices - Application of usability engineering to medical devices	01/01/2021	0033/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-1:2015	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0033/21	-	-	-	30/09/2021	0033/21
S.I. 2002/618	EN ISO 13408-2:2011	Aseptic processing of health care products - Part 2: Filtration (ISO 13408-2:2003)	01/01/2021	0033/21	-	-	-	30/09/2021	0033/21
S.I. 2002/618	EN ISO 13485:2016, EN ISO 13485:2016/AC:2016	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016)	01/01/2021	0033/21	-	-	-	30/09/2021	0033/21