## Sheet1
v1: 01/01/2021	The summary below consolidates the published references of standards. It reproduces information already in notices of publication. It contains all references which, when the summary was generated, still provided a presumption of conformity together with references already removed. The summary does not as such generate legal effects.
Legislation reference (A)	Reference number of the designated standard (B)	Title of the designated standard (C)	Date of start of presumption of conformity (1)	Notice of Publication reference (2)	Restriction (3)	Date of start of presumption of conformity with restriction (4)	Notice of Publication reference of a restriction (5)	Date of removal from publication (end of presumption of conformity) (6)	Notice of Publication reference for removal (7)
S.I. 2002/618	EN 556-1:2001, EN 556-1:2001/AC:2006	Sterilization of medical devices — Requirements for medical devices to be designated ‘STERILE’ — Part 1: Requirements for terminally sterilized medical devices	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN 556-2:2015	Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN 1041:2008	Information supplied by the manufacturer of medical devices	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-1:2009, EN ISO 10993-1:2009/AC:2010	Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process (ISO 10993-1:2009)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-3:2014	Biological evaluation of medical devices - Part 3: Tests for genotoxicity, carcinogenicity and reproductive toxicity (ISO 10993-3:2014)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	BN ISO 10993-4:2009	Biological evaluation of medical devices - Part 4: Selection of tests for interactions with blood (ISO 10993-4:2002, including Amd 1:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-5:2009	Biological evaluation of medical devices - Part 4: Selection of tests for interactions with blood (ISO 10993-4:2002, including Amd 1:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-6:2009	Biological evaluation of medical devices - Part 6: Tests for local effects after implantation (ISO 10993-6:2007)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-7:2008, EN ISO 10993-7:2008/AC:2009	Biological evaluation of medical devices - Part 7: Ethylene oxide sterilization residuals (ISO 10993-7:2008	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-9:2009	Biological evaluation of medical devices - Part 9: Framework for identification and quantification of potential degradation products (ISO 10993-9:2009)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-11:2018	Biological evaluation of medical devices - Part 11: Tests for systemic toxicity (ISO 10993-11:2017)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-12:2012	Biological evaluation of medical devices - Part 12: Sample preparation and reference materials (ISO 10993-12:2012)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-13:2010	Biological evaluation of medical devices - Part 13: Identification and quantification of degradation products from polymeric medical devices (ISO 10993-13:2010)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-16:2010	Biological evaluation of medical devices - Part 16: Toxicokinetic study design for degradation products and leachables (ISO 10993-16:2010)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-17:2009	Biological evaluation of medical devices - Part 17: Establishment of allowable limits for leachable substances (ISO 10993-17:2002)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 10993-18:2009	Biological evaluation of medical devices - Part 18: Chemical characterization of materials (ISO 10993-18:2005)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11135-1:2007	Sterilization of health care products - Ethylene oxide - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11135-1:2007)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-1:2015, EN ISO 11137-1:2015/A2:2019	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11137-2:2015	Sterilization of health care products - Radiation - Part 2: Establishing the sterilization dose (ISO 11137-2:2013)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11138-2:2009	Sterilization of health care products - Biological indicators - Part 2: Biological indicators for ethylene oxide sterilization processes (ISO 11138-2:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11138-3:2009	Sterilization of health care products - Biological indicators - Part 3: Biological indicators for moist heat sterilization processes (ISO 11138-3:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11140-1:2009	Sterilization of health care products - Chemical indicators - Part 1: General requirements (ISO 11140-1:2005)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11607-1:2009	Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11737-1:2006, EN ISO 11737-1:2006/AC:2009	Sterilization of medical devices - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 11737-2:2009	Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2009)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-1:2015	Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2008, including Amd 1:2013)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-2:2018	Aseptic processing of health care products - Part 2: Sterilizing filtration (ISO 13408-2:2018)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-3:2011	Aseptic processing of health care products - Part 3: Lyophilization (ISO 13408-3:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-4:2011	Aseptic processing of health care products - Part 4: Clean-in-place technologies (ISO 13408-4:2005)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-5:2011	Aseptic processing of health care products - Part 5: Sterilization in place (ISO 13408-5:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-6:2011	Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2005)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13408-7:2015	Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products (ISO 13408-7:2012)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 13485:2016, EN ISO 13485:2016/AC:2018	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14155:2011, EN ISO 14155:2011/AC:2011	Clinical investigation of medical devices for human subjects - Good clinical practice (ISO 14155:2011)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14937:2009	Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices (ISO 14937:2009)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 14971:2012	Medical devices - Application of risk management to medical devices (ISO 14971:2007, Corrected version 2007-10-01)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 15223-1:2016	Medical devices - Symbols to be used with medical device labels, labelling and information to be supplied - Part 1: General requirements (ISO 15223-1:2016, Corrected version 2017-03)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 17665-1:2006	Sterilization of health care products - Moist heat - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 17665-1:2006)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN ISO 25424:2019	Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2018)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN 45502-1:1997	Active implantable medical devices - Part 1: General requirements for safety, marking and information to be provided by the manufacturer	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN 45502-2-1:2003	Active implantable medical devices - Part 2-1: Particular requirements for active implantable medical devices intended to treat bradyarrhythmia (cardiac pacemakers)	01/01/2021	0032/21	Notice: This standard does not necessarily cover the requirements introduced into the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC).	01/01/2021	0032/21	-	-
S.I. 2002/618	EN 45502-2-2:2008, EN 45502-2-2:2008/AC:2009	Active implantable medical devices - Part 2-2: Particular requirements for active implantable medical devices intended to treat tachyarrhythmia (includes implantable defibrillators)	01/01/2021	0032/21	Notice: This standard does not necessarily cover the requirements introduced into the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC).	01/01/2021	0032/21	-	-
S.I. 2002/618	EN 45502-2-3:2010	Active implantable medical devices - Part 2-3: Particular requirements for cochlear and auditory brainstem implant systems	01/01/2021	0032/21	Notice: This standard does not necessarily cover the requirements introduced into the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC).	01/01/2021	0032/21	-	-
S.I. 2002/618	EN 60601-1:2006, EN 60601-1:2006/AC:2010, EN 60601-1:2006/A1:2013 (IEC 60601-1:2005/A1:2012)	Medical electrical equipment - Part 1: General requirements for basic safety and essential performance (IEC 60601-1:2005)	01/01/2021	0032/21	-	-	-	-	-
S.I. 2002/618	EN 60601-1-6:2010	Medical electrical equipment - Part 1-6: General requirements for basic safety and essential performance - Collateral standard: Usability (IEC 60601-1-6:2010)	01/01/2021	0032/21	Notice: This standard does not necessarily cover the requirements introduced into the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC).	01/01/2021	0032/21	-	-
S.I. 2002/618	EN 62304:2006, EN 62304:2006/AC:2008	Medical device software - Software life-cycle processes (IEC 62304:2006)	01/01/2021	0032/21	Notice: This standard does not necessarily cover the requirements introduced into the Medical Devices Regulations 2002 by S.I. 2008/2936 (which implemented Directive 2007/747/EC).	01/01/2021	0032/21	-	-
S.I. 2002/618	EN ISO 10993-11:2009	Biological evaluation of medical devices - Part 11: Tests for systemic toxicity (ISO 10993-11:2006)	01/01/2021	0032/21	-	-	-	30/09/2021	0032/21
S.I. 2002/618	EN ISO 11137-1:2015	Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013)	01/01/2021	0032/21	-	-	-	30/09/2021	0032/21
S.I. 2002/618	EN ISO 13408-2:2011	Aseptic processing of health care products - Part 2: Filtration (ISO 13408-2:2003)	01/01/2021	0032/21	-	-	-	30/09/2021	0032/21
S.I. 2002/618	EN ISO 13485:2016, EN ISO 13485:2016/AC:2016	Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016)	01/01/2021	0032/21	-	-	-	30/09/2021	0032/21