Scoping Study on Non-Revenue Water Opportunities and Regulatory Framework in the United Kingdom

WRc in collaboration with H2outcomes and
Thornton International

WRc is an Independent Centre of Excellence for Innovation and Growth. We bring a shared purpose of discovering and delivering new and exciting solutions that enable our clients to meet the challenges of the future. We operate across the Water, Environment, Gas, Waste and Resources sectors.

Scoping Study on Non-Revenue Water Opportunities and Regulatory Framework in the United Kingdom Final Report

Authors:

	Fiona Thompson / Water Supply Consultant / Infrastructure	Date:	March 2021
		Report Reference:	UC1.0
	Glen Mountfort / Senior Consultant / Infrastructure	Project Manager:	Sarah Homewood
		Project No.:	ASST 9555
		Client:	Foreign, Commonwealth & Development Office

Contents

Appendices

List of figures
# Executive Summary
This report has been prepared for the FCDO by WRc, with support from Thornton International to provide relevant experience from Brazil, and in conjunction with H2Outcomes. It explores the following objectives:
- How the economic regulator (Ofwat) was able to promote a sustainable environment and establish guidelines for competitive investment in leakage and associated sectors.
- The standards and goals that private water utilities need to achieve in service quality, coverage and water losses.
- The developments, best-practice and lessons learnt during the process of creation and implementation of the UKs regulatory framework and recommendations for replicating this in other countries.
- The subsectors that received greater investment and the opportunities that arose for private companies.
A literature review was completed, detailing how the UK economic regulator, Ofwat, promoted a sustainable environment and drove privatised water companies in the early years following privatisation to make significant investment in the sector. In the early years following privatisation, leakage was reduced significantly as companies worked towards their economic level of leakage and performance targets were largely based on economics.

A number of interviews were carried out with key stakeholders that have been part of the UK journey since privatisation, over the past 30 years. They provided feedback that aligns to the findings of the literature review, and highlighted that initially leakage reductions were significant as companies worked towards the economic level of leakage. The stakeholders ranged from senior water company professionals to regulators and also private sector suppliers that support the privatised water companies in terms of services. They all highlighted the importance of taking a holistic approach to managing leakage that factors in the environment and longer-term planning, as the UK saw inertia set in for around ten to fifteen years once the companies reached their economic level of leakage. This can be seen in the chart below where after the year 2000 the level of reduction has not been as significant as during the 1990s.

In the most recent price review, Ofwat and the Environment Agency took a more challenging approach and this is based on the longer-term water resources need to reduce the demand for water in the UK. Companies were challenged to reduce leakage by 15% from current levels by 2025, and companies responded positively and have stretching targets in place for the period 2020 to 2025.
Many of the stakeholders highlighted the importance of data quality in managing leakage, and have provided a number of lessons learnt and advice that may be of relevant for Brazil. These lessons include developing robust and consistent reporting guidelines, and highlight the importance of robust leakage reporting as publicity and reputation are key drivers for privatised companies and this alone can help improve performance over time. The report sets out the need to set appropriate targets, and in doing so consider water and losses in a holistic sense that factors in the environment and other long-term factors such as the available supply and demand for water, and not just base leakage or NRW targets on internal company costs and benefits, but considers the wider societal benefits as a whole.
Privatisation in the UK has resulted in a significant increase in investment into the sector, although there are lessons to be learnt. The UK approach is now being recognised as requiring more careful consideration of long-term asset condition and performance, with resilience overall playing a greater role in the regulatory framework. There is a need to consider the balance between short term solutions, and investment in the replacement of infrastructure, and it is recommended that this is factored into any regulator frameworks and that private companies should operate with robust long-term planning policy and strategies. The regulatory cycle in the UK may affect the third party suppliers of material, operational services and consultancy support to a greater extent than it does the privatised water companies. One potential suggestion is to stagger the regulatory cycle, to avoid the “boom and bust” cycle where all water companies are setting up contracts and going through procurement exercises at the same time.
Privatisation not only increased the level of investment in the sector, but this also led to the growth of a number of sub-sectors. One of the stakeholders interviewed, set up a specialist leak detection company, that grew significantly and now supports leakage detection on behalf of many UK water companies.
Thornton International provided a review of the project, and have highlighted a number of areas that may be of consideration for Brazil and how the lessons learnt from the UK could be applied. Their review noted that the current approach in Brazil in moving towards the economic level of leakage is a positive step, and recognise the potential inertia that could set in, if the approach and regulator framework doesn’t mature in parallel to the reductions in the amount of water lost over time. They highlight a number of potential areas and ways the UK experiences could benefit Brazil, including through guidance and consultancy support, advice in relation to setting up regulation and regulatory frameworks or through training or support in long-term investment planning.

# Introduction
This report has been prepared for the Foreign, Commonwealth & Development Office (FCDO) in relation to the Scoping Study on Non-Revenue Water (NRW) Opportunities and Regulatory Framework in the United Kingdom (UK). WRc have worked in collaboration with H2outcomes and Thornton International to deliver a review of the UK regulatory framework in relation to non-revenue water (NRW).
The federal government in Brazil has an ambitious deadline of 2022 for the universalisation of water supply and sanitation, and to reduce water leakage by up to 25%. The regulatory water framework opens space for international and private investments, having as characteristics the increase opportunity of private sector participation in concessions and the creation of more reliable and modern criteria in the tender processes that establishes long terms solutions for recurrent problems. It is also expected that Brazilian public and private water utilities will seek for partnerships with international companies with expertise in the water sector.
The UK water sector was privatised in 1989 after years of insufficient investment caused by limitations on funding. The idea was that privatisation of the water sector would allow for the investment required to provide a reliable, high quality water supply and meet water quality and environmental directives set by the European Union (EU). As a result of privatisation, a new regulatory framework was created, with 3 main regulators which are currently referred to as Ofwat, the Environment Agency (EA) and the Drinking Water Inspectorate (DWI), with the Department for Environment, Food and Rural Affairs (DEFRA) overseeing the 3 regulators.
Ofwat is the regulatory body responsible for economic regulation, with a duty to ensure that water companies are properly carrying out their statutory functions (providing a safe and secure supply of water) efficiently.
The EA is the regulatory body responsible for protecting the environment, with a duty to ensure good water quality and availability of water resources for the natural environment.
The DWI is the regulatory body responsible for the water quality of drinking water, their duties are not related to NRW and so the DWI are not further discussed within this report.
With over 30 years of regulatory framework development following privatisation, the UK water sector can be used to guide development of regulatory frameworks in other countries, looking at the best-practice and lessons learnt during the development and implementation process of the UKs regulatory framework.
This report provides an update while part way through the scoping study, and so is therefore a partial report. It explores the following objectives:
- How the economic regulator (Ofwat) was able to promote a sustainable environment and establish guidelines for competitive investment in leakage and associated sectors.
- The standards and goals that private water utilities need to achieve in service quality, coverage and water losses.
- The developments, best-practice and lessons learnt during the process of creation and implementation of the UKs regulatory framework and recommendations for replicating this in other countries.
- The subsectors that received greater investment and the opportunities that arose for private companies.
This review has been based on a combination of a literature review, combined with interviews with current and former regulators, senior water company staff and senior leaders from private sector companies.
A summary of the next steps will also be provided, and the final report including information from stakeholder interviews will be provided at the beginning of March.

# Overview of Leakage Since Privatisation
The UK water industry was privatised in 1989 with hopes that additional investment could be gained from private companies.
To regulate the water industry Ofwat and the Environment Agency (EA) were created. Ofwat regulates economics and efficiency and the EA regulates environmental impacts and water resources management. The fixed price water companies could charge for their water was thought to be sufficient for water companies to reduce leakage down to the economic level of leakage (the point where the cost of replacing the water lost balances with the cost of leakage control), however, this was not the case as leakage continued to rise.
In 1995 there was a dry weather event which highlighted the impact leakage has to security of supply and the costs that could be incurred by water companies to ensure security of supply in such circumstances (one of a water company’s responsibilities). Following this event, leakage became a high profile issue that was of political, media and wider public concern.
After this event and the water summit 1997 leakage targets were set for water companies to achieve to reduce leakage. When companies were allowed to set their own targets they needed to provide a robust method for leakage target calculation.
The EA gathered more information about security of supply and the effects of leakage and to encourage further reductions in leakage it was proposed to base leakage targets on the sustainable economic level of leakage, which included external factors such as social and environmental costs/benefits.
In areas of the UK which are more water stretched such as the South East, leakage became an important part of their water resources management planning, which sets out how water companies will manage water resources to ensure there is enough for supply in the long-term future. Regulators, primarily the EA, would like leakage to be integrated further into water resource planning, including areas which have a long-term water supply surplus.
Currently there are long term and short-term leakage targets which water companies should meet. There is a drive to achieve these targets whilst not increasing the price of bills and so not passing on the cost to the customer. Regulators would like more innovative solutions to enable meeting these targets.

## UK water sector regulation
The roles of the UK government and regulators is summarised below:
- Department for Environment, Food and Rural Affairs (Defra) – is the UK government department responsible for safeguarding the natural environment, and plays a major role in people’s life from food to water, and plays a key role in signing off water resources management plans.
- Ofwat is the economic regulator of the water sector in England and Wales and work with the water companies to deliver trust and confidence in services provided.
- Environment Agency – with the stated purpose “to protect or enhance the environment, taken as a whole” and to “promote the objective of achieving sustainable development” along with being responsible for water resources management.
- Water Industry Commission for Scotland (WICS) – a non-departmental public body with statutory responsibilities to manage an effective regulatory framework to encourage Scottish Water to provide high-quality services and value for money.
- Drinking Water Inspectorate (DWI) – the independent regulator of drinking water quality for England and Wales.

# Literature Review
## Introduction
This literature review has focused on reports published by Ofwat, Defra and the EA, but has also included reports by other, independent organisations such as WaterUK and National Infrastructure commission. The published date of sources ranged from 2000 to 2020.
From the review of literature, some key themes relating to regulatory frameworks, regulators and leakage performance.
## Uncertainties within leakage calculations
Leakage cannot be measured directly and therefore has to be estimated. There are 2 approaches, a top-down approach (water balance) and a bottom-up approach (minimum night flow analysis). For leakage reporting in the UK these 2 approaches are reconciled using a statistical adjustment process. As both of these methods are estimates there are uncertainties surrounding the leakage figure. The key uncertainties are discussed below.
### Unmeasured consumption
Unmetered supplies have to be estimated and so obviously the values carry uncertainty. Estimations may change depending on the area, larger houses with large gardens are likely to use more water than smaller houses with smaller or no gardens. Water companies use their own data to estimate unmeasured consumption, with a method that is developed by the water company and reviewed by Ofwat. As part of the unmeasured consumption estimation process, uncertainty around the value must be quantified and evidence provided to justify the uncertainty value used.
The British government encourages the fitting of water meters to increase water accountability and reduce unmeasured consumption. Water companies are not required to have a compulsory metering programmes, but water companies in water stressed regions (as specified by the government) do have the right to fit a water meter at a property. However, water companies often work with customers rather than enforcing their right to install a water meter. Customers are encouraged by advertising the benefits of a water meter, not just for water accountability and leak detection, but also that many customers save money after a water meter is fitted. Although retrofitting water meters is not compulsory in all areas (only those that have permission to run compulsory metering programmes due to water resources drivers), it has been compulsory for water meters to be fitted for new build properties since 1990.
Unmeasured consumption is typically estimated using one of two methods:
1. Individual household monitors where a statistically representative sample of unmeasured properties are monitored using meters but the property is billed using rateable value (i.e. a fixed charge based no property size).
2. Small area monitors where groups of properties are monitored using meters feeding small areas. The total daily flow is measured and the level of leakage subtracted along with any measured properties, with the residual being used to estimate unmeasured per household consumption.
It is important to note that in relation to Non-Revenue Water (NRW) in the UK unmeasured properties are charged based on property size so are not strictly speaking ‘non-revenue’ properties. There is little to no incentive for property owners to resolve leakage or manage their demand, unless for example a leak is affecting their property or if they face any legal action to resolve issues.
### Meter Errors
It is important within any leakage or water balance calculations based on data from meters to recognise that there will be errors and uncertainties within that data. These errors can be present due to many factors. Mechanical meters, such as those used for household metering and many network and commercial customer metering applications are subject to mechanical wear which makes their performance and sensitivity deteriorate over time. Generally, this will lead to an under-recording of flow. If consumption is being under-recorded, then leakage may be being over-estimated.
There are many factors which contribute to wear in mechanical meters and therefore it is not possible to state what the magnitude of the error in any individual meter due to wear is likely to be at any particular time. General trends can be developed by testing samples of ex-service meters to build probability models showing the likely distributions of errors for given cohorts of meters. This forms the basis for estimates of meter error that are included in the water balance.
Electromagnetic meters, the most widely used type of meter in the industry for metering distribution input, trunk mains and also many network applications do not suffer from mechanical wear. However, they too can be subject to errors arising from factors such as poor installation, e.g. installing the meter too close to a bend or fitting, poor electrical earthing or various other factors. Again, it is difficult to predict the precise error from an individual meter as there are many factors that can affect this. An uncertainty budget that considers the possible sources of error and their probabilities can be developed.
For all types of meter, errors and uncertainties are a function of flow-rate. Generally, accuracy is poorer and uncertainty higher at flow-rates towards the lower end of a meter’s operating range. Flows below the minimum flow-rate of the meter will have very high uncertainty or may not be registered at all. Correct sizing of a meter is therefore essential to minimise uncertainty, especially when it is periods of low flow, e.g. night flows used in bottom up leakage estimates, that are of most interest. If the meter is too large, the night-flows will tend to be over-estimated as the very low flows will not be recorded.
To recognise meter uncertainty in any leakage methodologies or calculations, uncertainty models can be developed based on a knowledge of the assets and how they work and perform, especially over the long term. These allow an uncertainty band to be put around the flow data for specific meters, or groups of meters. By using statistical techniques, it is then possible to put an uncertainty around a flow balance that is based on meter data for the inputs and outputs in, say, a trunk mains or a discrete part of the network. This can then be taken into account in the uncertainty of leakage.
### Night Use
The minimum night flow analysis relies on the assumption that water consumption is at its lowest at night and so the majority of supply during this time is leakage. This method requires an estimate of water consumption during the night, which has the same challenges as estimating water consumption at any time such as meter error and unmetered consumption.
### Water taken unbilled and operational use
Other sources of uncertainty include operation and legal and illegal unmeasured consumption:
- Properties that are allowed to take water but do not require meters (some religious premises etc.)
- Firefighting
- Operational use e.g. mains network flushing
- Illegal connections or use from hydrants
### Summary
Overall it is important to be aware of the issue of uncertainty in estimating leakage, and as regulatory frameworks evolve over time, the regulator may also challenge a water company to improve its data and reporting methodology. It is important when managing demand, to be able to understand where to tackle the problem and robust water accounting and water balances are important to ensure that investment in targeting demand, either consumption or losses, is focused on the correct components of the water balance.
## Communication between Regulators, Water Companies and Stakeholders
A strong steer from Ofwat on expected levels of investment is recommended[1]. This can also be said of guidance on leakage management and innovation expectations. Ofwat use comparative competition and frontier approaches to drive continuous improvement, and whilst companies set their own targets this is within the context of a fairly constrained regulatory framework. Rather than basing the frontier on a single best-performing company, Ofwat tend to regulate based on upper quartile performance. A consistent message to water companies from regulators is necessary to aid water company’s understanding of regulator expectations. Consulting with water companies during development of guidelines and regulatory processes is useful to enhance water company understanding of expectations and increases the likelihood of targets being achieved. There will usually be differences of opinion between regulators, water companies and stakeholders, as each has their own priorities and agenda, and so communication between all parties is important to get a quality outcome.
[1] WaterUK (2020) Water Supply and Demand Management, Public Accounts Committee Inquiry
Although clear guidance is important, there is no one size fits all approach to leakage performance because of individual differences between different water companies, and even between different regains within different water companies. These differences include:
- Geographical differences
- Location of leaks
- Point in investment cycle
- Population density
- Age of infrastructure

Due to these differences, guidance from regulators prefer not to be overly prescriptive, this is why water companies propose their own targets and Ofwat critically review and challenge both the target and the level of investment the companies claim to require, during the Price Review process. Ofwat reviews these methods to ensure water companies are fulfilling their duties and meeting regulatory expectations.
An interesting development among water regulators in England and Wales are the merging of standpoints from Ofwat and the EA. Traditionally Ofwat and the EA have had different agendas regarding leakage. Ofwat is concerned with economics and efficiency and the EA are concerned with environmental impact. However, recently the stances of these regulators have aligned, insisting that leakage should be reduced for environmental protection and security of supply, and that the cost of achieving challenging leakage targets should not be passed on to customers. Both regulators are encouraging innovative solutions to meet leakage and environmental targets (as well as other performance commitments) without customer bills increasing.
The regulators communicate using a number of different approaches:
- Formal stakeholder engagement e.g. consultations on specific topics
- Informal stakeholder engagement e.g. talking and discussion at conferences
- Publishing Water Strategy and Price Review documentation
- EA and Defra reports
Water companies are required to submit Annual Performance Reports to Ofwat, that comprise of a report and a series of tables of various accounts, performance and asset data. Historically Ofwat would employ an independent reporter or auditor, however in recent years regulation is ‘lighter touch’ and water companies employ independent assurance providers to review their submissions and challenge the company, to ensure that there is a lower risk of information being submitted to Ofwat of being incorrect or problematic.
The water companies produce an annual update in relation to their water resources management plan, and this is submitted to the Environment Agency.
Both the regulator and water companies may communicate on specific issues through correspondence such as letters.
The UK water industry also communicates in terms of research (UKWIR) and can utilise this route to develop best practice approaches.
Water UK acts as a combined voice of the UK water companies, for example in responding to the media over key issues that affect the industry overall. Below is an extract from a report produced by Water UK with involvement of the industry and regulators[2] highlighting the severe deficits the UK faces by the 2040s against a range of future scenarios (see Figure 1). This report was key in influencing the Water 2020 and PR19 regulatory framework, as it highlighted the need to long-term supply demand balance deficits to be considered and action needed to start in the 2020s.
[2] Water Resources Long-Term Planning Framework, Water UK, 2015
Following the publishing of the Water UK report, the Environment Agency published the national framework for water resources in March 2020[3]. The summary explaining the principles of the national framework is included below:
[3] Meeting our future water needs: a national framework for water resources, EA, 16/03/2020
“Water is essential for life. The climate is changing and droughts are becoming more frequent. Society expects a continuous supply of safe, clean drinking water and that we plan for the needs of a growing population and thriving economy. Farmers need water to irrigate crops and for the wellbeing of their livestock. Action is needed now to secure a healthy environment for current and future generations. The organisations responsible for England’s water supplies have come together to understand the long term needs of all sectors that depend on a secure supply of water – public water supply, agriculture, power generation, industry and the environment. These needs will be met through the development of regional water resources plans. Through a collaborative process, we have agreed what the regional plans should deliver and how, so they drive a step-change in water resources planning. In this way the national framework identifies strategic water needs for England and its regions across all sectors up to and beyond 2050. The national framework sets out a strategic direction for the work being carried out by regional water resources groups by exploring the range of approaches available to meet the likely pressures. It has not set out to find the optimum mix of solutions. Instead, the regional groups are focused on developing the right combination of solutions and this will be included in their regional plans. All have a part to play in meeting future water needs. For example, government is able to improve the options available by bringing forward policies to help reduce water demand. Regulators can remove any unnecessary regulatory barriers and give clear strategic direction on what is required. Bodies that represent major water users or other local interests can work with their members to understand their future water needs. Also water companies can bring their planning expertise and understanding of their networks to the table. This national framework builds on previous reports from Water UK1 and the National Infrastructure Commission2 . Each of these reports starts from a different point in time and uses slightly different assumptions and methodologies, however the core findings are aligned. The case is clear that investment is required to reduce demand and increase supplies to increase resilience to drought and make sure that the nation’s water supplies and environment are able to cope with an uncertain future. The national framework differs from previous work by focusing on the regional plans that will be developed over the coming years by the five regional water resources groups that are now in place. The strategic direction of these plans has been shaped by a senior steering group representing government, regulators, the water industry, bodies representing other major water users, environmental non-governmental organisations (NGO’s) and academia. It is this shift to collaborative regional planning, within an agreed framework, which will allow a step change in water resources.”

Figure 1: Long term water resources drivers in the UK

## Economic Level of Leakage (ELL) and Sustainable Economic Level of Leakage (SELL)
The economic level of leakage (ELL) is the level of leakage that balances the cost of leakage management with the cost of replacing the water lost (see figure 2). After privatisation, Ofwat expected water companies to reduce their leakage to the ELL as a way of maximising profits given the price restrictions, however, this did not happen. After the Water Summit in 1997 the water industry agreed to work towards reaching the ELL by 2002-03.
[4]Figure 2 - Economic Level of Leakage
[4] EU Reference Document – Good Practices on Leakage Management, Main Report, 2015
The concept of the short run ELL does provide customers with the best value for money when considering the short term and internal costs such as power costs associated with pumping, chemical costs associated with treatment and the costs of leakage management. However, it does not account for environmental or social costs/benefits nor does it factor in whether it is better value to reduce leakage below the ELL or to develop supply side options such as new boreholes. The Environment Agency were keen to include the wider remit, and the SELL was developed to include environmental and social costs/benefits at PR09 and further developed at PR14 with an updated guidance and best practice methodology.
After the introduction of SELL, leakage targets did not alter as much as regulators had hoped. Strategic Management Consultants were commissioned to explore why the inclusion of environmental and social costs/benefits did not have a significant effect upon leakage targets. It was found that the environmental and social benefits of reducing leakage were relatively balanced by the environmental and social costs of leakage management[5].
[5] Strategic Management Consultants (2012) Review of the calculation of sustainable economic level of leakage and its integration with water resource management planning, Environment Agency, Ofwat, Defra
It was also noted in SMC’s 2012 report[6], as well as amongst other literature, that:
[6] As above
“In companies with inefficient active leakage control (ALC) activities, SELL is likely to be over-stated and therefore regulatory targets easier to achieve than if the company had increased productivity from its leakage detection and repair teams. The SELL mechanism does not promote efficiency and innovation. There does not seem to be an incentive in the SELL mechanism to promote efficiency and innovation.”
There are also challenges with the calculation of ELL and SELL particularly that an inefficient company in respect to leakage management and operational costs will typically result in a higher ELL/SELL than a more efficient company. There are difficulties in assessing the value of water more widely in terms of the environment, and therefore by PR19 the regulatory framework was starting to change. This is discussed further in section 3.7.
## Short Term and Long-Term Leakage Targets
Companies are expected to achieve leakages targets year on year as well as develop and implement leakage strategies for the long term. However, meeting short term leakage targets often takes priority and can get in the way of progress for long term leakage targets. This is due to the nature of a ‘quick win’ and the damage missing a short-term leakage target can do to a company’s reputation. Long term leakage targets require strategic thinking and innovative solutions, however, innovative solutions can be risky as they are often untried and so they result may not be as expected and/or take time to implement so 1) could be a waste of time, money and resources, and 2) may result in failure of short term targets in order to reach long term targets.

## Approaches to Target Setting
### Estimating leakage and NRW
The following figure provides an illustration of the key components of a water balance[7] as per figure 3, and assists in understanding the key terminology used in managing losses and unaccounted for water. This type of water balance is known also as the ‘top down’ or ‘daily balance’ as the losses are calculated from the water input into the system, subtracting the consumption components.
[7] https://www.leakssuitelibrary.com/iwa-water-balance/#:~:text=The%20IWA%20Water%20Balance%20definitions%20define%20System%20Input,Supply%20System%20to%20which%20the%20Water%20Balance%20relates%E2%80%99.
The System Input Volume (SIV) may also be known as Distribution Input (DI) and reflects the potable water that has been produced and input into the system. This has undergone water treatment to appropriate drinking water standards, and therefore incurred costs associated with the treatment and movement of the water though pumping (power, chemical and treatment costs).
The term real losses equates to the losses on transmission and distribution mains, from storage tanks/service reservoirs/water towers and their associated overflows and leakage on service connections up to the point of measurement of consumption. This term is also referred to as leakage.
In this type of water balance, the water losses are due to leakage/real losses but also can be affected by apparent losses. These are due to meter inaccuracies or unauthorised or illegal consumption that is not measured.
Non-revenue Water (NRW) is a term that reflects the water losses (real plus apparent) and unbilled authorised consumption. This term can in some systems be somewhat misleading and care should be exhibited in relation to its usage. Unbilled consumption in some water systems may not be measured, but does not by default relate to non-revenue water, as standing charges of fixed charges based on average or expected usage may be in place for connected properties to the system.

Figure 3 – water balance components
A second estimate of leakage or real losses can be assessed using an alternative methodology, known as the ‘bottom up’ estimate.
This process assesses the losses using the minimum night flow from zonal or DMA meters, and subtracts either an allowance or measurement (usually from a representative sample of domestic and commercial properties) of night use. Larger commercial properties may be permanently monitored, and this can provide night use data to subtract from the minimum night flow for these properties. As automated meter reading and advanced meter infrastructure (AMR and AMI) is rolled out, it is possible to gather more data to assess night use.
Leakage doesn’t just occur at night, therefore a pressure correction is applied to the losses occurring at night (minimum night flow minus night use) to provide a daily leakage estimate.
The top down and bottom-up methods when used together can be reconciled, and the bottom up can be a valuable cross check against a top-down water balance and this is considered good practice.
Leakage is inherently uncertain, as it cannot be measured, and must be estimated. There is considerable uncertainty in the estimate of leakage even where there is robust data and both operational and revenue metering, as there is uncertainty associated with each component of the water balance.
Note in the examples below, where a reduction in real losses is resulting in an increase in the uncertainty. Where there is unreliable measured data (old, inaccurate flow metering or metering not installed to a robust technical specification) or where there is significant extrapolation or assumptions (e.g. related to unmeasured or illegal use) this can have a significant impact on the level of leakage/real losses reported. Companies when heavily focused in terms of leakage/real losses performance can find it beneficial to try to ‘find’ additional consumption and report lower leakage/real losses. This can result in some gaming between companies and regulators. It is a key consideration to recognise the maturity of companies data and processes, but also to start to develop roadmaps for data improvements and guidance. For example, it may be prudent to set methodologies for reporting and bring in data improvements in the round as part of a data improvement exercise, as data quality improves, rather than allowing companies too much freedom to make changes that may be biased. Figure 4 shows how as levels of NRW/leakage reduce, the uncertainty can increase, highlighting the importance of data quality.

Figure 4 – example water balances and uncertainty levels

### Performance Indicators
#### % targets
The use of percentages in terms of setting regulatory targets is not recommended. Whilst the percentage of supply input volume (SIV) or Distribution Input (DI) is an easy metric to understand and can be helpful for people to understand the relative proportion of losses or NRW, it is not a helpful metric by which to measure performance in real terms over time. The diagram below summarises how changes in demand overall relative to the volume lost can result in undesirable outcomes when trying to assess performance.
In all three examples on the right below (figure 5), the level of losses have remained either the same as the starting position on the left, or reduced. In the top example, the level of losses has reduced where the demand has remained constant, showing a performance improvement in percentage terms. In the second example, the level of demand has reduced, and the losses have remained constant, but the percentage loss has increased. In the third example, both demand and losses reduced but the percentage remains constant and doesn’t reflect the improvement.

Figure 5 – potential pitfalls of using percentages as leakage performance metrics
#### Volume based targets
Setting targets for NRW and/or leakage based on volume are considered to be good practice. It is still important however to consider a number of factors when setting volumetric targets as summarised in figure 6:

Consideration	Implication	Comments
Population and associated growth in new networks	A volume based target can be unfair if performance is improving on the existing network, but significant growth in the size and scale of the network is hiding this improvement.	This is a point for regulators to be mindful of, and companies when monitoring and interpreting leakage/NRW performance.
Significant asset renewal or rehabilitation programmes	A significant asset rehabilitation programme may be delivering significant benefit, that could mask operational leakage performance issues.	This is a point for regulators to be mindful of, and companies when monitoring and interpreting leakage/NRW performance.
Reporting methodology – real losses versus reporting/data improvements	As data improves, this can shift water around within the different components of the water balance.	This is one to ensure that there is consideration of robust operational performance metrics as well as high level targets and outcomes.
Leakage per property	Useful sub-metric of total volume to factor in growth in terms of number of properties
Leakage per km	Useful sub-metric of total volume to factor in growth in terms of number of properties
NRW	NRW may be highly uncertain if it includes properties connected but not metered.	Consider gathering a representative sample of connected but not billed properties to improve the quantification of consumption that is not currently billed.
Weather or climate impacts	Seasonal or longer-term changes can influence network performance e.g. dry weather resulting in ground movement and leaks.	Important to be aware of in relation to how extremes affect performance.
Overall uncertainty	The overall uncertainty of leakage/NRW estimates should be calculated.	In order to manage losses and NRW effectively, water accounting is vital and to ensure investment is focused on the correct areas, as demand and losses reduce, water accounting should improve alongside this.
Water balance methodology	Top down or bottom up alone may provide less confidence than reconciliation of both.	It would be recommended that a reconciliation of top down and bottom up water balances provides a robust cross check and ensures the methodology is fair.

Figure 6 – factors for consideration
#### Infrastructure Leakage Index (ILI)
The ILI is the ratio of Current Annual Real Losses (CARL) derived from a water balance, against the Unavoidable Annual Real Losses (UARL).
UARL in litres/day is
UARL = (18 x Lm + 0.80 x Nc + 25 x Lp) x P
Where Lm is mains length in km, Nc is number of service connections, Lp is the total length in km of underground pipe between the edge of the street and customer meters, and P is average operating pressure in metres[8].
[8] A Review of Performance Indicators for Real Losses from Water Supply Systems, IWA, 1999 but updated figures 02/09/2020
This ILI is an appropriate performance measure for making general international comparisons, but can be problematic for small systems. There are also differences in how companies define losses/leakage to consider, to like for like comparisons are not always being made. For example if there is high uncertainty in relation to unmeasured consumption. Reducing network pressure to reduce leakage, also can increase an ILI.
### Technical background – leakage management
Managing leakage typically is carried out within four main pillars, as per the diagram below (figure 7).

Figure 7 – table of the four pillars of leakage management
Leaks can be identified from a number of sources including customers or members of the public reporting visible leaks, or through proactive leakage detection (active leakage control). Whilst traditionally active leakage control (ALC) has been carried out using field technicians, in more recent years there has been a shift towards technology and permanent network monitoring (or smart networks) providing assistance in this area. District Metered Areas (DMAs) are often installed as discrete areas of the network to monitor for leakage/losses/NRW with operational flow metering and closed valves used to create these monitoring, reporting and water accounting tools.
The lifecycle of a leak can be described by awareness time (A) where for example a DMA may be above it’s “policy minimum”. Once an active leakage control survey takes place, the location time (L) may take several days and finally the repair time (R) may also take several days or even weeks in some cases for more complex repairs (e.g. under busy highways). High volume visible leaks can appear dramatic, but in terms of managing demand and real losses/leakage, long-running small leaks are often the more damaging in terms of overall volumes lost. This is illustrated in the figure 8 below[9]
[9] EU Reference Document – Good Practices on Leakage Management, Main Report, 2015

Figure 8 – leak awareness, location and repair time (reference 9)
It is important to define where the responsibility is in relation to leakage on distribution networks, and when it becomes a customers responsibility.
Management of the speed and quality of repairs is an important way of managing leakage, as every day the leaks are running, is contributing to the overall level of real loss/leakage. The quality of repairs is also important, to ensure that in the majority of cases, leaks are fixed first time and repeat visits are not required, as this costs in terms of the leakage impact and also has budget implications.
Managing pressure is a good technique for reducing the probability of the network failing, but lower pressure also reduces the volume lost through existing leaks. As well as managing and optimising network pressure, which is a balance between ensuring levels of service to customers in terms of network pressure are met, and reducing pressure to managing leakage, it is important to operate a calm network. Rapid draw off from major customers, tankers or through hydrants during network flushing can lead to pressure transients, that can cause leakage. Surge monitoring and protection is another way of protecting the network.
Finally, it is important to manage assets and have a robust understanding of asset condition and performance, and a proactive network replacement programme and strategy. Asset deterioration modelling may be used along with decision making tools to achieve a best-value asset management plan. It is recommended that organisations have asset management policies in place, and that these are linked to Strategic Asset Management Plans (SAMPs)[10]
[10] An anatomy of asset management, version 3, Institute of Asset Management, December 2015
### Water company perspectives
Irrespective of regulatory frameworks, there are a number of internal drivers for water utility companies to consider when managing losses/leakage or NRW.
These include:
- The cost of lost water, i.e., the marginal cost of water. The water treatment costs and pumping costs will include power and chemical costs. Loss of water is therefore incurring a direct cost for a company, and there is a benefit to reducing leakage.
- The cost of leakage management – this is to be balanced against the cost of water i.e. the ELL principle.
- There can be a reputational benefit to reducing NRW/leakage and a positive media/stakeholder/public perception from companies that are proactive in managing losses.
- A supply-demand balance deficit can have a negative impact on the water utility company, for example if high losses and a deficit are a barrier to economic development, political pressure may be applied to the company.
- Reducing losses can be beneficial in relation to resilience to drought.
- Reducing losses can be beneficial in ensuring there is operational headroom to deal with extreme weather or operational events. For example, storage/service reservoirs may reduce more quickly during a water supply incident in a network with high losses.
- Reducing losses can reduce the carbon footprint of a water utility company.
The above are factors that act as drivers to water utility companies irrespective of the regulatory framework that is in place, and regulators may seek to encourage companies to demonstrate that these key drivers and principles are being considered in the day to day operation of the company.
## Regulatory Frameworks
### PESTLE considerations
The key areas that are relevant in terms of regulatory frameworks and losses/leakage/NRW is neatly summarised by the PESTLE considerations[11] that comprises of a framework that is useful for strategic leakage management (figure 9).
[11] EU Reference Document Good Practices on Leakage Management, WFD CIS WG PoM, Main Report, European Commission, 2015

Figure 9 – PESTLE considerations
Water has a strong political dimension as public water services are essential to human life, and frequently they are run by monopoly utilities. The ownership model (public or private) and the setting of tariffs along with the performance of such companies is a political issue.
Economics is a key variable in the framework, and is likely to be a key driver particularly for a less mature water utility, to ensure that it works as a minimum to its ELL. Leakage is a very good indicator of performance of a water utility company, in terms of its efficiency as success requires a number of business functions to be aligned and working together. Leakage management encompasses managing pressure, finding hidden leakage, repairing leakage in a timely manner and the asset management of the network. In a holistic sense, it is important for a water utility to consider whether reducing demand or leakage is better value or a lower cost than developing supply side sources, and this is particularly acute where supply side sources are limited and further supply side development of options might include expensive sources such as desalination plants.
Leakage can cause social issues in relation to supply interruptions, low pressure, damage to infrastructure or buildings, delays for traffic and pedestrians and other negative impacts.
The abstraction of water from the environment can be a key driver for reducing leakage, to reduce the level of abstraction and to benefit the environment.
There can in some cases be legal or legislative drivers to reduce leakage. In the UK water companies have statutory obligations to deliver an efficient and economic service. The technological development can be a key driver and consideration, as over time many new solutions have developed and emerged that help to reduce leakage. The reduction of leakage is also linked to the reduction of carbon, due to less treatment and pumping.

### UK regulatory frameworks – a short history
Leakage started to appear within the regulatory framework after the 1995 dry weather event which highlighted the need for leakage control not just for economic purposes but also for security of supply. Many water companies stated that the leakage targets had been a main driver affecting their leakage control[12], as well as leakage’s impact on water supply during dry weather events and financial costs some companies incurred in the 1995 dry weather event to ensure supply to their customers. More recent literature suggests that for water companies with supply deficits forecast, the main driver behind leakage management and reduction is maintaining water supply to customers, with leakage being included in water resource management plans. Regulation can still be criticised to favour companies with inefficient ALC activities, which can result in targets which are more easily attainable, therefore financial or reputational penalties are less likely to be incurred.
[12] National Audit Office (2000) Leakage and Water Efficiency, Office of Water Services [Ofwat]
Financial penalties have been long established within the regulatory framework if leakage targets are not met. Prior to 2015, the financial penalty would not be set in advance and could be significant. In some instances Ofwat would choose not to issue a fine following investigation, but required companies to increase expenditure on managing their infrastructure. This was the case in 2006 in relation to Thames Water[13]. In the first AMP periods since privatisation, the focus was on achieving the ELL. By PR09 and PR14 the focus shifted to basing leakage targets on the SELL principles.
[13] http://news.bbc.co.uk/1/hi/business/5202432.stm
Another development within regulatory framework since privatisation has been the inclusion of customer supply pipe leakage (CSPL). Within the regulatory framework, the owner of a property owns all the pipework within the property boundaries. Therefore is there is a leak on the customer’s supply pipe it is the responsibility of the property owner to get the leak fixed. However, CSPL accounts for a large portion of overall leakage, water company business plans showed that CSP could have accounted for up to a quarter of all leakage 2015-20 . As part of the regulatory framework, every water company must have a CSPL policy, however, these policies vary between water companies. Many companies provide free leak detection for non-household customers, and in some cases free repair. In the case of failed asset, for example a poor condition supply pipe, it may be replaced free of charge, or a grant may be supplied to assist in the payment of the work. In other cases, if leaks directly originate from a customers’ supply pipe, then responsibility for repair sits with that customer, and will not be covered by the respective water company. In these cases, once the leak is discovered, the customer will be required to organise the repair work within a set period of time, otherwise the water company may step into repair, charging the customer for the work.
For Asset Management Period 6 (2015 – 2020) financial rewards were also part of the regulatory framework for significant overperformance in leakage reduction. From exploration of the available data, the introduction of financial rewards did not have a significant impact on water companies which were previously struggling to meet leakage targets, nor on water companies that were already achieving or outperforming their targets appeared to overperform a little further. It should be noted that within AMP 6 the UK experienced a freeze-thaw event which had significant impact upon water company performance.
At Period Review 2014 (PR14) Ofwat required UK water companies (excluding Scotland, under the remit of WICS and Northern Ireland) to propose leakage targets as part of setting Performance Commitments. These were to be based on the SELL, either unconstrained where there was no supply demand deficit, or constrained where supply demand deficits in the water resources planning process required companies to look to reduce leakage below the SELL and compare leakage reductions with supply side options development. There was considerable freedom given to companies, and as a result in AMP6 the leakage targets and rewards and penalties were not consistent. Some companies proposed to always be in either reward or penalty, whereas others proposed a deadband to operate within to make allowances for the weather. Most companies had a target based on annual reported leakage, but some decided to move to a three year average. The majority of water companies had a leakage target or deadband range that reduced over AMP6, with the exception of two companies. The greatest reduction was proposed by Affinity Water (16%).
Historically water companies since privatisation had been at different stages in terms of the maturity of their water balances and the data quality associated with them varied. Ofwat had preferred companies to remain consistent with their historic reporting methodology, and for example in the bottom-up leakage estimate a range of different night use statistics were in use by different companies. Some companies also excluded summer periods, due to elevated night use. With the advent of rewards and penalties, many water companies questioned this and discussion through Water UK led to the setting up of a review project to derive a consistent reporting methodology for leakage and other key Performance Commitments such as interruptions to supply. Ofwat strongly supported this approach, and advised the industry to develop the methodology through UKWIR and Water UK, and stated that if the consistent methodology were not developed via this route that they would enforce a new consistent methodology.
The subtle changes in how ELL/SELL has developed is summarised in figure 10 below:

Figure 10 - SELL
Ofwat set out a PR14 framework that included the following key elements:
- Customer engagement. Companies were given responsibility to engage with their customers to understand their priorities and preferences.
- Focus on outcomes. Each company developed a set of outcomes along with associated performance commitments, to reflect its customers’ priorities as identified through the engagement process.
- Risk-based review. We adopted a risk-based approach to assessing companies’ business plans, focusing on the issues that could have the biggest impact on customers. Companies that demonstrated their plans were in the best interests of customers received direct financial and reputational benefits.
- Totex approach. Rather than split companies’ expenditure allowance into capital expenditure and operational expenditure, we considered their total expenditure (totex) as a whole.
- Balanced package of risk and return. We allocated risks to the party best able to manage them, and required companies to have meaningful outcome delivery incentives. This means that companies are incentivised to provide the best service for customers.
### Current UK regulatory framework
Ofwat published their final methodology in December 2017 for PR19, following a consultation on the methodology in July 2017[14]. At the Price Review Ofwat set the framework for business plans to encourage innovation and improvements in performance across the sector. During this process Ofwat scrutinise and challenge the company business plans to ensure they are efficient, affordable to customers, and provide resilience as well as complying with statutory and licence obligations of water utility companies. During the process the five-year prices are set.
[14] Delivering Water 2020: Our Final Methodology for the 2019 price review, Ofwat, December 2017
At PR19 Ofwat sought to build on the PR14 framework principles and set strategic priorities that included:
- Securing long-term resilience
- Protecting customers
- Making markets work
The key themes for PR19 included:
1. Great customer service – including active participation of customers views in setting Performance Commitments.
2. Long-term resilience in the round – including all aspects of resilience including operational, corporate and financial.
3. Affordable bills – ensuring value for money.
4. Innovation – new ways of working.

#### Leakage at PR19
In the PR19 methodology, Ofwat referred to the SMC SELL review from 2012 and reiterated the following key points:
- SELL tends to maintain the status quo as it is based on current knowledge and current costs or techniques.
- SELL does not incentivise efficiency or innovation – if current leakage management in a company is inefficient the SELL doesn’t incentivise companies to improve and it doesn’t drive innovation.
- Companies are risk averse in relation to water resources planning, resulting in inertia in relation to reducing leakage.
Figure 11 was included by Ofwat in the PR19 final methodology to demonstrate the inertia point.

Figure 11 – long-term leakage trends in the UK
As a result Ofwat set companies a challenge and expected them to propose stretching Performance Commitments for leakage, following engagement with their customers and associated customer challenge groups. They set out the following challenges:

The industry consistent leakage reporting methodology was also a requirement that was set out in the regulatory framework.
### PR24 developments
The UK is facing significant longer-term challenges in maintaining healthy supply-demand balances, particularly in south east England over the coming decades. This is due partly to forecast population growth, but also the uncertainty of climate change and its associated impacts represents a key driver to save water.
The Environment Agency published a national framework[15] in 2020 that outlines the longer- term need to reduce demand including leakage, by half the current levels by 2050. The UK industry is at or below the short run sustainable economic level of leakage, and there is a considerable driver to reduce this significantly. Leakage reduction in the longer-term may be more affordable than some of the more expensive water supply options such as desalination.
[15] Meeting our future water needs: a national framework for water resources planning, version 1, March 2020, Environment Agency
In order to drive innovation, Ofwat have set up an Innovation Competition where companies can apply for funding to find new solutions or improved ways of working.
### Options for Setting Targets
There are a number of options that can be considered for setting targets, summarised in figure 12 below:
Approach	Company	Regulator	Comments
ELL - unconstrained	This should be considered the minimum requirement for setting targets where there is no supply demand balance deficit.	Ensure a reasonably robust approach to leakage reporting/water balance plus costs of water and leakage management.	This is appropriate as a starting point. Does not factor leakage into supply demand balance and water resources planning.
ELL – constrained	This should be considered the minimum requirement for setting targets where there is a supply demand balance deficit.	Ensure a reasonably robust approach to leakage reporting/water balance plus costs of water and leakage management.	This is appropriate as a starting point.
SELL – unconstrained	This builds in externalities such as carbon, social costs and environmental costs to the ELL.	The SELL externalities can affect both sides of the equation – there are both positive and negative impacts.	The inclusion of externalities did not have a significant impact on the ELL from the UK experience.
SELL - constrained	This builds in externalities such as carbon, social costs and environmental costs to the ELL.	The SELL externalities can affect both sides of the equation – there are both positive and negative impacts.	It is important not to double count benefits as part of water resources planning.
ILI	The ILI provides a relatively simple measure based on the ratio of current real losses to the theoretical level of minimum achievable losses with good network condition.	In the absence of any ELL type assessment, the ILI does offer a simple measure to track performance.	Note that reducing pressure can result in ILI increase.
% of SIV	This is not recommended for use in setting targets.	This is not recommended for use in setting targets.	The change in demand relative to losses/leakage can result in this being misleading. This metric is acceptable for context but not useful as a regulator or performance target.
Frontier approaches	In mature systems/companies, it may be a consideration to use frontier approaches to compare zones and set targets based on frontier performance.	There may be valid reasons for a range of performance including network age/condition, pressure, topography etc.	This is typically an approach that would be considered for more mature systems.
PESTLE	In a collaborative approach with regulators, it is possible to determine volume based targets against a wider range of considerations beyond economics.	In a collaborative approach with regulators, it is possible to determine volume based targets against a wider range of considerations beyond economics.	This approach might start with ELL/SELL and consider wider strategic factors to agree a more stretching target.
Ethical level of leakage	This may be an approach that can build upon the other approaches by including questions related to whether ethical decisions making may influence the performance levels set.	This would require development of the thinking and thought leadership around an appropriate framework.

Figure 12 – options for setting targets
The UK regulatory framework approach from PR19 can perhaps best be described as requiring a constrained SELL (i.e. leakage options were included to go beyond the short run SELL, in water resource planning decision making processes) with a strong dose of political driver to challenge companies to do more, based on the longer-term need to reduce demand and resolve longer term forecast supply demand balance deficits.
## Lessons Learnt – Regulatory Frameworks
There are a number of observations and lessons learnt that can be seen from the literature review, and these are echoed in the stakeholder interviews.
The ELL and SELL were important concepts for the UK water sector in driving down leakage in the 1990s towards the ELL, and this resulted in leakage reducing by a third by the early 2000s. However, the ELL resulted in a period of inertia. The UK perhaps missed an opportunity after the SMC SELL review in 2012 highlighted the need for leakage to be an integral part of the water resources planning process rather than just an input to it. The availability of water is a national problem, and if some companies have surplus water, by reducing leakage this can further open up the potential to transfer and trade water. The water resources planning methodology was updated for the 2019 price review and water resources management plan, and this resulted in leakage being considered more holistically, coupled with greater awareness of population growth and climate change drivers. This led to the regulators challenging the companies to do more.
In the 2014 price review, financial rewards and penalties were brought in related to performance measures such as leakage, but this alone did little to make a significant difference in performance. Without the wider drivers and more holistic approach, companies were still generally unwilling to take greater risk in reducing leakage, especially considering the risk posed by variations in weather that could impact on performance. For example, hot dry summers or cold winters if occurring greater than expected on average, could result in missing out on a reward with companies having funded additional investment.
In setting leakage targets, Ofwat has always preferred to set targets based on total leakage volume. This is generally considered a good thing by the industry, as it drives real performance improvement rather than the use of percentages or the ILI metrics that don’t always reflect the real changes that are occurring.
Ofwat had allowed the UK companies to report leakage using subtly different reporting methodologies, and it was only in April 2020 that they moved to a consistent approach to reporting. This is something that potentially could have happened sooner, and in the context of water resources planning is important to have a consistent reporting methodology.
From the early stages following privatisation, the importance of data quality was a key lesson to be learnt. The drought of 1995 was a significant event that led to the 1997 water summit. Improvements in the estimation of leakage were a key step, followed by setting ELL based targets, however these targets were achieved in the early 2000s and inertia set in. It has taken until 2019 to fully recognise that leakage and demand needs to reduce in the longer-term, and reducing leakage is not necessarily quick to deliver and therefore a priority to start to reduce leakage further than an ELL that is perhaps the right decision from an individual company perspective, but not right for society as a whole and the environment.
The UK industry has also to a certain extent learnt to operate within the regulatory system with 5-year cycles, and it is encouraging that longer term thinking is now at the forefront of the current regulatory frameworks. The investment needed in ageing infrastructure is something that will be needed, if leakage is to be reduced by the ambitious targets of 50% by the 2050s, from current levels.
## Case study
This section provides a brief overview of the longer-term journey, and a summary of current performance in the UK. It is noted that total leakage in the UK refers to company network losses (trunk mains, service reservoirs, distribution mains and the communication pipe) as well as supply pipe/customer side leakage. The customer supply pipe element of the service pipe is the responsibility of the customers in terms of asset ownership, but the water companies are responsible for leakage on the service pipe (communication pipe to the boundary and the supply pipe).
### South East Water
South East Water were one of the best performing companies with upper quartile leakage performance at the time of the PR19 review[16]. The following chart is an extract from their water resources management plan. This demonstrates the journey since the year 2000 and how in the earlier years following privatisation, significant reductions were taking place. The trend in SEW has continued to reduce, but at a much slower pace. The south east region does face considerable water resources pressures, and has over 90% of all properties metered. Note that the short run SELL for the company is 112.2 Ml/d and note that in some years mild winter weather and good performance in leakage management can result in reporting levels significantly below the regulatory target (figure 13).
[16] Water Resources Management Plan 2020 to 2080, South East Water, July 2019

Figure 13 – South East Water historic leakage (reference 16)
The long-term forecast represents a reduction in leakage of around 50% from current levels, by 2050 with the initial more rapid reduction driven by Ofwat’s challenge at PR19 to start to make a reduction in leakage of 15% by 2025 (figure 14).

Figure 14 – South East Water long term leakage forecast for dry year from WRMP19[17]
[17] South East Water, dry year final water resources management plan table for company, July 2019

### Dwr Cymru Welsh Water (DCWW) – case study AMP7 leakage Performance Commitment
The figures below are an example of the Ofwat AMP7 (2020 to 2025) Performance Commitment for leakage for DCWW[18]. Below are screenshots of the final determination specific to DCWW, and Ofwat summarise their position in an overview document[19].
[18] PR19 final determinations: Dŵr Cymru – Outcomes performance commitment appendix, Ofwat, December 2019
[19] https://www.ofwat.gov.uk/regulated-companies/price-review/2019-price-review/final-determinations/ and PR19 final determinations: Delivering outcomes for customers policy appendix, Ofwat, April 2020
The water companies propose their targets, based on the guidance and information provided as part of the regulatory framework. The submit a draft determination, receive feedback and then submit a final determination. Ofwat published the company specific data in December 2019 for AMP7 (2020 to 2025) and then published a summary report. Companies had the choice to accept the determination, or challenge it via the Competition and Markets Authority (CMA).
The final determination sets out the details in relation to reporting guidance to adhere to, and the level of performance and associated rewards and penalties.

In the example used here, the Performance Commitment is set based on a percentage reduction in leakage using a 3-year average figure, requiring a 13.3% reduction by 2024/25. The company faces rewards of £0.143m per Ml/d per year if it outperforms, or a penalty of £0.168m per Ml/d per year if it fails to achieve its targets in any given year.
# Questionnaire and Interviews
Further information to assist complete the objectives of this study will be attained via interviews of regulators and water companies. From the themes found in the desktop review, a questionnaire was developed. The current questionnaire can be found in Appendix A. The questions on the questionnaire include 2 forms of questions, 1 to 5 rated and free text. The questions include:
- How is the current leakage performance in England and Wales?
- How should the uncertainties around leakage data and calculations be handled?
- How do you think water companies can achieve both short and long term leakage targets?
- What do you think the water industry has learnt over the last 30 years about how to approach leakage management within regulatory framework?
- What was the most significant regulation regarding leakage management and why?

The interview notes are provided below.

Simon Beal
Name		Simon Beal
Role		Independent consultant
Organisation		Beal Consultants
Length of Career		30+ years
Relevant Job History		Simon has worked on a number of projects in relation to leakage management, on behalf of UK water companies, has been a reporter/auditor of leakage and has delivered projects for Defra, Ofwat and the Environment Agency.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

No.	Question		Answer
8	How should the uncertainties around leakage data and calculations be handled?		Difficult – within regulatory f/w need targets. Leakage is an estimate, as are ELL/SELLs, generally a range. Regulatory perspective needs to give guidance on working within a range.
9	Who holds responsibility for leakage performance and improvement? Is it one organisation or multiple?		Water companies.
10	How should leakage performance improvement be funded? Are these funding methods sustainable?		Ultimately customer pays through bills, but part of an asset management plan, looking after network not just leakage.
11	What are the most motivating incentives to improve leakage performance?		Bad press/publicity, alongside league tables. Don’t want to be the worst.
12	How do you acknowledge and consider the individual differences between water companies when considering leakage and targets?		Is important to compare, but focus on year on year improvement. Not about the absolute level, but the trend and direction of travel.
13	How do you think water companies can achieve both short and long term leakage targets?		Long-term- asset renewal, targeted appropriately. Short term, finding and fix quicker. PM storing up future problems. Also deciding what is leakage – customer use.
14	What do you think the water industry has learnt over the last 20 years about how to approach leakage management within regulatory framework?		Bringing in economics – ELL and SELL was a key part of the process. Policy minimum is key – how low can be achieved in each DMA. Integrating into WRMPs and other costs/benefits for supply-demand issues. Current 15% reduction in AMP7 – aspiration that was treated as a target. / Still need to make economic decisions, best-value.
15	What are the current weaknesses within the regulatory framework regarding leakage management and why are these weaknesses?		Always remain – what is leakage/use. Consistency of reporting – can stifle improvements in data/understanding. Barrier to improving data.
16	How may regulations change to remove these weaknesses within the regulatory framework?		Regulating change can be more useful with a combined measure the looks at leakage, PCC, bursts – wider network management focus and less on just leakage targets. Better overall incentives. Leakage and mains burst tension – reward on one hand, penalty on the other. Balancing penalty and rewards across indicators – need to look at what is right for the assets/network overall. AM plan.
17	What advice would you give to other areas looking to use regulatory framework to improve leakage performance?		UK route worked quite well – setting arbitrary targets first – 1990s. Then ELL – within a range and from asset management perspective. Then next step build into WRMP process SDB. Measure, understand then set realistic targets within ranges. Then can look at economics then further savings – UK reg f.w been good in this sense. / Consistency – reporting – worked well with hindsight. Enough flexibility to tailor to own data, but moved away from percentiles in bottom up. Consistent method is a good strength. National methodology makes sense
18	What was the most significant regulation regarding leakage management and why?		Greatest understanding – ELL. Needed to understand data and where leakage was going. Cost of water. Policy min. Integrated in least cost planning – learnt the most and the most realistic targets came from this.
19	What opportunities for private investment have arisen since privatisation of the water industry?		Benefits for contracting – payment by results type contacts.
20	How will opportunities for private investment change in the future?		Going to be around technology to react more quickly. Not sure how much further it can really go by find/fix – opportunities for better mains renewal techniques. Don’t drive least cost in terms of mains renewal.
21	What do you consider the main barriers to reducing leakage?		Money/funding/financing – particularly where get onto asset renewal. Spending money on solutions with long term payback. Private companies focused on profits and short term gain. Quick wins are a function of reg f/w.

Paul Saynor
Name		Paul Saynor
Role		Head of Water Resources and Supply Strategy
Organisation		Wessex Water
Length of Career		28 years
Relevant Job History		Paul has worked in the UK water sector for 28 years, most recently with Wessex Water but prior to that with Northumbrian Water, and also in consultancy earlier in his career.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

No.	Question		Answer
8	How should the uncertainties around leakage data and calculations be handled?		There is always uncertainty in relation to the estimation of leakage, and companies need to plan for uncertainty, for example severe weather impacts (hot/dry or cold/icy). There is greater control over leakage than say per capita consumption.
9	Who holds responsibility for leakage performance and improvement? Is it one organisation or multiple?		80% company, 10% customer, 10% regulator. Without the regulation, companies might be slow to recognise the longer-term issues around population growth and climate change. I think they’d get there, but it would take longer outside of a regulatory framework.
10	How should leakage performance improvement be funded? Are these funding methods sustainable?		The current approach perhaps isn’t sustainable, as we have to go beyond the ELL, there isn’t enough focus on asset management and replacement rates in the UK are now very low again. Too much focus on the short term solutions, which may be detrimental in the longer term.
11	What are the most motivating incentives to improve leakage performance?		The supply-demand balance, water resources planning drivers, and rewards and penalties.
12	How do you acknowledge and consider the individual differences between water companies when considering leakage and targets?		The media drives the need to compare e.g. Discover Water website. The public don’t understand the complexity and detail about why things are different, or the significant effort needed to just stand still with leakage. Then there’s complexity around what metrics – volumes, Olympic swimming pools, leakage per km of network, leakage per property etc.
13	How do you think water companies can achieve both short and long term leakage targets?		In the longer term there has to be a shift towards more mains renewal and rehabilitation, from the current levels. A more holistic asset management approach.
14	What do you think the water industry has learnt over the last 20 years about how to approach leakage management within regulatory framework?		The industry has learnt that it can do it. It can reduce leakage. Better monitoring, better accounting and better technology all plays a part. Resources more widely are a key driver.
15	What are the current weaknesses within the regulatory framework regarding leakage management and why are these weaknesses?		Prior to April 2020, there wasn’t consistency in the ways companies reported leakage. Water is valued too cheaply.
16	How may regulations change to remove these weaknesses within the regulatory framework?		Updated guidance at PR19 resolved this.
17	What advice would you give to other areas looking to use regulatory framework to improve leakage performance?		Firstly be clear on the driver, why you need to do something, why the need to reduce leakage or losses. / Water needs to be valued as a commodity, and there often isn’t enough of a real connection with the environment.
18	What was the most significant regulation regarding leakage management and why?		John Prescott and the 1997 water summit. Drought in 1995. This really gave the industry a push, and not far behind is the PR19 review with the challenge to reduce by 15%.
19	What opportunities for private investment have arisen since privatisation of the water industry?		The increased use of contractors – find and fix has seen a huge growth. Each company has a slightly different approach, but overall has seen a lot of growth.
20	How will opportunities for private investment change in the future?		New technology has to play a huge part. AMI/smart metering, network sensors, pressure transients – lots of opportunities for suppliers, and even universities to get involved in innovation.
21	What do you consider the main barriers to reducing leakage?		Money, qualified people, skills, training and keeping up to date with technological advances.

Michelle Ashford
Name		Michelle Ashford
Role		Chief Operating Officer
Organisation		WICS
Length of Career		30+ years
Relevant Job History		Michelle has worked for a number of UK water companies, and in regulation for Ofwat and currently in her role with WICS.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

No.	Question		Answer
8	How should the uncertainties around leakage data and calculations be handled?		Data improvement is a significant factor in managing leakage, take a step back and consider what is needed. The lack of metering can be a challenge, particularly in Scotland, leading to greater uncertainty than there needs to be in the water balance. Small area monitors are not always representative. Seeing performance change just due to paper based changes is frustrating, and it is helpful where companies are transparent about what is going on. Trust and confidence is key, as ultimately a hard line approach doesn’t benefit the customers or shareholders.
9	Who holds responsibility for leakage performance and improvement? Is it one organisation or multiple?		70% company, 20% regulator, 10% customer. The regulators need to penalise bad decision making, but generally proportional and appropriate enforcement is better e.g. regulators should not be too quick to enforce if the reason was explainable such as extreme weather and a target was narrowly missed.
10	How should leakage performance improvement be funded? Are these funding methods sustainable?		No, the current methods aren’t sustainable. We need to look at the problem in the round, with a water resources planning and asset management. We need to value water in a societal context, look at assets, levels of service and the environment in a holistic sense.
11	What are the most motivating incentives to improve leakage performance?		Delivering value, ensuring there is sufficient water available for use. Reputation.
12	How do you acknowledge and consider the individual differences between water companies when considering leakage and targets?		Don’t. Comparisons are largely meaningless, there are so many different factors, different networks, pressures and so on. Focus on what is important for a zone or company, work to deliver best value in that area.
13	How do you think water companies can achieve both short and long term leakage targets?		There needs to be a holistic approach – as per question 10 response. Asset management, water resources planning, the environment, the value of water to society.
14	What do you think the water industry has learnt over the last 20 years about how to approach leakage management within regulatory framework?		England and Wales has developed a simpler, more joined up approach and plans for the needs of the system overall. There’s a focus on value for customers. Targets are not necessarily the right way, it’s important to incentivise value and look at things holistically. ELL and SELL can be used to hide behind and can give something that is right for a company, but not right for society, for the wider environment.
15	What are the current weaknesses within the regulatory framework regarding leakage management and why are these weaknesses?		SELL and ELL can be hidden behind, and not necessarily leading to the right outcome for the system overall, for society.
16	How may regulations change to remove these weaknesses within the regulatory framework?		Promoting and incentivising best-value approaches.
17	What advice would you give to other areas looking to use regulatory framework to improve leakage performance?		Look at the problem holistically and not just from a water company perspective. Focus on the ageing assets too.
18	What was the most significant regulation regarding leakage management and why?		Finding ways of incentivising the delivery of value in a holistic sense, not looking just at leakage reduction on its own, but understanding the drivers and why something is needed.
19	What opportunities for private investment have arisen since privatisation of the water industry?		Privatisation has delivered in the sense of it has resulted in significant investment into the sector.
20	How will opportunities for private investment change in the future?		Not just looking at investment and profit but also the wider benefits, e.g. natural capital.
21	What do you consider the main barriers to reducing leakage?		Ageing infrastructure and assets, not valuing water in a holistic way.

Nigel Sanders
Name		Nigel Sanders
Role		Director – UK Infrastructure
Organisation		Turner and Townsend
Length of Service		25+ years in the industry
Relevant Job History		Nigel has extensive experience of working in regulation, and for private consultancy companies, and grew and developed technical assurance functions within multinational consultancy firms such as Jacobs and currently T&T.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

No.	Question		Answer
8	How should the uncertainties around leakage data and calculations be handled?		Moving in right direction – consistent reporting and framework. Improvement is more important than accuracy of number to x decimal points.
9	Who holds responsibility for leakage performance and improvement? Is it one organisation or multiple?		Most water company, customer doesn’t have comprehension.
10	How should leakage performance improvement be funded? Are these funding methods sustainable?		Model is right with comparative regulation, stretching targets – but long term asset health issue needs to be figured out. NRR increasing.
11	What are the most motivating incentives to improve leakage performance?		Publicity. Comparative benchmarking.
12	How do you acknowledge and consider the individual differences between water companies when considering leakage and targets?		All studies point to it being highly complex – temperature, weather, original pipeline specifications, topography.
13	How do you think water companies can achieve both short and long term leakage targets?		Data and monitoring short term, DMAs. Long term asset management. Also customer education. Asset deterioration overriding factor.
14	What do you think the water industry has learnt over the last 20 years about how to approach leakage management within regulatory framework?		Meter everything. For revenue purposes and leakage management.
15	What are the current weaknesses within the regulatory framework regarding leakage management and why are these weaknesses?		Trade off between commonality and best for company.
16	How may regulations change to remove these weaknesses within the regulatory framework?		NAVs – potential. More competition. Greater monitoring. Variable tariffs. 100% metering – national policy.
17	What advice would you give to other areas looking to use regulatory framework to improve leakage performance?		Need the economic levers to pull to make it work. Needs to be part of a framework where it drives the asset owner or operator to improve. Need levers. Commercial framework and market forces.
18	What was the most significant regulation regarding leakage management and why?		Granular reporting. Enabling comparative regulation.
19	What opportunities for private investment have arisen since privatisation of the water industry?		Got to privatise. Whole spectrum – data, technology, reporting, stakeholder engagement.
20	How will opportunities for private investment change in the future?		Clearly there is opportunity for technology companies, but longer-term asset management is a key area to address.
21	What do you consider the main barriers to reducing leakage?		Economics – move away from ELL and internal focus. Ageing assets. Metering.

Simon Dray – 05/03/21
Name		Simon Dray
Role		Managing Director
Organisation		SSI Services
Length of Service		30+ years
Relevant Job History		30 years’ experience in pipeline engineering, network optimisation, water loss and business strategy roles. Also worked for Anglian Water and as a Consulting Engineer. Co-authored several leakage related UKWIR papers and PHD sponsored research programmes, and is an expert at applying engineering principles and technologies into resilient asset management, water loss and optimisation plans.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

Can you tell us about your experiences and thoughts on the UK water sector in its journey since privatisation?
I joined the industry not long after privatisation, and at that time there were huge steps forward in terms of performance. We reached a plateau after that, and the early 2010s were probably the most challenging. The industry really took its foot off the gas. Without tighter regulation, progress slowed during this phase. With privatised companies, it’s worth noting, that if regulators don’t apply the pressure and challenge, with shareholders if there isn’t a need to invest in assets or solutions, the companies won’t invest.
Can you offer any advice for the Brazilian companies or government from your experience?
Development of the right skillsets is vital along the journey. We saw the greatest periods of growth of Hydrosave that were linked to the periods where there was an active push to reduce leakage. In terms of overall advice, focus on managing the lifecycle of leaks. Try to improve and manage the reduction in awareness time, for example with DMAs or sensors, the location time and the repair time. I’d also advise to look at calm networks, not just pressure management and also the role technology can play.
It’s important to set realistic targets, and understanding network condition is a key first step. Pressure management can really offer some quick initial wins. I’d advise to get the basics right first, don’t be tempted to rush into too much in terms of smart networks solutions too soon. Get the building blocks in place first with DMAs and start to understand asset condition and performance, and then you can target the other solutions more effectively.
One of the biggest issues for me, has been the boom and bust of the five-year regulatory planning cycles. I’ve spoken with Ofwat over the years about this, and they have said they would be open to change, but that they’d only consider this if the water companies raise the issue. The five year planning cycle creates a lot of pain for the supply chain, that isn’t really felt by the privatised water companies themselves. I’ve suggested that rather than having all the companies operating on the same cycle, that the cycle could be staggered. This would help as they tend to run procurement processes for the supply chain, all at the same time. We wouldn’t have the frantic setting up of new contracts and framework agreements all at the same time, and the dip on expenditure at the end of the cycle before it increases again. I’d suggest this is something that Brazil could consider, as it’s something that could really help the private companies that supply the privatised water sector.

Chris Rees – 05/03/21

Name		Chris Rees
Role		Leakage Strategy Manager
Organisation		DCWW
Length of Service		15 years
Relevant Job History		Leakage Strategy Manager, Dwr Cymru Chris joined Dwr Cymru Welsh Water in 2018 and currently specialises in leakage, demand management and asset strategy. He has 15 years’ experience in the water industry – as a contractor, consultant and now within a water company.

No.	Question		Very poor/least	Poor	Average	Very Good	Excellent/most
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?		1	2	3	4	5
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than		1	2	3	4	5
3	How influential do you feel regulatory frameworks are in regard to leakage performance?		1	2	3	4	5
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?		1	2	3	4	5
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine		1	2	3	4	5
6	How effective do you feel financial rewards are in relation to leakage performance?		1	2	3	4	5
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?		1	2	3	4	5

Chris commented in relation to financial rewards and penalties, that other than the potential threat of enforcement penalties, the rewards and penalties used in AMP6 (2015 to 2020) were not significant drivers in terms of how the company operated. Chris cited the values of the rewards and penalties as being perhaps 25% of the cost of reducing leakage per Ml/d reduction. Chris didn’t feel that the mechanism was really driving the performance or the company behaviour.
Can you describe your experiences in the journey the industry has been on since privatisation?
Yes, the reduction in leakage has been much smaller in the last 10 years. Leakage as a performance measure is something that is held in high esteem by companies, it’s a really good metric to show how a water company is performing overall because it touches so many areas of the company business.
We invest significantly, but much of this investment is to fight against NRR (the natural rate of rise) just to stand still. We’re beyond the short run ELL, but could do more.
Do you feel companies should go beyond SELL/ELL?
Yes absolutely, customers want to see this and there are reputational drivers to go lower as well as environmental considerations.
Do you feel the ELL is holistic enough?
No, companies need to look beyond the internal cost of water, beyond just power and chemical costs. The industry abstracts water from the environment and has to act responsibly. Leakage needs to be considered in the wider context of water resources. With ELL/SELL there just isn’t the driver, why would you do more, unless given the challenge and direction to reduce leakage below this? This is how we were regulated, and it’s changing now to a long-term approach.
How important is innovation and that challenge to do more, to go further?
Innovation is definitely important, and privatised water companies definitely need a push to evolve and innovate. The regulatory framework is important to ensure competitiveness and fairness.
Is the current approach sustainable in the longer-term?
Definitely not. The level of network replacement is too low. This affects lots of performance measures, in addition to leakage, such as pressure, interruptions to supply and water quality.
Old networks are inefficient to manage, and we have too much focus on the shorter term. It’s starting to change now, with more focus on long term water resources planning and resilience, but this is an area that causes us some concern.
What about the importance of metering?
Yes, this is a key area, and we don’t have a clear steer. We don’t have a national approach, and arguably we should do. We need the regulatory frameworks and more importantly the overarching strategic direction from government on things like this. The companies can be left with the more tactical planning around delivery, rather than trying to justify what is right for them. In the long-term, metering is a key enabler to reducing leakage.
It’s good to see the current approach being more challenging, and supporting the challenge with the Ofwat Innovation Competition. This is generating a lot of interest, there are a lot of third party suppliers that are new to the sector coming through with ideas and solutions.
Do you have any useful advice for Brazil, from your experiences in the UK?
Yes, don’t just dive straight into leakage reduction. Look at setting up an asset management policy and strategy. Improve your data, but start with a policy and strategy, don’t be driven by find and fix. Understand your local conditions, use technology where it helps, and don’t underestimate the importance of the development and retention of skilled people.

Ofwat (Colin Green), 02/03/21
This interview was a more free-flowing format, with greater focus on discussion the interview covered the key questions but using a different format, to gather valuable insight from an Ofwat perspective. Following a brief overview in relation to the project, the following summarises the questions and responses from Colin:
How would you describe the journey the water industry has been on since privatisation?
One of the key messages is to say that it is important to find positive ways of engaging with the water companies. Following privatisation there was an immediate focus on cost efficiency, and driving performance with a significant step forward in performance through the 1990s. This was accompanied by cultural changes at the same time, and an increasing recognition that leakage has cost implications. Privatisation in itself changed behaviour but as we moved forward and achieved ELL we reached a plateau. It became harder to find further cost efficiencies, and the improvement in performance slowed down. Over time, there were more “games” played with the regulator and Ofwat had a phase where things didn’t drive performance further. This was catalysed by a shift to outcome based/focused regulation at PR14 (the 2014 review) and PR19 was a further evolution of this. Lessons learnt along the journey included the importance of setting reporting guidelines, and consistency of reporting. It took time to recognise that SELL didn’t work beyond a certain point, as it didn’t drive the least efficient companies to improve. SELL is self-fulfilling in this sense, and inefficiency can be baked into it. We have realised that having long-term policy aspirations is key, and that leakage needs to be integrated in long-term asset management and water resources planning.
At PR19 for AMP7 (2020 to 2025) we set a challenge, not a target, for companies to reduce leakage by 15% or to justify why it wasn’t appropriate. This resulted in a significant behavioural response from companies, and Michael Gove in 2018 was quite clear that leakage levels were too high. There was greater clarity emerging in relation to the longer-term supply-demand challenges in water resources planning, and the need to reduce demand further was a key driver at PR19. We saw companies going from relatively small reductions in leakage in AMP6 of around 3%, to setting targets that reduce by 15% in AMP7. The results are of course still to come through as we’re only at the start of this next step in reducing leakage. Over successive price controls, we have seen increases in expenditure through Totex and now face the challenge on how to build further for PR24.
In the early days since privatisation, it was a “deliver more for less” approach but now there has been a shift of emphasis onto the outcomes driving the longer-term need.
We recognise that ELL helped drive performance in the early days, was it the right approach at the time, or would you regulate differently if given the opportunity and benefit of hindsight?
With the benefit of hindsight, yes we’d have done things differently. The key piece of advice, is don’t take too long to move beyond some of the blunter tools such as ELL. We could potentially have challenged companies, what if they spent just a little bit more to go below ELL or SELL, to drive innovation. Leakage is a key option in terms of water resources, go a little further if you can for the long-term benefit. It is also important to note the speed at which technology is increasing, with better monitoring such as acoustic loggers and this is greatly improving the speed of detection of hidden leakage.
Could you combine a good economics approach with a push to do that bit more?

Yes, that is my view. It’s not just about water but also about encouraging innovation. We’ve now set up the innovation competition and associated fund, similar to what the energy sector has had. ELL is relative to its own efficiency and self-fulfilling, the other way is to challenge to drive benefits and innovation. Companies in the UK were getting there themselves, look at Affinity Water in AMP6 as they had a stretching target. You can use the ELL initially, but the key lesson was things can stagnate if there isn’t a challenge or push to go further.

 What about the role of frontier approaches?

It’s a regulatory judgement call, if you establish a frontier it will naturally change over time. It’s not just about pushing the lagging companies to catching up, but to incentivise the leaders to keep improving. This is the cornerstone of the regulatory framework, to get the distribution of leading, average and lagging companies all to move in a positive direction.

Frontier approaches can result in companies trying to justify why they are different. It’s better to look at upper quartile performance, as if you base it on the leading company, there’s always a risk that there’s something not quite right with the leading company (data quality etc.).

How do we regulate to ensure long term sustainability between short term find/fix and long term network replacement and asset management? Would we have invested again differently? Inter-generational balance?

There are clearly some lessons here. There are questions about longer-term asset resilience, and we’ve started the shift towards more focus on resilience and longer-term thinking. There’s still a way to go, but we’re expecting to build on resilience from PR19. There are some lessons around the 5 year cycles. The companies need to have the tools and systems in place, and policies, to deliver robust asset management. Long term resilience needs to look across the different facets, financial, environmental, operational etc. with greater emphasis on long term planning, best value and water resources.
Overall a great deal has been delivered and accomplished since privatisation, but yes there are lessons learnt and things we’d do differently. The Ml/d reduction in leakage plateaued for 10 to 15 years, wasting water is never a great place to be in, it costs in the longer-term.
In terms of Brazil, where different models may be considered such as concessions it’s worth noting a few points. It’s key to consider how you regulate to get the balance between investment and price. The rail sector offers some good and bad examples, for instance where bidders worked out that if they failed the government had to step in. This created some strange bidding approaches. The East Coast Mainline for example, switches between public and private ownership. The West Coast Mainline has faster trains, better trains and service as improved infrastructure enabled bigger trains and greater passenger numbers. In some areas, buses for example, service has tended to get worse and the CMA (Competition and Markets Authority) deal with a disproportionate number of issues associated with bus concessions. Concessions can work well with longer-term contracts, in the UK we often seem to have short term deals/contracts, overall it is tricky to get the right balance.

Environment Agency (Stuart Sampson and Simon Moody) 03/03/21
This interview was a more free-flowing format, with greater focus on discussion the interview covered the key questions but using a different format, to gather valuable insight from an EA perspective. Following a brief overview in relation to the project, the following summarises the questions and responses:
If you could do things differently in the journey since privatisation, what would you have done?
The approach has been incremental, with a shift towards aspirational thinking more recently. We’re starting to see the real benefits of this, there’s a new mindset and a challenge to do more. The cultural change has been important, thinking about things in a different way and thinking about what is really required to improve, rather than just thinking about how to make a small incremental improvement.
Economics drove the early wins, but then we hit a plateau of 10 to 15 years with only minor changes. The 1995 drought was a huge political driver as well. A big part of the journey, the big reductions have been driven by political interventions. The advice for Brazil would be don’t base everything on an economic basis.
Leakage needs a holistic approach, it’s a subject that gets customer challenge, but perhaps this is because they can grasp the concept of leakage, where other aspects are less visible and perhaps more complex for them to understand. A holistic approach is definitely needed, factoring in customers, economics, the environmental and overall benefits.
It is good if you can get a regulator framework that works without the need for the injections of political impetus.
Do you think you could run an aspirational and innovative model, underpinned with a sound economic basis?
The way the SELL was used was flawed from the outset, it was important in the early days, but it’s important to understand the entire journey. You need to start with the basics, getting a robust water balance and putting in the building blocks such as DMAs (District Metered Areas) and then you can think about the regulatory frameworks. Managing leakage is expensive, and economics clearly plays a part in the regulatory framework.
The relationship between Ofwat and the EA is closer than ever now, but there’s a question for Brazil about whether the tension between two regulators is helping, or if they might be better with a single regulator. At times in the UK, we’ve been having separate conversations with companies, about economics and the environment.
What parts of the UK regulatory framework do you feel may be transferable to Brazil? What might you change? What learning might be considered?
There are transferable elements, but think about what you are trying to deliver. Technology has developed rapidly and this may change the approaches quite quickly. You need a driver for innovation, a challenge to do more. You also need to think about the balance between short term find and fix, and ensuring there is focus on long-term asset management and asset replacement.
Do you feel comparisons across water companies, or internationally are important?
Comparisons always get complicated, total volumes, uncertainty, losses per km, losses per connection, losses per property and so on. It’s almost impossible to make meaningful comparisons, and can be quite dangerous if too much emphasis is put on this. It’s useful to try to learn from others, and there is learning to help companies move forward, but league tables of performance probably are not the way to do this.
There are economic factors to consider, different networks, different reporting methodology and overall think about what the drivers are. Think about the balance between being reactive and proactive, and the balance between spending on short life solutions and longer life assets. This is a general asset management question to consider, and think about carbon accounting.

# Stakeholder Survey Summary
The following were scored questions, with 1 being least or worst, 3 being average and 5 being most/best.
No.	Question
1	How would you rate the current leakage performance in England, Wales & Scotland today compared to 5 or 10 years ago?
2	How would you describe the attitude of water companies towards leakage management? Sometimes do what’s right from a regulatory view rather than
3	How influential do you feel regulatory frameworks are in regard to leakage performance?
4	How well do you feel water companies, stakeholders and regulators communicate/collaborate?
5	How effective do you feel financial penalties are in relation to leakage performance? Publicity as well as the fine
6	How effective do you feel financial rewards are in relation to leakage performance?
7	To what extent do you feel water company data improvements have been important as the regulatory framework has matured?

The chart below summarises the results from stakeholder interview, with the scored questions, along with minimum and maximum scores on the error bars.

Figure 15 – summary of scored question responses
From the scored questions the responses are summarised in figure 15. There was a mixed response in relation to question 1 in terms of whether the respondents felt performance had improved over the last decade. The overall score was just above average, but most felt that performance had plateaued over 10 to 15 years and the scores reflect this.
In terms of the attitude of companies (question 2) and the influence of regulator frameworks (question 3) these are generally considered to be good and highly important in relation to leakage performance.
The communication and collaboration between regulators and stakeholders and companies is considered to be average.
Respondents generally felt that regulator penalties held more influence than regulatory rewards in relation to leakage performance.
Responses in terms of the importance of data improvements were almost unanimous with a very high score reflecting the view from across the respondents that this is a key area.
The interview questions generated much discussion from the individuals and there were a number of common themes and views that were coming through:
- The ELL was key in driving down leakage in the early years, but once ELL/SELL is reached, look at longer term water resources needs and long-term planning/asset management.
- A sound economic basis, coupled with a more holistic assessment of the value of water in the environment is important, a more holistic approach than just ELL or SELL will help greatly.
- It’s important to set out the drivers, and for regulators to challenge companies to do more otherwise inertia can set in.
- Metering is a vital tool to reducing leakage and NRW
- Publicity and reputation are key drivers for private companies, and granular and consistent reporting are enablers for this.
- Data improvements and data quality are essential building blocks
- Privatisation was good for the UK industry in generating investment, but it is vital to get the balance between short term solutions and long-term investment in infrastructure. Resilience and long-term planning with sound asset management principles, policies and strategies is important.
- The supply chain and private suppliers can play a key role in reducing leakage/NRW, but consider a model that is less prone to boom and bust. This affects the supply chain to a much greater extent than it does the privatised water companies.
- It is important to find ways of driving innovation, through privatised water companies and the supply chain.

# Private Sector Investment
In the 1980s in the UK, there was above inflation increases in household water bills[20] demonstrated in the figure 16 below.
[20] The development of the water industry in England and Wales, Ofwat/Defra, 2006

Figure 16 – above inflation bill increases before privatisation
The need for change was becoming apparent, and the 1985 River Quality Survey showed that for the first time since 1958 that the length of river quality deterioration had overtaken that of river water quality improvement. A chronic lack of investment meant that a significant number of pollution incidents continued to occur, and the UK was at risk of being in breach of a number of EC Directives. The EC made the decision to start prosecution proceedings against the UK government and this was a major factor in the government recognising the need for further significant capital investment into the industry.
The government was unwilling to further increase funding via taxation or increased borrowing, and started to consider the process of privatisation of the UK water industry. The Water Act 1989 provided the mechanism for the privatisation of the industry and transformed the public water authorities into Water and Sewerage Companies and appointed them as undertakers for their regions. The National Rivers Authority (later to become the Environment Agency) was responsible for the management of pollution and environmental controls, and the Director General of Water Services as the economic regulator. The water companies had to produce an Asset Management Plan in the run up to privatisation.
The Water Industry Act 1991 sets out the powers and duties of the Water and Sewerage Companies, superseding the Water Act 1989. The general duties were:
1. To develop and maintain an efficient and economical system of water supply within the undertaker’s area.
2. To provide supplies of water to premises in the undertaker’s area and make such supplies available to persons who demand them.
3. To maintain, improve and extend the water undertaker’s water mains and other pipes.
Water companies are granted “Conditions of Appointment” or Licences by the Secretary of State for the Environment, and these have a number of licence conditions.
According to Ofwat[21] the industry had invested £50 billion between privatisation and 2004, in new assets and the maintenance of existing assets. This funded significant drinking water quality, environmental improvements and other service enhancements. This step change in investment is shown in figure 17 below.
[21] The development of the water industry in England and Wales, Ofwat/Defra, 2006

Figure 17 – increase in investment following privatisation
By 2004, the Drinking Water Inspectorate, responsible for water quality compliance reported that overall compliance was 99.88%, the highest ever recorded. This was attained as the result of improvement programmes at water treatment works and service reservoirs that led to significant reductions in the number of microbiological standards being breached along with a significant improvement in renovation of distribution systems.
The Ofwat report from 2006, also highlights how leakage changed since privatisation, citing better data from companies that revealed a rising trend in leakage that reached a peak during the drought of 1995. In 1997, following a government water summit the industry was set with a medium-term goal of achieving an economic level of leakage by 2002/03. Between 1994/95 and 2002/03 leakage was reduced by around 1,500 Ml/d with most companies reporting leakage based on targets derived from their own economic level of leakage analysis. A joint initiative between Ofwat, the EA and Defra lead to the publication of a consultancy report “Future approaches to leakage target setting of England and Wales” in 2002. This set out best-practice principles and set out how companies should integrate financial, social and environmental aspects of leakage reduction into their plans and target setting.
Whilst achieving the economic level of leakage was a significant achievement, the rate of reduction has been somewhat slower since 2003. This along with pressing long-term needs in relation to managing supply and demand, has led to regulators at the 2019 review and in the national framework for water resources, to demand significant reductions in leakage in the coming years and decades. Between 2020 and 2025 UK water companies have planned to reduce leakage on average by 19%[22] and with longer term needs of reductions of 50% from current levels highlighted. This will require not only further investment, but also a need to identify ways of finding and fixing leakage much more quickly, improving water accounting, managing pressure and increasing the rate at with networks are renewed. A benefit of pushing leakage into unchartered territory is considered to be that this will drive innovation.
[22] Meeting our future water needs: a national framework for water resources, Environment Agency, 2020
Since privatisation, over £130 billion has now been invested and this has generated strong, steady improvement, world class drinking water and a reduction of leakage by a third[23].
[23] https://www.ciwem.org/the-environment/how-should-water-and-environmental-management-firms-tap,-retain-and-promote-female-talent
Privatisation has not been without its challenges and its critics, and whilst there has been significant private investment and significant improvement in performance, some of these challenges are worth noting. The flotation of water companies on the stock market has led to ownership by foreign investment, and the motives of these companies has at times been questioned, especially in relation to debt and dividends as well as in some examples due to corporation tax. Whilst it would be incorrect to avoid highlighting some of these issues, the investment made and associated improvements in the UK water industry have been significant since privatisation. Significant increases in investment have been possible, and when inflation is factored in, have not resulted in a shock to customers with significant bill increases. The debate in the UK about public versus private ownership models will likely continue, however overall there has been much success across the sector and the regulatory frameworks will no doubt continue to evolve to meet future challenges.
The significant capital investment required since privatisation has led to a persistent negative cash flow, and the level of debt financing has increased significantly, with customers being the sources of revenue. Since privatisation the operating cost proportion of customer bills has slowly declined, whilst the capital charges have risen associated with the capital investment programmes.
Immediately following privatisation, industry debt was very low with the gearing level (percentage of net debt to regulatory capital value) of less than 20%, and this rose to around 60% by 2004 and has remained at similar levels since this time, although the gearing percentage does vary from company to company. Debt financing has been a cheaper source of finance compared to equity since privatisation, and Ofwat aims at each price review to ensure that returns to shareholder investors are reasonable to ensure additional funds are available where investment is required. Ofwat at each price review has examined the scope for efficiency and the relative efficiency of each water company. It often carries out econometric analysis to assess relative efficiency, and uses this to encourage less efficient companies to become as efficient as the leading companies.
The Water Framework Directive was a substantial piece of EC legislation that affected inland and coastal waters, and continues to have significant consequences, particularly in relation to the sustainable abstraction of water from the environment. This is one of the reasons that continued focus and drive is required to reduce leakage in the UK, beyond the short run economic level of leakage.
Since privatisation, the UK industry has changed significantly, and this has led to specialist private companies being set up and growing over the past 30 years. In terms of leakage detection, specialist active leakage control companies operate along with directly employed staff, in finding hidden leakage on water networks. Examples of such companies are PN Daly, a specialist water efficiency and networks company has grown and in 2019 had a turnover of £60.7m and operating profit of £3.2m. Another significant leak detection company, Hydrosave, forms part of the South Staffordshire PLC group of companies with non-regulated business turnover of £137.9m and a significant proportion of this is in the water sector. Privatisation of the UK water sector has led to opportunities for growth of non-regulated business, that has supported the delivery of the objectives of the regulated water companies. These are just two examples, and there are many more companies that have grown over the past years and decades that are linked to the reduction in leakage and increased investment in the water industry following privatisation.
Technology is a more recent beneficiary of the continued efforts to reduce leakage, with data loggers and smart meters being areas where companies are now investing heavily in.
# Importance of Data Quality
In considering a regulatory framework, data quality is one of the key considerations. As the UK industry has matured since privatisation, the quality of data has been important as this has evolved alongside the regulatory framework.
One of the first key elements for any company in managing NRW and leakage is to establish a robust water balance. Many companies start with an IWA water balance, and this is considered a robust starting point. However, there remains potential for significant discrepancy and uncertainties and therefore data improvement should take place to reduce the overall level of uncertainty in the estimate of real losses/leakage. Before a company can effectively tackle demand management, it is important to have confidence in where the water is going, and if losses are real or apparent, and this then determines where to spend time, money and effort in reducing.
UK water companies have had to report leakage using a reconciliation of the top down (similar to IWA methodology) and a bottom-up estimate of leakage. The bottom-up estimation of leakage is based on either zonal metering or DMAs and uses the night balance. Allowances for commercial and domestic night use were subtracted, and a pressure-correction factor applied to calculate a daily leakage value from the bottom-up methodology (night pressure can often be higher than during periods of higher demand in gravity fed systems).
The two methods are reconciled using a statistical maximum likelihood estimation (MLE) process, if the two estimates fall within 5% of each other. If they fall outside this range, then investigation is carried out, and if reconciliation is not possible the top-down estimate is used. This provides a robust check and balance to the top-down water balance estimate.
In the UK, representative samples of unmeasured (unmetered) households has provided statistically robust datasets to estimate the overall unmeasured volumes in the water balances. The creation of DMAs has led to further improvements in understanding consumption and night use, with many commercial properties metered with logged data collected.
Making data improvements over time will potentially change the balance between the different components of the water balance, and can therefore affect the performance reported as real losses/leakage. It is important to consider a best-practice methodology for reporting leakage/real losses, and in the UK historically companies had reported leakage with subtle differences in their methodologies. The regulators preferred the companies to report consistently based on their company specific methodology, to track improvement trends over time. From April 2020, UK water companies are reporting in a consistent way based on best-practice guidance that the industry produced and was incorporated by Ofwat at the price review in 2019.
Beyond reporting leakage or real losses in terms of overall performance and in relation to targets, it is also necessary for companies to monitor and measure performance of leakage management activities. This information is also of relevance in making a robust economic level of leakage assessment. The following table summarises the key data that companies should consider collecting, summarised in figure 18:
Data	Requirement	Use
Marginal cost of water	To determine the cost of reducing real losses/leakage by 1 Ml/d. Cost of water treatment including power and chemical costs (variable costs).	In determining a cost curve or linear relationship of the cost of water for use in ELL.
Speed and quality of repairs	Data related to repairs including type, location, dates, run time, number of repairs in the backlog.	For operational management and also in the ELL.
DMA operability	To monitor the availability of data and operability of DMAs	For efficient leakage management and operations.
Active leakage control performance	Performance data such as leaks located, proportion of dry holes, pre/post leakage/real losses, time/cost per intervention.	For operational performance management and deriving the ELL.
Billing data – measured volumes	Measured volumes are required for water balances and also in deriving night use allowances.	Reporting overall real losses/leakage and also in deriving DMA night use allowances.
GIS data – properties and connections	Network tracing to understand the number of properties connected.	Operational leakage management, water balances and DMA management.
Policy minimum of DMAs/background leakage	Estimating background leakage using generic formula or using DMA historic minimum achieved levels (policy minimum)	Background leakage/policy minimum is the component to which the ELL is most sensitive to.
Unit cost data	Repair and active leakage control costs	Operational efficiency and performance, and ELL
Leakage/real loss data	To track performance over time	Operational management and ELL.
Externalities – carbon, social costs, environmental costs	If external costs are available, these can be incorporated into the ELL to derive SELL.	Cost of carbon and social costs such as delays due to repairs can be factored into the ELL to derive SELL.

Figure 18 – data improvements
Over time, leakage can be treated as a key input into demand forecasting, as part of a wider water resources planning exercise. Initially, companies may not have sufficient data to calculate a robust ELL, and should be encouraged by regulators to gather data listed in the table above to make a robust estimation based on their costs and performance data. Once a robust ELL is calculated, then other leakage options such as pressure management, asset renewal, metering programmes or smart networks might be included to go beyond the short run ELL. These options can be considered alongside supply options such as new sources, desalination plants etc. to determine an optimum or best-value solution.
## Non-Revenue Water and Real Losses - Uncertainty
In the UK, connected properties to the water network are generally billed irrespective of whether or not the property is metered or unmetered, other than a few minor exceptions (some religious premises are exempt for example). Figure 19 provides an example of a top down water balance:

Figure 19 – water balance example
The table above represents an illustrative example of a top-down water balance including how the real losses/NRW uncertainty is calculated. It is important to note, that NRW uncertainty can be lower than leakage/real losses, but this highlights a potential pitfall to avoid. When making investment into reducing demand, it is important to have confidence that the interventions are targeting the source of the problem effectively, and that expenditure isn’t focusing on the incorrect areas. The charts and table below present this illustrative example where changes in demand through real losses or consumption then have an impact on the uncertainty. In general where demand reduction starts to take place, the uncertainty is generally likely to increase and this is something to be mindful of on the journey of reducing leakage and demand. It is important that as demand is reduced, data quality improves in parallel to this to avoid focusing expenditure on areas that don’t deliver the expected benefit, due to uncertainty in water accounting. Figure 20 summarises the potential changes in uncertainty as demand, leakage and NRW changes:

Figure 20 – water balance uncertainty examples
There are some recommendations in relation to unmeasured consumption to consider:
1. If there are significant numbers of properties connected to networks but either not billed, or billed on a default value, it is important to be able to estimate this volume. This is important, irrespective of whether the volume is classed as “revenue” or “non-revenue”.
2. Statistically representative samples of unmeasured properties that are connected can be a relatively low cost means to improve the understanding of consumption volume for unbilled consumption. This may require monitoring small areas, or installing meters on a random selection of properties that are not billed based on the volume recorded.
3. Over time it is necessary to consider how to improve the uncertainty in the water balance, as demand reduces. A robust metering strategy for operational and revenue meters is recommended as well as ensuring that appropriate data is collected for each component of the water balance.
4. In the UK, companies evolved their water balances and this resulted in inconsistency between companies. It is recommended that any regulator considers developing consistent reporting guidance, and may need to allow companies time to achieve and work towards compliance.
# Applicability for the Brazilian Market
## Current Brazilian water sector legislation
Currently in Brazil, the law governing basic water supply services in the country is Law No. 11,445/2007.
On the fundamental principles of supply, the law establishes in its Chapter I that public sanitation services will be provided with "efficiency and economic sustainability".
The law also establishes the conditions of validity of the contracts of public service providers of water supply (chapter II) and determines "the inclusion of progressive and gradual goals of efficiency and rational use of water and energy".
It also determines that regulators will take into account the principle of defining tariffs that ensure both the economic and financial balance of contracts and tariff modesty, through mechanisms that induce the efficiency and effectiveness of services and allow social appropriation of productivity gains (Chapter V).
The regulatory authority should issue standards relating to the technical, economic and social dimensions of service provision, which will cover aspects of standards and indicators of quality of service provision and assessment of the efficiency and effectiveness of the services provided. Even when service providers do not operate on the basis of a contract, public services should have the economic and financial sustainability ensured, based on the imposition of tariffs, public prices and fees that observe the recovery of the costs incurred in the provision of the service, on an efficiency basis, the stimulation of the use of modern and efficient technologies, and the incentive to the efficiency of service providers (Chapter VI).
From an economic and financial perspective, inefficiencies in the use of water and electricity constitute avoidable costs that are supported by subsidies to the operation of services and by fees and fees charged to users. From an environmental perspective, energy use without efficiency considerations contributes to the emission of unnecessary greenhouse gases, with impacts on climate change on a global scale.
The National Basic Law makes several references to the efficiency of service providers and that tariffs must be defined based on costs incurred on an efficiency basis. However, the law leaves open what the efficiency schemes are, leaving regulatory agencies enough room to intervene in efficiency.

## Regulatory Agenda of the National Water Agency (ANA)
ANA's regulatory agenda consists of a management tool that indicates the priority themes that can change the relationship with the regulated sector or with users, seeking effectiveness, predictability and transparency in the fulfilment of the mission and strategic objectives of the Company.
One of the items foreseen on the agenda for this year is the definition of "Standards and indicators of quality and efficiency and evaluation of efficiency and effectiveness", as can be seen in the figure 21 below:

 Figure 21 – standards and indicators of quality and efficiency

It is noteworthy that the elaboration of guidelines does not necessarily mean the definition of goals. It can simply be about drawing up manuals and templates.
## Brazil Energy Efficiency Project in Water Supply Systems - ProEESA
The National Sanitation Secretariat (SNS) of the Ministry of Regional Development (MDR) and the Federal Ministry of Economic Cooperation and Development of Germany (BMZ) cooperate in the "Energy Efficiency Project in Water Supply Systems - Phase 2" (ProEESA 2). The coordination of the German side is in charge of the German Cooperation for Sustainable Development/Deutsche Gesellschaft für Internationale Zusammenarbeit GmbH (GIZ), the executing entity being the consulting firm AKUT.
Cooperation under this project began in 2016 with ProEESA phase 1. In August 2019, ProEESA, phase 2, began, which is due to be completed in November 2021.
ProEESA 2 aims to act in improving the conditions for the implementation of energy efficiency measures in service providers, through actions with regulators in the sector. In the medium term, it is intended to achieve significant reductions in electricity expenditure (avoided costs), energy consumption and water losses, with inherent improvements in the conservation of distribution networks and pumping facilities.
This program is preparing an economic level of apparent and real loss calculation sheet which is currently being tested in several states.
## How can the lessons learned from the UK help Brazil?
Currently the Brazilian national data base SNIS http://www.snis.gov.br contains data supplied in a top-down format by the water companies. The data is not audited and often contains estimates which are not marked as such. There has been a recent project “ACERTAR” http://www.snis.gov.br/projeto-acertar-snis which attempted to improve data quality, however there is much to be done to improve the data to the quality that could be used by the regulators to penalize or incentivize the utilities.
OPPORTUNITY, with the lessons learned from the UK the FCDO could offer consultancy support to help the regulators and the companies improve data quality ensuring an efficient improvement program with the least spend due to the lessons learned in the past in the UK. This might include a roadmap and strategy, setting out data requirements and milestones for these to be achieved to enable good regulatory control. This could also include advice and guidance in relation to misreporting of information, as well as enforcement actions that UK regulators deal with.
OPPORTUNITY, there is very little “bottom up” data available to check “top down” and reconcile results. The UK FCDO could offer to undertake selected pilot bottom-up analyses using proven British technology to show case the need and benefits for good quality data collection and analysis.
The current drive to push for ELL in Brazil is a good effort but looking at lessons learned from the UK it could be very easy to get caught in the trap of excessive effort for SRELL and not enough effort for the longer-term CAPEX based solutions that are required in Brazil in order to ensure that reduced leakage really does amount to additional headroom and increased supply.
OPPORTUNITY, with lessons learned from the UK the FCDO could offer detailed interactive training programs to both regulators and utilities in order to help the Brazilian journey to be fast tracked through lessons already learned.
OPPORTUNITY, based on the interactive training program results the UK FCDO could assist with providing investment grade planning for utilities who are struggling to meet new regulations.
This could be filtered by regions with extremely scare supply which can be found on the national data base for water resources at:
https://portal1.snirh.gov.br/ana/apps/webappviewer/index.html?id=75fb6a664f5d458bb9a504964e95d1fd.
An example of the data that can be filtered is shown in figure 22 which shows areas in red with systems which need additional capacity and infrastructure, which would be key targets for immediate leakage reduction and CAPEX solutions depending upon the results from improved leakage audits mentioned above.

Figure 22 – national database example

In the experience of the consultants fledgling regulators often have no idea of the cost impact of the regulation they are implementing both to the regulator themselves and to the utilities that are being regulated.
OPPORTUNITY, based on the UK’s thirty something years of experience the UK FCDO could offer a series of exchange programs involving Brazilian regulators at federal and state level plus key utilities coming to the UK and meeting with key parties. This would clearly be a post COVID 19 activity.

# Conclusions
From the desktop review carried so far within this study some conclusions have been drawn to assist with regulations in Brazil. Firstly, it is clear that leadership from regulators is important for minimising NRW and leakage/real losses. Regulatory frameworks can motivate companies to reduce leakage, especially when there is no incentive from water scarcity and the need to secure water supply. However, guidance from regulators must recognise the differences which affect leakage and leakage calculations. Clear guidance from regulators should be set but should be flexible enough to accommodate these differences.
It is also important that water companies understand the expectations set within the regulatory framework. While developing the regulatory framework, consultations with water companies and stakeholders are useful to ensure regulations are achievable and fully understood. Incorporating incentives into the regulatory framework may also be beneficial to reducing NRW. Incentives can be financial penalties for not achieving targets, financial rewards for outperforming targets or regulatory, ensuring that inefficient leakage performance does not result in targets which are easier to achieve. Regulators need the legislation and regulatory frameworks to be in place, but also require the skills and experience necessary to apply them.
Regulators also need to consider the achievability of both long- and short-term targets to ensure that achieving short term targets does not hinder the progression to achieve long term targets. Encouragement of innovative solutions from regulators via challenging regulatory targets may be beneficial, however, water companies may need additional support and confidence that they will not be penalised if short term targets are not met because of trying new innovative solutions.
The following figure 23 tabel summarises the key conclusions of this report:
Conclusion	Details
Robust water accounting and water balances are vital	It is vital that the water balances are robust, to ensure that investment in demand management and leakage/real losses is targeting the problem effectively. It is recommended that a top down and bottom-up water balance is produced to reduce the potential for error in the outputs.
Robust leakage performance data and costs are important	In terms of operational management of leakage, robust data and costs are important. This data is vital for making a robust economic level of leakage (ELL) assessment.
Data quality improvements over time are necessary	As leakage and NRW reduces, data improvements will be required to reduce uncertainty of the components of the water balance.
Appropriate measures and metrics should be considered in target setting	The use of percentages and ILI metrics can be useful starting position indicators and for context. These can be misleading, and volume-based targets are recommended to reflect real performance changes over time.
Regulatory frameworks should align to the maturity and data quality of the companies being regulated.	Any regulatory frameworks need to consider the relative maturity of the companies being regulated. A robust ELL will require several years of detailed leakage, repair, cost of water, performance and unit cost data. A more sophisticated holistic approach with leakage options forming part of water resources planning to derive best-value approaches will need an even greater level of data including carbon benefits and an understanding of the wider value of the water being saved.
In relatively immature companies, economic level of leakage (ELL) can be a key driver	The ELL can be a useful driver to work towards, especially if companies are above the short run ELL (internal power/chemical costs associated with water treatment and pumping and leakage management costs). It can be good practice to set a glide path to achieve ELL, but being mindful that the ELL doesn’t take full account of wider benefits, and there is a risk that inefficiency can be built into the ELL.
Reputation is a driver itself	The act of reporting performance in itself can be a significant driver for companies to improve as they face scrutiny from the public.
In the longer term, a more holistic approach is needed otherwise ELL inertia can set in	Once a company has achieved its short run ELL, it is important to understand if longer-term drivers require leakage to be reduced. This might be due to environmental issues such as over-abstraction, population growth, climate change or the cost of new treatment sources such as desalination (or a combination of many factors).
Consider the PESTLE framework	Even without robust quantification of benefits, it is recommended that the PESTLE (political, economic, social, technological, legislative and environmental) framework is considered in relation to leakage/real losses. This can help making the right decisions, or at least highlight areas where data improvement is needed.
A robust asset management plan is needed	Advice from regulators, water companies and the interviews all pointed to issues such as metering, and ensuring a robust long term asset management policy and strategy is in place. / It is important to consider the balance between short life solutions and assets and long term assets.
Consider what you want your regulatory framework to achieve	The view from regulators was to think about what the outcomes need to be. Focus on long term planning, and seek to challenge and push to drive innovation. This approach can be in parallel to having a robust economic basis, but the key learning is not to put all the emphasis on economics and ELL/SELL.
Privatisation led to a significant increase in private sector investment in the UK water industry	Since privatisation, the UK saw a significant increase in investment in the industry.
Where there are drivers to continue to reduce leakage below the ELL, there are opportunities for technological investment as well as asset management solutions.	The ongoing drivers to reduce leakage in the UK, longer term population growth and climate change, are leading to benefits for technology companies in providing smart metering and smart networks solutions. At the start of AMP7, Ofwat are running an innovation competition and many new solutions are starting to be deployed to tackle demand and leakage management.
Privatisation led to significant benefits with the growth of private companies that support the industry.	Since privatisation, over the last 30 years, a number of specialist companies have set up and grown significantly. For example, leakage detection contractors that specialise in find and fix of hidden leakage. These companies support the UK water companies and have themselves significant turnover and profit.
Setting best practice guidance and reporting methodologies	It is recommended that regulatory frameworks are accompanied by best practice guidance and leakage/NRW/real loss reporting methodologies.

Figure 23 – conclusions summary table
We have carried out interviews with a number of key stakeholders including Ofwat, the Environment Agency, WICS, senior water industry professionals and senior managers in suppliers that actively support the privatised water industry. A range of different views have been shared and these are available for the FCDO to review and share with the government in Brazil.
The potential cost of regulation is not something to be underestimated, along with ensuring there are the necessary skills within a regulator to leverage the benefits from a regulatory framework. We have included indicative costs of regulation, however a more granular assessment of costs could be considered for a future phase of work. This summary is included in Appendix A.
Thornton International carried out a review of the project, in terms of applicability for the Brazilian market. They identified a number of potential opportunities:
1. With the lessons learned from the UK the FCDO could offer consultancy support to help the regulators and the companies improve data quality ensuring an efficient improvement program with the least spend due to the lessons learned in the past in the UK.
2. There is very little “bottom up” data available to check “top down” and reconcile results. The UK FCDO could offer to undertake selected pilot bottom-up analyses using proven British technology to show case the need and benefits for good quality data collection and analysis.
3. The current drive to push for ELL in Brazil is a good effort but looking at lessons learned from the UK it could be very easy to get caught in the trap of excessive effort for SRELL and not enough effort for the longer-term CAPEX based solutions that are required in Brazil in order to ensure that reduced leakage really does amount to additional headroom and increased supply.
4. With lessons learned from the UK the FCDO could offer detailed interactive training programs to both regulators and utilities in order to help the Brazilian journey to be fast tracked through lessons already learned.
5. Based on the interactive training program results the UK FCDO could assist with providing investment grade planning for utilities who are struggling to meet new regulations.
6. Based on the UK’s thirty something years of experience the UK FCDO could offer a series of exchange programs involving Brazilian regulators at federal and state level plus key utilities coming to the UK and meeting with key parties. This would clearly be a post COVID 19 activity.

###### Indicative costs of regulation
Indicative costs for Ofwat:
- £18m per annum delivery costs
- £8m supporting costs (rent, equipment etc.)
- £26m per annum total for 17 water companies plus competition.

Indicative costs for a large water and sewerage company
These costs are indicative based on assumptions and are related to regulatory reporting and business/water resources planning. Many roles within organisations have a proportion of time expended on regulator activity such as reporting, in addition to producing reports/regulatory submission data therefore this estimate can vary significantly depending on the assumptions made:
- £1m per annum – regulation director and core regulation team
- £500k – proportion of other roles inputting data for regulatory returns
- Business planning - £1m to £2m per annum
- Water resources planning £1m to £2m per annum
- Assurance and audits - £500k per annum
- The total cost may be in the region of £4m to £6m per annum for a large company supplying water and wastewater services to several million customers. This may equate to around £5 per customer per annum (1% to 2% of the typical annual water charges).