## Sheet1
v2: 01/09/2022	The summary below consolidates the published references of standards. It reproduces information already in notices of publication. It contains all references which, when the summary was generated, still provided a presumption of conformity together with references already removed. The summary does not as such generate legal effects.
Legislation reference (A)	Reference number of the designated standard (B)	Title of the designated standard (C)	Date of start of presumption of conformity (1)	Notice of Publication reference (2)	Restriction (3)	Date of start of presumption of conformity with restriction (4)	Notice of Publication reference of a restriction (5)	Date of removal from publication (end of presumption of conformity) (6)	Notice of Publication reference for removal (7)
S.I. 2016 No. 1153	EN 1359:1998, EN 1359:1998/A1:2006	Gas meters - Diaphragm gas meters	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 1359:2017	Gas meters - Diaphragm gas meters	01/09/2022	0062/22	Restriction: For the purposes of clause ‘2 Normative references’ the following versions of standards apply: / (i) EN ISO 4892-3:2016; / (ii) ISO 7724-3:1984	01/09/2022	0062/22	-	-
S.I. 2016 No. 1153	EN 12261:2002, EN 12261:2002/A1:2006, EN 12261:2002/AC:2003	Gas meters - Turbine gas meters	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 12261:2018	Gas meters - Turbine gas meters	01/09/2022	0062/22	Restriction: For the purposes of clause ‘2 Normative references’ the following versions of standards apply: / (i) EN 10204:2004 / (ii) EN 60079-0:2018 as corrected by EN 60079-0:2018/AC:2020-02 / (iii) EN 60079-11:2012 / (iv) EN 60529:1991 as amended and corrected by EN 60529:1991/A2:2013/AC:2019-02 / (v) EN 60947-5-6:2000 / (vi) EN 62246-1:2015	01/09/2022	0062/22	-	-
S.I. 2016 No. 1153	EN 12480:2002, EN 12480:2002/A1:2006	Gas meters - Rotary displacement gas meters	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 14154-1:2005+A2:2011	Water meters - Part 1: General requirements	01/01/2021	0011/21	-	-	-	01/09/2022	0062/22
S.I. 2016 No. 1153	EN 14154-2:2005+A2:2011	Water meters - Part 2: Installation and conditions of use	01/01/2021	0011/21	-	-	-	01/09/2022	0062/22
S.I. 2016 No. 1153	EN 14154-3:2005+A2:2011	Water meters - Part 3: Test methods and equipment	01/01/2021	0011/21	-	-	-	01/09/2022	0062/22
S.I. 2016 No. 1153	EN 14236:2007	Ultrasonic domestic gas meters	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 14236:2018	Ultrasonic domestic gas meters	01/09/2022	0062/22	Restriction: For the purposes of clause ‘2 Normative references’ the following versions of standards apply: / (i) EN 55032:2015/A11:2020 / (ii) EN 60068-2-5:2018 / (iii) EN 60068-2-30:2005 / (iv) EN IEC 60079-0:2018/AC:2020-02 / (v) EN 60079-10-1:2021 / (vi) EN 60079-10-2:2015 / (vii) EN 60079-11:2012 / (viii) EN IEC 60079-15:2019 / (ix) EN IEC 60086-1:2021 / (x) EN IEC 60086-4:2019/AC:2020-05 / (xi) EN 60529:1991/A2:2013/AC:2019-02 / (xii) EN 60695-11-5:2017 / (xiii) EN 60695-11-10:2013/AC:2014 / (xiv) EN 61000-4-2:2009 / (xv) EN IEC 61000-4-3:2020 / (xvi) EN 61000-4-8:2010 / (xvii) EN 61000-4-9:2016 / (xviii) EN IEC 61000-6-1:2019 / (xix) EN IEC 61000-6-2:2019 / (xx) EN ISO 1518-1:2019 / (xxi) EN ISO 1518-2:2019 / (xxii) EN ISO 2409:2020 / (xxiii) EN ISO 4892-3:2016 / (xxiv) EN ISO 6270-1:2018 / (xxv) EN ISO 6272-1:2011 / (xxvi) EN ISO 9227:2017 / (xxvii) ISO 834-1:1999/AMD 1:2012 / (xxviii) ISO 7724-3:1984	01/09/2022	0062/22		-
S.I. 2016 No. 1153	EN 50470-1:2006	Electricity metering equipment (a.c.) -- Part 1: General requirements, tests and test conditions - Metering equipment (class indexes A, B and C)	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 50470-2:2006	Electricity metering equipment (a.c.) -- Part 2: Particular requirements - Electromechanical meters for active energy (class indexes A and B)	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 50470-3:2006	Electricity metering equipment (a.c.) -- Part 3: Particular requirements - Static meters for active energy (class indexes A, B and C)	01/01/2021	0011/21	-	-	-	26/02/2023	0062/22
S.I. 2016 No. 1153	EN 62058-11:2010	Electricity metering equipment (a.c.) - Acceptance inspection -- Part 11: General acceptance inspection methods	01/01/2021	0011/21	-	-	-	-	-
S.I. 2016 No. 1153	EN 62058-21:2010	Electricity metering equipment (a.c.) - Acceptance inspection -- Part 21: Particular requirements for electromechanical meters for active energy (classes 0,5, 1 and 2 and class indexes A and B)	01/01/2021	0011/21	-	-	-	-	-
S.I. 2016 No. 1153	EN 62058-31:2010	Electricity metering equipment (a.c.) - Acceptance inspection -- Part 31: Particular requirements for static meters for active energy (classes 0,2 S, 0,5 S, 1 and 2, and class indexes A, B and C)	01/01/2021	0011/21	-	-	-	-	-
S.I. 2016 No. 1153	EN 62059-32-1:2012	Electricity metering equipment - Dependability -- Part 32-1: Durability - Testing of the stability of metrological characteristics by applying elevated temperature	01/01/2021	0011/21	-	-	-	-	-