Template for the induction of qualified staff (no DQASS report in last 6 months or DQASS report in last 6 months and concerns identified)

Practitioner DQASS/FMF identity code:
Name of screening support sonographer (SSS):
Name of local provider:
Date:
To be completed by SSS	Date Completed	Comments
Review with practitioner NHS FASP e-learning modules and CPD
Identify and agree any practical training support
Confirm last DQASS report was more than 6 months ago
Inform DQASS and screening laboratory of new practitioner’s details
Review images using image review tool, this must be recorded
No concerns with image review – feedback to practitioner
Any concerns provide additional support before reassessing further images
Practitioner collects at least 25 new paired NT and CRL measurements
Review bias and spread distribution using the diagnostic plot self-assessment tool. Estimated bias must be less than 0.30 mm and spread consistent with FMF reference curve before sending 25 paired NT and CRL measurements to DQASS.
Provide feedback to the practitioner: / confirmation that measurements are within NHS FASP criteria for bias and spread / outcome of image review
Confirm practitioner can start combined screening independently