# Groundwater chemical status assessment (classification) and trend assessment
Method statement for 2022 update of the river basin management plans

We are the Environment Agency. We protect and improve the environment.
We help people and wildlife adapt to climate change and reduce its impacts, including flooding, drought, sea level rise and coastal erosion.
We improve the quality of our water, land and air by tackling pollution. We work with businesses to help them comply with environmental regulations. A healthy and diverse environment enhances people's lives and contributes to economic growth.
We can’t do this alone. We work as part of the Defra group (Department for Environment, Food & Rural Affairs), with the rest of government, local councils, businesses, civil society groups and local communities to create a better place for people and wildlife.
Published by:
Environment Agency
Horizon House, Deanery Road,
Bristol BS1 5AH
www.gov.uk/environment-agency
© Environment Agency 2022
All rights reserved. This document may be reproduced with prior permission of the Environment Agency.
Further copies of this report are available from our publications catalogue: http://www.gov.uk/government/publications or our National Customer Contact Centre: 03708 506 506
Email: enquiries@environment-agency.gov.uk

# Introduction
The achievement of good status in groundwater involves meeting a series of conditions which are defined in the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017. To assess whether these conditions are being met, a series of tests have been designed for each of the quality elements defining good (chemical and quantitative) groundwater status.
There are five chemical and four quantitative tests (Figure 1). Each test is applied independently, and the results combined to give an overall assessment of groundwater body chemical and quantitative status. The worst-case classification from the relevant chemical status tests is reported as the overall chemical status for the groundwater body and the worst-case classification of the quantitative tests reported as the overall quantitative status for the groundwater body. The worst result of these two is reported as the overall groundwater body status.
The classification process is described further in UKTAG guidance:
UKTAG Paper 11b(i): Groundwater Chemical Classification April 2019
and EU Water Framework Directive Common Implementation Strategy (CIS) guidance:
Guidance Document No. 18: Guidance on Groundwater Status and Trends
In addition, groundwater quality monitoring data are analysed to determine whether there was a statistically and environmentally significant upward trend in pollutant concentrations in a groundwater body (Trend test). If such a trend was evident then, the groundwater body failed the test, and the Environment Agency would consider what measures are needed to reverse the trend. The trend method is described in UKTAG guidance:
UK Technical Advisory Group Groundwater Trend Assessment, February 2012
The results of chemical status, quantitative status and overall status for all groundwater bodies are reported in the River Basin Management Plans.
For poor water bodies, we set objectives (for example, achieve good status by 2027) and identify measures to achieve these objectives. For some of these bodies, investigations will be undertaken to better understand the reason for failure and to allow measures to be targeted appropriately.
The assessment of groundwater body chemical status and risk will be updated as part of part of the third cycle of RBMP and the following sections describe the methods used in England. Each test comes with a confidence assessment based on the quality and quantity of data available. Since cycle 2 the number of monitoring points in the Groundwater Water Quality Monitoring Network has reduced. We have therefore supplemented Environment Agency monitoring data in cycle 3 with Water Company monitoring data (raw water) provided by the Drinking Water Inspectorate (DWI). This new monitoring data has the potential to alter status and confidence results in comparison to cycle 2.
Contents

Figure 1. Overview of the status assessment (classification) process.

## Test 1 – Saline or other intrusion test
Purpose
We need to assess groundwater body status to comply with the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017.
Chemical classification of groundwater bodies is split into five tests. This section describes the steps we take for the Saline Intrusion test. This test identifies groundwater bodies where there is intrusion of poor quality water as a result of groundwater abstraction and this intrusion is leading to sustained upward trends in salinity indicators (for example, chloride, sulphate or electrical conductivity) or a significant impact on one or more groundwater abstractions (UKTAG paper 11b (i)).

Background
We carry out this test to identify where groundwater quality is deteriorating or where there have already been impacts on the quality of abstracted water because of the intrusion of poor quality water into the body. The intrusion must be caused by groundwater abstraction and be sustained. The test therefore focuses on bodies where abstraction pressures may cause intrusion. Impacts associated with mine water rebound are dealt with under the Surface Water and the General Chemical Assessment Test.
Intrusion can occur when the saline-freshwater interface in coastal regions is drawn inland and upwards by abstraction. Groundwater abstraction can also lead to upward movement (up coning) of poor quality water, the leakage of saline surface waters to an underlying groundwater body or drawing in of poorer quality groundwater from an adjacent aquifer. This test looks at parameters in groundwater that indicate intrusion is occurring, for example, electrical conductivity, sulphate and chloride.
We carry out the assessment in two stages: (1) identify monitoring sites that indicate the impact of saline intrusion, for example, elevated concentrations and upward trends and (2) examine other evidence that indicates that saline intrusion is present, for example, an impact on a drinking water abstraction.
Information from both stages is used to determine status. Where there is evidence of elevated concentrations above natural background and either an upward trend in concentrations/parameter values indicating a worsening condition or there is already an impact on a point of abstraction, then the groundwater body will be at ‘poor’ status. Otherwise, it will be at ‘good’ status.
We also report our confidence (high or low) in the assessment. This is based on the weight of evidence available for making the status assessment. For example, where there is evidence of upward trends in a number of monitoring points and impact has been measured at receptors, confidence is high. Where the evidence is less comprehensive, for example, monitoring is limited, confidence is low. Confidence does not indicate how close the groundwater body status is to the good/poor status boundary.
Methodology
The steps we take in carrying out the Saline (or other) Intrusion test for a groundwater body are outlined below and summarised in Table 1:

1.	Construct a conceptual understanding (or model) of the groundwater body to understand the variation in risk across the body and the properties and behaviour of the groundwater system.
2.	Review the abstraction pressure and risk assessments for all groundwater bodies. The abstraction pressure analysis including defining a 5km buffer around the coastline and identifying areas where the abstraction was high relative to groundwater recharge. If the body is not subject to pressures and is not characterised as at risk, the body is at good status. The confidence in this ‘good status’ assessment is determined by the amount of evidence we have that confirms that there is no intrusion. Where there are more than five monitoring points and no evidence of elevated concentrations or impacts confidence is high. Where there is less evidence confidence will be low.

For those groundwater bodies confirmed as being at risk, carry out these steps:

3.	Compile groundwater body monitoring data along with any additional information and supporting evidence (see Table 1).
4.	Screen the results for individual monitoring points to ensure that they are representative for this test and that any elevated concentrations indicate the impacts of intrusion. To do this, compare the measured concentrations of chloride, sulphate, and electrical conductivity to the natural background conditions. This removes any elevated concentrations due to natural conditions.
5.	Check monitoring sites with elevated concentrations that indicate intrusion to see if they have increasing concentrations of indicator parameter values (upward trends).
6.	We must record any other additional evidence that indicates that the extent of saline intrusion in the groundwater body is increasing or that existing abstractions have been impacted by saline intrusion. This may include additional monitoring data that is not on the WFD monitoring network or previous reports / investigations into saline intrusion.
7.	Where there is an existing, uncontrolled, significant impact on a point of abstraction or an upward trend in one or more monitoring points, the groundwater body will be at poor status for this test.
8.	Confidence in the assessment is assigned based on the availability of monitoring data and any supporting evidence. Where there is extensive monitoring in the groundwater body relevant to this test and/or good documented evidence of impacts or upward trends, confidence will be high. Where monitoring is more limited and there is less evidence confidence will be low. Groundwater bodies are assigned as at risk if they are at poor status, otherwise they are assigned Not at Risk unless there is evidence of a significant upward trend that could result in poor status by 2027. In this case the groundwater body is at risk.
Changes from the previous cycle
The methodology adopted has not changed since the previous two cycles. We therefore anticipate that saline intrusion is now well understood so only a light touch review will be undertaken as part of the third cycle classification. For this reason, the abstraction pressure data and the water balance calculations and maps have not been updated and will not form part of the review.

Data used to carry out this test
The following maps and information are used in the saline or other intrusion test:
1.	Groundwater body boundaries
2.	Cycle 1 and cycle 2 characterisation and classification results
3.	Locations of and details of GW monitoring points
4.	Statistical summaries of groundwater monitoring data for individual sites including results of trend analysis
5.	Baseline chemistry by groundwater body or aquifer type (sourced from BGS Baseline reports and other published groundwater quality reports)
6.	Information on WFD or other investigations into saline intrusion
7.	Investigation reports from cycles 1 and 2
8.	Information on programmes of measures
9.	Water balance calculations and maps for groundwater adjacent to the coastline, sub-divided into 5km segments (not provided in the third cycle)

Table 1. Outline summary of the saline (or other) intrusion test.

Status	Confidence	Example criteria
Good	High	No pressure acting on groundwater body that could give rise to intrusion. / No source for saline or other intrusion. / 6 or more monitoring points.
		Based on the conceptual understanding – Risk of saline or other intrusion, monitoring points located within area at possible risk from saline intrusion show no evidence for elevated or increasing conductivity and/or chloride and 6 or more monitoring points. / Presence of a geological barrier that will prevent significant intrusion with supporting data (monitoring) to demonstrate effectiveness as barrier. / No detrimental impact on receptors (for example, groundwater abstractions). / No trend. / No expansion of the saline or other intrusion and no receptors impacted.
	Low	No pressure acting on groundwater body that could give rise to intrusion. / No source for saline or other intrusion. / <6 monitoring points.
		Based on the conceptual understanding – Risk of saline or other intrusion, but less than 5 monitoring points available to confirm assessment (further monitoring may be required) / Presence of geological barrier that will prevent significant intrusion with supporting data (monitoring) to demonstrate effectiveness as barrier / No detrimental impact on receptors (for example, groundwater abstractions) / No trend / No expansion of the saline or other intrusion and no receptors impacted
Poor	Low	Based on the conceptual understanding – Risk of saline or other intrusion and monitoring data provide some evidence for intrusion. / Evidence of rising trend in concentrations or groundwater receptors (for example, abstractions) currently impacted.
	High	Based on the conceptual understanding – Risk of saline or other intrusion and monitoring data show strong evidence that the area of intrusion has expanded / Upward trend in conductivity and chloride concentrations at points of abstraction and in surrounding monitoring points. / Groundwater receptors (for example, abstractions) currently impacted

## Test 2 – Impact of groundwater on surface water ecological/chemical status test
Purpose
We need to assess groundwater body status to comply with the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017.
Chemical classification of groundwater bodies is split into five tests. This section describes the steps we take to assess groundwater impacts on surface water body chemistry and ecology. We have to identify those groundwater bodies where pollutant concentrations in groundwater are causing an associated surface water body to not meet its good ecological or chemical status objectives (UKTAG paper 11b (i)). This test also includes the impacts of mining.

Background
Most rivers, estuaries, reservoirs and lakes derive their water from both surface water runoff and groundwater discharge. The contribution of each varies during the year and according to rock type underlying the surface water body. In some cases, nearly all the surface water can be made up of groundwater discharge and so the quality and quantity of groundwater entering the surface water will have a big influence on surface water quality.
We carry out this test to identify surface water bodies that receive a significant input from groundwater and whether pollutant concentrations in groundwater may contribute significantly to those associated surface water body(ies) not meeting their environmental objectives, that is, good status or better. There are many elements that are assessed in determining overall surface water ecological status but the key element for this test is chemistry. For a surface water body to be at good chemical status or better there must be no significant failures of the Environmental Quality Standards (EQS) that have been established for surface water.
Where pollutant concentrations in groundwater are elevated above natural background and this polluted groundwater is contributing significantly to a corresponding surface water body not meeting good status then the groundwater body will be at poor status. When making this assessment, we account for the dilution effects in the surface water by estimating the contribution of groundwater to the overall flow or volume in the surface water. We also consider attenuation (degradation) potential within the groundwater system where this is known. We then use these dilution and attenuation factors to derive appropriate groundwater threshold values from the EQS, using the formula Threshold Values (TV): TV = 0.5 x (EQS/Dilution Factor).
We use additional information to support the test where we have it. For example, local evidence, where there is long term evidence (that is, more than 3 years) that a surface water protected area or more than 500m length of river or stream has been impacted by pollution derived from groundwater then the body will be at poor status.
We also look at the impact of mining on surface water environmental objectives as part of this test. We can identify surface water bodies that are failing to achieve their objectives because of pollution from abandoned mines from a variety of information sources. These included the Coal Authority’s national priority list if sites where impact is significant enough to warrant remediation, the Defra Metal Mine Programme and information that we hold locally on mining activities.

Methodology
The steps we take to assess the impact of groundwater on the ecological and chemical status of surface water bodies over a groundwater body are detailed below and summarised in Table 2;

1.	Construct a conceptual understanding (or model) of the groundwater body to understand the variation in risk and the hydraulic links between groundwater and surface water in each groundwater body.
2.	Identify which surface water bodies are dependent on groundwater or mine water discharge from the groundwater body. Screen out any surface water bodies (for example, artificial water bodies) which are not groundwater fed.
3.	Review the results of surface water classification to identify water bodies that fail to achieve good ecological or chemical status. Review reasons for not meeting good status and screen out any surface water bodies not linked to a groundwater pollutant (for example, failure is a result of elevated concentrations of tributyltin which is unlikely to be a groundwater pollutant).
4.	Review the conceptual understanding and results of surface water classification for all groundwater bodies. If there is no hydraulic connection with a surface water body, the surface water body meets its status objectives, or the surface water failure is not attributable to groundwater then the groundwater body is at good status. The confidence in this ‘good status’ assessment is determined by the number of monitoring in the body. Where there are six or more monitoring points confidence is high otherwise it will be low.

Steps 1 to 4 will produce a list of groundwater bodies where there is a hydraulic connection to a surface water body with a status failure. All of these groundwater bodies will go forward for status assessment in Steps 5 to10 below.

5.	Compile groundwater monitoring data for the groundwater body along with any additional information and supporting evidence (see Table 2). Screen the results for individual monitoring points to ensure that they are representative for this test and that any exceedances of Threshold Values indicate pollution impacts. This process removes any elevated concentrations caused by natural conditions (natural background). If the concentrations are at, or below, those expected due to natural conditions or are below the Threshold Value(s) for this test the body is at good status.
6.	Identify groundwater bodies where there is an exceedance of one or more Threshold Values for this test. These groundwater bodies will be at poor status if an equivalent surface water body is identified as not meeting good status through the surface water body classification process. Where no matching less than good surface water occurs the groundwater body is at good status but will remain at risk.
7.	Review any evidence of groundwater impacts on surface water bodies that is additional to the results from strategic groundwater quality monitoring programme. Where there are long term (>3 years) groundwater impacts that extend over a length of more than 500m of surface water or more than a 500m stretch of a protected area is derogated, the groundwater body will be at poor status.
8.	Review available information (including WFD investigations) to determine whether there is sufficient evidence to demonstrate that groundwater discharges to surface are the cause of the surface water failure in which the groundwater body should be at poor status.
9.	Assessment information of current and historical mine water (coal and non-coal mines) discharges that have impacted surface water quality. This information should be reviewed together with the results of surface water classification and where the discharge has resulted in less than good status of the surface water body, the groundwater body should be classified as at poor status. Where programmes of measures have been successfully implemented (for example, treatment of discharge) then these discharges should no longer be considered and the groundwater should be at good status (unless there are other groundwater discharges causing failures).
10.	Assign confidence in the status assessment based on the availability of monitoring data and any supporting evidence. Where there is extensive monitoring in the groundwater body relevant to this test and/or good supporting evidence of impacts on surface water by mining or other source of groundwater pollution then confidence will be high. Where monitoring and/or the evidence is more limited confidence will be low. Groundwater bodies are assigned at risk if there are at poor status, otherwise they are assigned ‘Not at risk’ unless there is evidence of a significant upward trend that could result in poor status by 2027. In this case the groundwater body is at risk.
In reviewing the results, it should be noted that not all surface water bodies are monitored and where this is the case, we have assumed status will be good. In some cases, this test may indicate that groundwater pollution could potentially lead to a surface water not meeting good status but there is no surface water data to confirm this. In these cases, groundwater data should be used to guide future surface water monitoring.
Changes from the previous cycle
For the second cycle the UKTAG guidance (UKTAG paper 11b (i)) modified the method for calculating the surface water threshold and resulted in lower threshold values for that cycle, this has stayed the same for cycle 3.
Additional monitoring data are available for this cycle when compared to previous cycles and for some groundwater bodies, investigations have been undertaken to more fully evaluate the risk to surface water bodies. As a result, there may be some changes in our assessment of groundwater body status. We have also incorporated any updated Environmental Quality Standards.
New EQSs have been developed that better reflect how the toxicity of metals is dependent on a range of water quality parameters. Hardness, pH and dissolved organic carbon all need to be taken in to account when determining how much of a metal will be bioavailable. There are now bioavailable EQSs for Copper, Zinc, Manganese and Nickel. In order to compare out groundwater monitoring results to these standards our data must be run thru the Metal Bioavailability Assessment Tool (M-BAT) to work out how much of the metals will potently bioavailable when they enter to aquatic environment. These calculated values can then be compared to the new bioavailable EQSs. There have also been updates to the nitrogen standards for Lakes, these new standards will be waterbody specific and depend on the typology of the Lake. This update will only affect the assessment of Lakes that are in hydraulic continuity with groundwater.

Data used to carry out this test
The following maps and information are used to assess the impact of groundwater on surface water body ecological and chemical status:
1.	Groundwater body boundaries;
2.	Surface water body boundaries and typology;
3.	Cycle 1 and 2 groundwater body characterisation and classification results;
4.	Surface water classification results;
5.	Stream flow, (Q50, Q75, Q95) and base flow index (BFI);
6.	Conceptual understanding of groundwater/surface water interaction (for example, are surface water bodies groundwater or mine water fed), these were reviewed in April 2019 by Area Hydrogeologists.
7.	Results of review of metal and non-metal (for example, coal) discharges on surface water quality were refined in 2019;
8.	Location and details of groundwater quality monitoring points (for example, location, depth, geology, aquifer monitored);
9.	Statistical summaries of groundwater monitoring data for individual sites;
10.	Baseline chemistry by groundwater body or aquifer type (sourced from BGS Baseline reports and other published groundwater quality reports); and
11.	Results of WFD or other investigations on groundwater impacts on surface water from cycles 1 and 2.

Table 2. Outline summary of the status test for impact of groundwater on the ecological and chemical status of surface water bodies.

Status	Confidence	Criteria
Good	High	Groundwater body (GWB) not at risk (6 or more monitoring points). / No significant pressure acting on groundwater body
		GWB at risk (6 or more monitoring points). / No dependent surface water bodies
		GWB at risk (6 or more monitoring points). / All dependent surface water bodies meet objectives (for example, good ecological status and passes good chemical status test)
		GWB at risk (6 or more monitoring points). / Surface water body fails objectives (source of pollution not identified) but groundwater pollutant concentrations below threshold value or within baseline range (for example, groundwater pollution unlikely to be the cause of the associated surface water body failing to achieve its objectives)
	Low	Groundwater body (GWB) not at risk (<6 monitoring points). / No significant pressure acting on groundwater body
		GWB at risk (<6 monitoring points). / No dependent surface water bodies
		GWB at risk (<6 monitoring points). / All dependent surface water bodies meet objectives (for example, good ecological status and passes good chemical status test).
		GWB at risk (<6 monitoring points). / Surface water body fails objectives (source of pollution not identified) but groundwater pollutant concentrations below threshold value or within baseline range (for example, groundwater pollution unlikely to be the cause of the associated surface water body failing to achieve its objectives)
Poor	Low	Associated surface water body(s) fails relevant WFD environmental objectives. Groundwater pollutant concentrations above threshold value at any monitoring point. / Evidence that groundwater is the cause of failure: groundwater contributes > 50 % of the surface water environmental standard
		Evidence that groundwater from abandoned mines causes a failure in SW but the relative contribution is unknown.
		There is long term (more than 3 years) evidence that: 1) a surface water protected area, or 2) more than 500m of length of river or stream has been impacted by pollution via a groundwater pathway
	High	Associated surface water body(s) fails relevant WFD environmental objectives. Groundwater pollutant concentrations above threshold value at any monitoring point. / Strong evidence that groundwater is the cause of not meeting good status: groundwater contributes > / 75 % of the SW environmental standard
		Strong evidence that groundwater from abandoned mines causes a poor status in surface water.

## Test 3 – Groundwater dependent ecosystems (GWDTE): chemical
Purpose
We need to assess groundwater body status to comply with the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017.
Chemical classification of groundwater bodies is split into five tests. This section describes the steps we take to assess the chemical status of groundwater bodies with respect to Significant Damage to Groundwater Dependent Terrestrial Ecosystems (GWDTEs that is, wetlands). The method used for this test is based on UK guidance (UKTAG paper 11b (i)).

Background
For the WFD, groundwater bodies must be classified as good or poor for both chemical status (in relation to a large range of pollution pressures) and quantitative status (in relation to groundwater abstraction pressures).
Significant Damage to wetlands is one of five tests developed for groundwater body chemical classification, based on WFD requirements and guidance provided at a UK level.
This test considers the impact of chemical pressures (mainly nitrate) acting through the groundwater body on the condition of groundwater dependent ecological features (plant communities) on groundwater dependent terrestrial ecosystems (GWDTE). A GWDTE is a wetland ecosystem on the land surface that is directly dependent on a groundwater body and is not part of a surface water body. To assess the impact there is a need to determine whether, and if so how, chemical pressures in the groundwater body affect the quality of the water supporting the features and whether the change in water quality (if any) affects the groundwater dependent ecological features. If these pressures result in significant damage, then the groundwater body is at poor status for this test.
The national conservation body for England (Natural England) has produced a list of 1,980 sites (England only) which they consider should be assessed as GWDTEs. All these sites were previously assessed during cycle 2.
A methodology for the assessment of GWDTEs was developed for cycle 1 and comprised an initial risk assessment exercise to identify GWDTEs where phosphate concentrations in groundwater could affect the condition of the wetland, followed by a site-specific assessment to determine whether groundwater pollution is resulting in significant damage.
This methodology has been updated to take account of revised groundwater thresholds that are based on nitrate, rather than phosphate. Work for UKTAG (2012) has identified that there is a closer relationship between nitrate concentrations in groundwater and the condition of GWDTEs compared to the relationship with phosphate concentrations.
Where significant damage as a result of chemical pressures is confirmed the groundwater body was placed at poor status.

Methodology
This test considers the impact of chemical pressures (predominantly nitrates) acting through the groundwater body on the condition of groundwater dependent ecological features (plant communities) on wetlands. A GWDTE is a wetland ecosystem on the land surface that is directly dependent on a groundwater body and which is not part of a surface water body. To assess the impact there is a need to determine whether, and if so how, chemical pressures in the groundwater body affect the quality of the water supporting the features and whether the change in water quality (if any) affects the groundwater dependent ecological features.
The assessment has comprised two stages: a risk screening assessment; followed by a site-specific exercise.

Risk screening
The national conservation body for England (Natural England) produced a list of 1,980 Sites of Special Scientific Interest (SSSIs) (England only) which they consider to be groundwater dependent terrestrial ecosystems (GWDTEs).
The risk assessment of these wetlands was based on the source-pathway-receptor model where:
Source	=	groundwater chemical-related pressures
Pathway	=	hydraulic connectivity between groundwater body and wetland
Receptor	=	dependency of wetland ecology on groundwater

All wetlands were assessed and given a score, between 0 and 3, related to each of these three components and the individual scores were then added to give a total risk score between 0 (low risk) and 9 (high risk).
The groundwater dependency of each site was based on the NVC community according to the methodology set out in UKTAG 2012. The groundwater connectivity score was based on the thickness and permeability of the drift cover separating the aquifer from the groundwater body. The chemical related score was based on monitoring or pressure data. For this we identified a score based on the following hierarchy:

Information	Score
Monitoring point within 2km of GWDTE and representative of groundwater discharge to wetland	3 if mean concentration exceeds threshold, 2 if predicted concentration in 2021 exceeds threshold, 0 if no exceedance
Monitoring point within 5km of GWDTE	1 if mean concentration exceeds threshold
Groundwater body mean nitrate concentration	1 if mean concentration exceeds threshold
Average nitrate loading within for 5km buffer around GWDTE	1 if average exceeds loading threshold

The risk assessment was carried out in two stages. In the first stage, nationally available GIS data were used to give each site an initial risk assessment score. In the second stage, our area technical experts reviewed these initial risk scores. At this stage additional chemical pressures were also identified as potentially affecting sites.
The output from the risk assessment was a list of sites ranked according to their 'total chemical pressure risk score'. A high score is a relative indication rather than an absolute indication of the risk of significant damage.

Site Specific Analysis
The ecological condition of all sites was reviewed. Sites at no, low or medium risk of significant damage were screened out (that is, ‘groundwater body at good status, high confidence’). If however there is a clear indication, based on the condition assessment for medium risk sites, of a groundwater chemical pressure on the site, it was screened out as ‘groundwater body at good status, low confidence’. Sites at high risk of significant damage but in favourable condition, or in unfavourable condition for reasons not apparently related to chemical pressure acting through the groundwater body, will need to be subject to future surveillance but were assigned ‘groundwater body at good status, low confidence’. Sites at high risk of significant damage and in unfavourable condition for reasons that suggest a chemical related pressure could be the cause, were subsequently assessed against the 7 step wetland screening process recommended by the UKTAG paper Technical report on groundwater dependent terrestrial ecosystem (GWDTE) threshold values.
The final results of this screening relate to wetlands and therefore need to be mapped to the underlying (supporting) groundwater bodies. Where more than one wetland sits in a groundwater body, the worst-case status result has been taken. Where a groundwater body has no GWDTE associated with it, it has been assigned ‘good status, high confidence’.

Changes from cycle 1
For cycle 1, threshold values were defined for phosphate. On-going investigations have identified that nitrate concentrations are a better indicator of whether groundwater is affecting the condition of GWDTEs and threshold values for nitrate have now been proposed (UKTAG 2012) for use in cycle 2.
For cycle 1, the assessment was undertaken for 1,368 sites. For cycle 2, a further 1,952 sites were added following consultation with Natural England and the Countryside Council for Wales (now Natural Resources Wales).
In reviewing the results of this assessment we would note that the risk assessment may characterise whole sites based on localised impacts so that, for large sites, the spatial extent of risk may be over-estimated; and the characterisation of riverine or multiple site SSSIs may also be poorly targeted in that a risk is applied across the whole site, whereas individual land parcels may not all be at risk.
There is considerable uncertainty in this test and there are a number of potential future developments/research areas. There is a need to research the level of attenuation of nitrate levels between the groundwater body and discharge on site. There is little monitoring of water quality in the near- surface water table on sites and therefore there are few measurable data on the nutrient requirements of plant communities on wetlands or of the effects of elevated nutrients on plant communities. There is also a need to improve predictions of nutrient loads in areas with groundwater bodies that are not regularly monitored for water quality.
In future there is a need to extend the scientific knowledge of groundwater dependency of ecological features so that more sites can be scored. Ongoing improvement in the understanding of ecohydrological requirements of plant and animal communities is required. Investigations at some sites will also improve confidence in the risk screening and classification methods, and in the ability to determine significant damage from site-based data.

Changes from cycle 2
For cycle 3 the GWDTE test was geographically limited to England only (1,980 sites), due to Natural Resources Wales having separate responsibility for Welsh sites. The shapefile of GWDTEs available through the Defra data services platform was reviewed and cross-border sites were retained if they are managed by Natural England. GWDTEs in the Isles of Scilly were added into the shapefile.
Data for new chemical monitoring sites were added to the test, mainly data used under licence from the DWI and also new groundwater quality monitoring network sites. Local Area teams were asked to review the new monitoring locations and decide whether they better represent the chemical quality of groundwater in hydraulic connectivity with the GWDTE, or if not, to retain the monitoring locations linked to a specific site during cycle 2.
Each GWDTE site was checked against the Air Pollution Information System (APIS) website to see if the critical loading from direct atmospheric deposition of nitrogen (from national modelling) is exceeded. The UKTAG Groundwater chemical classification paper 11b(i) was updated to Note: “this test only assesses the groundwater contribution. Contributions from other sources (for example, surface water inputs and atmospheric deposition) may need to be considered when planning measures or assessing condition in accordance with the Conservation of Habitats and Species Regulations or condition monitoring of SSSIs using Common Standards Monitoring developed by the Joint Nature Conservation Committee (JNCC) for the whole of the UK." This change was made following a project to undertake nitrate source apportionment at GWDTEs, supported by field investigations at three sites in England and Wales and modelling studies (Environment Agency Science reports SC130039: Atmospheric deposition at groundwater dependent wetlands and SC160010: Terrestrial Nitrate source apportionment for groundwater fed wetlands).

Data used to carry out this test
The following maps and information are used in the GWDTE test:
1.	Geology 1:50 000;
2.	Groundwater body boundaries;
3.	Cycle 2 characterisation and classification results;
4.	GWDTE boundaries and typology;
5.	Elevation of GWDTE site;
6.	NVC community data;
7.	Aquifer type (Principal, Secondary, Unproductive);
8.	Drift cover, thickness and permeability;
9.	Conceptual understanding of groundwater/GWDTE interaction;
10.	Condition of the GWDTE;
11.	Location and details of groundwater quality monitoring points (for example, location, depth, geology, aquifer monitored).
12.	NEAP_N loading (agriculture and urban loading);
13.	Statistical summaries of groundwater monitoring data for individual sites;
14.	Results of WFD or other investigations on groundwater impacts on GWDTEs.

## Test 4 – Drinking water protected area test
Purpose
We need to assess groundwater body status to comply with the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017.
Chemical classification of groundwater bodies is split into five tests. This paper describes the steps that are taken in identifying the risks and classifying the chemical status of groundwater bodies for the ‘Drinking Water Protected Area’ test. This test identifies groundwater bodies which are not meeting the Drinking Water Protected Area (DrWPA) objectives defined in the WFD regulations and those that are risk of doing so in the future. All groundwater bodies (GWB) are DrWPAs and so this test applies to all groundwater bodies.

Background
For each drinking water protected area, the programme of measures for the river basin district within which it is located must include measures with the aim of avoiding deterioration in the quality of the water in that area, in order to reduce the level of purification treatment required in the production of drinking water abstracted from it. The achievement of this objective is one of the criteria for meeting good status for groundwater bodies that are identified as DrWPAs[1]. DrWPAs are water bodies that are used or intended to be used for the abstraction of more than 10 m3/day of water intended for human consumption or for supplying more than 50 people. Because of these low thresholds all groundwater bodies have been identified as DrWPAs.
[1] This objective is not specifically linked to status in the Water Framework Directive but has been established by the Groundwater Daughter Directive.
We carry out this test to identify where there is likely to be a need for water purification treatment in the future or an increase in the level of existing treatment because of deteriorating water quality caused by pollution. The test requires us to look at concentrations of pollutants in groundwater and how they are changing over time at a representative selection of groundwater drinking water abstractions. We compare the measured concentrations and any trends to identify exceedances of drinking water standards that are currently occurring or are likely to before 2027 and 2033. It is at these sources (and groundwater bodies) that there may be a need for future or increased treatment of raw water.
POOR status requires that concentrations in abstracted raw water show an upward trend that will result in exceedance of the threshold value by 2027 and 2033 or earlier as illustrated by Figure 2, otherwise the groundwater body will be at good status. A groundwater body is at risk if the trend results in exceedance of the threshold by 2027 or earlier (Figure 2). Groundwater bodies will also be at risk where there is currently no trend but there is a currently an exceedance of a threshold value due to pollution.
We also use additional raw water data supplied to us by water companies or the DWI as part of the risk assessment to supplement our own data. This is because we do not monitor all public drinking water abstractions.
The relatively low frequency of sampling at Environment Agency monitoring sites means that exceedances of drinking water standards may not be easily detected because the standard relates to maximum concentrations. The only reliable statistic that can be used effectively is the mean concentration. Therefore, a threshold value is set at a lower value than the drinking water standard, against which mean concentrations can be compared. The threshold value has been set as 75% of the drinking water standard as described in UKTAG guidance document 11 b(i).

Figure 2 Illustration of trends resulting in failure of the DrWPA test.

We also report our confidence (high or low) in the assessment. This is based on the weight of evidence available for making the status assessment. We use data from the Environment Agency’s National Monitoring Programme and additional information provided to us by Water Companies either directly or via the DWI. Where there is widespread evidence of exceedances and trends in both data sets then confidence is high. Where data are limited and there is only evidence in only one of the data sets then confidence is low. Confidence does not indicate how close the groundwater body status is to the good/poor status boundary.

Methodology
The steps we take in carrying out the DrWPA test for a groundwater body are outlined below.
We carry out the test using data from the Environment Agency’s National Monitoring Programme and from water companies.
1.	Identify potable groundwater abstractions within each groundwater body. These abstraction points are identified using the Environment Agency’s Boreholes, Wells and Springs database. Information from water companies is also obtained, particularly if the company identifies that trends may result in exceedance of water quality standards. These sites are mapped across to Environment Agency monitoring sites to obtain linkages to groundwater bodies. Where a site cannot be easily mapped to an Environment Agency monitoring site a more manual linkage exercise is undertaken.
2.	Groundwater monitoring data for these abstractions is extracted from WIMS and combined with Water Company data from the DWI. Basic statistics are calculated – minimum, maximum and mean for each pollutant and each monitoring point. A screening exercise is carried out at this stage to check that the results for individual monitoring points are representative for this test and that any exceedances of threshold values indicate pollution by substances covered by the Water Supply (Water Quality) Regulations 2018. This process removes any elevated concentrations due to natural conditions or data for substances that are not covered by WFD regulations objectives.
3.	Carry out trend analysis on the data to identify trends in pollutant concentrations that are statistically significant. Where statistically significant trends are identified, use the trend to predict a mean concentration in 2027 and 2033. Section 4 provides details of the how to undertake this analysis.
4.	Where there is a statistically significant trend, the monitoring points are used to determine status and risk for the groundwater body by using the matrix in Table 3. If anyone monitoring point has an upward trend and the mean concentration of pollutants has, or will by 2027, exceed the relevant threshold value for this test, the groundwater body will be at poor status, otherwise the groundwater body will be at good status.
5.	If the concentrations exceed the threshold by 2033, the monitoring will also be at poor status for the trend objective test and should be characterised as being at risk.
6.	The results should be reviewed to check that any exceedances are not a function of naturally elevated concentrations in groundwater (that is, the trend should be a result of anthropogenic activities). In some cases, trends can reflect changes in pumping and/or climate which result in groundwater of a different quality being drawn from another part of the aquifer (for example, groundwater with naturally high concentrations of metals is drawn from depth in the aquifer). This case should not result in poor status of the test. This rule does not apply where the abstraction draws in groundwater from a part of the aquifer that has been polluted (for example, increase in nitrate concentrations is a result of a deep borehole drawing high nitrate water from shallow depths in the aquifer).

Table 3. Summary of rules for classifying groundwater bodies under the DrWPA test.

Statistically significant trend in data	Mean concentration below Threshold Value	Mean concentration above Threshold Value
Downward trend	good (not at risk)	good (at risk)
No trend	good (not at risk)	good (at risk)
Upward trend	good (at risk where predicted concentration in 2033 greater than threshold, otherwise not at risk)	poor (at risk) / Where the mean concentration in 2027 is above threshold

Changes from previous cycle
In cycle 2 the nitrate threshold for this test changed from 42 mg/l to 37.5 mg/l NO3 in accordance with the UKTAG methodology.
For cycle 3, we have made more extensive use of Water Company data supplied via the DWI. For this test all raw (untreated) groundwater data that Water Companies supply to the DWI have been included in the test. The DWI supplied data were combined with data from our Groundwater Quality Monitoring Network. For water company sites that were not on our Groundwater Quality Monitoring Network analysis of trends and exceedance of threshold values was undertaken and these results are included as part of the test for the first time.

Data used to carry out this test
The following maps and information are used in the Drinking Water Protected Area Assessment of groundwater body status:
1.	Cycle 1 and 2 characterisation and classification results;
2.	Location and details of groundwater quality monitoring points (for example, location, depth, geology, aquifer monitored). These monitoring points should be reviewed to check that they are for potable use (and abstraction exceeds 10 m3/d) and assigned to the correct groundwater body;
3.	Statistical summaries of groundwater monitoring data for individual sites including results of trend analysis;
4.	Baseline chemistry by groundwater body or aquifer type (sourced from BGS Baseline reports and other published groundwater quality reports);
5.	Details of Safeguard Zones;
6.	Information from water companies of any sources where additional treatment will be required; and
7.	Groundwater body boundaries.
## Test 5 – General chemical assessment (GCA) test
Purpose
We need to assess groundwater body status to comply with the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017.
Chemical classification of groundwater bodies is split into five tests. This paper describes the steps we take for the General Chemical Assessment (GCA) test. This test identifies groundwater bodies where widespread deterioration in quality has, or will, compromise strategic use of groundwater.
The status of the groundwater body is poor if there is a widespread exceedance of relevant groundwater threshold values or quality standard (UKTAG paper 11b (i)).

Background
We carry out the GCA test to identify where there is deterioration in groundwater quality at a scale that may compromise strategic use of groundwater for existing or planned, human consumption and/or other potential purposes. The test is not intended to identify local pollution impacts. These are identified using other classification tests where they are relevant to achieving good status.
The test is mainly relevant to diffuse pollution from agricultural or urban sources, but large-scale groundwater pollution from point sources (for example, bromate plume and Helpston plume) can also be considered where these have resulted in widespread pollution. Minewater rebound can also be considered if this has not been captured by the Saline Test.
This test looks at concentrations of nitrate, pesticides and other chemicals in groundwater which put the groundwater body at risk. We carry out the assessment in two stages. For the first stage we look at the groundwater quality at individual monitoring sites on the Environment Agency’s National Groundwater Quality Monitoring Network to identify any exceedances of a threshold value or groundwater quality standard established for this test. Where exceedances are identified, the second stage of the test investigates how bad the problem is by looking at the average pollutant concentrations across the groundwater body, the number of monitoring sites where exceedances have been measured and additional information on risks (pressures) and known impacts. Where the pollution of groundwater is confirmed as being widespread the body is at poor status for this test otherwise the body is at good status.
We also record our confidence (high or low) in the status assessment. This is based on the weight of evidence available for making the status assessment. For example, where the groundwater body has good coverage by the monitoring network and/or the risk assessments and conceptual models are comprehensive, confidence is high. Where there is less monitoring and some uncertainty, confidence is low. Confidence does not indicate how close the groundwater body status is to the good/poor status boundary.
The general rules for assigning confidence for the General Chemical Assessment of a groundwater body are summarised in Table 4.

Methodology
The steps we take in carrying out the General Chemical Assessment for a groundwater body are detailed below and summarised in Table 4:
1.	Construct a conceptual understanding (or model) of the groundwater body to understand the variation in risk and natural quality across the groundwater body, and the properties and behaviour of the groundwater system
2.	Review the pressure and risk assessments for all groundwater bodies. If the body is not subject to pressures and is not characterised as at risk the body is at good status. The confidence in this ‘good status’ assessment is determined by the extent of monitoring in the body. Where there are more than five monitoring points confidence is high; otherwise it will be low.

For those groundwater bodies confirmed as being at risk, carry out these steps:
3.	Compile groundwater monitoring data for the body along with any additional information and supporting evidence (see Table 1). Screen the results for individual monitoring points to ensure that they are representative for this test and that any exceedances of threshold values indicate widespread pollution impacts. This process removes any elevated concentrations due to natural conditions.
4.	If the 6-year mean concentration of any pollutant at an individual monitoring point exceeds a relevant threshold value for this test, then calculate the mean value for the whole groundwater body. This quantifies the extent of the problem and whether there are any significant risks to the environment or impairment to human use. Calculate the contribution that each monitoring point makes to the assessment by applying a weighting factor to derive a more representative weighted average based on abstraction volumes.
Note – We do not have enough information to derive weighting factors, so we have used a straightforward arithmetic mean. This has been supplemented by local knowledge to determine the nature and area of impact on the groundwater.
5.	Where the impact on groundwater is shown to extend over more than one third of the groundwater body, based on pressure or land-use, representative monitoring point data or other evidence, the groundwater body is at poor status.
6.	Confidence in status assessment is assigned based on the availability of monitoring data and any supporting evidence. Where there is good evidence of widespread impacts supported by both monitoring and other evidence confidence is high. Where monitoring is less extensive and/or threshold exceedances are identified at fewer sites confidence will be low (see Table 4). Groundwater bodies are assigned at risk if there are at poor status, otherwise they are assigned Not at risk unless there is evidence of a significant upward trend that could result in poor status by 2027. In this case the groundwater body is at risk.

Changes from cycle 1 and 2
The main changes in cycle 2 were:
1.	Threshold value for nitrate changed from 42 mg/l to 37.5 mg/l as NO3;
2.	The UKTAG indicates a minimum area of 20% can be used to classify a groundwater body as failing this test;
3.	Requirement that at least one sample point must exceed the drinking water standard.
For cycle 3 the main changes were:
1.	To supplement data from Environment Agency Groundwater Quality Monitoring Network boreholes with additional samples from DWI supplied water company data.
2.	A minor modification to the way that plumes are assessed as part of this test. This was in response to changes in UKTAG guidance (UKTAG paper 11b (i)). Under the updated rules this test will result in poor status if there is a plume where the threshold value is exceeded over an area >2km2. If there isn’t sufficient monitoring data available to assess plume area then it may be possible to use other lines of evidence to estimate the area. This could include developing a 3D source-pathway-receptor conceptual model of the plume.

Data used to carry out this test
The following maps and information are used in the General Quality Assessment of groundwater body status:
1.	Geology 1:50 000;
2.	Groundwater body boundaries;
3.	Cycle 1 and 2 characterisation and classification results;
4.	Land use and groundwater vulnerability maps;
5.	Latest Nitrate vulnerable zones (NVZs);
6.	Location and details of groundwater quality monitoring points (for example, location, depth, geology, aquifer monitored);
7.	Statistical summaries of groundwater monitoring data for individual sites;
8.	Baseline chemistry by groundwater body or aquifer type (sourced from BGS Baseline reports and other published groundwater quality reports);
9.	Results of WFD or other investigations on groundwater quality.

Table 4 General rules for the general chemical classification test. Note: additional information can be used to support the assessment.

Groundwater Chemical Status	Confidence	Example criteria
Good	High	Groundwater body (GWB) not at risk (6 or more monitoring points). / No pressures acting on groundwater body.
	Low	GWB not at risk (<6 monitoring points). / No pressures acting on groundwater body.
		GWB at risk (<6 monitoring points). / Groundwater pollutant concentrations below threshold value or within baseline range at all monitoring points.
		GWB at risk (6 or more monitoring points). / <33% of monitoring points exceed threshold and percentage area of pressure impact is <50% (groundwater vulnerability and presence of low permeability drift are taken into account). / GWB average concentrations below threshold value.
Poor	Low	GWB at risk (<6 monitoring points). / Groundwater pollutant concentrations above threshold value at all monitoring points.
		GWB at risk (6 or more monitoring points). / >=33% of monitoring points exceed threshold value.
		GWB at risk (6 or more monitoring points). / <33% monitoring points exceed threshold value but percentage area of pressure impact >=50% of the GWB (groundwater vulnerability and presence of low permeability drift are taken into account).
	High	GWB at risk (6 or more monitoring points). / >=50% of monitoring points exceed threshold value and percentage area of pressure impact >=50%.

## Test for environmentally significant trends

Purpose
This paper describes the procedure used to determine whether there is a statistically and environmentally significant upward trend in pollutant concentrations in a groundwater body. This groundwater body trend test is a requirement of the Water Environment (Water Framework Directive) (England and Wales) Regulations 2017. Under this legislation there is a requirement to identify environmentally and statistically significant trends (both upward and downward) and put in place measures to reverse upward trends.

Background
The first stage of this work was to process groundwater monitoring data to identify statistically and environmentally significant trends in pollutant concentrations. Environment Agency experts were then asked to confirm that the trends were a) representative of the conditions in the groundwater body and b) anthropogenic in origin. They were also asked to identify potential pressures.
The assessment of trends is carried out separately for each individual chemical status test, then the overall results are combined to give the overall trend assessment result for the whole groundwater body. Trend assessment was also carried out separately on relevant individual monitoring points as part of the drinking water protected area and saline intrusion status tests. These trend results are directly considered as part of these two groundwater chemical status tests.
A trend in pollutant concentration is defined as environmentally significant where it would lead to a groundwater body not achieving good status, or another WFD regulations objective not being met, before the end of two future river basin cycles.

Method
Trend assessment was performed using the R programming language and software to determine significant upward trends using the Sen’s and Mann-Kendall statistical tests. These tests were selected as the most appropriate statistical methods for the available groundwater data. This is a slight change from cycle 2 which used AQUACHEM software to undertake a very similar trend analysis method. The results have been compared between the two methods and they produce comparable results.
Where statistically significant trends were identified, the trend was predicted forward to predict concentrations on 22 December 2027 and 22 December 2033. These predicted concentrations were then used to determine whether one or more of the status tests (threshold values) is likely to fail before the end of 2033 if the upward trend continues. If the predicted concentration and trend are expected to lead to a predicted failure without intervention, then the trend is environmentally significant. The possible outcomes of trend assessment are shown in Figure 3 and Table 5.

Procedure
The analysis was undertaken on combined data from the Environment Agency’s Groundwater Quality Monitoring Network and Water Company data supplied by the DWI for the period 1 January 2009 to 31 December 2018 (10 Years).
Trend analysis was only carried out for monitoring points with a minimum of 10 analyses (results) over a period of at least four years, not necessarily consecutive years. For values reported as below the limit of quantification (LOQ), a value of half the LOQ was used in the trend assessment. Where more than 80% of the dataset for a monitoring point was made up of values below LOQ it was assumed that there was no trend, and the point was not assessed for trend. The confidence limits for confirming a statistically significant trend were 90% (two-sided).

Figure 3 Failure of trend test

Table 5. Summary of the trend assessment outcomes.

Environmentally significant Trend	Example criteria
No	Significant downward trend and pollutant concentration below threshold / No Significant trend and pollutant concentration below threshold
	Significant downward trend with pollutant concentration above threshold / Significant upward trend and pollutant concentrations predicted to be below threshold value at end of 2033
Yes	Significant upward trend with pollutant concentration above threshold value now or before end of 2033

The following procedure was used:
1.	GWQMN data and water company data were analysed for statistically significant trends in concentrations of pollutants/parameters using the R software program.
2.	Data for monitoring points with statistically significant trends was reviewed to check that the trend was representative of conditions in the groundwater body and that it was anthropogenic in origin. Chemicals which were not considered to be anthropogenic were screened out.
3.	Predictions of pollutant concentrations in 2033 were calculated for monitoring points with a statistically significant trend.
4.	Predicted concentrations were compared with the relevant threshold values for each of the relevant status tests.
5.	Groundwater bodies were considered to have an environmentally significant upward trend where one or more monitoring points were predicted to exceed one or more threshold values before the end of 2033. A further criteria is that this exceedance would lead to a potential failure of one or more status tests.

The general rules for assessing environmental significance are:
1.	Saline test – upward trend indicates increasing saline intrusion resulting in failure of the groundwater body by 2033 or earlier. A threshold value of 75% of the drinking water standard should be used, unless the upper baseline value exceeds this.
2.	DrWPA test – upward trend will result in exceedance of the threshold value in a potable abstraction by 2033 or earlier with the requirement for new or additional treatment.
3.	GCA test – upward trend will result in the groundwater body average exceeding the threshold value by 2033 or earlier and an upward trend in at least one monitoring borehole exceeding the threshold value.
4.	GWDTE test – upward trend in a representative monitoring point(s) result in exceedance of the nitrate threshold by 2033 or earlier, and supporting information provides evidence that this will result in a deterioration in the condition of the GWDTE.
5.	Surface water test – upward trend in a representative monitoring point(s) result in exceedance of the threshold value by 2033 or earlier and supporting information indicates that this could result in failure of the associated surface water body to meet status objectives.

Reversal of trends
For groundwater bodies at poor status for this test in cycle 1 and/or cycle 2, the cycle 3 assessment should consider whether there are previous reports/investigations, evidence of a reversal in trends (for example, groundwater body passes the trend test) and the reasons for this (for example, implementation of measures). However, in some cases the collection of additional data may indicate that the original trend was incorrect (for example, was affected by seasonal variations in water quality) or that the reversal is a result of climatic factors (for example, below average groundwater levels), with the potential that once groundwater levels recover, the upward trend will return.

Changes from cycle 1 and 2
The main changes from cycle 1 are:
1.	Threshold value for nitrate changed from 42 mg/l to 37.5 mg/l as NO3;
2.	Threshold values defined for GWDTEs
The main changes from cycle 2 are:
1.	Replacement of AQUACHEM with the statistical software R for trend analysis;
2.	Additional water company data supplied via the DWI

Data used to carry out this test
The following information are used in the trend assessment:
1.	Groundwater body boundaries;
2.	Cycle 1 and 2 characterisation and classification results;
3.	Location and details of groundwater quality monitoring points (for example, location, reference numbers and details of the determinands, depth, geology, aquifer monitored);
4.	Location and details of DWI points
5.	Statistical summaries of groundwater monitoring data for individual sites;
6.	Baseline chemistry by groundwater body or aquifer type (sourced from BGS Baseline reports and other published groundwater quality reports).