JSP 426 / Defence Fire Safety and Fire Risk Management / Part 1: Directive

JSP 426 Pt 1 (V1.0 Mar 16)

Foreword
The Secretary of State for Defence (SofS) through his Health, Safety and Environmental Protection Policy (HS&EP) Statement requires Top Level Budget Holders and Trading Fund Chief Executives to conduct defence activities with high standards of HS&EP. They are expected to achieve this by implementing robust, comprehensive Safety & Environment Management Systems.
As Director General of the Defence Safety Authority (DSA), I am responsible for providing MOD regulatory regimes for HS&EP in the Land, Maritime, Nuclear and Ordnance domains where there are exemptions, derogations or dis-applications from legislation. The regulations set out in this JSP are mandatory and full compliance is required. It is the responsibility of commanders and line managers at all levels to ensure that personnel, including contractors, involved in the management, supervision and conduct of defence activities are fully aware of their responsibilities.

The Defence Fire Safety Regulator is empowered to enforce these regulations.
Units should destroy previous editions of this publication.
Air Marshal R F Garwood CB CBE DFC MA RAF Director General Defence Safety Authority
Defence Authority for Safety
i	JSP 426 Pt 1 (V1.0 Mar 16)
Preface
How to use this JSP
1.	JSP 426 is designed to be used by all civilian and military personnel in the MOD.
The Fire Risk Management (FRM) policies and procedures contained in this JSP apply to all MOD establishments (including those consisting of a single building) and, where reasonably practicable, to exercises and deployed operations. They are to be adhered to by all MOD organisations and their personnel, including agency staff. Responsible Persons are also to ensure that contractors who work on the MOD estate, or who are involved in exercises and deployed operations, comply with the regulations specified in this JSP. This JSP will be reviewed at least annually.
2.	The JSP is structured in two parts:
1. Part 1 - Directive, which provides the direction that must be followed in accordance with statute or policy mandated by Defence or on Defence by Central Government.

2. Part 2 - Guidance, which provides the guidance and best practice that will assist the user to comply with the Directive(s) detailed in Part 1.
Coherence with other Defence Authority Policy and Guidance
3. Where applicable, this document contains links to other relevant JSPs, some of which may be published by different Defence Authorities. Where particular dependencies exist, these other Defence Authorities have been consulted in the formulation of the policy and guidance detailed in this publication.

Related JSPs	Title
815	Defence Health and Safety and Environmental Protection
375	Management of Health & Safety in Defence
482	MOD Explosive Regulations

Training
Fire Safety training is common to all with a focus on the need for personnel to respond safely and effectively to a fire emergency. To enable this, it is MOD policy that all personnel are appropriately trained in fire safety.
Further Advice and Feedback – Contacts
The owner of this JSP is Director General DSA. For further information on any aspect of this guide, or questions not answered within the subsequent sections, or to provide feedback on the content, contact:

Job Title/E-mail	Focus	Phone
DSA-DFSR-TL@mod.uk	Regulation, Enforcement & Policy lead	01264 381405
DSA-DFSR-ATL@mod.uk	Policy, Regulation, Resilience & Assurance	01264 383866

ii	JSP 426 Pt 1 (V1.0 Mar 16)
Record of Changes
Serial	Amendments	Date
1	Initial version	Jan 99
2	Revision and policy changes	May 10
3	Reformatting and revision	Mar 12
4	Reformatting into Parts 1 & 2 and DSA editorial matters	Mar 16

Amendment Sheet
Amendment		Incorporated By		Date
No	Date	Name	Signature

iii	JSP 426 Pt 1 (V1.0 Mar 16)
Contents
Foreword	i
Preface	ii
How to use this JSP	ii
Coherence with other Defence Authority Policy and Guidance	ii
Training	ii
Further Advice and Feedback – Contacts	ii
Record of Changes	iii

Contents	iv
Chapter 1 - Organisation and Arrangements	1
Chapter 2 - Legislation, Regulation and Policy	3
Chapter 3 - Fire Safety Organisation at MOD Establishments	6
Chapter 4 - Operational and Exercise Planning	8
Chapter 5 - Fire and Rescue Services	9
Chapter 6 - Aerodrome Rescue and Firefighting Services	10
iv	JSP 426 Pt 1 (V1.0 Mar 16)
1 Organisation and Arrangements

Roles and Responsibilities
1. The Secretary of State (SofS) for Defence in his policy statement declares that safety and environmental protection is both a line management and individual responsibility. A series of delegations are in place to ensure that authority and accountability for safety and environmental protection are clearly defined. In the MOD these are supplied in the format of a formal ‘letter of delegation’. Such delegations can only be made to those staff that are competent and have sufficient resources to undertake those duties that have been delegated.
2. Secretary of State. The SofS has responsibility for, and is answerable to Parliament on matters of Safety and Environmental Protection within the MOD.
3. Director General Defence Safety Authority. On 1 April 2015, the Defence Safety and Environmental Authority and the Military Aviation Authority merged to form the Defence Safety Authority (DSA). The DSA carries out duties for safety and environmental protection in all domains under a charter from the SofS. Director General Defence Safety Authority (DG DSA)’s primary role is to provide regulation and independent evidence-based assurance that TLBs and Trading Fund Agencies (TFAs) are operating effective and joined up safety and environmental protection management systems.
4. Defence Fire Safety Regulator. The Defence Fire Safety Regulator (DFSR) is accountable to DG DSA for appointing suitably qualified and experienced Crown Servants to regulate fire safety and providing direction and oversight of their regulatory and assurance activities.
5. Responsible Persons. All personnel have responsibilities for safety and environmental protection. Some personnel have additional specific responsibility for the management of safety and environmental protection risks within their Area of Responsibility (AoR). This includes a personal duty of care for all people, including contractors and members of the public, who come within their AoR. In addition, the personal duty of care extends to environmental protection not just within their AoR, but also for other areas affected by activities in their AoR. All responsible persons are accountable for ensuring that safety risks from these activities are reduced to a level that is As Low As Reasonably Practicable (ALARP) and that risks to the environment are appropriately managed by selection of the Best Practicable Environmental Option (BPEO). In the MOD, some personnel are also authorised to be Duty Holders (DHs). DHs are nominated at discrete levels in each TLB or TFA, in parallel with the command or management hierarchy, in order to provide necessary separation and a degree of beneficial tension between safety and delivery.
6. JSP 815 Defence Health, Safety and Environmental Protection defines the three levels of DH as follows:
a. Senior Duty Holder (SDH). The SofS Policy Statement identifies the TLB Holder or TFA Chief Executive as the Senior Duty Holder (SDH) for activities in their AoR;
1	JSP 426 Pt 1 (V1.0 Mar 16)
1. Operating Duty Holder (ODH). An ODH is personally responsible for ensuring that resources are adequate to conduct activities safely, that effective management arrangements are implemented and that personnel (in particular DHs) under their command / management are suitably qualified, experienced, trained and equipped;

2. Delivery Duty Holder (DDH). A DDH is personally responsible for ensuring that resources are adequate to conduct activities safely, that effective management arrangements are implemented and that personnel under their command / management are competent. A DDH owns the safety case for their defence activity if this is not owned by their ODH, being personally satisfied that risk has been reduced to an acceptable level.
Fire Safety Committee Hierarchy
1. The hierarchy for safety and environmental committees related to fire safety begins with the Defence Safety Committee (DSC) and flows down to the DFSR SC and its reporting committees. These are described below:
2. Defence Safety Committee. The Defence Safety Committee (DSC) has replaced the Defence Environment and Safety Board and is chaired by DG DSA. The DSC is the lead committee in MOD for the governance of Safety and Environmental Protection.
3. Defence Fire Safety Regulator Stakeholder Committee. The DFSR SC is chaired by DSA Chief Technical Officer to provide a consultative forum where stakeholders can consider high-level fire safety performance matters, express their views on the regulatory regime, comment on proposed policy changes and be informed about emerging legislation and the outcome of regulatory activities. To ensure consistency and an integrated approach to safety across MOD, the secretaries of the other regulatory stakeholder committees are also members.
Reporting Committees to the DFSR SC
1. Fire Safety Regulator Stakeholder Working Group. The DFSR SWG provides a consultative forum to determine, comment and agree proposed policy or regulatory changes and be informed about emerging legislation and the outcome of regulatory activities.
2. Defence Fire Safety Regulator Management Group. The DFSR MG carry out the function of the JSP 426 Editorial Committee and provide a forum for the review and update of Regulations, Defence Codes of Practice and guidance contained in JSP 426 on behalf of the Defence Fire Safety Regulator Stakeholder Working Group (DFSR SWG) and Defence Fire Safety Regulator Stakeholder Committee (DFSR SC).
2	JSP 426 Pt 1 (V1.0 Mar 16)
2 Legislation, Regulation and Policy

Legislation, Regulation and Policy
1. Legislation requires that, regardless of purpose, all relevant persons who are on, or in the vicinity of, MOD establishments be appropriately protected from fire. Statutory fire safety regulations are primarily aimed at reducing the risk from fire and ensuring, as far as is reasonably practicable, the safety of persons. Whilst certain provisions of fire safety legislation do not bind the Crown, the SofS requires that the Department maintain arrangements that produce outcomes that are, so far as reasonably practicable, at least as good as those required by UK legislation. Furthermore, compliance with certain requirements of fire safety legislation do not apply to armed forces, police forces and members of the emergency services but only insofar as compliance with the legislation or regulation would prevent them from carrying out their primary (operational) duties.
2. Fire may also seriously degrade capability and inflict financial losses. The most obvious is direct damage to uninsured property and assets. However, damage can also be sustained from indirect or consequential losses caused by the inability of MOD to reinstate capability or sustain critical operations. In extreme circumstances, this can place operational personnel at increased risk. The risk to the environment from fire also requires an appropriate level of management as does the reputational value of the Department from political and public perceptions. The MOD has internal policy, regulations and standards in order to reduce the risk from fire to operational capabilities and assets including those which are uninsured. The policy and regulations contained in this JSP and any requirements of local fire safety legislation shall be implemented overseas as far as is reasonably practicable.
3. All persons employed or contracted by the MOD and who are responsible for the management of establishments, sites, units, formations and separate buildings forming an establishment, shall comply with legislation, regulations, policy and standards. It is the responsibility of management to ensure that they conform to all applicable requirements.
Responsible Persons and Other Persons Having Control of Premises
1. The Regulatory Reform (Fire Safety) Order 2005 and allied legislation as applied to Defence in Scotland1 and Northern Ireland2 define groups of persons with specific responsibilities and duties including ‘persons having control of premises’.
2. This includes any person who has an obligation for the maintenance, repair and safety of the premises.
3. Examples of whom the Fire Safety Order imposes fire safety duties and responsibilities of ‘other person having control of the premises’ include:
1. TLBs / TFA Chief Executives.
2. Heads of Establishment / Commanding Officers.
1 Fire Scotland Act 2005 and Fire Safety (Scotland) Regulations 2006.
2 Fire and Rescue Services (Northern Ireland) Order 2006 & Fire Safety Regulations (Northern Ireland) 2010.
3	JSP 426 Pt 1 (V1.0 Mar 16)
1. Building Managers/Budget Managers.

2. Persons conducting Fire Risk Assessments.
3. Landlords (i.e. Defence Infrastructure Organisation (DIO)).
4. External persons contracted to provide maintenance to fire safety systems; for example, Fire Detection and Alarm Systems and Emergency Lighting.
Fire Safety Management Plan (FSMP)
1. Legislation requires that all MOD owned and occupied premises (other than domestic dwellings) shall have a suitable and sufficient Fire Risk Assessment (FRA) and this is achieved by virtue of the MOD Site Fire Safety Management Plan (FSMP). The FSMP shall comprise an overall site assessment, individual building FRAs; and where relevant, business (operational) resilience information.
2. The FSMP shall be periodically reviewed, and validated, by a qualified and competent fire safety risk assessor. The maximum periods for reviews of Fire Risk Assessments are dependent on the risk grading. The required periodicity for reviews and validations may be changed. However, the decision to increase the periodicity for reviews and validations will be advised to the responsible person on an evidence based assessment by competent fire safety personnel.
Enforcement
The Secretary of State for Defence has delegated powers by charter to the Director General of the Defence Safety Authority (DG DSA). On behalf of the SofS, DG DSA appoints inspectors to undertake the duties of fire safety regulation and enforcement on the Defence Estate for matters relating to the Regulatory Reform (Fire Safety) Order and allied legislation as it applies to the MOD in Scotland and Northern Ireland. The Defence Fire Safety Regulator (DFSR) discharges the duties of the Fire Safety Enforcing Authority for National Fire Safety Legislation, Statutory Fire Safety Regulations and MOD Regulations and any applicable Policy and Standards. The DFSR also discharges the statutory ‘Duty to Consult’ with Building Control Authorities. Enforcement and regulation overseas will follow UK arrangements where reasonably practicable and, in addition, recognise the host Nations’ relevant fire safety expectations.
Duty to Consult With the Defence Fire Safety Regulator
In accordance with Article 45 of the Regulatory Reform (Fire Safety) Order 2005, all building control bodies (including approved inspectors) have a duty to consult with the DFSR before passing plans for works on the MOD estate involving:
1. the erection of a building
2. an extension to a building.
3. structural alterations to a building
4. proposal to change the use of a building requiring building regulations’ approval.
4	JSP 426 Pt 1 (V1.0 Mar 16)
Resilience of Defence Capability to Fire
1. Basic fire protection measures that are normally incorporated in a building’s construction may provide inadequate protection for particularly expensive, operationally critical or commercially important Defence capability. At geographically remote establishments, this situation may be exacerbated by an unacceptably long response time from a Local Authority or host Nation fire and rescue service. In such circumstances, it is vital for the Responsible person to consider the cost effectiveness of additional fire protection measures.
2. By incorporating a Business Impact Analysis (BIA), the assessment resilience of Defence capability to fire is designed to produce appropriate regulatory guidance to enable responsible persons (risk owners) to make informed fire risk management decisions.
3. The BIA shall be used during the planning stage for a new capability and associated infrastructure to determine if additional fire protection measures are required. Where there is any doubt about the effectiveness or proportionality of existing fire protection measures, it shall be applied to all existing buildings that provide Defence critical capability and, thereafter, when the risk owner judges that the capability provided by a building or military platform will change significantly. Where relevant, business (operational) resilience information is also obtained as part of the Site FSMP process and this may be used to enable responsible persons to decide whether a more in-depth assessment is required.

5	JSP 426 Pt 1 (V1.0 Mar 16)
3 Fire Safety Organisation at MOD Establishments

1.	Heads of Establishment are responsible for the management of fire safety on their establishments in accordance with the relevant legislation and policy. They shall ensure that effective fire safety arrangements and organisational structures are in place to appropriately protect lives and critical Defence capability including the planned response in the event of a fire emergency.
2.	Heads of Establishments may delegate their authority for fire safety down their management chain; however, such delegation does not absolve them of their responsibility. They shall ensure that personnel appointed to undertake specific fire safety duties or actions are suitably trained and competent, and have adequate direction.
3.	Heads of Establishments shall have a Fire Safety Committee or similar forum, chaired at senior level and with representatives from the different areas of the establishment, to review establishment fire precautions and fire safety at periodic intervals. Alternatively, fire safety matters may be a regular agenda item for discussion by the establishment Safety Committee. Heads of Establishment shall ensure that the functions and scope of their fire safety organisation are clearly defined and that there is no confusion with other safety arrangements, for example for Health and Safety.
4.	Heads of Establishment shall appoint:
1. An Establishment Fire Focal Point (EFFP). Such personnel, if not qualified fire professionals, shall be given appropriate training to enable them to meet their responsibilities. They should be responsible for the oversight of and advice to management for the day-to-day upkeep of fire safety measures throughout the establishment.
2. Building or Facility Fire Focal Points (BFFP). Such personnel shall be given appropriate training to enable them to meet their responsibilities. They should be responsible for the oversight of and advice to management on the day-to-day upkeep of fire safety measures throughout their Building or Facility. They shall be responsible for fire safety and fire precautions.
3. Other ‘Appointed Persons’ (as necessary) to undertake responsibilities or actions to maintain the fire safety measures or action in the event of fire.
4. Personnel to act as deputies for the above and to assume duties in the event of absences.
5.	Responsible or Appointed Persons shall ensure that arrangements are in place covering:
1. Suitable Fire Orders.
2. Suitable Contingency Plans, liaising with appropriate external emergency planners and responders and nearby MOD Establishments.
6	JSP 426 Pt 1 (V1.0 Mar 16)
1. Effective management and recording systems in respect of the periodic inspection, testing and maintenance of passive and active fire safety measures.

2. Effective management systems for the assessment of risk, control of contractors and ‘hot’ working.
3. Suitable arrangements for the reporting of fires and the notification of new builds, refurbishments and change of use of buildings to the appropriate DFSR office.
6.	Responsible or Appointed Persons shall have in place and carry out:
1. Suitable and sufficient Fire Safety Training.
2. Building Evacuation Plans including, where appropriate, personal escape plans for disabled personnel.
3. Fire Evacuation Exercises.
   Lodger Units
7. Lodger units shall comply with the host establishment’s procedures, orders and emergency arrangements in all matters relating to fire safety.
Parented Units
8. Where located outside of an MOD Establishment, units shall implement the policy and responsibilities contained within this JSP. The Parenting establishment may carry out certain aspects of the fire safety requirements and responsibilities. Where located on an MOD Establishment, the policy for Lodger Units applies. In all cases, the responsibilities and duties shall be clearly documented in the unit and establishment fire safety plan.
7	JSP 426 Pt 1 (V1.0 Mar 16)
4 Operational and Exercise Planning
Exercise Planning
When planning and implementing all exercises, responsible persons shall include fire prevention, protection and response in the estimate process both during the move to the exercise area and at the destination itself. This should involve liaison with other Defence regulators, friendly forces and host Nation fire authorities.
Operational Planning
Those responsible for planning any operational deployment are to include fire safety, prevention, protection and response in the estimate process. This should involve liaison with friendly forces and host Nation fire authorities.

8	JSP 426 Pt 1 (V1.0 Mar 16)
5 Fire and Rescue Services
Provision of Fire and Rescue Services
1. There are circumstances both in the UK and overseas, where the firefighting and rescue response requirements for some Defence establishments cannot be met by local civil fire authorities / host Nations. In the UK, the Fire and Rescue Services Act only requires Fire Authorities to meet normal fire risk requirements in their areas of responsibility. Consequently, Local Authority Fire and Rescue Services (LAFRS) could lack the resources required to effectively respond to emergencies at some Defence establishments. Additionally, the geographical remoteness of some Defence establishments can mean that, even where the LAFRS has the operational capability to match the risks, it is located too far away to be effective. This creates a requirement for Heads of certain Defence establishments, both within the UK and overseas to consider the risk mitigation benefit from a dedicated on-site fire and rescue service.
2. Current standards for the provision of fire and rescue services can be obtained from: DFRMO-HQOPSGroupMailbox@mod.uk

9	JSP 426 Pt 1 (V1.0 Mar 16)
6 Aerodrome Rescue and Firefighting
Services
Provision of Aerodrome Rescue Firefighting Services (ARFF)
1. Military Aviation Authority (MAA) policy requires an appropriate method of management to ensure the safe and effective operation of Air Systems and vehicles on the Movement Area and Air Systems flying in the vicinity of the Aerodrome. Regulatory Article (RA) 3261(2) requires that Emergency Services shall be provided at MOD Aerodromes.
2. Current standards for the provision of aerodrome rescue and firefighting services can be obtained from: DFRMO-HQOPSGroupMailbox@mod.uk

10	JSP 426 Pt 1 (V1.0 Mar 16)