This publication was withdrawn on 3 March 2023.

**Specification for Fit Testing Solutions**

1. **Product Description**

|  |  |
| --- | --- |
| **Name** | **Description/Scope** |
| Fit Testing Solutions | 1. Sensitivity solution (bitter) 13.5 mg denatonium benzoate (Bitrex™) in 100 ml of 5% salt (NaCl) solution made with distilled water.
2. Fit test solution (bitter) 337.5 mg denatonium benzoate (Bitrex™) in 200 ml 5% salt solution made with distilled water.
 |