## EPA_results_2022
Environment Agency Environmental Performance Assessment (EPA) results 2022 for water and sewerage companies
Note: discharge permit compliance is a core metric, required to be green for a water company to achieve a 4 star performance rating
Metric and units1	Total pollution incidents (sewerage) - per 10,000km of sewer	Serious pollution incidents (sewerage and water supply assets) - actual number	Self-reporting of pollution incidents (sewerage and water supply assets)3 - percentage	Discharge permit compliance numeric limits (STW4 and WTW6 treated wastewater) - percentage	Satisfactory sludge use and disposal - percentage	Delivery of the WINEP7 - percentage of plan delivered on time	Supply Demand Balance Index (SDBI) - score	Performance star rating (out of 4)
Red, amber, green thresholds	≥40 red / >22 and <40 amber / ≤22 green	Group 12: ≥6 red, 4 or 5 amber, ≤3 green / Group 22: ≥4 red, 2 or 3 amber, ≤1 green	≤65 red / <80 and >65 amber / ≥80 (and ≥90% for just STW4 and PS5 combined)3 green	≤98 red / <99 and >98 amber / ≥99 green	≤98 red / <98.2 and >98 amber / ≥98.2 green	≤98 red / >98 and <100 amber / 100 green	<99 red / <100 and ≥99 amber / 100 green
Anglian Water	33	11	73 (83)	98.6	99.96	99.8	100	2 stars
Northumbrian Water	20	0	91 (92)	98.9	100	100	100	3 stars8
Severn Trent Water	21	1	87 (93)	99.3	100	100	100	4 stars
Southern Water	90	5	90 (95)	98.2	100	100	100	2 stars
South West Water	62	2	78 (87)	99.4	99.14	99.6	86	2 stars
Thames Water	30	17	74 (94)	99.5	100.0	95.2	100	2 stars
United Utilities	16	0	88 (90)	98.5	98.93	100	100	3 stars8
Wessex Water	31	5	92 (97)	99.4	100	100	100	2 stars
Yorkshire Water	22	3	77 (95)	99.7	99.91	100	100	3 stars
Sector	31	44	82 (92)	99.0	99.79	99.5	98.4 (average)
Note: these results are drawn, in part, from information submitted by the companies and may change as a result of subsequent audits and checking
1More information in:	the EPA metric guide
2Water companies are in one of two groups for serious pollution incidents (see key) based on the number of sewerage and water supply assets they manage - each group has different RAG thresholds
3The figure in brackets is the combined self-reporting percentage for just STW4 and PS5
4Sewage Treatment Works
5Pumping Station
6Water Treatment Works
7Water Industry National Environment Programme
8Four star rating not achieved due to the amber (<99) core metric result for discharge permit compliance
Metric status key
Metric status	Performance description
Red	Significantly below target
Amber	Below target
Green	Achieved target or better
Serious pollution incidents water and sewerage company groupings key
Groups	Water and sewerage company
Group 1	Larger asset base size: Anglian Water, Severn Trent Water, Thames Water and United Utilities
Group 2	Smaller asset base size: Northumbrian Water, Southern Water, South West Water, Wessex Water and Yorkshire Water
Performance star rating key
Star rating	Description
4 stars	Industry leading company - 6 or more green metrics and no red metrics, including core metric at green
3 stars	Good company - 3 or more green metrics and no red metrics
2 stars	Company requires improvement - 1 or 2 red metrics and/or 2 or less green metrics
1 star	Poor performing company - 3 or more red metrics

## EPA_results_2021
EPA results 2021 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Amber	Red	Amber	Amber	Suspended	Green	Green	2 stars
Northumbrian Water	Green	Green	Green	Amber	Suspended	Green	Green	4 stars
Severn Trent Water	Green	Amber	Green	Green	Suspended	Green	Green	4 stars
Southern Water	Red	Red	Green	Red	Suspended	Amber	Red	1 star
South West Water	Red	Red	Amber	Red	Suspended	Red	Red	1 star
Thames Water	Amber	Red	Red	Green	Suspended	Amber	Green	2 stars
United Utilities	Green	Green	Amber	Green	Suspended	Green	Green	4 stars
Wessex Water	Green	Red	Green	Green	Suspended	Green	Green	2 stars
Yorkshire Water	Amber	Red	Amber	Green	Suspended	Green	Green	2 stars
Note: results for the 5 year EPA period 2021 to 2025 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

## EPA_results_2016_to_2020
EPA results 2020 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Amber	Amber	Amber	Green	Suspended	Green	Amber	3 stars
Northumbrian Water	Green	Green	Green	Green	Suspended	Green	Green	4 stars
Severn Trent Water1	Green	Green	Green	Green	Suspended	Green	Green	4 stars
Southern Water	Red	Amber	Green	Amber	Suspended	Red	Green	2 stars
South West Water	Red	Red	Amber	Green	Suspended	Green	Amber	2 stars
Thames Water	Amber	Amber	Amber	Green	Suspended	Amber	Green	3 stars
United Utilities	Green	Green	Green	Green	Suspended	Green	Green	4 stars
Wessex Water	Green	Amber	Green	Green	Suspended	Green	Green	4 stars
Yorkshire Water	Green	Amber	Green	Green	Suspended	Green	Green	4 stars
Note: results for the 5 year EPA period 2016 to 2020 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years
1Severn Trent Water 2020 data includes one site in Wales

EPA results 2019 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Amber	Red	Amber	Amber	Suspended	Green	Amber	2 stars
Northumbrian Water1	Green	Amber	Green	Red	Suspended	Green	Green	2 stars
Severn Trent Water2	Amber	Green	Green	Green	Suspended	Green	Green	4 stars
Southern Water	Red	Red	Green	Amber	Suspended	Red	Green	1 star
South West Water	Red	Amber	Green	Amber	Suspended	Amber	Green	2 stars
Thames Water	Amber	Amber	Green	Green	Suspended	Green	Green	3 stars
United Utilities	Amber	Green	Green	Amber	Suspended	Green	Green	3 stars
Wessex Water	Green	Green	Green	Amber	Suspended	Green	Green	4 stars
Yorkshire Water	Amber	Amber	Amber	Amber	Suspended	Green	Green	3 stars
Note: results for the 5 year EPA period 2016 to 2020 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years
1Northumbrian Water had 6 discharge permit compliance metric failures. Three of these were due to sample shortfalls associated with laboratory analysis not meeting quality control standards and are not
associated with any known environmental impact.
2Severn Trent Water data is for England only for 2019

EPA results 2018 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Green	Amber	Amber	Amber	Suspended	Green	Green	3 stars
Northumbrian Water	Green	Green	Green	Green	Suspended	Green	Green	4 stars
Severn Trent Water3	Amber	Amber	Green	Amber	Suspended	Green	Green	3 stars
Southern Water	Amber	Red	Green	Green	Suspended	Green	Red	2 stars
South West Water	Red	Amber	Green	Amber	Suspended	Green	Green	2 stars
Thames Water	Amber	Amber	Green	Green	Suspended	Green	Amber	3 stars
United Utilities	Green	Green	Green	Amber	Suspended	Amber	Green	3 stars
Wessex Water	Green	Amber	Amber	Green	Suspended	Green	Green	3 stars
Yorkshire Water	Amber	Red	Amber	Amber	Suspended	Green	Green	2 stars
Note: results for the 5 year EPA period 2016 to 2020 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years
3Severn Trent Water data is for England only for 2018

EPA results 2017 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Amber	Amber	Amber	Amber	Green	Green	Green	3 stars
Northumbrian Water	Green	Amber	Green	Red	Green	Green	Green	2 stars
Severn Trent Water *	Amber	Green	Green	Green	Green	Green	Green	4 stars
Southern Water	Amber	Amber	Amber	Amber	Green	Green	Green	3 stars
South West Water	Red	Red	Amber	Amber	Green	Green	Green	2 stars
Thames Water	Amber	Amber	Amber	Green	Green	Green	Amber	3 stars
United Utilities	Green	Green	Green	Amber	Green	Green	Green	4 stars
Wessex Water	Green	Amber	Green	Green	Green	Green	Green	4 stars
Yorkshire Water	Amber	Amber	Green	Amber	Green	Green	Green	3 stars
Note: results for the 5 year EPA period 2016 to 2020 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

EPA results 2016 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Security of Supply Index (SoSI)	Performance rating (out of 4)
Anglian Water	Amber	Amber	Amber	Green	Green	Green	Green	3 stars
Northumbrian Water	Amber	Red	Amber	Amber	Green	Green	Green	2 stars
Severn Trent Water *	Amber	Amber	Green	Green	Green	Green	Green	3 stars
Southern Water	Amber	Amber	Amber	Amber	Green	Green	Green	3 stars
South West Water	Red	Red	Amber	Amber	Amber	Green	Green	2 stars
Thames Water	Amber	Amber	Amber	Amber	Green	Green	Red	2 stars
United Utilities	Green	Green	Green	Amber	Green	Green	Green	4 stars
Wessex Water	Green	Amber	Green	Green	Green	Green	Green	4 stars
Yorkshire Water	Amber	Amber	Green	Amber	Green	Green	Green	3 stars
Note: results for the 5 year EPA period 2016 to 2020 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

## EPA_results_2011_to_2015
EPA results 2015 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Performance rating (out of 4)
Anglian Water	Green	Amber	Amber	Green	Green	Green	3 stars
Northumbrian Water	Amber	Amber	Green	Green	Green	Green	3 stars
Severn Trent Water *	Green	Green	Green	Green	Green	Green	4 stars
Southern Water	Amber	Amber	Amber	Green	Green	Green	3 stars
South West Water	Red	Red	Amber	Red	Amber	Green	1 star
Thames Water	Green	Amber	Amber	Green	Green	Green	3 stars
United Utilities	Green	Green	Green	Amber	Green	Green	4 stars
Wessex Water	Green	Amber	Green	Green	Green	Green	4 stars
Yorkshire Water	Amber	Amber	Green	Green	Green	Green	3 stars
Note: results for the 5 year EPA period 2011 to 2015 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

EPA results 2014 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Performance rating (out of 4)
Anglian Water	Amber	Amber	Green	Amber	Green	Green	3 stars
Northumbrian Water	Amber	Amber	Amber	Green	Green	Green	3 stars
Severn Trent Water *	Amber	Amber	Green	Green	Green	Green	3 stars
Southern Water	Red	Red	Green	Green	Green	Green	2 stars
South West Water	Red	Amber	Amber	Amber	Green	Green	2 stars
Thames Water	Amber	Amber	Amber	Amber	Green	Green	3 stars
United Utilities	Green	Green	Green	Amber	Green	Amber	3 stars
Wessex Water	Green	Amber	Amber	Green	Green	Green	3 stars
Yorkshire Water	Amber	Green	Green	Green	Green	Green	4 stars
Note: results for the 5 year EPA period 2011 to 2015 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

EPA results 2013 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Performance rating (out of 4)
Anglian Water	Amber	Amber	Green	Amber	Green	Green	3 stars
Northumbrian Water	Amber	Amber	Amber	Amber	Green	Green	3 stars
Severn Trent Water *	Amber	Green	Green	Green	Green	Green	4 stars
Southern Water	Red	Red	Green	Red	Green	Green	1 star
South West Water	Red	Red	Amber	Red	Green	Green	1 star
Thames Water	Amber	Amber	Amber	Red	Green	Green	2 stars
United Utilities	Green	Green	Green	Amber	Amber	Green	3 stars
Wessex Water	Green	Amber	Amber	Green	Green	Green	3 stars
Yorkshire Water	Amber	Amber	Green	Amber	Green	Green	3 stars
Note: results for the 5 year EPA period 2011 to 2015 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

EPA results 2012 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Performance rating (out of 4)
Anglian Water	Amber	Green	Green	Amber	Green	Green	3 stars
Northumbrian Water	Amber	Amber	Green	Green	Green	Green	3 stars
Severn Trent Water *	Amber	Amber	Amber	Green	Amber	Green	3 stars
Southern Water	Red	Red	Green	Amber	Green	Green	2 stars
South West Water	Red	Red	Amber	Amber	Green	Green	2 stars
Thames Water	Amber	Amber	Amber	Green	Green	Amber	3 stars
United Utilities	Amber	Green	Green	Green	Amber	Green	3 stars
Wessex Water	Green	Green	Amber	Green	Green	Green	4 stars
Yorkshire Water	Amber	Amber	Green	Red	Amber	Green	2 stars
Note: results for the 5 year EPA period 2011 to 2015 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years

EPA results 2011 for water and sewerage companies (as published at the time)
Metric and units	Total pollution incidents (sewerage)	Serious pollution incidents (sewerage)	Self-reporting of pollution incidents	Discharge permit compliance	Satisfactory sludge disposal	National Environment Programme delivery	Performance rating (out of 4)
Anglian Water	Amber	Amber	Amber	Amber	Green	Green	3 stars
Northumbrian Water	Amber	Red	Red	Green	Green	Green	2 stars
Severn Trent Water *	Amber	Amber	Amber	Amber	Amber	Green	3 stars
Southern Water	Red	Red	Green	Amber	Green	Green	2 stars
South West Water	Red	Red	Red	Red	Green	Green	1 star
Thames Water	Green	Amber	Amber	Green	Green	Green	3 stars
United Utilities	Amber	Green	Green	Amber	Amber	Green	3 stars
Wessex Water	Green	Green	Amber	Green	Green	Green	4 stars
Yorkshire Water	Amber	Red	Green	Amber	Green	Green	2 stars
Note: results for the 5 year EPA period 2011 to 2015 are not directly comparable to results in other EPA periods due to review and amendment of targets every 5 years