## AEL-ETD
Manufacturer | Model | Mfr. Part Number | System Hardware | System Software | Auxiliary Hardware |  | Detection Algorithm | CONOPS | Cabin Baggage |  | Hold Baggage |  | Cargo § |  | Passenger # |  | Radioactive Source | Date Approved
[5 empty] | Swab | Wand |  |  | Hand | Wand | Hand | Wand | Hand | Wand | Hand | Wand
1st Detect | TRACER 1000 |  | 00-10001-01 00-10001-03 00-10001-04 | 7.17.0.185 11.0 | Swab: P/N #88-10002-03 P/N #88-10002-05 P/N #88-10002-06 P/N #88-10002-07 |  | 5.2.25 | Rev 09, 8/7/2018 | Yes | No | Yes | No | Yes | No | Yes | No | No | 20/02/2019 (CCM 15/01/2020 & 26/04/2021 & 28/09/2023)
1st Detect | TRACER 1000 |  | 00-10001-01 00-10001-03 00-10001-04 | 7.17.0.185 11.0 | Swab: P/N #88-10002-03; P/N #88-10002-05; P/N #88-10002-06; P/N #88-10002-07 |  | 5.2.31 | Rev 09, 8/7/2018 | Yes | No | Yes | No | No | No | Yes | No | No | 20/02/2019 (CCM 15/01/2020 & 26/04/2021 & 28/09/2023)
Bruker Daltonik GmbH | DE-tector |  | 1824953 |  | Swab: Sample Collector (P/N 8702660) Sample Collector (P/N 8702660-E) | 8702515 | Library B_EXEU_EXPL16 (P/N 1836522) | 2014-06-17/Rev. 1.00 (P/N 1829977) 2016-02-01/Rev. 1.01 (P/N 1829977) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 09/04/2015 20/12/2018* *(Configuration Change)
Bruker Daltonik GmbH | DE-tector |  | 1824953 |  | Swab: Sample Collector (P/N 8702660) Sample Collector (P/N 8702660-E) | 8702515 | Library B_EXEU_EXPL15 (P/N 1836524) | 2014-06-17/Rev. 1.00 (P/N 1829977) 2016-02-01/Rev. 1.01 (P/N 1829977) | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | 09/04/2015 20/12/2018* *(Configuration Change)
Bruker Daltonik GmbH | DE-tector |  | 1824953 |  | Swab: Sample Collector (P/N 8702660) Sample Collector (P/N 8702660-E) | 8702515 | Library B_EXEU_MIXD01 (P/N 1836519) | 2014-06-17/Rev. 1.00 (P/N 1829977) 2016-02-01/Rev. 1.01 (P/N 1829977) | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | 09/04/2015 20/12/2018* *(Configuration Change)
Bruker Daltonik GmbH | RoadRunner |  | 1860000 |  | Sample Collector M (P/N 1842394) |  | B_RR00_EXPL14 | 2016-02-16/Rev. 1.00 (P/N 1842342) | Yes | No | Yes | No | No | No | Yes | No | No | 20/09/2016
Bruker Optik GmbH | RoadRunner |  | 1860001 |  | Swab: Sample Collector M (P/N 1842394) Test Marker: RR (P/N 1867612) | 8702515 | B_RR00_EXPL15 | 2020-10-14 / Rev. 1.01 P/N 1870101 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 29/04/2021
Bruker Daltonik GmbH | DE-tector |  | 1824953 |  | Sample Collector (P/N 8702660) Sample Collector (P/N 8702660-E) | 8702515 | Library B_EXEU_EXPL22 | 2016-02-01/Rev. 1.01 (P/N 1829977) 2016-02-01/Rev. 1.01 (P/N 1829977) | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | 03/10/2018 24/10/2018 (Correction of entry) 20/12/2018* *(Configuration Change)
Bruker Daltonik GmbH | DE-tector |  | 1824953 |  | Sample Collector (P/N 8702660) Sample Collector (P/N 8702660-E) |  | Library B_EXEU_EXPL19 | 2016-02-01/Rev. 1.01 (P/N 1829977) 2016-02-01/Rev. 1.01 (P/N 1829977) | Yes | No | Yes | No | No | No | Yes | No | No | 03/10/2018 24/10/2018 (Correction of entry) 20/12/2018* *(Configuration Change)
Bruker Optik GmbH | DE-tector flex |  | 1880000 |  | Sample Collector (P/N 8702660-E) |  | Library B_EXFL_EXPL10 | 2018-09-28 / Rev. 1.02 (P/N 1859473) | Yes | No | Yes | No | No | No | Yes | No | No | 06/12/2018 29/04/2021 (Correction of entry)
Bruker Optik GmbH | DE-tector flex |  | 1880000 |  | Sample collector (P/N 8702660-E) |  | B_EXFL_EXPL11 | 2019-08-27/Rev. 1.03, P/N 1859473 | Yes | No | Yes | No | No | No | Yes | No | No | 19/02/2020
Bruker Optik GmbH | DE-tector flex |  | 1880000 |  | Sample collector (P/N 8702660-E) | P/N 8702515 | B_EXFL_EXPL11 | 2019-08-27/Rev. 1.03, P/N 1859473 | No | Yes | No | Yes | No | Yes | No | Yes | No | 19/02/2020
Leidos (Previously: L3 Technologies Inc.) | QS-B220 | QS-B220-010 | 10011377 |  | Sample traps (P/N 42200191) | 10011279 | 23176 (P/N 42300086) | 42400030 (Quick Start Guide) 42400028 (User Manual) | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | 20/05/2015
Leidos (Previously: L3 Technologies Inc.) | QS-B220 | QS-B220-011 | 10011377 |  | Sample traps (P/N 42200191) | 10011279 | 23448 (P/N 42300099) | 42400030 (Quick Start Guide) 42400028 (User Manual) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 20/05/2015
Leidos (Previously: L3 Technologies Inc.) | QS-B220 | QS-B220-012 | 10011377 |  | Sample traps (P/N 42200191) | 10011279 | 23445 (P/N 42300098) | 42400030 (Quick Start Guide) 42400028 (User Manual) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 20/05/2015
Leidos (Previously: L3 Technologies Inc.) | QS-B220HT | QS-B220-017 | 10011377 | 1.4 P/N 42300085 | Sample traps (P/N 42200191) | P/N 10011451 | 25088 (P/N 42300098) | 42400030 (Quick Start Guide) 42400028 (User Manual) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 01/12/2016
Leidos (Previously: L3 Technologies Inc.) | QS-B220HT | QS-B220-017 | 10011465 | 1.4 P/N 42300085 | Sample traps P/N 42200191 | P/N 10011451; P/N 10011279 | 25088 (P/N 42300098) | 42400049 (Quick Start Guide) 42400048 (User Manual) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 27/03/2018 (Configuration Change) And 03/06/2020 And 28/09/2023
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER 4DX |  | P0007018-015-CEP |  | M0002057 | M0001240 | C10.06.11-CEP | MA100026-01 / MA100026-02; MA100091 Rev 0C | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | 24/07/2015 10/04/2020 (CCM)
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER 4DX |  | P0007018-015-CEP |  | M0002057 | M0001240 | C10.06.14-CEP | MA100026-01 / MA100026-02; MA100091 Rev 0C | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 06/08/2015 10/04/2020 (CCM)
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER DX |  | P0007018-014-CEP |  | M0001964-100 |  | 8.89e13CEP | MA100034-01 / MA100034-02; MA100034-02 Rev E | Yes | No | Yes | No | Yes | No | Yes | No | Yes | 29/01/2016 10/04/2020 (CCM)
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER 4DX |  | P0007018-015-CEP |  | M0002057 |  | C10.06.23-CEP | MA100091 rev0A; MA100091 Rev 0C | Yes | No | Yes | No | Yes | No | Yes | No | No | 11/01/2018 10/04/2020 (CCM)
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER DX |  | P0007018-014-CEP |  | M0001964-100 | S/N M1000541 | 8.89e14CEP | MA100034-02 Revision C | No | Yes | No | Yes | No | Yes | No | Yes | Yes | 03/10/2018 *04/10/2018 *Correction of entry
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER DX |  | P0007018-014-CEP |  | M0001964-100 |  | 8.89e16CEP | MA100034-02 Rev E | Yes | No | Yes | No | Yes | No | Yes | No | Yes | 25/03/2020 10/04/2020 (CCM)
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER DX |  | P00007018-014-CEP |  | S/N M0001964-100 | S/N M1000541 | 8.89e16CEP | MA001147 Rev. 0A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 25/03/2020
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER DX |  | P00007018-014-CEP |  | S/N M0001964-100 | S/N M1000541 | 8.89e18CEP | MA100034-02 Rev E | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 12/07/2021
Rapiscan Systems (Previously: Morpho Detection) | ITEMISER 5X |  | P0007018-018-CEP |  | S/N M0001964-100 | S/N M1000541 | 5X-3.0.9-CEP | D05259 Revision A | No | Yes | No | Yes | No | Yes | No | Yes | No | 2023-09-28
Nuctech | TR2000DB-A |  | C 1.00 |  | Swab: BZOA0403000-I-02 Portable swab baker: BZOA0800000-02 |  | 15.10.31.64 | 7.10 | Yes | No | Yes | No | Yes | No | Yes | No | Yes | 20/09/2016
Nuctech | TR2000DB-A |  | C 1.00 |  | Swab: BZOA0403000-I-02 Portable swab baker: BZOA0800000-02 |  | 16.8.2.64 (Library E11.A04.1611) 16.8.2.64 (Library E11.A08.1611) | 7.10 | Yes | No | Yes | No | No | No | Yes | No | Yes | 11/01/2018
Nuctech | TR2000DB-A |  | NIL2.0 |  | Swab: -04A Portable swab baker: BZOA0800000-02 |  | D17.3.16.66 (Library E11.B01.1707) | v17.06 | Yes | No | Yes | No | Yes | No | Yes | No | Yes | 11/01/2018
Nuctech | TR2000DB-A |  | NIL2.0 |  | Swab: -04A Portable swab baker: BZOA0403000-I-02 |  | D17.3.16.66 (Library E11.B02.1712) (Library E11.B05.1712) (Library E11.B06.1712) | v17.06 | Yes | No | Yes | No | Yes | No | Yes | No | Yes | 03/10/2018
Nuctech | TR2000DC |  | CIL4.0 | C1.2.0 | Swab: 04A, or type -05A. Optional Swab Baker Type-02E |  | D18.9.26 (Library E11.C01.1903) (Library E11.C01.1910) (Library E11.C07.1910) | 19.03 20.02 | Yes | No | Yes | No | Yes | No | Yes | No | No | 19/09/2019 And 25/03/2020 And 28/09/2023
Nuctech | TR2000DC |  | CIL4.0 | C1.2.0 | Swab: -04A, or type -05A. Optional Swab Baker Type-02E | Thumbprint Wand | D18.9.26 Library E11.C02.2206 Library E11.C04.2206 Library E11.C05.2206 | V21.07 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 28/09/2023 28/09/2020(CC)
Smiths Detection | IONSCAN 500DT |  | 4816800 | 500DT_3.05.031 | Part Number 6822254-A | P/N 6825012* | AE Rev L | Operational Manual, Rev. A, May 2013, Part Number 6824395ROW | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 29/01/2015 and 13/02/2017* 13/02/2019* *Correction of the report
Smiths Detection | IONSCAN 600 |  | 4824000 |  | P/N 6824768-01; P/N 1824019-A |  | IS600 Exp ECAC-1 final ECAC E (24727-1)* ECAC E (24766-1)* ECAC E (24766A-1) | Ionscan 600 Quick Start Guide, Part Number 6824007 | Yes | No | Yes | No | Yes | No | Yes | No | No | 13/03/2015 03/10/2016* and 24/06/2015 01/12/2015 15/06/2016 14/11/2016 30/05/2017 (Configuration Changes) *Result of SRT 29/04/2021 (Correction of entry)
Smiths Detection | IONSCAN 600 |  | 4824000 |  | P/N 6824768-01; P/N 1824019-A | P/N 3824750-1; P/N 3824750-2 | IS600 Exp ECAC-1 final | Operational Manual, Rev. A, May 2015, Part Number 6824005ROW Additional Guidance for Performing a Wand Sample Analysis Rev. A (Sept 2015) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 01/12/2015 and 15/06/2016 30/05/2017 (Configuration Change) 29/04/2021 (Correction of entry)
Smiths Detection | IONSCAN 600 |  | 4824000E-101-2 4824000E-101P-2 |  | P/N 6824768-01; P/N 1824019-A | P/N 3824750-1; P/N 3824750-2 | ECAC E (24758-1) ECAC E (24758-2) ECAC E (24758-4) ECAC E (24758A-1) ECAC E (24758A-2) ECAC E (24758A-4) | 6824005ROW revision C, January 2016 6824005ROW revision D, Ionscan 600 Quick Start Guide, Part Number 6824007 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 03/10/2016 03/10/2018 and 14/11/2016 30/05/2017 21/03/2018 01/02/2019 (Configuration Changes) 29/04/2021 (Correction of entry)
Smiths Detection | IONSCAN 600 |  | 4824000E-101 4824000E-101P |  | P/N 6824768-01; P/N 1824019-A | P/N 3824750-1; P/N 3824750-2 | ECAC E (24758-1) ECAC E (24758A-1) ECAC E (24758-2) ECAC E (24758A-2) ECAC E (24758-4) ECAC E (24758A-4) | 6824005 (Operator Manual) 6824007 (Quick Start Guide) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | 19/03/2021 (Configuration Change)
Smiths Detection | IONSCAN 600 |  | 4824000E-101 4824000E-101P |  | P/N 1824019-A | P/N 26616-1 | ECAC E (24758-4) ECAC E (24758A-4) | 6824005 (Operator Manual) 6824007 (Quick Start Guide) | No | Yes | No | Yes | No | Yes | No | Yes | No | 12/05/2022
Updates to 02/11/2023
# Passengers: involves screening of passengers, persons other than passengers, items carried, cabin baggage and hold baggage.
§ Cargo: involves screening of cargo and mail, in-flight supplies, airport supplies and air carrier materials loaded in the aircraft hold.