## All 5Nr Dwellings
POTENTIAL SCHEME/ESTIMATE SUMMARY | [10 empty] | EST 26/10/23 | Other Internal Notes (NOT FOR CLIENT) |  |  |  | EST 26/10/23
NB: To be read in conjunction with accompanying notes
[12 empty] | SCHEME SPECIFIC GENERAL NOTES:- |  |  | (SEE BELOW FOR COSTING SPECIFIC NOTES).
CLIENT: |  | NB Investments UK Limited
SCHEME: |  | 5Nr Dwellings Eastfield Stables, Elsenham Road, Stansted
DATE: |  | 26th October 2023
BASED ON: |  | Ranger Management Drawing RMDS/ES/23/002 Rev A
#REF!
HOUSE TYPES: | [6 empty] | Total net internal floor area | = | 843 | m2 | [6 empty] | #REF!
Semi Detached - "Standard" Specification Superstructures: | [11 empty] | Total | Total
Type |  |  | Floor | x | £/m2 | = | £/Unit | x | Nr. of | = | £ | Floor | Bed
Reference |  | Pers | Area (m2) | [5 empty] | Units |  |  | Areas | Spaces
[12 empty] | 0 | 0
1 | 3B Semi Bung |  | 86 |  | 1356.09 | = | 116623.74 | x | 1 | = | 116623.74 | 86 | 0
2 | 2B semi Bung |  | 70 |  | 1356.09 | = | 94926.3 | x | 1 | = | 94926.3 | 70 | 0
3 | 3B Det Bung |  | 229 |  | 1586.52 | = | 363313.08 | x | 1 | = | 363313.08 | 229 | 0
4 | 3B Det Bung |  | 229 |  | 1586.52 | = | 363313.08 | x | 1 | = | 363313.08 | 229 | 0
5 | 3B Det Bung |  | 229 |  | 1586.52 | = | 363313.08 | x | 1 | = | 363313.08 | 229 | 0
[15 empty] | 1 | FENLAND
[15 empty] | 1 | GT YARMOUTH
[15 empty] | 1 | IPSWICH
[15 empty] | 1 | KING'S LYNN & WEST NORFOLK
[15 empty] | 1 | LINCOLN
SUBSTRUCTURES: | [14 empty] | 1 | MID SUFFOLK
("Normal" - including structural floors; bungalows count 1.5x) | [14 empty] | 1 | NORTH KESTEVEN
Total Floor Area (from above) |  |  |  |  | 1264.5 | m2 |  | @ | 150 | = | 189675 |  |  |  | 1 | NORTH NORFOLK
[15 empty] | 1 | ST EDMUNDSBURY
SERVICES: | [14 empty] | 1 | SOUTH KESTEVEN
(Connections & Infrastructure Costs) | [14 empty] | 1 | SOUTH NORFOLK
Dwellings + 1Nr Landlord (Cmmnls) |  |  |  |  | 5 | Nr. |  | @ | 4000 | = | 20000 |  |  |  | 1 | SOUTH HOLLAND
[12 empty] | EXTERNAL WORKS NOTE |  |  | 1 | SUFFOLK COASTAL
EXTERNAL WORKS: | [11 empty] | Standard external works includes e.g. |  |  | 1 | WAVENEY
(Typical - excluding Adoptable Works; flats count 2/3rds) | [11 empty] | paths, paved drying area, rotary dryer, |  |  | 1 | LINCOLN CITY COUNCIL
Dwellings: |  |  |  |  | 5 | Nr. |  | @ | 11000 | = | 55000 | parking space, privacy panel & chain link
[12 empty] | fencing, gates, etc. |  |  | 1.03 | EAST CAMBS
DRAINAGE: | [14 empty] | 1.03 | HUNTINGDON DISTRICT COUNCIL
(Typical - excluding Adoptable Works; flats count 2/3rds) | [14 empty] | 1.03 | NORWICH
Dwellings: |  |  |  |  | 5 | Nr. |  | @ | 4500 | = | 22500
[15 empty] | 1.05 | BABERGH
ADOPTABLE/NON ADOPTABLE STANDARD WORKS: | [14 empty] | 1.05 | COLCHESTER
(Typical 6m wide road) | [14 empty] | 1.05 | SOUTH CAMBS
[15 empty] | 1.05 | TENDRING
Length of Road: |  |  |  |  | 166 | m |  | @ | 1450 | = | 240700
[15 empty] | 1.1 | BASILDON
ABNORMAL WORKS ALLOWANCES: | [9 empty] | = | 433000 |  |  |  | 1.1 | BRAINTREE
(See Accompanying Notes) | [14 empty] | 1.1 | BRENTWOOD
[9 empty] | Sub-Total |  | 2262364.28 |  |  |  | 1.1 | CAMBRIDGE
PRELIMS: |  | (Sub-Total <£2M: 12.5%; £2M - £3M: 15%; >£3M: 17.5%) | [6 empty] | 15 | % | 339354.642 |  |  |  | 1.1 | CASTLE POINT
[11 empty] | 2601718.922 |  |  |  | 1.1 | CHELMSFORD
CONTINGENCIES: | [8 empty] | 3 | % | 78051.5677 |  |  |  | 1.1 | EPPING FOREST
[15 empty] | 1.1 | HARLOW
TOTAL ESTIMATED COST AS AT NOW | [9 empty] | £ | 2679770.4897 |  | SIZE FACTORS |  | 1.1 | MALDON
Adjustment Factors | [10 empty] | x |  | 1 to 5 | 1.02 | 1.1 | ROCHFORD
Start Date; Location; Size) |  |  |  |  | 1 | x | 1 | x | 1 | = | 1 |  | 6 to 10 | 1 | 1.1 | THURROCK
[10 empty] | £ | 2679770.4897 |  | 11+ | 0.97 | 1.1 | UTTLESFORD
TOTAL ESTIMATED COST (EXCL FEES) FOR START: | [7 empty] | Spring 2024 |  | £ | 2679770.4897
Cost/m2: |  |  | 3178.8499 |  | Ave cost/dwelling: |  | 535954.0979
Add - For Design and Other Fees: | [8 empty] | 8.5 | % | 227780.4916
TOTAL ESTIMATED COST (INCL FEES) FOR START: | [7 empty] | Spring 2024 |  | £ | 2907550.9813
Cost/m2: |  |  | 3449.0522 |  | Ave cost/dwelling: |  | 581510.1963
POTENTIAL SCHEME/ESTIMATE SUMMARY | [10 empty] | EST 26/10/23
NB: To be read in conjunction with accompanying notes and/or footnotes
CLIENT: |  | NB Investments UK Limited
SCHEME: |  | 5Nr Dwellings Eastfield Stables, Elsenham Road, Stansted
DATE: |  | 26th October 2023
DISTRICT COUNCIL: |  |  |  |  | Uttlesford District Council
SCHEME: |  |  |  |  | 5Nr Dwellings Eastfield Stables, Elsenham Road, Stansted
CONTRACT BASIS/DEVELOPER: |  |  |  |  | Developer/Housebuilder
SCHEME/ESTIMATE BASED ON: |  |  |  |  | Ranger Management Drawing RMDS/ES/23/002 Rev A
SCHEME MIX: |  |  | House Type |  | House Type |  | Floor | Nr. of
|  |  | Name |  | Reference |  | Area (m2) | Dwellings
(See Above)
[6 empty] | Total Nr of Dwellings |  | 5
SITE AREA: | [5 empty] | Hectares (approx.)
DENSITY: | [5 empty] | Dwellings per hectare
Site Area:-
ESTIMATED COST: |  |  |  | Design and Build Cost | [5 empty] | £ | 2907600
|  |  |  | Land | [5 empty] | £ | Excluded
|  |  |  | Total Scheme Cost | [5 empty] | £ | 2907600
Assessed/Actual Design Fees & On-Costs
|  |  |  | Within Design & Build Cost | [5 empty] | £ | 227800
|  |  |  | Works Cost | [5 empty] | £ | 2679800 | 0 | Total Sq M
[12 empty] | 0 | Total Ha
FORECAST START DATE: |  |  |  | Spring 2024
FOOTNOTES: |  | 1 | All properties assumed to be no more than two storey in height.
|  | 2 | Demolition, Site Clearance and Remediation Works based on current arrangements at the Site and assume
little or no tidy up work prior to commencement.
|  | 3 | Assumed specification to be as a large scale housebuilding finish throughout the development.
POTENTIAL SCHEME/ESTIMATE SUMMARY | [10 empty] | EST 26/10/23
CLIENT: |  |  | NB Investments UK Limited
SCHEME: |  |  | 5Nr Dwellings Eastfield Stables, Elsenham Road, Stansted
DATE: |  |  | 26th October 2023
ACCOMPANYING NOTES:
"Standard Notes"
1. | Price levels are those considered to be obtainable through competitive tendering or comparable
negotiation.
2. | Except where specifically identified, under the section headed "Abnormal Works Allowances", it is
assumed that ground conditions are suitable for traditional strip foundations and that mains water,
electricity, gas and drainage is available without undue difficulty. Also no allowance is made for the
treatment of any ground contamination unless shown as included in "Abnormal Works Allowances".
3. | Demolitions, where known to be required, are included on an assessed basis only, unless stated
otherwise in the section headed "Abnormal Works Allowances". Asbestos removal, where known
to be required, is included on the same basis.
4. | The estimate allows for prices to be fixed throughout the period of construction subject to a start on
site not later than the Forecast Start Date stated.
5. | It should be noted that design and other fees are included within the total estimated cost only where
specifically shown.
6. | VAT is excluded from the estimated costs but, in accordance with current legislation, this will (with the
exception of relatively minor works of landscaping and some fixtures and finishings) be at zero rate
for new build works.
"Scheme Specific Notes" (where appropriate)
Not Applicable.
"Abnormal & Additional Works Allowances" are included as follows:-
£
* | Enhancements for Bio Diversity/Landscaping/Bio Diversity Net Gain | [9 empty] | 65000
* | Individual Bio Disc Foul Water Treatment Facilities | [9 empty] | 75000
* | Deep Borehole Soakaways | [9 empty] | 30000
* | Extra Over Road Way for Below Surface Attenuation | [9 empty] | 25000
* | Double Garages & Attached Sheds | [9 empty] | 150000
* | Air Source Heat Pumps to All Dwellings | [9 empty] | 20000
* | EV Charging Points to all Dwellings | [9 empty] | 18000
* | Extra Over for Larger Gardens/External Works that Standard Estate Houses | [9 empty] | 50000
* | Poor Ground/Contamination | [9 empty] | No Allowance
* | Off Site Works | [9 empty] | No Allowance
* | Diversions | [9 empty] | No Allowance
* | Demolitions | [9 empty] | No Allowance
[5 empty] | Total Included in Estimate | [5 empty] | 433000

## BCIS Analysis
BCIS Analysis
| eg | Mean | -Prelims | -subs
All Three Builds
|  |  | 15% | 150
Estate Housing Det |  | 1997 | 1736.5217 | 1586.5217
0
Semi Det single storey |  | 1732 | 1506.087 | 1356.087

## Sheet2 (hidden)
SUFFOLK HERITAGE HOUSING ASSOCIATION LIMITED
GREAT EASTERN HOUSING GROUP LIMITED
PEDDARS WAY HOUSING ASSOCIATION LIMITED
BROADLAND HOUSING ASSOCIATION LIMITED
ANGLIA HOUSING GROUP
THE GUINNESS TRUST