|  |  |  |  |
| --- | --- | --- | --- |
| **Analytical Method for…** | **Acceptance Limits** | **Parameters** | |
| Analytical Sensitivity/Limit of detection  *(add the analytical method description here for analytical sensitivity)* | Example: Pass rate of x of assay runs demonstrating y against z criteria below.  Criteria a: …  Criteria b: …  Criteria c: … | Example: >90% pass rate for positive samples |
| Analytical Specificity/Cross-reactivity  *(add the analytical method description here for analytical specificity)* | Example: Quantitative pass acceptance of 6.35 against a reference control XYZ. | Example: 100% of negative control assays with quantitative value of 6.35 within a 95% confidence interval |
| Trueness (bias)  *(add the analytical method description here for trueness)* |  |  |
| Precision (Reproducibility & Repeatability)  *(add the analytical method description here for precision)* |  |  |
| Accuracy (resulting from trueness and precisions)  *(add the analytical method description here for accuracy)* |  |  |
| Interference  *(add the analytical method description here for interference)* |  |  |
| Stability  *(add the analytical method description here for stability)* |  |  |
| Cut-off  *(add the analytical method description here for measuring cut-off, if applicable)* |  |  |
| Measuring range  *(add the analytical method description here for measuring range, if applicable)* |  |  |
| Linearity  *(add the analytical method description here for linearity, if applicable)* |  |  |