## Title sheet
Output Specification
Technical Annex 1A: Definitions of Spaces: Mainstream Schools
December 2023
DOCUMENT CONTROL
Revision | Amendments | Status | Date | Author
C09 | Alignment of space type names with uniclass and parent codes. Open and clear height requirements amended | A | 2021-04-19 | BWI
P01 | Corrections to some Lighting codes to match Technical Annex 2E and some ADS codes shown in red text | S2 | 2021-10-19 | BWI
C10 | Gov.uk publication | A | 2021-11-19 | BWI
P02 | Service shafts given new ADS code. References to Technical Annex 2D tables corrected. | S2 | 2023-11-24 | BWI
C11 | Gov.uk publication | A | 2023-12-18 | BWI
Contents
Worksheet | Description
Title Sheet | Sheet sets out information about this resource information about the file (name, revision, status, document owner, document originator and revision history) and list of contents including descriptions.
Annex 1A | Annex 1A - Definitions of Spaces - Mainstream schools - For use in conjunction with the Output Specification Generic Design Brief (GDB)
Summary
This document is one of a number of Technical Annexes which form part of the Generic Design Brief (GDB)
Review Date | Review dates for this document will be at 6-month intervals.
Who is this publication for? | This document is for technical professionals involved in the design and construction of school premises, to use as part of the Employer’s Requirements of the DfE Construction Framework. It may also be used as the basis of similar documentation for other procurement routes using the Output Specification.
Uniclass Codes | This document captures Uniclass codes for the management of exchange of information. To access all codes and associated titles reference should be made to Refer to Uniclass (uniclass.thenbs.com) for a description of Uniclass codes.
Keys
Electrical outlets requirements | All spaces to include SSSO for cleaner at low level. Halls and basic teaching spaces to include separate outlet at high level for projector. Dado on 2 walls = Power sockets as SoA, within dado trunking on 2 walls where appropriate To suit ICT = Power sockets as SoA to suit ICT provision, within dado trunking on 4 walls where appropriate To suit equipment = Power sockets as SoA, within dado trunking on walls or behind benching where appropriate, plus outlets or 3-phase supply to suit equipment accommodated, including drama lighting systems Where required = Power sockets as SoA where appropriate, typically on 2 walls Minimal = Power sockets as SoA where appropriate Hand dryers = Power is to be provided to a fused spur position even where there is no hand dryer installed as described in Annex 2G.
Wet services requirements | Further detail in ADS for each space H&C sink(s) = Hot and cold water to sink listed in Schools-specific SoA and ADS H&C,D sink = Hot and cold drinking water to all sinks and equipment listed in Annex 3: FF&E, with labelled drinking water to sink H&C,D = Hot and cold drinking water to all sinks, equipment and appliances H&C,C = Hot and cold water to all sinks listed under FF&E, cold water to other sinks or equipment C, H&C sink = Cold water to wet serviced bollards or similar listed under FF&E, hot and cold to belfast or hand wash sink; chemically resistance drainage.
Temperature and thermal comfort requirements | See Technical Annex 2F: Mechanical Services and Public Health Engineering, Table 10.2. Where 2 codes are given it shall be possible to adjust temperature to suit activities.
Gas supply | Gas taps = Double gas taps to all bollards listed on FF&E list (as specified in Annex 3: FF&E) Appliances = Gas supply to any gas ovens, hobs and other appliances Benching = Gas taps at preparation benching, minimum total one gas tap per technician
Lighting requirements | Code for lighting comprises three parts, each linked to Technical Annex 2E: Daylight and Electric Lighting, Tables 2, 3 and 13. First letter and digit relates to ADS code in Table 2, daylight performance (e.g. L1), second digit relates to second digit in ADS code of Table 13, lighting controls (e.g. .2 = L0.2 in Table 13) and last lower case letter relates to ADS code in Table 3, horizontal and cylindrical Illumination (e.g. a).
Notes
CTS | Contractor to Specify for approval by the Employer

## Annex 1A
Annex 1A: Definitions of Spaces - Mainstream School
'parent' ADS Code |  |  |  | individual generic spaces (previous names) | new activity space types | Uniclass code | Uniclass title | Description of Area or Space | minimum open height if new | minimum clear height if new | standard space depth if new | minimum space width (e.g. if refurb) | external doorset | Specific external door or window requirements | main doorset (e.g. from circulation) | second doorset | Specific doorset requirements | floor finish | ceiling finish | wall finish | specific finishes requirements | lighting | specific lighting requirements | temp and thermal comfort | gas supply | electrical outlets | wet services | Group 1 FF&E or sanitaryware
| Common terms | [7 empty] | m height (as GDB paragraphs 2.3.3.13 - 14) | m height (as GDB paragraphs 2.3.3.13 - 14) | m length | m length | Required = shall be provided Optional = if required for design or in SSB; CTS if provided Not Required = not required unless for fire escape; CTS if provided | See also notes on title sheet and on the School-specific SoA and ADS | As Technical Annex 2D: Internal elements, Tables 2 and 4 |  | See also notes on title sheet and on the School-specific SoA and ADS | As Technical Annex 2D: Internal elements, Table 5 and 6 | As Technical Annex 2D: Internal elements, Table 7 | As Technical Annex 2D: Internal elements, Table 8 | See also notes on title sheet and on the School-specific SoA and ADS | As Technical Annex 2E: Daylight and Electric Lighting, Table 1 (first digit in code), Table 2 (l/c letter in code) and Table 12 (second digit in code) | See also notes on title sheet and on the School-specific SoA and ADS | See key on title sheet | See key on title sheet | See key on title sheet | See key on title sheet | As Technical Annex 3: FF&E and Technical Annex 2A: Sanitaryware WB+2NB = whiteboard and two noticeboards
|  |  |  | restrictive | restrictive |  |  | Existing space with a restrictive area, accommodating a limited range of FF&E layout options or activities
|  |  |  | extensive | extensive |  |  | Space with an extensive area per pupil, accommodating the widest range of FF&E layout options or activities
Basic teaching area
Primary general teaching spaces
Early years classrooms/ playrooms
PRI03 |  |  |  | nursery playroom | Nursery playrooms | SL_25_10_57 | Nursery playrooms | Primary playroom for a range of FF&E layout options and activities for 3 to 4 year olds | 3.3 | 2.7 | (7.8) | 7 | Required, fully glazed |  | D1.1ev | D1.1ev | Access control system to be agreed with school | F3.2i | C1.1 | W1.1 | Mat to suit FF&E layout | L1.2a |  | T5 | None | Dado on 2 walls | H&C,D sink | Annex 3 Table 8
PRI13 |  |  |  | reception classroom | Reception classrooms | SL_25_10_72 | Reception classrooms | Primary classroom for a range of FF&E layout options and activities for reception pupils | 3.3 | 2.7 | (7.8) | 7 | Required |  | D1.1ev | D1.1ev | Access control system to be agreed with school | F3.2i | C1.1 | W1.1 | Mat to suit FF&E layout | L1.2a |  | T5 | None | Dado on 2 walls | H&C,D sink | Annex 3 Table 8
Primary classrooms/ classbases
PRI23 |  |  |  | infant classroom | Infant classrooms | SL_25_10_39 | Infant classrooms | Primary classroom for a range of FF&E layout options and activities for Key Stage 1 pupils | 3.3 | 2.7 | (7.8) | 7 | Required |  | D1.1ev | N/A |  | F3.2i | C1.1 | W1.1 | Mat to suit FF&E layout | L1.2a |  | T5 | None | Dado on 2 walls | H&C,D sink | Annex 3 Table 8
PRI33 |  |  |  | junior classroom (with sink) | Junior classrooms | SL_25_10_44 | Junior classrooms | Primary classroom for a range of FF&E layout options and activities for Key Stage 2 pupils | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F1.1m | C1.1 | W1.1 | Carpet to part of area to suit FF&E layout | L1.2a |  | T5 | None | Dado on 2 walls | H&C,D sink | Annex 3 Table 8
PRI41 |  |  |  | classbase with sink | Semi-open classbases, infant | SL_25_10_77 | Semi-open classbases | Primary semi-open classbase for limited activities including water-based, typically for infant (KS1), with easy access to a shared teaching area without sink | 3.3 | 2.7 | (7.8) | 7 | Required |  | N/A | N/A |  | F3.2i | C1.1 | W1.1 | Mat to suit FF&E layout | L1.2a |  | T5 | None | Dado on 2 walls | H&C sink(s) | WB+2NB+sink as ADS
Shared teaching areas
PRA41 |  |  |  | shared teaching area without sink | Shared teaching areas, primary | SL_25_10_79 | Shared teaching areas | Open plan teaching area shared by adjacent classbases with sinks, to enhance the range of activities | 3.3 | 2.7 | N/A | 2.7 | Not required |  | N/A | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2a |  | T5 | None | Dado on 2 walls | None | WB+2NB
Secondary general teaching spaces
CLA02 |  |  |  | seminar room | Seminar rooms | SL_25_10_78 | Seminar rooms | Seminar room for smaller 14-19 groups with a range of layout options and activities | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2b |  | T5 | None | Dado on 2 walls | None | WB+1NB
CLA12 |  |  |  | general classroom | Classrooms (general) | SL_25_10_14 | Classrooms | Secondary school classroom for a range of layout options and activities | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2b |  | T5 | None | Dado on 2 walls | None | WB+2NB
CLA15 |  |  |  | double classroom | Classrooms, double | SL_25_10_14 | Classrooms | Two linked secondary schools classrooms for a range of layout options and activities | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2b |  | T5 | None | Dado on 2 walls | None | WB+2NB
CLA22 |  |  |  | open learning/ homebase area | Semi-open classbases, home base | SL_25_10_77 | Semi-open classbases | Secondary school semi-open plan learning area, used a registration 'home' base for a group of pupils | 3.3 | 2.7 | (7.8) | 7 | Optional |  | N/A | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2b |  | T5 | None | Dado on 2 walls | H&C sink(s) | WB+2NB+sink as ADS
CLA32 |  |  |  | ICT-rich classroom | ICT-rich classrooms | SL_25_10_41 | Information and communications technology (ICT)-rich classrooms | Classroom with fixed ICT devices for all workplaces and a range of layout options | 3.3 | 2.7 | (7.8) | 7.2 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 |  | L1.2b |  | T5 | None | To suit ICT | None | Annex 3 Table 10 or ADS
Light practical spaces
Primary practical spaces
PRA02 |  |  |  | ICT-rich room (practical in future) | Primary practical, temporarily ICT-rich | SL_25_10_67 | Primary practical rooms | Specialist space with fixed ICT devices for all workplaces, sink and wet services for use as practical in future | 3.3 | 2.7 | (7.8) | 7.2 | Not required |  | D2.2av | N/A |  | F3.4h | C1.2 | W1.1 |  | L1.2a |  | T5 | None | To suit ICT | H&C, C | Annex 3 Table 9 or ADS
PRA31 |  |  |  | food bay/ practical resources | Kitchenettes, food bay | SL_35_60_45 | Kitchenettes | Bay for primary food preparation with a small group and pupil access to practical resources | 2.7 | 2.7 | (7.8) | 1.7 | Not required |  | N/A | N/A |  | F3.4h | C1.2 | W1.1 |  | L1.2a |  | T5 | None | Dado on 2 walls | H&C, C | Annex 3 Table 9
PRA10 |  |  |  | food/ science/ DT area | Primary practical rooms | SL_25_10_67 | Primary practical rooms | Specialist space for primary food preparation, science, art and/or Design and Technology activities | 3.3 | 2.7 | (7.8) | 7.2 | Not required |  | D2.2av | N/A |  | F3.4h | C1.2 | W1.1 | Flooring suitable for heavy movable FF&E on castors | L1.2a |  | T5 | None | Dado on 2 walls | H&C, C | Annex 3 Table 9
Science teaching spaces
SCI02 |  |  |  | science studio | Science studios | SL_25_10_74 | Science studios | Secondary school science room for demonstration and light experiments | 3.3 | 2.7 | (7.8) | 7.5 | Not required |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | Gas taps | Dado on 2 walls | C, H&C sink | Annex 3 Table 11 or ADS
SCI05 |  |  |  | general science laboratory | Science laboratories | SL_25_10_75 | Science laboratories | Secondary school science laboratory for demonstration and 'hands on' experiments and fume cupboard | 3.3 | 2.7 | (7.8) | 7.5 | Not required |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | Gas taps | Dado on 2 walls | C, H&C sink | Annex 3 Table 11
Secondary light practical spaces
DAT00 |  |  |  | general art room | Art rooms | SL_25_10_04 | Art rooms | Secondary art room for a range of general art | 3.3 | 2.7 | (7.8) | 7.5 | Optional |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W1.1h | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | None | To suit equipment | H&C sink(s) | Annex 3 Table 12
DAT15 |  |  |  | photography studio | Photography studios | SL_25_40_65 | Photography studios | Secondary studio for practical photography and editing | 3.3 | 2.7 | (7.8) | 7.5 | Not required |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W1.1h | At least one wall shall be clear and white. Suitable for heavy movable FF&E on castors | L1.2c |  | T5 | None | To suit equipment | H&C sink(s) | As ADS
DAT12 |  |  |  | hair and beauty salon | Hair and beauty training salons | SL_25_40_36 | Hair and beauty training salons | Secondary salon for hair dressing and beauty therapy | 3.3 | 2.7 | (7.8) | 7 | Entrance door |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W1.1h | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | None | To suit equipment | H&C, C | As ADS
DAT20 |  |  |  | graphic products | DT studios | SL_25_40_22 | Design technology studios | Secondary room for graphics and small scale product design | 3.3 | 2.7 | (7.8) | 7.5 | Optional |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W1.1h | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | None | To suit equipment | H&C sink(s) | Annex 3 Table 13
Heavy practical spaces
Food rooms
DAT35 |  |  |  | food room | Food rooms | SL_25_10_30 | Food rooms | Secondary food room for a range of non-vocational practical cookery activities by pupils and demonstrations | 2.7 | 2.7 | (7.8) | 7.5 | Not required |  | D2.2av | D2.2av |  | F3.4h | C1.2 | W3.2 | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | Appliances | To suit equipment | H&C,D | Annex 3 Table 14
DAT39 |  |  |  | vocational food room (catering) | Catering training kitchens | SL_25_40_11 | Catering training kitchens | Secondary food room for vocational courses in catering | 2.7 | 2.7 | (7.8) | 7.5 | Not required |  | D2.2av | D2.2av |  | F3.4h | C1.2 | W3.2 | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | Appliances | To suit equipment | H&C,D | As ADS
Workshops
DAT43 |  |  |  | resistant materials workshop | DT workshops | SL_25_40_23 | Design technology workshops | Secondary workshop for working with resistant materials | 3.3 | 2.7 | (7.8) | 7.5 | Optional |  | D2.1av | D2.1av |  | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors. Concrete or ceramic tiles floor required around any heat treatment equipment | L1.2c |  | T5 | None | To suit equipment | H&C sink(s) | Annex 3 Table 13
DAT47 |  |  |  | workshop with heat bay | Engineering workshops | SL_25_40_27 | Engineering workshops | Secondary workshops for working with a range of resistant materials, with heat bay area, for instance for vocational engineering courses | 3.3 | 2.7 | (7.8) | 7.5 | Optional |  | D2.1av | D2.1av |  | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors. Concrete or ceramic tiles floor required around any heat treatment equipment | L1.2c |  | T5 | Bottled gas only | To suit equipment | H&C sink(s) | As ADS
DAT49 |  |  |  | construction workshop | Construction workshops | SL_25_40_15 | Construction workshops | Secondary workshop for vocational construction courses | 3.3 | 2.7 | (7.8) | 7.5 | Double doors | Refer to SSB for any additional height/ width requirements to suit activities. | D2.1av | D2.1av |  | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | Bottled gas only | To suit equipment | C, H&C sink | As ADS
DAT97 |  |  |  | vehicle maintenance workshop | Vehicle workshops | SL_25_40_94 | Vehicle workshops | Secondary workshop for vocational vehicle maintenance courses | 3.3 | 2.7 | (7.8) | 7.5 | Garage Doors | Refer to SSB for any additional height/ width requirements to suit activities. | D2.1av | D2.1av |  | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors | L1.2c |  | T5 | None | To suit equipment | C, H&C sink | 1 wall of SS worktop with inset sink. WB+2NB.
Music and drama spaces
PER02 |  |  |  | music classroom | Music rooms (fitted) | SL_25_10_55 | Music rooms | Classroom for performance, composing and theory using keyboards on fixed benching | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 | Wall panels may be required to achieve required sound quality | L1.2b |  | T5 | None | Dado on 2 walls | None | WB+2NB+benching
PER05 |  |  |  | music recital room | Music and drama classrooms | SL_25_10_54 | Music and drama classrooms | Classroom for performance, composing and theory with space for performances to a small audience | 3.3 | 2.7 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F6.1 | C1.1 | W1.1h | Wall panels may be required to achieve required sound quality | L1.2b |  | T5 | None | To suit equipment | None | WB+2NB
PER15 |  |  |  | drama studio | Drama studios | SL_25_10_24 | Drama studios | Secondary studio space for drama and performance to small groups | 4.5 | 4.5 | (7.8) | 7 | Not required |  | D1.1av | N/A |  | F6.1 | C1.1 | W1.1h | Wall panels may be required to achieve required sound quality | L6.2i |  | T5 | None | To suit equipment | None | WB+2NB+lighting
|  |  | PE heavy practical spaces | PE heavy practical spaces
ACT22 |  |  |  | fitness/ exercise studio | Fitness rooms (exercise studio) | SL_42_40_30 | Fitness rooms | Space for fitness and exercise equipment | 3.3 | 2.7 | (7.8) | 7 | Not required |  | DD1.1kv | N/A |  | F6.1 | C1.1 | W1.1h | Floor surface must be able to withstand live loads from users, accidental point load impact , and dynamic effects. | L2.6i |  | T2 | None | To suit equipment | None | WB+2NB
Halls, dining and PE area
Primary studios
PER11 |  |  |  | studio | Music and drama classrooms, studio | SL_25_10_54 | Music and drama classrooms | Primary school space for music, movement, dance and drama | 3.3 | 2.7 | (7.8) | 7 | Optional |  | D1.1av | N/A |  | F6.1 | C1.1 | W1.1h | Flooring suitable for heavy movable FF&E on castors | L2.6i |  | T5 | None | Dado on 2 walls | None | Annex 3 Table 8
Large spaces
Halls
HAL13 |  |  |  | main hall (primary) | Assembly halls, primary | SL_25_10_05 | Assembly halls | Multi-purpose hall for assembly, PE, exams and dining in primary schools | 5 | 5 | 10.65 | 10 | Optional |  | DD1.1hv | DD1.1hv | Plain meeting stiles. Must open out from space. All surfaces must be flush with no projecting frames or ironmongery. Fingerguards in Primary | F6.2h | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors | L2.6i | Dimming for stage lighting required | T2/T5 | None | Where required | None | WB+NB+ lighting + PE equipment as ADS
HAL01 |  |  |  | main hall (secondary) | Assembly halls, secondary | SL_25_10_05 | Assembly halls | Multi-purpose hall for assembly, PE and exams and cold food dining, in secondary schools | 6.9 | 6.9 | 12.45 | 12 | Optional |  | DD1.1hv | DD1.1hv | Plain meeting stiles | F6.2h | C1.1 | W2.1h | Suitable for retractable bleacher seating to cover approximately half of the floor area, if adjacent retractable seating storage | L2.6i | Dimming for stage lighting required | T2/T5 | None | To suit equipment | None | lighting + curtains + stage as ADS
Indoor PE spaces
ACT01 |  |  |  | dance studio (10 x 12) | Dance studios | SL_25_10_21 | Dance studios | Space for movement, dance, gymnastics and exams, but not dining | 4.5 | 4.5 | 10 | 10 | Not required |  | DD1.1kv | N/A |  | F6.1 | C1.1 | W1.1h | Floor to match limits of impact and fatigue on human body in DIN 18032: Part 2, and must be easy to clean | L2.6i |  | T2/T5 | None | Where required | None | barres+mirror on 1 wall
ACT05 |  |  |  | activity studio | Activity studios | SL_25_10_01 | Activity studios | Space for movement, dance, gymnastics and other PE activities and exams, but not dining | 5.0 6.9 if >180m2 | 5.0 6.9 if >180m2 | 10.65 | 7.5 10 if >180m2 | Optional |  | DD1.1kv | N/A |  | F6.1 | C1.1 | W6.1h |  | L2.6i |  | T2/T5 | None | Where required | None | WB+NB+ equipment as ADS
ACT21 |  |  |  | climbing wall | Climbing wall spaces (indoor) | SL_42_40_14 | Climbing wall spaces | Space for climbing wall and associated activities | 7.5 | 7.5 | CTS | 2.7 | Not required |  | DD1.1kv | N/A |  | F6.1 | C1.1 | CTS |  | L2.6i |  | T6 | None | Where required | None | as ADS
Sports halls
SPH00 |  |  |  | school sports hall (2 or more courts) | Sports halls, school | SL_42_40_82 | Sports halls | Sports hall with 1 or more badminton courts for school PE activities, exams and informal community use | 7.5 | 7.5 | (18) | 18 | For fire only |  | DD1.1kv | N/A |  | F6.1 | C1.1 | W6.1h | Floor markings to be suitable for sports to be accommodated. Floor sockets to suit the sports hall floor and FF&E provided. | L2.6j |  | T2/T5 | None | Where required | None | WB+NB+PE equipment as ADS
SPH20 |  |  |  | community sports hall | Sports halls, community | SL_42_40_82 | Sports halls | Sports hall with 1 or more badminton courts for school PE activities and formal community use | 7.5 | 7.5 | (20) | 20 | Optional |  | DD1.1kv | N/A |  | F6.1 | C1.1 | W6.1h | Floor markings to be suitable for sports to be accommodated. Floor sockets to suit the sports hall floor and FF&E provided. | L2.6j |  | T2/T5 | None | Where required | None | WB+NB+PE equipment as ADS
Dining and social areas
DIN01 |  |  |  | dining area(s) | Dining halls | SL_40_20_22 | Dining halls | Large space permanently set out for dining for pupils | 3.3 | 2.7 | (10.65) | 3.4 | Optional |  | DD1.1av | DD1.1av | Plain meeting stiles | F4.2h | C1.1 | W2.1h |  | L2.6h |  | T5 | None | Where required | Drinking water outlet | 2 NB
DIN02 |  |  |  | social and sandwich area(s) | Informal dining spaces | SL_40_20_43 | Informal dining spaces | Open area for pupils to socialise and eat snacks and sandwiches in schools | 3.3 | 2.7 | (7.8) | 3.4 | Optional |  | DD1.1av | DD1.1av |  | F4.2h | C1.1 | W2.1h |  | L2.6h |  | T5 | None | Where required | Optional for vending | 2 NB
DIN11 |  |  |  | servery collection area | Servery areas, meal collection | SL_35_60_78 | Servery areas | Area in front of school kitchen servery for collection of food and payment | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 1.7 | Not required |  | N/A | N/A |  | F4.2h | C1.1 | W2.1h |  | L2.6h |  | T5 | None | Where required | To suit equipment | None
DIN12 |  |  |  | satellite servery | Servery areas, satellite | SL_35_60_78 | Servery areas | Separate servery area for snacks, drink and/ or cold foods prepared in main kitchen | 3.3 | 2.7 | N/A | 1.7 | Not required |  | N/A | N/A |  | F4.2h | C1.1 | W2.1h |  | L2.6h |  | T5 | None | Where required | To suit equipment | None
DIN04 |  |  |  | social space | Social spaces | SL_90_20_80 | Social spaces | Open area for pupils to socialise but not to eat | 3.3 | 2.7 | (7.8) | 3.4 | Optional |  | D1.1av | D1.1av |  | F1.1h | C1.1 | W1.1h |  | L2.6h |  | T5 | None | Where required | Optional for vending | 2 NB
Learning resources areas
Libraries and study spaces
LIB01 |  |  |  | library (primary) | School libraries (primary) | SL_25_75_76 | School libraries | Primary school library for all pupils | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | (7.8) | 2.7 | Optional |  | D1.1av | D1.1av | D1.1ev if used by Early Years or infants | F1.1 | C1.1 | W1.1 |  | L2.1a |  | T5 | None | Where required | None | WB + 2NB
LIB05 |  |  |  | library resource centre (LRC) | Library resource centres (LRC) | SL_25_75_45 | Learning resource centres | Secondary school library and careers area | 3.3 | 2.7 | (7.8) | 7.5 | Optional |  | D1.1av | D1.1av |  | F1.1 | C1.1 | W1.1 |  | L2.6d |  | T5 | None | To suit ICT | None | Annex 3 Table 16
LIB07 |  |  |  | study area (e.g. sixth form) | Study spaces, rooms | SL_25_10_84 | Study spaces | Secondary study area, typically for sixth form pupils | 3.3 | 2.7 | (7.8) | 7 | Optional |  | D1.1av | D1.1av |  | F1.1 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | Dado on 2 walls | None | WB+2NB+benching
Arts learning resources
RES12 |  |  |  | music practice/ group rooms | Music practice rooms | SL_25_75_55 | Music practice rooms | Room for music practice/ lessons | 2.4 | N/A | N/A | 1.7 | Not required |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 | Angled wall panels may be required to achieve required sound quality. | L3.1b |  | T5 | None | Where required | None | 2 NB
RES14 |  |  |  | control room for recording | Recording control spaces | SL_40_65_70 | Recording control spaces | Room housing specialist equipment for controlling recordings in space or adjacent music or performance space | 2.4 | N/A | N/A | 1.7 | Not required |  | D1.1av | D1.1av | optional internal window to adjacent recording space | F1.1 | C1.1 | W1.1 | Angled wall panels and sound-absorbing panels may be required to achieve required sound quality. | L6.5g |  | T5 | None | To suit equipment | None | Annex 3 Table 16
RES16 |  |  |  | lighting/ audio control room | Lighting and audio control spaces | SL_40_65_47 | Lighting and audio control spaces | Space housing specialist equipment for controlling lighting and audio systems in adjacent hall or performance space | 2.4 | N/A | N/A | 1.7 | Not required |  | D1.1av | D1.1av | as ADS | F1.1 | C1.1 | W1.1 | Dark coloured wall finishes | L6.5g |  | T5 | None | To suit equipment | None | Benching as ADS
RES23 |  |  |  | art/ design resource | Light practical resource (art/ design) | SL_25_75_47 | Light practical resource spaces | Art resource room for sixth form pupils and display | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 3.4 | Optional |  | D1.1av | N/A |  | F3.4 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | Where required | To suit equipment | As ADS
RES31 |  |  |  | ICT-rich resource area | ICT resource spaces, open | SL_25_75_40 | Information and communications technology (ICT) resource spaces | Open or semi-open plan shared resource area with ICT, typically for the design and technology suite | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | (7.8) | 3.4 | Optional |  | N/A | N/A |  | F3.4 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | To suit ICT | None | As ADS
SEN and support spaces
RES00 |  |  |  | group room | Small group rooms | SL_25_75_80 | Small group rooms | Room for assistance with individuals and small groups of pupils | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1av | N/A | D1.1ev if used by Early Years or infants | F1.1 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | Dado on 2 walls | None | WB+2NB
RES05 |  |  |  | open small group/ discussion | Shared teaching areas, secondary | SL_25_10_79 | Shared teaching areas | Open area for assistance with individuals and small groups of pupils | 2.7 | 2.4 | N/A | 1.7 | Not required |  | N/A | N/A |  | F1.1 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | Dado on 2 walls | None | WB+2NB
SEN20 |  |  |  | SEN resource base | SEN resource spaces | SL_25_75_82 | Special educational needs (SEN) resource spaces | Small room for assistance with individuals and small groups with SEN or disabilities | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1av | D1.1av |  | F1.1 | C1.1 | W1.1 |  | L3.1b |  | T5 | None | Dado on 2 walls | None | WB+2NB
SEN02 |  |  |  | SEN therapy/ MI room | Medical treatment (MI) rooms | SL_35_10_53 | Medical treatment rooms | Room for physio- and other therapy and medical inspections | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1a | N/A | see Annex 2D 4.2.1 | F3.4h | C1.1 | W3.2 |  | L3.1b |  | T6 | None | Dado on 2 walls | H&C,D sink | WB+2NB+sink+ benching
SEN12 |  |  |  | speech therapy | Therapy rooms | SL_35_10_88 | Therapy rooms | Room with specialist equipment for ambulant pupils to receive therapy (such as physio or speech) | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1a | N/A | see Annex 2D 4.2.1 | F1.1 | C1.1 | W1.1 |  | L3.1b | refer to SSB for any specialist lighting requirements | T5 | None | Dado on 2 walls | None | WB+2NB
SEN30 |  |  |  | calming room | Quiet calming spaces, room | SL_35_50_69 | Quiet calming spaces | Room for an individual pupil to be withdrawn and avoid damage to themselves or building fabric | 2.7 | 2.4 | N/A | 1.35 | Not required |  | D1.1av | N/A |  | F1.1h | C1.1 | W1.1 | Monolithic ceiling. Padding on walls if required in SSB | L3.5f | fittings to be tamper proof | T5 | None | None | None | None
SEN40 |  |  |  | Sensory rooms (ambulant) | Sensory rooms | SL_35_50_78 | Sensory rooms | Specially equipped room for light and sound therapy, and option of 'immersive' therapy | 2.4 | N/A | N/A | CTS | Not required |  | D1.1a | N/A |  | F1.1 | C1.1 | W1.1 |  | L6.5f | refer to SSB for any specialist lighting requirements | T5 | None | To suit equipment | None | None
Other learning resource areas
RES21 |  |  |  | kiln room | Heavy practical resource (kiln) | SL_25_75_37 | Heavy practical resource spaces | Room for kiln(s) and drying racks | 2.4 | N/A | N/A | 1.35 | Not required |  | D5.1h | N/A | as ADS | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors | L5.5b |  | T5 | Optional | To suit equipment | To suit equipment | None
RES22 |  |  |  | dark room | Darkrooms | SL_25_30_21 | Darkrooms | Specialist light-tight dark room for photograph developing | 2.4 | N/A | N/A | 2.4 | Not required |  | D4.1a | N/A | as ADS | F3.4 | C1.1 | W1.1 | Flooring suitable for heavy movable FF&E on castors. Dark coloured wall finishes | L6.5e | Separately-switched photographic safe light(s) in room and indicator light on outside required | T5 | None | To suit equipment | C, H&C sink | Annex 3 Table 16
|  |  | Supplementary areas | Supplementary areas
SUP00 |  |  |  | chapel or prayer room | Faith spaces | SL_25_90_30 | Faith spaces | Chapel, prayer room or similar for small group prayer and reflection | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 3.4 | Optional |  | D1.1av | N/A |  | F1.1 | C1.1 | W1.1 |  | L2.6i |  | T5 | None | Where required | None | As ADS
Staff and administration areas
Staff rooms
OFF50 |  |  |  | staff room (prep and social) | Staff rooms | SL_90_20_85 | Staff rooms | Main space for any staff in school to work, meet and socialise, to make tea and snacks and, where required in ADS, to prepare teaching resources | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | (7.8) | 3.4 | Optional |  | D1.1av | N/A | See Annex 2D Table 3 re. glazed screens | F1.1m | C1.1 | W1.1 |  | L1.1k |  | T5 | None | Where required | H&C,D sink | 1NB+benching+sink
Administration offices
ADM05 |  |  |  | general office (1or 2 recep desks) | Enclosed offices, with recep desk | SL_20_15_27 | Enclosed offices | Main office for administrative staff, with reception desk for visitors, off Reception area, entrance; plus optional reception window for pupils | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 3.4 | Not required |  | D1.1a | N/A | Accessible reception desk on one wall, and optional reception window. See Annex 2D 4.2.1 and Table 3 | F1.1 | C1.1 | W1.1 |  | L1.1k |  | T5 | None | Dado on 2 walls | None | 1NB
ADM06 |  |  |  | finance/ student services office | Enclosed offices, with recep window | SL_20_15_27 | Enclosed offices | Main office for finance or student services staff, with reception window for pupils | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 3.4 | Not required |  | D1.1a | N/A | Accessible reception window on one wall. See Annex 2D 4.2.1 and Table 3 re. glazed screens | F1.1 | C1.1 | W1.1 |  | L1.1k |  | T5 | None | Dado on 2 walls | None | 1NB
ADM10 |  |  |  | admin office (PA to head) | Enclosed offices, admin | SL_20_15_27 | Enclosed offices | Office for administrative staff needing full-time use of the office | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1a | D1.1a | see Annex 2D 4.2.1 and Table 3 re. glazed screens | F1.1 | C1.1 | W1.1 |  | L1.1k |  | T5 | None | Dado on 2 walls | None | 1NB
Other staff areas
OFF00 |  |  |  | office (only) | Offices | SL_20_15_59 | Offices | Office for one or more members of staff with admin storage | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1av | N/A | See Annex 2D Table 3 re. glazed screens | F1.1 | C1.1 | W1.1 |  | L3.1k |  | T5 | None | Dado on 2 walls | None | 1NB
OFF30 |  |  |  | office/ workroom | Staff workrooms | SL_90_20_86 | Staff workrooms | Workroom for teaching staff in a department to work and meet, or for one or more premises managers, caretakers or ICT technicians, with space for repair of equipment | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1av | N/A | See Annex 2D Table 3 re. glazed screens | F1.1 | C1.1 | W1.1 |  | L3.1k |  | T5 | None | Dado on 2 walls | None | 1NB+benching as ADS
OFF40 |  |  |  | conference/ meeting room | Meeting rooms (conference) | SL_20_15_50 | Meeting rooms | Conference room for meetings of staff, governors and other adults | 2.7 | 2.4 | N/A | 3.4 | Not required |  | D1.1av | N/A | See Annex 2D Table 3 re. glazed screens | F1.1 | C1.1 | W1.1 |  | L3.1k |  | T5 | None | Dado on 2 walls | None | 1NB
ADM31 |  |  |  | entrance/ reception (50% circ) | Reception areas, entrance (50% circulation) | SL_20_15_71 | Reception areas | Public side' of reception area, of which 50% is net area for waiting, seating and display, and 50% is circulation through the space | 2.7 | 2.4 | N/A | 1.7 | Entrance door or via lobby |  | DD1.1gv | N/A |  | F1.1 | C1.1 | W1.1 | Including mat well unless draught lobby | L3.1k |  | T3 | None | Minimal | None | 1NB
ADM02 |  |  |  | interview room | Confidential meeting rooms (interview) | SL_20_15_15 | Confidential meeting rooms | Room off reception area for meetings with visitors without the need to access the main school | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D1.1av | D1.1av |  | F1.1 | C1.1 | W1.1 |  | L3.1k |  | T5 | None | Minimal | None | 2NB
ADM03 |  |  |  | sick bay | First aid posts, sick bay | SL_35_10_30 | First aid posts | Semi-open bay for pupils who are feeling unwell | 2.7 | 2.4 | N/A | 0.75 | Not required |  | N/A | N/A |  | F3.4h | C1.1 | W3.2 |  | L3.1k |  | T6 | None | Minimal | None if toilet nearby | None
ADM32 |  |  |  | community entrance (50% circ) | Reception areas, community (50% circulation) | SL_20_15_71 | Reception areas | Community entrance area, of which 50% is net area for vending and display, and 50% is circulation through the space | 2.7 | 2.4 | N/A | 1.7 | Entrance door or via lobby |  | DD1.1gv | N/A |  | F1.1 | C1.1 | W1.1 | Including mat well unless draught lobby | L3.1k |  | T3 | None | Minimal | None | 1NB
ADM08 |  |  |  | reprographics room | Reprographics rooms | SL_20_15_73 | Reprographics rooms | Room for reprographics and photocopying machines or multi-function devices | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | N/A | 1.7 | Not required |  | D1.1av | N/A | See Annex 2D Table 3 re. glazed screens | F3.4 | C1.1 | W1.1 | Flooring suitable for heavy movable FF&E on castors | L3.1k |  | T5 | None | To suit equipment | None | 1NB+benching
CIR09 |  |  |  | reprographics/MFD bay | Work booths, MFD | SL_90_20_98 | Work booths | Bay for reprographics, photocopying machines or multi-function devices | 2.7 | 2.4 | N/A | 0.75 | Not required |  | N/A | N/A |  | F3.4 | C1.1 | W1.1 |  | L3.1k |  | T3 | None | To suit equipment | None | Noticeboards with covers
ADM21 |  |  |  | kitchenette | Kitchenettes, room | SL_35_60_45 | Kitchenettes | Small room for staff to make drinks and snacks | 2.7 | 2.4 | N/A | 1.7 | Not required |  | D2.2av | N/A |  | F3.4h | C1.2 | W3.2 |  | L3.1k |  | T5 | None | To suit equipment | H&C,D sink | Benching
ADM22 |  |  |  | kitchenette bay | Kitchenettes, bay | SL_35_60_45 | Kitchenettes | Small bay for staff to make drinks and snacks | 2.7 | 2.4 | N/A | 0.75 | Not required |  | N/A | N/A |  | F3.4h | C1.2 | W3.2 |  | L3.1k |  | T5 | None | To suit equipment | H&C,D sink | Benching
OFF42 |  |  |  | laundry | Laundries | SL_30_60_47 | Laundries | Room for washing, drying and sorting pupils clothes | 2.4 | N/A | N/A | 1.7 | Not required |  | D5.2av | N/A |  | F7.3h | C1.2 | W3.2 |  | L3.1k |  | T5 | None | To suit equipment | H&C sink(s) | 1NB+sink
Storage
Teaching stores
STT09 |  |  |  | teaching storage bay (off classroom) | Classroom stores, bay (off classroom) | SL_90_50_18 | Classroom stores | Storage bay opening off a classroom for teaching resources and materials available to staff | 2.4 | N/A | N/A | 0.9 | Not required |  | N/A | N/A |  | F1.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | None | None | shelving as ADS
STT00 |  |  |  | teaching store (off room) | Classroom stores, room (off classroom) | SL_90_50_18 | Classroom stores | Store room opening off a room for teaching resources or materials | 2.4 | N/A | N/A | 0.9 | Not required |  | D4.1a | N/A |  | F1.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STT10 |  |  |  | specialist store (music, art, DT) | Teaching resources stores | SL_90_50_87 | Teaching resources stores | Store room opening off a teaching space for specialist teaching resources or work in progress | 2.4 | N/A | N/A | 1.7 | Not required |  | D4.1a | N/A |  | F2.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STT35 |  |  |  | food store (off food room) | Food stores, off food room | SL_90_50_29 | Food stores | Store room opening off a food room for food, teaching resources or materials | 2.4 | N/A | N/A | 1.7 | Not required |  | D4.2a | N/A |  | F3.4h | C1.2 | W3.2 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STT08 |  |  |  | drama store (off room) | Equipment stores, drama | SL_90_50_27 | Equipment stores | Store room for drama teaching resources, opening off drama studio | 2.4 | N/A | N/A | 1.7 | Not required |  | DD1.1a | N/A |  | F2.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STT23 |  |  |  | chemical store (off prep room) | Chemicals stores, science | SL_90_50_13 | Chemicals stores | Chemical store associated with science spaces or preparation rooms | 2.4 | N/A | N/A | 1.7 | Not required |  | D5.2h | N/A |  | F3.4 | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors. Floor should be bunded and impervious to chemicals. | L5.5p |  | T3 | None | None | None | shelving as ADS
Prep rooms
STT20 |  |  |  | science prep room | Science prep rooms | SL_25_80_75 | Science preparation rooms | Technician's preparation/ store room for all or some labs or studios in suite | 2.7 if <27m2 3.3 if >27m2 | 2.4 if <27m2 2.7 if >27m2 | (7.8) | 7 | Not required |  | D1.1av | D1.1av |  | F3.4 | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors | L1.1c |  | T5 | Benching | To suit equipment | C, H&C sink | Annex 3 Table 15
STT32 |  |  |  | multi-materials store/ prep room | DT prep rooms | SL_25_80_22 | Design technology preparation rooms | Technician's preparation/store room for all resistant materials rooms | 3.3 | 2.7 | (7.8) | 4.35 | Double doors |  | D5.1av | D5.1av |  | F5.4 | C1.1 | W4.1 | Flooring suitable for heavy movable FF&E on castors | L4.1c |  | T5 | None | To suit equipment | H&C sink(s) | Annex 3 Table 15
STT34 |  |  |  | food store/ prep room | Food prep rooms | SL_25_80_30 | Food preparation rooms | Technician's preparation/store room for all food rooms | 3.3 | 2.7 | N/A | 1.7 | Not required |  | D5.2av | D5.2av |  | F3.4h | C1.2 | W3.2 | Flooring suitable for heavy movable FF&E on castors | L4.1c |  | T5 | None | Dado on 2 walls | H&C,D sink | Annex 3 Table 15
PE stores
STH00 |  |  |  | PE store(s) | Sports equipment stores, internal | SL_90_50_82 | Sports equipment stores | Storage for PE and sports equipment, including mats | 2.7 | 2.4 | N/A | 3.4 | Not required |  | DD5.1h | N/A |  | F2.1 | C1.1 | W4.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STH05 |  |  |  | external PE store | Sports equipment stores, external | SL_90_50_82 | Sports equipment stores | Store for external PE and sports activities | 2.4 | N/A | N/A | 1.7 | Double doors |  | N/A | N/A |  | F2.1 | C1.1 | W4.1 |  | L5.5l |  | T1 | None | None | None | shelving as ADS
|  |  | Non-teaching storage | Non-teaching storage | [6 empty] | N/A
STH10 |  |  |  | furniture/ equipment store(s) | Furniture stores | SL_90_50_32 | Furniture stores | Storage for chairs and tables used in hall | 2.4 | N/A | N/A | 1.7 | Not required |  | DD1.1a | N/A |  | F2.1 | C1.1 | W1.1h | Flooring suitable for heavy movable FF&E on castors | L5.5l |  | T1 | None | None | None | None
STH15 |  |  |  | servery/dining furniture store(s) | Dining furniture stores and servery | SL_90_50_22 | Dining furniture stores | Storage for dining furniture and space in front of servery for pupils to queue and collect food | 2.4 | N/A | N/A | 1.7 | Not required |  | DD1.1a | N/A |  | F4.2h | C1.1 | W2.1h | Flooring suitable for heavy movable FF&E on castors | L2.6h |  | T3 | None | To suit equipment | Where required | None
STH20 |  |  |  | retractable bleacher seating (hall) | Retractable seating storage (off hall) | SL_90_50_73 | Retractable seating storage | storage of retractable bleacher seating in hall | 3.3 | N/A | N/A | 1.2 | Not required |  | N/A | N/A |  | F6.2h | N/A | W2.1h | Floor finish to match adjacent hall where required | N/A |  | N/A | None | None | None | bleacher seating
STN11 |  |  |  | cloakroom (early years, 50% circ) | Cloakrooms, early years (50% circ) | SL_90_20_14 | Cloakrooms | Cloakroom for coat hooks and shelving for bags for pupils, of which 50% is circulation form outside to the classroom(s) | 2.4 | N/A | N/A | 1.7 | Entrance doors |  | N/A | N/A |  | F2.1 | C1.1 | W1.1 |  | L4.4o |  | T3 | None | None | None | coat hooks and bench
STN00 |  |  |  | personal storage (coat hooks) | Coats and bags stores | SL_90_50_19 | Coats and bags stores | Space for lockers or coat hooks and shelving for bags, typically off circulation areas, for pupils | 2.4 | N/A | N/A | 0.6 | Not required |  | N/A | N/A |  | F2.1 | C1.1 | W1.1 |  | L4.4o |  | T3 | None | None | None | coat hooks and benching or lockers as ADS
CIR06 |  |  |  | wheelchair/ appliances bay(s) | Equipment stores, appliance bay | SL_90_50_27 | Equipment stores | Bay off circulation area for parking wheelchairs or other appliances | 2.4 | N/A | N/A | 0.75 1.2 if special | Not required |  | N/A | N/A |  | F1.1 | C1.1 | W5.1h | A means to protect walls from wheelchair damage to be provided | L4.3n |  | T3 | None | To recharge appliances | None | None
STN20 |  |  |  | general store | General storerooms | SL_90_50_35 | General storerooms | Store room for general materials or admin resources, typically opening off corridor | 2.4 | N/A | N/A | 1.7 | Not required |  | D4.1a | N/A |  | F2.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STN50 |  |  |  | secure/ exam/ archive store | Secure storerooms | SL_90_50_77 | Secure storerooms | Secure storage of exam papers, archives or medical equipment and drugs | 2.4 | N/A | N/A | 1.7 | Not required |  | D5.1h | N/A |  | F2.1 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
STN31 |  |  |  | cleaners' store(s) | Cleaners' stores | SL_90_50_16 | Cleaners' stores | Cleaners' store with sink | 2.1 | N/A | N/A | 0.75 | Not required |  | D5.1h | N/A |  | F3.4 | C1.2 | W2.2h | Flooring suitable for heavy movable FF&E on castors | L5.5l |  | T1 | None | Minimal | H&C sink(s) | shelving as ADS+sink
STN32 |  |  |  | general store (maintenance) | Equipment stores, maintenance | SL_90_50_27 | Equipment stores | General storage of maintenance equipment and resources such as floor cleaners | 2.4 | N/A | N/A | 1.7 | Not required |  | DD1.1a | N/A |  | F3.4 | C1.1 | W1.1 |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
Non-net area
Kitchen preparation areas
KIT00 |  |  |  | school kitchen prep & servery | Food prep areas, kitchen | SL_35_60_30 | Food preparation areas | Preparation, servery and wash-up area of commercial kitchen for preparing and serving school meals | 2.7 | 2.4 | (7.8) | 7 | Required |  | D5.2av | N/A |  | F8.4h | C1.2 | W3.2 |  | L4.5m |  | T4 | Appliances | To suit equipment | H&C,D | As ADS
Other kitchen areas
KIT11 |  |  |  | kitchen office/ admin area | Offices, kitchen | SL_20_15_59 | Offices | Chef's office or admin area within commercial kitchen for preparing and serving school meals | 2.4 | N/A | N/A | CTS | Not required |  | D2.2av | N/A |  | F3.4h | C1.2 | W2.2h |  | L4.5m |  | T4 | None | Minimal | None | As ADS
KIT20 |  |  |  | kitchen store | Food stores, kitchen | SL_90_50_29 | Food stores | Commercial kitchen dry or COSHH store for use by school catering staff, as part of school kitchen suite | 2.4 | N/A | N/A | CTS | Not required |  | D4.2a | N/A |  | F3.4h | C1.2 | W2.2h |  | L5.5l |  | T1 | None | Minimal | None | shelving as ADS
KIT25 |  |  |  | kitchen cold/ freezer store | Cold stores, kitchen | SL_90_50_15 | Cold stores | Commercial kitchen cold or freezer store for use by school catering staff, as part of school kitchen suite | 2.4 | N/A | N/A | CTS | Not required |  | CTS | N/A | Contractor to specify | CTS | CTS | CTS | Contractor to specify to suit best practice standards and guidance | L5.5l |  | CTS | CTS | CTS | None | CTS
KIT40 |  |  |  | kitchen toilet/ changing area | Toilets, kitchen (with changing area) | SL_35_80_89 | Toilets | Toilet for use by school catering staff, accessed from space for kitchen staff lockers and changing | 2.4 | N/A | N/A | CTS | Not required |  | D3.2b | N/A |  | F7.3h | C2.2 | W2.2h |  | L5.4o |  | T3 | None | Hand dryers | H&C, C | Annex 2A Table 1
Changing rooms
TOC01 |  |  |  | pupil changing and showers | Changing rooms, with showers | SL_90_20_13 | Changing rooms | Wet changing and shower cubicles for male or female pupils | 3.3 | 2.7 | (7.8) | CTS | Required |  | D3.2cv | N/A |  | F7.3h | C2.2/ 2.3 | W3.2/ 3.3 | Flooring in barefoot areas shall be barefoot slip resistance category B. Ceiling type C2.3 and wall type W3.3 in shower areas. Floor finish in shower areas to provide drainage | L4.4o | IP rating for wet areas | T6 | None | Hand dryer | H&C,D | FF&E as ADS. Sanitaryware to suit showers
TOC02 |  |  |  | accessible/ staff changing | Accessible (and staff) changing rooms | SL_35_80_01 | Accessible changing rooms | Wet changing and shower cubicle for male or female staff, or for disabled or community users | 2.4 | N/A | N/A | CTS | Not required |  | D2.2d | N/A |  | F7.3h | C2.3 | W3.3 | Flooring in barefoot areas shall be barefoot slip resistance category B. Flooring to be part of a wet room construction. Ceiling to take hoist tracking in both directions, avoiding light fittings | L4.4o | IP rating for wet areas | T6 | None | Hand dryer | H&C,D | FF&E as ADS. Sanitaryware to suit showers
TOC03 |  |  |  |  | Changing rooms, ablusions and shoes | SL_90_20_13 | Changing rooms | Changing and washing for pupils, adjacent to a prayer space | 2.4 | N/A | N/A | CTS | Not required |  | D3.2cv | N/A |  | F7.3h | C2.2 | W3.2 |  | L5.4o |  | T5 | None | Minimal | H&C,D | FF&E as ADS. Sanitaryware to suit showers
Toilets and hygiene rooms
TOC04 |  |  |  | large hygiene room | Hygiene rooms | SL_35_80_39 | Hygiene rooms | Hygiene room for disabled pupils' wash-down, showering and toileting using a ceiling-mounted hoist, with wc, wash-hand basin, shower and a shower-bed | 2.7 | N/A | N/A | 2.7 | Not required |  | D2.2d | D2.2d if 2 doors |  | F7.3h | C2.3 | W3.3 | Flooring in barefoot areas shall be barefoot slip resistance category B. Flooring to be part of a wet room construction. Ceiling to take hoist tracking in both directions, avoiding light fittings | L5.4o |  | T6 | None | Hand dryer | H&C,D | Annex 2A Table 1
TOC30 |  |  |  | supervisable toilets | Supervisable toilets (early years) | SL_35_80_85 | Supervisable toilets | Pupils' toilets and hand-wash/ dry area for early years or pupils with SEN, easily supervisable | 2.7 | 2.4 | N/A | CTS | Not required |  | N/A | N/A |  | F7.3h | C1.1 | W2.2h | Tiling or similar above wash-hand basin as a minimum | L5.4o |  | T5 | None | Hand dryer | H&C,D | Annex 2A Table 1
TOC10 |  |  |  | toilet suite | Toilets, suite | SL_35_80_89 | Toilets | Suite of toilet cubicles and hand-wash/ dry area, for pupils or for staff | 2.7 | 2.4 | N/A | CTS | Not required |  | D3.2cv | N/A |  | F7.3h | C2.2 | W2.2h | Tiling or similar above wash-hand basin as a minimum | L5.4o |  | T3 | None | Hand dryer | H&C,D | Annex 2A Table 1
TOC15 |  |  |  | individual toilet | Toilets, individual | SL_35_80_89 | Toilets | Individual toilet for pupils or for staff, sink and hand-wash/ dry in one space | 2.4 | N/A | N/A | 0.8 | Not required |  | D3.2b | N/A |  | F7.3h | C2.2 | W2.2h | Tiling or similar above wash-hand basin as a minimum | L5.4o |  | T3 | None | Hand dryer | H&C,D | Annex 2A Table 1
TOC21 |  |  |  | accessible/ staff toilet | Accessible (and staff) toilets | SL_35_80_03 | Accessible toilets | Accessible toilets suitable for disabled pupils as well as any staff or visitors | 2.4 | N/A | N/A | 2.3 | Not required |  | D2.2d | N/A |  | F7.3h | C2.2 | W2.2h | Tiling or similar above wash-hand basin as a minimum | L5.4o |  | T3 | None | Hand dryer | H&C,D | Annex 2A Table 1
Plant area
PLA02 |  |  |  | ventilation and other plant | Plant and control spaces | SL_90_90 | Plant and control spaces | Any enclosure used for plant, including central ventilation or sprinkler tanks | N/A | N/A | N/A | CTS | Optional |  | CTS | N/A |  | N/A | N/A | N/A |  | L5.5p |  | N/A | N/A | N/A | N/A | N/A
PLA05 |  |  |  | distribution boards | Switch rooms, distribution boards | SL_90_90_85 | Switch rooms | Cupboard for ICT hub or electrical distribution board | N/A | N/A | N/A | CTS | Not required |  | D5.1h | N/A |  | N/A | N/A | W4.1 |  | N/A |  | N/A | N/A | N/A | N/A | N/A
PLA07 |  |  |  | plant stairway | Stairways, plant | SL_90_10_87 | Stairways | Enclosure for stairway to rooftop or other plant | N/A | N/A | N/A | CTS | Optional |  | D5.1h | N/A |  | N/A | N/A | W4.1 |  | L5.5p |  | N/A | N/A | N/A | None | N/A
PLA10 |  |  |  | server room/ ICT hub | Server rooms | SL_90_90_77 | Server rooms | Space for ICT servers or hub | 2.4 | N/A | N/A | 3.4 | Not required |  | D5.1h | N/A |  | F2.1 | C3.2 | W1.1 | All finishes shall be static resistant | L5.5p |  | see TA 2F | None | To suit equipment | None | As GDB section 4
PLA20 |  |  |  | central plant room | Plant rooms | SL_90_90_64 | Plant rooms | Internal room for mechanical or electrical plant, including boilers and tanks | N/A | N/A | N/A | CTS | Double doors |  | D5.1h | N/A |  | F5.4 | C3.2 | W4.1 | Flooring suitable for heavy movable FF&E on castors | L5.5p |  | N/A | N/A | N/A | N/A | N/A
PLA30 |  |  |  | risers, flues and vertical ducts | Light wells | SL_90_60_51 | Light wells | Any void for vertical ventilation that is open to adjacent spaces or circulation | N/A | N/A | N/A | CTS | Not required |  | CTS | N/A |  | N/A | N/A | CTS |  | N/A |  | N/A | N/A | N/A | N/A | N/A
PLA40 |  |  |  | risers, flues and vertical ducts | Services shafts (enclosed risers, flues and ducts) | SL_90_90_78 | Services shafts | Any vertical riser or duct space used for plant | N/A | N/A | N/A | CTS | Not required |  | D5.1h | N/A |  | N/A | N/A | CTS |  | N/A |  | N/A | N/A | N/A | N/A | N/A
Circulation areas
CIR00 |  |  |  | horizontal circulation | Circulation spaces (horizontal) | SL_90_10 | Circulation spaces | Any circulation area or space off circulation except stairwells and lifts, including corridors, lobbies, balconies, circulation area within spaces and bays off corridors. | 2.4 | N/A | N/A | as GDB / ADS | varies |  | varies | varies |  | F1.1 | C1.1 | W5.1h |  | L4.3n |  | T3 | None | Minimal | Drinking water on each floor | 1NB with cover for every 10m
CIR01 |  |  |  | main corridor(s) | Corridors | SL_90_10_15 | Corridors | Corridor space between rooms, stairwells and lobbies providing circulation for pupils | 2.4 | N/A | N/A | as GDB | Not required |  | N/A | DD1.1fv |  | F1.1 | C1.1 | W5.1h |  | L4.3n |  | T3 | None | Minimal | Drinking water on each floor | 1NB with cover for every 10m
CIR03 |  |  |  | entrance lobbies | Lobbies | SL_90_10_51 | Lobbies | Lobby area between main external doors and internal lobby doors | 2.4 | N/A | N/A | 2.2 | Entrance doors |  | DD1.1gv | N/A |  | F9.2 | C1.1 | W5.1h | including mat well | L4.3n |  | T3 | None | Minimal | None | None
CIR12 |  |  |  | stairwell | Stairways | SL_90_10_87 | Stairways | Enclosed stairwell between floors, including stairs, landings and fire escape refuge areas | N/A | N/A | (7.8) | 3.4 | Fire doors |  | DD1.1gv | N/A | See Annex 2D Table 3 re. glazed screens and Annex 2D, 4.1.9, Table 2 | F1.1 | C1.1 | W5.1h |  | L4.3n |  | T3 | None | Minimal | None | N/A
CIR13 |  |  |  | lift | Lifts | SL_90_10_47 | Lifts | Lift enclosure and space to wait in front of doors | N/A | N/A | N/A | 1.4 | Not required |  | CTS | N/A |  | F1.1 | N/A | N/A |  | L4.3n |  | T3 | None | N/A | None | N/A
Residential accommodation
BED00 |  |  |  | staff bedroom | Bedrooms | SL_45_10_09 | Bedrooms | Residential school bedroom for pupils or overnight staff | 2.4 | N/A | N/A | CTS | Not required | Lockable openable windows and vents to be provided | D1.1a | N/A | Access system to be agreed with school | F1.1 | C2.1 | W1.1 | Flooring to be cleanable and not hold smells; If carpet, must be suitable to sit on. | L4.5f | Task luminaire (fixed or portable) required. Manual dimming to main lighting required. | T2/T6 | None | None | None | Annex 3 Table 17
BED05 |  |  |  | overnight sick room | First aid posts, overnight sick room | SL_35_10_30 | First aid posts | Residential school sick room for pupils staying overnight | 2.4 | N/A | N/A | CTS | Not required |  | D1.1a | N/A | Access system to be agreed with school | F1.1 | C2.1 | W1.1 |  | L4.5f | Task luminaire (fixed or portable) required. Manual dimming to main lighting required. | T2/T6 | None | Minimal | H&C,D sink | as ADS
TOC40 |  |  |  | pupil bathroom or shower | Bathrooms | SL_35_80_08 | Bathrooms | Residential school bathroom, with bath or shower, for pupils or overnight staff | 2.4 | N/A | N/A | CTS | Not required | Lockable openable windows and vents to be provided | D3.2b | N/A | If door leaf opens inwards it shall be openable outwards in an emergency | F7.3h | C2.3 | W3.3 | Flooring in barefoot areas shall be barefoot slip resistance category B. Tiling or similar full height around shower area and above wash-hand basin as a minimum. | L5.4o | Mirror light | T6 | None | Shaver socket and optional hand drier | H&C,D | As ADS
TOC45 |  |  |  | pupil bathroom (accessible, ensuite) | Bathrooms, accessible ensuite (pupil) | SL_35_80_08 | Bathrooms | Residential school bathroom with shower, for pupils with accessibility needs, off accessible bedroom | 2.4 | N/A | N/A | CTS | Not required | Lockable openable windows and vents to be provided | D2.2d | N/A | Ergonomic handle and Access control system to be agreed with school. If door leaf opens inwards it shall be openable outwards in an emergency | F7.3h | C2.3 | W3.3 | Flooring in barefoot areas shall be barefoot slip resistance category B. Tiling or similar full height around shower area and above wash-hand basin as a minimum. | L5.4o | Mirror light | T6 | None | Shaver socket and optional hand drier | H&C,D | As ADS
LIV00 |  |  |  | staff kitchen/ living/ dining room | Kitchen-dining rooms | SL_45_10_44 | Kitchen-dining rooms | Kitchen, living and dining room for overnight staff or pupils in residential accommodation | 2.4 | N/A | N/A | CTS | Optional | Lockable openable windows and vents to be provided | D1.1av | N/A | Access system to be agreed with school. | F1.1 | C2.1 | W1.1 | Flooring to be cleanable and not hold smells; If carpet, must be suitable to sit on. | L4.5f | Task luminaire (fixed or portable) required. Manual dimming to main lighting required. | T2/T6 | None | to suit equipment | H&C,D | As ADS
LIV10 |  |  |  | pupil living/ dining room | Communal living rooms (pupils) | SL_45_10_14 | Communal living rooms | Living and dining room for mainstream pupils in residential accommodation, or for life skills | 2.4 | N/A | N/A | CTS | Optional | Lockable openable windows and vents to be provided | D1.1av | N/A | Access system to be agreed with school. | F1.1 | C2.1 | W1.1 | Flooring to be cleanable and not hold smells; If carpet, must be suitable to sit on. | L4.5f | Task luminaire (fixed or portable) required. Manual dimming to main lighting required. | T2/T6 | None | to suit equipment | None | As ADS