## Sheet1
National coding taxonomy for incident learning in clinical imaging, MRI and nuclear medicine
This worksheet contains 6 tables.
Table 1. Severity
Severity | Code
Level 1. Incident - requires notification | L1
Level 2. Incident - non-notifiable (locally reported and investigated) | L2
Level 3. Near miss - non-notifiable (locally reported and investigated) | L3
Table 2. Exposure type
Exposure type | Code
E1. Medical exposure | E1
E2. Non-medical imaging | E2
E3. Research | E3
E4. Health screening programmes | E4
E5. Individual health assessment | E5
Table 3. Intended MODALITY
Intended MODALITY | Code
MA. General radiography | MA
MB. Computed tomography | MB
MC. Nuclear medicine diagnostic | MC
MD. Nuclear medicine therapies | MD
ME. Fluoroscopy | ME
MF. Mammography | MF
MG. Magnetic resonance imaging | MG
MH. Ultrasound | MH
MX. No exposure intended | MX
Table 4. Performed MODALITY
Performed MODALITY | Code
P1. General radiography | P1
P2. Computed tomography | P2
P3. Nuclear medicine diagnostic | P3
P4. Nuclear medicine therapies | P4
P5. Fluoroscopy | P5
P6. Mammography | P6
P7. Magnetic resonance imaging | P7
PX. No exposure performed | PX
Table 5. Patient pathway
Patient pathway | Code
1. Referral process
1.1. Referral information | 1.1a) Insufficient or inaccurate demographic information or duplicate referral
1.1. Referral information | 1.1b) Insufficient or inaccurate clinical information or working outside scope
1.1. Referral information | 1.1c) MRI insufficient or inaccurate safety information
1.2. Appointment process | 1.2a) Appointment booking
1.3. Patient preparation | 1.3a) Psychological preparation
1.3. Patient preparation | 1.3b) Physical preparation
2. Justification and authorisation process
2.1. Safety checks | 2.1a) Patient identification and pregnancy/breastfeeding status
2.1. Safety checks | 2.1b) Imaging history check
2.1. Safety checks | 2.1c) Contraindication or allergy checks
2.1. Safety checks | 2.1d) MRI implanted medical device check
2.1. Safety checks | 2.1e) Record of authorisation
2.1. Safety checks | 2.1f) No appropriate employer or practitioner licence in place (NM only)
3. Practical aspects
3.1. Patient safety checks | 3.1a) Confirmation of patient identification and information
3.1. Patient safety checks | 3.1b) Confirmation of pregnancy or breastfeeding status
3.1. Patient safety checks | 3.1c) Duplicate referral or imaging history check
3.1. Patient safety checks | 3.1d) Contraindications, preparation and medication check
3.1. Patient safety checks | 3.1e) MRI implanted medical devices or contraindications check
3.1. Patient safety checks | 3.1f) Check patient information provided and patient consent
3.2. Exposure safety checks | 3.2a) Patient selection on equipment
3.2. Exposure safety checks | 3.2b) Patient set-up
3.2. Exposure safety checks | 3.2c) Equipment set-up and protocol selection
3.3. Radiopharmaceutical preparation | 3.3a) Physical labelling issue
3.3. Radiopharmaceutical preparation | 3.3b) Pharmaceutical
3.3. Radiopharmaceutical preparation | 3.3c) Concentration or volume
3.3. Radiopharmaceutical preparation | 3.3d) Radioactivity measurement
3.4. Contrast or pharmaceutical administration | 3.4a) Wrong timing
3.4. Contrast or pharmaceutical administration | 3.4b) Radiopharmaceutical
3.4. Contrast or pharmaceutical administration | 3.4c) Physical administration
3.5. Equipment | 3.5a) Installation, acceptance testing and commissioning
3.5. Equipment | 3.5b) Set-up and changes to embedded protocols
3.5. Equipment | 3.5c) Quality control and calibration
3.5. Equipment | 3.5d) Servicing or planned maintenance
3.5. Equipment | 3.5e) Equipment malfunction
3.5. Equipment | 3.5f) MRI projectile hazards
3.6. Image acquisition and management | 3.6a) Incomplete or inadequate image or data acquisition
3.6. Image acquisition & management | 3.6b) Image storage or transfer of data
3.6. Image acquisition & management | 3.6c) Image annotation
3.6. Image acquisition & management | 3.6d) Post processing data
3.7. Clinical evaluation | 3.7a) Failure to undertake clinical evaluation
3.7. Clinical evaluation | 3.7b) Inaccurate or discrepancy in a clinical evaluation leading to additional exposure
3.7. Clinical evaluation | 3.7c) Failure to escalate or act on results or unexpected findings
3.7. Clinical evaluation | 3.7d) Unexpected event or reaction
Table 6. Contributory factors
Contributory factors | Code
CF1 Individual | CF1a) Failure to recognise the hazard
CF1 Individual | CF1b) Decision making process
CF1 Individual | CF1c) Slips and lapses
CF1 Individual | CF1d) Communication
CF1 Individual | CF1e) Violation
CF2 Procedural | CF2a) No procedures, protocols or guidelines
CF2 Procedural | CF2b) Inadequate procedures, protocols, guidelines or contracts
CF2 Procedural | CF2c) Failure to follow procedures, protocols or guidelines
CF2 Procedural | CF2d) Process design fault
CF3 Technical (equipment) | CF3a) Equipment or IT network failure
CF3 Technical (equipment) | CF3b) Commissioning, calibration, maintenance and handover
CF3 Technical (equipment) | CF3c) Device or product design
CF4 Patient-related | CF4a) Medical condition
CF4 Patient Related | CF4b) Communication with the patient
CF4 Patient Related | CF4c) Patient choice
CF5 Teamwork, management and organisational | CF5a) Inadequate leadership
CF5 Teamwork, Management and Organisational | CF5b) Unclear responsibilities or lines of accountability
CF5 Teamwork, Management and Organisational | CF5c) Inadequate capital resources
CF5 Teamwork, Management and Organisational | CF5d) Inadequate staffing
CF5 Teamwork, Management and Organisational | CF5e) Inadequate training and education
CF5 Teamwork, Management and Organisational | CF5f) Inadequate risk assessment or change management
CF6 Environmental | CF6a) Physical
CF6 Environmental | CF6b) Natural factors
CF7 Other | CF7a) Other