## Cover sheet
Impact of Measures: Percentage savings by year of installation, England and Wales
National Energy Efficiency Data-Framework (NEED)
This workbook presents Accredited Official Statistics on estimated gas savings resulting from energy efficiency measures and electricity savings from solar panels installed from 2011 to 2021, by year of installation. These estimated savings are for the first year after installation.
Owing to continual modifications to the methodology used, the headline impact of measures estimates from successive years are not directly comparable. Therefore, in order to enable more like for like comparisons between successive installation years, past impact of measures estimates presented in this workbook have been recalculated based on the latest methodology (used for the 2021 installations) and the latest version of NEED (2024).
Contents
This cover sheet is followed by a notes page providing additional information / clarification for the data table which follows.
Methodology
The Impact of Measures estimates are based on comparing the gas consumption in properties before and after an energy efficiency measure has been installed (or electricity consumption before and after solar PV has been installed). The changes in consumption for properties which have had the given measure installed are compared with the changes in consumption for similar properties with no energy efficiency measures known to have been installed over the period in question.
The Impact of Measures estimates are weighted, which means that they have been adjusted to be representative of the entire housing stock, rather than just the properties which had the given measures installed on the given year.
For gas, only households with a valid gas consumption figure between 2,500 and 50,000 kWh have been included in this analysis. For electricity, only households with valid electricity consumption figure between 500 and 25,000 kWh have been included.
Estimates based on small sample sizes are likely to be less reliable.
More details about how the Impact of Measures estimates and calculated can be found in:
NEED methodology note
Reasons for low sample sizes for some measures / years
The samples sizes for loft insulation, cavity wall insulation and solid wall insulation for the years 2017 onwards, appear particularly low when compared to 2015-2016. This is a consequence of two factors:
1. The number of installations under the Energy Company Obligation (ECO) scheme has declined in recent years.
2. A large gap between the 2015 and 2016 gas years led to longer 2015 and 2016 installation years, which means larger sample sizes than if these installation years had only been 12 months long. E.g. for estimating the savings from 2016 installations, the gas years before (2015) and after (2017) installation are compared. The period between the end of the 2015 gas year (Oct 2014 - Sep 2015) and the start 2017 gas year (mid-Jun 2017 - mid-Jun 2018), which is used as the 2016 installation year, was 20.5 months long. This is also the reason for relatively high samples sizes for condensing boilers in 2015 and 2016.
The markedly lower sample sizes for solar PV, from 2016 onwards, reflect lower numbers of accredited solar panels being installed.
Units
Percentage savings are provided.
Sample sizes are rounded to the nearest 10.
These savings refer to positive savings. For example, a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
Publication dates
Publication date: 27 June 2024
Next update: June 2025
Domestic NEED publication data and documents
Statistical releases (including data sources and methodology)
Consumption data tables
Impact of Measures data tables
Property level domestic consumption data
Contact details
Responsible statistician: Hiten Shah
energyefficiency.stats@energysecurity.gov.uk
newsdesk@energysecurity.gov.uk

## Notes
Notes
This worksheet contains one table.
Notes | Note text
note 1 | Loft insulation includes roof and 'room-in-roof' insulation.
note 2 | The results for solar PV show electricity savings, while the results for the other measures refer to gas savings.

## Table
Estimated gas percentage savings (electricity savings for solar PV) resulting from the installation of an energy efficiency measure, by year of installation
Installation years: 2011-2021
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year | Number in sample: Condensing Boiler | Number in sample: Solid Wall Insulation | Number in sample: Cavity Wall Insulation | Number in sample: Loft Insulation [note 1] | Number in sample: Solar PV | Median savings: Condensing Boiler | Median savings: Solid Wall Insulation | Median savings: Cavity Wall Insulation | Median savings: Loft Insulation [note 1] | Median savings: Solar PV [note 2] | Mean savings: Condensing Boiler | Mean savings: Solid Wall Insulation | Mean savings: Cavity Wall Insulation | Mean savings: Loft Insulation [note 1] | Mean savings: Solar PV [note 2]
2011 | 268610 | 2270 | 126340 | 222670 | 65860 | 8.2% | 15.2% | 8.4% | 2.4% | 12.8% | 6.4% | 14.6% | 7.7% | 2.3% | 12.1%
2012 | 266810 | 4940 | 143300 | 327110 | 53750 | 7.7% | 18% | 7.7% | 2.5% | 12.4% | 6.1% | 17.8% | 7.2% | 2.3% | 11.5%
2013 | 335470 | 10950 | 58100 | 141380 | 34610 | 7% | 11.2% | 6.1% | 1.8% | 15.5% | 5.4% | 11.3% | 5.8% | 1.6% | 14.4%
2014 | 383020 | 12680 | 71770 | 34750 | 46510 | 6.4% | 13.6% | 8.4% | 3.4% | 14% | 5% | 13.3% | 7.8% | 2.7% | 12.9%
2015 | 416750 | 11130 | 41230 | 26750 | 59110 | 6.8% | 14.3% | 8.1% | 2.6% | 14.3% | 5.4% | 14.3% | 7.4% | 1.8% | 12.8%
2016 | 520790 | 6880 | 27650 | 12640 | 6360 | 5.7% | 15.3% | 7.8% | 1.4% | 13.4% | 4.3% | 14.9% | 6.9% | 0.3% | 11.1%
2017 | 188690 | 890 | 7430 | 2420 | 4070 | 5.7% | 19.1% | 7.8% | 4.5% | 13% | 4.1% | 18.3% | 6.7% | 3.6% | 9.7%
2018 | 280660 | 820 | 6060 | 2210 | 4950 | 5.3% | 18.2% | 8.9% | 3.8% | 14% | 3.8% | 17.2% | 8.3% | 2.7% | 11.1%
2019 | 336060 | 230 | 3990 | 1280 | 3910 | 4.4% | 19.3% | 10.1% | 3.1% | 9.4% | 3.1% | 18% | 9.9% | 1.9% | 6.3%
2020 | 374720 | 980 | 5150 | 3960 | 1580 | 3.8% | 13.5% | 9.3% | 2.7% | 7.8% | 2.5% | 12.2% | 8.8% | 2.2% | 2.7%
2021 | 366710 | 3550 | 4390 | 3460 | 3950 | 3% | 9.5% | 7.9% | 2.6% | 12% | 1.9% | 8.8% | 7.5% | 2.4% | 8.7%