## Cover_sheet
Detailed analysis of fires attended by FRSs
England, April 2022 to March 2023: data tables
Tables 0704
Responsible Statistician: Helene Clark
Email: Firestatistics@homeoffice.gov.uk
Press enquiries: 0300 123 3535
Published: 21 September 2023
Next update: Autumn 2024
Crown copyright © 2023
Contents
We’re always looking to improve the accessibility of our documents.
If you find any problems, or have any feedback, relating to accessibility
please email us at firestatistics@homeoffice.gov.uk

## Contents
Detailed analysis of fires attended by FRSs
Publication Date: 21 September 2023
To access data tables, select the table number or tabs.
Cover sheet
Sheet | Title | Detail | Period covered | National Statistics?
FIRE0704 | Percentage of smoke alarms that did not operate in primary dwelling fires and fires resulting in casualties in dwellings, by type of alarm and reason for failure, England | Shows the percentage of smoke alarms that did not operate in primary dwelling fires and fires resulting in casualties in dwellings, by type of alarm and reason for failure in England. | 2010/11 to 2022/23 | Yes
Data - dwelling fires | Raw data for the main data table | Provides the raw data behind the main data table. | 2010/11 to 2022/23 | Yes
Data - df with casualties | Raw data for the main data table | Provides the raw data behind the main data table. | 2010/11 to 2022/23 | Yes

## Data - dwelling fires
FINANCIAL_YEAR | SYSTEM_TYPE | REASON_FOR_POOR_OUTCOME | TOTAL_SMOKE_ALARMS
2010/11 | Battery powered | Other | 8
2010/11 | Battery powered | Other | 108
2010/11 | Battery powered | Missing battery | 639
2010/11 | Battery powered | Fire in area not covered by system | 187
2010/11 | Battery powered | Other act preventing alarm from operating | 35
2010/11 | Battery powered | Other | 67
2010/11 | Battery powered | Defective battery | 268
2010/11 | Battery powered | Faulty system / incorrectly installed | 35
2010/11 | Battery powered | Other | 8
2010/11 | Battery powered | Fire products did not reach detector(s) | 742
2010/11 | Battery powered | Faulty system / incorrectly installed | 49
2010/11 | Battery powered | Other act preventing alarm from operating | 7
2010/11 | Battery powered | Other | 65
2010/11 | Battery powered | Other | 7
2010/11 | Battery powered | Other | 67
2010/11 | Battery powered | Missing battery | 44
2010/11 | Battery powered | Fire in area not covered by system | 173
2010/11 | Battery powered | Other act preventing alarm from operating | 29
2010/11 | Battery powered | Other | 73
2010/11 | Battery powered | Defective battery | 44
2010/11 | Battery powered | Faulty system / incorrectly installed | 25
2010/11 | Battery powered | Other | 4
2010/11 | Battery powered | Fire products did not reach detector(s) | 778
2010/11 | Battery powered | Faulty system / incorrectly installed | 33
2010/11 | Battery powered | Other act preventing alarm from operating | 6
2010/11 | Battery powered | Other | 79
2010/11 | Mains powered | Other | 4
2010/11 | Mains powered | Other | 61
2010/11 | Mains powered | Missing battery | 4
2010/11 | Mains powered | Fire in area not covered by system | 99
2010/11 | Mains powered | Other act preventing alarm from operating | 69
2010/11 | Mains powered | Other | 41
2010/11 | Mains powered | Defective battery | 3
2010/11 | Mains powered | Faulty system / incorrectly installed | 10
2010/11 | Mains powered | Other | 10
2010/11 | Mains powered | Fire products did not reach detector(s) | 374
2010/11 | Mains powered | Faulty system / incorrectly installed | 82
2010/11 | Mains powered | Other act preventing alarm from operating | 68
2010/11 | Mains powered | Other | 48
2010/11 | Mains powered | Other | 5
2010/11 | Mains powered | Other | 82
2010/11 | Mains powered | Missing battery | 29
2010/11 | Mains powered | Fire in area not covered by system | 201
2010/11 | Mains powered | Other act preventing alarm from operating | 142
2010/11 | Mains powered | Other | 93
2010/11 | Mains powered | Defective battery | 8
2010/11 | Mains powered | Faulty system / incorrectly installed | 12
2010/11 | Mains powered | Other | 14
2010/11 | Mains powered | Fire products did not reach detector(s) | 765
2010/11 | Mains powered | Faulty system / incorrectly installed | 106
2010/11 | Mains powered | Other act preventing alarm from operating | 62
2010/11 | Mains powered | Other | 103
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Other | 26
2010/11 | Battery powered | Missing battery | 129
2010/11 | Battery powered | Fire in area not covered by system | 44
2010/11 | Battery powered | Other act preventing alarm from operating | 5
2010/11 | Battery powered | Other | 22
2010/11 | Battery powered | Defective battery | 49
2010/11 | Battery powered | Faulty system / incorrectly installed | 8
2010/11 | Battery powered | Other | 5
2010/11 | Battery powered | Fire products did not reach detector(s) | 202
2010/11 | Battery powered | Faulty system / incorrectly installed | 10
2010/11 | Battery powered | Other | 30
2010/11 | Mains powered | Other | 2
2010/11 | Mains powered | Fire in area not covered by system | 12
2010/11 | Mains powered | Other act preventing alarm from operating | 4
2010/11 | Mains powered | Other | 9
2010/11 | Mains powered | Fire products did not reach detector(s) | 35
2010/11 | Mains powered | Faulty system / incorrectly installed | 8
2010/11 | Mains powered | Other act preventing alarm from operating | 7
2010/11 | Mains powered | Other | 6
2011/12 | Battery powered | Other | 8
2011/12 | Battery powered | Other | 106
2011/12 | Battery powered | Missing battery | 603
2011/12 | Battery powered | Fire in area not covered by system | 202
2011/12 | Battery powered | Other act preventing alarm from operating | 25
2011/12 | Battery powered | Other | 67
2011/12 | Battery powered | Defective battery | 287
2011/12 | Battery powered | Faulty system / incorrectly installed | 24
2011/12 | Battery powered | Other | 5
2011/12 | Battery powered | Fire products did not reach detector(s) | 698
2011/12 | Battery powered | Faulty system / incorrectly installed | 36
2011/12 | Battery powered | Other act preventing alarm from operating | 5
2011/12 | Battery powered | Other | 53
2011/12 | Battery powered | Other | 4
2011/12 | Battery powered | Other | 61
2011/12 | Battery powered | Missing battery | 60
2011/12 | Battery powered | Fire in area not covered by system | 199
2011/12 | Battery powered | Other act preventing alarm from operating | 37
2011/12 | Battery powered | Other | 78
2011/12 | Battery powered | Defective battery | 66
2011/12 | Battery powered | Faulty system / incorrectly installed | 21
2011/12 | Battery powered | Other | 5
2011/12 | Battery powered | Fire products did not reach detector(s) | 841
2011/12 | Battery powered | Faulty system / incorrectly installed | 28
2011/12 | Battery powered | Other act preventing alarm from operating | 4
2011/12 | Battery powered | Other | 79
2011/12 | Mains powered | Other | 5
2011/12 | Mains powered | Other | 52
2011/12 | Mains powered | Missing battery | 6
2011/12 | Mains powered | Fire in area not covered by system | 92
2011/12 | Mains powered | Other act preventing alarm from operating | 69
2011/12 | Mains powered | Other | 54
2011/12 | Mains powered | Defective battery | 3
2011/12 | Mains powered | Faulty system / incorrectly installed | 12
2011/12 | Mains powered | Other | 9
2011/12 | Mains powered | Fire products did not reach detector(s) | 388
2011/12 | Mains powered | Faulty system / incorrectly installed | 66
2011/12 | Mains powered | Other act preventing alarm from operating | 53
2011/12 | Mains powered | Other | 59
2011/12 | Mains powered | Other | 7
2011/12 | Mains powered | Other | 101
2011/12 | Mains powered | Missing battery | 17
2011/12 | Mains powered | Fire in area not covered by system | 209
2011/12 | Mains powered | Other act preventing alarm from operating | 116
2011/12 | Mains powered | Other | 84
2011/12 | Mains powered | Defective battery | 8
2011/12 | Mains powered | Faulty system / incorrectly installed | 12
2011/12 | Mains powered | Other | 14
2011/12 | Mains powered | Fire products did not reach detector(s) | 834
2011/12 | Mains powered | Faulty system / incorrectly installed | 96
2011/12 | Mains powered | Other act preventing alarm from operating | 59
2011/12 | Mains powered | Other | 110
2011/12 | Battery powered | Other | 2
2011/12 | Battery powered | Other | 28
2011/12 | Battery powered | Missing battery | 112
2011/12 | Battery powered | Fire in area not covered by system | 65
2011/12 | Battery powered | Other act preventing alarm from operating | 8
2011/12 | Battery powered | Other | 12
2011/12 | Battery powered | Defective battery | 58
2011/12 | Battery powered | Faulty system / incorrectly installed | 6
2011/12 | Battery powered | Other | 10
2011/12 | Battery powered | Fire products did not reach detector(s) | 233
2011/12 | Battery powered | Faulty system / incorrectly installed | 14
2011/12 | Battery powered | Other act preventing alarm from operating | 1
2011/12 | Battery powered | Other | 19
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Other | 8
2011/12 | Mains powered | Fire in area not covered by system | 16
2011/12 | Mains powered | Other act preventing alarm from operating | 2
2011/12 | Mains powered | Other | 5
2011/12 | Mains powered | Faulty system / incorrectly installed | 2
2011/12 | Mains powered | Fire products did not reach detector(s) | 38
2011/12 | Mains powered | Faulty system / incorrectly installed | 9
2011/12 | Mains powered | Other act preventing alarm from operating | 11
2011/12 | Mains powered | Other | 5
2012/13 | Battery powered | Other | 7
2012/13 | Battery powered | Other | 85
2012/13 | Battery powered | Missing battery | 508
2012/13 | Battery powered | Fire in area not covered by system | 178
2012/13 | Battery powered | Other act preventing alarm from operating | 27
2012/13 | Battery powered | Other | 61
2012/13 | Battery powered | Defective battery | 247
2012/13 | Battery powered | Faulty system / incorrectly installed | 37
2012/13 | Battery powered | Other | 8
2012/13 | Battery powered | Fire products did not reach detector(s) | 624
2012/13 | Battery powered | Faulty system / incorrectly installed | 45
2012/13 | Battery powered | Other act preventing alarm from operating | 1
2012/13 | Battery powered | Other | 46
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Other | 41
2012/13 | Battery powered | Missing battery | 54
2012/13 | Battery powered | Fire in area not covered by system | 182
2012/13 | Battery powered | Other act preventing alarm from operating | 36
2012/13 | Battery powered | Other | 90
2012/13 | Battery powered | Defective battery | 60
2012/13 | Battery powered | Faulty system / incorrectly installed | 12
2012/13 | Battery powered | Other | 4
2012/13 | Battery powered | Fire products did not reach detector(s) | 873
2012/13 | Battery powered | Faulty system / incorrectly installed | 31
2012/13 | Battery powered | Other act preventing alarm from operating | 3
2012/13 | Battery powered | Other | 58
2012/13 | Mains powered | Other | 3
2012/13 | Mains powered | Other | 48
2012/13 | Mains powered | Missing battery | 11
2012/13 | Mains powered | Fire in area not covered by system | 78
2012/13 | Mains powered | Other act preventing alarm from operating | 61
2012/13 | Mains powered | Other | 59
2012/13 | Mains powered | Defective battery | 4
2012/13 | Mains powered | Faulty system / incorrectly installed | 7
2012/13 | Mains powered | Other | 9
2012/13 | Mains powered | Fire products did not reach detector(s) | 448
2012/13 | Mains powered | Faulty system / incorrectly installed | 76
2012/13 | Mains powered | Other act preventing alarm from operating | 51
2012/13 | Mains powered | Other | 58
2012/13 | Mains powered | Other | 4
2012/13 | Mains powered | Other | 106
2012/13 | Mains powered | Missing battery | 25
2012/13 | Mains powered | Fire in area not covered by system | 178
2012/13 | Mains powered | Other act preventing alarm from operating | 129
2012/13 | Mains powered | Other | 107
2012/13 | Mains powered | Defective battery | 8
2012/13 | Mains powered | Faulty system / incorrectly installed | 9
2012/13 | Mains powered | Other | 15
2012/13 | Mains powered | Fire products did not reach detector(s) | 871
2012/13 | Mains powered | Faulty system / incorrectly installed | 106
2012/13 | Mains powered | Other act preventing alarm from operating | 53
2012/13 | Mains powered | Other | 99
2012/13 | Battery powered | Other | 5
2012/13 | Battery powered | Other | 25
2012/13 | Battery powered | Missing battery | 119
2012/13 | Battery powered | Fire in area not covered by system | 42
2012/13 | Battery powered | Other act preventing alarm from operating | 7
2012/13 | Battery powered | Other | 21
2012/13 | Battery powered | Defective battery | 60
2012/13 | Battery powered | Faulty system / incorrectly installed | 5
2012/13 | Battery powered | Other | 3
2012/13 | Battery powered | Fire products did not reach detector(s) | 240
2012/13 | Battery powered | Faulty system / incorrectly installed | 5
2012/13 | Battery powered | Other | 26
2012/13 | Mains powered | Other | 9
2012/13 | Mains powered | Missing battery | 3
2012/13 | Mains powered | Fire in area not covered by system | 11
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Mains powered | Other | 8
2012/13 | Mains powered | Defective battery | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 2
2012/13 | Mains powered | Fire products did not reach detector(s) | 38
2012/13 | Mains powered | Faulty system / incorrectly installed | 6
2012/13 | Mains powered | Other act preventing alarm from operating | 4
2012/13 | Mains powered | Other | 11
2013/14 | Battery powered | Other | 4
2013/14 | Battery powered | Other | 88
2013/14 | Battery powered | Missing battery | 403
2013/14 | Battery powered | Fire in area not covered by system | 159
2013/14 | Battery powered | Other act preventing alarm from operating | 18
2013/14 | Battery powered | Other | 62
2013/14 | Battery powered | Defective battery | 194
2013/14 | Battery powered | Faulty system / incorrectly installed | 45
2013/14 | Battery powered | Other | 7
2013/14 | Battery powered | Fire products did not reach detector(s) | 573
2013/14 | Battery powered | Faulty system / incorrectly installed | 27
2013/14 | Battery powered | Other act preventing alarm from operating | 5
2013/14 | Battery powered | Other | 49
2013/14 | Battery powered | Other | 2
2013/14 | Battery powered | Other | 66
2013/14 | Battery powered | Missing battery | 40
2013/14 | Battery powered | Fire in area not covered by system | 244
2013/14 | Battery powered | Other act preventing alarm from operating | 45
2013/14 | Battery powered | Other | 83
2013/14 | Battery powered | Defective battery | 76
2013/14 | Battery powered | Faulty system / incorrectly installed | 12
2013/14 | Battery powered | Other | 6
2013/14 | Battery powered | Fire products did not reach detector(s) | 840
2013/14 | Battery powered | Faulty system / incorrectly installed | 17
2013/14 | Battery powered | Other | 70
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Other | 62
2013/14 | Mains powered | Missing battery | 7
2013/14 | Mains powered | Fire in area not covered by system | 78
2013/14 | Mains powered | Other act preventing alarm from operating | 63
2013/14 | Mains powered | Other | 64
2013/14 | Mains powered | Defective battery | 2
2013/14 | Mains powered | Faulty system / incorrectly installed | 6
2013/14 | Mains powered | Other | 3
2013/14 | Mains powered | Fire products did not reach detector(s) | 381
2013/14 | Mains powered | Faulty system / incorrectly installed | 70
2013/14 | Mains powered | Other act preventing alarm from operating | 35
2013/14 | Mains powered | Other | 65
2013/14 | Mains powered | Other | 2
2013/14 | Mains powered | Other | 103
2013/14 | Mains powered | Missing battery | 33
2013/14 | Mains powered | Fire in area not covered by system | 263
2013/14 | Mains powered | Other act preventing alarm from operating | 121
2013/14 | Mains powered | Other | 106
2013/14 | Mains powered | Defective battery | 12
2013/14 | Mains powered | Faulty system / incorrectly installed | 13
2013/14 | Mains powered | Other | 11
2013/14 | Mains powered | Fire products did not reach detector(s) | 918
2013/14 | Mains powered | Faulty system / incorrectly installed | 96
2013/14 | Mains powered | Other act preventing alarm from operating | 65
2013/14 | Mains powered | Other | 131
2013/14 | Battery powered | Other | 36
2013/14 | Battery powered | Missing battery | 84
2013/14 | Battery powered | Fire in area not covered by system | 53
2013/14 | Battery powered | Other act preventing alarm from operating | 9
2013/14 | Battery powered | Other | 34
2013/14 | Battery powered | Defective battery | 39
2013/14 | Battery powered | Faulty system / incorrectly installed | 7
2013/14 | Battery powered | Other | 10
2013/14 | Battery powered | Fire products did not reach detector(s) | 198
2013/14 | Battery powered | Faulty system / incorrectly installed | 8
2013/14 | Battery powered | Other | 31
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Other | 5
2013/14 | Mains powered | Fire in area not covered by system | 11
2013/14 | Mains powered | Other act preventing alarm from operating | 3
2013/14 | Mains powered | Other | 2
2013/14 | Mains powered | Defective battery | 1
2013/14 | Mains powered | Other | 2
2013/14 | Mains powered | Fire products did not reach detector(s) | 38
2013/14 | Mains powered | Faulty system / incorrectly installed | 5
2013/14 | Mains powered | Other act preventing alarm from operating | 5
2013/14 | Mains powered | Other | 9
2014/15 | Battery powered | Other | 2
2014/15 | Battery powered | Other | 97
2014/15 | Battery powered | Missing battery | 396
2014/15 | Battery powered | Fire in area not covered by system | 147
2014/15 | Battery powered | Other act preventing alarm from operating | 19
2014/15 | Battery powered | Other | 53
2014/15 | Battery powered | Defective battery | 208
2014/15 | Battery powered | Faulty system / incorrectly installed | 21
2014/15 | Battery powered | Other | 7
2014/15 | Battery powered | Fire products did not reach detector(s) | 505
2014/15 | Battery powered | Faulty system / incorrectly installed | 28
2014/15 | Battery powered | Other act preventing alarm from operating | 2
2014/15 | Battery powered | Other | 43
2014/15 | Battery powered | Other | 4
2014/15 | Battery powered | Other | 60
2014/15 | Battery powered | Missing battery | 54
2014/15 | Battery powered | Fire in area not covered by system | 212
2014/15 | Battery powered | Other act preventing alarm from operating | 31
2014/15 | Battery powered | Other | 92
2014/15 | Battery powered | Defective battery | 88
2014/15 | Battery powered | Faulty system / incorrectly installed | 12
2014/15 | Battery powered | Other | 6
2014/15 | Battery powered | Fire products did not reach detector(s) | 824
2014/15 | Battery powered | Faulty system / incorrectly installed | 36
2014/15 | Battery powered | Other act preventing alarm from operating | 1
2014/15 | Battery powered | Other | 66
2014/15 | Mains powered | Other | 2
2014/15 | Mains powered | Other | 54
2014/15 | Mains powered | Missing battery | 3
2014/15 | Mains powered | Fire in area not covered by system | 112
2014/15 | Mains powered | Other act preventing alarm from operating | 65
2014/15 | Mains powered | Other | 64
2014/15 | Mains powered | Defective battery | 4
2014/15 | Mains powered | Faulty system / incorrectly installed | 7
2014/15 | Mains powered | Other | 6
2014/15 | Mains powered | Fire products did not reach detector(s) | 345
2014/15 | Mains powered | Faulty system / incorrectly installed | 72
2014/15 | Mains powered | Other act preventing alarm from operating | 32
2014/15 | Mains powered | Other | 60
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Other | 99
2014/15 | Mains powered | Missing battery | 14
2014/15 | Mains powered | Fire in area not covered by system | 248
2014/15 | Mains powered | Other act preventing alarm from operating | 134
2014/15 | Mains powered | Other | 128
2014/15 | Mains powered | Defective battery | 12
2014/15 | Mains powered | Faulty system / incorrectly installed | 10
2014/15 | Mains powered | Other | 13
2014/15 | Mains powered | Fire products did not reach detector(s) | 906
2014/15 | Mains powered | Faulty system / incorrectly installed | 79
2014/15 | Mains powered | Other act preventing alarm from operating | 40
2014/15 | Mains powered | Other | 118
2014/15 | Battery powered | Other | 36
2014/15 | Battery powered | Missing battery | 84
2014/15 | Battery powered | Fire in area not covered by system | 52
2014/15 | Battery powered | Other act preventing alarm from operating | 10
2014/15 | Battery powered | Other | 24
2014/15 | Battery powered | Defective battery | 46
2014/15 | Battery powered | Faulty system / incorrectly installed | 3
2014/15 | Battery powered | Other | 4
2014/15 | Battery powered | Fire products did not reach detector(s) | 195
2014/15 | Battery powered | Faulty system / incorrectly installed | 3
2014/15 | Battery powered | Other act preventing alarm from operating | 3
2014/15 | Battery powered | Other | 22
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Other | 5
2014/15 | Mains powered | Fire in area not covered by system | 16
2014/15 | Mains powered | Other act preventing alarm from operating | 4
2014/15 | Mains powered | Other | 7
2014/15 | Mains powered | Faulty system / incorrectly installed | 1
2014/15 | Mains powered | Fire products did not reach detector(s) | 48
2014/15 | Mains powered | Faulty system / incorrectly installed | 10
2014/15 | Mains powered | Other act preventing alarm from operating | 3
2014/15 | Mains powered | Other | 9
2015/16 | Battery powered | Other | 3
2015/16 | Battery powered | Other | 105
2015/16 | Battery powered | Missing battery | 353
2015/16 | Battery powered | Fire in area not covered by system | 132
2015/16 | Battery powered | Other act preventing alarm from operating | 20
2015/16 | Battery powered | Other | 48
2015/16 | Battery powered | Defective battery | 180
2015/16 | Battery powered | Faulty system / incorrectly installed | 20
2015/16 | Battery powered | Other | 9
2015/16 | Battery powered | Fire products did not reach detector(s) | 418
2015/16 | Battery powered | Faulty system / incorrectly installed | 27
2015/16 | Battery powered | Other act preventing alarm from operating | 4
2015/16 | Battery powered | Other | 37
2015/16 | Battery powered | Other | 4
2015/16 | Battery powered | Other | 81
2015/16 | Battery powered | Missing battery | 42
2015/16 | Battery powered | Fire in area not covered by system | 226
2015/16 | Battery powered | Other act preventing alarm from operating | 41
2015/16 | Battery powered | Other | 106
2015/16 | Battery powered | Defective battery | 80
2015/16 | Battery powered | Faulty system / incorrectly installed | 9
2015/16 | Battery powered | Other | 3
2015/16 | Battery powered | Fire products did not reach detector(s) | 822
2015/16 | Battery powered | Faulty system / incorrectly installed | 20
2015/16 | Battery powered | Other act preventing alarm from operating | 2
2015/16 | Battery powered | Other | 67
2015/16 | Mains powered | Other | 3
2015/16 | Mains powered | Other | 55
2015/16 | Mains powered | Missing battery | 6
2015/16 | Mains powered | Fire in area not covered by system | 102
2015/16 | Mains powered | Other act preventing alarm from operating | 55
2015/16 | Mains powered | Other | 66
2015/16 | Mains powered | Faulty system / incorrectly installed | 6
2015/16 | Mains powered | Other | 9
2015/16 | Mains powered | Fire products did not reach detector(s) | 398
2015/16 | Mains powered | Faulty system / incorrectly installed | 55
2015/16 | Mains powered | Other act preventing alarm from operating | 45
2015/16 | Mains powered | Other | 69
2015/16 | Mains powered | Other | 6
2015/16 | Mains powered | Other | 110
2015/16 | Mains powered | Missing battery | 19
2015/16 | Mains powered | Fire in area not covered by system | 293
2015/16 | Mains powered | Other act preventing alarm from operating | 137
2015/16 | Mains powered | Other | 139
2015/16 | Mains powered | Defective battery | 9
2015/16 | Mains powered | Faulty system / incorrectly installed | 8
2015/16 | Mains powered | Other | 12
2015/16 | Mains powered | Fire products did not reach detector(s) | 933
2015/16 | Mains powered | Faulty system / incorrectly installed | 96
2015/16 | Mains powered | Other act preventing alarm from operating | 45
2015/16 | Mains powered | Other | 135
2015/16 | Battery powered | Other | 31
2015/16 | Battery powered | Missing battery | 76
2015/16 | Battery powered | Fire in area not covered by system | 48
2015/16 | Battery powered | Other act preventing alarm from operating | 8
2015/16 | Battery powered | Other | 35
2015/16 | Battery powered | Defective battery | 43
2015/16 | Battery powered | Faulty system / incorrectly installed | 5
2015/16 | Battery powered | Other | 3
2015/16 | Battery powered | Fire products did not reach detector(s) | 185
2015/16 | Battery powered | Faulty system / incorrectly installed | 12
2015/16 | Battery powered | Other | 23
2015/16 | Mains powered | Other | 5
2015/16 | Mains powered | Fire in area not covered by system | 8
2015/16 | Mains powered | Other act preventing alarm from operating | 1
2015/16 | Mains powered | Other | 10
2015/16 | Mains powered | Faulty system / incorrectly installed | 3
2015/16 | Mains powered | Other | 3
2015/16 | Mains powered | Fire products did not reach detector(s) | 43
2015/16 | Mains powered | Faulty system / incorrectly installed | 4
2015/16 | Mains powered | Other act preventing alarm from operating | 6
2015/16 | Mains powered | Other | 12
2016/17 | Battery powered | Other | 4
2016/17 | Battery powered | Other | 103
2016/17 | Battery powered | Missing battery | 276
2016/17 | Battery powered | Fire in area not covered by system | 121
2016/17 | Battery powered | Other act preventing alarm from operating | 14
2016/17 | Battery powered | Other | 47
2016/17 | Battery powered | Defective battery | 173
2016/17 | Battery powered | Faulty system / incorrectly installed | 26
2016/17 | Battery powered | Other | 7
2016/17 | Battery powered | Fire products did not reach detector(s) | 455
2016/17 | Battery powered | Faulty system / incorrectly installed | 30
2016/17 | Battery powered | Other act preventing alarm from operating | 4
2016/17 | Battery powered | Other | 43
2016/17 | Battery powered | Other | 2
2016/17 | Battery powered | Other | 88
2016/17 | Battery powered | Missing battery | 52
2016/17 | Battery powered | Fire in area not covered by system | 237
2016/17 | Battery powered | Other act preventing alarm from operating | 57
2016/17 | Battery powered | Other | 97
2016/17 | Battery powered | Defective battery | 107
2016/17 | Battery powered | Faulty system / incorrectly installed | 4
2016/17 | Battery powered | Other | 6
2016/17 | Battery powered | Fire products did not reach detector(s) | 805
2016/17 | Battery powered | Faulty system / incorrectly installed | 23
2016/17 | Battery powered | Other | 79
2016/17 | Mains powered | Other | 2
2016/17 | Mains powered | Other | 87
2016/17 | Mains powered | Missing battery | 3
2016/17 | Mains powered | Fire in area not covered by system | 101
2016/17 | Mains powered | Other act preventing alarm from operating | 56
2016/17 | Mains powered | Other | 56
2016/17 | Mains powered | Defective battery | 2
2016/17 | Mains powered | Faulty system / incorrectly installed | 3
2016/17 | Mains powered | Other | 7
2016/17 | Mains powered | Fire products did not reach detector(s) | 413
2016/17 | Mains powered | Faulty system / incorrectly installed | 42
2016/17 | Mains powered | Other act preventing alarm from operating | 25
2016/17 | Mains powered | Other | 66
2016/17 | Mains powered | Other | 2
2016/17 | Mains powered | Other | 113
2016/17 | Mains powered | Missing battery | 10
2016/17 | Mains powered | Fire in area not covered by system | 278
2016/17 | Mains powered | Other act preventing alarm from operating | 101
2016/17 | Mains powered | Other | 140
2016/17 | Mains powered | Defective battery | 12
2016/17 | Mains powered | Faulty system / incorrectly installed | 10
2016/17 | Mains powered | Other | 10
2016/17 | Mains powered | Fire products did not reach detector(s) | 1021
2016/17 | Mains powered | Faulty system / incorrectly installed | 75
2016/17 | Mains powered | Other act preventing alarm from operating | 48
2016/17 | Mains powered | Other | 172
2016/17 | Battery powered | Other | 3
2016/17 | Battery powered | Other | 25
2016/17 | Battery powered | Missing battery | 62
2016/17 | Battery powered | Fire in area not covered by system | 38
2016/17 | Battery powered | Other act preventing alarm from operating | 11
2016/17 | Battery powered | Other | 24
2016/17 | Battery powered | Defective battery | 38
2016/17 | Battery powered | Faulty system / incorrectly installed | 3
2016/17 | Battery powered | Other | 3
2016/17 | Battery powered | Fire products did not reach detector(s) | 163
2016/17 | Battery powered | Faulty system / incorrectly installed | 9
2016/17 | Battery powered | Other | 22
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Other | 8
2016/17 | Mains powered | Fire in area not covered by system | 14
2016/17 | Mains powered | Other act preventing alarm from operating | 2
2016/17 | Mains powered | Other | 9
2016/17 | Mains powered | Fire products did not reach detector(s) | 30
2016/17 | Mains powered | Faulty system / incorrectly installed | 6
2016/17 | Mains powered | Other act preventing alarm from operating | 6
2016/17 | Mains powered | Other | 9
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Other | 74
2017/18 | Battery powered | Missing battery | 265
2017/18 | Battery powered | Fire in area not covered by system | 110
2017/18 | Battery powered | Other act preventing alarm from operating | 15
2017/18 | Battery powered | Other | 50
2017/18 | Battery powered | Defective battery | 162
2017/18 | Battery powered | Faulty system / incorrectly installed | 19
2017/18 | Battery powered | Other | 3
2017/18 | Battery powered | Fire products did not reach detector(s) | 392
2017/18 | Battery powered | Faulty system / incorrectly installed | 25
2017/18 | Battery powered | Other | 40
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Other | 68
2017/18 | Battery powered | Missing battery | 49
2017/18 | Battery powered | Fire in area not covered by system | 230
2017/18 | Battery powered | Other act preventing alarm from operating | 41
2017/18 | Battery powered | Other | 107
2017/18 | Battery powered | Defective battery | 108
2017/18 | Battery powered | Faulty system / incorrectly installed | 8
2017/18 | Battery powered | Other | 8
2017/18 | Battery powered | Fire products did not reach detector(s) | 901
2017/18 | Battery powered | Faulty system / incorrectly installed | 21
2017/18 | Battery powered | Other | 94
2017/18 | Mains powered | Other | 3
2017/18 | Mains powered | Other | 79
2017/18 | Mains powered | Missing battery | 3
2017/18 | Mains powered | Fire in area not covered by system | 108
2017/18 | Mains powered | Other act preventing alarm from operating | 52
2017/18 | Mains powered | Other | 68
2017/18 | Mains powered | Defective battery | 4
2017/18 | Mains powered | Faulty system / incorrectly installed | 8
2017/18 | Mains powered | Other | 11
2017/18 | Mains powered | Fire products did not reach detector(s) | 453
2017/18 | Mains powered | Faulty system / incorrectly installed | 54
2017/18 | Mains powered | Other act preventing alarm from operating | 25
2017/18 | Mains powered | Other | 73
2017/18 | Mains powered | Other | 6
2017/18 | Mains powered | Other | 89
2017/18 | Mains powered | Missing battery | 16
2017/18 | Mains powered | Fire in area not covered by system | 297
2017/18 | Mains powered | Other act preventing alarm from operating | 119
2017/18 | Mains powered | Other | 180
2017/18 | Mains powered | Defective battery | 14
2017/18 | Mains powered | Faulty system / incorrectly installed | 7
2017/18 | Mains powered | Other | 9
2017/18 | Mains powered | Fire products did not reach detector(s) | 1083
2017/18 | Mains powered | Faulty system / incorrectly installed | 88
2017/18 | Mains powered | Other act preventing alarm from operating | 40
2017/18 | Mains powered | Other | 137
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Other | 23
2017/18 | Battery powered | Missing battery | 68
2017/18 | Battery powered | Fire in area not covered by system | 61
2017/18 | Battery powered | Other act preventing alarm from operating | 9
2017/18 | Battery powered | Other | 38
2017/18 | Battery powered | Defective battery | 43
2017/18 | Battery powered | Faulty system / incorrectly installed | 1
2017/18 | Battery powered | Other | 3
2017/18 | Battery powered | Fire products did not reach detector(s) | 190
2017/18 | Battery powered | Faulty system / incorrectly installed | 12
2017/18 | Battery powered | Other act preventing alarm from operating | 1
2017/18 | Battery powered | Other | 30
2017/18 | Mains powered | Other | 10
2017/18 | Mains powered | Fire in area not covered by system | 18
2017/18 | Mains powered | Other act preventing alarm from operating | 4
2017/18 | Mains powered | Other | 10
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Fire products did not reach detector(s) | 51
2017/18 | Mains powered | Faulty system / incorrectly installed | 4
2017/18 | Mains powered | Other act preventing alarm from operating | 6
2017/18 | Mains powered | Other | 8
2018/19 | Battery powered | Other | 62
2018/19 | Battery powered | Missing battery | 218
2018/19 | Battery powered | Fire in area not covered by system | 111
2018/19 | Battery powered | Other act preventing alarm from operating | 13
2018/19 | Battery powered | Other | 43
2018/19 | Battery powered | Defective battery | 140
2018/19 | Battery powered | Faulty system / incorrectly installed | 15
2018/19 | Battery powered | Other | 7
2018/19 | Battery powered | Fire products did not reach detector(s) | 324
2018/19 | Battery powered | Faulty system / incorrectly installed | 24
2018/19 | Battery powered | Other act preventing alarm from operating | 3
2018/19 | Battery powered | Other | 40
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Other | 58
2018/19 | Battery powered | Missing battery | 43
2018/19 | Battery powered | Fire in area not covered by system | 221
2018/19 | Battery powered | Other act preventing alarm from operating | 38
2018/19 | Battery powered | Other | 101
2018/19 | Battery powered | Defective battery | 90
2018/19 | Battery powered | Faulty system / incorrectly installed | 8
2018/19 | Battery powered | Other | 11
2018/19 | Battery powered | Fire products did not reach detector(s) | 816
2018/19 | Battery powered | Faulty system / incorrectly installed | 23
2018/19 | Battery powered | Other act preventing alarm from operating | 1
2018/19 | Battery powered | Other | 74
2018/19 | Mains powered | Other | 2
2018/19 | Mains powered | Other | 60
2018/19 | Mains powered | Missing battery | 5
2018/19 | Mains powered | Fire in area not covered by system | 135
2018/19 | Mains powered | Other act preventing alarm from operating | 39
2018/19 | Mains powered | Other | 80
2018/19 | Mains powered | Defective battery | 3
2018/19 | Mains powered | Faulty system / incorrectly installed | 8
2018/19 | Mains powered | Other | 9
2018/19 | Mains powered | Fire products did not reach detector(s) | 477
2018/19 | Mains powered | Faulty system / incorrectly installed | 36
2018/19 | Mains powered | Other act preventing alarm from operating | 27
2018/19 | Mains powered | Other | 82
2018/19 | Mains powered | Other | 3
2018/19 | Mains powered | Other | 84
2018/19 | Mains powered | Missing battery | 13
2018/19 | Mains powered | Fire in area not covered by system | 279
2018/19 | Mains powered | Other act preventing alarm from operating | 103
2018/19 | Mains powered | Other | 163
2018/19 | Mains powered | Defective battery | 7
2018/19 | Mains powered | Faulty system / incorrectly installed | 4
2018/19 | Mains powered | Other | 11
2018/19 | Mains powered | Fire products did not reach detector(s) | 1091
2018/19 | Mains powered | Faulty system / incorrectly installed | 81
2018/19 | Mains powered | Other act preventing alarm from operating | 39
2018/19 | Mains powered | Other | 139
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Other | 35
2018/19 | Battery powered | Missing battery | 55
2018/19 | Battery powered | Fire in area not covered by system | 45
2018/19 | Battery powered | Other act preventing alarm from operating | 8
2018/19 | Battery powered | Other | 25
2018/19 | Battery powered | Defective battery | 33
2018/19 | Battery powered | Faulty system / incorrectly installed | 1
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Fire products did not reach detector(s) | 178
2018/19 | Battery powered | Faulty system / incorrectly installed | 9
2018/19 | Battery powered | Other act preventing alarm from operating | 1
2018/19 | Battery powered | Other | 20
2018/19 | Mains powered | Other | 10
2018/19 | Mains powered | Missing battery | 1
2018/19 | Mains powered | Fire in area not covered by system | 19
2018/19 | Mains powered | Other act preventing alarm from operating | 2
2018/19 | Mains powered | Other | 15
2018/19 | Mains powered | Faulty system / incorrectly installed | 1
2018/19 | Mains powered | Fire products did not reach detector(s) | 40
2018/19 | Mains powered | Faulty system / incorrectly installed | 6
2018/19 | Mains powered | Other act preventing alarm from operating | 3
2018/19 | Mains powered | Other | 12
2019/20 | Battery powered | Other | 2
2019/20 | Battery powered | Other | 53
2019/20 | Battery powered | Missing battery | 185
2019/20 | Battery powered | Fire in area not covered by system | 87
2019/20 | Battery powered | Other act preventing alarm from operating | 20
2019/20 | Battery powered | Other | 53
2019/20 | Battery powered | Defective battery | 117
2019/20 | Battery powered | Faulty system / incorrectly installed | 13
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Fire products did not reach detector(s) | 315
2019/20 | Battery powered | Faulty system / incorrectly installed | 15
2019/20 | Battery powered | Other | 30
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Other | 64
2019/20 | Battery powered | Missing battery | 39
2019/20 | Battery powered | Fire in area not covered by system | 225
2019/20 | Battery powered | Other act preventing alarm from operating | 27
2019/20 | Battery powered | Other | 112
2019/20 | Battery powered | Defective battery | 76
2019/20 | Battery powered | Faulty system / incorrectly installed | 7
2019/20 | Battery powered | Other | 8
2019/20 | Battery powered | Fire products did not reach detector(s) | 771
2019/20 | Battery powered | Faulty system / incorrectly installed | 15
2019/20 | Battery powered | Other act preventing alarm from operating | 2
2019/20 | Battery powered | Other | 75
2019/20 | Mains powered | Other | 1
2019/20 | Mains powered | Other | 68
2019/20 | Mains powered | Missing battery | 2
2019/20 | Mains powered | Fire in area not covered by system | 129
2019/20 | Mains powered | Other act preventing alarm from operating | 44
2019/20 | Mains powered | Other | 81
2019/20 | Mains powered | Defective battery | 2
2019/20 | Mains powered | Faulty system / incorrectly installed | 4
2019/20 | Mains powered | Other | 9
2019/20 | Mains powered | Fire products did not reach detector(s) | 491
2019/20 | Mains powered | Faulty system / incorrectly installed | 46
2019/20 | Mains powered | Other act preventing alarm from operating | 16
2019/20 | Mains powered | Other | 71
2019/20 | Mains powered | Other | 67
2019/20 | Mains powered | Missing battery | 14
2019/20 | Mains powered | Fire in area not covered by system | 310
2019/20 | Mains powered | Other act preventing alarm from operating | 87
2019/20 | Mains powered | Other | 183
2019/20 | Mains powered | Defective battery | 8
2019/20 | Mains powered | Faulty system / incorrectly installed | 6
2019/20 | Mains powered | Other | 12
2019/20 | Mains powered | Fire products did not reach detector(s) | 981
2019/20 | Mains powered | Faulty system / incorrectly installed | 53
2019/20 | Mains powered | Other act preventing alarm from operating | 38
2019/20 | Mains powered | Other | 134
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Other | 27
2019/20 | Battery powered | Missing battery | 35
2019/20 | Battery powered | Fire in area not covered by system | 28
2019/20 | Battery powered | Other act preventing alarm from operating | 7
2019/20 | Battery powered | Other | 18
2019/20 | Battery powered | Defective battery | 36
2019/20 | Battery powered | Faulty system / incorrectly installed | 2
2019/20 | Battery powered | Other | 3
2019/20 | Battery powered | Fire products did not reach detector(s) | 161
2019/20 | Battery powered | Faulty system / incorrectly installed | 11
2019/20 | Battery powered | Other act preventing alarm from operating | 2
2019/20 | Battery powered | Other | 25
2019/20 | Mains powered | Other | 5
2019/20 | Mains powered | Fire in area not covered by system | 9
2019/20 | Mains powered | Other act preventing alarm from operating | 3
2019/20 | Mains powered | Other | 16
2019/20 | Mains powered | Faulty system / incorrectly installed | 1
2019/20 | Mains powered | Fire products did not reach detector(s) | 44
2019/20 | Mains powered | Faulty system / incorrectly installed | 5
2019/20 | Mains powered | Other act preventing alarm from operating | 4
2019/20 | Mains powered | Other | 15
2020/21 | Battery powered | Other | 2
2020/21 | Battery powered | Other | 46
2020/21 | Battery powered | Missing battery | 131
2020/21 | Battery powered | Fire in area not covered by system | 87
2020/21 | Battery powered | Other act preventing alarm from operating | 13
2020/21 | Battery powered | Other | 45
2020/21 | Battery powered | Defective battery | 131
2020/21 | Battery powered | Faulty system / incorrectly installed | 14
2020/21 | Battery powered | Fire products did not reach detector(s) | 262
2020/21 | Battery powered | Faulty system / incorrectly installed | 14
2020/21 | Battery powered | Other | 36
2020/21 | Battery powered | Other | 2
2020/21 | Battery powered | Other | 53
2020/21 | Battery powered | Missing battery | 36
2020/21 | Battery powered | Fire in area not covered by system | 231
2020/21 | Battery powered | Other act preventing alarm from operating | 32
2020/21 | Battery powered | Other | 104
2020/21 | Battery powered | Defective battery | 83
2020/21 | Battery powered | Faulty system / incorrectly installed | 9
2020/21 | Battery powered | Other | 12
2020/21 | Battery powered | Fire products did not reach detector(s) | 706
2020/21 | Battery powered | Faulty system / incorrectly installed | 17
2020/21 | Battery powered | Other act preventing alarm from operating | 1
2020/21 | Battery powered | Other | 80
2020/21 | Mains powered | Other | 2
2020/21 | Mains powered | Other | 63
2020/21 | Mains powered | Missing battery | 1
2020/21 | Mains powered | Fire in area not covered by system | 155
2020/21 | Mains powered | Other act preventing alarm from operating | 45
2020/21 | Mains powered | Other | 78
2020/21 | Mains powered | Defective battery | 4
2020/21 | Mains powered | Faulty system / incorrectly installed | 4
2020/21 | Mains powered | Other | 8
2020/21 | Mains powered | Fire products did not reach detector(s) | 446
2020/21 | Mains powered | Faulty system / incorrectly installed | 43
2020/21 | Mains powered | Other act preventing alarm from operating | 25
2020/21 | Mains powered | Other | 94
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Other | 88
2020/21 | Mains powered | Missing battery | 14
2020/21 | Mains powered | Fire in area not covered by system | 326
2020/21 | Mains powered | Other act preventing alarm from operating | 108
2020/21 | Mains powered | Other | 165
2020/21 | Mains powered | Defective battery | 9
2020/21 | Mains powered | Faulty system / incorrectly installed | 10
2020/21 | Mains powered | Other | 12
2020/21 | Mains powered | Fire products did not reach detector(s) | 1020
2020/21 | Mains powered | Faulty system / incorrectly installed | 51
2020/21 | Mains powered | Other act preventing alarm from operating | 25
2020/21 | Mains powered | Other | 184
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Other | 32
2020/21 | Battery powered | Missing battery | 31
2020/21 | Battery powered | Fire in area not covered by system | 55
2020/21 | Battery powered | Other act preventing alarm from operating | 10
2020/21 | Battery powered | Other | 25
2020/21 | Battery powered | Defective battery | 41
2020/21 | Battery powered | Faulty system / incorrectly installed | 3
2020/21 | Battery powered | Other | 5
2020/21 | Battery powered | Fire products did not reach detector(s) | 175
2020/21 | Battery powered | Faulty system / incorrectly installed | 8
2020/21 | Battery powered | Other act preventing alarm from operating | 2
2020/21 | Battery powered | Other | 26
2020/21 | Mains powered | Other | 8
2020/21 | Mains powered | Fire in area not covered by system | 18
2020/21 | Mains powered | Other act preventing alarm from operating | 3
2020/21 | Mains powered | Other | 5
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Fire products did not reach detector(s) | 34
2020/21 | Mains powered | Faulty system / incorrectly installed | 2
2020/21 | Mains powered | Other act preventing alarm from operating | 4
2020/21 | Mains powered | Other | 11
2021/22 | Battery powered | Other | 38
2021/22 | Battery powered | Missing battery | 124
2021/22 | Battery powered | Fire in area not covered by system | 84
2021/22 | Battery powered | Other act preventing alarm from operating | 6
2021/22 | Battery powered | Other | 49
2021/22 | Battery powered | Defective battery | 97
2021/22 | Battery powered | Faulty system / incorrectly installed | 13
2021/22 | Battery powered | Other | 2
2021/22 | Battery powered | Fire products did not reach detector(s) | 246
2021/22 | Battery powered | Faulty system / incorrectly installed | 18
2021/22 | Battery powered | Other act preventing alarm from operating | 1
2021/22 | Battery powered | Other | 29
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Other | 51
2021/22 | Battery powered | Missing battery | 29
2021/22 | Battery powered | Fire in area not covered by system | 234
2021/22 | Battery powered | Other act preventing alarm from operating | 30
2021/22 | Battery powered | Other | 92
2021/22 | Battery powered | Defective battery | 65
2021/22 | Battery powered | Faulty system / incorrectly installed | 9
2021/22 | Battery powered | Other | 8
2021/22 | Battery powered | Fire products did not reach detector(s) | 694
2021/22 | Battery powered | Faulty system / incorrectly installed | 20
2021/22 | Battery powered | Other act preventing alarm from operating | 2
2021/22 | Battery powered | Other | 60
2021/22 | Mains powered | Other | 1
2021/22 | Mains powered | Other | 65
2021/22 | Mains powered | Missing battery | 4
2021/22 | Mains powered | Fire in area not covered by system | 153
2021/22 | Mains powered | Other act preventing alarm from operating | 39
2021/22 | Mains powered | Other | 90
2021/22 | Mains powered | Defective battery | 1
2021/22 | Mains powered | Faulty system / incorrectly installed | 8
2021/22 | Mains powered | Other | 11
2021/22 | Mains powered | Fire products did not reach detector(s) | 486
2021/22 | Mains powered | Faulty system / incorrectly installed | 41
2021/22 | Mains powered | Other act preventing alarm from operating | 31
2021/22 | Mains powered | Other | 84
2021/22 | Mains powered | Other | 2
2021/22 | Mains powered | Other | 84
2021/22 | Mains powered | Missing battery | 8
2021/22 | Mains powered | Fire in area not covered by system | 307
2021/22 | Mains powered | Other act preventing alarm from operating | 92
2021/22 | Mains powered | Other | 179
2021/22 | Mains powered | Defective battery | 5
2021/22 | Mains powered | Faulty system / incorrectly installed | 5
2021/22 | Mains powered | Other | 14
2021/22 | Mains powered | Fire products did not reach detector(s) | 962
2021/22 | Mains powered | Faulty system / incorrectly installed | 49
2021/22 | Mains powered | Other act preventing alarm from operating | 16
2021/22 | Mains powered | Other | 167
2021/22 | Battery powered | Other | 46
2021/22 | Battery powered | Missing battery | 34
2021/22 | Battery powered | Fire in area not covered by system | 46
2021/22 | Battery powered | Other act preventing alarm from operating | 6
2021/22 | Battery powered | Other | 17
2021/22 | Battery powered | Defective battery | 44
2021/22 | Battery powered | Other | 5
2021/22 | Battery powered | Fire products did not reach detector(s) | 163
2021/22 | Battery powered | Faulty system / incorrectly installed | 7
2021/22 | Battery powered | Other act preventing alarm from operating | 2
2021/22 | Battery powered | Other | 25
2021/22 | Mains powered | Other | 7
2021/22 | Mains powered | Fire in area not covered by system | 16
2021/22 | Mains powered | Other act preventing alarm from operating | 2
2021/22 | Mains powered | Other | 9
2021/22 | Mains powered | Faulty system / incorrectly installed | 2
2021/22 | Mains powered | Fire products did not reach detector(s) | 44
2021/22 | Mains powered | Faulty system / incorrectly installed | 8
2021/22 | Mains powered | Other act preventing alarm from operating | 7
2021/22 | Mains powered | Other | 7
2022/23 | Battery powered | Other | 34
2022/23 | Battery powered | Missing battery | 86
2022/23 | Battery powered | Fire in area not covered by system | 80
2022/23 | Battery powered | Other act preventing alarm from operating | 9
2022/23 | Battery powered | Other | 37
2022/23 | Battery powered | Defective battery | 89
2022/23 | Battery powered | Faulty system / incorrectly installed | 7
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Fire products did not reach detector(s) | 159
2022/23 | Battery powered | Faulty system / incorrectly installed | 10
2022/23 | Battery powered | Other act preventing alarm from operating | 1
2022/23 | Battery powered | Other | 14
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Other | 60
2022/23 | Battery powered | Missing battery | 33
2022/23 | Battery powered | Fire in area not covered by system | 204
2022/23 | Battery powered | Other act preventing alarm from operating | 20
2022/23 | Battery powered | Other | 103
2022/23 | Battery powered | Defective battery | 73
2022/23 | Battery powered | Faulty system / incorrectly installed | 9
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Fire products did not reach detector(s) | 584
2022/23 | Battery powered | Faulty system / incorrectly installed | 15
2022/23 | Battery powered | Other act preventing alarm from operating | 3
2022/23 | Battery powered | Other | 61
2022/23 | Mains powered | Other | 4
2022/23 | Mains powered | Other | 77
2022/23 | Mains powered | Missing battery | 3
2022/23 | Mains powered | Fire in area not covered by system | 160
2022/23 | Mains powered | Other act preventing alarm from operating | 42
2022/23 | Mains powered | Other | 78
2022/23 | Mains powered | Defective battery | 3
2022/23 | Mains powered | Faulty system / incorrectly installed | 6
2022/23 | Mains powered | Other | 7
2022/23 | Mains powered | Fire products did not reach detector(s) | 484
2022/23 | Mains powered | Faulty system / incorrectly installed | 39
2022/23 | Mains powered | Other act preventing alarm from operating | 21
2022/23 | Mains powered | Other | 92
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Other | 83
2022/23 | Mains powered | Missing battery | 13
2022/23 | Mains powered | Fire in area not covered by system | 326
2022/23 | Mains powered | Other act preventing alarm from operating | 83
2022/23 | Mains powered | Other | 165
2022/23 | Mains powered | Defective battery | 10
2022/23 | Mains powered | Faulty system / incorrectly installed | 8
2022/23 | Mains powered | Other | 12
2022/23 | Mains powered | Fire products did not reach detector(s) | 897
2022/23 | Mains powered | Faulty system / incorrectly installed | 57
2022/23 | Mains powered | Other act preventing alarm from operating | 23
2022/23 | Mains powered | Other | 152
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Other | 38
2022/23 | Battery powered | Missing battery | 35
2022/23 | Battery powered | Fire in area not covered by system | 51
2022/23 | Battery powered | Other act preventing alarm from operating | 5
2022/23 | Battery powered | Other | 28
2022/23 | Battery powered | Defective battery | 26
2022/23 | Battery powered | Faulty system / incorrectly installed | 2
2022/23 | Battery powered | Other | 4
2022/23 | Battery powered | Fire products did not reach detector(s) | 155
2022/23 | Battery powered | Faulty system / incorrectly installed | 9
2022/23 | Battery powered | Other act preventing alarm from operating | 1
2022/23 | Battery powered | Other | 39
2022/23 | Mains powered | Other | 7
2022/23 | Mains powered | Fire in area not covered by system | 15
2022/23 | Mains powered | Other act preventing alarm from operating | 7
2022/23 | Mains powered | Other | 10
2022/23 | Mains powered | Faulty system / incorrectly installed | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Fire products did not reach detector(s) | 41
2022/23 | Mains powered | Faulty system / incorrectly installed | 4
2022/23 | Mains powered | Other act preventing alarm from operating | 2
2022/23 | Mains powered | Other | 10

## Data - df with casualties
FINANCIAL_YEAR | SYSTEM_TYPE | REASON_FOR_POOR_OUTCOME | TOTAL_SMOKE_ALARMS
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Missing battery | 4
2010/11 | Battery powered | Fire in area not covered by system | 1
2010/11 | Battery powered | Other act preventing alarm from operating | 2
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Defective battery | 3
2010/11 | Battery powered | Faulty system / incorrectly installed | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Fire products did not reach detector(s) | 2
2010/11 | Battery powered | Faulty system / incorrectly installed | 2
2010/11 | Battery powered | Other act preventing alarm from operating | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Missing battery | 2
2010/11 | Battery powered | Fire in area not covered by system | 2
2010/11 | Battery powered | Other act preventing alarm from operating | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Defective battery | 1
2010/11 | Battery powered | Faulty system / incorrectly installed | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Fire products did not reach detector(s) | 2
2010/11 | Battery powered | Faulty system / incorrectly installed | 1
2010/11 | Battery powered | Other act preventing alarm from operating | 1
2010/11 | Battery powered | Other | 2
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Missing battery | 1
2010/11 | Mains powered | Fire in area not covered by system | 2
2010/11 | Mains powered | Other act preventing alarm from operating | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Defective battery | 1
2010/11 | Mains powered | Faulty system / incorrectly installed | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Fire products did not reach detector(s) | 1
2010/11 | Mains powered | Faulty system / incorrectly installed | 1
2010/11 | Mains powered | Other act preventing alarm from operating | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Missing battery | 1
2010/11 | Mains powered | Fire in area not covered by system | 1
2010/11 | Mains powered | Other act preventing alarm from operating | 3
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Defective battery | 1
2010/11 | Mains powered | Faulty system / incorrectly installed | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Fire products did not reach detector(s) | 2
2010/11 | Mains powered | Faulty system / incorrectly installed | 2
2010/11 | Mains powered | Other act preventing alarm from operating | 1
2010/11 | Mains powered | Other | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Missing battery | 1
2010/11 | Battery powered | Fire in area not covered by system | 3
2010/11 | Battery powered | Other act preventing alarm from operating | 1
2010/11 | Battery powered | Other | 1
2010/11 | Battery powered | Defective battery | 1
2010/11 | Battery powered | Faulty system / incorrectly installed | 1
2010/11 | Battery powered | Fire products did not reach detector(s) | 2
2010/11 | Battery powered | Faulty system / incorrectly installed | 1
2010/11 | Battery powered | Other | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Other act preventing alarm from operating | 1
2010/11 | Mains powered | Other | 1
2010/11 | Mains powered | Fire products did not reach detector(s) | 1
2010/11 | Mains powered | Faulty system / incorrectly installed | 1
2010/11 | Mains powered | Other act preventing alarm from operating | 1
2010/11 | Mains powered | Other | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Missing battery | 5
2011/12 | Battery powered | Fire in area not covered by system | 1
2011/12 | Battery powered | Other act preventing alarm from operating | 2
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Defective battery | 2
2011/12 | Battery powered | Faulty system / incorrectly installed | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Fire products did not reach detector(s) | 2
2011/12 | Battery powered | Faulty system / incorrectly installed | 2
2011/12 | Battery powered | Other act preventing alarm from operating | 1
2011/12 | Battery powered | Other | 2
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Missing battery | 1
2011/12 | Battery powered | Fire in area not covered by system | 1
2011/12 | Battery powered | Other act preventing alarm from operating | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Defective battery | 1
2011/12 | Battery powered | Faulty system / incorrectly installed | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Fire products did not reach detector(s) | 1
2011/12 | Battery powered | Faulty system / incorrectly installed | 1
2011/12 | Battery powered | Other act preventing alarm from operating | 1
2011/12 | Battery powered | Other | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Other | 2
2011/12 | Mains powered | Missing battery | 1
2011/12 | Mains powered | Fire in area not covered by system | 1
2011/12 | Mains powered | Other act preventing alarm from operating | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Faulty system / incorrectly installed | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Fire products did not reach detector(s) | 1
2011/12 | Mains powered | Faulty system / incorrectly installed | 2
2011/12 | Mains powered | Other act preventing alarm from operating | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Missing battery | 2
2011/12 | Mains powered | Fire in area not covered by system | 1
2011/12 | Mains powered | Other act preventing alarm from operating | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Defective battery | 1
2011/12 | Mains powered | Faulty system / incorrectly installed | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Fire products did not reach detector(s) | 2
2011/12 | Mains powered | Faulty system / incorrectly installed | 1
2011/12 | Mains powered | Other act preventing alarm from operating | 1
2011/12 | Mains powered | Other | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Other | 2
2011/12 | Battery powered | Missing battery | 1
2011/12 | Battery powered | Fire in area not covered by system | 1
2011/12 | Battery powered | Other act preventing alarm from operating | 1
2011/12 | Battery powered | Defective battery | 3
2011/12 | Battery powered | Faulty system / incorrectly installed | 1
2011/12 | Battery powered | Other | 1
2011/12 | Battery powered | Fire products did not reach detector(s) | 1
2011/12 | Battery powered | Faulty system / incorrectly installed | 1
2011/12 | Battery powered | Other | 1
2011/12 | Mains powered | Other | 1
2011/12 | Mains powered | Fire in area not covered by system | 1
2011/12 | Mains powered | Faulty system / incorrectly installed | 1
2011/12 | Mains powered | Fire products did not reach detector(s) | 1
2011/12 | Mains powered | Faulty system / incorrectly installed | 1
2011/12 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Other | 2
2012/13 | Battery powered | Missing battery | 2
2012/13 | Battery powered | Fire in area not covered by system | 1
2012/13 | Battery powered | Other act preventing alarm from operating | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Defective battery | 1
2012/13 | Battery powered | Faulty system / incorrectly installed | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Fire products did not reach detector(s) | 2
2012/13 | Battery powered | Faulty system / incorrectly installed | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Missing battery | 1
2012/13 | Battery powered | Fire in area not covered by system | 3
2012/13 | Battery powered | Other act preventing alarm from operating | 2
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Defective battery | 2
2012/13 | Battery powered | Faulty system / incorrectly installed | 1
2012/13 | Battery powered | Other | 3
2012/13 | Battery powered | Fire products did not reach detector(s) | 2
2012/13 | Battery powered | Faulty system / incorrectly installed | 1
2012/13 | Battery powered | Other act preventing alarm from operating | 1
2012/13 | Battery powered | Other | 2
2012/13 | Mains powered | Other | 1
2012/13 | Mains powered | Missing battery | 1
2012/13 | Mains powered | Fire in area not covered by system | 2
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Mains powered | Other | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 1
2012/13 | Mains powered | Other | 2
2012/13 | Mains powered | Fire products did not reach detector(s) | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 2
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Mains powered | Other | 1
2012/13 | Mains powered | Other | 2
2012/13 | Mains powered | Missing battery | 1
2012/13 | Mains powered | Fire in area not covered by system | 1
2012/13 | Mains powered | Other act preventing alarm from operating | 3
2012/13 | Mains powered | Other | 1
2012/13 | Mains powered | Defective battery | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 1
2012/13 | Mains powered | Other | 2
2012/13 | Mains powered | Fire products did not reach detector(s) | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 1
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Mains powered | Other | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Missing battery | 1
2012/13 | Battery powered | Fire in area not covered by system | 3
2012/13 | Battery powered | Other act preventing alarm from operating | 1
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Defective battery | 2
2012/13 | Battery powered | Other | 1
2012/13 | Battery powered | Fire products did not reach detector(s) | 1
2012/13 | Battery powered | Faulty system / incorrectly installed | 1
2012/13 | Battery powered | Other | 1
2012/13 | Mains powered | Fire in area not covered by system | 1
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2012/13 | Mains powered | Other | 1
2012/13 | Mains powered | Faulty system / incorrectly installed | 2
2012/13 | Mains powered | Other act preventing alarm from operating | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Other | 2
2013/14 | Battery powered | Missing battery | 3
2013/14 | Battery powered | Fire in area not covered by system | 1
2013/14 | Battery powered | Other act preventing alarm from operating | 1
2013/14 | Battery powered | Other | 2
2013/14 | Battery powered | Defective battery | 2
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Fire products did not reach detector(s) | 3
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other act preventing alarm from operating | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Missing battery | 1
2013/14 | Battery powered | Fire in area not covered by system | 1
2013/14 | Battery powered | Other act preventing alarm from operating | 2
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Defective battery | 1
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Fire products did not reach detector(s) | 3
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other | 1
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Missing battery | 1
2013/14 | Mains powered | Fire in area not covered by system | 1
2013/14 | Mains powered | Other act preventing alarm from operating | 2
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Faulty system / incorrectly installed | 1
2013/14 | Mains powered | Fire products did not reach detector(s) | 1
2013/14 | Mains powered | Faulty system / incorrectly installed | 2
2013/14 | Mains powered | Other act preventing alarm from operating | 1
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Missing battery | 1
2013/14 | Mains powered | Fire in area not covered by system | 1
2013/14 | Mains powered | Other act preventing alarm from operating | 2
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Defective battery | 1
2013/14 | Mains powered | Faulty system / incorrectly installed | 2
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Fire products did not reach detector(s) | 1
2013/14 | Mains powered | Faulty system / incorrectly installed | 1
2013/14 | Mains powered | Other act preventing alarm from operating | 2
2013/14 | Mains powered | Other | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Missing battery | 2
2013/14 | Battery powered | Fire in area not covered by system | 1
2013/14 | Battery powered | Other act preventing alarm from operating | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Defective battery | 1
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other | 1
2013/14 | Battery powered | Fire products did not reach detector(s) | 1
2013/14 | Battery powered | Faulty system / incorrectly installed | 1
2013/14 | Battery powered | Other | 1
2013/14 | Mains powered | Fire in area not covered by system | 1
2013/14 | Mains powered | Other act preventing alarm from operating | 1
2013/14 | Mains powered | Other | 1
2013/14 | Mains powered | Fire products did not reach detector(s) | 1
2013/14 | Mains powered | Other act preventing alarm from operating | 1
2013/14 | Mains powered | Other | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Missing battery | 2
2014/15 | Battery powered | Fire in area not covered by system | 1
2014/15 | Battery powered | Other act preventing alarm from operating | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Defective battery | 2
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Fire products did not reach detector(s) | 1
2014/15 | Battery powered | Faulty system / incorrectly installed | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Missing battery | 2
2014/15 | Battery powered | Fire in area not covered by system | 1
2014/15 | Battery powered | Other act preventing alarm from operating | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Defective battery | 1
2014/15 | Battery powered | Faulty system / incorrectly installed | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Fire products did not reach detector(s) | 2
2014/15 | Battery powered | Faulty system / incorrectly installed | 2
2014/15 | Battery powered | Other | 2
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Fire in area not covered by system | 1
2014/15 | Mains powered | Other act preventing alarm from operating | 1
2014/15 | Mains powered | Other | 2
2014/15 | Mains powered | Defective battery | 1
2014/15 | Mains powered | Faulty system / incorrectly installed | 1
2014/15 | Mains powered | Fire products did not reach detector(s) | 2
2014/15 | Mains powered | Faulty system / incorrectly installed | 2
2014/15 | Mains powered | Other act preventing alarm from operating | 1
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Missing battery | 1
2014/15 | Mains powered | Fire in area not covered by system | 1
2014/15 | Mains powered | Other act preventing alarm from operating | 2
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Defective battery | 2
2014/15 | Mains powered | Faulty system / incorrectly installed | 1
2014/15 | Mains powered | Other | 1
2014/15 | Mains powered | Fire products did not reach detector(s) | 1
2014/15 | Mains powered | Faulty system / incorrectly installed | 1
2014/15 | Mains powered | Other act preventing alarm from operating | 1
2014/15 | Mains powered | Other | 2
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Missing battery | 2
2014/15 | Battery powered | Fire in area not covered by system | 1
2014/15 | Battery powered | Other act preventing alarm from operating | 1
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Defective battery | 2
2014/15 | Battery powered | Other | 1
2014/15 | Battery powered | Fire products did not reach detector(s) | 1
2014/15 | Battery powered | Faulty system / incorrectly installed | 1
2014/15 | Battery powered | Other act preventing alarm from operating | 1
2014/15 | Battery powered | Other | 1
2014/15 | Mains powered | Fire in area not covered by system | 1
2014/15 | Mains powered | Other act preventing alarm from operating | 1
2014/15 | Mains powered | Fire products did not reach detector(s) | 1
2014/15 | Mains powered | Faulty system / incorrectly installed | 1
2014/15 | Mains powered | Other | 1
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Missing battery | 2
2015/16 | Battery powered | Fire in area not covered by system | 1
2015/16 | Battery powered | Other act preventing alarm from operating | 2
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Defective battery | 2
2015/16 | Battery powered | Faulty system / incorrectly installed | 1
2015/16 | Battery powered | Other | 2
2015/16 | Battery powered | Fire products did not reach detector(s) | 1
2015/16 | Battery powered | Faulty system / incorrectly installed | 1
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Other | 2
2015/16 | Battery powered | Missing battery | 3
2015/16 | Battery powered | Fire in area not covered by system | 1
2015/16 | Battery powered | Other act preventing alarm from operating | 2
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Defective battery | 1
2015/16 | Battery powered | Fire products did not reach detector(s) | 2
2015/16 | Battery powered | Faulty system / incorrectly installed | 2
2015/16 | Battery powered | Other | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Missing battery | 1
2015/16 | Mains powered | Fire in area not covered by system | 2
2015/16 | Mains powered | Other act preventing alarm from operating | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Faulty system / incorrectly installed | 1
2015/16 | Mains powered | Other | 2
2015/16 | Mains powered | Fire products did not reach detector(s) | 2
2015/16 | Mains powered | Faulty system / incorrectly installed | 1
2015/16 | Mains powered | Other act preventing alarm from operating | 1
2015/16 | Mains powered | Other | 2
2015/16 | Mains powered | Other | 2
2015/16 | Mains powered | Missing battery | 1
2015/16 | Mains powered | Fire in area not covered by system | 1
2015/16 | Mains powered | Other act preventing alarm from operating | 2
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Defective battery | 1
2015/16 | Mains powered | Faulty system / incorrectly installed | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Fire products did not reach detector(s) | 1
2015/16 | Mains powered | Faulty system / incorrectly installed | 1
2015/16 | Mains powered | Other act preventing alarm from operating | 1
2015/16 | Mains powered | Other | 1
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Missing battery | 2
2015/16 | Battery powered | Fire in area not covered by system | 1
2015/16 | Battery powered | Other act preventing alarm from operating | 2
2015/16 | Battery powered | Other | 1
2015/16 | Battery powered | Defective battery | 1
2015/16 | Battery powered | Faulty system / incorrectly installed | 1
2015/16 | Battery powered | Fire products did not reach detector(s) | 1
2015/16 | Battery powered | Faulty system / incorrectly installed | 1
2015/16 | Battery powered | Other | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Fire in area not covered by system | 1
2015/16 | Mains powered | Other | 1
2015/16 | Mains powered | Fire products did not reach detector(s) | 2
2015/16 | Mains powered | Faulty system / incorrectly installed | 1
2015/16 | Mains powered | Other act preventing alarm from operating | 1
2016/17 | Battery powered | Other | 2
2016/17 | Battery powered | Missing battery | 3
2016/17 | Battery powered | Fire in area not covered by system | 2
2016/17 | Battery powered | Other act preventing alarm from operating | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Defective battery | 2
2016/17 | Battery powered | Faulty system / incorrectly installed | 2
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Fire products did not reach detector(s) | 2
2016/17 | Battery powered | Faulty system / incorrectly installed | 1
2016/17 | Battery powered | Other act preventing alarm from operating | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Missing battery | 1
2016/17 | Battery powered | Fire in area not covered by system | 2
2016/17 | Battery powered | Other act preventing alarm from operating | 2
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Defective battery | 2
2016/17 | Battery powered | Faulty system / incorrectly installed | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Fire products did not reach detector(s) | 2
2016/17 | Battery powered | Faulty system / incorrectly installed | 1
2016/17 | Battery powered | Other | 2
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Other | 2
2016/17 | Mains powered | Fire in area not covered by system | 1
2016/17 | Mains powered | Other act preventing alarm from operating | 2
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Defective battery | 1
2016/17 | Mains powered | Faulty system / incorrectly installed | 1
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Fire products did not reach detector(s) | 1
2016/17 | Mains powered | Faulty system / incorrectly installed | 1
2016/17 | Mains powered | Other act preventing alarm from operating | 1
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Missing battery | 2
2016/17 | Mains powered | Fire in area not covered by system | 1
2016/17 | Mains powered | Other act preventing alarm from operating | 1
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Defective battery | 1
2016/17 | Mains powered | Faulty system / incorrectly installed | 1
2016/17 | Mains powered | Other | 1
2016/17 | Mains powered | Fire products did not reach detector(s) | 2
2016/17 | Mains powered | Faulty system / incorrectly installed | 1
2016/17 | Mains powered | Other act preventing alarm from operating | 1
2016/17 | Mains powered | Other | 4
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Missing battery | 1
2016/17 | Battery powered | Other act preventing alarm from operating | 1
2016/17 | Battery powered | Other | 1
2016/17 | Battery powered | Defective battery | 1
2016/17 | Battery powered | Faulty system / incorrectly installed | 1
2016/17 | Battery powered | Fire products did not reach detector(s) | 1
2016/17 | Battery powered | Other | 1
2016/17 | Mains powered | Other | 2
2016/17 | Mains powered | Fire in area not covered by system | 1
2016/17 | Mains powered | Fire products did not reach detector(s) | 1
2016/17 | Mains powered | Faulty system / incorrectly installed | 1
2016/17 | Mains powered | Other act preventing alarm from operating | 1
2016/17 | Mains powered | Other | 1
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Missing battery | 3
2017/18 | Battery powered | Fire in area not covered by system | 2
2017/18 | Battery powered | Other act preventing alarm from operating | 1
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Defective battery | 3
2017/18 | Battery powered | Faulty system / incorrectly installed | 2
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Fire products did not reach detector(s) | 2
2017/18 | Battery powered | Faulty system / incorrectly installed | 1
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Missing battery | 1
2017/18 | Battery powered | Fire in area not covered by system | 2
2017/18 | Battery powered | Other act preventing alarm from operating | 1
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Defective battery | 1
2017/18 | Battery powered | Faulty system / incorrectly installed | 1
2017/18 | Battery powered | Other | 2
2017/18 | Battery powered | Fire products did not reach detector(s) | 2
2017/18 | Battery powered | Faulty system / incorrectly installed | 1
2017/18 | Battery powered | Other | 1
2017/18 | Mains powered | Other | 2
2017/18 | Mains powered | Missing battery | 1
2017/18 | Mains powered | Fire in area not covered by system | 2
2017/18 | Mains powered | Other act preventing alarm from operating | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Faulty system / incorrectly installed | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Fire products did not reach detector(s) | 1
2017/18 | Mains powered | Faulty system / incorrectly installed | 1
2017/18 | Mains powered | Other act preventing alarm from operating | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Missing battery | 1
2017/18 | Mains powered | Fire in area not covered by system | 1
2017/18 | Mains powered | Other act preventing alarm from operating | 2
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Defective battery | 1
2017/18 | Mains powered | Faulty system / incorrectly installed | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Fire products did not reach detector(s) | 2
2017/18 | Mains powered | Faulty system / incorrectly installed | 3
2017/18 | Mains powered | Other act preventing alarm from operating | 1
2017/18 | Mains powered | Other | 1
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Missing battery | 3
2017/18 | Battery powered | Fire in area not covered by system | 1
2017/18 | Battery powered | Other act preventing alarm from operating | 1
2017/18 | Battery powered | Defective battery | 1
2017/18 | Battery powered | Other | 1
2017/18 | Battery powered | Fire products did not reach detector(s) | 1
2017/18 | Battery powered | Faulty system / incorrectly installed | 1
2017/18 | Battery powered | Other | 1
2017/18 | Mains powered | Other | 1
2017/18 | Mains powered | Fire in area not covered by system | 1
2017/18 | Mains powered | Other act preventing alarm from operating | 1
2017/18 | Mains powered | Fire products did not reach detector(s) | 1
2017/18 | Mains powered | Faulty system / incorrectly installed | 1
2017/18 | Mains powered | Other act preventing alarm from operating | 1
2017/18 | Mains powered | Other | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Missing battery | 2
2018/19 | Battery powered | Fire in area not covered by system | 2
2018/19 | Battery powered | Other act preventing alarm from operating | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Defective battery | 1
2018/19 | Battery powered | Faulty system / incorrectly installed | 1
2018/19 | Battery powered | Fire products did not reach detector(s) | 1
2018/19 | Battery powered | Faulty system / incorrectly installed | 1
2018/19 | Battery powered | Other act preventing alarm from operating | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Missing battery | 1
2018/19 | Battery powered | Fire in area not covered by system | 1
2018/19 | Battery powered | Other act preventing alarm from operating | 2
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Defective battery | 1
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Fire products did not reach detector(s) | 1
2018/19 | Battery powered | Faulty system / incorrectly installed | 2
2018/19 | Battery powered | Other | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Fire in area not covered by system | 1
2018/19 | Mains powered | Other act preventing alarm from operating | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Defective battery | 1
2018/19 | Mains powered | Faulty system / incorrectly installed | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Fire products did not reach detector(s) | 1
2018/19 | Mains powered | Faulty system / incorrectly installed | 1
2018/19 | Mains powered | Other act preventing alarm from operating | 2
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Missing battery | 1
2018/19 | Mains powered | Fire in area not covered by system | 1
2018/19 | Mains powered | Other act preventing alarm from operating | 2
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Defective battery | 1
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Fire products did not reach detector(s) | 3
2018/19 | Mains powered | Faulty system / incorrectly installed | 2
2018/19 | Mains powered | Other act preventing alarm from operating | 1
2018/19 | Mains powered | Other | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Other | 2
2018/19 | Battery powered | Missing battery | 1
2018/19 | Battery powered | Fire in area not covered by system | 2
2018/19 | Battery powered | Other act preventing alarm from operating | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Defective battery | 1
2018/19 | Battery powered | Other | 1
2018/19 | Battery powered | Fire products did not reach detector(s) | 1
2018/19 | Battery powered | Faulty system / incorrectly installed | 1
2018/19 | Battery powered | Other | 1
2018/19 | Mains powered | Other | 2
2018/19 | Mains powered | Fire in area not covered by system | 2
2018/19 | Mains powered | Other | 1
2018/19 | Mains powered | Fire products did not reach detector(s) | 1
2018/19 | Mains powered | Faulty system / incorrectly installed | 1
2018/19 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Missing battery | 2
2019/20 | Battery powered | Fire in area not covered by system | 1
2019/20 | Battery powered | Other act preventing alarm from operating | 1
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Defective battery | 3
2019/20 | Battery powered | Faulty system / incorrectly installed | 1
2019/20 | Battery powered | Fire products did not reach detector(s) | 1
2019/20 | Battery powered | Faulty system / incorrectly installed | 1
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Other | 2
2019/20 | Battery powered | Missing battery | 2
2019/20 | Battery powered | Fire in area not covered by system | 2
2019/20 | Battery powered | Other act preventing alarm from operating | 2
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Defective battery | 2
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Fire products did not reach detector(s) | 2
2019/20 | Battery powered | Faulty system / incorrectly installed | 1
2019/20 | Battery powered | Other | 1
2019/20 | Mains powered | Other | 2
2019/20 | Mains powered | Fire in area not covered by system | 1
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Mains powered | Other | 1
2019/20 | Mains powered | Defective battery | 1
2019/20 | Mains powered | Other | 1
2019/20 | Mains powered | Fire products did not reach detector(s) | 2
2019/20 | Mains powered | Faulty system / incorrectly installed | 2
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Mains powered | Other | 2
2019/20 | Mains powered | Other | 2
2019/20 | Mains powered | Missing battery | 1
2019/20 | Mains powered | Fire in area not covered by system | 2
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Mains powered | Other | 1
2019/20 | Mains powered | Faulty system / incorrectly installed | 1
2019/20 | Mains powered | Other | 1
2019/20 | Mains powered | Fire products did not reach detector(s) | 4
2019/20 | Mains powered | Faulty system / incorrectly installed | 1
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Mains powered | Other | 2
2019/20 | Battery powered | Other | 2
2019/20 | Battery powered | Missing battery | 1
2019/20 | Battery powered | Fire in area not covered by system | 1
2019/20 | Battery powered | Other act preventing alarm from operating | 1
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Defective battery | 2
2019/20 | Battery powered | Other | 1
2019/20 | Battery powered | Fire products did not reach detector(s) | 2
2019/20 | Battery powered | Faulty system / incorrectly installed | 1
2019/20 | Battery powered | Other | 1
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2019/20 | Mains powered | Fire products did not reach detector(s) | 1
2019/20 | Mains powered | Other act preventing alarm from operating | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Missing battery | 2
2020/21 | Battery powered | Fire in area not covered by system | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Defective battery | 2
2020/21 | Battery powered | Faulty system / incorrectly installed | 1
2020/21 | Battery powered | Fire products did not reach detector(s) | 1
2020/21 | Battery powered | Faulty system / incorrectly installed | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Other | 2
2020/21 | Battery powered | Missing battery | 2
2020/21 | Battery powered | Fire in area not covered by system | 1
2020/21 | Battery powered | Other act preventing alarm from operating | 2
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Defective battery | 1
2020/21 | Battery powered | Faulty system / incorrectly installed | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Fire products did not reach detector(s) | 1
2020/21 | Battery powered | Faulty system / incorrectly installed | 1
2020/21 | Battery powered | Other | 2
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Fire in area not covered by system | 2
2020/21 | Mains powered | Other act preventing alarm from operating | 3
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Faulty system / incorrectly installed | 1
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Fire products did not reach detector(s) | 1
2020/21 | Mains powered | Faulty system / incorrectly installed | 1
2020/21 | Mains powered | Other act preventing alarm from operating | 1
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Missing battery | 1
2020/21 | Mains powered | Fire in area not covered by system | 2
2020/21 | Mains powered | Other act preventing alarm from operating | 2
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Faulty system / incorrectly installed | 1
2020/21 | Mains powered | Other | 1
2020/21 | Mains powered | Fire products did not reach detector(s) | 2
2020/21 | Mains powered | Faulty system / incorrectly installed | 1
2020/21 | Mains powered | Other act preventing alarm from operating | 2
2020/21 | Mains powered | Other | 3
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Other | 2
2020/21 | Battery powered | Missing battery | 1
2020/21 | Battery powered | Fire in area not covered by system | 1
2020/21 | Battery powered | Other | 1
2020/21 | Battery powered | Defective battery | 2
2020/21 | Battery powered | Other | 2
2020/21 | Battery powered | Fire products did not reach detector(s) | 1
2020/21 | Battery powered | Faulty system / incorrectly installed | 1
2020/21 | Battery powered | Other | 1
2020/21 | Mains powered | Fire in area not covered by system | 1
2020/21 | Mains powered | Fire products did not reach detector(s) | 1
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Missing battery | 2
2021/22 | Battery powered | Fire in area not covered by system | 1
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Defective battery | 2
2021/22 | Battery powered | Faulty system / incorrectly installed | 1
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Fire products did not reach detector(s) | 1
2021/22 | Battery powered | Faulty system / incorrectly installed | 2
2021/22 | Battery powered | Other | 2
2021/22 | Battery powered | Other | 2
2021/22 | Battery powered | Missing battery | 2
2021/22 | Battery powered | Fire in area not covered by system | 1
2021/22 | Battery powered | Other act preventing alarm from operating | 2
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Defective battery | 1
2021/22 | Battery powered | Faulty system / incorrectly installed | 1
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Fire products did not reach detector(s) | 4
2021/22 | Battery powered | Faulty system / incorrectly installed | 2
2021/22 | Battery powered | Other | 1
2021/22 | Mains powered | Other | 2
2021/22 | Mains powered | Missing battery | 1
2021/22 | Mains powered | Fire in area not covered by system | 1
2021/22 | Mains powered | Other act preventing alarm from operating | 1
2021/22 | Mains powered | Other | 1
2021/22 | Mains powered | Defective battery | 1
2021/22 | Mains powered | Faulty system / incorrectly installed | 1
2021/22 | Mains powered | Other | 1
2021/22 | Mains powered | Fire products did not reach detector(s) | 2
2021/22 | Mains powered | Faulty system / incorrectly installed | 2
2021/22 | Mains powered | Other act preventing alarm from operating | 2
2021/22 | Mains powered | Other | 2
2021/22 | Mains powered | Other | 2
2021/22 | Mains powered | Fire in area not covered by system | 1
2021/22 | Mains powered | Other act preventing alarm from operating | 3
2021/22 | Mains powered | Other | 2
2021/22 | Mains powered | Defective battery | 1
2021/22 | Mains powered | Other | 1
2021/22 | Mains powered | Fire products did not reach detector(s) | 2
2021/22 | Mains powered | Faulty system / incorrectly installed | 1
2021/22 | Mains powered | Other act preventing alarm from operating | 1
2021/22 | Mains powered | Other | 1
2021/22 | Battery powered | Other | 2
2021/22 | Battery powered | Missing battery | 2
2021/22 | Battery powered | Fire in area not covered by system | 1
2021/22 | Battery powered | Other act preventing alarm from operating | 1
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Defective battery | 2
2021/22 | Battery powered | Other | 1
2021/22 | Battery powered | Fire products did not reach detector(s) | 1
2021/22 | Battery powered | Faulty system / incorrectly installed | 1
2021/22 | Battery powered | Other act preventing alarm from operating | 1
2021/22 | Battery powered | Other | 1
2021/22 | Mains powered | Other | 1
2021/22 | Mains powered | Fire in area not covered by system | 1
2021/22 | Mains powered | Other act preventing alarm from operating | 1
2021/22 | Mains powered | Fire products did not reach detector(s) | 1
2021/22 | Mains powered | Faulty system / incorrectly installed | 1
2021/22 | Mains powered | Other act preventing alarm from operating | 1
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Missing battery | 2
2022/23 | Battery powered | Fire in area not covered by system | 1
2022/23 | Battery powered | Other act preventing alarm from operating | 1
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Defective battery | 1
2022/23 | Battery powered | Fire products did not reach detector(s) | 1
2022/23 | Battery powered | Faulty system / incorrectly installed | 1
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Missing battery | 1
2022/23 | Battery powered | Fire in area not covered by system | 1
2022/23 | Battery powered | Other act preventing alarm from operating | 2
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Defective battery | 2
2022/23 | Battery powered | Faulty system / incorrectly installed | 1
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Fire products did not reach detector(s) | 2
2022/23 | Battery powered | Faulty system / incorrectly installed | 1
2022/23 | Battery powered | Other act preventing alarm from operating | 1
2022/23 | Battery powered | Other | 1
2022/23 | Mains powered | Other | 2
2022/23 | Mains powered | Fire in area not covered by system | 1
2022/23 | Mains powered | Other act preventing alarm from operating | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Faulty system / incorrectly installed | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Fire products did not reach detector(s) | 1
2022/23 | Mains powered | Faulty system / incorrectly installed | 1
2022/23 | Mains powered | Other act preventing alarm from operating | 1
2022/23 | Mains powered | Other | 2
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Other | 3
2022/23 | Mains powered | Fire in area not covered by system | 2
2022/23 | Mains powered | Other act preventing alarm from operating | 4
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Defective battery | 1
2022/23 | Mains powered | Faulty system / incorrectly installed | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Fire products did not reach detector(s) | 2
2022/23 | Mains powered | Faulty system / incorrectly installed | 1
2022/23 | Mains powered | Other act preventing alarm from operating | 1
2022/23 | Mains powered | Other | 2
2022/23 | Battery powered | Other | 2
2022/23 | Battery powered | Missing battery | 2
2022/23 | Battery powered | Fire in area not covered by system | 2
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Defective battery | 1
2022/23 | Battery powered | Other | 1
2022/23 | Battery powered | Fire products did not reach detector(s) | 1
2022/23 | Battery powered | Faulty system / incorrectly installed | 1
2022/23 | Battery powered | Other | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Other act preventing alarm from operating | 1
2022/23 | Mains powered | Other | 1
2022/23 | Mains powered | Faulty system / incorrectly installed | 1

## FIRE0704_raw (hidden)
Dwelling fires
Mains powered
Year | Missing Battery | Defective battery | Other act preventing alarm from operating | Fire products did not reach detector(s) | Fire in area not covered by system | Faulty system / incorrectly installed | Other
2010/11 | 1.28% | 0.4267% | 13.65% | 45.54% | 12.1% | 8.456% | 18.54%
2011/12 | 0.8739% | 0.4179% | 11.78% | 47.87% | 12.04% | 7.485% | 19.53%
2012/13 | 1.435% | 0.4785% | 11% | 49.94% | 9.827% | 7.582% | 19.73%
2013/14 | 1.432% | 0.5371% | 10.45% | 47.87% | 12.6% | 6.803% | 20.3%
2014/15 | 0.6223% | 0.5857% | 10.18% | 47.55% | 13.76% | 6.552% | 20.75%
2015/16 | 0.8603% | 0.3097% | 9.945% | 47.28% | 13.87% | 5.919% | 21.82%
2016/17 | 0.4422% | 0.4762% | 8.095% | 49.8% | 13.37% | 4.626% | 23.2%
2017/18 | 0.6055% | 0.5736% | 7.839% | 50.57% | 13.48% | 5.131% | 21.8%
2018/19 | 0.6151% | 0.3237% | 6.895% | 52.06% | 14.02% | 4.403% | 21.69%
2019/20 | 0.5407% | 0.338% | 6.489% | 51.23% | 15.14% | 3.886% | 22.37%
2020/21 | 0.4891% | 0.4239% | 6.847% | 48.91% | 16.27% | 3.587% | 23.48%
2021/22 | 0.3992% | 0.1996% | 6.221% | 49.63% | 15.83% | 3.759% | 23.95%
2022/23 | 0.5435% | 0.4416% | 6.046% | 48.3% | 17.02% | 3.906% | 23.74%

## FIRE0704
FIRE STATISTICS TABLE 0704: Percentage1 of smoke alarms that did not operate in primary2 dwelling fires
and fires resulting in casualties3 in dwellings4, by type of alarm5 and reason for failure, England
Select dwelling fires2 or fires resulting in casualties3 and type of alarm from the drop-down lists in the orange boxes below:
Dwelling fires
Mains powered
Year | Missing Battery | Defective battery | Other act preventing alarm from operating6 | Fire products did not reach detector(s) | Fire in area not covered by system | Faulty system / incorrectly installed7 | Other8
2010/11 | 1.28% | 0.4267% | 13.65% | 45.54% | 12.1% | 8.456% | 18.54%
2011/12 | 0.8739% | 0.4179% | 11.78% | 47.87% | 12.04% | 7.485% | 19.53%
2012/13 | 1.435% | 0.4785% | 11% | 49.94% | 9.827% | 7.582% | 19.73%
2013/14 | 1.432% | 0.5371% | 10.45% | 47.87% | 12.6% | 6.803% | 20.3%
2014/15 | 0.6223% | 0.5857% | 10.18% | 47.55% | 13.76% | 6.552% | 20.75%
2015/16 | 0.8603% | 0.3097% | 9.945% | 47.28% | 13.87% | 5.919% | 21.82%
2016/17 | 0.4422% | 0.4762% | 8.095% | 49.8% | 13.37% | 4.626% | 23.2%
2017/18 | 0.6055% | 0.5736% | 7.839% | 50.57% | 13.48% | 5.131% | 21.8%
2018/19 | 0.6151% | 0.3237% | 6.895% | 52.06% | 14.02% | 4.403% | 21.69%
2019/20 | 0.5407% | 0.338% | 6.489% | 51.23% | 15.14% | 3.886% | 22.37%
2020/21 | 0.4891% | 0.4239% | 6.847% | 48.91% | 16.27% | 3.587% | 23.48%
2021/22 | 0.3992% | 0.1996% | 6.221% | 49.63% | 15.83% | 3.759% | 23.95%
2022/23 | 0.5435% | 0.4416% | 6.046% | 48.3% | 17.02% | 3.906% | 23.74%
1 Percentages may not sum to 100 due to rounding.
2 Primary fires are defined as fires that meet at least one of the following conditions:
(a) any fire that occurred in a (non-derelict) building, vehicle or outdoor structure,
(b) any fire involving fatalities, casualties or rescues,
(c) any fire attended by five or more pumping appliances.
3 Fires involving casualties includes: any fire that resulted in any number of fire-related fatalities and/or non-fatal casualties.
4 Dwelling fires are fires in properties that are a place of residence i.e.places occupied by households such as houses and flats, excluding hotels/hostels and residential institutions.
Dwellings also include non-permanent structures used solely as a dwelling, such as houseboats and caravans, HMOs, Self contained Sheltered Housing, Stately Homes and Castles (not open to the public).
5 Only battery powered and mains powered smoke alarms are included in this table; this excludes other or unspecified types.
6 Other act preventing alarm from operating includes: Detector removed and System turned off.
7 Faulty system / incorrectly installed includes: Fault in system and System not set up correctly.
8 Other includes: Alerted by other means, System damaged by fire, Other and Don't Know.
General note:
Fire data are collected by the Incident Recording System (IRS) which collects information on all incidents attended by fire services. For a variety of reasons some records take longer
than others for fire services to upload to the IRS and therefore fire totals are constantly being amended (by relatively small numbers).
This table shows the number of smoke alarms that did not operate. In some cases fires occur in buildings with more than one smoke alarm, in this table all smoke alarms are included.
For the 2015/16 release the categories in this table were slightly amended to aid clarity, therefore some figures are different to those previously published.
The data in this table are consistent with records that reached the IRS by 23 May 2023
The full set of fire statistics releases, tables and guidance can be found on our landing page, here-
https://www.gov.uk/government/collections/fire-statistics
The statistics in this table are National Statistics. | [7 empty] | Dwelling fires | Battery powered
Source: Home Office Incident Recording System | [7 empty] | Fires resulting in casualties | Mains powered
Contact: FireStatistics@homeoffice.gov.uk