## AEL-ETD
Manufacturer	Model	Mfr. Part Number	System Hardware	System Software	Auxiliary Hardware		Detection Algorithm	CONOPS	Cabin Baggage		Hold Baggage		Cargo §		Passenger #		Radioactive Source	Date Approved
					Swab	Wand			Hand	Wand	Hand	Wand	Hand	Wand	Hand	Wand
1st Detect	TRACER 1000		00-10001-01 / 00-10001-03 / 00-10001-04	7.17.0.185 / 11.0	Swab: P/N #88-10002-03 / P/N #88-10002-05 / P/N #88-10002-06 / P/N #88-10002-07		5.2.25	Rev 09, 8/7/2018	Yes	No	Yes	No	Yes	No	Yes	No	No	20/02/2019 / (CCM 15/01/2020 & 26/04/2021 & 28/09/2023)
1st Detect	TRACER 1000		00-10001-01 / 00-10001-03 / 00-10001-04	7.17.0.185 / 11.0	Swab: P/N #88-10002-03; / P/N #88-10002-05; / P/N #88-10002-06; / P/N #88-10002-07		5.2.31	Rev 09, 8/7/2018	Yes	No	Yes	No	No	No	Yes	No	No	20/02/2019 / (CCM 15/01/2020 & 26/04/2021 & 28/09/2023)
Bruker Daltonik GmbH	DE-tector		1824953		Swab: Sample Collector (P/N 8702660) / Sample Collector (P/N 8702660-E)	8702515	Library B_EXEU_EXPL16 (P/N 1836522)	2014-06-17/Rev. 1.00 (P/N 1829977) / 2016-02-01/Rev. 1.01 (P/N 1829977)	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	09/04/2015 / 20/12/2018* / *(Configuration Change)
Bruker Daltonik GmbH	DE-tector		1824953		Swab: Sample Collector (P/N 8702660) / Sample Collector (P/N 8702660-E)	8702515	Library B_EXEU_EXPL15 (P/N 1836524)	2014-06-17/Rev. 1.00 (P/N 1829977) / 2016-02-01/Rev. 1.01 (P/N 1829977)	Yes	Yes	Yes	Yes	No	No	Yes	Yes	No	09/04/2015 / 20/12/2018* / *(Configuration Change)
Bruker Daltonik GmbH	DE-tector		1824953		Swab: Sample Collector (P/N 8702660) / Sample Collector (P/N 8702660-E)	8702515	Library B_EXEU_MIXD01 (P/N 1836519)	2014-06-17/Rev. 1.00 (P/N 1829977) / 2016-02-01/Rev. 1.01 (P/N 1829977)	Yes	Yes	Yes	Yes	No	No	Yes	Yes	No	09/04/2015 / 20/12/2018* / *(Configuration Change)
Bruker Daltonik GmbH	RoadRunner		1860000		Sample Collector M (P/N 1842394)		B_RR00_EXPL14	2016-02-16/Rev. 1.00 (P/N 1842342)	Yes	No	Yes	No	No	No	Yes	No	No	20/09/2016
Bruker Optik GmbH	RoadRunner		1860001		Swab: Sample Collector M (P/N 1842394) / Test Marker: RR (P/N 1867612)	8702515	B_RR00_EXPL15	2020-10-14 / Rev. 1.01 P/N 1870101	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	29/04/2021
Bruker Daltonik GmbH	DE-tector		1824953		Sample Collector (P/N 8702660) / Sample Collector (P/N 8702660-E)	8702515	Library B_EXEU_EXPL22	2016-02-01/Rev. 1.01 (P/N 1829977) / 2016-02-01/Rev. 1.01 (P/N 1829977)	Yes	Yes	Yes	Yes	No	No	Yes	Yes	No	03/10/2018 / 24/10/2018 / (Correction of entry) / 20/12/2018* / *(Configuration Change)
Bruker Daltonik GmbH	DE-tector		1824953		Sample Collector (P/N 8702660) / Sample Collector (P/N 8702660-E)		Library B_EXEU_EXPL19	2016-02-01/Rev. 1.01 (P/N 1829977) / 2016-02-01/Rev. 1.01 (P/N 1829977)	Yes	No	Yes	No	No	No	Yes	No	No	03/10/2018 / 24/10/2018 / (Correction of entry) / 20/12/2018* / *(Configuration Change)
Bruker Optik GmbH	DE-tector flex		1880000		Sample Collector (P/N 8702660-E)		Library B_EXFL_EXPL10	2018-09-28 / Rev. 1.02 (P/N 1859473)	Yes	No	Yes	No	No	No	Yes	No	No	06/12/2018 / 29/04/2021 / (Correction of entry)
Bruker Optik GmbH	DE-tector flex		1880000		Sample collector (P/N 8702660-E)		B_EXFL_EXPL11	2019-08-27/Rev. 1.03, P/N 1859473	Yes	No	Yes	No	No	No	Yes	No	No	19/02/2020
Bruker Optik GmbH	DE-tector flex		1880000		Sample collector (P/N 8702660-E)	P/N 8702515	B_EXFL_EXPL11	2019-08-27/Rev. 1.03, P/N 1859473	No	Yes	No	Yes	No	Yes	No	Yes	No	19/02/2020
Leidos / (Previously: L3 Technologies Inc.)	QS-B220	QS-B220-010	- 10011377 (System Software 1.1.8) / - 10011334 (System Software 1.2.0)		Sample traps (P/N 42200191)	10011279	23176 (P/N 42300086)	42400030 (Quick Start Guide) / 42400028 (User Manual)	Yes	Yes	Yes	Yes	No	No	Yes	Yes	No	20/05/2015, 22/08/2024
Leidos / (Previously: L3 Technologies Inc.)	QS-B220	QS-B220-011 (Alg 23448) / - QS-B220-012 (Alg 23445) / - QS-B220-013 (Alg 23444)	10011377 (System Software 1.1.8) / - 10011334 (System Software 1.2.0)		Sample traps (P/N 42200191)	10011279	23444 (P/N 42300097) / - 23445 (P/N 42300098) / - 23448 (P/N 42300099	42400030 (Quick Start Guide) / 42400028 (User Manual)	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	20/05/2015, 22/08/2024
Leidos / (Previously: L3 Technologies Inc.)	QS-B220HT	QS-B220-017	10011377 / - 10011334 / - 10011465	1.4 P/N 42300085	Sample traps (P/N 42200191)	P/N 10011451	25088 (P/N 42300098)	42400049 (Quick Start Guide) or / - 42400030 (Quick Start Guide) / - 42400048 (User Manual) or / - 42400028 (User Manual)	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	01/12/2016, 10/09/2024
Leidos / (Previously: L3 Technologies Inc.)	QS-B220HT	QS-B220-017	10011465 / - 10011377 / - 10011334	1.4 P/N 42300085	Sample traps P/N 42200191	P/N 10011279	25088 (P/N 42300098)	42400049 (Quick Start Guide) or / - 42400030 (Quick Start Guide); / - 42400048 (User Manual) or / - 42400028 (User Manual);	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	27/03/2018 (Configuration Change) / And / 03/06/2020 / And 28/09/2023, 22/08/2024
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER 4DX		P0007018-015-CEP		M0002057	M0001240	C10.06.11-CEP	MA100026-01 / MA100026-02; MA100091 Rev 0C	Yes	Yes	Yes	Yes	No	No	Yes	Yes	No	24/07/2015 / 10/04/2020 (CCM)
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER 4DX		P0007018-015-CEP		M0002057	M0001240	C10.06.14-CEP	MA100026-01 / MA100026-02; MA100091 Rev 0C	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	06/08/2015 / 10/04/2020 (CCM)
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER DX		P0007018-014-CEP		M0001964-100		8.89e13CEP	MA100034-01 / MA100034-02; MA100034-02 Rev E	Yes	No	Yes	No	Yes	No	Yes	No	Yes	29/01/2016 / 10/04/2020 (CCM)
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER 4DX		P0007018-015-CEP		M0002057		C10.06.23-CEP	MA100091 rev0A; MA100091 Rev 0C	Yes	No	Yes	No	Yes	No	Yes	No	No	11/01/2018 / 10/04/2020 (CCM)
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER DX		P0007018-014-CEP		M0001964-100	S/N M1000541	8.89e14CEP	MA100034-02 Revision C	No	Yes	No	Yes	No	Yes	No	Yes	Yes	03/10/2018 / *04/10/2018 / *Correction of entry
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER DX		P0007018-014-CEP		M0001964-100		8.89e16CEP	MA100034-02 Rev E	Yes	No	Yes	No	Yes	No	Yes	No	Yes	25/03/2020 / 10/04/2020 (CCM)
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER DX		P00007018-014-CEP		S/N M0001964-100	S/N M1000541	8.89e16CEP	MA001147 Rev. 0A	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	25/03/2020
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER DX		P00007018-014-CEP		S/N M0001964-100	S/N M1000541	8.89e18CEP	MA100034-02 Rev E	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	12/07/2021
Rapiscan Systems / (Previously: Morpho Detection)	ITEMISER 5X		P0007018-018-CEP		S/N M0001964-100	S/N M1000541	5X-3.0.9-CEP	D05259 Revision A	No	Yes	No	Yes	No	Yes	No	Yes	No	28/09/2023
Rapiscan / (Previously: / Morpho / Detection)	ITEMISER 5X		P0007018-018-CEP		S/N M0001964-100		5X-3.1.3-CEP	D05259, D05255 Revision 1	Yes	No	Yes	No	Yes	No	Yes	No	No	22/08/2024
Rapiscan / (Previously: / Morpho / Detection)	ITEMISER 5X		P0007018-018-CEP		S/N M0001964-100	S/N M1000541	5X-3.1.4-CEP	D05259, D05255 Revision 1	No	Yes	No	Yes	No	Yes	No	Yes	No	22/08/2024
Nuctech	TR2000DB-A		C 1.00		Swab: BZOA0403000-I-02 / Portable swab baker: BZOA0800000-02		15.10.31.64	7.10	Yes	No	Yes	No	Yes	No	Yes	No	Yes	20/09/2016
Nuctech	TR2000DB-A		C 1.00		Swab: BZOA0403000-I-02 / Portable swab baker: BZOA0800000-02		16.8.2.64 (Library E11.A04.1611) / 16.8.2.64 (Library E11.A08.1611)	7.10	Yes	No	Yes	No	No	No	Yes	No	Yes	11/01/2018
Nuctech	TR2000DB-A		NIL2.0		Swab: -04A / Portable swab baker: BZOA0800000-02		D17.3.16.66 (Library E11.B01.1707)	v17.06	Yes	No	Yes	No	Yes	No	Yes	No	Yes	11/01/2018
Nuctech	TR2000DB-A		NIL2.0		Swab: -04A / Portable swab baker: BZOA0403000-I-02		D17.3.16.66 / (Library E11.B02.1712) / (Library E11.B05.1712) / (Library E11.B06.1712)	v17.06	Yes	No	Yes	No	Yes	No	Yes	No	Yes	03/10/2018
Nuctech	TR2000DC		CIL4.0	C1.2.0	Swab: 04A, or type -05A. / Optional Swab Baker Type-02E		D18.9.26 / (Library E11.C01.1903) / (Library E11.C01.1910) / (Library E11.C07.1910)	19.03 / 20.02	Yes	No	Yes	No	Yes	No	Yes	No	No	19/09/2019 / And / 25/03/2020 / And 28/09/2023
Nuctech	TR2000DC		CIL4.0	C1.2.0	Swab type -04A, or type -05A. / - Optional Swab Baker Type-02E	Thumbprint Wand	D18.9.26 (Library E11.C01.2110)	V21.07	No	Yes	No	Yes	No	Yes	No	Yes	No	24/06/2022 / 28/09/2020(CC) / 28/09/2023(CE
Nuctech	TR2000DC		CIL4.0	C1.2.0	Swab: -04A, or type -05A. / Optional Swab Baker Type-02E	Thumbprint Wand	D18.9.26 / Library E11.C02.2206 / Library E11.C04.2206 / Library E11.C05.2206	V21.07	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	28/09/2023 / 28/09/2020(CC)
Nuctech	TR3000DE		Detector CIL4.1, Firmware D2.0.0		Swab type -04A. / - Optional Swab Baker Type-02E	Thumbprint Wand	D18.9.26 (Library E11.C01.2308)	V23.02 Configuration Manag. Doc: V23.08	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	22/08/2024
Smiths Detection	IONSCAN 500DT		4816800	500DT_3.05.031	Part Number 6822254-A	P/N 6825012*	AE Rev L	Operational Manual, Rev. A, May 2013, Part Number 6824395ROW	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	29/01/2015 and / 13/02/2017* / 13/02/2019* / *Correction of the report
Smiths Detection	IONSCAN 600		4824000		P/N 6824768-01; / P/N 1824019-A		IS600 Exp ECAC-1 final / ECAC E (24727-1)* / ECAC E (24766-1)* / ECAC E (24766A-1)	Ionscan 600 Quick Start Guide, Part Number 6824007	Yes	No	Yes	No	Yes	No	Yes	No	No	13/03/2015 / 03/10/2016* / and / 24/06/2015 / 01/12/2015 / 15/06/2016 / 14/11/2016 / 30/05/2017 / (Configuration Changes) / *Result of SRT / 29/04/2021 / (Correction of entry)
Smiths Detection	IONSCAN 600		4824000		P/N 6824768-01; / P/N 1824019-A	P/N 3824750-1; / P/N 3824750-2	IS600 Exp ECAC-1 final	Operational Manual, Rev. A, May 2015, Part Number 6824005ROW / Additional Guidance for Performing a Wand Sample Analysis Rev. A (Sept 2015)	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	01/12/2015 / and / 15/06/2016 / 30/05/2017 / (Configuration Change) / 29/04/2021 / (Correction of entry)
Smiths Detection	IONSCAN 600		4824000E-101-2 / 4824000E-101P-2		P/N 6824768-01; / P/N 1824019-A	P/N 3824750-1; / P/N 3824750-2	ECAC E (24758-1) / ECAC E (24758-2) / ECAC E (24758-4) / ECAC E (24758A-1) / ECAC E (24758A-2) / ECAC E (24758A-4)	6824005ROW revision C, January 2016 / 6824005ROW revision D, / Ionscan 600 Quick Start Guide, Part Number 6824007	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	03/10/2016 / 03/10/2018 / and / 14/11/2016 / 30/05/2017 / 21/03/2018 / 01/02/2019 / (Configuration Changes) / 29/04/2021 / (Correction of entry)
Smiths Detection	IONSCAN 600		4824000E-101 / 4824000E-101P		P/N 6824768-01; / P/N 1824019-A	P/N 3824750-1; / P/N 3824750-2	ECAC E (24758-1) / ECAC E (24758A-1) / ECAC E (24758-2) / ECAC E (24758A-2) / ECAC E (24758-4) / ECAC E (24758A-4)	6824005 (Operator Manual) / 6824007 (Quick Start Guide)	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	19/03/2021 / (Configuration Change)
Smiths Detection	IONSCAN 600		4824000E-101 / 4824000E-101P		P/N 1824019-A	P/N 26616-1	ECAC E (24758-4) / ECAC E (24758A-4)	6824005 (Operator Manual) / 6824007 (Quick Start Guide)	No	Yes	No	Yes	No	Yes	No	Yes	No	12/05/2022
Smiths Detection	IONSCAN 600		4824000E-101 / - 4824000E-101P		P/N 24757-1	P/N 26616-1	ECAC E (24758-4)	6824005-EN-F IONSCAN 600 / Operators Manual 20200519 / Configuration Manag. Doc 24926-5-Master Configuration / Items List ECAC	Yes	Yes	Yes	Yes	Yes	Yes	Yes	Yes	No	22/08/2024

Updates to 18/09/2024
	# Passengers: involves screening of passengers, persons other than passengers, items carried, cabin baggage and hold baggage.
	§ Cargo: involves screening of cargo and mail, in-flight supplies, airport supplies and air carrier materials loaded in the aircraft hold.