## Contents
National radiotherapy patient safety event taxonomy
This document should be used alongside the 'Safer radiotherapy: national patient safety radiotherapy event taxonomy' document
The 4 worksheets contain the following taxonomies:
1. Classification
2. Pathway subcode
3. Contributory factor
4. Modality

## Classification
National radiotherapy patient safety event taxonomy
Classification taxonomy
Level 1 Reportable radiation incident or other notifiable event
Level 2 Non-reportable moderate radiation or MRI incident
Level 3 Non reportable minor radiation or MRI incident
Level 4 Good catch
Level 5 Other non-conformance

## Pathway subcode
National radiotherapy patient safety event taxonomy
Pathway subcode taxonomy
(Note: text in teal denotes additions in terms of descriptors and new codes.)
0 Infrastructure
(0a) Implementation of national and international codes of practice for radiation dosimetry
(0b) Development of dosimetry algorithms for local application (includes locally developed software, programs, tools for clinical use)
(0c) Development of treatment planning algorithms for local application
(0d) Other
(0e) IT infrastructure (includes change or failure in hardware, software, upgrades, network changes, archive process, system compatibility, data transfer)
Equipment-specific activities
1 Room design
(1a) Patient safety (includes alteration of room design or use)
(1b) Staff and public safety (includes alteration of room design, safety feature design such as ferroguard or their use)
(1c) Environmental controls
(1d) Access control (access to control area)
(1e) Other
2 New equipment
(2a) Installation
(2e) Customisation and configuration of equipment (to include the use of assistive artificial intelligence)
(2f) Commissioning (to include assistive artificial intelligence)
(2g) Data recording
(2h) Preparation of data files for planning systems (to include treatment planning systems, virtual simulation, independent dosimetry checking software, assistive artificial intelligence and so on)
(2i) Other
(2j) Installation and testing before clinical use (amalgamated previous codes 2b, 2c, 2d)
3 Routine machine QA
(3d) Daily verification of accuracy of data transfer between TPS, R&V system and treatment equipment
(3i) Regular preventative maintenance and repair programme
(3j) Handover of radiotherapy equipment after planned QA and maintenance (including handover to other department such as diagnostic colleagues)
(3k) Routine radiation safety checks
(3l) Other
(3m) Daily consistency checks (amalgamated previous codes 3a, 3b, 3c)
(3n) Planned QA programme checks (amalgamated previous codes 3e, 3f, 3g,3h)
Patient-specific activities
4 Referral for treatment
(4a) Identification of patient (verification against primary source data)
(4b) Verification of diagnosis, extent, stage (including laterality)
(4c) Choice of dose
(4d) Choice of modality
(4e) Choice of energy
(4f) Choice of fractionation
(4g) Choice of start date
(4h) Consideration of patient condition-morbidities (including CIED, prosthesis, patient unsuitable for IV contrast and changing performance status)
(4i) Choice of other concurrent treatment or interventions and their sequencing or timing (including patient selection criteria or referral criteria not met)
(4j) Consent process and documentation
(4k) Other
5 Communication of intent
(5a) Completion of referral for treatment (including incomplete referral or insufficient data or failure to communicate referral)
(5b) Recording of patient ID
(5c) Completion of required demographics
(5d) Completion of tumour-specific information (including laterality)
(5e) Completion of radiation-specific information
(5f) Completion of details of other professionals
(5g) Completion of administrative data (including documentation of MDT outcomes)
(5h) Recording of previous radiotherapy treatment details
(5i) Recording of patient's specific requirements (includes communication, handover, documentation of patient specific information and so on)
(5j) Recording of non-standard information, protocol variants
(5k) Authorisation of exposure (including referrals not signed by appropriately entitled practitioner and authorisation of additional imaging)
(5l) Other
6 Booking process and administration processes (pretreatment, planning, treatment and follow-up)
(6a) Bookings made according to protocol
(6b) Bookings made according to referral details (including additional requirements and requested changes following initial booking)
(6c) Recording of booked appointments (including requested changes following initial booking)
(6d) Communication of appointments to patient (including requested changes following initial booking)
(6e) Other
(6f) Communication of appointment between staff groups (including requested changes following initial booking)
(6g) Use of electronic task lists (quality check list, care pathway)
7 Processes prior to first appointment
(7a) New patient: registration with healthcare organisation’s patient administration system (PAS)
(7b) New patient: registration with department PAS
(7c) New patient: generation of notes (including their availability as required across the patient pathway)
(7d) Old patient: location of healthcare organisation’s notes
(7e) Old patient: location of department notes, previous treatment details (including availability of archived materials)
(7f) Availability of reports, imaging required by protocol for treatment (including requirements for these at all points on the pathway)
(7g) Availability of consent documentation
(7h) Other
8 Pretreatment: preparation of patient
(8a) Confirmation of ID
(8b) Confirmation of consent
(8c) Confirmation of fertility, pregnancy status
(8d) Advice on procedure (including training on breath hold, bladder or bowel preparation, CIED or electronic device status, information on pre-medication, fiducial insertion, MRI safety and so on)
(8e) Other
9 Mould room, workshop activities (these activities are not limited to mould room or workshop areas)
(9a) Confirmation of ID
(9b) Pre mould room diagnostics, interventions
(9c) Production of immobilisation devices
(9d) Checking, fitting of immobilisation devices
(9e) Production of other accessories, personalised beam shaping device
(9f) Checking of other accessories, personalised beam shaping device
(9g) Labelling of mould room, workshop outputs
(9h) Recording of information in patient record (includes communication, handover, documentation of patient specific information and so on)
(9i) Instructions to patient
(9k) End of process checks
(9l) Other
10 Pretreatment activities, imaging (to include CT, MRI, simulation, clinical mark-up, reference image production)
(10a) Confirmation of ID
(10b) Positioning of patient
(10c) Localisation of intended volume (including insufficient scan length, incorrect scanning protocol, incorrect laterality)
(10d) Production of images using correct imaging factors (including production of reference images)
(10e) Production of images using appropriate field size (including production of reference images)
(10f) Production of images demonstrating correct detail (including incorrect scanning protocol and production of reference images)
(10g) Labelling of imaging dataset (including pre-scan data entry, for example, ID format, orientation and so on and production of reference images)
(10h) Saving of planning geometry data
(10i) Recording of radiation data
(10j) Documentation of instructions, information
(10k) Marking of patient or immobilisation device
(10m) Identification of staff (appropriate training, competency, entitlement)
(10n) Other
(10o) Assessment of patient prior to exposure
(10p) Use of contrast (including unplanned event such as leaking out, extravasation, timing of contrast and so on)
(10q) Use of gating (including discrepancy between intended treatment technique and pretreatment scan, scan acquisition, construction of image sequence or application of gating equipment and so on)
(10r) Monitoring of patient during pretreatment activity exposure
(10s) Assessment of patient after exposure (including RF burns for MRI)
(10t) Management of variations, unexpected events (including pretreatment equipment failure)
(10u) In-room end of process checks
(10v) Pre exposure end of process checks
(10w) Completion of pretreatment exposure end of process checks
11 Pretreatment planning process (including virtual simulation and replans)
(11a) Verification of patient ID, orientation and data entry format to include all patient data, imaging and so on
(11b) Recording of patient ID on plan
(11c) Importing of data from external and internal administrative sources
(11d) Importing of data from external and internal imaging sources
(11e) Choice of data for planning purposes and to inform planning, for example, MRI, PET, angio, contrast, pre-op, post op data and so on
(11f) Choice of dose and fractionation inputs
(11g) Availability of source data
(11h) Choice of technique (including IMRT, volumetric, ART, superficial or protons and so on)
(11i) Target and organ at risk delineation (including incorrect growing of volume and auto contouring)
(11j) Generation of plan for approval (to include DVH, incorrect labelling, inappropriate beam arrangement, replans or missing plan information and so on)
(11k) Authorisation of plan
(11l) Verification of plan, identification of responsible staff (including patient specific quality control checks)
(11m) Recording of definitive treatment prescription
(11n) Recording of patient specific instructions
(11o) Management of process flow within planning (including plan export)
(11p) Management of authorisation process
(11q) Timeliness of plan production or approval
(11r) Calculation process for non-planned treatments
(11s) Calculation checking process for non-planned treatments
(11t) End of process checks
(11u) Identification of responsible staff (appropriate training, competency, entitlement)
(11v) Other
12 Treatment data entry, data preparation process
(12a) Pre-data entry verification (including OMS data import)
(12b) Choice of data entry method (input vs. transcription)
(12c) Use of correct data
(12d) Correct ID of patient, all patient input data
(12e) Correct ID of patient output data
(12f) Accuracy of data entry (including field sequencing and image scheduling and any required amendments)
(12g) End of process checks (including OMS data import)
(12h) Identification of responsible staff (appropriate training, competency and entitlement)
(12i) Other
13 Treatment unit process (including EXBRT, Protons and Superficial
(13a) Availability, timeliness of all required documentation and data
(13b) Patient ID process
(13c) Patient data ID process
(13d) Explanation, instructions to patient
(13e) Confirmation of pregnancy, fertility status
(13f) Assessment of patient prior to treatment (including pre-medication prior to treatment, for example, analgesia, antiemetics and so on, cardiac implanted electronic device (CIED) status, MRI safety)
(13g) Patient positioning (including the use of tools such as surface guidance technology)
(13h) Use of IVD according to local protocol
(13i) On-set imaging: compliance with local image guidance protocols (including frequency and timing of imaging)
(13j) Transfer of marks
(13k) ID of reference marks
(13l) Movements to isocentre (including from reference marks)
(13m) Setting of treatment machine parameters (including overrides)
(13q) Setting of couch position, angle (including incorrect setting of couch following movement to allow gantry clearance)
(13r) Use of immobilisation devices (including gating equipment)
(13s) Use of beam shaping devices
(13t) Use of beam direction aids, applicators
(13u) Use of compensators (including bolus)
(13v) Use of wedges
(13w) Availability of treatment accessories
(13x) Setting of energy
(13y) Setting of monitor units
(13z) On-set imaging: production process (including inappropriate exposure used, image not captured, incorrect CBCT filter used or left in for kV image, incorrect field localisation of exposure, unsuitable positioning of imaging panel, on-set imaging equipment failure)
(13aa) On-set imaging: approval process (including image review not completed, image review inaccurate, image matched to wrong reference image, incorrect prioritisation of structures for matching)
(13bb) On-set imaging: recording process (recording of result of image review not undertaken, resultant actions from image review not undertaken, documentation and application of systematic correction)
(13cc) Management of variations, unexpected events (including on-treatment equipment failure (not associated with on-set imaging), management of replans, migration of fiducials, transfer between treatment machines)
(13dd) Communication between treatment unit and V&R
(13ee) Recording of patient attendance
(13ff) Recording of delivered treatment data
(13gg) Recording of additional information
(13ii) Identification of responsible staff (appropriate training, competency, entitlement)
(13jj) Other
(13kk) Monitoring of patient during treatment exposure
(13ll) Setting of collimator angle, jaw position, asymmetry (amalgamated previous codes 13n, 13o, 13p)
(13mm) In-room end of process checks
(13nn) Pre exposure end of process checks
(13oo) Completion of treatment exposure end of process checks
14 On-treatment review process
(14a) On-treatment review of patient according to protocol by RT staff
(14b) On-treatment review of patient according to protocol by other professional
(14c) On-treatment review of notes, data according to protocol (including omission of weekly chart checks)
(14d) Actions following on-treatment review
(14e) Other
15 Brachytherapy (including sealed source and IORT)
(15a) Ordering of sources (including unexpected wastage)
(15b) Delivery and transportation of sources
(15c) Source calibration
(15d) Sterility, contamination of sources
(15e) Correct applicators, sources (including the use of applicators, channels in delivery)
(15f) Correct and functioning medical equipment (including theatre equipment)
(15g) Initial positioning of applicators, sources
(15h) Planning of treatment (including replans)
(15i) Maintenance of position of applicators, sources (including movement of applicators, seed migration)
(15j) Removing of applicators, sources (including medical complications caused by the removal)
(15k) Other
(15l) Validation of applicator, source position
(15m) Authorisation of plan (including prescription not authorised)
(15n) Management of variations, unexpected events (including treatment equipment failure, anatomical implications such as perforations or management of seed migration)
(15o) Imaging: compliance with local image guidance protocols
(15p) Imaging: production process (including inappropriate exposure used, image not captured, marking or labelling applicators, quality of image, unsuitable positioning of imaging panel)
(15q) Imaging: approval process (including incorrect image acceptance)
(15r) Imaging: recording process (including resultant actions not undertaken)
(15s) End of process check (at each element of the workflow such as pause and check)
(15t) Patient ID Process
(15u) Patient data ID process
(15v) Assessment of patient prior to treatment (including pre-medication, anaesthetic, for example anticoagulation, analgesia, antiemetics and so on, cardiac implanted electronic device (CIED) status)
(15w) Monitoring and assessment of patient during treatment
16 End of treatment process
(16a) Communication of appropriate end of treatment information to patient
(16b) Recording of treatment summary information in notes
(16d) Communication of information to referring clinician, GP, CNS etc
(16e) Organisation of follow-up appointment according to protocol
(16f) Communication of follow-up to patient
(16g) Other
17 Follow-up process
(17a) Follow-up consultation process and documentation (including follow – up actions required, patient identified unexpected toxicity or potential adverse event)
(17b) Management of non-attendance or non –engagement
(17c) Archiving of details of treatment
18 Timing
(18a) Timing of systemic anti cancer therapy (SACT),irradiation, surgery
(18b) Transport issues
(18c) Portering issues
19 Research, audit and document management
(19a) Availability of current protocol, procedures, work instructions forms, training and competency documentation
(19b) Audit (including new and established processes)
(19c) Research (including local and national trials)
20 Staff management
(20a) Availability of staff with competency appropriate to procedure (including engineers, IT, medical, nursing, physics, radiographer and so on)

## Contributory factor
National radiotherapy patient safety event taxonomy
Contributory factor taxonomy
(Note: text in teal denotes additions in terms of descriptors and new codes.)
CF1 Individual
CF1a Failure to recognise hazard (knowledge-based and so on)
CF1b Decision making process (rule-based or old or invalid rule used and so on)
CF1c Slips and lapses (skill-based, involuntary automaticity and so on)
CF1d Communication (inaccuracy or omission of verbal, written and so on)
CF1e Violation (deliberate action, acting outside scope and so on)
CF2 Procedural
CF2a No procedures or protocols (not in place or unavailable and so on)
CF2b Inadequate procedures or protocols
CF2c Adherence to procedures or protocols
CF2d Process design (impractical and inefficient processes and so on)
CF3 Technical
CF3a Equipment or IT network failure (including immobilisation and accessories)
CF3b Commissioning, calibration, maintenance (including immobilisation and accessories)
CF3c Device, Product design
CF3d Equipment supplier related (withdrawal of support, servicing, spare parts)
CF4 Patient Related
CF4a Patient physical or medical condition (inability to remain still and so on)
CF4b Communication with the patient (language issues, comprehension and so on)
CF4c Patient choice, compliance
CF5 Teamwork, Management, Organisational
CF5a Inadequate leadership (inadequate supervision, congruence or consistency and so on)
CF5b Unclear responsibilities and lines of accountability (across the radiotherapy pathway)
CF5c Inadequate capital resources (equipment in use no longer fit for purpose and so on)
CF5d Inadequate staffing (insufficient staffing levels or skill mix necessary to meet the demands of a service and so on)
CF5e Inadequate training (inadequate or lack of training and so on)
CF5f Inadequate risk assessment (poor change management and so on)
CF6 Environmental
CF6a Physical (power cut, control area excessively noisy, distractions and so on)
CF6b Natural factors (fire, flood and so on)
CF7 Other
CF7a Other

## Modality
National radiotherapy patient safety event taxonomy
Modality taxonomy
(Note: text in teal denotes additions in terms of descriptors and new codes.)
D01 Simple (direct or parallel opposed fields) and electrons
D02 Conformal
D03 Intensity modulated radiotherapy (IMRT)(static field) excluding more specific definitions
D04 Rotational IMRT including volumetric modulated arc therapy (VMAT) and RapidArc
D05 Intraoperative radiation therapy (IORT)
D06 Total body, skin radiotherapy - including total body irradiation (TBI) and total body electrons (TBE)
D07 Stereotactic ablative body radiotherapy (SABR)
D08 Stereotactic radiotherapy, radiosurgery (SRT, SRS)
D09 Proactive adaptive radiotherapy - predicts changes likely to occur and prepares a choice of plans (library of plans) to compensate for these changes
D10 Real-time adaptive radiotherapy - creates and delivers a new plan online (on the treatment machine with patient in treatment position). Can occur for each fraction or when required
D11 Contact radiotherapy (superficial, orthovoltage, Papillion)
D12 Brachytherapy
D13 Proton beam therapy
D98 Other treatment